## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-24 00:00:00 | 2.834 | 28.42 | 3.799 | 43.01 | 4.173 | 40.5154 | 4.092 | 34.61 | 23.36 | 968.32 | 70.3808 | 1.5297
2020-07-24 00:15:00 | 3.23 | 27.45 | 4.625 | 42.66 | 4.834 | 40.1857 | 4.815 | 33.39 | 23.15 | 968.172 | 71.6759 | 1.7255
2020-07-24 00:30:00 | 3.09 | 22.1 | 4.392 | 40.38 | 4.461 | 38.038 | 4.418 | 28.81 | 23 | 968.32 | 72.9068 | 1.3708
2020-07-24 00:45:00 | 3.797 | 22.84 | 5.302 | 38.24 | 5.475 | 36.0221 | 5.421 | 28.55 | 22.8 | 968.172 | 74.6121 | 3.6616
2020-07-24 01:00:00 | 3.508 | 24.11 | 5.369 | 40.05 | 5.465 | 37.7271 | 5.396 | 29.39 | 22.55 | 967.726 | 76.9991 | 4.8735
2020-07-24 01:15:00 | 2.86 | 30.56 | 4.678 | 43.32 | 4.621 | 40.8074 | 4.566 | 37.37 | 22.54 | 968.32 | 76.7945 | 4.94
2020-07-24 01:30:00 | 3.286 | 33.09 | 4.297 | 45.23 | 4.394 | 42.6067 | 4.365 | 39.1 | 22.57 | 968.026 | 76.3853 | 5.2245
2020-07-24 01:45:00 | 3.309 | 29.71 | 4.484 | 43.25 | 4.855 | 40.7415 | 4.836 | 36.28 | 22.7 | 967.905 | 75.7033 | 5.0065
2020-07-24 02:00:00 | 2.638 | 34.3 | 4.19 | 51.17 | 4.796 | 48.2021 | 4.769 | 37.39 | 22.63 | 967.743 | 75.7715 | 2.7268
2020-07-24 02:15:00 | 2.056 | 34.11 | 3.625 | 50.44 | 4.043 | 47.5145 | 4.049 | 37.22 | 22.71 | 968.024 | 75.26 | 1.3301
2020-07-24 02:30:00 | 2.285 | 31.12 | 3.564 | 49.51 | 4.145 | 46.6384 | 4.151 | 34.46 | 22.82 | 967.748 | 74.2029 | 2.6381
2020-07-24 02:45:00 | 3.148 | 22.41 | 4.144 | 38.47 | 4.71 | 36.2387 | 4.713 | 25.79 | 22.91 | 968.035 | 72.9071 | 2.9596
2020-07-24 03:00:00 | 3.24 | 25.43 | 4.269 | 41.6 | 4.781 | 39.1872 | 4.787 | 27.89 | 22.72 | 967.744 | 72.6343 | 3.8981
2020-07-24 03:15:00 | 3.24 | 18.81 | 4.412 | 36.59 | 4.715 | 34.4678 | 4.731 | 23.44 | 22.75 | 968.056 | 72.3615 | 3.5766
2020-07-24 03:30:00 | 3.503 | 17.99 | 4.499 | 34.56 | 4.7 | 32.5555 | 4.701 | 22.86 | 22.88 | 968.061 | 71.884 | 4.5964
2020-07-24 03:45:00 | 3.868 | 21.86 | 4.982 | 38.14 | 5.152 | 35.9279 | 5.121 | 25.38 | 22.67 | 967.728 | 73.1117 | 6.3625
2020-07-24 04:00:00 | 3.516 | 28.29 | 4.691 | 46.67 | 5.102 | 43.9631 | 5.088 | 32.08 | 22.46 | 967.886 | 73.2481 | 6.4586
2020-07-24 04:15:00 | 3.805 | 30.67 | 4.686 | 48.21 | 5.053 | 45.4138 | 5.088 | 32.77 | 22.81 | 967.746 | 71.6794 | 4.4301
2020-07-24 04:30:00 | 2.977 | 34.03 | 4.497 | 49.82 | 4.369 | 46.9304 | 4.344 | 37.44 | 22.75 | 968.087 | 71.3384 | 3.4842
2020-07-24 04:45:00 | 3.562 | 34.27 | 4.07 | 50.86 | 4.422 | 47.9101 | 4.377 | 40.47 | 22.56 | 967.789 | 68.6104 | 1.2747
2020-07-24 05:00:00 | 3.552 | 42.11 | 3.569 | 61.76 | 2.868 | 58.1779 | 2.928 | 52.77 | 22.89 | 967.792 | 68.6786 | 0.45077
2020-07-24 05:15:00 | 3.823 | 40.51 | 3.303 | 58.3 | 2.642 | 54.9186 | 2.564 | 50.94 | 23.48 | 967.815 | 59.8806 | -0.37687
2020-07-24 05:30:00 | 3.595 | 48.21 | 3.193 | 64.47 | 2.507 | 60.7307 | 2.335 | 53.95 | 24.19 | 968.327 | 61.3811 | -0.34731
2020-07-24 05:45:00 | 2.068 | 33.8 | 2.687 | 49.48 | 2.314 | 46.6102 | 2.299 | 41.27 | 23.81 | 968.765 | 59.0551 | -0.2882
2020-07-24 06:00:00 | 2.382 | 29.87 | 3.016 | 49.3 | 2.019 | 46.4406 | 1.882 | 32.27 | 24.32 | 969.062 | 55.9836 | -0.27711
2020-07-24 06:15:00 | 1.433 | 27 | 2.756 | 43.31 | 2.337 | 40.798 | 2.149 | 29.22 | 24.66 | 969.507 | 55.3616 | -0.25864
2020-07-24 06:30:00 | 1.948 | 29.11 | 2.952 | 44.83 | 2.464 | 42.2299 | 2.34 | 32.49 | 24.52 | 969.353 | 59.5194 | -0.27711
2020-07-24 06:45:00 | 2.393 | 38.28 | 3.039 | 58.49 | 2.846 | 55.0976 | 2.829 | 40.17 | 24.2 | 969.44 | 56.7829 | -0.27711
2020-07-24 07:00:00 | 2.061 | 38.7 | 3.08 | 54.64 | 3.291 | 51.4709 | 3.244 | 42.15 | 24.44 | 969.683 | 57.3279 | -0.25864
2020-07-24 07:15:00 | 1.295 | 48.84 | 2.197 | 64.41 | 2.304 | 60.6742 | 2.134 | 56.23 | 25.22 | 969.806 | 57.9414 | -0.27711
2020-07-24 07:30:00 | 1.059 | 88.7 | 1.158 | 111.6 | 0.68 | 105.127 | 0.45 | 56.3 | 25.81 | 970.397 | 50.9874 | -0.25864
2020-07-24 07:45:00 | 0 | 40.92 | 0.199 | 138.7 | 0 | 130.655 | 0.495 | 36.75 | 25.87 | 970.703 | 51.6188 | -0.24016
2020-07-24 08:00:00 | 0.037 | 42.94 | 0.895 | 46.14 | 0 | 43.4639 | 0.187 | 37.33 | 26.96 | 970.843 | 55.2923 | -0.24016
2020-07-24 08:15:00 | 0.06 | 352.1 | 0 | 60.21 | 0 | 56.7178 | 0 | 281 | 26.77 | 971.287 | 55.0412 | -0.2882
2020-07-24 08:30:00 | 1.16 | 213.9 | 1.036 | 166.7 | 0.202 | 157.031 | 0 | 281.1 | 26.69 | 971.235 | 63.9646 | -0.24016
2020-07-24 08:45:00 | 0.864 | 248.7 | 0.46 | 204.3 | 0.146 | 192.451 | 0.049 | 250 | 26.93 | 970.833 | 61.5804 | -0.27711
2020-07-24 09:00:00 | 1.271 | 209.4 | 1.254 | 183 | 0.527 | 172.386 | 0.399 | 256.2 | 27.18 | 971.122 | 62.2275 | -0.27711
2020-07-24 09:15:00 | 0.671 | 293.1 | 1.017 | 291 | 0.311 | 274.122 | 0.154 | 248.2 | 27.29 | 971.093 | 59.1962 | -0.27711
2020-07-24 09:30:00 | 1.799 | 284.3 | 2.518 | 290.2 | 2.029 | 273.368 | 1.789 | 297 | 26.47 | 970.99 | 63.8965 | -0.27711
2020-07-24 09:45:00 | 2.021 | 278.4 | 2.139 | 287 | 1.528 | 270.354 | 1.365 | 283.4 | 26.69 | 970.99 | 63.9987 | -0.25864
2020-07-24 10:00:00 | 1.487 | 323.3 | 1.711 | 319.5 | 1.119 | 300.969 | 1.168 | 349.7 | 27.38 | 971.139 | 59.1281 | -0.25864
2020-07-24 10:15:00 | 0.962 | 20.7 | 1.464 | 8.36 | 1.652 | 7.8751 | 1.494 | 30.44 | 28.2 | 971.287 | 53.5082 | -0.22539
2020-07-24 10:30:00 | 2.42 | 2.364 | 2.642 | 354 | 2.446 | 333.468 | 2.258 | 12.61 | 28.84 | 971.379 | 54.4619 | -0.25864
2020-07-24 10:45:00 | 3.45 | 338 | 3.474 | 334 | 3.202 | 314.628 | 3.201 | 347.2 | 28.35 | 971.132 | 46.4918 | -0.27711
2020-07-24 11:00:00 | 3.432 | 314.3 | 3.633 | 321.1 | 3.197 | 302.476 | 3.101 | 324.4 | 28.32 | 970.99 | 44.0736 | -0.28081
2020-07-24 11:15:00 | 2.814 | 353 | 2.875 | 8.08 | 3.283 | 7.6114 | 3.365 | 350.7 | 28.7 | 970.842 | 44.6526 | -0.25125
2020-07-24 11:30:00 | 2.396 | 314.4 | 3.213 | 326.1 | 3.349 | 307.186 | 3.338 | 316 | 28.68 | 970.842 | 48.9782 | 0.051728
2020-07-24 11:45:00 | 1.969 | 358.2 | 2.642 | 6.359 | 2.394 | 5.9902 | 2.21 | 356.5 | 28.63 | 970.842 | 46.6621 | 0.15518
2020-07-24 12:00:00 | 3.123 | 330.3 | 3.965 | 324.9 | 3.94 | 306.056 | 4.028 | 341.3 | 28.58 | 970.397 | 44.312 | 0.56901
2020-07-24 12:15:00 | 3.347 | 351.1 | 3.305 | 347 | 2.848 | 326.874 | 2.793 | 4.219 | 29.29 | 970.546 | 39.7193 | 0.97913
2020-07-24 12:30:00 | 3.22 | 331.2 | 3.679 | 348.3 | 3.474 | 328.099 | 3.499 | 328.7 | 29.12 | 970.397 | 40.1331 | 1.4816
2020-07-24 12:45:00 | 1.238 | 338.7 | 2.614 | 329.5 | 2.985 | 310.389 | 2.871 | 358.1 | 29.58 | 970.397 | 37.8876 | 0.1404
2020-07-24 13:00:00 | 1.315 | 21.62 | 2.394 | 26.39 | 2.857 | 24.8594 | 2.663 | 24.69 | 30.05 | 970.397 | 38.4668 | -0.11084
2020-07-24 13:15:00 | 1.925 | 10.27 | 3.548 | 23.67 | 3.558 | 22.2971 | 3.326 | 10.19 | 29.31 | 970.249 | 39.1823 | 0.10346
2020-07-24 13:30:00 | 1.921 | 22.64 | 3.021 | 38.63 | 3.397 | 36.3895 | 3.15 | 24.59 | 29.81 | 970.101 | 37.9898 | -0.10715
2020-07-24 13:45:00 | 1.154 | 22.86 | 2.198 | 36.95 | 1.877 | 34.8069 | 1.741 | 30.09 | 29.76 | 970.694 | 37.5128 | -0.11084
2020-07-24 14:00:00 | 1.948 | 1.382 | 1.931 | 341.1 | 1.79 | 321.316 | 1.614 | 23.64 | 30.46 | 970.99 | 36.1158 | -0.12193
2020-07-24 14:15:00 | 2.383 | 312.2 | 3.262 | 318.7 | 2.868 | 300.215 | 2.816 | 327.3 | 30.28 | 970.99 | 38.8756 | -0.22539
2020-07-24 14:30:00 | 2.533 | 332.5 | 3.128 | 344.3 | 2.647 | 324.331 | 2.597 | 332.7 | 29.96 | 971.139 | 38.7676 | -0.25864
2020-07-24 14:45:00 | 2.684 | 290.9 | 2.773 | 297.6 | 2.866 | 280.339 | 2.64 | 295.8 | 30.05 | 971.287 | 40.0562 | -0.25864
2020-07-24 15:00:00 | 2.548 | 304.4 | 3.009 | 315.1 | 2.96 | 296.824 | 2.956 | 306.3 | 30.03 | 970.842 | 41.3828 | -0.25864
2020-07-24 15:15:00 | 3.023 | 308.4 | 3.448 | 323.7 | 3.067 | 304.925 | 2.982 | 307.5 | 29.96 | 970.842 | 40.5313 | -0.30298
2020-07-24 15:30:00 | 3.731 | 286.7 | 3.996 | 297.8 | 3.804 | 280.528 | 3.73 | 289.5 | 29.92 | 970.694 | 39.748 | -0.22169
2020-07-24 15:45:00 | 3.779 | 286.4 | 3.967 | 297.2 | 3.637 | 279.962 | 3.534 | 288.5 | 30.05 | 970.99 | 39.2371 | -0.1441
2020-07-24 16:00:00 | 3.332 | 261.3 | 3.725 | 274.3 | 3.542 | 258.391 | 3.468 | 267.1 | 29.87 | 970.842 | 40.1567 | -0.15149
2020-07-24 16:15:00 | 2.625 | 297.3 | 3.208 | 299.8 | 2.451 | 282.412 | 2.337 | 300.4 | 30.26 | 970.842 | 38.5559 | -0.2882
2020-07-24 16:30:00 | 2.049 | 292.1 | 2.781 | 306 | 2.702 | 288.252 | 2.591 | 291.1 | 30.29 | 970.99 | 37.0572 | -0.25864
2020-07-24 16:45:00 | 2.394 | 268.1 | 2.789 | 280.2 | 2.413 | 263.948 | 2.289 | 268.3 | 30.09 | 970.842 | 40.6676 | -0.20322
2020-07-24 17:00:00 | 1.969 | 295.1 | 2.832 | 307.1 | 2.561 | 289.288 | 2.467 | 291.9 | 30.09 | 970.804 | 40.2929 | -0.20322
2020-07-24 17:15:00 | 2.017 | 285.4 | 2.193 | 297.8 | 1.551 | 280.528 | 1.308 | 291 | 30.02 | 970.545 | 42.1662 | -0.12562
2020-07-24 17:30:00 | 2.172 | 288.1 | 2.6 | 300 | 2.451 | 282.6 | 2.309 | 290.2 | 29.99 | 970.688 | 43.0858 | -0.19213
2020-07-24 17:45:00 | 1.002 | 283.6 | 1.837 | 287.7 | 1.724 | 271.013 | 1.598 | 292.4 | 29.92 | 970.99 | 47.0027 | -0.25864
2020-07-24 18:00:00 | 1.72 | 287.9 | 1.917 | 299.8 | 1.615 | 282.412 | 1.368 | 295.3 | 29.83 | 970.694 | 44.3801 | -0.25864
2020-07-24 18:15:00 | 0.684 | 312.1 | 1.261 | 314.2 | 1.014 | 295.976 | 0.82 | 315.4 | 29.45 | 970.397 | 45.9809 | -0.25864
2020-07-24 18:30:00 | 1.609 | 3.435 | 1.761 | 18.58 | 1.711 | 17.5024 | 1.584 | 346.3 | 29.02 | 969.656 | 46.7303 | -0.26972
2020-07-24 18:45:00 | 2.681 | 354.6 | 2.479 | 7.06 | 2.093 | 6.6505 | 1.904 | 355.8 | 28.75 | 969.063 | 47.1462 | -0.26972
2020-07-24 19:00:00 | 1.928 | 356.9 | 1.498 | 11.09 | 1.362 | 10.4468 | 1.418 | 356.8 | 28.51 | 968.619 | 48.1771 | -0.25864
2020-07-24 19:15:00 | 1.514 | 344.1 | 1.534 | 8.63 | 1.447 | 8.1295 | 1.301 | 346.7 | 28.48 | 968.174 | 48.4497 | -0.25864
2020-07-24 19:30:00 | 1.109 | 304.2 | 1.656 | 320.2 | 1.33 | 301.628 | 1.097 | 306.6 | 28.37 | 968.601 | 47.9863 | -0.25864
2020-07-24 19:45:00 | 2.076 | 259.5 | 2.525 | 270.5 | 2.416 | 254.811 | 2.284 | 258.6 | 28.36 | 968.618 | 48.7356 | -0.26972
2020-07-24 20:00:00 | 2.566 | 254.9 | 3.185 | 264.5 | 3.23 | 249.159 | 3.112 | 256.3 | 28.32 | 968.321 | 50.3749 | 0.018474
2020-07-24 20:15:00 | 3.69 | 239.9 | 4.494 | 253.2 | 4.046 | 238.514 | 3.85 | 244.3 | 27.91 | 968.321 | 47.1711 | 0.67616
2020-07-24 20:30:00 | 3.884 | 235.6 | 4.3 | 246.3 | 4.351 | 232.015 | 4.232 | 240.7 | 28.1 | 968.473 | 43.6946 | 3.2219
2020-07-24 20:45:00 | 4.101 | 235.4 | 4.507 | 245.9 | 4.669 | 231.638 | 4.617 | 239.7 | 28.03 | 968.62 | 46.4894 | 6.4549
2020-07-24 21:00:00 | 3.771 | 234.9 | 4.453 | 244.6 | 4.641 | 230.413 | 4.612 | 240.3 | 27.76 | 968.475 | 47.2733 | 6.5399
2020-07-24 21:15:00 | 4.124 | 237.3 | 4.665 | 246 | 4.73 | 231.732 | 4.632 | 243.4 | 27.83 | 968.688 | 46.3531 | 6.8133
2020-07-24 21:30:00 | 3.917 | 238.6 | 4.366 | 245.3 | 4.346 | 231.073 | 4.212 | 244.5 | 27.81 | 968.598 | 46.0804 | 6.3588
2020-07-24 21:45:00 | 3.871 | 230.2 | 4.233 | 237.6 | 4.046 | 223.819 | 4.016 | 236.2 | 27.66 | 968.43 | 49.1479 | 6.4512
2020-07-24 22:00:00 | 3.537 | 230.5 | 4.195 | 239.2 | 4.834 | 225.326 | 4.823 | 235 | 27.5 | 968.573 | 50.3749 | 7.8848
2020-07-24 22:15:00 | 3.11 | 229.4 | 4.121 | 235 | 4.644 | 221.37 | 4.68 | 234.5 | 27.24 | 968.309 | 52.6926 | 11.0291
2020-07-24 22:30:00 | 4.484 | 227.2 | 5.322 | 237.5 | 6.02 | 223.725 | 6.045 | 231.9 | 26.98 | 968.335 | 55.1806 | 16.9446
2020-07-24 22:45:00 | 4.093 | 227.2 | 4.954 | 234.2 | 5.689 | 220.616 | 5.78 | 231.3 | 26.84 | 968.261 | 55.1472 | 14.9715
2020-07-24 23:00:00 | 3.531 | 225.9 | 4.284 | 235 | 5.374 | 221.37 | 5.455 | 232.9 | 26.49 | 968.459 | 58.1497 | 13.9887
2020-07-24 23:15:00 | 4.634 | 229.7 | 5.19 | 239.5 | 5.597 | 225.609 | 5.658 | 232.8 | 26.55 | 968.32 | 59.4833 | 11.927
2020-07-24 23:30:00 | 3.8 | 219.2 | 4.249 | 229.5 | 5.081 | 216.189 | 5.164 | 225 | 26.31 | 968.013 | 61.3601 | 10.3603
2020-07-24 23:45:00 | 4.463 | 228.3 | 4.949 | 236.8 | 6.004 | 223.066 | 6.129 | 234 | 26.21 | 968.172 | 62.1101 | 11.2397