## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-25 00:00:00 | 3.874 | 228 | 4.52 | 238 | 5.76 | 224.196 | 5.865 | 234.3 | 26.04 | 967.726 | 63.7464 | 9.4034
2020-07-25 00:15:00 | 4.218 | 227.1 | 5.154 | 235.7 | 5.641 | 222.029 | 5.694 | 232.1 | 26.03 | 967.726 | 64.7009 | 8.8898
2020-07-25 00:30:00 | 4.394 | 233.5 | 4.901 | 241.5 | 5.453 | 227.493 | 5.447 | 236.9 | 26 | 967.578 | 64.8372 | 9.4957
2020-07-25 00:45:00 | 3.654 | 229.2 | 4.062 | 236.2 | 5.025 | 222.5 | 5.177 | 236.6 | 25.8 | 967.726 | 65.4508 | 8.561
2020-07-25 01:00:00 | 3.276 | 228 | 3.806 | 238.2 | 4.687 | 224.384 | 4.79 | 231.4 | 25.69 | 967.726 | 66.1326 | 7.5116
2020-07-25 01:15:00 | 3.205 | 224.1 | 3.817 | 232.2 | 4.702 | 218.732 | 4.749 | 232.2 | 25.48 | 967.578 | 66.9507 | 6.8281
2020-07-25 01:30:00 | 3.626 | 232.6 | 4.098 | 240.4 | 4.954 | 226.457 | 4.953 | 236.9 | 25.29 | 967.43 | 65.792 | 7.5633
2020-07-25 01:45:00 | 4.075 | 233.4 | 4.453 | 239.3 | 5.119 | 225.421 | 5.223 | 237.4 | 25.36 | 967.726 | 66.7804 | 7.774
2020-07-25 02:00:00 | 3.94 | 239.3 | 4.512 | 247.7 | 5.15 | 233.333 | 5.192 | 244.4 | 25.25 | 967.578 | 68.3835 | 7.2641
2020-07-25 02:15:00 | 3.608 | 238.9 | 4.369 | 249.4 | 5.102 | 234.935 | 5.095 | 243.5 | 25.11 | 967.578 | 69.338 | 6.5251
2020-07-25 02:30:00 | 3.705 | 239.3 | 4.412 | 247.2 | 5.264 | 232.862 | 5.304 | 243.4 | 25.03 | 967.43 | 69.7192 | 5.5829
2020-07-25 02:45:00 | 3.381 | 243.5 | 4.187 | 255.8 | 5.15 | 240.964 | 5.2 | 246.2 | 25.05 | 967.43 | 67.9481 | 6.1667
2020-07-25 03:00:00 | 3.498 | 241.6 | 4.169 | 251.7 | 5.058 | 237.101 | 5.09 | 246.9 | 24.99 | 967.133 | 67.472 | 4.0459
2020-07-25 03:15:00 | 4.011 | 244 | 4.658 | 255.7 | 5.692 | 240.869 | 5.73 | 249 | 24.92 | 967.281 | 67.7114 | 4.3119
2020-07-25 03:30:00 | 4.257 | 242.6 | 4.949 | 254 | 5.809 | 239.268 | 5.831 | 248 | 24.66 | 967.133 | 69.0051 | 4.3414
2020-07-25 03:45:00 | 3.904 | 245.2 | 4.635 | 256 | 5.43 | 241.152 | 5.518 | 248.3 | 24.54 | 966.985 | 68.3259 | 3.9239
2020-07-25 04:00:00 | 3.958 | 235.1 | 4.517 | 244.5 | 5.17 | 230.319 | 5.154 | 242.1 | 24.4 | 966.837 | 72.2807 | 3.1886
2020-07-25 04:15:00 | 3.358 | 233.9 | 4.062 | 237.5 | 4.822 | 223.725 | 4.892 | 244.8 | 24.11 | 966.688 | 73.9175 | 2.7822
2020-07-25 04:30:00 | 3.664 | 235.8 | 4.203 | 244.4 | 4.641 | 230.225 | 4.711 | 241.3 | 24.03 | 966.837 | 76.6451 | 3.5138
2020-07-25 04:45:00 | 3.925 | 240.8 | 4.417 | 248.2 | 5.308 | 233.804 | 5.32 | 249.3 | 23.81 | 966.688 | 80.2591 | 5.6494
2020-07-25 05:00:00 | 3.853 | 245.1 | 4.402 | 252.8 | 5.119 | 238.138 | 5.149 | 251.9 | 23.48 | 966.688 | 83.0549 | 5.0878
2020-07-25 05:15:00 | 3.835 | 255.9 | 4.351 | 260.2 | 4.758 | 245.108 | 4.734 | 262.9 | 23.3 | 966.54 | 84.4871 | 3.983
2020-07-25 05:30:00 | 3.228 | 252.8 | 3.786 | 256.2 | 3.591 | 241.34 | 3.486 | 263.8 | 23.28 | 966.54 | 85.3105 | 1.5038
2020-07-25 05:45:00 | 3.039 | 249.3 | 3.19 | 249.7 | 3.441 | 235.217 | 3.379 | 253 | 23.26 | 966.688 | 85.9265 | 1.4003
2020-07-25 06:00:00 | 2.893 | 245 | 3.546 | 242.7 | 4.211 | 228.623 | 4.158 | 254.6 | 23.23 | 966.688 | 84.7366 | 2.5273
2020-07-25 06:15:00 | 2.508 | 259.8 | 3.924 | 268.5 | 4.832 | 252.927 | 4.729 | 263.5 | 23.45 | 966.837 | 82.5872 | 2.664
2020-07-25 06:30:00 | 3.394 | 258.4 | 3.967 | 268.3 | 4.613 | 252.739 | 4.556 | 262.9 | 23.86 | 967.281 | 81.4189 | 2.8081
2020-07-25 06:45:00 | 1.673 | 261.6 | 2.224 | 276.8 | 3.1 | 260.746 | 3.147 | 264.8 | 24.01 | 967.578 | 79.7125 | 1.3782
2020-07-25 07:00:00 | 1.942 | 249.7 | 2.313 | 262.4 | 3.11 | 247.181 | 3.18 | 259.2 | 24.54 | 967.875 | 78.6093 | 0.15518
2020-07-25 07:15:00 | 1.544 | 260.8 | 1.968 | 271.1 | 2.571 | 255.376 | 2.59 | 264.9 | 24.7 | 967.917 | 76.8236 | -0.23278
2020-07-25 07:30:00 | 1.992 | 250.8 | 2.444 | 272.3 | 2.447 | 256.507 | 2.441 | 247 | 24.98 | 968.321 | 75.9714 | -0.218
2020-07-25 07:45:00 | 2.01 | 257.4 | 2.301 | 267 | 2.378 | 251.514 | 2.248 | 262.2 | 24.7 | 968.025 | 76.5497 | -0.27711
2020-07-25 08:00:00 | 2.286 | 259 | 2.426 | 274.1 | 1.948 | 258.202 | 1.811 | 249.8 | 25.06 | 968.321 | 73.6872 | -0.26972
2020-07-25 08:15:00 | 1.964 | 252 | 2.155 | 260.8 | 1.899 | 245.674 | 1.767 | 257.2 | 25.17 | 968.47 | 71.6428 | -0.26972
2020-07-25 08:30:00 | 0.599 | 262.8 | 1.201 | 277.5 | 0.53 | 261.405 | 0.24 | 269.3 | 25.4 | 968.47 | 70.1089 | -0.25864
2020-07-25 08:45:00 | 0.694 | 235.8 | 1.023 | 273.5 | 0.294 | 257.637 | 0.076 | 234.8 | 25.87 | 968.915 | 70.2104 | -0.25864
2020-07-25 09:00:00 | 0.968 | 149.5 | 1.006 | 191.5 | 0.276 | 180.393 | 0.13 | 208.9 | 26.6 | 968.766 | 71.7082 | -0.25864
2020-07-25 09:15:00 | 1.632 | 157.9 | 1.581 | 180.2 | 0 | 169.748 | 0.127 | 181.2 | 26.49 | 968.854 | 68.7305 | -0.25864
2020-07-25 09:30:00 | 1.046 | 154.3 | 0.91 | 177.1 | 0 | 166.828 | 0.113 | 175.1 | 26.94 | 969.212 | 65.0086 | -0.26972
2020-07-25 09:45:00 | 1.072 | 147.6 | 1.061 | 154.6 | 0 | 145.633 | 0.121 | 175 | 27.3 | 969.212 | 66.4395 | -0.25864
2020-07-25 10:00:00 | 1.259 | 187.4 | 1.183 | 172.2 | 0 | 162.212 | 0 | 175 | 26.85 | 968.768 | 69.506 | -0.26972
2020-07-25 10:15:00 | 1.491 | 208.7 | 1.564 | 226.7 | 0 | 213.551 | 0.389 | 176.9 | 26.85 | 968.619 | 67.4617 | -0.2882
2020-07-25 10:30:00 | 2.255 | 216 | 2.162 | 229.2 | 0 | 215.906 | 0.895 | 222 | 27.02 | 968.619 | 64.3271 | -0.29928
2020-07-25 10:45:00 | 2.569 | 214 | 2.579 | 230 | 0 | 216.66 | 2.22 | 210.9 | 27.07 | 968.768 | 69.5741 | -0.2882
2020-07-25 11:00:00 | 2.597 | 212.2 | 2.288 | 211.2 | 0 | 198.95 | 1.778 | 222.2 | 26.97 | 968.619 | 71.6184 | -0.29928
2020-07-25 11:15:00 | 3.483 | 207.3 | 3.333 | 211.4 | 0 | 199.139 | 2.887 | 216.8 | 26.68 | 968.489 | 75.9139 | -0.2882
2020-07-25 11:30:00 | 2.651 | 187.6 | 2.433 | 202.8 | 0 | 191.038 | 0.977 | 206.3 | 26.74 | 968.277 | 75.0454 | -0.2882
2020-07-25 11:45:00 | 2.648 | 190.3 | 2.597 | 196.8 | 0 | 185.386 | 1.513 | 205.1 | 26.87 | 968.863 | 74.9117 | -0.26972
2020-07-25 12:00:00 | 1.936 | 207.6 | 1.992 | 227.9 | 0 | 214.682 | 1.357 | 217.6 | 27.16 | 968.306 | 68.6425 | -0.26972
2020-07-25 12:15:00 | 2.712 | 184.6 | 2.651 | 188.1 | 0 | 177.19 | 1.46 | 201.1 | 27.65 | 968.427 | 64.6806 | -0.2882
2020-07-25 12:30:00 | 1.028 | 205.9 | 1.33 | 224.8 | 0 | 211.762 | 1.13 | 205.7 | 27.61 | 968.381 | 63.3755 | -0.26972
2020-07-25 12:45:00 | 2.408 | 200.8 | 2.247 | 210.5 | 0 | 198.291 | 1.787 | 211.1 | 27.64 | 968.338 | 62.4874 | -0.2882
2020-07-25 13:00:00 | 3.197 | 206.3 | 2.894 | 215.2 | 0 | 202.718 | 2.709 | 212.6 | 27.4 | 967.598 | 63.0382 | -0.2882
2020-07-25 13:15:00 | 2.275 | 199.1 | 2.219 | 206.8 | 0 | 194.806 | 1.185 | 202.5 | 27.36 | 967.835 | 65.5067 | -0.2882
2020-07-25 13:30:00 | 2.556 | 184 | 2.431 | 199.4 | 0 | 187.835 | 1.627 | 196.1 | 27.27 | 967.726 | 67.5854 | -0.29928
2020-07-25 13:45:00 | 1.555 | 180 | 1.585 | 192.5 | 0 | 181.335 | 0.696 | 194.9 | 27.56 | 968.025 | 63.4595 | -0.26972
2020-07-25 14:00:00 | 1.377 | 179.2 | 1.608 | 189.5 | 0 | 178.509 | 1.277 | 192.4 | 27.7 | 967.876 | 60.9723 | -0.2882
2020-07-25 14:15:00 | 0.302 | 175.2 | 0.951 | 175 | 0 | 164.85 | 0.469 | 177.3 | 27.55 | 967.876 | 64.5865 | -0.26972
2020-07-25 14:30:00 | 1.65 | 154.3 | 1.909 | 171.2 | 0 | 161.27 | 1.313 | 170.2 | 27.4 | 968.173 | 65.4044 | -0.26972
2020-07-25 14:45:00 | 0.658 | 153.5 | 1.421 | 173.1 | 0 | 163.06 | 1.146 | 164.1 | 27.25 | 967.728 | 70.6856 | -0.25864
2020-07-25 15:00:00 | 1.786 | 154.6 | 2.004 | 163.4 | 0 | 153.923 | 1.166 | 161.7 | 26.92 | 967.431 | 75.7981 | -0.25864
2020-07-25 15:15:00 | 1.908 | 158.2 | 2.042 | 163.6 | 0 | 154.111 | 1.294 | 161.9 | 26.67 | 966.838 | 72.8973 | -0.28081
2020-07-25 15:30:00 | 1.793 | 185.8 | 2.421 | 189.4 | 0 | 178.415 | 2.113 | 193.8 | 26.61 | 966.838 | 71.9148 | -0.25494
2020-07-25 15:45:00 | 2.245 | 191.6 | 2.768 | 200 | 0 | 188.4 | 2.556 | 195.9 | 26.57 | 966.69 | 71.1656 | -0.2882
2020-07-25 16:00:00 | 2.311 | 162 | 2.753 | 175.5 | 0 | 165.321 | 2.633 | 169.4 | 26.58 | 966.69 | 76.1418 | -0.27342
2020-07-25 16:15:00 | 2.681 | 147.5 | 3.246 | 161.8 | 0 | 152.416 | 2.961 | 163.3 | 26.29 | 966.393 | 79.6864 | -0.26972
2020-07-25 16:30:00 | 2.314 | 156.6 | 2.955 | 161.8 | 0 | 152.416 | 2.768 | 172.2 | 26.11 | 966.403 | 76.4144 | -0.28081
2020-07-25 16:45:00 | 2.137 | 130.8 | 2.451 | 138 | 0 | 129.996 | 1.201 | 149.9 | 26.25 | 966.281 | 73.6196 | -0.28081
2020-07-25 17:00:00 | 2.321 | 163 | 3.193 | 170.8 | 0 | 160.894 | 2.488 | 180.4 | 26.63 | 966.794 | 76.8234 | -0.2882
2020-07-25 17:15:00 | 2.508 | 183.5 | 3.011 | 189.3 | 0 | 178.321 | 2.378 | 193.3 | 26.51 | 967.06 | 74.8466 | -0.2882
2020-07-25 17:30:00 | 2.314 | 197.7 | 2.618 | 211.6 | 0 | 199.327 | 2.399 | 200.8 | 26.82 | 967.001 | 71.3701 | -0.2882
2020-07-25 17:45:00 | 1.185 | 171.4 | 1.439 | 185 | 0 | 174.27 | 1.124 | 194.6 | 26.83 | 967.314 | 70.0068 | -0.2882
2020-07-25 18:00:00 | 1.573 | 40.36 | 2.006 | 57.33 | 0 | 54.0049 | 0.397 | 83.1 | 26.65 | 966.987 | 70.8248 | -0.25864
2020-07-25 18:15:00 | 1.422 | 238.8 | 1.766 | 252.3 | 0 | 237.667 | 1.379 | 252.3 | 27.01 | 967.287 | 64.4172 | -0.25864
2020-07-25 18:30:00 | 2.561 | 235.8 | 2.889 | 241.9 | 0 | 227.87 | 2.544 | 242.7 | 27.01 | 967.302 | 64.2467 | -0.2882
2020-07-25 18:45:00 | 2.635 | 238.3 | 2.84 | 243.5 | 0 | 229.377 | 2.577 | 249.7 | 26.92 | 967.147 | 65.576 | -0.26972
2020-07-25 19:00:00 | 3.108 | 242.3 | 3.269 | 248.9 | 0.072 | 234.464 | 3.346 | 249.8 | 26.88 | 967.158 | 65.7805 | -0.2882
2020-07-25 19:15:00 | 2.411 | 253 | 2.983 | 261.7 | 0.009 | 246.521 | 2.859 | 255 | 26.84 | 967.078 | 67.4846 | -0.17735
2020-07-25 19:30:00 | 2.398 | 253.9 | 3.3 | 266.1 | 0.171 | 250.666 | 3.338 | 256.9 | 26.72 | 967.247 | 68.3708 | -0.048033
2020-07-25 19:45:00 | 2.38 | 258 | 3.021 | 267 | 0.016 | 251.514 | 3.282 | 261.4 | 26.74 | 967.082 | 63.4295 | -0.19583
2020-07-25 20:00:00 | 3.401 | 245.9 | 3.694 | 254.7 | 0.177 | 239.927 | 3.86 | 249.4 | 26.81 | 967.112 | 61.4211 | -0.066507
2020-07-25 20:15:00 | 3.197 | 242.2 | 3.781 | 249.5 | 0.162 | 235.029 | 3.814 | 247.8 | 26.84 | 967.554 | 61.1495 | -0.066507
2020-07-25 20:30:00 | 3.105 | 235.1 | 3.653 | 243.2 | 0.115 | 229.094 | 3.644 | 239.2 | 26.7 | 967.575 | 62.3065 | 0.22908
2020-07-25 20:45:00 | 3.077 | 231.5 | 3.666 | 238.7 | 0.239 | 224.855 | 3.743 | 236 | 26.9 | 967.684 | 60.0919 | 0.65399
2020-07-25 21:00:00 | 3.077 | 226.6 | 3.553 | 234.9 | 0.133 | 221.276 | 4.163 | 232.7 | 26.5 | 967.975 | 66.3286 | 2.4866
2020-07-25 21:15:00 | 4.417 | 244.9 | 5 | 254.2 | 0.072 | 239.456 | 5.246 | 246.4 | 26.16 | 967.427 | 70.2202 | 10.5968
2020-07-25 21:30:00 | 4.726 | 249.9 | 5.205 | 260 | 5.618 | 244.92 | 5.513 | 252.1 | 25.23 | 967.281 | 76.9047 | 12.8507
2020-07-25 21:45:00 | 5.222 | 246.8 | 5.673 | 258.8 | 5.661 | 243.79 | 5.561 | 248.5 | 24.47 | 967.133 | 84.5443 | 9.6731
2020-07-25 22:00:00 | 4.55 | 252.3 | 5.425 | 264.5 | 6.078 | 249.159 | 6.03 | 255.9 | 23.73 | 966.837 | 88.7828 | 7.8589
2020-07-25 22:15:00 | 2.949 | 256.1 | 4.187 | 267.5 | 4.868 | 251.985 | 4.856 | 259.2 | 23.84 | 966.837 | 81.8957 | 2.2354
2020-07-25 22:30:00 | 0.174 | 253.7 | 2.109 | 267 | 2.502 | 251.514 | 2.416 | 257.5 | 24.73 | 966.837 | 63.4163 | -0.22539
2020-07-25 22:45:00 | 0.2 | 254.9 | 2.004 | 279.6 | 2.014 | 263.383 | 1.876 | 257.5 | 25.25 | 967.281 | 62.8708 | -0.31776
2020-07-25 23:00:00 | 2.27 | 241.9 | 2.909 | 252.3 | 2.556 | 237.667 | 2.34 | 247.7 | 25.76 | 967.43 | 58.3352 | -0.2882
2020-07-25 23:15:00 | 0.011 | 242.3 | 0.105 | 256.5 | 0 | 241.623 | 0 | 247.7 | 25.86 | 967.133 | 59.2564 | -0.2882
2020-07-25 23:30:00 | 0.481 | 323 | 0.83 | 260.2 | 0.388 | 245.108 | 0.343 | 311.9 | 26.13 | 967.875 | 60.686 | -0.32145
2020-07-25 23:45:00 | 2.615 | 257.7 | 3.05 | 273.6 | 3.034 | 257.731 | 3.02 | 260 | 24.61 | 966.837 | 65.3559 | -0.33993