## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-26 00:00:00 | 1.734 | 259 | 1.978 | 275.9 | 0.942 | 259.898 | 0.742 | 262.8 | 24.81 | 966.688 | 60.9955 | -0.26972
2020-07-26 00:15:00 | 1.946 | 313.3 | 1.963 | 336.1 | 1.296 | 316.606 | 1.221 | 312.3 | 24.01 | 966.243 | 63.6217 | -0.2882
2020-07-26 00:30:00 | 1.683 | 322.6 | 1.891 | 344.8 | 1.365 | 324.802 | 1.175 | 326.4 | 23.63 | 965.947 | 68.3373 | -0.2882
2020-07-26 00:45:00 | 0 | 316.9 | 0.86 | 331.4 | 0.373 | 312.179 | 0 | 315.1 | 23.24 | 965.828 | 75.7715 | -0.2882
2020-07-26 01:00:00 | 2.931 | 16.81 | 2.917 | 26.19 | 2.434 | 24.671 | 2.248 | 23.15 | 23.05 | 966.046 | 69.3609 | -0.28081
2020-07-26 01:15:00 | 3.348 | 24.71 | 3.418 | 37.09 | 2.708 | 34.9388 | 2.635 | 38.01 | 22.63 | 966.041 | 74.2067 | -0.33254
2020-07-26 01:30:00 | 1.974 | 41.73 | 2.298 | 44.14 | 1.723 | 41.5799 | 1.527 | 70.77 | 22.48 | 966.381 | 71.6153 | 0.033254
2020-07-26 01:45:00 | 2.967 | 83.8 | 3.009 | 83.1 | 2.294 | 78.2802 | 2.312 | 103 | 22.98 | 966.341 | 68.9518 | 0.21061
2020-07-26 02:00:00 | 4.803 | 72.5 | 5.279 | 85.4 | 4.489 | 80.4468 | 4.352 | 82.7 | 22.29 | 965.647 | 81.235 | 3.3993
2020-07-26 02:15:00 | 4.632 | 64.05 | 3.415 | 69.01 | 3.133 | 65.0074 | 3.196 | 91.9 | 22.11 | 965.648 | 79.5357 | 3.3771
2020-07-26 02:30:00 | 4.645 | 55.84 | 3.955 | 71.63 | 3.235 | 67.4755 | 3.448 | 89.3 | 21.95 | 965.351 | 78.3083 | 4.8698
2020-07-26 02:45:00 | 5.518 | 57.43 | 4.54 | 77.5 | 3.464 | 73.005 | 3.662 | 71.73 | 21.9 | 965.351 | 79.2633 | 8.1952
2020-07-26 03:00:00 | 4.91 | 56.58 | 5.611 | 68.26 | 4.611 | 64.3009 | 4.352 | 63.96 | 21.26 | 964.906 | 84.7885 | 9.795
2020-07-26 03:15:00 | 4.719 | 41.42 | 6.258 | 53.68 | 5.127 | 50.5666 | 4.935 | 54.52 | 21.43 | 964.757 | 88.2318 | 7.5301
2020-07-26 03:30:00 | 4.566 | 45.58 | 6.082 | 57.94 | 6.233 | 54.5795 | 6.229 | 55.29 | 21.32 | 964.757 | 88.5394 | 7.4525
2020-07-26 03:45:00 | 4.589 | 53.24 | 5.394 | 67.63 | 0.195 | 63.7075 | 4.477 | 61.95 | 21.24 | 964.757 | 83.6289 | 8.4834
2020-07-26 04:00:00 | 4.517 | 62.95 | 3.845 | 75.84 | 0 | 71.4413 | 3.84 | 78.12 | 21.95 | 964.906 | 82.7421 | 3.6062
2020-07-26 04:15:00 | 3.802 | 70.35 | 3.433 | 74.75 | 0 | 70.4145 | 4.217 | 93.5 | 21.91 | 964.757 | 75.8185 | 0.30667
2020-07-26 04:30:00 | 0.103 | 124.8 | 1.295 | 127.1 | 0 | 119.728 | 1.887 | 124.1 | 22.8 | 965.054 | 74.4202 | 0.29189
2020-07-26 04:45:00 | 3.856 | 97.2 | 5.121 | 103.5 | 0 | 97.497 | 5.309 | 113.3 | 22.54 | 965.203 | 79.3961 | 3.2995
2020-07-26 05:00:00 | 4.821 | 109.2 | 4.655 | 113.1 | 0 | 106.54 | 4.497 | 120.8 | 23.11 | 965.442 | 80.2747 | 4.3784
2020-07-26 05:15:00 | 2.35 | 115.4 | 2.528 | 121.5 | 0.009 | 114.453 | 2.544 | 126.6 | 22.12 | 965.293 | 81.9097 | 0.86459
2020-07-26 05:30:00 | 0.544 | 142.3 | 1.963 | 161.8 | 1.077 | 152.416 | 2.87 | 147.2 | 21.99 | 965.496 | 84.3755 | -0.3584
2020-07-26 05:45:00 | 1.807 | 146.7 | 1.845 | 148.7 | 0.003 | 140.075 | 0.469 | 176.5 | 22.58 | 965.351 | 75.6469 | -0.099761
2020-07-26 06:00:00 | 0.082 | 166.8 | 0.583 | 148.3 | 0 | 139.699 | 0 | 176.9 | 23.01 | 965.351 | 70.4979 | -0.33993
2020-07-26 06:15:00 | 0 | 206.7 | 1.298 | 189.7 | 0 | 178.697 | 0 | 177.3 | 23.3 | 965.796 | 67.0191 | -0.29928
2020-07-26 06:30:00 | 0.339 | 222.8 | 1.647 | 216.7 | 0 | 204.131 | 1.184 | 179.2 | 23.18 | 965.945 | 67.1507 | -0.29928
2020-07-26 06:45:00 | 2.321 | 233.2 | 2.791 | 239.3 | 0 | 225.421 | 2.246 | 231.6 | 23.41 | 965.871 | 66.053 | -0.2882
2020-07-26 07:00:00 | 1.959 | 250.3 | 2.203 | 259.3 | 0 | 244.261 | 1.678 | 251.9 | 23.31 | 965.669 | 68.133 | -0.29928
2020-07-26 07:15:00 | 2.926 | 275.7 | 3.328 | 288.7 | 0.567 | 271.955 | 3.297 | 278.6 | 22.75 | 965.579 | 72.9088 | -0.32884
2020-07-26 07:30:00 | 1.21 | 293.1 | 2.661 | 313 | 3.222 | 294.846 | 2.887 | 291 | 21.87 | 965.35 | 83.4908 | -0.28081
2020-07-26 07:45:00 | 0 | 276.2 | 0.008 | 332.1 | 2.078 | 312.838 | 0.932 | 270 | 20.97 | 965.648 | 86.8349 | -0.29928
2020-07-26 08:00:00 | 0 | 280.2 | 0.086 | 301.8 | 3.222 | 284.296 | 0.132 | 274.2 | 21.16 | 966.093 | 87.1078 | -0.29928
2020-07-26 08:15:00 | 0.004 | 233.5 | 1.373 | 252.8 | 3.204 | 238.138 | 1.152 | 246.4 | 21.11 | 965.945 | 91.2687 | -0.29928
2020-07-26 08:30:00 | 0.149 | 224.1 | 0.863 | 242.2 | 2.194 | 228.152 | 0.417 | 224.9 | 20.58 | 966.093 | 99.7953 | -0.29928
2020-07-26 08:45:00 | 0 | 221.5 | 0 | 242.2 | 1.696 | 228.152 | 0 | 226.8 | 20.61 | 966.241 | 99.8977 | -0.29928
2020-07-26 09:00:00 | 1.38 | 350.6 | 1.879 | 31.01 | 0.84 | 29.2114 | 1.288 | 219.6 | 20.51 | 965.945 | 99.8635 | -0.29928
2020-07-26 09:15:00 | 2.145 | 333.1 | 2.341 | 342.2 | 3.186 | 322.352 | 2.098 | 330.5 | 20.7 | 965.945 | 99.8947 | -0.31406
2020-07-26 09:30:00 | 1.369 | 8 | 1.72 | 19.9 | 1.922 | 18.7458 | 0.862 | 5.844 | 20.21 | 965.648 | 99.0376 | -0.2882
2020-07-26 09:45:00 | 1.715 | 15.38 | 2.242 | 31.21 | 0.81 | 29.3998 | 1.851 | 25.13 | 20.1 | 965.648 | 97.1349 | -0.29928
2020-07-26 10:00:00 | 0.333 | 34.01 | 0.24 | 45.09 | 0 | 42.4748 | 0.006 | 41.01 | 20.22 | 966.093 | 99.8635 | -0.29928
2020-07-26 10:15:00 | 0.718 | 6.24 | 0.646 | 344.8 | 0 | 324.802 | 0 | 40.94 | 20.68 | 966.538 | 99.1814 | -0.29928
2020-07-26 10:30:00 | 0 | 270.6 | 0 | 283.3 | 0 | 266.869 | 0.034 | 269.8 | 20.95 | 966.686 | 94.539 | -0.29928
2020-07-26 10:45:00 | 0.007 | 24.49 | 0.098 | 323.2 | 0 | 304.454 | 0.1 | 18.14 | 21.3 | 966.414 | 97.6646 | -0.29928
2020-07-26 11:00:00 | 0.015 | 65.59 | 0.419 | 88.1 | 0 | 82.9902 | 0 | 18.31 | 20.98 | 966.297 | 97.9369 | -0.29928
2020-07-26 11:15:00 | 0.563 | 135.4 | 1.292 | 151.2 | 0 | 142.43 | 1.795 | 140.4 | 20.93 | 966.245 | 95.9932 | -0.2882
2020-07-26 11:30:00 | 2.224 | 164.1 | 2.364 | 184.8 | 1.923 | 174.082 | 2.304 | 167.6 | 20.87 | 966.14 | 99.5738 | -0.29928
2020-07-26 11:45:00 | 4.047 | 162.1 | 4.108 | 175.4 | 3.222 | 165.227 | 3.99 | 166.2 | 20.4 | 966.196 | 99.9182 | 0.82395
2020-07-26 12:00:00 | 2.811 | 129.5 | 3.068 | 139.4 | 3.204 | 131.315 | 3.422 | 133.6 | 20.27 | 966.093 | 99.9298 | 1.7588
2020-07-26 12:15:00 | 1.695 | 61.85 | 2.955 | 79.71 | 1.659 | 75.0868 | 3.331 | 73.63 | 20.23 | 965.648 | 99.8976 | 0.31406
2020-07-26 12:30:00 | 2.096 | 56.72 | 2.625 | 62.57 | 1.124 | 58.9409 | 2.582 | 73.51 | 20.23 | 965.648 | 99.8977 | 0.33254
2020-07-26 12:45:00 | 0.21 | 98.2 | 0.784 | 107.5 | 0 | 101.265 | 1.347 | 93.4 | 20.84 | 966.241 | 99.1132 | 2.4201
2020-07-26 13:00:00 | 3.342 | 92.1 | 4.313 | 104.8 | 0 | 98.7216 | 4.191 | 98.7 | 21.47 | 966.294 | 91.2203 | 3.3586
2020-07-26 13:15:00 | 2.877 | 90.4 | 3.574 | 98.4 | 0 | 92.6928 | 4.286 | 96.6 | 21.74 | 966.392 | 92.538 | 4.5927
2020-07-26 13:30:00 | 1.963 | 100.2 | 2.677 | 122.4 | 0.011 | 115.301 | 3.631 | 105.8 | 22.23 | 966.54 | 90.283 | 2.8894
2020-07-26 13:45:00 | 1.571 | 114.4 | 2.249 | 141.5 | 0 | 133.293 | 2.587 | 119 | 22.04 | 966.243 | 89.1208 | 2.5125
2020-07-26 14:00:00 | 1.078 | 111 | 2.262 | 128.6 | 0 | 121.141 | 2.397 | 116.2 | 21.74 | 966.095 | 87.8281 | 0.97544
2020-07-26 14:15:00 | 0.112 | 74.22 | 0.739 | 103.9 | 0 | 97.8738 | 0.792 | 83.2 | 21.6 | 965.798 | 87.4872 | -0.15149
2020-07-26 14:30:00 | 1.236 | 160.8 | 1.419 | 257.8 | 0 | 242.848 | 0.682 | 171.9 | 21.04 | 965.65 | 99.9028 | -0.33623
2020-07-26 14:45:00 | 0.37 | 117.9 | 1.368 | 144 | 0 | 135.648 | 1.474 | 123.5 | 21.44 | 965.798 | 90.196 | -0.22539
2020-07-26 15:00:00 | 2.594 | 99.6 | 3.231 | 113.7 | 0 | 107.105 | 3.058 | 108.2 | 21.46 | 965.65 | 88.3546 | -0.12562
2020-07-26 15:15:00 | 3.726 | 134.6 | 3.927 | 154 | 1.348 | 145.068 | 3.641 | 137.2 | 20.7 | 965.353 | 98.2779 | 5.3612
2020-07-26 15:30:00 | 7.51 | 137.3 | 7.455 | 157.2 | 0.324 | 148.082 | 6.417 | 140 | 19.53 | 964.86 | 99.8823 | 22.472
2020-07-26 15:45:00 | 5.995 | 120.5 | 6.335 | 136.4 | 0.408 | 128.489 | 6.473 | 120.3 | 19.33 | 964.461 | 99.8973 | 25.6164
2020-07-26 16:00:00 | 5.173 | 105.6 | 5.545 | 116 | 0.273 | 109.272 | 5.949 | 116.9 | 19.61 | 964.312 | 88.0627 | 13.2349
2020-07-26 16:15:00 | 4.157 | 105.3 | 4.538 | 116.7 | 0.055 | 109.931 | 5.146 | 115.5 | 20.51 | 964.312 | 82.712 | 7.2936
2020-07-26 16:30:00 | 7.144 | 134.7 | 7.437 | 150.2 | 4.664 | 141.488 | 7.535 | 141.8 | 22.22 | 964.609 | 64.734 | 11.805
2020-07-26 16:45:00 | 5.27 | 130.4 | 5.755 | 145.3 | 0.035 | 136.873 | 5.633 | 137.1 | 22.31 | 965.054 | 67.6672 | 12.1487
2020-07-26 17:00:00 | 5.643 | 134.3 | 6 | 148.4 | 0.003 | 139.793 | 5.709 | 141.3 | 22.16 | 965.018 | 72.8056 | 12.4701
2020-07-26 17:15:00 | 5.434 | 117.3 | 6.095 | 132.8 | 0.019 | 125.098 | 6.241 | 125.9 | 21.94 | 964.869 | 76.2489 | 16.4236
2020-07-26 17:30:00 | 4.417 | 117.1 | 5.284 | 129.1 | 0.003 | 121.612 | 5.516 | 124.6 | 22.15 | 964.987 | 76.3854 | 11.9307
2020-07-26 17:45:00 | 4.795 | 119.2 | 5.412 | 135.4 | 0.009 | 127.547 | 6.206 | 126.3 | 21.86 | 964.474 | 76.4536 | 13.8778
2020-07-26 18:00:00 | 3.657 | 115.1 | 4.377 | 128.8 | 0 | 121.33 | 5.045 | 123.7 | 21.89 | 965.272 | 77.613 | 8.1065
2020-07-26 18:15:00 | 5.411 | 127.4 | 5.634 | 141.7 | 0 | 133.481 | 5.702 | 133.4 | 22.13 | 965.121 | 75.6692 | 9.4219
2020-07-26 18:30:00 | 5.104 | 128.5 | 5.008 | 140.1 | 0 | 131.974 | 4.693 | 136 | 21.95 | 965.401 | 74.3393 | 6.3108
2020-07-26 18:45:00 | 4.282 | 123.1 | 4.773 | 135.4 | 0 | 127.547 | 4.573 | 133 | 22.12 | 965.424 | 73.2481 | 7.1421
2020-07-26 19:00:00 | 4.571 | 133.1 | 4.722 | 146.3 | 0 | 137.815 | 4.538 | 140.2 | 22.09 | 965.271 | 75.6692 | 8.0363
2020-07-26 19:15:00 | 5 | 131.4 | 4.699 | 144.1 | 0 | 135.742 | 4.37 | 138.2 | 21.98 | 965.476 | 78.1586 | 7.6114
2020-07-26 19:30:00 | 4.726 | 125.2 | 4.77 | 141.1 | 0 | 132.916 | 4.52 | 129.7 | 21.98 | 965.179 | 78.4314 | 5.1691
2020-07-26 19:45:00 | 3.12 | 108.9 | 3.53 | 124.6 | 0 | 117.373 | 3.776 | 115.9 | 21.95 | 965.393 | 80.4776 | 4.5742
2020-07-26 20:00:00 | 3.212 | 108.7 | 3.436 | 124.3 | 0 | 117.091 | 3.389 | 116.9 | 21.99 | 965.227 | 79.5568 | 4.7109
2020-07-26 20:15:00 | 2.518 | 103.9 | 2.528 | 108.6 | 0 | 102.301 | 2.111 | 119.7 | 22.12 | 965.407 | 80.4433 | 3.1111
2020-07-26 20:30:00 | 3.411 | 97.7 | 3.788 | 109.4 | 0 | 103.055 | 3.175 | 105.8 | 21.98 | 965.425 | 80.7505 | 4.105
2020-07-26 20:45:00 | 2.76 | 99.8 | 3.653 | 113.5 | 0 | 106.917 | 3.399 | 107.9 | 21.86 | 965.298 | 80.8873 | 6.3071
2020-07-26 21:00:00 | 3.976 | 105.2 | 4.341 | 118.1 | 0 | 111.25 | 4.433 | 111.7 | 22.12 | 965.118 | 79.8993 | 9.3516
2020-07-26 21:15:00 | 5.196 | 101.3 | 5.266 | 114.6 | 0 | 107.953 | 4.711 | 109.6 | 22.13 | 964.767 | 79.0794 | 13.7005
2020-07-26 21:30:00 | 4.885 | 99 | 5.507 | 113.1 | 0 | 106.54 | 5.373 | 104.1 | 21.98 | 964.648 | 80.4776 | 18.441
2020-07-26 21:45:00 | 4.693 | 97.1 | 4.88 | 113.4 | 0.003 | 106.823 | 5.264 | 106.6 | 21.98 | 964.795 | 80.6824 | 13.4345
2020-07-26 22:00:00 | 4.356 | 105.5 | 4.834 | 119.6 | 0 | 112.663 | 5.409 | 111.4 | 21.93 | 964.696 | 80.3426 | 11.2323
2020-07-26 22:15:00 | 4.326 | 108 | 4.76 | 121.3 | 0 | 114.265 | 5.541 | 112.5 | 21.99 | 964.893 | 80.4801 | 6.7468
2020-07-26 22:30:00 | 3.281 | 116 | 3.691 | 133.7 | 0 | 125.945 | 4.543 | 118.1 | 22 | 965.168 | 80.5478 | 3.8463
2020-07-26 22:45:00 | 4.517 | 127.6 | 4.816 | 141.5 | 0 | 133.293 | 4.815 | 131.9 | 22.15 | 965.043 | 79.39 | 4.9548
2020-07-26 23:00:00 | 5.222 | 132.1 | 5.22 | 145.6 | 0 | 137.155 | 5.401 | 137.6 | 22.13 | 965.623 | 80.2735 | 6.7837
2020-07-26 23:15:00 | 5.229 | 131.6 | 5.686 | 146.4 | 0 | 137.909 | 5.643 | 139 | 22.12 | 965.124 | 77.0004 | 7.6077
2020-07-26 23:30:00 | 5.812 | 124.6 | 6.412 | 138.3 | 0 | 130.279 | 6.313 | 132.7 | 22.34 | 964.756 | 78.7042 | 7.7924
2020-07-26 23:45:00 | 5.074 | 116.7 | 5.481 | 134.3 | 0 | 126.511 | 6.188 | 123.9 | 22.07 | 964.743 | 81.5686 | 8.1028