## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-27 00:00:00 | 4.093 | 122.1 | 5.023 | 137.4 | 0 | 129.431 | 5.803 | 128.2 | 22.08 | 965.041 | 81.2276 | 6.03
2020-07-27 00:15:00 | 4.614 | 118.6 | 5.376 | 134 | 0 | 126.228 | 5.793 | 126 | 22.18 | 964.885 | 79.6604 | 6.6803
2020-07-27 00:30:00 | 4.19 | 123.9 | 4.558 | 142.5 | 0.003 | 134.235 | 5.029 | 127.1 | 22.17 | 964.668 | 81.4663 | 7.6964
2020-07-27 00:45:00 | 4.642 | 122.8 | 4.755 | 138.4 | 0.003 | 130.373 | 5.266 | 125.9 | 22.02 | 964.582 | 82.3871 | 8.9785
2020-07-27 01:00:00 | 3.789 | 116.3 | 4.249 | 135.8 | 0 | 127.924 | 4.976 | 122.2 | 21.94 | 964.606 | 83.343 | 6.6766
2020-07-27 01:15:00 | 3.432 | 115.2 | 4.072 | 130.2 | 0 | 122.648 | 4.744 | 122.5 | 21.91 | 964.598 | 81.5004 | 5.3982
2020-07-27 01:30:00 | 2.914 | 118.1 | 3.05 | 139.3 | 0 | 131.221 | 3.445 | 123 | 21.85 | 964.645 | 83.9557 | 5.2134
2020-07-27 01:45:00 | 3.35 | 117.3 | 3.712 | 134.7 | 0 | 126.887 | 4.291 | 122.7 | 21.87 | 964.638 | 82.7978 | 6.5953
2020-07-27 02:00:00 | 3.651 | 127.2 | 4.011 | 145 | 0 | 136.59 | 3.797 | 124.7 | 21.78 | 964.387 | 84.7742 | 11.188
2020-07-27 02:15:00 | 4.236 | 125.4 | 4.607 | 147.3 | 0.003 | 138.757 | 5.358 | 125 | 22 | 964.534 | 82.5927 | 10.0943
2020-07-27 02:30:00 | 4.64 | 128.7 | 5.238 | 145.6 | 0 | 137.155 | 4.889 | 134 | 22.21 | 964.361 | 80.8866 | 7.7259
2020-07-27 02:45:00 | 4.185 | 129.6 | 4.525 | 144.6 | 0 | 136.213 | 4.864 | 136.5 | 21.99 | 964.32 | 83.0009 | 5.2282
2020-07-27 03:00:00 | 4.034 | 132.9 | 4.507 | 146.8 | 0 | 138.286 | 4.405 | 139 | 21.94 | 964.004 | 82.3871 | 4.8107
2020-07-27 03:15:00 | 3.363 | 133.3 | 3.783 | 149.2 | 0 | 140.546 | 4.306 | 138.4 | 21.8 | 964.093 | 83.8875 | 6.0189
2020-07-27 03:30:00 | 3.937 | 119.2 | 4.645 | 134.4 | 0 | 126.605 | 4.859 | 127.7 | 21.9 | 964.245 | 81.7738 | 10.05
2020-07-27 03:45:00 | 5.886 | 121.9 | 5.916 | 136.5 | 0 | 128.583 | 5.546 | 126.9 | 21.7 | 963.96 | 83.5476 | 13.7818
2020-07-27 04:00:00 | 4.218 | 119.8 | 4.236 | 138.1 | 0 | 130.09 | 4.599 | 124.8 | 21.65 | 963.85 | 85.0474 | 13.6709
2020-07-27 04:15:00 | 4.555 | 113.8 | 5.098 | 133.7 | 0 | 125.945 | 5.526 | 119.4 | 21.61 | 963.661 | 85.7653 | 13.9185
2020-07-27 04:30:00 | 4.463 | 114.8 | 4.975 | 132.7 | 0 | 125.003 | 5.34 | 120.3 | 21.63 | 964.162 | 85.3236 | 9.832
2020-07-27 04:45:00 | 4.4 | 115 | 4.883 | 131.3 | 0 | 123.685 | 5.289 | 122.3 | 21.73 | 964.158 | 83.4793 | 7.7185
2020-07-27 05:00:00 | 3.843 | 115.6 | 4.315 | 130.1 | 0 | 122.554 | 4.512 | 125.3 | 21.84 | 964.152 | 80.9911 | 6.1704
2020-07-27 05:15:00 | 3.876 | 120.9 | 4.013 | 133.7 | 0 | 125.945 | 3.733 | 130.9 | 22.07 | 964.267 | 79.1144 | 4.3267
2020-07-27 05:30:00 | 3.848 | 122.7 | 4.016 | 135.3 | 0 | 127.453 | 3.608 | 132 | 22.32 | 964.551 | 75.9764 | 4.3784
2020-07-27 05:45:00 | 3.943 | 128.4 | 4.001 | 141.9 | 0 | 133.67 | 3.483 | 137.1 | 22.46 | 964.471 | 75.9079 | 5.1802
2020-07-27 06:00:00 | 4.28 | 126.8 | 4.159 | 138.7 | 0 | 130.655 | 3.741 | 133 | 22.42 | 964.507 | 74.9872 | 6.3514
2020-07-27 06:15:00 | 4.078 | 126.8 | 3.86 | 138.9 | 0 | 130.844 | 3.382 | 134 | 22.51 | 964.464 | 74.4075 | 4.9917
2020-07-27 06:30:00 | 3.6 | 121.3 | 4.065 | 133.9 | 0 | 126.134 | 3.55 | 130.5 | 22.49 | 964.614 | 75.1577 | 4.0089
2020-07-27 06:45:00 | 0.454 | 58.03 | 0.796 | 46.17 | 0 | 43.4921 | 1.346 | 112.5 | 22.15 | 964.908 | 83.5465 | 2.0765
2020-07-27 07:00:00 | 1.992 | 36.82 | 2.115 | 41.06 | 0 | 38.6785 | 0.531 | 62.15 | 21.86 | 964.76 | 85.3197 | 2.6123
2020-07-27 07:15:00 | 0.322 | 88.2 | 1.409 | 78.8 | 0 | 74.2296 | 1.131 | 102.9 | 21.87 | 965.057 | 84.74 | 3.9424
2020-07-27 07:30:00 | 1.9 | 101 | 2.517 | 126.7 | 0 | 119.351 | 2.882 | 103 | 22.37 | 965.65 | 80.7459 | 2.0728
2020-07-27 07:45:00 | 2.1 | 92.4 | 2.776 | 104.6 | 0 | 98.5332 | 2.831 | 97.9 | 22.49 | 965.65 | 82.9188 | 0.5764
2020-07-27 08:00:00 | 1.177 | 114.8 | 1.941 | 146.5 | 0 | 138.003 | 2.13 | 105.5 | 22.82 | 965.947 | 79.7136 | -0.070202
2020-07-27 08:15:00 | 1.474 | 129.4 | 2.116 | 143.3 | 0 | 134.989 | 1.848 | 133 | 22.68 | 966.095 | 81.1115 | 0.081287
2020-07-27 08:30:00 | 1.694 | 113.3 | 2.653 | 136 | 0 | 128.112 | 2.032 | 111.4 | 22.97 | 966.243 | 83.3274 | -0.19583
2020-07-27 08:45:00 | 1.854 | 97.3 | 2.883 | 112.8 | 0 | 106.258 | 2.724 | 105.2 | 22.69 | 966.243 | 83.3222 | -0.25125
2020-07-27 09:00:00 | 2.622 | 91.5 | 3.714 | 110.3 | 0 | 103.903 | 3.664 | 95.5 | 22.65 | 966.392 | 83.6634 | -0.29928
2020-07-27 09:15:00 | 1.959 | 86.5 | 2.324 | 114.3 | 0 | 107.671 | 1.687 | 95.2 | 23.11 | 967.133 | 81.6103 | -0.31776
2020-07-27 09:30:00 | 1.934 | 100.5 | 2.247 | 120.9 | 0 | 113.888 | 2.118 | 106.4 | 23.38 | 967.43 | 80.7909 | -0.27711
2020-07-27 09:45:00 | 1.64 | 145.4 | 1.956 | 155.9 | 0 | 146.858 | 1.943 | 152.1 | 23.49 | 967.509 | 79.0817 | -0.29928
2020-07-27 10:00:00 | 3.113 | 156.4 | 3.154 | 174.7 | 0 | 164.567 | 2.427 | 160.7 | 23.84 | 967.304 | 81.3225 | -0.081287
2020-07-27 10:15:00 | 2.61 | 142.5 | 2.978 | 159.7 | 0 | 150.437 | 2.162 | 147 | 24.04 | 967.432 | 80.6749 | 0.022169
2020-07-27 10:30:00 | 3.393 | 142.4 | 4.031 | 167.3 | 0 | 157.597 | 3.569 | 143.7 | 24.95 | 967.728 | 78.1134 | 0.13301
2020-07-27 10:45:00 | 4.114 | 151.5 | 4.098 | 170.7 | 0 | 160.799 | 3.506 | 159.2 | 24.14 | 967.728 | 80.5014 | 0.15149
2020-07-27 11:00:00 | 4.078 | 151.8 | 3.996 | 168.2 | 0 | 158.444 | 3.18 | 153.6 | 23.52 | 967.283 | 82.7845 | 0.16627
2020-07-27 11:15:00 | 3.8 | 148.4 | 3.852 | 167.3 | 0 | 157.597 | 3.341 | 154.6 | 23.38 | 966.987 | 83.4013 | -0.036948
2020-07-27 11:30:00 | 3.613 | 145 | 3.528 | 162.3 | 0 | 152.887 | 2.73 | 148.6 | 23.32 | 966.999 | 83.9468 | -0.19952
2020-07-27 11:45:00 | 3.544 | 146.8 | 3.625 | 161.6 | 0 | 152.227 | 3.091 | 148.1 | 23.53 | 966.927 | 82.9584 | -0.23278
2020-07-27 12:00:00 | 3.046 | 146.7 | 3.121 | 166.5 | 0 | 156.843 | 2.488 | 147.5 | 23.71 | 967.008 | 81.3906 | -0.25494
2020-07-27 12:15:00 | 2.857 | 141.8 | 2.707 | 159 | 0 | 149.778 | 1.91 | 144.5 | 23.66 | 967.197 | 83.6411 | -0.2882
2020-07-27 12:30:00 | 2.001 | 127.7 | 2.679 | 154.4 | 0 | 145.445 | 2.081 | 111.9 | 24.47 | 967.529 | 80.2318 | -0.26972
2020-07-27 12:45:00 | 2.352 | 131.6 | 2.63 | 151.2 | 0 | 142.43 | 2.386 | 136.8 | 24.69 | 967.73 | 80.4363 | -0.2882
2020-07-27 13:00:00 | 2.908 | 139.7 | 3.234 | 157.8 | 0 | 148.648 | 2.763 | 144.3 | 24.15 | 967.432 | 79.6524 | -0.26972
2020-07-27 13:15:00 | 3.46 | 146.3 | 3.408 | 161.1 | 0 | 151.756 | 3.03 | 150.3 | 24.25 | 967.135 | 78.0505 | -0.18844
2020-07-27 13:30:00 | 1.231 | 126.2 | 1.831 | 144.1 | 0 | 135.742 | 1.041 | 130.3 | 24.37 | 966.839 | 74.6421 | -0.32145
2020-07-27 13:45:00 | 1.912 | 104.5 | 1.955 | 135.2 | 0 | 127.358 | 1.394 | 101 | 24.62 | 966.987 | 70.2113 | -0.29928
2020-07-27 14:00:00 | 1.219 | 156.3 | 1.541 | 173.5 | 0 | 163.437 | 0.747 | 150.3 | 25.03 | 966.542 | 70.9612 | -0.2882
2020-07-27 14:15:00 | 2.222 | 190.5 | 1.948 | 199.4 | 1.294 | 187.835 | 1.225 | 204.9 | 24.69 | 966.542 | 66.7348 | -0.2882
2020-07-27 14:30:00 | 1.915 | 196.3 | 1.86 | 201.1 | 1.535 | 189.436 | 1.337 | 206.2 | 24.49 | 966.394 | 73.2788 | -0.26972
2020-07-27 14:45:00 | 1.616 | 203.9 | 1.689 | 209.7 | 1.29 | 197.537 | 1.003 | 202.6 | 24.69 | 966.312 | 75.0852 | -0.2882
2020-07-27 15:00:00 | 1.305 | 170.6 | 1.393 | 204.7 | 0.554 | 192.827 | 0.443 | 209.3 | 24.75 | 966.592 | 71.1316 | -0.28081
2020-07-27 15:15:00 | 0.015 | 209.1 | 0.263 | 216.6 | 0 | 204.037 | 0 | 211.4 | 24.83 | 966.409 | 67.0416 | -0.2882
2020-07-27 15:30:00 | 0.413 | 123.9 | 0.188 | 165.7 | 0 | 156.089 | 0 | 211.4 | 25.31 | 966.69 | 67.621 | -0.2882
2020-07-27 15:45:00 | 0.056 | 332.8 | 0.205 | 266.9 | 0.172 | 251.42 | 0.14 | 299.5 | 25.81 | 966.987 | 67.4165 | -0.2882
2020-07-27 16:00:00 | 0.208 | 0.089 | 0.646 | 349.5 | 0.447 | 329.229 | 0.334 | 336.5 | 26.25 | 967.877 | 66.3232 | -0.2882
2020-07-27 16:15:00 | 1.485 | 318.1 | 1.6 | 302.4 | 0 | 284.861 | 0.733 | 344.3 | 26.41 | 968.332 | 69.4386 | -0.2882
2020-07-27 16:30:00 | 2.539 | 303.2 | 2.868 | 304.5 | 0 | 286.839 | 2.48 | 313.5 | 25.68 | 967.582 | 74.5486 | -0.2882
2020-07-27 16:45:00 | 2.737 | 308.6 | 2.794 | 319.1 | 0 | 300.592 | 2.172 | 312.4 | 25.13 | 966.989 | 77.3424 | -0.2882
2020-07-27 17:00:00 | 0.758 | 12.35 | 1.153 | 16.67 | 1.037 | 15.7031 | 0.938 | 356.5 | 25.66 | 967.433 | 75.8774 | -0.2882
2020-07-27 17:15:00 | 1.679 | 328.8 | 2.052 | 329.6 | 1.781 | 310.483 | 1.574 | 339.6 | 25.55 | 966.84 | 78.1602 | -0.2882
2020-07-27 17:30:00 | 1.893 | 325.4 | 2.146 | 331 | 1.784 | 311.802 | 1.676 | 336.9 | 25.14 | 966.396 | 78.7734 | -0.2882
2020-07-27 17:45:00 | 0.214 | 355.4 | 1.379 | 358.7 | 1.099 | 337.895 | 1.153 | 354.5 | 25.29 | 966.248 | 78.4327 | -0.26972
2020-07-27 18:00:00 | 1.565 | 327.6 | 1.667 | 350.7 | 1.581 | 330.359 | 1.432 | 333.1 | 24.69 | 966.253 | 81.2393 | -0.2882
2020-07-27 18:15:00 | 1.582 | 6.473 | 2.096 | 19.35 | 1.8 | 18.2277 | 1.715 | 357.3 | 24.22 | 965.8 | 82.888 | -0.2882
2020-07-27 18:30:00 | 0.921 | 8.61 | 2.336 | 26.22 | 2.022 | 24.6992 | 1.678 | 13.88 | 24.01 | 965.504 | 84.2532 | -0.29928
2020-07-27 18:45:00 | 2.07 | 2.326 | 2.168 | 16.45 | 1.897 | 15.4959 | 1.762 | 9.78 | 23.81 | 965.207 | 83.9127 | -0.29928
2020-07-27 19:00:00 | 0.06 | 20.61 | 2.385 | 29.04 | 2.23 | 27.3557 | 2.121 | 24.49 | 23.62 | 965.348 | 85.8349 | -0.2882
2020-07-27 19:15:00 | 2.005 | 32.22 | 2.579 | 43.46 | 2.334 | 40.9393 | 2.246 | 38.9 | 23.69 | 965.353 | 82.7012 | -0.2882
2020-07-27 19:30:00 | 1.461 | 39.28 | 2.15 | 46.2 | 2.276 | 43.5204 | 2.177 | 49.35 | 23.72 | 965.353 | 85.6454 | -0.2882
2020-07-27 19:45:00 | 3.051 | 55.92 | 3.62 | 68.99 | 3.837 | 64.9886 | 3.814 | 61.58 | 23.62 | 965.205 | 82.4412 | -0.31037
2020-07-27 20:00:00 | 2.783 | 65.32 | 3.878 | 87.4 | 4.494 | 82.3308 | 4.492 | 67.33 | 23.61 | 965.205 | 79.3045 | -0.099761
2020-07-27 20:15:00 | 2.426 | 70.27 | 2.441 | 84.1 | 1.776 | 79.2222 | 1.699 | 69.83 | 23.84 | 965.501 | 74.1906 | 0.12193
2020-07-27 20:30:00 | 2.004 | 63.41 | 2.405 | 79.26 | 1.752 | 74.6629 | 1.588 | 69.29 | 24.05 | 965.798 | 74.3977 | -0.17366
2020-07-27 20:45:00 | 0.823 | 61.96 | 1.079 | 84.1 | 0.898 | 79.2222 | 0.75 | 76.02 | 23.97 | 965.798 | 75.6299 | -0.25864
2020-07-27 21:00:00 | 1.928 | 77.06 | 2.584 | 96.6 | 2.749 | 90.9972 | 2.781 | 80.6 | 24.11 | 965.947 | 75.5268 | -0.26972
2020-07-27 21:15:00 | 1.729 | 82.3 | 2.336 | 98.3 | 2.472 | 92.5986 | 2.485 | 83.7 | 24.24 | 965.947 | 76.3098 | -0.28081
2020-07-27 21:30:00 | 1.964 | 83.7 | 2.393 | 97.3 | 2.668 | 91.6566 | 2.686 | 93.8 | 24.17 | 966.243 | 76.7139 | -0.2882
2020-07-27 21:45:00 | 1.633 | 96.1 | 2.014 | 113.4 | 1.719 | 106.823 | 1.665 | 104.2 | 24.22 | 966.54 | 75.8339 | -0.26972
2020-07-27 22:00:00 | 0 | 112 | 0.691 | 113.9 | 0.205 | 107.294 | 0 | 114.2 | 24.15 | 966.391 | 76.4454 | -0.2882
2020-07-27 22:15:00 | 0.883 | 133.3 | 1.431 | 130.4 | 1.332 | 122.837 | 1.163 | 130.7 | 23.9 | 966.688 | 76.9925 | -0.29928
2020-07-27 22:30:00 | 0 | 133.3 | 0.53 | 137.3 | 0.299 | 129.337 | 0.176 | 130.9 | 23.9 | 966.54 | 77.4014 | -0.2882
2020-07-27 22:45:00 | 0 | 110.5 | 1.111 | 137.1 | 2.085 | 129.148 | 2.042 | 110.8 | 23.99 | 966.54 | 77.3001 | -0.2882
2020-07-27 23:00:00 | 2.186 | 112.2 | 2.786 | 122.6 | 2.655 | 115.489 | 2.577 | 120 | 24.18 | 966.837 | 75.0792 | -0.26972
2020-07-27 23:15:00 | 2.421 | 124.8 | 2.664 | 140.4 | 2.619 | 132.257 | 2.562 | 128.2 | 24.31 | 966.837 | 75.3495 | -0.2882
2020-07-27 23:30:00 | 2.444 | 132.7 | 2.756 | 143.8 | 2.446 | 135.46 | 2.32 | 138.2 | 24.33 | 966.837 | 76.4405 | -0.29928
2020-07-27 23:45:00 | 1.576 | 137 | 2.393 | 148.4 | 2.462 | 139.793 | 2.368 | 139.1 | 24.14 | 966.985 | 75.0767 | -0.2882