## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-29 00:00:00 | 4.903 | 162.1 | 4.942 | 174.4 | 5.374 | 164.285 | 5.335 | 170.7 | 24.43 | 968.616 | 83.8047 | 12.6512
2020-07-29 00:15:00 | 5.523 | 161.8 | 5.64 | 173.1 | 5.491 | 163.06 | 5.434 | 166.7 | 24.46 | 968.023 | 85.2369 | 12.8322
2020-07-29 00:30:00 | 5.429 | 160.8 | 5.397 | 171.6 | 5.32 | 161.647 | 5.386 | 164.6 | 24.19 | 968.023 | 86.1234 | 12.241
2020-07-29 00:45:00 | 5.038 | 159.2 | 5.241 | 172.3 | 5.435 | 162.307 | 5.465 | 166.3 | 24.06 | 968.023 | 86.2598 | 9.2778
2020-07-29 01:00:00 | 4.915 | 157.9 | 5.322 | 169.4 | 5.391 | 159.575 | 5.34 | 166.2 | 24.06 | 968.172 | 86.6006 | 9.1447
2020-07-29 01:15:00 | 4.9 | 154.5 | 5.703 | 170.4 | 6.17 | 160.517 | 6.081 | 160.9 | 24.01 | 968.172 | 85.0665 | 9.226
2020-07-29 01:30:00 | 4.596 | 151.7 | 5.115 | 166.9 | 5.875 | 157.22 | 5.859 | 160 | 23.75 | 968.32 | 89.0556 | 7.7001
2020-07-29 01:45:00 | 4.333 | 155.4 | 5.098 | 171.3 | 5.885 | 161.365 | 5.837 | 163.7 | 23.73 | 968.468 | 86.8735 | 8.5868
2020-07-29 02:00:00 | 5.406 | 156.7 | 6.026 | 170.9 | 6.485 | 160.988 | 6.41 | 162.8 | 23.64 | 968.616 | 86.4665 | 10.6485
2020-07-29 02:15:00 | 5.163 | 166.3 | 5.386 | 180.4 | 5.501 | 169.937 | 5.549 | 171.5 | 23.66 | 968.172 | 85.5801 | 17.0111
2020-07-29 02:30:00 | 5.845 | 158.6 | 6.294 | 176.2 | 6.656 | 165.98 | 6.618 | 162.4 | 23.64 | 968.32 | 86.2643 | 22.5829
2020-07-29 02:45:00 | 5.824 | 152.9 | 5.954 | 172.1 | 6.348 | 162.118 | 6.331 | 156.3 | 23.58 | 968.468 | 87.6932 | 22.9598
2020-07-29 03:00:00 | 5.579 | 150.4 | 5.547 | 165.8 | 5.908 | 156.184 | 6.005 | 154.1 | 23.55 | 968.32 | 87.7668 | 22.4388
2020-07-29 03:15:00 | 6.128 | 145.5 | 6.455 | 161.2 | 7.375 | 151.85 | 7.357 | 149.8 | 23.44 | 968.023 | 88.8209 | 23.6211
2020-07-29 03:30:00 | 6.141 | 143 | 6.522 | 160.3 | 7.467 | 151.003 | 7.418 | 148.4 | 23.29 | 968.172 | 91.7936 | 30.4529
2020-07-29 03:45:00 | 7.584 | 141.3 | 7.713 | 158.5 | 8.03 | 149.307 | 7.988 | 146.4 | 23.29 | 968.172 | 93.7057 | 30.9887
2020-07-29 04:00:00 | 7.765 | 142.8 | 8.15 | 160.8 | 8.48 | 151.474 | 8.35 | 146.8 | 23.14 | 968.172 | 95.3088 | 37.8426
2020-07-29 04:15:00 | 7.877 | 143.4 | 8.16 | 160.7 | 8.62 | 151.379 | 8.46 | 150.2 | 23 | 968.172 | 96.4024 | 38.4116
2020-07-29 04:30:00 | 8.01 | 143.7 | 8.29 | 159.9 | 8.81 | 150.626 | 8.79 | 150 | 23.02 | 968.172 | 97.4936 | 39.3981
2020-07-29 04:45:00 | 7.933 | 144.9 | 8.23 | 161.7 | 8.77 | 152.321 | 8.76 | 151.5 | 22.87 | 968.32 | 98.4143 | 39.6568
2020-07-29 05:00:00 | 8.09 | 146.5 | 7.956 | 163.5 | 8.44 | 154.017 | 8.38 | 151.6 | 22.69 | 968.32 | 99.0281 | 41.2751
2020-07-29 05:15:00 | 6.991 | 144 | 7.393 | 162.8 | 8.04 | 153.358 | 8.03 | 148.5 | 22.52 | 968.913 | 99.3691 | 30.8926
2020-07-29 05:30:00 | 7.433 | 144.1 | 7.646 | 161.5 | 8.07 | 152.133 | 8.05 | 149.1 | 22.68 | 968.616 | 98.0051 | 28.3579
2020-07-29 05:45:00 | 7.489 | 143.9 | 8.03 | 161.5 | 8.57 | 152.133 | 8.52 | 149 | 22.7 | 969.062 | 97.3231 | 22.4757
2020-07-29 06:00:00 | 7.239 | 143.6 | 7.462 | 161.8 | 7.935 | 152.416 | 7.92 | 148.7 | 22.61 | 969.21 | 97.5959 | 20.4842
2020-07-29 06:15:00 | 6.994 | 144.2 | 7.283 | 163.7 | 6.994 | 154.205 | 6.932 | 151.1 | 22.6 | 969.358 | 97.8687 | 15.6366
2020-07-29 06:30:00 | 7.032 | 148.4 | 7.227 | 164.9 | 7.335 | 155.336 | 7.224 | 152.3 | 22.52 | 969.358 | 98.3461 | 15.9359
2020-07-29 06:45:00 | 7.356 | 148.8 | 7.457 | 165.7 | 7.436 | 156.089 | 7.423 | 155.1 | 22.48 | 969.506 | 98.1717 | 17.9533
2020-07-29 07:00:00 | 7.796 | 149 | 7.68 | 166.7 | 7.729 | 157.031 | 7.528 | 156.6 | 22.55 | 969.803 | 97.8527 | 19.2871
2020-07-29 07:15:00 | 7.558 | 156 | 7.396 | 169 | 7.078 | 159.198 | 7.016 | 161.2 | 22.57 | 970.1 | 98.6703 | 17.3104
2020-07-29 07:30:00 | 5.526 | 157.3 | 5.463 | 174.1 | 5.137 | 164.002 | 5.116 | 163.7 | 22.66 | 970.248 | 98.8054 | 17.5653
2020-07-29 07:45:00 | 6.473 | 156.8 | 6.603 | 174.3 | 6.935 | 164.191 | 6.904 | 161 | 22.62 | 970.248 | 99.6243 | 11.6425
2020-07-29 08:00:00 | 7.4 | 157.1 | 7.396 | 169.9 | 6.747 | 160.046 | 6.659 | 163.3 | 22.57 | 970.396 | 99.7613 | 10.7409
2020-07-29 08:15:00 | 6.264 | 160.1 | 6.322 | 173.4 | 5.824 | 163.343 | 5.74 | 166.2 | 22.94 | 970.545 | 97.8514 | 7.301
2020-07-29 08:30:00 | 5.886 | 165.4 | 5.829 | 183.4 | 5.216 | 172.763 | 5.151 | 170.3 | 23.6 | 970.693 | 95.7221 | 5.9413
2020-07-29 08:45:00 | 6.161 | 169.2 | 6.056 | 185.6 | 5.302 | 174.835 | 5.241 | 172.7 | 23.46 | 971.138 | 95.1083 | 5.3612
2020-07-29 09:00:00 | 5.595 | 177.7 | 5.478 | 193.6 | 4.779 | 182.371 | 4.683 | 181.5 | 24.02 | 971.138 | 93.2332 | 6.7209
2020-07-29 09:15:00 | 5.96 | 142.8 | 5.918 | 160.9 | 5.315 | 151.568 | 5.149 | 148.9 | 24.19 | 971.508 | 92.9111 | 7.1163
2020-07-29 09:30:00 | 4.668 | 153.7 | 4.755 | 171.4 | 4.14 | 161.459 | 4.051 | 156.9 | 24.32 | 971.881 | 92.6381 | 5.679
2020-07-29 09:45:00 | 4.974 | 148.7 | 4.949 | 164.9 | 4.539 | 155.336 | 4.359 | 153.9 | 24.23 | 972.028 | 92.3654 | 5.5755
2020-07-29 10:00:00 | 4.009 | 157.2 | 3.84 | 167.6 | 3.339 | 157.879 | 3.219 | 164.1 | 24.73 | 972.028 | 88.6841 | 2.1172
2020-07-29 10:15:00 | 3.343 | 149.9 | 3.584 | 166.5 | 3.207 | 156.843 | 3.173 | 153.7 | 25.49 | 972.325 | 86.633 | 2.2354
2020-07-29 10:30:00 | 5.227 | 143.9 | 4.954 | 155.8 | 4.339 | 146.764 | 4.158 | 153.9 | 25.43 | 972.541 | 86.2189 | 2.1134
2020-07-29 10:45:00 | 4.236 | 155.1 | 4.423 | 174.7 | 3.858 | 164.567 | 3.725 | 157.4 | 25.92 | 972.029 | 82.9303 | 2.1578
2020-07-29 11:00:00 | 4.374 | 180 | 3.852 | 186 | 3.143 | 175.212 | 3.063 | 189.9 | 25.88 | 972.029 | 83.0665 | 0.84981
2020-07-29 11:15:00 | 4.162 | 189.8 | 3.85 | 203.8 | 3.1 | 191.98 | 3.043 | 193.7 | 26.31 | 971.732 | 81.0586 | 0.4988
2020-07-29 11:30:00 | 3.879 | 195.3 | 3.788 | 208.8 | 2.899 | 196.69 | 2.875 | 199.6 | 26.4 | 971.732 | 77.6491 | 0.38796
2020-07-29 11:45:00 | 3.695 | 159.7 | 3.689 | 181.9 | 3.275 | 171.35 | 3.147 | 161.1 | 27 | 971.584 | 74.2079 | 0.059118
2020-07-29 12:00:00 | 4.64 | 168.5 | 4.259 | 185.8 | 3.527 | 175.024 | 3.445 | 171.5 | 27.39 | 971.732 | 78.0239 | 0.19583
2020-07-29 12:15:00 | 3.646 | 151.5 | 3.61 | 164.5 | 0 | 154.959 | 3.438 | 164.1 | 27.04 | 972.177 | 77.0358 | 0.67246
2020-07-29 12:30:00 | 4.093 | 133.3 | 4.315 | 149.3 | 0 | 140.641 | 3.761 | 137.3 | 27 | 971.88 | 76.2522 | 1.8659
2020-07-29 12:45:00 | 3.235 | 146.6 | 3.581 | 168.4 | 0 | 158.633 | 3.537 | 145.4 | 27.22 | 972.029 | 74.4464 | 2.2686
2020-07-29 13:00:00 | 4.938 | 145.3 | 5.085 | 160.7 | 0 | 151.379 | 4.568 | 150 | 27.08 | 971.584 | 72.7769 | 3.6727
2020-07-29 13:15:00 | 4.678 | 139.8 | 4.589 | 158 | 0 | 148.836 | 4.275 | 146.5 | 27.46 | 971.88 | 71.3118 | 3.8131
2020-07-29 13:30:00 | 4.8 | 145.9 | 4.665 | 159.7 | 0 | 150.437 | 4.27 | 149.2 | 27.62 | 971.584 | 71.7547 | 4.2232
2020-07-29 13:45:00 | 4.67 | 138.1 | 4.936 | 156 | 0 | 146.952 | 4.548 | 141.7 | 27.45 | 971.88 | 72.8109 | 5.0065
2020-07-29 14:00:00 | 5.275 | 139.1 | 5.241 | 156.1 | 0 | 147.046 | 4.935 | 145.2 | 27.57 | 971.732 | 71.3118 | 5.9044
2020-07-29 14:15:00 | 5.309 | 160.8 | 5.443 | 176.3 | 0 | 166.075 | 4.449 | 162.3 | 27.92 | 971.88 | 70.7326 | 7.3601
2020-07-29 14:30:00 | 5.676 | 130.6 | 5.78 | 146.8 | 4.019 | 138.286 | 5.274 | 134.6 | 28.03 | 972.325 | 73.8671 | 8.7161
2020-07-29 14:45:00 | 4.729 | 135 | 4.896 | 153.4 | 4.758 | 144.503 | 4.703 | 139.7 | 27.75 | 971.584 | 68.8927 | 6.7653
2020-07-29 15:00:00 | 4.885 | 135.5 | 4.826 | 152.5 | 4.308 | 143.655 | 4.23 | 138.7 | 27.86 | 971.732 | 71.6184 | 7.689
2020-07-29 15:15:00 | 5.564 | 143.1 | 5.911 | 159.5 | 5.384 | 150.249 | 5.236 | 155.1 | 28.33 | 971.584 | 69.5741 | 9.7248
2020-07-29 15:30:00 | 5.689 | 167.3 | 5.701 | 189.4 | 4.969 | 178.415 | 4.854 | 170.5 | 28.55 | 972.177 | 66.7462 | 9.0228
2020-07-29 15:45:00 | 5.533 | 137.2 | 5.374 | 160.4 | 5.185 | 151.097 | 5.037 | 144 | 28.32 | 972.029 | 67.8706 | 9.2519
2020-07-29 16:00:00 | 6.212 | 136 | 6.199 | 152.6 | 5.531 | 143.749 | 5.404 | 141.7 | 28.04 | 971.732 | 68.143 | 10.6633
2020-07-29 16:15:00 | 5.564 | 137 | 5.657 | 154.5 | 5.341 | 145.539 | 5.172 | 142.8 | 27.7 | 971.584 | 69.6081 | 10.1054
2020-07-29 16:30:00 | 5.783 | 136.7 | 5.532 | 150.4 | 4.379 | 141.677 | 4.222 | 143.9 | 27.79 | 971.584 | 68.7905 | 8.6386
2020-07-29 16:45:00 | 5.482 | 153.8 | 5.499 | 168.3 | 4.939 | 158.539 | 4.91 | 164.5 | 28 | 971.139 | 70.2555 | 9.8911
2020-07-29 17:00:00 | 6.304 | 186.4 | 6.069 | 197 | 5.114 | 185.574 | 5.037 | 189.6 | 28.15 | 971.139 | 69.506 | 11.0956
2020-07-29 17:15:00 | 6.565 | 151.1 | 6.506 | 166 | 5.936 | 156.372 | 5.824 | 158.2 | 27.75 | 971.287 | 72.4702 | 12.6438
2020-07-29 17:30:00 | 5.081 | 180.5 | 5.302 | 189.6 | 4.903 | 178.603 | 4.973 | 187.5 | 28.01 | 971.287 | 70.8007 | 7.785
2020-07-29 17:45:00 | 4.343 | 167.9 | 4.394 | 181.4 | 4.199 | 170.879 | 4.153 | 173.2 | 27.81 | 970.991 | 71.8228 | 5.0841
2020-07-29 18:00:00 | 3.496 | 155 | 3.901 | 171.8 | 3.423 | 161.836 | 3.407 | 161.8 | 27.38 | 970.991 | 74.4123 | 2.0469
2020-07-29 18:15:00 | 4.31 | 153.4 | 4.187 | 168.7 | 3.237 | 158.915 | 3.091 | 158.4 | 27.13 | 970.991 | 75.9795 | 1.1897
2020-07-29 18:30:00 | 3.381 | 166.7 | 3.244 | 185.7 | 2.655 | 174.929 | 2.544 | 171.4 | 27 | 970.759 | 76.271 | 1.4742
2020-07-29 18:45:00 | 3.994 | 160.6 | 4.221 | 176 | 4.158 | 165.792 | 4.11 | 167.9 | 26.77 | 970.249 | 76.1391 | 1.84
2020-07-29 19:00:00 | 3.233 | 148.5 | 3.413 | 162.6 | 3.179 | 153.169 | 3.091 | 155.2 | 26.57 | 970.397 | 78.8 | 1.6922
2020-07-29 19:15:00 | 2.702 | 147.5 | 3.203 | 163.5 | 3.474 | 154.017 | 3.389 | 152.1 | 26.28 | 969.656 | 80.2317 | 0.43599
2020-07-29 19:30:00 | 3.754 | 140.9 | 3.98 | 155.1 | 4.542 | 146.104 | 4.426 | 145.3 | 26.29 | 969.604 | 79.9591 | 3.281
2020-07-29 19:45:00 | 3.271 | 145.6 | 4.144 | 160.1 | 4.672 | 150.814 | 4.558 | 150.4 | 26.16 | 970.066 | 81.1898 | 4.8403
2020-07-29 20:00:00 | 3.202 | 145.7 | 3.891 | 161 | 4.659 | 151.662 | 4.596 | 153.1 | 25.96 | 969.951 | 82.4252 | 8.6607
2020-07-29 20:15:00 | 4.394 | 143.3 | 4.752 | 157.4 | 5.264 | 148.271 | 5.195 | 150.4 | 25.87 | 969.791 | 83.1089 | 12.0046
2020-07-29 20:30:00 | 4.456 | 148.1 | 4.977 | 162.3 | 5.336 | 152.887 | 5.289 | 152.1 | 25.65 | 970.248 | 85.4269 | 9.5844
2020-07-29 20:45:00 | 4.696 | 143.5 | 4.686 | 159.6 | 5.127 | 150.343 | 5.101 | 149.7 | 25.58 | 970.396 | 85.5633 | 11.6831
2020-07-29 21:00:00 | 4.714 | 143.8 | 4.934 | 159 | 4.972 | 149.778 | 4.871 | 150.9 | 25.59 | 970.545 | 86.3133 | 7.5597
2020-07-29 21:15:00 | 4.034 | 146 | 4.287 | 162.3 | 4.583 | 152.887 | 4.489 | 154.6 | 25.54 | 970.545 | 86.1769 | 6.3699
2020-07-29 21:30:00 | 3.233 | 146.2 | 3.681 | 159.8 | 3.949 | 150.532 | 4.033 | 153 | 25.54 | 970.99 | 83.7907 | 6.4882
2020-07-29 21:45:00 | 2.921 | 140.9 | 3.272 | 157.9 | 3.603 | 148.742 | 3.598 | 149.6 | 25.57 | 970.841 | 83.7907 | 3.2736
2020-07-29 22:00:00 | 2.977 | 151.9 | 3.057 | 161.8 | 2.662 | 152.416 | 2.559 | 160.5 | 25.57 | 970.99 | 84.0634 | 2.8192
2020-07-29 22:15:00 | 2.896 | 145.1 | 3.267 | 162.8 | 3.362 | 153.358 | 3.333 | 153.2 | 25.46 | 970.99 | 84.5748 | 3.499
2020-07-29 22:30:00 | 3.136 | 138.7 | 3.459 | 154.3 | 3.705 | 145.351 | 3.692 | 148.2 | 25.34 | 970.99 | 85.7338 | 3.4842
2020-07-29 22:45:00 | 4.172 | 146.1 | 4.2 | 160.1 | 4.555 | 150.814 | 4.528 | 150.2 | 25.25 | 970.99 | 86.2464 | 5.4942
2020-07-29 23:00:00 | 4.497 | 144.1 | 5.005 | 158.1 | 5.127 | 148.93 | 4.994 | 151.2 | 25.12 | 970.99 | 87.6107 | 5.6199
2020-07-29 23:15:00 | 3.718 | 155.9 | 3.934 | 172.6 | 4.11 | 162.589 | 4.107 | 155.8 | 24.86 | 970.693 | 88.9782 | 6.3477
2020-07-29 23:30:00 | 3.922 | 151 | 4.021 | 172.3 | 4.367 | 162.307 | 4.387 | 153.2 | 24.79 | 970.545 | 89.9021 | 8.524
2020-07-29 23:45:00 | 3.618 | 158.8 | 3.988 | 175.1 | 3.619 | 164.944 | 3.809 | 164.1 | 24.58 | 970.693 | 90.5546 | 4.0569