## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-30 00:00:00 | 3.008 | 159.9 | 3.134 | 173.6 | 2.937 | 163.531 | 2.903 | 168.8 | 24.68 | 970.841 | 90.0099 | 0.45816
2020-07-30 00:15:00 | 3.044 | 155.9 | 3.479 | 166.1 | 3.621 | 156.466 | 3.547 | 161.2 | 24.65 | 970.841 | 91.5786 | 0.74636
2020-07-30 00:30:00 | 3.549 | 157.3 | 3.604 | 169 | 3.082 | 159.198 | 2.946 | 165.8 | 24.57 | 970.841 | 91.6775 | 5.0028
2020-07-30 00:45:00 | 4.56 | 157.3 | 4.581 | 170.3 | 5.01 | 160.423 | 4.95 | 163.3 | 24.48 | 970.545 | 91.3716 | 10.3493
2020-07-30 01:00:00 | 5.086 | 149 | 5.289 | 163.1 | 5.432 | 153.64 | 5.411 | 155.4 | 24.18 | 970.396 | 93.0104 | 12.6733
2020-07-30 01:15:00 | 3.258 | 142.7 | 3.666 | 155.9 | 3.998 | 146.858 | 3.952 | 149.6 | 24.02 | 970.248 | 93.7606 | 7.4045
2020-07-30 01:30:00 | 4.941 | 146.2 | 5.154 | 160.6 | 5.615 | 151.285 | 5.623 | 152.8 | 24.1 | 970.248 | 91.3398 | 9.6953
2020-07-30 01:45:00 | 4.589 | 142.6 | 4.729 | 158.1 | 5.246 | 148.93 | 5.284 | 147 | 23.77 | 969.803 | 93.1469 | 10.2495
2020-07-30 02:00:00 | 5.043 | 138.8 | 5.154 | 155.8 | 5.745 | 146.764 | 5.732 | 144.4 | 23.93 | 969.803 | 91.1694 | 11.6535
2020-07-30 02:15:00 | 4.06 | 133.3 | 4.558 | 150.9 | 5.175 | 142.148 | 5.228 | 139.3 | 24.06 | 970.1 | 91.715 | 3.717
2020-07-30 02:30:00 | 2.255 | 131 | 3.004 | 147.9 | 3.029 | 139.322 | 3.02 | 132.2 | 24.08 | 970.396 | 90.1466 | 0.47663
2020-07-30 02:45:00 | 3.871 | 122.2 | 4.282 | 135.9 | 4.473 | 128.018 | 4.421 | 129.8 | 24.14 | 970.1 | 88.8859 | 0.69094
2020-07-30 03:00:00 | 1.954 | 144.8 | 2.032 | 163.8 | 2.523 | 154.3 | 2.582 | 149.8 | 23.81 | 970.248 | 94.1698 | 2.1245
2020-07-30 03:15:00 | 1.84 | 158.1 | 2.365 | 186 | 3.123 | 175.212 | 3.18 | 151.6 | 23.43 | 970.396 | 95.7757 | 0.88676
2020-07-30 03:30:00 | 1.064 | 155.6 | 1.516 | 180.3 | 0.867 | 169.843 | 0.857 | 164.7 | 23.44 | 970.396 | 95.0928 | 0.65029
2020-07-30 03:45:00 | 4.726 | 136 | 4.982 | 149.5 | 4.995 | 140.829 | 4.91 | 141.3 | 23.34 | 970.1 | 93.7068 | 2.3869
2020-07-30 04:00:00 | 5.048 | 137.7 | 5.044 | 155.2 | 4.911 | 146.198 | 4.902 | 140.5 | 23.43 | 970.248 | 92.9582 | 4.1161
2020-07-30 04:15:00 | 3.912 | 126.5 | 4.21 | 141 | 4.471 | 132.822 | 4.415 | 133.5 | 23.35 | 970.1 | 91.7643 | 7.2012
2020-07-30 04:30:00 | 4.16 | 116.8 | 4.619 | 134.3 | 5.086 | 126.511 | 5.065 | 125 | 23.48 | 970.248 | 90.0256 | 8.6755
2020-07-30 04:45:00 | 5.035 | 119.6 | 5.831 | 133.4 | 6.182 | 125.663 | 6.14 | 128.7 | 23.36 | 969.803 | 91.4575 | 9.8689
2020-07-30 05:00:00 | 4.504 | 122.3 | 5.509 | 132.5 | 5.714 | 124.815 | 5.582 | 131.6 | 23.21 | 969.803 | 91.3887 | 8.4945
2020-07-30 05:15:00 | 5.651 | 128 | 6.317 | 140 | 6.126 | 131.88 | 5.992 | 136.3 | 23.33 | 969.951 | 91.7982 | 13.246
2020-07-30 05:30:00 | 5.597 | 128.1 | 6.125 | 140.7 | 5.847 | 132.539 | 5.694 | 136.6 | 23.29 | 970.248 | 90.503 | 13.6266
2020-07-30 05:45:00 | 5.449 | 128.9 | 6.041 | 142.7 | 6.149 | 134.423 | 5.989 | 136.8 | 23.44 | 970.1 | 89.0003 | 12.4258
2020-07-30 06:00:00 | 5.663 | 135.6 | 6.054 | 147 | 5.781 | 138.474 | 5.648 | 144.8 | 23.49 | 970.841 | 88.582 | 10.8185
2020-07-30 06:15:00 | 5.543 | 136.8 | 5.739 | 149.7 | 5.414 | 141.017 | 5.258 | 143 | 23.56 | 971.286 | 88.5102 | 11.2804
2020-07-30 06:30:00 | 5.403 | 136.3 | 5.783 | 147.5 | 5.539 | 138.945 | 5.401 | 145 | 23.57 | 971.286 | 88.4419 | 10.6338
2020-07-30 06:45:00 | 4.938 | 133.4 | 4.77 | 147.5 | 4.641 | 138.945 | 4.553 | 141.2 | 23.59 | 971.435 | 88.6396 | 12.0267
2020-07-30 07:00:00 | 5.536 | 129.3 | 5.596 | 142.4 | 5.361 | 134.141 | 5.304 | 139.8 | 23.61 | 971.583 | 88.3587 | 14.3988
2020-07-30 07:15:00 | 4.571 | 129.8 | 5.059 | 143.1 | 5.084 | 134.8 | 5.057 | 139.4 | 23.67 | 972.028 | 88.0859 | 14.0884
2020-07-30 07:30:00 | 4.928 | 126.7 | 5.343 | 141.2 | 5.287 | 133.01 | 5.228 | 134.8 | 23.88 | 971.821 | 87.9394 | 16.9778
2020-07-30 07:45:00 | 5.079 | 139 | 5.325 | 156.2 | 5.422 | 147.14 | 5.365 | 142.7 | 23.88 | 971.341 | 87.4574 | 19.5236
2020-07-30 08:00:00 | 4.351 | 137.2 | 4.63 | 153.2 | 4.84 | 144.314 | 4.848 | 145.2 | 24.3 | 971.882 | 85.8896 | 21.2084
2020-07-30 08:15:00 | 6.136 | 136 | 5.573 | 156.5 | 5.142 | 147.423 | 5.095 | 139.1 | 24.19 | 971.88 | 87.1842 | 18.8031
2020-07-30 08:30:00 | 5.487 | 137.5 | 5.604 | 152.3 | 5.28 | 143.467 | 5.164 | 143.3 | 24.4 | 972.177 | 85.816 | 14.7498
2020-07-30 08:45:00 | 5.398 | 136.4 | 5.478 | 158 | 4.883 | 148.836 | 4.831 | 141.5 | 24.82 | 972.177 | 82.8185 | 12.3777
2020-07-30 09:00:00 | 4.913 | 141.2 | 4.814 | 163 | 4.303 | 153.546 | 4.202 | 140.3 | 24.91 | 972.177 | 82.4791 | 10.146
2020-07-30 09:15:00 | 5.556 | 141.7 | 5.427 | 155.6 | 5.226 | 146.575 | 5.113 | 146.1 | 25.21 | 972.557 | 82.6682 | 9.2334
2020-07-30 09:30:00 | 4.984 | 137.5 | 5.059 | 157.9 | 4.697 | 148.742 | 4.629 | 140.9 | 25.7 | 972.484 | 81.4652 | 6.7542
2020-07-30 09:45:00 | 5.528 | 145.3 | 5.225 | 163.2 | 4.791 | 153.734 | 4.65 | 146.6 | 25.85 | 972.473 | 80.6474 | 7.1569
2020-07-30 10:00:00 | 5.49 | 143.3 | 5.517 | 159 | 5.091 | 149.778 | 4.948 | 146.4 | 25.83 | 972.918 | 80.1363 | 5.0176
2020-07-30 10:15:00 | 4.563 | 136.9 | 4.545 | 153.5 | 4.361 | 144.597 | 4.252 | 142.2 | 26.12 | 972.918 | 77.8194 | 4.3488
2020-07-30 10:30:00 | 3.814 | 126.7 | 4.264 | 139.9 | 3.901 | 131.786 | 3.802 | 134.6 | 26.81 | 973.214 | 76.3544 | 2.2095
2020-07-30 10:45:00 | 4.17 | 139.3 | 4.024 | 152.9 | 3.675 | 144.032 | 3.623 | 145.1 | 26.61 | 973.363 | 77.376 | 2.6825
2020-07-30 11:00:00 | 3.613 | 148 | 3.725 | 167.9 | 3.728 | 158.162 | 3.659 | 150.8 | 26.88 | 973.214 | 75.0899 | 0.93849
2020-07-30 11:15:00 | 3.687 | 137.1 | 3.732 | 157.7 | 3.329 | 148.553 | 3.213 | 135.5 | 26.7 | 973.066 | 77.6085 | 0.75744
2020-07-30 11:30:00 | 3.868 | 143.2 | 3.804 | 162 | 3.344 | 152.604 | 3.185 | 146.4 | 27.5 | 973.214 | 74.1661 | 0.40274
2020-07-30 11:45:00 | 5.222 | 144.8 | 5.09 | 160.8 | 4.56 | 151.474 | 4.446 | 148.7 | 27.18 | 972.918 | 75.0174 | 0.52467
2020-07-30 12:00:00 | 4.56 | 150.1 | 4.415 | 169 | 3.965 | 159.198 | 3.883 | 154.5 | 27.47 | 972.918 | 73.5602 | 1.9989
2020-07-30 12:15:00 | 3.562 | 140.6 | 3.615 | 155.9 | 3.484 | 146.858 | 3.511 | 146.6 | 27.43 | 972.918 | 73.9352 | 1.2526
2020-07-30 12:30:00 | 4.892 | 128.6 | 4.967 | 147.2 | 4.555 | 138.662 | 4.461 | 133.5 | 27.55 | 972.622 | 71.891 | 4.0163
2020-07-30 12:45:00 | 5.102 | 140.5 | 5.351 | 160.6 | 4.901 | 151.285 | 4.81 | 145 | 27.92 | 972.77 | 70.1192 | 5.2799
2020-07-30 13:00:00 | 4.461 | 152.2 | 4.517 | 165.5 | 4.079 | 155.901 | 4.033 | 154.8 | 28.24 | 972.77 | 70.6644 | 5.4647
2020-07-30 13:15:00 | 4.67 | 142.6 | 4.908 | 161.9 | 4.868 | 152.51 | 4.696 | 147.2 | 28.26 | 972.622 | 72.2317 | 6.9574
2020-07-30 13:30:00 | 5.316 | 141.8 | 5.187 | 160.1 | 4.786 | 150.814 | 4.645 | 147.8 | 28.19 | 972.77 | 72.9131 | 8.8011
2020-07-30 13:45:00 | 5.533 | 132.7 | 5.55 | 147.3 | 5.203 | 138.757 | 5.118 | 138.1 | 28.14 | 972.622 | 73.322 | 7.5153
2020-07-30 14:00:00 | 5.201 | 132.6 | 5.21 | 148.8 | 4.86 | 140.17 | 4.813 | 140.6 | 28.32 | 972.473 | 71.448 | 9.0856
2020-07-30 14:15:00 | 5.651 | 146 | 5.619 | 167.2 | 4.959 | 157.502 | 4.876 | 150.6 | 28.83 | 972.918 | 70.2555 | 6.1556
2020-07-30 14:30:00 | 5.043 | 142.9 | 5.144 | 162.8 | 4.977 | 153.358 | 4.848 | 147.3 | 28.98 | 972.918 | 67.5979 | 5.1063
2020-07-30 14:45:00 | 4.744 | 139.3 | 5.151 | 158.2 | 5.252 | 149.024 | 5.261 | 142.3 | 29.22 | 972.325 | 67.5945 | 6.6729
2020-07-30 15:00:00 | 5.528 | 138.9 | 5.512 | 153.8 | 5.491 | 144.88 | 5.342 | 142.8 | 29.05 | 972.473 | 69.6312 | 7.205
2020-07-30 15:15:00 | 4.56 | 140.9 | 4.704 | 163.4 | 4.054 | 153.923 | 3.955 | 141.9 | 29.14 | 972.325 | 68.8483 | 5.9561
2020-07-30 15:30:00 | 4.913 | 150.4 | 4.796 | 166.7 | 4.382 | 157.031 | 4.309 | 153.8 | 29.22 | 972.473 | 68.5745 | 3.2145
2020-07-30 15:45:00 | 3.184 | 126.2 | 3.306 | 145.1 | 3.357 | 136.684 | 3.239 | 132.3 | 29.4 | 972.029 | 66.9039 | 1.3597
2020-07-30 16:00:00 | 4.532 | 147.2 | 4.44 | 166.9 | 4.021 | 157.22 | 3.929 | 149.4 | 29.32 | 972.029 | 67.3463 | 1.5038
2020-07-30 16:15:00 | 5.776 | 147.7 | 5.563 | 164.9 | 5.068 | 155.336 | 4.938 | 151.4 | 29.43 | 972.029 | 66.658 | 5.9893
2020-07-30 16:30:00 | 5.283 | 136.2 | 5.486 | 153.4 | 5.358 | 144.503 | 5.337 | 139.1 | 29.39 | 972.177 | 66.76 | 8.1989
2020-07-30 16:45:00 | 4.839 | 139.6 | 4.55 | 157.3 | 4.555 | 148.177 | 4.507 | 143.5 | 29.33 | 971.732 | 67.0665 | 4.5077
2020-07-30 17:00:00 | 5.676 | 144.9 | 5.742 | 164.3 | 5.437 | 154.771 | 5.365 | 147.6 | 29.47 | 970.991 | 68.8729 | 6.4475
2020-07-30 17:15:00 | 5.291 | 137.6 | 5.499 | 155 | 5.384 | 146.01 | 5.238 | 140.3 | 29.36 | 971.436 | 68.8794 | 8.6607
2020-07-30 17:30:00 | 5.342 | 141.2 | 5.223 | 164.2 | 4.702 | 154.676 | 4.556 | 140.2 | 29.27 | 971.287 | 67.9278 | 9.1373
2020-07-30 17:45:00 | 5.388 | 135 | 5.466 | 154.4 | 5.046 | 145.445 | 4.968 | 139.5 | 29.08 | 970.991 | 71.3453 | 12.9061
2020-07-30 18:00:00 | 5.574 | 133.8 | 5.617 | 152.2 | 5.605 | 143.372 | 5.62 | 136 | 28.86 | 970.398 | 71.6184 | 12.1634
2020-07-30 18:15:00 | 4.617 | 129.1 | 4.834 | 146.3 | 4.697 | 137.815 | 4.566 | 133.4 | 28.73 | 970.102 | 72.845 | 11.2804
2020-07-30 18:30:00 | 4.956 | 130.3 | 5.471 | 150.1 | 4.957 | 141.394 | 4.976 | 132.1 | 28.62 | 969.953 | 73.6635 | 10.6153
2020-07-30 18:45:00 | 5.196 | 124.4 | 5.256 | 143.7 | 5.341 | 135.365 | 5.281 | 128.4 | 28.48 | 969.928 | 75.0472 | 16.0245
2020-07-30 19:00:00 | 5.676 | 133.3 | 5.957 | 150.3 | 5.982 | 141.583 | 5.887 | 134.3 | 28.06 | 969.803 | 79.4766 | 18.3153
2020-07-30 19:15:00 | 5.15 | 129.2 | 5.21 | 145.6 | 5.618 | 137.155 | 5.595 | 133.3 | 27.83 | 969.804 | 79.2729 | 15.6403
2020-07-30 19:30:00 | 6.024 | 143.7 | 6.184 | 160.6 | 6.261 | 151.285 | 6.157 | 147.8 | 27.65 | 969.952 | 80.5043 | 17.2845
2020-07-30 19:45:00 | 5.965 | 144.3 | 6.125 | 160.6 | 6.452 | 151.285 | 6.252 | 150.7 | 26.95 | 969.656 | 86.2304 | 15.0417
2020-07-30 20:00:00 | 4.811 | 147 | 5.044 | 162.8 | 5.376 | 153.358 | 5.253 | 152.8 | 26.54 | 969.529 | 88.4458 | 14.421
2020-07-30 20:15:00 | 5.028 | 145.5 | 5.2 | 158.4 | 5.246 | 149.213 | 5.149 | 151.7 | 26.44 | 969.579 | 87.9345 | 13.6266
2020-07-30 20:30:00 | 4.841 | 136.1 | 5.305 | 152.6 | 5.992 | 143.749 | 6.017 | 143.6 | 26.71 | 970.232 | 85.277 | 15.2154
2020-07-30 20:45:00 | 5.615 | 137.8 | 5.944 | 152.8 | 6.406 | 143.938 | 6.376 | 145.6 | 26.8 | 969.909 | 86.1623 | 19.4718
2020-07-30 21:00:00 | 6.1 | 143 | 6.734 | 156.9 | 7.385 | 147.8 | 7.352 | 149.9 | 26.99 | 970.351 | 86.5038 | 16.7524
2020-07-30 21:15:00 | 7.073 | 142.8 | 7.483 | 158.1 | 7.958 | 148.93 | 7.917 | 149.4 | 26.94 | 970.486 | 86.7434 | 23.5436
2020-07-30 21:30:00 | 7.315 | 141.1 | 7.654 | 155.9 | 8.48 | 146.858 | 8.44 | 147.9 | 26.84 | 970.321 | 88.1062 | 28.103
2020-07-30 21:45:00 | 7.106 | 141.6 | 7.542 | 156.7 | 7.739 | 147.611 | 7.578 | 147.7 | 26.81 | 970.962 | 89.1636 | 25.0437
2020-07-30 22:00:00 | 6.429 | 144.8 | 6.468 | 162.4 | 6.724 | 152.981 | 6.631 | 151.9 | 26.59 | 970.638 | 91.0061 | 18.1121
2020-07-30 22:15:00 | 5.579 | 150.7 | 5.683 | 164.5 | 6.132 | 154.959 | 6.152 | 159.4 | 26.47 | 970.53 | 91.4865 | 19.4275
2020-07-30 22:30:00 | 6.501 | 160.4 | 6.885 | 177.3 | 7.38 | 167.017 | 7.273 | 164.5 | 24.59 | 970.243 | 99.8782 | 29.4036
2020-07-30 22:45:00 | 6.297 | 152.2 | 6.473 | 166.1 | 6.76 | 156.466 | 6.713 | 158.1 | 24.75 | 970.1 | 99.8807 | 22.7122
2020-07-30 23:00:00 | 5.891 | 154.9 | 6.266 | 167.6 | 6.592 | 157.879 | 6.603 | 161.5 | 24.84 | 970.248 | 97.2219 | 20.9165
2020-07-30 23:15:00 | 5.444 | 152.3 | 5.599 | 167.7 | 5.903 | 157.973 | 5.908 | 155.8 | 24.76 | 970.248 | 97.3969 | 21.1567
2020-07-30 23:30:00 | 5.457 | 146.8 | 5.755 | 163.4 | 6.17 | 153.923 | 6.134 | 153.9 | 24.74 | 969.803 | 94.8442 | 19.143
2020-07-30 23:45:00 | 5.49 | 148.2 | 6.003 | 163.5 | 6.472 | 154.017 | 6.412 | 155.3 | 24.79 | 969.803 | 93.2756 | 17.2217