## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-31 00:00:00 | 5.587 | 143 | 5.839 | 159.4 | 5.938 | 150.155 | 5.867 | 151.2 | 24.91 | 969.951 | 90.1101 | 21.6429
2020-07-31 00:15:00 | 5.587 | 175.2 | 5.522 | 188.2 | 5.132 | 177.284 | 5.139 | 181.4 | 25.1 | 969.951 | 87.7891 | 7.7592
2020-07-31 00:30:00 | 5.362 | 142.9 | 5.772 | 158.8 | 5.564 | 149.59 | 5.452 | 147.7 | 24.57 | 969.951 | 92.1214 | 13.1215
2020-07-31 00:45:00 | 3.529 | 146.1 | 3.497 | 160.4 | 3.927 | 151.097 | 3.967 | 147.1 | 23.63 | 969.358 | 99.1816 | 19.8339
2020-07-31 01:00:00 | 5.842 | 144.8 | 6.089 | 161.6 | 6.61 | 152.227 | 6.585 | 149.9 | 23.34 | 968.913 | 99.8975 | 32.6624
2020-07-31 01:15:00 | 5.084 | 142.3 | 5.663 | 158.3 | 6.521 | 149.119 | 6.511 | 148.4 | 23.4 | 969.062 | 99.8977 | 22.5866
2020-07-31 01:30:00 | 5.873 | 149.3 | 6.816 | 162 | 7.708 | 152.604 | 7.571 | 156.4 | 23.65 | 968.616 | 99.8977 | 31.93
2020-07-31 01:45:00 | 8.82 | 157.7 | 8.57 | 176 | 8.37 | 165.792 | 8.3 | 160.9 | 23.61 | 968.616 | 99.284 | 45.1769
2020-07-31 02:00:00 | 8.48 | 139.3 | 8.36 | 158.7 | 8.29 | 149.495 | 8.18 | 144.7 | 23.22 | 968.172 | 99.8643 | 30.2571
2020-07-31 02:15:00 | 7.293 | 136.2 | 7.396 | 152.2 | 6.824 | 143.372 | 7.209 | 141.9 | 22.94 | 968.616 | 99.8668 | 44.172
2020-07-31 02:30:00 | 9.26 | 148.7 | 9.48 | 164.2 | 9.36 | 154.676 | 9.56 | 153.9 | 22.77 | 968.468 | 99.9132 | 42.6311
2020-07-31 02:45:00 | 7.093 | 163.6 | 7.176 | 176.1 | 6.966 | 165.886 | 6.845 | 166.9 | 22.55 | 968.023 | 99.8797 | 37.4731
2020-07-31 03:00:00 | 7.18 | 151.2 | 7.401 | 167.4 | 7.93 | 157.691 | 7.971 | 157.4 | 22.47 | 968.023 | 99.8806 | 37.1886
2020-07-31 03:15:00 | 7.162 | 142.9 | 7.025 | 157.2 | 7.05 | 148.082 | 7.069 | 150.1 | 22.39 | 967.875 | 99.8806 | 38.2564
2020-07-31 03:30:00 | 4.772 | 142.7 | 5.376 | 159.7 | 6.076 | 150.437 | 6.147 | 147.9 | 22.78 | 967.281 | 99.8806 | 12.0563
2020-07-31 03:45:00 | 3.912 | 131.4 | 5.023 | 148.7 | 5.895 | 140.075 | 5.778 | 139.9 | 22.98 | 967.43 | 97.5959 | 30.8375
2020-07-31 04:00:00 | 7.852 | 121.3 | 8.07 | 135.3 | 8.23 | 127.453 | 8.08 | 131.3 | 23.34 | 968.023 | 91.867 | 58.6223
2020-07-31 04:15:00 | 6.144 | 117.7 | 7.207 | 136 | 7.831 | 128.112 | 7.94 | 121.3 | 22.79 | 968.468 | 99.8806 | 51.5911
2020-07-31 04:30:00 | 5.85 | 142.5 | 6.194 | 157.8 | 6.895 | 148.648 | 6.881 | 148.9 | 22.89 | 968.32 | 99.8465 | 36.2464
2020-07-31 04:45:00 | 8.75 | 125.7 | 9.06 | 142.4 | 8.26 | 134.141 | 8.11 | 130 | 22.84 | 968.32 | 99.8806 | 40.4105
2020-07-31 05:00:00 | 6.858 | 127.2 | 6.959 | 144.2 | 7.731 | 135.836 | 7.685 | 132.3 | 22.75 | 968.616 | 99.9147 | 32.7844
2020-07-31 05:15:00 | 6.332 | 134.1 | 6.483 | 150.3 | 6.897 | 141.583 | 6.975 | 139.6 | 22.68 | 968.172 | 99.8124 | 35.6442
2020-07-31 05:30:00 | 5.602 | 116.3 | 5.854 | 135.5 | 6.355 | 127.641 | 6.471 | 124.7 | 22.68 | 968.468 | 99.8806 | 32.5442
2020-07-31 05:45:00 | 7.063 | 121.5 | 7.306 | 135.4 | 7.289 | 127.547 | 7.283 | 128.3 | 22.58 | 968.468 | 99.8806 | 45.1732
2020-07-31 06:00:00 | 6.767 | 111.8 | 7.094 | 132.2 | 7.533 | 124.532 | 7.678 | 117.6 | 22.34 | 968.616 | 99.8806 | 57.6839
2020-07-31 06:15:00 | 9.22 | 129.1 | 9.4 | 146.4 | 10.52 | 137.909 | 10.49 | 133.8 | 22.97 | 968.765 | 94.8678 | 55.9695
2020-07-31 06:30:00 | 6.682 | 133.3 | 6.92 | 150.3 | 7.533 | 141.583 | 7.609 | 139 | 23.15 | 968.913 | 91.3214 | 37.233
2020-07-31 06:45:00 | 5.717 | 135.8 | 6.289 | 151.4 | 6.221 | 142.619 | 6.336 | 143.8 | 23.24 | 969.21 | 89.7527 | 31.0773
2020-07-31 07:00:00 | 5.822 | 132.6 | 6.261 | 146.7 | 6.254 | 138.191 | 6.262 | 140.9 | 23.52 | 969.655 | 89.2655 | 26.3775
2020-07-31 07:15:00 | 5.196 | 140.7 | 5.765 | 161.3 | 6.49 | 151.945 | 6.585 | 148.4 | 23.9 | 969.803 | 88.7829 | 28.6461
2020-07-31 07:30:00 | 6.412 | 146.4 | 6.964 | 164.6 | 7.627 | 155.053 | 7.53 | 150.8 | 23.43 | 970.248 | 91.9867 | 24.5264
2020-07-31 07:45:00 | 6.09 | 141.6 | 6.693 | 158 | 6.912 | 148.836 | 6.947 | 144.4 | 23.04 | 969.951 | 92.8292 | 22.8157
2020-07-31 08:00:00 | 4.956 | 141 | 5.338 | 162.5 | 5.735 | 153.075 | 5.663 | 144.5 | 23.04 | 969.951 | 93.0663 | 19.3869
2020-07-31 08:15:00 | 5.577 | 149.9 | 5.565 | 171.6 | 5.33 | 161.647 | 5.297 | 151.9 | 23.18 | 970.1 | 94.3653 | 17.9643
2020-07-31 08:30:00 | 6.381 | 148.6 | 6.614 | 164.7 | 7.037 | 155.147 | 6.97 | 155 | 22.92 | 970.1 | 92.7602 | 18.6996
2020-07-31 08:45:00 | 5.804 | 151.3 | 6.161 | 167.6 | 6.64 | 157.879 | 6.646 | 157.4 | 23.33 | 970.1 | 86.9332 | 18.6516
2020-07-31 09:00:00 | 6.532 | 151.1 | 6.644 | 168.8 | 7.335 | 159.01 | 7.382 | 154.1 | 23.61 | 970.248 | 88.6042 | 22.7085
2020-07-31 09:15:00 | 8.14 | 144.9 | 8.32 | 162.3 | 8.12 | 152.887 | 7.915 | 151.2 | 23.95 | 970.396 | 81.2001 | 18.8215
2020-07-31 09:30:00 | 6.858 | 141.5 | 6.885 | 157.6 | 6.79 | 148.459 | 6.756 | 148.6 | 24.57 | 970.931 | 81.8709 | 21.3377
2020-07-31 09:45:00 | 7.007 | 143.9 | 7.37 | 159.4 | 7.246 | 150.155 | 6.995 | 151.1 | 24.52 | 971.143 | 80.6408 | 22.2393
2020-07-31 10:00:00 | 6.805 | 144.4 | 6.77 | 159.3 | 6.46 | 150.061 | 6.272 | 153.1 | 24.69 | 971.287 | 82.8221 | 25.1323
2020-07-31 10:15:00 | 6.994 | 144.6 | 7.097 | 159.3 | 6.91 | 150.061 | 6.784 | 149.9 | 24.85 | 971.435 | 81.152 | 25.0807
2020-07-31 10:30:00 | 6.744 | 141.7 | 6.869 | 158.4 | 6.907 | 149.213 | 6.82 | 146.6 | 25.19 | 971.584 | 82.3449 | 25.9341
2020-07-31 10:45:00 | 6.631 | 151.1 | 6.716 | 168.7 | 5.745 | 158.915 | 5.724 | 157.7 | 25.95 | 971.139 | 80.6368 | 23.466
2020-07-31 11:00:00 | 7.796 | 151.8 | 7.823 | 165.6 | 7.215 | 155.995 | 7.174 | 157.5 | 26.13 | 971.139 | 80.2655 | 33.442
2020-07-31 11:15:00 | 9.37 | 140.9 | 9.5 | 156.9 | 8.87 | 147.8 | 8.56 | 147.2 | 26.42 | 971.221 | 74.9088 | 36.1023
2020-07-31 11:30:00 | 8.94 | 150.8 | 8.93 | 165.8 | 8.32 | 156.184 | 8.13 | 157.8 | 26.36 | 970.634 | 75.2384 | 44.5672
2020-07-31 11:45:00 | 9.13 | 171.5 | 8.83 | 187.9 | 8.43 | 177.002 | 8.39 | 178.4 | 26.47 | 970.166 | 73.7445 | 41.0497
2020-07-31 12:00:00 | 8.86 | 181.7 | 8.26 | 199.5 | 7.24 | 187.929 | 7.049 | 181.9 | 26.31 | 970.395 | 75.9014 | 43.4999
2020-07-31 12:15:00 | 7.315 | 180.5 | 6.831 | 193.2 | 6.345 | 181.994 | 6.323 | 184 | 26.35 | 970.1 | 78.696 | 37.0889
2020-07-31 12:30:00 | 7.826 | 172.7 | 7.401 | 188.7 | 6.518 | 177.755 | 6.532 | 173.3 | 26.73 | 970.249 | 76.6169 | 47.1204
2020-07-31 12:45:00 | 8.73 | 161.1 | 8.81 | 171.7 | 7.94 | 161.741 | 7.851 | 168 | 26.47 | 970.1 | 79.8524 | 46.3149
2020-07-31 13:00:00 | 7.195 | 168.8 | 7.22 | 189.1 | 6.628 | 178.132 | 6.588 | 169 | 26.64 | 970.1 | 80.2272 | 47.0058
2020-07-31 13:15:00 | 7.293 | 172.8 | 7.097 | 187.1 | 6.516 | 176.248 | 6.488 | 175.8 | 26.7 | 969.952 | 80.0236 | 43.359
2020-07-31 13:30:00 | 7.609 | 162.6 | 7.191 | 180.3 | 7.07 | 169.843 | 7.117 | 166.2 | 26.75 | 969.804 | 78.8336 | 35.3597
2020-07-31 13:45:00 | 8.1 | 187.8 | 7.864 | 204 | 7.253 | 192.168 | 7.151 | 189 | 27.28 | 970.1 | 79.4443 | 28.7939
2020-07-31 14:00:00 | 7.676 | 143.2 | 8.1 | 159.4 | 7.602 | 150.155 | 7.497 | 152.2 | 26.55 | 970.1 | 81.6622 | 29.3888
2020-07-31 14:15:00 | 6.128 | 163.8 | 6.084 | 180 | 5.351 | 169.56 | 5.297 | 169.4 | 27.28 | 969.507 | 77.4345 | 29.2373
2020-07-31 14:30:00 | 7.9 | 156.8 | 7.887 | 170.1 | 6.678 | 160.234 | 6.532 | 163.1 | 26.92 | 969.423 | 80.1499 | 26.0745
2020-07-31 14:45:00 | 7.272 | 178.5 | 6.621 | 199.7 | 4.833 | 188.117 | 5.574 | 177.7 | 26.98 | 969.293 | 78.2805 | 23.4734
2020-07-31 15:00:00 | 6.779 | 163.9 | 6.823 | 175.6 | 3.876 | 165.415 | 6.094 | 172.7 | 26.82 | 969.278 | 78.9842 | 23.6544
2020-07-31 15:15:00 | 7.693 | 177.3 | 7.539 | 189.6 | 5.302 | 178.603 | 6.287 | 181.2 | 27.14 | 968.945 | 78.2967 | 22.339
2020-07-31 15:30:00 | 6.514 | 148.4 | 6.573 | 162.3 | 5.432 | 152.887 | 5.35 | 156.7 | 27.06 | 969.657 | 79.966 | 16.4753
2020-07-31 15:45:00 | 5.337 | 138.7 | 5.369 | 157.7 | 5.124 | 148.553 | 4.945 | 144.6 | 27.01 | 969.657 | 81.0562 | 10.4453
2020-07-31 16:00:00 | 5.291 | 162.8 | 5.366 | 184.9 | 4.987 | 174.176 | 4.854 | 166.4 | 27.65 | 969.509 | 79.2505 | 16.0726
2020-07-31 16:15:00 | 5.122 | 142.9 | 5.604 | 160.1 | 5.117 | 150.814 | 4.976 | 153.3 | 26.98 | 968.619 | 82.2487 | 10.6781
2020-07-31 16:30:00 | 5.288 | 184.4 | 5.123 | 204 | 4.384 | 192.168 | 4.326 | 183.5 | 27.17 | 968.323 | 78.2624 | 13.028
2020-07-31 16:45:00 | 4.798 | 171.1 | 4.908 | 193 | 4.216 | 181.806 | 4.102 | 171.1 | 27.46 | 968.323 | 78.7053 | 11.369
2020-07-31 17:00:00 | 5.329 | 156.2 | 5.422 | 169.5 | 5.124 | 159.669 | 5.039 | 161.6 | 27.16 | 968.175 | 81.4992 | 7.7333
2020-07-31 17:15:00 | 6.46 | 144.4 | 6.496 | 159.3 | 6.343 | 150.061 | 6.198 | 149.8 | 27.25 | 968.323 | 79.6593 | 9.5512
2020-07-31 17:30:00 | 4.144 | 138 | 4.52 | 152.6 | 4.277 | 143.749 | 4.1 | 145.7 | 27.27 | 968.916 | 80.4089 | 7.907
2020-07-31 17:45:00 | 6.041 | 153.1 | 6.01 | 170 | 5.442 | 160.14 | 5.332 | 157.2 | 27.22 | 968.323 | 80.6815 | 11.6203
2020-07-31 18:00:00 | 6.026 | 144.6 | 6.335 | 161.7 | 6.462 | 152.321 | 6.359 | 149.6 | 27.2 | 968.175 | 79.046 | 12.4479
2020-07-31 18:15:00 | 6.225 | 151.1 | 6.913 | 167.1 | 6.783 | 157.408 | 6.629 | 155.1 | 27.06 | 967.908 | 79.7994 | 13.0613
2020-07-31 18:30:00 | 5.796 | 140.3 | 6.202 | 157.2 | 5.872 | 148.082 | 5.735 | 143.2 | 26.79 | 967.871 | 84.0455 | 14.203
2020-07-31 18:45:00 | 6.417 | 142.1 | 6.212 | 161.6 | 5.468 | 152.227 | 5.312 | 142.8 | 26.53 | 967.58 | 84.5866 | 12.3703
2020-07-31 19:00:00 | 5.546 | 142.2 | 5.586 | 155.4 | 5.47 | 146.387 | 5.488 | 146.1 | 26.46 | 967.431 | 83.6399 | 13.4714
2020-07-31 19:15:00 | 6.197 | 135.8 | 6.337 | 149.5 | 6.226 | 140.829 | 6.117 | 144.7 | 26.39 | 967.135 | 83.3333 | 19.1615
2020-07-31 19:30:00 | 4.678 | 136.4 | 4.788 | 155.8 | 4.929 | 146.764 | 4.887 | 140.9 | 26.18 | 967.55 | 86.9802 | 21.4449
2020-07-31 19:45:00 | 5.978 | 134.3 | 6.268 | 151.7 | 6.394 | 142.901 | 6.399 | 141.7 | 26.14 | 967.27 | 85.6852 | 33.8263
2020-07-31 20:00:00 | 7.155 | 135 | 7.368 | 152.3 | 7.591 | 143.467 | 7.528 | 140.8 | 26.19 | 967.578 | 85.6296 | 29.6142
2020-07-31 20:15:00 | 5.418 | 135.1 | 5.619 | 154.4 | 5.295 | 145.445 | 5.129 | 138.5 | 26.19 | 968.468 | 85.0519 | 13.7411
2020-07-31 20:30:00 | 5.896 | 135.8 | 6.092 | 150.9 | 6.32 | 142.148 | 6.241 | 140.2 | 26.17 | 968.32 | 85.9724 | 29.8174
2020-07-31 20:45:00 | 5.932 | 139.8 | 6.573 | 156.2 | 6.055 | 147.14 | 6.02 | 145.1 | 25.94 | 968.171 | 86.8587 | 31.8717
2020-07-31 21:00:00 | 7.063 | 141 | 7.199 | 158.8 | 7.332 | 149.59 | 7.339 | 146.4 | 25.87 | 968.32 | 87.6427 | 30.6709
2020-07-31 21:15:00 | 6.723 | 141.6 | 6.959 | 160.8 | 7.04 | 151.474 | 6.995 | 147 | 25.91 | 968.023 | 87.745 | 35.7107
2020-07-31 21:30:00 | 7.936 | 140.5 | 8.36 | 156.5 | 8.63 | 147.423 | 8.6 | 146.9 | 25.85 | 967.875 | 87.745 | 40.1482
2020-07-31 21:45:00 | 9.28 | 143.9 | 9.24 | 160.4 | 9.47 | 151.097 | 9.38 | 149 | 25.92 | 968.023 | 88.8358 | 42.1619
2020-07-31 22:00:00 | 8.68 | 147.4 | 9.09 | 164.5 | 10.49 | 154.959 | 10.41 | 152.6 | 25.61 | 967.578 | 89.8585 | 51.6652
2020-07-31 22:15:00 | 7.951 | 149 | 8.3 | 167.7 | 8.97 | 157.973 | 8.94 | 153.6 | 25.52 | 967.726 | 90.4039 | 42.1065
2020-07-31 22:30:00 | 8.9 | 153.2 | 9.1 | 168.2 | 9.46 | 158.444 | 9.33 | 159.1 | 25.43 | 967.726 | 92.722 | 38.4633
2020-07-31 22:45:00 | 8.71 | 156 | 9.21 | 170.3 | 9.37 | 160.423 | 9.31 | 162.2 | 25.33 | 967.43 | 94.4605 | 38.8772
2020-07-31 23:00:00 | 8.52 | 155.9 | 8.16 | 169.2 | 7.118 | 159.386 | 6.937 | 164.7 | 25.16 | 967.726 | 96.3355 | 27.0537
2020-07-31 23:15:00 | 6.726 | 164 | 6.685 | 179.3 | 6.455 | 168.901 | 6.432 | 169.9 | 24.98 | 967.578 | 97.3616 | 31.8348
2020-07-31 23:30:00 | 9.16 | 155.3 | 9.13 | 171.1 | 9.11 | 161.176 | 9.02 | 161.2 | 24.98 | 967.578 | 98.1112 | 31.5614
2020-07-31 23:45:00 | 7.014 | 160.8 | 6.989 | 174.4 | 6.513 | 164.285 | 6.402 | 166.2 | 24.86 | 967.43 | 98.7912 | 21.1271