## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-01 00:00:00 | 6.871 | 152.3 | 7.227 | 169.2 | 7.169 | 159.386 | 7.13 | 158.8 | 24.78 | 967.133 | 99.1315 | 26.3147
2020-08-01 00:15:00 | 6.585 | 171.6 | 6.458 | 191 | 6.037 | 179.922 | 5.982 | 168.8 | 24.81 | 966.985 | 99.1349 | 32.1267
2020-08-01 00:30:00 | 7.928 | 151.9 | 8.15 | 167.6 | 7.823 | 157.879 | 7.752 | 159.3 | 24.68 | 967.133 | 99.887 | 30.9185
2020-08-01 00:45:00 | 6.838 | 159 | 6.859 | 176.7 | 6.513 | 166.451 | 6.583 | 164.6 | 24.49 | 966.985 | 99.8852 | 32.5922
2020-08-01 01:00:00 | 6.797 | 163.5 | 6.731 | 179.2 | 6.137 | 168.806 | 6.216 | 165.9 | 24.44 | 966.837 | 99.892 | 25.4427
2020-08-01 01:15:00 | 6.981 | 159.6 | 6.79 | 177 | 6.373 | 166.734 | 6.249 | 162.6 | 24.43 | 967.133 | 99.8947 | 16.7524
2020-08-01 01:30:00 | 4.446 | 165.2 | 4.908 | 174 | 5.264 | 163.908 | 5.159 | 170.7 | 24.31 | 966.985 | 99.8975 | 7.0239
2020-08-01 01:45:00 | 4.285 | 168.9 | 4.246 | 185.7 | 4.224 | 174.929 | 4.087 | 173.5 | 24.32 | 966.688 | 99.896 | 11.539
2020-08-01 02:00:00 | 5.444 | 165.1 | 5.399 | 186.6 | 5.262 | 175.777 | 5.279 | 170.9 | 24.37 | 966.54 | 99.8977 | 12.0674
2020-08-01 02:15:00 | 5.934 | 155.7 | 6.095 | 170.6 | 5.88 | 160.705 | 5.742 | 162.9 | 24.37 | 966.688 | 99.8977 | 15.7437
2020-08-01 02:30:00 | 5.362 | 153.5 | 5.463 | 168.4 | 5.219 | 158.633 | 5.022 | 161.2 | 24.17 | 966.688 | 99.8634 | 10.5081
2020-08-01 02:45:00 | 4.89 | 164 | 5.062 | 179.7 | 4.812 | 169.277 | 4.609 | 171.2 | 24.15 | 966.243 | 99.8636 | 11.6646
2020-08-01 03:00:00 | 5.245 | 158.5 | 5.23 | 175.4 | 4.901 | 165.227 | 4.747 | 167.4 | 24.1 | 966.243 | 99.9318 | 9.3516
2020-08-01 03:15:00 | 5.426 | 153.8 | 5.422 | 163.3 | 5.102 | 153.829 | 4.958 | 164.7 | 24.1 | 966.243 | 99.8959 | 10.8259
2020-08-01 03:30:00 | 5.069 | 158.2 | 5.302 | 171.7 | 5.208 | 161.741 | 5.116 | 165.7 | 24.08 | 966.391 | 99.8977 | 7.4673
2020-08-01 03:45:00 | 4.05 | 155.8 | 4.19 | 167.4 | 4.267 | 157.691 | 4.016 | 163.7 | 24.04 | 966.391 | 99.8976 | 4.5964
2020-08-01 04:00:00 | 4.045 | 165.8 | 4.088 | 179.7 | 3.901 | 169.277 | 3.738 | 171.1 | 24.03 | 966.391 | 99.8977 | 6.2628
2020-08-01 04:15:00 | 4.834 | 152.4 | 5.499 | 165 | 5.369 | 155.43 | 5.246 | 160.6 | 24.03 | 966.54 | 99.8977 | 8.561
2020-08-01 04:30:00 | 4.126 | 148.7 | 4.164 | 164.7 | 4.527 | 155.147 | 4.38 | 154.5 | 24.04 | 966.688 | 99.8636 | 12.8655
2020-08-01 04:45:00 | 4.793 | 147 | 5.333 | 162.7 | 5.648 | 153.263 | 5.579 | 151.8 | 24.06 | 966.837 | 99.8636 | 15.4297
2020-08-01 05:00:00 | 5.641 | 147.9 | 5.765 | 161.6 | 5.488 | 152.227 | 5.271 | 153.2 | 24.04 | 966.837 | 99.8968 | 12.023
2020-08-01 05:15:00 | 4.903 | 154 | 4.926 | 170.4 | 4.631 | 160.517 | 4.576 | 158.1 | 24.1 | 967.133 | 99.8972 | 10.2089
2020-08-01 05:30:00 | 5.408 | 150.7 | 5.279 | 163.7 | 4.985 | 154.205 | 4.866 | 157 | 24.1 | 966.837 | 99.8977 | 10.3899
2020-08-01 05:45:00 | 4.977 | 154.8 | 4.755 | 170.3 | 4.364 | 160.423 | 4.202 | 159.1 | 24.11 | 967.281 | 99.8976 | 8.3614
2020-08-01 06:00:00 | 5.278 | 144.4 | 5.256 | 159.5 | 5.389 | 150.249 | 5.22 | 150.1 | 24.09 | 967.43 | 99.8974 | 8.1878
2020-08-01 06:15:00 | 5.378 | 143.9 | 5.376 | 162.6 | 5.356 | 153.169 | 5.144 | 150.4 | 24.05 | 967.578 | 99.8977 | 10.2384
2020-08-01 06:30:00 | 5.666 | 146.9 | 5.732 | 163.1 | 5.735 | 153.64 | 5.602 | 151.9 | 24.08 | 967.43 | 99.8976 | 10.7889
2020-08-01 06:45:00 | 6.424 | 144.6 | 6.591 | 161.9 | 6.633 | 152.51 | 6.41 | 150 | 24.09 | 967.43 | 99.8958 | 16.8485
2020-08-01 07:00:00 | 5.51 | 149.6 | 5.432 | 164.9 | 5.348 | 155.336 | 5.195 | 153.6 | 24.1 | 967.726 | 99.8933 | 18.4927
2020-08-01 07:15:00 | 7.285 | 141.8 | 7.204 | 158.2 | 7.024 | 149.024 | 6.756 | 147.3 | 24.05 | 967.578 | 99.8953 | 18.526
2020-08-01 07:30:00 | 6.818 | 147.1 | 6.943 | 164.1 | 6.566 | 154.582 | 6.371 | 151.4 | 24 | 967.726 | 99.8961 | 16.9593
2020-08-01 07:45:00 | 6.381 | 147.7 | 6.432 | 163.6 | 6.348 | 154.111 | 6.168 | 154.1 | 24.03 | 967.875 | 99.8853 | 14.4949
2020-08-01 08:00:00 | 6.672 | 147.1 | 6.34 | 164.3 | 6.233 | 154.771 | 6.076 | 152.5 | 24.09 | 968.023 | 99.8812 | 15.5886
2020-08-01 08:15:00 | 6.664 | 150.8 | 6.565 | 166.6 | 6.378 | 156.937 | 6.196 | 157.3 | 24.16 | 968.023 | 99.8807 | 14.8052
2020-08-01 08:30:00 | 5.094 | 144.3 | 5.074 | 163.2 | 5.061 | 153.734 | 4.981 | 148.8 | 24.42 | 968.468 | 99.8807 | 11.3469
2020-08-01 08:45:00 | 5.743 | 151.4 | 5.691 | 168.6 | 5.554 | 158.821 | 5.429 | 157.2 | 24.68 | 968.425 | 99.864 | 10.4047
2020-08-01 09:00:00 | 5.824 | 146 | 5.821 | 163.1 | 5.615 | 153.64 | 5.401 | 150.5 | 24.83 | 968.471 | 99.8637 | 10.0574
2020-08-01 09:15:00 | 6.552 | 141.2 | 6.271 | 157 | 5.943 | 147.894 | 5.691 | 148.4 | 24.81 | 968.183 | 99.8637 | 11.7496
2020-08-01 09:30:00 | 5.482 | 148 | 5.458 | 162.1 | 5.521 | 152.698 | 5.444 | 151.9 | 24.7 | 968.321 | 99.8637 | 10.5377
2020-08-01 09:45:00 | 5.418 | 146.5 | 5.588 | 160.7 | 5.491 | 151.379 | 5.342 | 154.1 | 25.21 | 968.473 | 99.8637 | 9.4145
2020-08-01 10:00:00 | 4.754 | 134.5 | 4.681 | 148.1 | 4.804 | 139.51 | 4.706 | 141.6 | 25.28 | 968.618 | 99.0798 | 8.0843
2020-08-01 10:15:00 | 5.914 | 144.7 | 5.703 | 161.3 | 5.613 | 151.945 | 5.424 | 150.5 | 25.99 | 968.915 | 95.6347 | 8.875
2020-08-01 10:30:00 | 6.258 | 150.6 | 6.061 | 164.7 | 5.61 | 155.147 | 5.421 | 157.9 | 25.86 | 968.766 | 96.7212 | 9.8874
2020-08-01 10:45:00 | 6.286 | 139.2 | 6.164 | 155.7 | 6.022 | 146.669 | 5.862 | 146.4 | 25.9 | 968.47 | 94.3395 | 10.7077
2020-08-01 11:00:00 | 5.886 | 142.3 | 5.931 | 159.4 | 5.615 | 150.155 | 5.546 | 146.7 | 26.52 | 968.608 | 91.3049 | 8.1693
2020-08-01 11:15:00 | 6.718 | 147.3 | 6.516 | 163.1 | 0 | 153.64 | 5.676 | 153.2 | 27.13 | 968.192 | 89.0984 | 8.4575
2020-08-01 11:30:00 | 6.999 | 140.7 | 6.877 | 158 | 0 | 148.836 | 6.244 | 147.8 | 26.96 | 968.619 | 89.1993 | 7.8257
2020-08-01 11:45:00 | 5.508 | 150.8 | 5.494 | 168 | 0 | 158.256 | 4.912 | 157.3 | 27.15 | 968.471 | 88.3135 | 7.9291
2020-08-01 12:00:00 | 6.57 | 141.1 | 6.946 | 154.7 | 0 | 145.727 | 6.308 | 147 | 27.16 | 968.175 | 88.6542 | 7.4008
2020-08-01 12:15:00 | 5.255 | 141 | 5.389 | 157.8 | 4.893 | 148.648 | 4.716 | 148.5 | 27.5 | 968.175 | 86.2351 | 7.5597
2020-08-01 12:30:00 | 4.657 | 152.3 | 4.821 | 161.7 | 4.654 | 152.321 | 4.619 | 159.7 | 27.94 | 968.323 | 84.77 | 8.125
2020-08-01 12:45:00 | 5.012 | 145.6 | 5.064 | 164.8 | 4.834 | 155.242 | 4.719 | 146.3 | 28.13 | 968.026 | 83.9864 | 9.2519
2020-08-01 13:00:00 | 6.463 | 143 | 6.545 | 157.4 | 0 | 148.271 | 5.742 | 150.5 | 28.33 | 968.026 | 81.9762 | 6.9685
2020-08-01 13:15:00 | 5.684 | 140.5 | 5.524 | 155 | 0 | 146.01 | 4.851 | 146.5 | 28.32 | 968.026 | 77.9557 | 4.8994
2020-08-01 13:30:00 | 4.66 | 139.8 | 4.614 | 154.5 | 0 | 145.539 | 4.293 | 144.3 | 28.75 | 967.582 | 82.0784 | 4.8624
2020-08-01 13:45:00 | 5.592 | 139.8 | 5.719 | 152.5 | 0 | 143.655 | 4.943 | 148.5 | 28.71 | 967.73 | 79.2845 | 6.4623
2020-08-01 14:00:00 | 4.057 | 142.2 | 4.152 | 162.9 | 0 | 153.452 | 3.774 | 145.2 | 29.1 | 967.73 | 80 | 6.4106
2020-08-01 14:15:00 | 3.999 | 132.5 | 4.1 | 147 | 0 | 138.474 | 3.825 | 142.1 | 29.61 | 967.73 | 77.1686 | 4.6481
2020-08-01 14:30:00 | 4.535 | 143.4 | 4.883 | 162.8 | 0 | 153.358 | 4.823 | 147.8 | 29.74 | 968.323 | 74.8103 | 4.9806
2020-08-01 14:45:00 | 5.441 | 167 | 5.374 | 182.7 | 0 | 172.103 | 4.782 | 174.2 | 29.85 | 967.433 | 72.4525 | 8.0141
2020-08-01 15:00:00 | 5.6 | 155.3 | 5.918 | 170.7 | 0 | 160.799 | 5.213 | 162.5 | 29.44 | 966.989 | 75.148 | 7.556
2020-08-01 15:15:00 | 6.435 | 165 | 6.054 | 184.1 | 0 | 173.422 | 5.187 | 170.7 | 29.65 | 967.137 | 73.0039 | 13.937
2020-08-01 15:30:00 | 6.618 | 160 | 6.527 | 174.3 | 0 | 164.191 | 5.747 | 164.8 | 29.67 | 966.396 | 77.1269 | 17.1071
2020-08-01 15:45:00 | 5.293 | 172.3 | 5.542 | 179.7 | 0 | 169.277 | 4.958 | 180.7 | 29.5 | 966.099 | 74.3091 | 18.0161
2020-08-01 16:00:00 | 5.406 | 165.4 | 5.218 | 187.6 | 0 | 176.719 | 4.803 | 168.6 | 29.48 | 966.544 | 78.1601 | 18.659
2020-08-01 16:15:00 | 6.006 | 180.6 | 6.143 | 199 | 5.488 | 187.458 | 5.378 | 181.5 | 29.6 | 966.099 | 78.1601 | 19.0137
2020-08-01 16:30:00 | 4.984 | 163.7 | 4.89 | 188.8 | 4.6 | 177.85 | 4.606 | 165.3 | 29.23 | 965.803 | 80.0681 | 14.5318
2020-08-01 16:45:00 | 5.536 | 145.8 | 5.609 | 163.2 | 5.453 | 153.734 | 5.363 | 151.7 | 29.16 | 965.506 | 80.3407 | 7.9291
2020-08-01 17:00:00 | 5.878 | 151.5 | 6.133 | 167.4 | 5.946 | 157.691 | 5.773 | 156.9 | 29.03 | 965.382 | 81.9761 | 7.9291
2020-08-01 17:15:00 | 3.695 | 153.8 | 4.031 | 169.7 | 3.675 | 159.857 | 3.509 | 162.3 | 29 | 964.827 | 81.1707 | 7.2567
2020-08-01 17:30:00 | 4.831 | 146.7 | 5.241 | 164.5 | 5.503 | 154.959 | 5.437 | 151.9 | 28.97 | 965.122 | 82.001 | 6.7985
2020-08-01 17:45:00 | 4.535 | 143.4 | 4.688 | 161.4 | 4.753 | 152.039 | 4.719 | 148.9 | 28.83 | 965.204 | 82.4783 | 6.2775
2020-08-01 18:00:00 | 4.167 | 146.1 | 4.463 | 160.6 | 4.753 | 151.285 | 4.792 | 151.1 | 28.63 | 964.911 | 84.8626 | 7.6003
2020-08-01 18:15:00 | 4.816 | 140.5 | 5.026 | 155.3 | 4.862 | 146.293 | 4.767 | 147.1 | 28.71 | 964.762 | 80.9092 | 8.0769
2020-08-01 18:30:00 | 4.869 | 136 | 5.105 | 152 | 5.386 | 143.184 | 5.297 | 141.4 | 28.76 | 965.504 | 80.8035 | 8.923
2020-08-01 18:45:00 | 4.852 | 138.5 | 5.011 | 155.8 | 5.094 | 146.764 | 5.07 | 146 | 28.64 | 965.652 | 81.5899 | 9.4182
2020-08-01 19:00:00 | 4.226 | 135.2 | 4.53 | 152.6 | 5.005 | 143.749 | 4.93 | 142.1 | 28.6 | 965.8 | 83.5669 | 9.2778
2020-08-01 19:15:00 | 5.107 | 141.4 | 5.491 | 157.7 | 5.475 | 148.553 | 5.307 | 146.8 | 28.61 | 965.8 | 83.911 | 8.9009
2020-08-01 19:30:00 | 5.337 | 141.8 | 5.427 | 156.4 | 5.865 | 147.329 | 5.895 | 146.8 | 28.41 | 965.949 | 87.2518 | 12.9652
2020-08-01 19:45:00 | 5.559 | 145.8 | 6.01 | 162.4 | 6.956 | 152.981 | 6.858 | 152.7 | 27.99 | 965.8 | 91.82 | 20.3364
2020-08-01 20:00:00 | 6.437 | 142.9 | 6.568 | 158.4 | 7.515 | 149.213 | 7.528 | 148.3 | 27.56 | 965.8 | 93.9332 | 18.7772
2020-08-01 20:15:00 | 5.967 | 138.2 | 6.238 | 154.3 | 6.607 | 145.351 | 6.483 | 143.4 | 27.44 | 965.504 | 93.456 | 12.5846
2020-08-01 20:30:00 | 6.738 | 139.5 | 7.151 | 155.7 | 7.787 | 146.669 | 7.698 | 145.5 | 27.56 | 965.394 | 92.5017 | 17.0776
2020-08-01 20:45:00 | 3.434 | 133 | 3.934 | 148.1 | 4.11 | 139.51 | 4.067 | 138.7 | 27.58 | 965.1 | 89.4683 | 10.0748
2020-08-01 21:00:00 | 12.45 | 140.2 | 12.36 | 158.3 | 11.47 | 149.119 | 11.25 | 144.2 | 26.3 | 965.538 | 94.7512 | 39.4404
2020-08-01 21:15:00 | 2.014 | 172.5 | 2.614 | 205.5 | 3.323 | 193.581 | 3.338 | 173.7 | 22.81 | 965.928 | 99.8768 | 23.3551
2020-08-01 21:30:00 | 5.49 | 109.7 | 6.018 | 122.6 | 6.238 | 115.489 | 6.376 | 118.2 | 22.25 | 965.353 | 99.89 | 37.0173
2020-08-01 21:45:00 | 5.6 | 77.45 | 6.031 | 90.1 | 6.968 | 84.8742 | 7.311 | 88.2 | 22.29 | 964.76 | 99.8977 | 61.1119
2020-08-01 22:00:00 | 6.076 | 89 | 7.557 | 106.6 | 8.37 | 100.417 | 8.65 | 96.4 | 22.65 | 965.205 | 99.8735 | 45.9309
2020-08-01 22:15:00 | 5.988 | 133.4 | 5.954 | 143.8 | 5.079 | 135.46 | 4.91 | 144.4 | 22.99 | 965.501 | 99.88 | 12.0452
2020-08-01 22:30:00 | 4.435 | 358.3 | 4.625 | 22.34 | 4.166 | 21.0443 | 4.219 | 353.8 | 22.73 | 964.612 | 99.9146 | 16.08
2020-08-01 22:45:00 | 2.82 | 8.44 | 3.469 | 14.34 | 4.466 | 13.5083 | 4.163 | 13.73 | 22.82 | 964.612 | 99.8806 | 13.8039
2020-08-01 23:00:00 | 3.062 | 27.85 | 6.215 | 47.43 | 5.974 | 44.6791 | 5.885 | 26.81 | 22.55 | 964.463 | 99.8806 | 20.9682
2020-08-01 23:15:00 | 3.876 | 27.48 | 5.412 | 44.68 | 5.3 | 42.0886 | 5.233 | 30.86 | 22.41 | 964.612 | 99.9147 | 11.1178
2020-08-01 23:30:00 | 4.652 | 45.19 | 6.041 | 64.96 | 5.893 | 61.1923 | 5.844 | 47.68 | 22.4 | 963.87 | 99.8806 | 14.7498
2020-08-01 23:45:00 | 3.754 | 63.24 | 3.574 | 77.74 | 4.443 | 73.2311 | 4.331 | 67.13 | 22.49 | 964.315 | 99.8806 | 0.93849