## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-02 00:00:00 | 1.811 | 85.9 | 0.909 | 100.8 | 0.922 | 94.9536 | 0.909 | 99.1 | 23.05 | 964.463 | 99.8806 | 6.0669
2020-08-02 00:15:00 | 3.434 | 61.88 | 2.853 | 83.8 | 1.053 | 78.9396 | 0.863 | 55.27 | 23.05 | 963.573 | 99.8806 | 8.5394
2020-08-02 00:30:00 | 4.062 | 103.5 | 5.133 | 118.2 | 5.03 | 111.344 | 5.004 | 109.1 | 23.51 | 963.722 | 99.8806 | 35.6432
2020-08-02 00:45:00 | 1.895 | 93.1 | 1.902 | 90.9 | 3.263 | 85.6278 | 3.32 | 104.9 | 23.21 | 963.276 | 99.8799 | 42.099
2020-08-02 01:00:00 | 7.696 | 123.1 | 8.46 | 138.8 | 8.57 | 130.75 | 8.39 | 130.4 | 23.38 | 963.425 | 98.7541 | 55.2627
2020-08-02 01:15:00 | 2.902 | 90.3 | 2.958 | 89 | 3.553 | 83.838 | 3.557 | 122.6 | 23.33 | 962.683 | 99.3601 | 24.5375
2020-08-02 01:30:00 | 2.001 | 137 | 2.533 | 147.5 | 3.194 | 138.945 | 3.145 | 151.2 | 25.01 | 962.683 | 89.3286 | 14.9678
2020-08-02 01:45:00 | 2.929 | 157.9 | 3.983 | 168.6 | 4.183 | 158.821 | 4.061 | 169.9 | 26.07 | 962.98 | 87.3509 | 22.0321
2020-08-02 02:00:00 | 5.773 | 144.3 | 5.9 | 158.8 | 6.617 | 149.59 | 6.455 | 157.4 | 24.79 | 962.98 | 96.5496 | 37.8433
2020-08-02 02:15:00 | 9.03 | 129.7 | 9.98 | 145.4 | 10.44 | 136.967 | 10.29 | 136.7 | 24.69 | 962.386 | 91.1967 | 53.7157
2020-08-02 02:30:00 | 5.319 | 149.9 | 5.957 | 165.5 | 6.335 | 155.901 | 6.175 | 158 | 25.22 | 964.463 | 92.5296 | 9.474
2020-08-02 02:45:00 | 6.524 | 326.6 | 6.562 | 335.7 | 5.651 | 316.229 | 5.811 | 326.6 | 22.65 | 963.573 | 99.8972 | 23.5623
2020-08-02 03:00:00 | 4.3 | 350.9 | 4.801 | 11.5 | 5.155 | 10.833 | 5.172 | 349.3 | 22.63 | 963.276 | 99.8977 | 29.7176
2020-08-02 03:15:00 | 3.751 | 327.6 | 3.944 | 355.1 | 5.051 | 334.504 | 5.299 | 321.2 | 22.61 | 962.09 | 99.8658 | 14.6685
2020-08-02 03:30:00 | 4.259 | 12.28 | 4.724 | 31.18 | 3.843 | 29.3716 | 3.781 | 10.03 | 22.54 | 960.903 | 99.8791 | 2.4017
2020-08-02 03:45:00 | 2.099 | 52.36 | 1.449 | 82.3 | 0.775 | 77.5266 | 0.554 | 42.45 | 22.54 | 961.497 | 99.8465 | -0.66877
2020-08-02 04:00:00 | 1.606 | 188.4 | 1.441 | 174.9 | 1.063 | 164.756 | 1.268 | 218.5 | 22.7 | 961.793 | 99.9147 | -0.26603
2020-08-02 04:15:00 | 5.076 | 147.8 | 5.813 | 161.8 | 5.77 | 152.416 | 5.574 | 157.8 | 22.76 | 962.238 | 99.8806 | 27.9167
2020-08-02 04:30:00 | 10.55 | 138 | 11.26 | 150.5 | 10.4 | 141.771 | 10.05 | 147.6 | 23 | 962.683 | 99.8806 | 69.672
2020-08-02 04:45:00 | 9.43 | 142.8 | 9.89 | 157.8 | 9.87 | 148.648 | 9.77 | 149.6 | 22.78 | 962.386 | 99.8798 | 72.0832
2020-08-02 05:00:00 | 8.83 | 148.8 | 9.22 | 166.1 | 10.56 | 156.466 | 10.51 | 152.8 | 22.78 | 962.09 | 99.9147 | 63.3444
2020-08-02 05:15:00 | 9.39 | 146.4 | 9.63 | 164.3 | 10.48 | 154.771 | 10.31 | 151.5 | 22.83 | 962.386 | 99.9146 | 43.7322
2020-08-02 05:30:00 | 7.811 | 142.4 | 7.787 | 157.9 | 8.1 | 148.742 | 8.05 | 151.1 | 23.16 | 962.683 | 99.8806 | 32.655
2020-08-02 05:45:00 | 9.31 | 137.9 | 9.72 | 153 | 9.9 | 144.126 | 9.75 | 143.5 | 23.47 | 962.535 | 98.8235 | 56.0891
2020-08-02 06:00:00 | 10.18 | 143.1 | 9.87 | 160.2 | 9.96 | 150.908 | 9.83 | 148.9 | 23.18 | 962.09 | 99.912 | 53.6159
2020-08-02 06:15:00 | 9.36 | 144 | 9.51 | 160 | 9.41 | 150.72 | 9.11 | 150.3 | 23.01 | 962.386 | 99.9129 | 43.4699
2020-08-02 06:30:00 | 5.508 | 142.2 | 5.601 | 156 | 5.638 | 146.952 | 5.589 | 151 | 22.97 | 962.683 | 99.8753 | 24.2049
2020-08-02 06:45:00 | 4.262 | 148.3 | 4.192 | 166.5 | 4.768 | 156.843 | 4.805 | 150.9 | 23.09 | 963.276 | 99.8784 | 20.6837
2020-08-02 07:00:00 | 5.584 | 140.3 | 5.875 | 156.2 | 6.055 | 147.14 | 6.152 | 145.6 | 23.1 | 963.276 | 99.8744 | 21.552
2020-08-02 07:15:00 | 5.439 | 137 | 5.453 | 152.1 | 5.45 | 143.278 | 5.307 | 144.1 | 23.11 | 963.425 | 99.9068 | 17.6503
2020-08-02 07:30:00 | 6.225 | 145.4 | 6.084 | 160.7 | 6.228 | 151.379 | 6.104 | 152.2 | 23.22 | 963.276 | 99.9061 | 21.6777
2020-08-02 07:45:00 | 4.903 | 149.4 | 5.169 | 162.5 | 5.351 | 153.075 | 5.383 | 154.8 | 23.29 | 963.276 | 99.8671 | 11.358
2020-08-02 08:00:00 | 4.211 | 150.7 | 4.655 | 165.9 | 5.091 | 156.278 | 5.106 | 157.3 | 23.34 | 963.573 | 99.8647 | 7.737
2020-08-02 08:15:00 | 4.928 | 147.4 | 4.878 | 161.3 | 4.845 | 151.945 | 4.813 | 154.4 | 23.42 | 963.573 | 99.8977 | 14.6057
2020-08-02 08:30:00 | 6.981 | 141.8 | 6.764 | 161 | 6.607 | 151.662 | 6.55 | 148.2 | 23.53 | 963.573 | 99.8977 | 22.9635
2020-08-02 08:45:00 | 7.798 | 147.3 | 7.915 | 163.6 | 8.2 | 154.111 | 8.05 | 153.6 | 23.33 | 963.425 | 99.8977 | 23.5251
2020-08-02 09:00:00 | 8.1 | 155.3 | 7.854 | 170.9 | 7.581 | 160.988 | 7.461 | 160.6 | 23.33 | 963.425 | 99.8977 | 27.704
2020-08-02 09:15:00 | 7.578 | 153.2 | 7.629 | 169 | 7.5 | 159.198 | 7.461 | 158.8 | 23.47 | 963.425 | 99.8977 | 24.4636
2020-08-02 09:30:00 | 7.599 | 156.9 | 7.81 | 170.2 | 7.243 | 160.328 | 7.232 | 161.8 | 23.56 | 963.425 | 99.8636 | 32.559
2020-08-02 09:45:00 | 8.75 | 161.1 | 8.51 | 174.3 | 7.925 | 164.191 | 7.953 | 164.7 | 23.67 | 963.128 | 99.8973 | 33.3571
2020-08-02 10:00:00 | 8.72 | 160.5 | 8.69 | 175.9 | 7.205 | 165.698 | 7.095 | 163.5 | 23.85 | 963.425 | 99.8946 | 38.8276
2020-08-02 10:15:00 | 9.54 | 156.5 | 9.2 | 171.9 | 8.82 | 161.93 | 8.74 | 162.4 | 23.97 | 963.276 | 99.8831 | 45.4244
2020-08-02 10:30:00 | 9.02 | 158.1 | 9.12 | 174.3 | 8.94 | 164.191 | 8.84 | 162.5 | 24.16 | 963.573 | 99.8813 | 38.0569
2020-08-02 10:45:00 | 8.56 | 159.3 | 7.943 | 169.8 | 7.256 | 159.952 | 7.245 | 171.2 | 24.3 | 963.573 | 99.8807 | 33.6342
2020-08-02 11:00:00 | 8.55 | 166.6 | 8.17 | 185.6 | 7.762 | 174.835 | 7.785 | 170.9 | 24.42 | 964.018 | 99.8807 | 30.7321
2020-08-02 11:15:00 | 7.604 | 171.6 | 7.319 | 187.6 | 7.179 | 176.719 | 7.255 | 175 | 24.66 | 964.166 | 99.8683 | 22.4129
2020-08-02 11:30:00 | 8.09 | 176.5 | 8.17 | 191.2 | 7.721 | 180.11 | 7.675 | 180.1 | 24.93 | 963.808 | 99.8637 | 17.2734
2020-08-02 11:45:00 | 7.946 | 176.9 | 7.585 | 190.5 | 7.179 | 179.451 | 7.146 | 182.8 | 25.66 | 963.92 | 98.5344 | 17.7759
2020-08-02 12:00:00 | 7.361 | 180.5 | 7.153 | 192.6 | 6.839 | 181.429 | 6.733 | 186.1 | 26.53 | 964.318 | 95.8419 | 10.9885
2020-08-02 12:15:00 | 6.95 | 178.8 | 6.639 | 191.6 | 6.126 | 180.487 | 6.096 | 181.7 | 27.15 | 964.318 | 90.7934 | 9.2962
2020-08-02 12:30:00 | 6.989 | 179.5 | 6.532 | 197.8 | 5.75 | 186.328 | 5.686 | 179.5 | 27.47 | 964.318 | 93.5207 | 10.7816
2020-08-02 12:45:00 | 5.761 | 171.2 | 5.415 | 187.4 | 5.28 | 176.531 | 5.233 | 174.8 | 27.82 | 964.585 | 88.4036 | 12.6216
2020-08-02 13:00:00 | 5.865 | 174.8 | 5.346 | 194.5 | 5.147 | 183.219 | 5.045 | 177.7 | 27.87 | 964.339 | 89.3413 | 10.8296
2020-08-02 13:15:00 | 6.189 | 183.2 | 5.977 | 200.3 | 5.336 | 188.683 | 5.393 | 187.2 | 28.09 | 964.322 | 86.4397 | 7.4451
2020-08-02 13:30:00 | 4.938 | 158 | 5.034 | 177.3 | 4.824 | 167.017 | 4.67 | 162.9 | 28.25 | 964.172 | 86.201 | 5.1728
2020-08-02 13:45:00 | 5.743 | 186.6 | 5.251 | 201.6 | 0 | 189.907 | 4.036 | 189.3 | 28.64 | 964.617 | 83.8842 | 5.6125
2020-08-02 14:00:00 | 5.84 | 177.4 | 5.783 | 193.5 | 0 | 182.277 | 5.322 | 181.5 | 28.76 | 964.469 | 81.1244 | 6.684
2020-08-02 14:15:00 | 5.827 | 157.1 | 5.734 | 172 | 0 | 162.024 | 5.172 | 165 | 29.15 | 964.617 | 80 | 8.8861
2020-08-02 14:30:00 | 6.006 | 152.8 | 6.107 | 172 | 0 | 162.024 | 5.21 | 158.9 | 29.17 | 964.765 | 82.1125 | 12.0156
2020-08-02 14:45:00 | 7.466 | 146.2 | 7.483 | 161.9 | 0 | 152.51 | 6.175 | 154.7 | 29.09 | 964.765 | 80.8788 | 18.9361
2020-08-02 15:00:00 | 6.498 | 160.4 | 6.739 | 167.7 | 0 | 157.973 | 5.561 | 172 | 29.06 | 963.876 | 80.5345 | 23.6507
2020-08-02 15:15:00 | 7.367 | 174.1 | 7.153 | 190.8 | 0 | 179.734 | 6.476 | 175.8 | 29.33 | 964.024 | 78.5584 | 29.4627
2020-08-02 15:30:00 | 7.752 | 185 | 7.181 | 200.4 | 0 | 188.777 | 5.849 | 185.2 | 29.46 | 963.876 | 80.8726 | 26.2445
2020-08-02 15:45:00 | 7.944 | 176.9 | 7.695 | 195.6 | 6.732 | 184.255 | 6.491 | 179.9 | 29.31 | 963.283 | 78.4207 | 27.4601
2020-08-02 16:00:00 | 8.5 | 188 | 8.2 | 199.2 | 6.806 | 187.646 | 6.679 | 186.8 | 29.25 | 963.283 | 79.8858 | 26.263
2020-08-02 16:15:00 | 7.596 | 176.7 | 7.023 | 196.7 | 6.116 | 185.291 | 5.994 | 178.4 | 29.18 | 963.579 | 79.965 | 25.827
2020-08-02 16:30:00 | 5.492 | 176.9 | 5.747 | 189.4 | 5.432 | 178.415 | 5.388 | 178.6 | 29.18 | 963.728 | 81.908 | 21.9806
2020-08-02 16:45:00 | 6.327 | 180.1 | 5.898 | 203.2 | 4.898 | 191.414 | 4.818 | 175.1 | 28.89 | 963.579 | 82.9983 | 27.2088
2020-08-02 17:00:00 | 6.544 | 172.6 | 6.373 | 190.3 | 5.938 | 179.263 | 5.926 | 174.1 | 28.96 | 963.283 | 82.2146 | 35.5333
2020-08-02 17:15:00 | 8.23 | 178.1 | 7.424 | 197.5 | 6.989 | 186.045 | 6.848 | 178.1 | 28.87 | 963.135 | 81.3629 | 40.8826
2020-08-02 17:30:00 | 6.445 | 160.2 | 6.465 | 179.4 | 5.727 | 168.995 | 5.689 | 165.6 | 28.87 | 963.283 | 84.293 | 30.9111
2020-08-02 17:45:00 | 6.733 | 166 | 6.951 | 184.2 | 6.231 | 173.516 | 6.244 | 171.7 | 28.61 | 963.283 | 83.2027 | 31.6611
2020-08-02 18:00:00 | 7.573 | 158.5 | 7.813 | 173.8 | 6.772 | 163.72 | 6.573 | 165.8 | 28.33 | 962.986 | 86.3373 | 39.7993
2020-08-02 18:15:00 | 9.08 | 152.4 | 9.33 | 168.8 | 9.61 | 159.01 | 9.52 | 159.3 | 28.03 | 962.986 | 87.4957 | 40.2627
2020-08-02 18:30:00 | 8.51 | 152.9 | 8.76 | 165.7 | 8.25 | 156.089 | 8.14 | 162.1 | 27.81 | 962.661 | 87.4137 | 45.6203
2020-08-02 18:45:00 | 9.35 | 150.2 | 10 | 166.2 | 9.42 | 156.56 | 9.31 | 157.7 | 27.58 | 962.537 | 89.3648 | 42.2489
2020-08-02 19:00:00 | 9.14 | 152.1 | 9.44 | 169.7 | 9.88 | 159.857 | 9.76 | 157.5 | 27.43 | 962.242 | 88.8535 | 44.2014
2020-08-02 19:15:00 | 8.54 | 154.9 | 8.91 | 174.8 | 8.89 | 164.662 | 8.78 | 158.8 | 27.28 | 962.538 | 87.73 | 48.953
2020-08-02 19:30:00 | 7.344 | 155.7 | 7.401 | 173.3 | 7.459 | 163.249 | 7.339 | 160.9 | 27.14 | 962.538 | 90.1159 | 43.4883
2020-08-02 19:45:00 | 6.437 | 159.6 | 6.212 | 179.2 | 6.307 | 168.806 | 6.325 | 166 | 27.06 | 962.721 | 90.1159 | 32.5959
2020-08-02 20:00:00 | 6.92 | 149.3 | 7.291 | 166.7 | 8.23 | 157.031 | 8.17 | 156 | 26.94 | 962.63 | 91.6496 | 38.504
2020-08-02 20:15:00 | 7.142 | 147.7 | 7.567 | 164.1 | 8.19 | 154.582 | 8.19 | 153 | 26.95 | 963.332 | 90.0477 | 42.4575
2020-08-02 20:30:00 | 7.972 | 144 | 8.44 | 163.6 | 9.24 | 154.111 | 9.18 | 148.9 | 27.22 | 962.828 | 88.7525 | 51.3214
2020-08-02 20:45:00 | 8.07 | 142.8 | 9.03 | 159.9 | 9.63 | 150.626 | 9.64 | 150.1 | 27.22 | 963.464 | 89.6046 | 43.2371
2020-08-02 21:00:00 | 7.41 | 146.4 | 7.575 | 162.4 | 8.08 | 152.981 | 8.09 | 152.2 | 27.08 | 963.706 | 92.229 | 47.6783
2020-08-02 21:15:00 | 6.475 | 154.1 | 6.777 | 171.1 | 7.294 | 161.176 | 7.296 | 160 | 26.94 | 963.62 | 94.0695 | 47.8318
2020-08-02 21:30:00 | 6.629 | 152.8 | 7.312 | 170.4 | 7.785 | 160.517 | 7.668 | 155.6 | 26.76 | 963.312 | 95.5351 | 44.0113
2020-08-02 21:45:00 | 6.647 | 152.9 | 7.442 | 169.1 | 7.533 | 159.292 | 7.436 | 157.1 | 26.74 | 963.351 | 96.6598 | 41.0719
2020-08-02 22:00:00 | 5.623 | 151.4 | 5.936 | 174.5 | 6.297 | 164.379 | 6.29 | 156.8 | 26.66 | 963.186 | 97.4778 | 39.254
2020-08-02 22:15:00 | 7.331 | 147.8 | 7.503 | 168.2 | 8.49 | 158.444 | 8.53 | 153.4 | 26.66 | 963.365 | 98.5699 | 48.022
2020-08-02 22:30:00 | 6.041 | 139.2 | 6.56 | 155.6 | 6.889 | 146.575 | 6.82 | 146.6 | 26.61 | 963.4 | 97.8561 | 33.1132
2020-08-02 22:45:00 | 5.017 | 148.9 | 5.688 | 163.4 | 6.64 | 153.923 | 6.664 | 154.5 | 26.54 | 963.25 | 98.779 | 32.0121
2020-08-02 23:00:00 | 7.54 | 147.9 | 7.8 | 167.4 | 8.09 | 157.691 | 8.1 | 151.5 | 26.67 | 963.545 | 98.0995 | 43.9797
2020-08-02 23:15:00 | 9.23 | 138.8 | 9.2 | 156 | 9.43 | 146.952 | 9.29 | 142.1 | 26.44 | 963.269 | 98.4428 | 54.9148
2020-08-02 23:30:00 | 8.21 | 145.9 | 8.44 | 161.4 | 8.84 | 152.039 | 8.73 | 152.3 | 26.13 | 963.422 | 99.8773 | 51.2089
2020-08-02 23:45:00 | 8.09 | 143 | 8.22 | 162.6 | 8.55 | 153.169 | 8.5 | 149.5 | 25.91 | 963.125 | 99.8795 | 41.0571