## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-03 00:00:00 | 7.453 | 148.7 | 7.386 | 165.7 | 7.968 | 156.089 | 7.96 | 154.8 | 25.8 | 963.401 | 99.8807 | 38.8993
2020-08-03 00:15:00 | 8.07 | 151.3 | 8.42 | 167 | 8.55 | 157.314 | 8.47 | 156.6 | 25.53 | 963.126 | 98.9603 | 46.8063
2020-08-03 00:30:00 | 7.637 | 151.4 | 8.1 | 170.8 | 8.64 | 160.894 | 8.65 | 155.4 | 25.37 | 963.276 | 99.8466 | 44.4896
2020-08-03 00:45:00 | 7.091 | 148.6 | 7.677 | 166.6 | 8.79 | 156.937 | 8.84 | 155.1 | 25.23 | 962.832 | 99.8807 | 51.58
2020-08-03 01:00:00 | 9.37 | 148.8 | 9.52 | 164.5 | 9.83 | 154.959 | 9.72 | 153.9 | 25.14 | 962.683 | 98.2444 | 54.3844
2020-08-03 01:15:00 | 8.48 | 150.7 | 8.95 | 167.2 | 9.32 | 157.502 | 9.26 | 156.5 | 24.97 | 962.683 | 95.246 | 55.5151
2020-08-03 01:30:00 | 9.52 | 152.8 | 10.15 | 167.1 | 10.59 | 157.408 | 10.62 | 160.1 | 24.91 | 962.683 | 94.2252 | 55.6686
2020-08-03 01:45:00 | 9.78 | 152 | 10.69 | 166.7 | 10.99 | 157.031 | 10.82 | 159.6 | 25.06 | 962.238 | 94.23 | 52.4151
2020-08-03 02:00:00 | 9.04 | 156.1 | 9.58 | 169.9 | 10.21 | 160.046 | 10.23 | 164.5 | 24.93 | 962.535 | 94.366 | 48.0404
2020-08-03 02:15:00 | 8.64 | 156.3 | 9.44 | 168.3 | 10.16 | 158.539 | 10.24 | 166.5 | 24.99 | 962.386 | 95.5956 | 51.7796
2020-08-03 02:30:00 | 7.433 | 153.9 | 7.902 | 169.8 | 9.34 | 159.952 | 9.4 | 161.6 | 25.01 | 962.386 | 96.3484 | 49.2929
2020-08-03 02:45:00 | 7.849 | 151.1 | 8.57 | 164.4 | 9.67 | 154.865 | 9.66 | 160 | 25.24 | 962.683 | 96.6136 | 51.1551
2020-08-03 03:00:00 | 7.504 | 151.7 | 8.1 | 166.3 | 8.85 | 156.655 | 8.88 | 158.8 | 25.29 | 962.683 | 97.9436 | 51.2902
2020-08-03 03:15:00 | 7.16 | 147.9 | 7.646 | 167.5 | 9.09 | 157.785 | 9.11 | 154.6 | 25.69 | 962.832 | 95.8955 | 46.8987
2020-08-03 03:30:00 | 6.92 | 148.9 | 7.069 | 165.9 | 8.08 | 156.278 | 8 | 155.8 | 25.82 | 962.98 | 93.7449 | 42.1102
2020-08-03 03:45:00 | 6.82 | 149.1 | 7.534 | 164.2 | 9 | 154.676 | 9.06 | 157 | 25.86 | 962.832 | 94.4947 | 46.0526
2020-08-03 04:00:00 | 7.387 | 151.9 | 8.03 | 169.7 | 9.01 | 159.857 | 9.12 | 159 | 25.83 | 962.535 | 94.7674 | 53.2095
2020-08-03 04:15:00 | 8.31 | 150.4 | 8.71 | 166.5 | 9.79 | 156.843 | 9.81 | 158 | 26.05 | 962.683 | 93.5402 | 52.1934
2020-08-03 04:30:00 | 8.35 | 147.3 | 8.52 | 162.3 | 9.11 | 152.887 | 9.05 | 153.9 | 26.2 | 962.676 | 93.7447 | 57.4216
2020-08-03 04:45:00 | 9.14 | 147.6 | 9.44 | 163 | 9.8 | 153.546 | 9.78 | 155 | 26.13 | 962.832 | 94.5969 | 64.0612
2020-08-03 05:00:00 | 10.07 | 143.4 | 10.27 | 159.6 | 10.82 | 150.343 | 10.66 | 149.5 | 26.37 | 963.128 | 93.3697 | 65.0248
2020-08-03 05:15:00 | 8.94 | 143.2 | 9.22 | 161.2 | 9.7 | 151.85 | 9.61 | 147.5 | 26.09 | 963.276 | 94.0174 | 60.8652
2020-08-03 05:30:00 | 8.1 | 140.2 | 8.24 | 158 | 8.82 | 148.836 | 8.83 | 145.5 | 26.04 | 963.276 | 95.4491 | 58.0756
2020-08-03 05:45:00 | 8.7 | 140.2 | 9.16 | 158.5 | 9.21 | 149.307 | 9.01 | 145.3 | 25.89 | 963.425 | 95.5173 | 59.3134
2020-08-03 06:00:00 | 8.14 | 143.5 | 8.16 | 160.2 | 8.36 | 150.908 | 8.39 | 150.4 | 25.82 | 963.273 | 96.2673 | 51.3436
2020-08-03 06:15:00 | 8.22 | 145.5 | 8.54 | 162.7 | 9.39 | 153.263 | 9.31 | 150.7 | 25.85 | 962.972 | 96.7445 | 43.8356
2020-08-03 06:30:00 | 7.589 | 148.5 | 8.09 | 165 | 8.73 | 155.43 | 8.67 | 153.9 | 25.82 | 963.128 | 96.6082 | 35.6109
2020-08-03 06:45:00 | 8.49 | 148.6 | 8.65 | 162.8 | 9.19 | 153.358 | 9.2 | 155.6 | 25.87 | 962.98 | 97.6245 | 38.1567
2020-08-03 07:00:00 | 8 | 149.3 | 8.64 | 164.8 | 9.03 | 155.242 | 9.05 | 156.8 | 25.81 | 963.393 | 97.8215 | 42.9712
2020-08-03 07:15:00 | 7.655 | 151.8 | 7.741 | 168.5 | 7.815 | 158.727 | 7.813 | 157.5 | 25.78 | 963.076 | 98.0245 | 31.9161
2020-08-03 07:30:00 | 7.185 | 154.1 | 7.705 | 168.6 | 8.59 | 158.821 | 8.6 | 161.2 | 25.81 | 963.37 | 98.5686 | 28.454
2020-08-03 07:45:00 | 8.01 | 154.3 | 8.17 | 169 | 7.991 | 159.198 | 7.943 | 164.4 | 25.84 | 963.626 | 98.6367 | 27.7742
2020-08-03 08:00:00 | 7.275 | 156.8 | 7.296 | 169.9 | 7.073 | 160.046 | 7.11 | 167.2 | 25.93 | 963.479 | 98.364 | 25.0621
2020-08-03 08:15:00 | 6.016 | 155.6 | 6.056 | 171.7 | 6.037 | 161.741 | 6.033 | 164.7 | 26.47 | 963.726 | 95.5692 | 16.6009
2020-08-03 08:30:00 | 6.401 | 160.4 | 6.961 | 173.5 | 6.546 | 163.437 | 6.532 | 172.4 | 27.02 | 964.169 | 94.8194 | 15.8952
2020-08-03 08:45:00 | 6.184 | 164.9 | 6.095 | 175.1 | 5.381 | 164.944 | 5.381 | 174.1 | 27.42 | 964.318 | 93.4504 | 15.7881
2020-08-03 09:00:00 | 5.768 | 154.2 | 5.693 | 172 | 6.185 | 162.024 | 6.142 | 158.9 | 27.47 | 964.318 | 93.2806 | 15.3077
2020-08-03 09:15:00 | 5.812 | 155.6 | 5.987 | 172.7 | 6.124 | 162.683 | 6.05 | 157 | 27.55 | 964.466 | 94.4073 | 17.8572
2020-08-03 09:30:00 | 5.546 | 150 | 5.624 | 169.4 | 5.427 | 159.575 | 5.322 | 157.3 | 27.92 | 964.926 | 91.8062 | 17.2808
2020-08-03 09:45:00 | 7.024 | 148.8 | 7.161 | 165.8 | 6.979 | 156.184 | 6.848 | 153.3 | 27.47 | 964.511 | 95.7095 | 27.8776
2020-08-03 10:00:00 | 8.09 | 146.4 | 8.12 | 161.1 | 8.17 | 151.756 | 7.943 | 152.6 | 27.55 | 964.06 | 94.1065 | 24.1975
2020-08-03 10:15:00 | 8.03 | 143.8 | 7.971 | 160.7 | 7.94 | 151.379 | 7.762 | 148.9 | 27.97 | 964.172 | 94.1739 | 26.4292
2020-08-03 10:30:00 | 7.663 | 146.1 | 7.693 | 162.6 | 7.627 | 153.169 | 7.449 | 151.6 | 28.11 | 964.765 | 93.5264 | 23.1925
2020-08-03 10:45:00 | 7.435 | 143.7 | 7.629 | 159 | 7.403 | 149.778 | 7.202 | 148.9 | 28.48 | 964.765 | 91.9591 | 21.7257
2020-08-03 11:00:00 | 6.953 | 150.5 | 6.943 | 168.6 | 6.406 | 158.821 | 6.353 | 158.6 | 29.24 | 964.913 | 88.1772 | 25.5646
2020-08-03 11:15:00 | 7.847 | 144.8 | 7.746 | 159.2 | 7.365 | 149.966 | 7.237 | 152.4 | 29.16 | 964.913 | 90.1851 | 28.1215
2020-08-03 11:30:00 | 7.77 | 145.8 | 7.825 | 163.7 | 7.276 | 154.205 | 7.079 | 151.6 | 28.9 | 964.913 | 90.5275 | 28.7385
2020-08-03 11:45:00 | 7.481 | 145 | 7.58 | 157.8 | 7.103 | 148.648 | 6.929 | 153.7 | 29.01 | 964.765 | 88.2112 | 24.87
2020-08-03 12:00:00 | 4.793 | 160.5 | 5.156 | 180.3 | 4.594 | 169.843 | 4.33 | 165.4 | 29.61 | 964.913 | 85.6218 | 20.0482
2020-08-03 12:15:00 | 7.116 | 153.3 | 6.941 | 170.3 | 6.409 | 160.423 | 6.162 | 159 | 29.78 | 965.21 | 86.8414 | 20.5433
2020-08-03 12:30:00 | 5.883 | 172 | 6 | 186.8 | 5.346 | 175.966 | 5.266 | 178.1 | 30.29 | 965.062 | 85.4372 | 15.777
2020-08-03 12:45:00 | 6.082 | 146.4 | 6.524 | 162.4 | 0 | 152.981 | 6.104 | 155 | 30.27 | 965.062 | 84.211 | 15.7548
2020-08-03 13:00:00 | 5.72 | 165.5 | 5.463 | 176.1 | 0.541 | 165.886 | 4.767 | 169.6 | 30.08 | 965.21 | 84.3816 | 11.4725
2020-08-03 13:15:00 | 5.005 | 155.7 | 4.826 | 165.7 | 0 | 156.089 | 4.133 | 168.5 | 30.43 | 965.358 | 84.3809 | 11.4171
2020-08-03 13:30:00 | 6.212 | 157 | 6.371 | 172.1 | 6.015 | 162.118 | 5.842 | 162.6 | 30.15 | 965.21 | 85.0972 | 11.7016
2020-08-03 13:45:00 | 6.483 | 177.5 | 6.22 | 191.3 | 5.798 | 180.205 | 5.684 | 182.3 | 30.42 | 964.765 | 82.1005 | 15.3151
2020-08-03 14:00:00 | 5.227 | 175.3 | 4.801 | 193.7 | 4.578 | 182.465 | 4.426 | 178.4 | 30.3 | 964.765 | 85.3448 | 16.2536
2020-08-03 14:15:00 | 5.334 | 159 | 5.596 | 172.2 | 4.903 | 162.212 | 4.754 | 168.6 | 30.31 | 964.913 | 81.4976 | 15.1415
2020-08-03 14:30:00 | 5.311 | 160.3 | 5.547 | 172.9 | 5.478 | 162.872 | 5.495 | 167.3 | 30.8 | 965.358 | 82.9924 | 14.421
2020-08-03 14:45:00 | 5.505 | 181.2 | 5.489 | 197.5 | 4.483 | 186.045 | 4.385 | 186.1 | 31.07 | 965.358 | 79.952 | 12.2447
2020-08-03 15:00:00 | 5.316 | 171 | 4.99 | 191.3 | 4.69 | 180.205 | 4.67 | 173.4 | 31.47 | 965.358 | 81.7104 | 14.288
2020-08-03 15:15:00 | 5.495 | 177.1 | 5.241 | 196.8 | 4.842 | 185.386 | 4.754 | 177.5 | 30.86 | 964.765 | 82.7657 | 12.5773
2020-08-03 15:30:00 | 5.51 | 162.3 | 5.583 | 178.7 | 5.32 | 168.335 | 5.187 | 169.2 | 30.65 | 964.913 | 84.0666 | 11.3136
2020-08-03 15:45:00 | 5.676 | 151.1 | 5.77 | 169 | 4.936 | 159.198 | 4.917 | 156.9 | 30.62 | 964.765 | 86.5269 | 11.8678
2020-08-03 16:00:00 | 5.035 | 152.9 | 5.279 | 168.8 | 5.086 | 159.01 | 4.94 | 161 | 30.37 | 964.024 | 86.8781 | 14.1106
2020-08-03 16:15:00 | 5.896 | 158.5 | 6.089 | 177.7 | 5.839 | 167.393 | 5.78 | 164.7 | 30.11 | 963.728 | 87.8024 | 17.2254
2020-08-03 16:30:00 | 5.498 | 161.3 | 5.686 | 172 | 5.091 | 162.024 | 4.953 | 167.8 | 29.95 | 963.728 | 89.4719 | 17.9791
2020-08-03 16:45:00 | 5.245 | 187.3 | 5.494 | 200.5 | 4.962 | 188.871 | 4.861 | 186.8 | 29.77 | 963.431 | 88.3816 | 10.7557
2020-08-03 17:00:00 | 6.235 | 173.9 | 5.936 | 193 | 5.257 | 181.806 | 5.207 | 172.8 | 29.84 | 963.295 | 90.0202 | 17.0739
2020-08-03 17:15:00 | 6.741 | 171.9 | 6.286 | 193.1 | 5.956 | 181.9 | 5.923 | 171.2 | 29.79 | 962.891 | 90.4672 | 21.9326
2020-08-03 17:30:00 | 6.133 | 181.8 | 6.105 | 196 | 5.638 | 184.632 | 5.546 | 183.8 | 29.65 | 963.132 | 91.5352 | 13.3162
2020-08-03 17:45:00 | 7.624 | 171.2 | 7.176 | 191 | 6.828 | 179.922 | 6.919 | 173.3 | 29.58 | 962.997 | 90.2397 | 25.9415
2020-08-03 18:00:00 | 10.05 | 183 | 9.41 | 197.3 | 8.75 | 185.857 | 8.76 | 184.3 | 29.62 | 962.475 | 85.9517 | 38.4892
2020-08-03 18:15:00 | 9.54 | 180.4 | 9 | 195.1 | 8.47 | 183.784 | 8.36 | 176.5 | 29.6 | 962.681 | 86.4301 | 34.0591
2020-08-03 18:30:00 | 10.05 | 176.6 | 9.54 | 192.7 | 9.12 | 181.523 | 9.29 | 180.4 | 29.47 | 962.834 | 88.5817 | 34.1958
2020-08-03 18:45:00 | 9.55 | 179.4 | 9.33 | 196.4 | 7.986 | 185.009 | 7.922 | 178.4 | 29.32 | 962.39 | 87.1129 | 36.2169
2020-08-03 19:00:00 | 8.88 | 177.2 | 8.54 | 192.1 | 8.48 | 180.958 | 8.51 | 179.3 | 29.29 | 963.131 | 86.0905 | 12.2928
2020-08-03 19:15:00 | 8.35 | 179.3 | 8.17 | 193.4 | 8.41 | 182.183 | 8.47 | 185.6 | 29.32 | 962.983 | 87.6549 | 12.8544
2020-08-03 19:30:00 | 8.67 | 178.1 | 8.73 | 191.8 | 8.99 | 180.676 | 9.04 | 184 | 29.1 | 962.983 | 88.4393 | 14.2178
2020-08-03 19:45:00 | 7.885 | 175.3 | 7.621 | 193.5 | 7.108 | 182.277 | 7.232 | 178 | 29.01 | 962.983 | 86.7708 | 14.4616
2020-08-03 20:00:00 | 6.021 | 173.8 | 6.251 | 194.3 | 6.541 | 183.031 | 6.641 | 175.3 | 29.05 | 962.983 | 87.2138 | 12.1856
2020-08-03 20:15:00 | 5.794 | 159.5 | 6 | 174.4 | 5.982 | 164.285 | 6.025 | 166.7 | 28.64 | 963.28 | 91.3361 | 8.742
2020-08-03 20:30:00 | 4.629 | 164.7 | 4.428 | 183.1 | 4.501 | 172.48 | 4.431 | 170.5 | 28.63 | 963.576 | 90.9295 | 9.1706
2020-08-03 20:45:00 | 5.421 | 168.4 | 5.236 | 186.8 | 5.132 | 175.966 | 5.177 | 166.9 | 28.63 | 963.724 | 91.6138 | 13.9222
2020-08-03 21:00:00 | 5.076 | 171.2 | 5.108 | 191.2 | 5.241 | 180.11 | 5.258 | 173.3 | 28.65 | 964.169 | 88.0022 | 4.8181
2020-08-03 21:15:00 | 5.076 | 170 | 5.274 | 183.7 | 5.272 | 173.045 | 5.289 | 178 | 28.78 | 964.318 | 86.9792 | 4.6555
2020-08-03 21:30:00 | 3.018 | 181.3 | 3.474 | 189.2 | 3.998 | 178.226 | 4.074 | 191.3 | 28.75 | 964.614 | 86.775 | -0.30667
2020-08-03 21:45:00 | 1.929 | 173.4 | 2.525 | 182.4 | 2.95 | 171.821 | 2.933 | 181.3 | 28.82 | 964.911 | 88.3058 | -0.218
2020-08-03 22:00:00 | 2.094 | 180.4 | 2.745 | 191.4 | 3.052 | 180.299 | 3.15 | 187.8 | 28.72 | 964.318 | 88.3412 | -0.077592
2020-08-03 22:15:00 | 1.915 | 179.8 | 2.595 | 185.6 | 2.51 | 174.835 | 2.562 | 189.3 | 28.71 | 964.318 | 88.2061 | 0.088676
2020-08-03 22:30:00 | 2.03 | 196.2 | 2.329 | 196.2 | 2.428 | 184.82 | 2.483 | 202.3 | 28.75 | 963.724 | 88.1343 | 0.32884
2020-08-03 22:45:00 | 1.757 | 191.4 | 2.679 | 203.5 | 2.94 | 191.697 | 2.954 | 196.1 | 28.81 | 963.724 | 87.1812 | -0.20691
2020-08-03 23:00:00 | 1.827 | 195.3 | 2.748 | 206.1 | 2.914 | 194.146 | 2.882 | 196.5 | 28.92 | 963.576 | 86.7738 | -0.31776
2020-08-03 23:15:00 | 2.548 | 200.6 | 3.405 | 213.2 | 3.909 | 200.834 | 4.003 | 202.8 | 28.91 | 963.873 | 87.0795 | -0.15149
2020-08-03 23:30:00 | 2.916 | 201.4 | 3.543 | 212.2 | 3.611 | 199.892 | 3.669 | 203.4 | 28.81 | 964.466 | 87.3867 | 0.051728
2020-08-03 23:45:00 | 3.011 | 186.4 | 3.551 | 201.3 | 3.375 | 189.625 | 3.354 | 192.6 | 28.72 | 964.614 | 88.6471 | 2.4164