## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-04 00:00:00 | 3.154 | 166.5 | 3.622 | 176.8 | 3.652 | 166.546 | 3.654 | 176.3 | 28.64 | 965.059 | 88.4783 | 1.1306
2020-08-04 00:15:00 | 0.264 | 176 | 1.605 | 179.9 | 1.458 | 169.466 | 1.462 | 182.3 | 28.48 | 964.762 | 89.3657 | -0.3547
2020-08-04 00:30:00 | 1.729 | 155.4 | 1.917 | 169 | 1.295 | 159.198 | 1.216 | 174.8 | 28.64 | 964.466 | 88.6837 | -0.31776
2020-08-04 00:45:00 | 0 | 146.5 | 1.276 | 142.5 | 0.784 | 134.235 | 0.594 | 153.2 | 28.63 | 964.911 | 89.0934 | -0.20691
2020-08-04 01:00:00 | 1.762 | 157 | 2.809 | 171.6 | 3.158 | 161.647 | 3.04 | 164.7 | 28.4 | 964.762 | 91.2065 | 8.4763
2020-08-04 01:15:00 | 11.64 | 148.6 | 12.32 | 165.4 | 12.21 | 155.807 | 12.11 | 153.7 | 25.52 | 963.724 | 88.6502 | 41.5296
2020-08-04 01:30:00 | 14.56 | 133.1 | 14.95 | 147.3 | 14.61 | 138.757 | 14.33 | 141.4 | 23.4 | 963.8 | 96.3277 | 69.8376
2020-08-04 01:45:00 | 7.188 | 140.9 | 7.263 | 151.3 | 7.149 | 142.525 | 6.937 | 153.6 | 23.61 | 963.425 | 87.271 | 24.301
2020-08-04 02:00:00 | 5.423 | 151.1 | 5.954 | 162 | 5.391 | 152.604 | 5.274 | 159.1 | 24.69 | 963.276 | 72.1445 | 9.1447
2020-08-04 02:15:00 | 4.303 | 173.3 | 4.492 | 185.2 | 4.26 | 174.458 | 4.189 | 177.4 | 27.85 | 963.87 | 58.6089 | 15.1267
2020-08-04 02:30:00 | 6.016 | 170.8 | 7.018 | 184.7 | 7.017 | 173.987 | 6.967 | 174.9 | 27.62 | 964.463 | 69.0005 | 32.3077
2020-08-04 02:45:00 | 7.732 | 156.4 | 7.664 | 171.4 | 8.73 | 161.459 | 8.8 | 161.8 | 26.43 | 963.87 | 72.6095 | 42.5646
2020-08-04 03:00:00 | 7.474 | 151.2 | 9.02 | 163.6 | 9.67 | 154.111 | 9.51 | 162.1 | 24.76 | 963.87 | 81.5408 | 44.5746
2020-08-04 03:15:00 | 6.435 | 147.9 | 7.168 | 163 | 8.34 | 153.546 | 8.2 | 155.3 | 24.66 | 963.722 | 85.1543 | 40.6064
2020-08-04 03:30:00 | 6.146 | 133.7 | 6.887 | 150.2 | 7.378 | 141.488 | 7.298 | 140.9 | 24.53 | 963.425 | 82.5395 | 30.9998
2020-08-04 03:45:00 | 3.302 | 136.6 | 4.607 | 154.1 | 5.783 | 145.162 | 5.676 | 143.6 | 25.81 | 963.276 | 84.4868 | 17.7944
2020-08-04 04:00:00 | 2.788 | 142.7 | 3.702 | 154.5 | 4.013 | 145.539 | 3.911 | 154.2 | 25.91 | 963.573 | 84.8244 | 12.0969
2020-08-04 04:15:00 | 3.47 | 156 | 4.939 | 166.7 | 4.99 | 157.031 | 4.841 | 173.1 | 25.92 | 963.573 | 90.2694 | 21.9991
2020-08-04 04:30:00 | 5.648 | 147.7 | 5.951 | 165 | 6.485 | 155.43 | 6.407 | 154 | 25.65 | 963.573 | 87.1655 | 22.461
2020-08-04 04:45:00 | 4.425 | 144.1 | 6.005 | 157.8 | 5.913 | 148.648 | 5.625 | 155.2 | 25.9 | 963.87 | 87.8814 | 16.4051
2020-08-04 05:00:00 | 4.936 | 142.9 | 6.092 | 157.2 | 6.645 | 148.082 | 6.422 | 153.2 | 26.25 | 964.167 | 88.0859 | 29.98
2020-08-04 05:15:00 | 7.52 | 142.3 | 7.882 | 155.8 | 7.439 | 146.764 | 7.217 | 152.6 | 25.39 | 963.87 | 88.2564 | 19.4534
2020-08-04 05:30:00 | 3.156 | 150.6 | 4.29 | 169 | 5.43 | 159.198 | 5.353 | 156.7 | 25.22 | 964.315 | 89.654 | 13.4086
2020-08-04 05:45:00 | 3.47 | 127.4 | 4.026 | 144.4 | 4.608 | 136.025 | 4.522 | 134 | 25.39 | 964.463 | 90.0631 | 18.7329
2020-08-04 06:00:00 | 3.894 | 133.3 | 4.885 | 149.7 | 5.409 | 141.017 | 5.279 | 140.3 | 25.57 | 964.463 | 91.4948 | 29.0415
2020-08-04 06:15:00 | 6.338 | 122.4 | 7.358 | 139.7 | 8.5 | 131.597 | 8.45 | 129 | 24.42 | 964.463 | 97.324 | 41.0239
2020-08-04 06:30:00 | 7.55 | 120.4 | 8.09 | 139.3 | 8.29 | 131.221 | 8.17 | 126.7 | 24.75 | 964.908 | 93.2334 | 33.4938
2020-08-04 06:45:00 | 5.293 | 108.4 | 6.294 | 121.3 | 6.953 | 114.265 | 6.972 | 117 | 25.07 | 965.205 | 91.0176 | 33.1132
2020-08-04 07:00:00 | 3.708 | 109.5 | 4.645 | 121 | 5.157 | 113.982 | 5.134 | 120.2 | 26.26 | 965.65 | 87.9445 | 29.1006
2020-08-04 07:15:00 | 3.45 | 100.8 | 3.967 | 119.9 | 4.354 | 112.946 | 4.405 | 111.4 | 25.9 | 965.524 | 85.4125 | 31.0071
2020-08-04 07:30:00 | 6.077 | 115.6 | 6.747 | 130 | 7.2 | 122.46 | 7.148 | 123.8 | 26.31 | 965.949 | 84.4581 | 31.0108
2020-08-04 07:45:00 | 7.262 | 122 | 7.759 | 138.7 | 8.37 | 130.655 | 8.29 | 129.9 | 26.04 | 965.801 | 88.1041 | 33.0245
2020-08-04 08:00:00 | 6.754 | 129.2 | 6.972 | 144.1 | 7.174 | 135.742 | 7.14 | 136 | 25.51 | 965.652 | 90.7634 | 32.1636
2020-08-04 08:15:00 | 7.208 | 133.5 | 6.897 | 152.8 | 7.068 | 143.938 | 7.184 | 136.9 | 25.51 | 965.949 | 90.5249 | 28.4799
2020-08-04 08:30:00 | 6.935 | 132.6 | 7.069 | 150.9 | 7.281 | 142.148 | 7.26 | 139 | 25.72 | 966.097 | 91.8882 | 29.4738
2020-08-04 08:45:00 | 6.46 | 136.7 | 6.647 | 155.9 | 6.419 | 146.858 | 6.285 | 138.8 | 25.8 | 966.394 | 92.0586 | 29.6031
2020-08-04 09:00:00 | 6.192 | 134.2 | 6.711 | 152.1 | 6.668 | 143.278 | 6.687 | 139.3 | 25.44 | 966.394 | 93.2515 | 30.379
2020-08-04 09:15:00 | 6.777 | 133.4 | 6.545 | 150 | 6.828 | 141.3 | 6.809 | 137.9 | 25.85 | 966.113 | 90.5589 | 31.5688
2020-08-04 09:30:00 | 4.989 | 127.3 | 5.427 | 145.7 | 5.297 | 137.249 | 5.251 | 130.8 | 26.4 | 966.839 | 87.0484 | 20.1147
2020-08-04 09:45:00 | 5.143 | 136 | 5.299 | 158.3 | 4.964 | 149.119 | 4.907 | 141.9 | 27.46 | 967.254 | 86.7387 | 24.4451
2020-08-04 10:00:00 | 6.733 | 135.7 | 6.982 | 155.4 | 6.785 | 146.387 | 6.654 | 140.2 | 26.87 | 967.139 | 88.2456 | 25.5203
2020-08-04 10:15:00 | 6.902 | 135.2 | 6.918 | 153.3 | 6.539 | 144.409 | 6.468 | 140 | 26.81 | 966.544 | 87.7002 | 24.7518
2020-08-04 10:30:00 | 6.327 | 136.6 | 6.532 | 155 | 6.625 | 146.01 | 6.511 | 143.3 | 27.33 | 966.989 | 85.2811 | 19.5975
2020-08-04 10:45:00 | 7.461 | 147.3 | 7.266 | 165.1 | 6.416 | 155.524 | 6.224 | 149.2 | 27.54 | 966.84 | 85.247 | 12.1376
2020-08-04 11:00:00 | 6.565 | 151.2 | 6.509 | 167.9 | 6.137 | 158.162 | 5.956 | 155.8 | 27.73 | 966.989 | 87.7343 | 16.4421
2020-08-04 11:15:00 | 6.422 | 147.8 | 6.465 | 164.4 | 5.895 | 154.865 | 5.722 | 151.1 | 27.9 | 967.137 | 86.0988 | 12.1745
2020-08-04 11:30:00 | 6.095 | 150.8 | 6.056 | 166.8 | 5.791 | 157.126 | 5.679 | 155.2 | 28.08 | 966.989 | 84.4634 | 8.7198
2020-08-04 11:45:00 | 5.641 | 137.8 | 5.645 | 158.1 | 5.305 | 148.93 | 5.205 | 140 | 28.58 | 966.989 | 84.3953 | 7.1089
2020-08-04 12:00:00 | 5.559 | 141.1 | 5.478 | 158.7 | 5.002 | 149.495 | 4.782 | 143.7 | 28.72 | 966.84 | 78.773 | 7.9218
2020-08-04 12:15:00 | 4.785 | 145.4 | 4.798 | 165.1 | 0 | 155.524 | 4.288 | 148.2 | 29.24 | 966.84 | 79.897 | 6.2665
2020-08-04 12:30:00 | 3.766 | 142 | 4.09 | 163.6 | 1.202 | 154.111 | 3.601 | 148.8 | 29.59 | 966.84 | 76.3203 | 5.5164
2020-08-04 12:45:00 | 6.304 | 146.2 | 5.926 | 167.7 | 5.465 | 157.973 | 5.32 | 150.7 | 29.75 | 967.137 | 78.7734 | 10.231
2020-08-04 13:00:00 | 5.944 | 136.8 | 5.997 | 156.6 | 5.308 | 147.517 | 5.113 | 140.4 | 29.44 | 966.989 | 79.7615 | 11.9861
2020-08-04 13:15:00 | 6.046 | 150 | 5.926 | 167.2 | 5.48 | 157.502 | 5.317 | 154.2 | 29.55 | 966.692 | 78.1601 | 9.88
2020-08-04 13:30:00 | 6.435 | 139.3 | 6.266 | 158.1 | 5.694 | 148.93 | 5.559 | 142.1 | 29.73 | 966.692 | 74.6848 | 9.3849
2020-08-04 13:45:00 | 6.039 | 149.1 | 5.79 | 166.4 | 5.183 | 156.749 | 5.032 | 154.2 | 29.46 | 966.989 | 76.9335 | 10.2458
2020-08-04 14:00:00 | 6.011 | 136.5 | 6.059 | 152.5 | 5.549 | 143.655 | 5.33 | 143.9 | 29.55 | 967.433 | 77.615 | 9.3923
2020-08-04 14:15:00 | 5.485 | 143.8 | 5.504 | 159.7 | 4.99 | 150.437 | 4.787 | 150.5 | 29.53 | 967.582 | 75.1959 | 5.2836
2020-08-04 14:30:00 | 4.264 | 159.6 | 4.364 | 174.1 | 0 | 164.002 | 3.583 | 166.7 | 30.05 | 967.73 | 73.1088 | 4.4375
2020-08-04 14:45:00 | 5.783 | 195.7 | 5.813 | 212.7 | 0 | 200.363 | 5.179 | 198.5 | 30.34 | 967.285 | 73.3414 | 2.4312
2020-08-04 15:00:00 | 4.364 | 183.6 | 4.118 | 200.2 | 3.232 | 188.588 | 3.081 | 187.7 | 29.93 | 966.989 | 73.3402 | 1.8548
2020-08-04 15:15:00 | 4.407 | 175.1 | 4.392 | 186.6 | 3.85 | 175.777 | 3.727 | 177 | 30.2 | 967.137 | 74.1934 | 2.5199
2020-08-04 15:30:00 | 4.571 | 171.3 | 4.402 | 188.9 | 3.708 | 177.944 | 3.626 | 178.7 | 30.19 | 967.137 | 72.8293 | 4.1456
2020-08-04 15:45:00 | 5.204 | 182.1 | 5.121 | 196 | 4.351 | 184.632 | 4.232 | 185.9 | 29.97 | 966.248 | 71.7756 | 6.7024
2020-08-04 16:00:00 | 4.277 | 156.1 | 4.484 | 172 | 3.802 | 162.024 | 3.69 | 163.8 | 29.88 | 966.84 | 72.9007 | 2.0765
2020-08-04 16:15:00 | 3.419 | 174.7 | 3.587 | 190.7 | 3.158 | 179.639 | 3.091 | 177.1 | 30.41 | 967.73 | 70.5843 | 0.80178
2020-08-04 16:30:00 | 4.022 | 160.1 | 4.044 | 175.5 | 3.331 | 165.321 | 3.32 | 169.2 | 30.16 | 966.692 | 74.4925 | 1.1491
2020-08-04 16:45:00 | 4.157 | 173.6 | 4.215 | 189.8 | 3.754 | 178.792 | 3.657 | 175.3 | 29.68 | 966.099 | 72.6977 | 1.393
2020-08-04 17:00:00 | 2.87 | 163.5 | 2.952 | 183.2 | 2.271 | 172.574 | 2.269 | 163 | 29.61 | 966.248 | 75.0252 | 0.93849
2020-08-04 17:15:00 | 3.233 | 148.1 | 3.392 | 163.5 | 3.214 | 154.017 | 3.124 | 155.2 | 29.51 | 965.803 | 72.6746 | 0.26603
2020-08-04 17:30:00 | 2.329 | 158 | 2.523 | 180.4 | 2.276 | 169.937 | 2.172 | 168.8 | 29.39 | 965.803 | 73.1857 | -0.19213
2020-08-04 17:45:00 | 2.025 | 153.1 | 2.29 | 168.8 | 2.075 | 159.01 | 1.966 | 154.6 | 29.23 | 965.655 | 74.2419 | -0.39165
2020-08-04 18:00:00 | 2.492 | 141.3 | 2.748 | 157.6 | 2.627 | 148.459 | 2.572 | 152.4 | 29.18 | 965.21 | 74.4824 | -0.29928
2020-08-04 18:15:00 | 3.475 | 153.4 | 3.689 | 168 | 3.342 | 158.256 | 3.221 | 156.2 | 28.97 | 965.122 | 75.0432 | -0.25494
2020-08-04 18:30:00 | 3.728 | 164.9 | 3.883 | 179.2 | 3.459 | 168.806 | 3.369 | 168.5 | 28.89 | 965.503 | 75.2532 | -0.11824
2020-08-04 18:45:00 | 3.182 | 163.7 | 3.275 | 185.9 | 3.207 | 175.118 | 3.231 | 166.7 | 28.95 | 965.652 | 75.9996 | 0.059118
2020-08-04 19:00:00 | 3.511 | 153.6 | 3.656 | 171.1 | 3.748 | 161.176 | 3.631 | 161 | 28.73 | 965.8 | 79.8178 | 0.25494
2020-08-04 19:15:00 | 3.138 | 150.9 | 3.858 | 164.6 | 4.066 | 155.053 | 3.881 | 159.6 | 28.51 | 965.949 | 81.6581 | 0.30667
2020-08-04 19:30:00 | 3.409 | 144.8 | 3.955 | 157.9 | 4.201 | 148.742 | 4.074 | 152.9 | 28.53 | 965.504 | 83.5683 | 1.744
2020-08-04 19:45:00 | 3.659 | 147.8 | 4.198 | 163.1 | 4.359 | 153.64 | 4.273 | 150.2 | 28.3 | 965.355 | 85.8551 | 3.4805
2020-08-04 20:00:00 | 3.302 | 146.3 | 3.927 | 165.4 | 4.58 | 155.807 | 4.51 | 151.3 | 27.89 | 965.504 | 88.4116 | 3.3512
2020-08-04 20:15:00 | 2.919 | 144.8 | 3.625 | 159.5 | 4.298 | 150.249 | 4.245 | 147.8 | 27.85 | 965.8 | 89.2638 | 2.228
2020-08-04 20:30:00 | 2.842 | 151.3 | 3.137 | 170.2 | 3.868 | 160.328 | 3.865 | 153.1 | 27.81 | 966.245 | 91.2065 | 2.1098
2020-08-04 20:45:00 | 1.891 | 136.3 | 2.042 | 154.7 | 2.759 | 145.727 | 2.775 | 139 | 27.82 | 965.949 | 91.1384 | 1.5962
2020-08-04 21:00:00 | 2.901 | 133.5 | 3.085 | 144.2 | 3.443 | 135.836 | 3.417 | 138.6 | 27.83 | 966.097 | 90.7975 | 1.1121
2020-08-04 21:15:00 | 2.786 | 153.4 | 3.229 | 175.1 | 3.542 | 164.944 | 3.522 | 151.3 | 27.82 | 966.097 | 91.8882 | 0.84981
2020-08-04 21:30:00 | 3.6 | 156.5 | 3.699 | 176.6 | 3.962 | 166.357 | 3.891 | 160.8 | 28.04 | 966.097 | 86.2985 | 0.80917
2020-08-04 21:45:00 | 2.158 | 154.2 | 2.804 | 170.4 | 3.008 | 160.517 | 2.923 | 158.3 | 27.99 | 966.097 | 86.9461 | -0.12193
2020-08-04 22:00:00 | 3.784 | 132.6 | 3.84 | 147.1 | 3.782 | 138.568 | 3.69 | 141.1 | 28.25 | 965.949 | 80.9134 | -0.048033
2020-08-04 22:15:00 | 3.743 | 124.5 | 3.942 | 138.3 | 3.85 | 130.279 | 3.741 | 130.3 | 28.46 | 966.097 | 76.6871 | 0.084982
2020-08-04 22:30:00 | 1.107 | 118.4 | 1.822 | 142.2 | 1.871 | 133.952 | 1.875 | 121.1 | 28.37 | 966.393 | 79.1411 | -0.018474
2020-08-04 22:45:00 | 1.655 | 104.3 | 2.408 | 120.7 | 2.622 | 113.699 | 2.73 | 108.8 | 28.13 | 965.949 | 81.5951 | -0.19213
2020-08-04 23:00:00 | 2.891 | 106.4 | 3.216 | 119 | 3.227 | 112.098 | 3.338 | 115.8 | 28.18 | 966.245 | 80.0954 | -0.15149
2020-08-04 23:15:00 | 3.248 | 116.5 | 3.84 | 128.7 | 3.927 | 121.235 | 3.832 | 128.4 | 28.35 | 966.245 | 78.1868 | -0.070202
2020-08-04 23:30:00 | 2.191 | 134.2 | 2.694 | 155.3 | 2.927 | 146.293 | 2.941 | 140.8 | 28.13 | 966.393 | 78.7321 | 0.070202
2020-08-04 23:45:00 | 1.526 | 121.7 | 1.877 | 146.4 | 1.863 | 137.909 | 1.847 | 124.4 | 27.89 | 966.245 | 81.7314 | 0.10715