## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-05 00:00:00 | 1.318 | 137.2 | 2.173 | 157.3 | 1.61 | 148.177 | 1.541 | 132.4 | 27.78 | 966.245 | 81.8677 | -0.11454
2020-08-05 00:15:00 | 1.837 | 143.1 | 2.497 | 166.2 | 2.81 | 156.56 | 2.732 | 143.5 | 27.67 | 966.245 | 83.5378 | -0.13301
2020-08-05 00:30:00 | 2.875 | 142.2 | 3.152 | 159.9 | 3.715 | 150.626 | 3.71 | 147.6 | 27.49 | 966.245 | 84.8671 | -0.15149
2020-08-05 00:45:00 | 2.561 | 141.5 | 3.249 | 162.5 | 3.998 | 153.075 | 3.977 | 147.2 | 27.26 | 965.861 | 86.912 | 0.16257
2020-08-05 01:00:00 | 2.993 | 142.7 | 3.689 | 163.1 | 4.59 | 153.64 | 4.512 | 147.3 | 27.05 | 965.505 | 88.0027 | 0.38426
2020-08-05 01:15:00 | 4.578 | 140.7 | 5.136 | 157.1 | 5.018 | 147.988 | 4.767 | 145.7 | 27.2 | 965.583 | 87.5596 | 0.82395
2020-08-05 01:30:00 | 3.105 | 141.7 | 3.927 | 160.2 | 4.407 | 150.908 | 4.204 | 148.9 | 27.13 | 965.605 | 88.548 | 0.46925
2020-08-05 01:45:00 | 2.807 | 128.6 | 3.699 | 144.4 | 3.321 | 136.025 | 3.198 | 133.9 | 27.1 | 965.655 | 86.7075 | 0.43599
2020-08-05 02:00:00 | 0.071 | 102.5 | 0.875 | 101.9 | 1.321 | 95.9898 | 1.174 | 107.6 | 27.29 | 965.596 | 84.9011 | 0.60596
2020-08-05 02:15:00 | 0.571 | 134 | 1.479 | 140.6 | 1.43 | 132.445 | 1.48 | 132.1 | 27.56 | 965.243 | 84.6626 | 0.59118
2020-08-05 02:30:00 | 0.557 | 92.3 | 1.546 | 88.8 | 0.961 | 83.6496 | 0.627 | 130.2 | 27.28 | 965.409 | 85.0716 | 1.2636
2020-08-05 02:45:00 | 0.725 | 123.7 | 1.838 | 141.1 | 1.736 | 132.916 | 1.714 | 133 | 27.24 | 965.338 | 85.9577 | 0.91632
2020-08-05 03:00:00 | 1.146 | 92 | 1.677 | 100.5 | 0.865 | 94.671 | 0.792 | 110.8 | 27.25 | 964.934 | 87.3551 | 1.6073
2020-08-05 03:15:00 | 0 | 115.7 | 0.716 | 125.7 | 0.743 | 118.409 | 0.833 | 107.4 | 27.02 | 965.066 | 87.7982 | 2.0913
2020-08-05 03:30:00 | 2.285 | 68.04 | 2.707 | 86.8 | 2.548 | 81.7656 | 2.393 | 66.72 | 26.87 | 965.131 | 90.3204 | 1.7477
2020-08-05 03:45:00 | 2.171 | 52.72 | 3.052 | 72.24 | 2.866 | 68.0501 | 2.747 | 53.87 | 26.53 | 964.952 | 90.7982 | 0.95696
2020-08-05 04:00:00 | 2.048 | 34.23 | 2.385 | 51.2 | 2.09 | 48.2304 | 1.925 | 42.04 | 26.61 | 965.334 | 90.7313 | 0.98652
2020-08-05 04:15:00 | 1.382 | 34.3 | 1.848 | 56.17 | 2.144 | 52.9121 | 2.067 | 35.06 | 26.72 | 964.876 | 88.9618 | 0.4323
2020-08-05 04:30:00 | 0 | 23.75 | 0.116 | 56.17 | 0.289 | 52.9121 | 0.105 | 21.22 | 26.76 | 965.205 | 87.8025 | 0.73158
2020-08-05 04:45:00 | 0 | 28.24 | 0.383 | 56.17 | 0 | 52.9121 | 0.176 | 21.22 | 26.41 | 965.055 | 90.4636 | 0.4988
2020-08-05 05:00:00 | 0 | 86.9 | 1.303 | 97.1 | 0 | 91.4682 | 0 | 21.22 | 26.33 | 965.205 | 93.1973 | 0.27711
2020-08-05 05:15:00 | 0.015 | 132.6 | 0.392 | 134.1 | 0 | 126.322 | 0 | 21.22 | 26.31 | 965.056 | 93.8113 | 0.11084
2020-08-05 05:30:00 | 1.892 | 156.5 | 2.114 | 168.9 | 0.705 | 159.104 | 0.444 | 133.5 | 25.84 | 965.057 | 96.9831 | 0.25125
2020-08-05 05:45:00 | 0.996 | 174.9 | 2.019 | 181 | 1.162 | 170.502 | 1.005 | 164 | 25.77 | 965.205 | 96.574 | -0.033254
2020-08-05 06:00:00 | 0.895 | 173 | 1.569 | 174.1 | 0 | 164.002 | 0 | 200.5 | 25.89 | 965.205 | 94.631 | 0.13301
2020-08-05 06:15:00 | 0 | 173 | 0 | 174.1 | 0 | 164.002 | 0 | 200.5 | 26.19 | 965.203 | 93.6083 | 0.27711
2020-08-05 06:30:00 | 0.307 | 173 | 1.712 | 174.1 | 0 | 164.002 | 0 | 200.5 | 26.22 | 965.181 | 96.1983 | 0.31037
2020-08-05 06:45:00 | 2.434 | 163.6 | 2.768 | 182.7 | 2.215 | 172.103 | 2.05 | 170.1 | 25.65 | 965.501 | 98.9231 | 0.31776
2020-08-05 07:00:00 | 2.296 | 165 | 2.85 | 177.6 | 2.655 | 167.299 | 2.477 | 174.2 | 25.61 | 965.65 | 98.6523 | 0.38057
2020-08-05 07:15:00 | 3.754 | 161.2 | 4.272 | 176.5 | 3.535 | 166.263 | 3.287 | 166.2 | 25.47 | 965.947 | 99.8804 | 0.39535
2020-08-05 07:30:00 | 2.926 | 152.4 | 3.175 | 165.5 | 2.3 | 155.901 | 2.143 | 172.8 | 25.38 | 965.65 | 99.8807 | 0.29559
2020-08-05 07:45:00 | 0.133 | 141.9 | 1.904 | 165.7 | 0.218 | 156.089 | 0.07 | 153.4 | 25.35 | 965.947 | 99.8807 | -0.073897
2020-08-05 08:00:00 | 2.343 | 167.7 | 2.602 | 186.6 | 1.958 | 175.777 | 1.907 | 170.7 | 25.26 | 966.095 | 99.8807 | -0.10715
2020-08-05 08:15:00 | 1.368 | 148.9 | 2.349 | 160.6 | 0.405 | 151.285 | 0.245 | 175.7 | 25.14 | 965.798 | 99.8807 | -0.33993
2020-08-05 08:30:00 | 0.019 | 238.9 | 0.996 | 158.6 | 0 | 149.401 | 0.012 | 252.1 | 25.04 | 965.928 | 99.8807 | -0.29928
2020-08-05 08:45:00 | 0.803 | 177 | 1.94 | 166.9 | 0.491 | 157.22 | 0.227 | 226.9 | 25.01 | 965.947 | 99.8807 | -0.32884
2020-08-05 09:00:00 | 2.464 | 161.9 | 2.454 | 178.5 | 2.194 | 168.147 | 2.062 | 167.4 | 24.98 | 965.947 | 99.8807 | -0.32145
2020-08-05 09:15:00 | 2.742 | 175.1 | 2.549 | 196.8 | 2.118 | 185.386 | 2.088 | 185.9 | 25.04 | 966.243 | 99.8807 | -0.27711
2020-08-05 09:30:00 | 2.482 | 173.2 | 2.063 | 198.9 | 1.744 | 187.364 | 1.757 | 182.2 | 24.98 | 966.391 | 99.8807 | -0.2882
2020-08-05 09:45:00 | 3.669 | 204.4 | 3.638 | 214.3 | 3.214 | 201.871 | 3.226 | 212.3 | 24.97 | 966.688 | 99.8807 | -0.32515
2020-08-05 10:00:00 | 2.421 | 223.6 | 2.564 | 227.8 | 2.807 | 214.588 | 2.915 | 228.8 | 24.84 | 966.985 | 99.8807 | 0.89785
2020-08-05 10:15:00 | 3.677 | 239.2 | 4.241 | 251.5 | 4.288 | 236.913 | 4.337 | 241.1 | 24.68 | 966.54 | 99.8466 | 1.5703
2020-08-05 10:30:00 | 3.1 | 252.6 | 3.359 | 261 | 3.57 | 245.862 | 3.616 | 252.9 | 24.51 | 966.243 | 99.8814 | 0.51358
2020-08-05 10:45:00 | 1.736 | 265.4 | 2.124 | 278.3 | 2.367 | 262.159 | 2.531 | 268.6 | 24.68 | 966.095 | 99.8831 | -0.27342
2020-08-05 11:00:00 | 0.186 | 256.9 | 0.122 | 277.7 | 0.044 | 261.593 | 0.457 | 258.7 | 24.67 | 965.798 | 99.8821 | -0.31776
2020-08-05 11:15:00 | 0.815 | 22.54 | 1.894 | 41.91 | 1.823 | 39.4792 | 1.833 | 26.4 | 24.77 | 965.65 | 99.8811 | -0.29928
2020-08-05 11:30:00 | 1.008 | 25.3 | 2.068 | 40.08 | 1.994 | 37.7554 | 1.955 | 24.98 | 24.88 | 965.947 | 99.8807 | -0.29928
2020-08-05 11:45:00 | 0.108 | 0.228 | 0.083 | 25.71 | 0.259 | 24.2188 | 0.198 | 8.01 | 25.13 | 966.532 | 99.8807 | -0.31776
2020-08-05 12:00:00 | 2.199 | 303.2 | 2.4 | 316 | 1.994 | 297.672 | 1.922 | 304.3 | 25.75 | 966.571 | 99.8641 | -0.31776
2020-08-05 12:15:00 | 2.467 | 300.2 | 2.75 | 316 | 2.464 | 297.672 | 2.452 | 304.7 | 25.5 | 966.245 | 99.8637 | -0.29928
2020-08-05 12:30:00 | 2.128 | 298.7 | 2.347 | 312.4 | 1.981 | 294.281 | 1.794 | 308.1 | 25.77 | 966.69 | 99.8591 | -0.33623
2020-08-05 12:45:00 | 2.382 | 299.3 | 2.643 | 314.1 | 2.215 | 295.882 | 2.116 | 302.5 | 25.76 | 966.394 | 99.8599 | -0.29928
2020-08-05 13:00:00 | 2.248 | 308.8 | 2.646 | 316.1 | 2.042 | 297.766 | 1.958 | 316.1 | 25.85 | 966.69 | 99.895 | -0.29928
2020-08-05 13:15:00 | 2.236 | 315.1 | 2.538 | 322.2 | 2.446 | 303.512 | 2.419 | 314.8 | 25.93 | 966.542 | 99.86 | -0.31776
2020-08-05 13:30:00 | 2.011 | 326.7 | 1.989 | 336.4 | 2.39 | 316.889 | 2.408 | 326.3 | 26.07 | 966.69 | 98.9062 | -0.32884
2020-08-05 13:45:00 | 2.482 | 317 | 2.105 | 330.9 | 2.362 | 311.708 | 2.393 | 312.8 | 26.22 | 966.69 | 96.6888 | -0.29928
2020-08-05 14:00:00 | 2.082 | 341 | 1.783 | 333.9 | 2.19 | 314.534 | 2.234 | 339 | 26.75 | 966.69 | 94.4055 | -0.23278
2020-08-05 14:15:00 | 2.875 | 309.9 | 3.213 | 325.8 | 3.377 | 306.904 | 3.394 | 313.2 | 26.61 | 967.135 | 92.3618 | -0.20691
2020-08-05 14:30:00 | 3.036 | 319.7 | 2.881 | 333 | 3.174 | 313.686 | 3.389 | 319 | 26.79 | 966.69 | 91.9554 | 0.2882
2020-08-05 14:45:00 | 2.765 | 326.8 | 2.485 | 346.2 | 3.064 | 326.12 | 3.127 | 326.6 | 26.46 | 966.69 | 92.297 | 2.7637
2020-08-05 15:00:00 | 2.664 | 320 | 3.239 | 330.8 | 3.171 | 311.614 | 3.16 | 323.7 | 26.19 | 966.245 | 95.5651 | 3.8944
2020-08-05 15:15:00 | 2.962 | 334.1 | 3.096 | 351.6 | 3.565 | 331.207 | 3.603 | 334.4 | 26.15 | 965.949 | 95.6352 | 1.9509
2020-08-05 15:30:00 | 2.01 | 331.9 | 2.091 | 348.9 | 2.467 | 328.664 | 2.432 | 330.5 | 26.11 | 966.097 | 97.4778 | 2.3906
2020-08-05 15:45:00 | 2.454 | 316.6 | 2.646 | 327.3 | 2.724 | 308.317 | 2.753 | 319.4 | 25.98 | 966.097 | 99.0456 | 2.9411
2020-08-05 16:00:00 | 2.367 | 309.9 | 2.85 | 332.3 | 3.043 | 313.027 | 3.142 | 308.4 | 25.79 | 965.949 | 99.8636 | 12.2373
2020-08-05 16:15:00 | 3.595 | 330.5 | 4.221 | 345.7 | 4.272 | 325.649 | 4.293 | 331.5 | 25.29 | 965.893 | 99.8636 | 12.3593
2020-08-05 16:30:00 | 3.76 | 358.6 | 4.254 | 19.43 | 4.45 | 18.3031 | 4.543 | 355.4 | 25.03 | 966.087 | 99.8734 | 11.6942
2020-08-05 16:45:00 | 4.152 | 355.5 | 4.328 | 18.06 | 5.01 | 17.0125 | 5.123 | 355.1 | 24.98 | 965.65 | 99.8806 | 9.7913
2020-08-05 17:00:00 | 3.912 | 15.02 | 5.622 | 30.58 | 5.302 | 28.8064 | 4.955 | 17.3 | 24.48 | 965.946 | 99.8466 | 7.4784
2020-08-05 17:15:00 | 3.125 | 22.35 | 4.584 | 39.77 | 5.058 | 37.4633 | 4.938 | 24.03 | 24.33 | 965.947 | 99.8807 | 6.8835
2020-08-05 17:30:00 | 3.496 | 12.8 | 4.791 | 30.54 | 4.921 | 28.7687 | 4.344 | 16.47 | 24.46 | 965.65 | 99.8848 | 5.4905
2020-08-05 17:45:00 | 3.605 | 11.5 | 4.717 | 28.26 | 4.7 | 26.6209 | 4.311 | 15.2 | 24.52 | 965.65 | 99.8864 | 6.599
2020-08-05 18:00:00 | 4.453 | 5.091 | 5.438 | 23.51 | 4.898 | 22.1464 | 5.009 | 8.05 | 24.7 | 965.947 | 99.8893 | 7.7185
2020-08-05 18:15:00 | 5.056 | 10.09 | 5.903 | 27.75 | 5.369 | 26.1405 | 5.172 | 12.41 | 24.78 | 966.095 | 99.8888 | 6.5768
2020-08-05 18:30:00 | 4.647 | 10.18 | 4.962 | 27.27 | 4.697 | 25.6883 | 4.405 | 14.34 | 24.72 | 966.243 | 99.885 | 3.7798
2020-08-05 18:45:00 | 4.675 | 10.51 | 5.32 | 26.8 | 4.977 | 25.2456 | 4.747 | 15.22 | 24.71 | 966.095 | 99.8871 | 5.206
2020-08-05 19:00:00 | 4.068 | 12.94 | 5.041 | 30.54 | 4.832 | 28.7687 | 4.449 | 15.73 | 24.79 | 966.095 | 99.8865 | 4.9363
2020-08-05 19:15:00 | 4.583 | 6.711 | 4.931 | 25.35 | 4.433 | 23.8797 | 4.367 | 11.75 | 24.71 | 965.947 | 99.9174 | 3.8833
2020-08-05 19:30:00 | 4.318 | 5.021 | 4.044 | 16.56 | 4.578 | 15.5995 | 4.831 | 4.017 | 24.66 | 966.095 | 99.8892 | 4.0865
2020-08-05 19:45:00 | 4.433 | 5.935 | 4.837 | 26.81 | 4.377 | 25.255 | 4.26 | 8.67 | 24.71 | 965.947 | 99.8857 | 6.2332
2020-08-05 20:00:00 | 4.121 | 15.38 | 6.02 | 32.85 | 6.203 | 30.9447 | 5.381 | 18.57 | 24.87 | 965.947 | 99.855 | 9.3775
2020-08-05 20:15:00 | 4.754 | 14.44 | 6.302 | 32.19 | 6.495 | 30.323 | 5.918 | 18.21 | 24.78 | 966.391 | 99.8857 | 9.7322
2020-08-05 20:30:00 | 4.923 | 16.47 | 6.718 | 33.97 | 6.724 | 31.9997 | 6.623 | 19.93 | 24.71 | 966.243 | 99.8859 | 6.4327
2020-08-05 20:45:00 | 4.915 | 9.97 | 5.31 | 27.08 | 4.86 | 25.5094 | 4.624 | 14.34 | 24.71 | 966.688 | 99.8869 | 4.1826
2020-08-05 21:00:00 | 4.428 | 10.32 | 4.959 | 26.2 | 5.119 | 24.6804 | 4.943 | 15.86 | 24.74 | 966.985 | 99.8838 | 3.8648
2020-08-05 21:15:00 | 4.522 | 5.452 | 4.359 | 19 | 4.29 | 17.898 | 4.146 | 9.32 | 24.68 | 967.43 | 99.888 | 4.1382
2020-08-05 21:30:00 | 3.84 | 7.228 | 4.088 | 21.66 | 4.382 | 20.4037 | 4.151 | 11.87 | 24.45 | 966.837 | 99.8943 | 2.6862
2020-08-05 21:45:00 | 3.948 | 10.68 | 4.504 | 27.14 | 4.354 | 25.5659 | 4.296 | 18.64 | 24.44 | 966.837 | 99.894 | 1.3486
2020-08-05 22:00:00 | 3.897 | 10.81 | 4.215 | 22.62 | 3.975 | 21.308 | 3.881 | 19.23 | 24.44 | 966.837 | 99.8953 | 1.4816
2020-08-05 22:15:00 | 3.136 | 10.39 | 4.192 | 24.74 | 4.074 | 23.3051 | 3.896 | 20.1 | 24.37 | 966.985 | 99.8942 | 1.3301
2020-08-05 22:30:00 | 3.82 | 21.67 | 5.356 | 34.53 | 5.239 | 32.5273 | 5.174 | 29.63 | 24.37 | 966.837 | 99.8614 | 1.6442
2020-08-05 22:45:00 | 2.837 | 50.83 | 3.597 | 62.79 | 4.082 | 59.1482 | 4.054 | 58.84 | 24.37 | 966.688 | 99.8973 | 1.5814
2020-08-05 23:00:00 | 3.815 | 29.44 | 4.655 | 40.1 | 4.486 | 37.7742 | 4.438 | 40.57 | 24.2 | 966.688 | 99.8977 | 0.41752
2020-08-05 23:15:00 | 3.011 | 12.67 | 2.981 | 21.1 | 3.191 | 19.8762 | 3.16 | 29.58 | 24.38 | 966.985 | 99.8633 | -0.33623
2020-08-05 23:30:00 | 1.073 | 35.95 | 1.789 | 40.33 | 2.141 | 37.9909 | 2.256 | 54.37 | 24.44 | 966.985 | 99.8632 | -0.32884
2020-08-05 23:45:00 | 1.829 | 39.4 | 1.697 | 32.71 | 2.983 | 30.8128 | 3.078 | 58.36 | 24.37 | 966.688 | 99.8957 | -0.29928