## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-06 00:00:00 | 1.167 | 44.04 | 1.549 | 44.55 | 2.693 | 41.9661 | 2.788 | 57.8 | 24.32 | 966.837 | 99.8973 | -0.29928
2020-08-06 00:15:00 | 2.456 | 47.18 | 2.643 | 52.58 | 3.822 | 49.5304 | 3.957 | 62.94 | 24.34 | 966.391 | 99.8977 | -0.31776
2020-08-06 00:30:00 | 2.434 | 56.12 | 3.538 | 64.51 | 3.761 | 60.7684 | 3.738 | 75.33 | 24.35 | 966.391 | 99.8977 | -0.22539
2020-08-06 00:45:00 | 1.884 | 76.08 | 2.362 | 85.6 | 3.125 | 80.6352 | 3.043 | 89.2 | 24.16 | 966.391 | 99.8974 | -0.20691
2020-08-06 01:00:00 | 0.501 | 109.8 | 0.218 | 96.3 | 0.935 | 90.7146 | 0.944 | 119.9 | 23.91 | 966.391 | 99.8974 | -0.20691
2020-08-06 01:15:00 | 0.089 | 78.87 | 0 | 83.4 | 0.003 | 78.5628 | 0 | 119.9 | 24.07 | 966.391 | 99.8977 | -0.31776
2020-08-06 01:30:00 | 0.796 | 56.67 | 0.458 | 45.65 | 0.034 | 43.0023 | 0 | 119.7 | 24.17 | 966.54 | 99.8977 | -0.31776
2020-08-06 01:45:00 | 1.854 | 28.5 | 1.989 | 39.44 | 1.851 | 37.1525 | 1.599 | 47.88 | 24.17 | 966.243 | 99.8977 | -0.29928
2020-08-06 02:00:00 | 1.839 | 103.2 | 2.03 | 105 | 3.199 | 98.91 | 3.397 | 110.8 | 24.06 | 966.095 | 99.8976 | 0.088676
2020-08-06 02:15:00 | 3.09 | 98.8 | 3.829 | 109 | 4.946 | 102.678 | 5.088 | 110 | 24.12 | 966.243 | 99.8954 | 1.4558
2020-08-06 02:30:00 | 3.565 | 96.9 | 3.254 | 102.1 | 4.005 | 96.1782 | 4.039 | 109.6 | 24.52 | 966.391 | 96.9616 | 0.32884
2020-08-06 02:45:00 | 1.686 | 81.8 | 1.928 | 75.62 | 2.868 | 71.234 | 3.226 | 100 | 24.55 | 966.391 | 99.891 | 0.033254
2020-08-06 03:00:00 | 2.602 | 74.96 | 2.793 | 81.1 | 3.733 | 76.3962 | 4.146 | 88.4 | 24.22 | 965.65 | 99.8829 | 0.34731
2020-08-06 03:15:00 | 3.46 | 96.8 | 4.443 | 108.6 | 5.44 | 102.301 | 5.745 | 103.1 | 24.23 | 965.65 | 99.8941 | 2.5347
2020-08-06 03:30:00 | 3.434 | 99.8 | 3.873 | 115.4 | 4.583 | 108.707 | 4.759 | 107.6 | 24.88 | 965.501 | 96.0731 | 5.8009
2020-08-06 03:45:00 | 3.7 | 92.3 | 4.141 | 103.9 | 5.005 | 97.8738 | 5.167 | 102.8 | 25.47 | 965.947 | 90.3728 | 4.8661
2020-08-06 04:00:00 | 4.19 | 90.4 | 4.346 | 100.6 | 5.837 | 94.7652 | 6.114 | 101.3 | 25.92 | 965.947 | 88.1882 | 4.7072
2020-08-06 04:15:00 | 3.177 | 106.1 | 3.305 | 118.9 | 3.937 | 112.004 | 4.153 | 109.7 | 25.86 | 966.095 | 87.8132 | 6.2184
2020-08-06 04:30:00 | 3.041 | 101.3 | 3.169 | 114.7 | 3.181 | 108.047 | 3.455 | 107.4 | 26.04 | 966.54 | 87.5405 | 6.2147
2020-08-06 04:45:00 | 2.868 | 91.8 | 3.423 | 107.6 | 4.143 | 101.359 | 4.456 | 103.3 | 26.01 | 966.356 | 88.0518 | 7.1902
2020-08-06 05:00:00 | 5.344 | 98.3 | 5.496 | 110.8 | 6.02 | 104.374 | 6.094 | 105.9 | 26.07 | 966.224 | 87.0633 | 12.4664
2020-08-06 05:15:00 | 4.887 | 99.4 | 5.264 | 111 | 5.72 | 104.562 | 5.949 | 105.4 | 26.13 | 965.798 | 85.9724 | 19.2021
2020-08-06 05:30:00 | 5.046 | 93.3 | 5.724 | 107.9 | 6.19 | 101.642 | 6.427 | 97.9 | 26.14 | 966.095 | 85.6315 | 15.5627
2020-08-06 05:45:00 | 4.53 | 89.6 | 5.069 | 107.9 | 5.776 | 101.642 | 6.112 | 100 | 26.13 | 965.947 | 86.2792 | 17.2291
2020-08-06 06:00:00 | 4.668 | 97.5 | 5.567 | 113.4 | 6.213 | 106.823 | 6.399 | 106.9 | 26.13 | 966.391 | 86.9951 | 19.3721
2020-08-06 06:15:00 | 4.806 | 116.9 | 5.627 | 140.6 | 6.879 | 132.445 | 7.049 | 121.9 | 26.17 | 966.54 | 85.8344 | 18.4447
2020-08-06 06:30:00 | 7.453 | 141.4 | 7.695 | 158.4 | 7.106 | 149.213 | 7.036 | 143.8 | 26.09 | 966.391 | 92.1046 | 15.426
2020-08-06 06:45:00 | 6.169 | 139.8 | 6.56 | 162.5 | 6.152 | 153.075 | 6.157 | 140 | 24.57 | 965.947 | 99.8805 | 12.2595
2020-08-06 07:00:00 | 5.385 | 144.6 | 5.53 | 162.6 | 5.852 | 153.169 | 5.898 | 147.6 | 24.19 | 965.65 | 99.8807 | 22.2454
2020-08-06 07:15:00 | 8.03 | 181.6 | 7.646 | 200.8 | 6.226 | 189.154 | 6.043 | 178.6 | 23.96 | 965.65 | 99.8848 | 18.1195
2020-08-06 07:30:00 | 8.07 | 163.4 | 7.966 | 179.4 | 7.759 | 168.995 | 7.741 | 167.5 | 23.72 | 965.798 | 99.8953 | 36.143
2020-08-06 07:45:00 | 8.51 | 170.4 | 8.41 | 186.7 | 8.16 | 175.871 | 8.1 | 175.3 | 23.5 | 965.353 | 99.8977 | 38.9346
2020-08-06 08:00:00 | 7.765 | 177 | 7.434 | 192.3 | 7.019 | 181.147 | 6.995 | 179.5 | 23.42 | 965.353 | 99.8977 | 23.2073
2020-08-06 08:15:00 | 6.327 | 172 | 6.015 | 190 | 5.903 | 178.98 | 5.971 | 178.2 | 23.31 | 965.205 | 99.8636 | 9.008
2020-08-06 08:30:00 | 4.637 | 148.4 | 4.755 | 162.3 | 4.941 | 152.887 | 4.981 | 155 | 23.35 | 965.057 | 99.8977 | 9.1595
2020-08-06 08:45:00 | 4.885 | 137.1 | 5.064 | 150.6 | 5.053 | 141.865 | 4.932 | 146.8 | 23.42 | 965.501 | 99.8977 | 11.4984
2020-08-06 09:00:00 | 4.292 | 137.4 | 4.277 | 151.2 | 4.728 | 142.43 | 4.716 | 148.7 | 23.65 | 965.057 | 99.8977 | 12.2521
2020-08-06 09:15:00 | 4.384 | 150.2 | 4.714 | 166 | 5.386 | 156.372 | 5.383 | 159.5 | 23.94 | 965.205 | 99.8636 | 9.6657
2020-08-06 09:30:00 | 3.761 | 164.8 | 4.149 | 173.1 | 4.41 | 163.06 | 4.525 | 178.1 | 24.4 | 965.353 | 98.193 | 7.7038
2020-08-06 09:45:00 | 2.699 | 162.4 | 3.277 | 175.4 | 3.4 | 165.227 | 3.374 | 171.4 | 24.3 | 965.798 | 93.6197 | 3.318
2020-08-06 10:00:00 | 2.648 | 188.2 | 3.111 | 202.5 | 3.37 | 190.755 | 3.58 | 194.9 | 24.96 | 966.243 | 90.6783 | -0.084982
2020-08-06 10:15:00 | 1.884 | 254 | 1.745 | 276.5 | 1.702 | 260.463 | 1.742 | 236.3 | 24.76 | 966.243 | 99.8807 | 0.56531
2020-08-06 10:30:00 | 1.41 | 152.8 | 1.408 | 168.4 | 1.658 | 158.633 | 1.693 | 169.3 | 24.7 | 966.688 | 99.4716 | 0.80917
2020-08-06 10:45:00 | 1.823 | 129.4 | 1.848 | 139.3 | 2.142 | 131.221 | 2.336 | 135.7 | 25.21 | 966.837 | 96.673 | 2.4645
2020-08-06 11:00:00 | 4.517 | 139.3 | 4.614 | 155.5 | 4.634 | 146.481 | 4.599 | 144.6 | 24.89 | 966.176 | 98.7414 | 12.4516
2020-08-06 11:15:00 | 5.423 | 136 | 5.801 | 152.1 | 6.177 | 143.278 | 6.091 | 142.9 | 24.62 | 966.22 | 99.8762 | 9.614
2020-08-06 11:30:00 | 4.139 | 146.8 | 4.364 | 165.1 | 4.69 | 155.524 | 4.632 | 151.5 | 24.43 | 966.243 | 99.8806 | 5.1765
2020-08-06 11:45:00 | 3.46 | 149.6 | 3.505 | 165.3 | 3.242 | 155.713 | 3.247 | 161.6 | 24.43 | 966.54 | 99.8807 | 2.8487
2020-08-06 12:00:00 | 3.82 | 160.2 | 3.832 | 177.5 | 3.748 | 167.205 | 3.873 | 168.1 | 24.42 | 966.095 | 99.8807 | 5.4905
2020-08-06 12:15:00 | 3.728 | 149.2 | 3.558 | 167.2 | 3.789 | 157.502 | 3.784 | 155.9 | 24.36 | 966.243 | 99.8807 | 7.785
2020-08-06 12:30:00 | 5.909 | 148.3 | 5.839 | 167.2 | 5.989 | 157.502 | 5.91 | 153 | 24.04 | 965.65 | 99.8861 | 17.5985
2020-08-06 12:45:00 | 6.422 | 147.9 | 6.568 | 162.4 | 6.564 | 152.981 | 6.445 | 153.6 | 23.92 | 965.65 | 99.8949 | 17.0037
2020-08-06 13:00:00 | 6.103 | 146.4 | 6.038 | 161.7 | 6.279 | 152.321 | 6.234 | 152 | 24.07 | 965.798 | 99.8946 | 19.1836
2020-08-06 13:15:00 | 5.38 | 143.1 | 5.555 | 161.6 | 5.905 | 152.227 | 5.77 | 151.2 | 24.04 | 965.65 | 99.8958 | 19.627
2020-08-06 13:30:00 | 5.355 | 140.9 | 5.276 | 160 | 5.659 | 150.72 | 5.597 | 146 | 24.25 | 965.65 | 99.8976 | 21.9696
2020-08-06 13:45:00 | 6.649 | 139.5 | 7.002 | 157.9 | 7.014 | 148.742 | 6.934 | 144.5 | 24.28 | 965.65 | 99.8535 | 26.6029
2020-08-06 14:00:00 | 7.06 | 137 | 6.926 | 156 | 6.701 | 146.952 | 6.69 | 139.9 | 24.2 | 965.65 | 99.885 | 23.3219
2020-08-06 14:15:00 | 6.389 | 137.3 | 6.389 | 157.8 | 6.36 | 148.648 | 6.31 | 140.9 | 24.11 | 965.205 | 99.8878 | 33.5715
2020-08-06 14:30:00 | 7.604 | 128.1 | 7.889 | 145.6 | 7.886 | 137.155 | 7.871 | 132.6 | 24.13 | 965.205 | 99.0763 | 30.3901
2020-08-06 14:45:00 | 5.258 | 142 | 5.573 | 160.5 | 5.402 | 151.191 | 5.23 | 148.8 | 24.15 | 964.908 | 99.8973 | 24.9919
2020-08-06 15:00:00 | 4.484 | 139 | 5.138 | 155.3 | 5.427 | 146.293 | 5.424 | 142.6 | 23.63 | 964.908 | 99.8977 | 12.7546
2020-08-06 15:15:00 | 2.842 | 135.2 | 3.195 | 149.3 | 3.113 | 140.641 | 2.972 | 143.6 | 23.4 | 965.057 | 99.8977 | 14.5614
2020-08-06 15:30:00 | 4.905 | 121.1 | 5.714 | 137.4 | 6.203 | 129.431 | 6.272 | 127.4 | 23.33 | 964.463 | 99.8977 | 19.8339
2020-08-06 15:45:00 | 5.28 | 117.5 | 5.665 | 131 | 5.809 | 123.402 | 5.666 | 125.6 | 23.43 | 964.908 | 99.8636 | 12.8691
2020-08-06 16:00:00 | 4.632 | 120 | 5.251 | 136.1 | 5.483 | 128.206 | 5.442 | 126 | 22.97 | 964.908 | 99.898 | 11.89
2020-08-06 16:15:00 | 3.187 | 84.6 | 3.474 | 95.3 | 3.896 | 89.7726 | 4.033 | 96.2 | 22.81 | 965.057 | 99.9021 | 10.3197
2020-08-06 16:30:00 | 2.625 | 105.4 | 2.817 | 123.3 | 3.385 | 116.149 | 3.473 | 113.7 | 23.01 | 964.908 | 99.9103 | 15.6846
2020-08-06 16:45:00 | 3.575 | 116.3 | 3.868 | 127.2 | 3.741 | 119.822 | 3.636 | 128.5 | 23.01 | 964.463 | 99.8718 | 19.0063
2020-08-06 17:00:00 | 4.732 | 123.4 | 4.745 | 137.1 | 3.995 | 129.148 | 3.832 | 129.8 | 23.18 | 964.463 | 99.9061 | 10.4232
2020-08-06 17:15:00 | 1.356 | 127.6 | 0.644 | 158.5 | 0.047 | 149.307 | 0.285 | 125.2 | 23.54 | 964.463 | 99.8734 | 5.7566
2020-08-06 17:30:00 | 1.06 | 141.5 | 1.25 | 163.5 | 0.894 | 154.017 | 1.328 | 141.7 | 23.77 | 964.463 | 99.9037 | 6.6618
2020-08-06 17:45:00 | 1.581 | 163.9 | 1.794 | 169.9 | 1.476 | 160.046 | 1.801 | 178.8 | 23.28 | 964.463 | 99.8705 | 3.7207
2020-08-06 18:00:00 | 0.91 | 128.9 | 0.651 | 147.2 | 0.293 | 138.662 | 0.494 | 136.2 | 23.59 | 964.463 | 94.5147 | 2.0913
2020-08-06 18:15:00 | 0 | 129.8 | 0 | 146.5 | 0 | 138.003 | 0 | 136.5 | 23.43 | 964.463 | 96.2275 | 1.175
2020-08-06 18:30:00 | 1.586 | 303 | 1.332 | 309.1 | 0.427 | 291.172 | 0.707 | 300.3 | 23.49 | 964.167 | 96.774 | 0.61334
2020-08-06 18:45:00 | 1.828 | 8.87 | 1.66 | 38.29 | 1.259 | 36.0692 | 1.457 | 5.638 | 22.94 | 964.612 | 99.9139 | -0.073897
2020-08-06 19:00:00 | 1.028 | 56.79 | 0.427 | 67.14 | 0 | 63.2459 | 0 | 22.79 | 23.21 | 964.76 | 99.9147 | -0.34362
2020-08-06 19:15:00 | 0 | 76.73 | 0 | 76.26 | 0 | 71.8369 | 0 | 22.79 | 23.33 | 964.463 | 98.414 | -0.29928
2020-08-06 19:30:00 | 0 | 76.67 | 0 | 76.26 | 0 | 71.8369 | 0 | 22.79 | 23.36 | 964.463 | 98.5166 | -0.29928
2020-08-06 19:45:00 | 0.732 | 123.1 | 0.744 | 133.9 | 1.22 | 126.134 | 1.424 | 123 | 23.37 | 964.463 | 99.9147 | -0.29928
2020-08-06 20:00:00 | 3.493 | 137.5 | 3.039 | 153.2 | 2.395 | 144.314 | 2.503 | 147.9 | 23.3 | 964.315 | 99.8465 | 2.3056
2020-08-06 20:15:00 | 3.764 | 107.7 | 4.389 | 122.9 | 3.822 | 115.772 | 3.932 | 114.5 | 23.61 | 964.463 | 96.8457 | 14.0109
2020-08-06 20:30:00 | 3.35 | 106.4 | 4.359 | 121.6 | 4.056 | 114.547 | 4.151 | 114.3 | 23.6 | 964.612 | 99.5396 | 27.6227
2020-08-06 20:45:00 | 3.833 | 122.9 | 4.039 | 141.2 | 5.252 | 133.01 | 5.49 | 124.5 | 23.23 | 964.76 | 99.9147 | 29.4184
2020-08-06 21:00:00 | 4.44 | 105 | 4.757 | 122.4 | 5.475 | 115.301 | 5.872 | 107.4 | 23.16 | 964.463 | 99.8803 | 24.9439
2020-08-06 21:15:00 | 4.56 | 87.2 | 4.668 | 101.6 | 5.315 | 95.7072 | 5.752 | 97.6 | 23.15 | 964.612 | 99.9122 | 12.4258
2020-08-06 21:30:00 | 4.009 | 85.3 | 4.614 | 98.3 | 5.447 | 92.5986 | 5.737 | 95.5 | 23.09 | 964.463 | 99.8796 | 10.9959
2020-08-06 21:45:00 | 0.676 | 17.62 | 0.915 | 30.79 | 1.958 | 29.0042 | 2.043 | 26.92 | 23.15 | 964.612 | 99.8717 | 4.5816
2020-08-06 22:00:00 | 3.196 | 70.23 | 3.23 | 89.5 | 3.316 | 84.309 | 3.613 | 76.8 | 23.15 | 964.908 | 99.873 | 6.8318
2020-08-06 22:15:00 | 4.063 | 107.1 | 4.494 | 127.2 | 5.033 | 119.822 | 5.365 | 110.3 | 23.09 | 964.908 | 99.8772 | 12.4627
2020-08-06 22:30:00 | 3.519 | 115.7 | 3.673 | 132.8 | 4.239 | 125.098 | 4.553 | 129.6 | 23.08 | 964.463 | 99.9093 | 18.8178
2020-08-06 22:45:00 | 5.107 | 134.5 | 5.647 | 152.6 | 6.355 | 143.749 | 6.325 | 141 | 23.09 | 964.76 | 99.9093 | 21.7257
2020-08-06 23:00:00 | 6.657 | 136.3 | 6.808 | 150.6 | 6.622 | 141.865 | 6.44 | 142.3 | 23.28 | 964.463 | 99.842 | 29.8026
2020-08-06 23:15:00 | 6.68 | 131.2 | 6.81 | 150.1 | 7.319 | 141.394 | 7.252 | 135.3 | 23.31 | 964.463 | 99.878 | 28.8604
2020-08-06 23:30:00 | 5.235 | 118.3 | 6.312 | 139.4 | 7.101 | 131.315 | 7.12 | 125.7 | 23.5 | 964.167 | 99.8792 | 26.3406
2020-08-06 23:45:00 | 3.648 | 119.8 | 3.916 | 139.5 | 4.728 | 131.409 | 4.912 | 126.2 | 23.59 | 963.87 | 99.8696 | 25.9489