## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-07 00:00:00 | 2.819 | 108.4 | 2.89 | 129.7 | 3.344 | 122.177 | 3.53 | 119.8 | 23.37 | 963.87 | 99.9032 | 30.9112
2020-08-07 00:15:00 | 5.028 | 109.6 | 5.808 | 122.5 | 6.394 | 115.395 | 6.588 | 115.1 | 23.31 | 963.722 | 99.9024 | 26.7765
2020-08-07 00:30:00 | 5.505 | 115.6 | 5.683 | 131 | 6.132 | 123.402 | 6.275 | 121.3 | 23.29 | 963.87 | 99.8721 | 23.2258
2020-08-07 00:45:00 | 4.527 | 124.4 | 4.486 | 147.7 | 4.188 | 139.133 | 4.214 | 132.2 | 23.39 | 963.573 | 99.8753 | 16.2462
2020-08-07 01:00:00 | 5.16 | 124.2 | 5.32 | 143.8 | 5.496 | 135.46 | 5.569 | 130.5 | 23.32 | 963.276 | 99.8756 | 13.9259
2020-08-07 01:15:00 | 5.403 | 122.4 | 5.627 | 138.3 | 6.282 | 130.279 | 6.323 | 128.7 | 23.03 | 963.425 | 99.875 | 13.8224
2020-08-07 01:30:00 | 5.275 | 131.4 | 5.471 | 150.1 | 5.699 | 141.394 | 5.768 | 136.7 | 22.95 | 962.98 | 99.8744 | 12.1523
2020-08-07 01:45:00 | 4.936 | 127.3 | 4.939 | 142.9 | 5.361 | 134.612 | 5.544 | 133.9 | 22.99 | 962.98 | 99.9142 | 8.742
2020-08-07 02:00:00 | 5.709 | 132 | 5.747 | 148.4 | 6.274 | 139.793 | 6.254 | 137.9 | 23.05 | 962.683 | 99.9134 | 14.336
2020-08-07 02:15:00 | 5.033 | 136.3 | 5.069 | 156.6 | 5.646 | 147.517 | 5.76 | 140.6 | 22.81 | 962.683 | 99.8795 | 13.283
2020-08-07 02:30:00 | 4.568 | 130.3 | 4.778 | 148.1 | 5.29 | 139.51 | 5.378 | 133.9 | 22.76 | 962.683 | 99.9147 | 13.2423
2020-08-07 02:45:00 | 4.532 | 128.4 | 4.839 | 143.5 | 5.74 | 135.177 | 6.005 | 132.9 | 22.81 | 962.535 | 99.9147 | 17.968
2020-08-07 03:00:00 | 4.982 | 129.2 | 5.103 | 140.3 | 5.346 | 132.163 | 5.569 | 132.8 | 22.82 | 962.386 | 99.8799 | 15.2302
2020-08-07 03:15:00 | 4.535 | 114.5 | 5.123 | 132 | 5.753 | 124.344 | 5.921 | 122.4 | 22.81 | 962.09 | 99.8801 | 15.0085
2020-08-07 03:30:00 | 3.851 | 109.7 | 4.466 | 123.1 | 4.959 | 115.96 | 5.121 | 119.7 | 22.85 | 962.09 | 99.8806 | 15.8509
2020-08-07 03:45:00 | 4.609 | 119.5 | 5.21 | 131.1 | 5.653 | 123.496 | 5.658 | 129.5 | 22.91 | 962.09 | 99.8806 | 17.6872
2020-08-07 04:00:00 | 4.594 | 114.4 | 4.648 | 127.2 | 5.005 | 119.822 | 5.123 | 122 | 22.86 | 962.09 | 99.8806 | 15.6994
2020-08-07 04:15:00 | 2.972 | 101.2 | 3.172 | 115.9 | 4.087 | 109.178 | 4.382 | 109.1 | 22.9 | 961.942 | 99.9147 | 8.2986
2020-08-07 04:30:00 | 3.215 | 102.6 | 3.385 | 117.6 | 3.921 | 110.779 | 4.118 | 114.5 | 23.16 | 961.942 | 99.8806 | 6.1334
2020-08-07 04:45:00 | 3.279 | 88.1 | 3.553 | 102.4 | 3.568 | 96.4608 | 3.934 | 99.4 | 23.05 | 961.793 | 99.8806 | 5.3982
2020-08-07 05:00:00 | 2.625 | 79.14 | 2.758 | 88.7 | 3.606 | 83.5554 | 4.174 | 88.2 | 22.88 | 961.793 | 99.8806 | 4.674
2020-08-07 05:15:00 | 2.022 | 82.4 | 1.677 | 93.8 | 2.833 | 88.3596 | 3.331 | 90.3 | 22.85 | 961.942 | 99.8806 | 3.8352
2020-08-07 05:30:00 | 1.963 | 61.86 | 2.086 | 66.99 | 2.423 | 63.1046 | 2.77 | 79.37 | 22.82 | 961.793 | 99.8806 | 1.3228
2020-08-07 05:45:00 | 2.061 | 37.22 | 2.072 | 43.49 | 1.941 | 40.9676 | 2.187 | 50 | 22.76 | 961.645 | 99.8787 | 0.73897
2020-08-07 06:00:00 | 2.411 | 41.35 | 2.822 | 47.1 | 2.97 | 44.3682 | 2.994 | 50.52 | 22.75 | 961.497 | 99.8806 | -0.42121
2020-08-07 06:15:00 | 1.673 | 22.89 | 1.848 | 31.96 | 1.517 | 30.1063 | 1.705 | 36.79 | 22.75 | 961.497 | 99.8804 | -0.26233
2020-08-07 06:30:00 | 2.168 | 36.99 | 2.536 | 46.11 | 2.785 | 43.4356 | 2.862 | 47.23 | 22.75 | 961.497 | 99.8789 | -0.15888
2020-08-07 06:45:00 | 2.015 | 47.9 | 2.963 | 54.12 | 3.123 | 50.981 | 3.376 | 59.51 | 22.78 | 961.645 | 99.8806 | -0.018474
2020-08-07 07:00:00 | 1.85 | 47.38 | 2.492 | 54.9 | 2.998 | 51.7158 | 3.16 | 52.52 | 22.79 | 961.942 | 99.8806 | -0.18844
2020-08-07 07:15:00 | 2.083 | 37.09 | 3.316 | 45.04 | 3.418 | 42.4277 | 3.57 | 48.58 | 22.78 | 962.09 | 99.88 | -0.20691
2020-08-07 07:30:00 | 3.02 | 42.21 | 4.244 | 48.48 | 4.135 | 45.6682 | 4.278 | 55.44 | 22.66 | 962.238 | 99.8792 | 0.5025
2020-08-07 07:45:00 | 3.192 | 44.95 | 3.783 | 50.93 | 3.537 | 47.9761 | 3.562 | 62.03 | 22.54 | 962.09 | 99.8782 | 0.18105
2020-08-07 08:00:00 | 1.672 | 52.14 | 3.346 | 64.31 | 3.136 | 60.58 | 3.015 | 62.91 | 22.76 | 962.238 | 99.9121 | 0.16627
2020-08-07 08:15:00 | 0.986 | 62.2 | 3.223 | 69.84 | 2.523 | 65.7893 | 2.51 | 75.93 | 22.96 | 962.535 | 99.8702 | 0.070202
2020-08-07 08:30:00 | 1.171 | 23.04 | 2.308 | 31.57 | 2.642 | 29.7389 | 2.615 | 39.63 | 23.1 | 962.238 | 99.8988 | -0.18844
2020-08-07 08:45:00 | 1.822 | 31.52 | 3.359 | 43.66 | 3.759 | 41.1277 | 3.83 | 41.01 | 23.07 | 962.386 | 99.8977 | 0.044338
2020-08-07 09:00:00 | 2.526 | 28.68 | 3.666 | 37.69 | 3.985 | 35.504 | 4.056 | 37.18 | 23.13 | 962.535 | 99.8969 | -0.040643
2020-08-07 09:15:00 | 2.676 | 32.18 | 3.507 | 48.96 | 3.563 | 46.1203 | 3.639 | 32.88 | 23.08 | 962.683 | 99.8963 | -0.26233
2020-08-07 09:30:00 | 1.833 | 30.77 | 2.375 | 49.02 | 2.657 | 46.1768 | 2.775 | 32.92 | 23.37 | 962.683 | 99.8954 | -0.23278
2020-08-07 09:45:00 | 1.847 | 21.24 | 2.607 | 35.31 | 3.034 | 33.262 | 3.068 | 23.95 | 23.47 | 962.683 | 99.8863 | -0.22539
2020-08-07 10:00:00 | 1.83 | 22.52 | 4.067 | 36.28 | 4.033 | 34.1758 | 3.972 | 27.7 | 23.57 | 963.276 | 99.8809 | -0.17735
2020-08-07 10:15:00 | 0.848 | 14.38 | 2.354 | 27.95 | 2.242 | 26.3289 | 2.299 | 17.85 | 24.11 | 963.425 | 99.8807 | -0.24386
2020-08-07 10:30:00 | 2.933 | 8.16 | 3.811 | 22.24 | 3.606 | 20.9501 | 3.481 | 14.17 | 24.19 | 963.276 | 99.8794 | -0.31776
2020-08-07 10:45:00 | 3.628 | 358.6 | 3.474 | 15.92 | 3.537 | 14.9966 | 3.837 | 1.766 | 24.46 | 963.148 | 99.8643 | -0.31406
2020-08-07 11:00:00 | 3.069 | 4.112 | 3.369 | 29.94 | 3.298 | 28.2035 | 3.618 | 357.5 | 24.44 | 963.053 | 99.8637 | 0.46925
2020-08-07 11:15:00 | 3.301 | 352.8 | 3.254 | 12.39 | 3.143 | 11.6714 | 3.376 | 356.4 | 24.42 | 962.898 | 99.8637 | 0.66138
2020-08-07 11:30:00 | 2.006 | 2.025 | 2.439 | 15.55 | 1.999 | 14.6481 | 2.358 | 343.7 | 24.67 | 963.035 | 99.8637 | 2.0248
2020-08-07 11:45:00 | 2.255 | 357.4 | 3.432 | 25.99 | 3.535 | 24.4826 | 3.626 | 351.7 | 24.4 | 963.006 | 99.8637 | 5.3464
2020-08-07 12:00:00 | 4.29 | 11.35 | 5.356 | 34.87 | 4.405 | 32.8475 | 4.515 | 2.772 | 24.52 | 963.031 | 99.8978 | 12.2373
2020-08-07 12:15:00 | 5.952 | 2.628 | 6.02 | 26.32 | 5.674 | 24.7934 | 5.837 | 1.228 | 24.63 | 963.28 | 99.3184 | 11.4503
2020-08-07 12:30:00 | 4.823 | 5.006 | 4.944 | 32.61 | 5.124 | 30.7186 | 5.386 | 359.3 | 24.41 | 962.835 | 99.8628 | 8.8491
2020-08-07 12:45:00 | 4.568 | 356.2 | 4.458 | 22.56 | 4.748 | 21.2515 | 4.831 | 359.4 | 24.27 | 962.835 | 99.8636 | 7.6853
2020-08-07 13:00:00 | 4.913 | 11.99 | 5.755 | 28.69 | 4.761 | 27.026 | 4.548 | 13.3 | 24.62 | 962.983 | 97.4097 | 7.6003
2020-08-07 13:15:00 | 4.492 | 7.869 | 4.637 | 27.71 | 4.557 | 26.1028 | 4.601 | 7.455 | 24.89 | 962.687 | 99.8636 | 9.3369
2020-08-07 13:30:00 | 4.428 | 16.46 | 5.496 | 32.39 | 4.674 | 30.5114 | 4.576 | 19.49 | 24.85 | 962.538 | 96.3872 | 7.4562
2020-08-07 13:45:00 | 3.544 | 22.69 | 5 | 38.62 | 4.448 | 36.38 | 4.186 | 17.8 | 25.09 | 962.835 | 96.2503 | 6.8909
2020-08-07 14:00:00 | 2.229 | 3.165 | 3.335 | 32.5 | 3.471 | 30.615 | 3.455 | 357.1 | 25.54 | 962.687 | 98.7003 | 8.8529
2020-08-07 14:15:00 | 3.197 | 4.183 | 3.231 | 30.76 | 3.67 | 28.9759 | 3.657 | 351.7 | 24.64 | 962.094 | 99.8631 | 9.747
2020-08-07 14:30:00 | 2.508 | 2.143 | 3.685 | 34.47 | 4.043 | 32.4707 | 4.298 | 351 | 24.55 | 961.945 | 99.8636 | 11.0956
2020-08-07 14:45:00 | 2.625 | 5.057 | 4.384 | 29.06 | 3.609 | 27.3745 | 3.591 | 354.2 | 24.44 | 961.584 | 99.8636 | 14.4801
2020-08-07 15:00:00 | 4.223 | 356.4 | 4.671 | 23.69 | 4.855 | 22.316 | 5.032 | 349.8 | 23.88 | 961.637 | 99.9783 | 18.4447
2020-08-07 15:15:00 | 4.974 | 356.8 | 5.583 | 27.55 | 6.055 | 25.9521 | 6.3 | 356.5 | 23.58 | 961.2 | 99.8807 | 16.697
2020-08-07 15:30:00 | 5.469 | 4.502 | 6.051 | 27.56 | 6.063 | 25.9615 | 6.287 | 1.031 | 23.48 | 961.348 | 99.8807 | 19.5383
2020-08-07 15:45:00 | 5.046 | 9.49 | 5.995 | 28.61 | 5.091 | 26.9506 | 4.973 | 5.616 | 23.34 | 960.903 | 99.8938 | 21.6998
2020-08-07 16:00:00 | 5.39 | 11.94 | 6.422 | 32.13 | 4.679 | 30.2665 | 4.721 | 5.9 | 23.07 | 960.903 | 99.897 | 20.3438
2020-08-07 16:15:00 | 3.907 | 350.1 | 5.151 | 29.77 | 5.824 | 28.0433 | 6.259 | 346.4 | 22.92 | 961.2 | 99.8977 | 25.3836
2020-08-07 16:30:00 | 5.166 | 8.79 | 5.987 | 30.15 | 5.048 | 28.4013 | 5.118 | 5.088 | 22.7 | 960.903 | 99.8977 | 18.5851
2020-08-07 16:45:00 | 4.459 | 12.65 | 5.951 | 30.11 | 4.761 | 28.3636 | 4.719 | 10.8 | 22.59 | 960.903 | 99.9015 | 15.171
2020-08-07 17:00:00 | 4.078 | 351.7 | 4.862 | 19.34 | 5.569 | 18.2183 | 5.862 | 349.1 | 22.58 | 960.755 | 99.9113 | 20.5175
2020-08-07 17:15:00 | 4.709 | 356.2 | 5.299 | 22.25 | 5.859 | 20.9595 | 6.061 | 356.3 | 22.52 | 960.755 | 99.8799 | 27.4231
2020-08-07 17:30:00 | 6.064 | 5.14 | 6.018 | 24.87 | 6.465 | 23.4275 | 6.853 | 0.649 | 22.48 | 960.607 | 99.9147 | 29.629
2020-08-07 17:45:00 | 5.316 | 2.466 | 5.632 | 22 | 5.786 | 20.724 | 6.028 | 2.16 | 22.47 | 960.31 | 99.9829 | 29.7678
2020-08-07 18:00:00 | 5.579 | 3.903 | 6.248 | 27.05 | 6.813 | 25.4811 | 7.224 | 1.259 | 22.32 | 960.013 | 99.9147 | 26.6214
2020-08-07 18:15:00 | 5.513 | 2.075 | 5.581 | 25.04 | 6.134 | 23.5877 | 6.231 | 0.296 | 22.32 | 960.31 | 99.9147 | 24.918
2020-08-07 18:30:00 | 5.125 | 3.69 | 5.443 | 28.67 | 6.017 | 27.0071 | 6.458 | 0.101 | 22.28 | 960.755 | 99.8465 | 22.6937
2020-08-07 18:45:00 | 5.084 | 7.767 | 5.312 | 27.72 | 5.13 | 26.1122 | 5.276 | 6.929 | 22.27 | 961.052 | 99.8806 | 19.7379
2020-08-07 19:00:00 | 6.657 | 6.393 | 6.026 | 19.82 | 6.157 | 18.6704 | 6.257 | 5.512 | 22.25 | 960.458 | 99.9147 | 18.4225
2020-08-07 19:15:00 | 6.963 | 6.269 | 7.125 | 22.58 | 7.271 | 21.2704 | 7.624 | 4.506 | 22.21 | 960.312 | 99.8465 | 18.8511
2020-08-07 19:30:00 | 6.156 | 8.33 | 6.621 | 29.02 | 5.793 | 27.3368 | 5.844 | 6.035 | 22.2 | 960.607 | 99.9147 | 19.1245
2020-08-07 19:45:00 | 5.778 | 359.7 | 6.059 | 25.46 | 6.577 | 23.9833 | 6.97 | 356.3 | 22.16 | 960.903 | 99.8806 | 19.2612
2020-08-07 20:00:00 | 4.984 | 356.3 | 5.238 | 19.74 | 6.302 | 18.5951 | 6.7 | 355.3 | 22.17 | 960.903 | 99.8806 | 22.3464
2020-08-07 20:15:00 | 4.554 | 3.633 | 5.238 | 25.2 | 5.46 | 23.7384 | 5.73 | 357.6 | 22.13 | 961.054 | 99.8806 | 15.0417
2020-08-07 20:30:00 | 4.379 | 3.696 | 4.826 | 22.05 | 5.178 | 20.7711 | 5.564 | 0.486 | 22.14 | 961.23 | 99.8806 | 13.0059
2020-08-07 20:45:00 | 4.938 | 353.6 | 4.737 | 17.34 | 5.971 | 16.3343 | 6.239 | 355.4 | 22.13 | 960.909 | 99.8465 | 13.6709
2020-08-07 21:00:00 | 3.932 | 6.054 | 4.522 | 32.83 | 4.031 | 30.9259 | 4.489 | 339.6 | 22.14 | 961.68 | 99.8806 | 15.293
2020-08-07 21:15:00 | 4.992 | 359.3 | 5.21 | 20.35 | 5.974 | 19.1697 | 6.318 | 355.5 | 22.14 | 961.361 | 99.9147 | 12.6438
2020-08-07 21:30:00 | 5.309 | 357.2 | 5.059 | 17.99 | 5.524 | 16.9466 | 5.747 | 354.7 | 22.14 | 961.053 | 99.8806 | 10.3825
2020-08-07 21:45:00 | 4.458 | 359.3 | 4.369 | 23.45 | 4.85 | 22.0899 | 5.187 | 350.5 | 22.13 | 961.383 | 99.8806 | 14.1106
2020-08-07 22:00:00 | 5.786 | 1.3 | 5.542 | 16.49 | 5.478 | 15.5336 | 5.595 | 0.178 | 22.13 | 961.212 | 99.8806 | 9.9022
2020-08-07 22:15:00 | 4.548 | 350.7 | 4.494 | 16.21 | 4.87 | 15.2698 | 5.141 | 350.2 | 22.13 | 960.926 | 99.9147 | 9.8172
2020-08-07 22:30:00 | 4.277 | 359.8 | 4.614 | 24.36 | 4.751 | 22.9471 | 5.2 | 352.4 | 22.07 | 961.084 | 99.8806 | 9.6583
2020-08-07 22:45:00 | 4.716 | 358 | 4.688 | 20.63 | 4.898 | 19.4335 | 5.123 | 354.7 | 22.07 | 961.229 | 99.8806 | 8.779
2020-08-07 23:00:00 | 2.941 | 1.44 | 4.065 | 26.07 | 4.066 | 24.5579 | 4.474 | 352.9 | 22.07 | 961.228 | 99.8806 | 8.3762
2020-08-07 23:15:00 | 3.626 | 359.5 | 3.73 | 28.44 | 3.722 | 26.7905 | 4.199 | 353.9 | 22.07 | 961.232 | 99.9147 | 7.4747
2020-08-07 23:30:00 | 4.213 | 0.019 | 4.282 | 16.31 | 5.038 | 15.364 | 5.345 | 356.5 | 22.13 | 961.062 | 99.9147 | 11.055
2020-08-07 23:45:00 | 5.033 | 4.238 | 5.23 | 23.58 | 5.577 | 22.2124 | 5.882 | 0.538 | 22.01 | 961.375 | 99.9147 | 9.5401