## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-08 00:00:00 | 4.51 | 354.9 | 5.133 | 18.1 | 6.422 | 17.0502 | 6.58 | 355.2 | 21.97 | 960.995 | 99.8806 | 10.4195
2020-08-08 00:15:00 | 4.425 | 9.41 | 4.942 | 27.48 | 4.219 | 25.8862 | 4.171 | 10.77 | 21.93 | 961.224 | 99.9147 | 7.0017
2020-08-08 00:30:00 | 3.733 | 3.942 | 4.164 | 25.46 | 4.814 | 23.9833 | 5.246 | 357.7 | 21.93 | 960.989 | 99.9147 | 4.4375
2020-08-08 00:45:00 | 3.076 | 1.271 | 3.298 | 24.76 | 3.138 | 23.3239 | 3.514 | 356.7 | 21.92 | 960.938 | 99.9147 | 4.2047
2020-08-08 01:00:00 | 2.949 | 348.2 | 2.12 | 15.91 | 3.026 | 14.9872 | 3.532 | 345.2 | 21.89 | 961.159 | 99.8806 | 4.3821
2020-08-08 01:15:00 | 1.25 | 14.25 | 1.285 | 23.01 | 0.964 | 21.6754 | 1.536 | 339.4 | 21.88 | 960.753 | 99.8806 | 4.1678
2020-08-08 01:30:00 | 2.248 | 356.1 | 2.463 | 27.41 | 2.396 | 25.8202 | 2.844 | 347.2 | 21.86 | 960.714 | 99.8806 | 5.8563
2020-08-08 01:45:00 | 2.603 | 353.2 | 3.195 | 27.39 | 2.761 | 25.8014 | 3.303 | 344.2 | 21.82 | 960.421 | 99.8806 | 8.5573
2020-08-08 02:00:00 | 3.064 | 354.1 | 3.07 | 28.85 | 3.151 | 27.1767 | 3.567 | 338.7 | 21.79 | 960.307 | 99.9151 | 8.3873
2020-08-08 02:15:00 | 4.251 | 354.3 | 3.97 | 16.6 | 4.126 | 15.6372 | 4.352 | 350 | 21.73 | 960.279 | 99.9148 | 8.7937
2020-08-08 02:30:00 | 3.636 | 350.8 | 3.116 | 20.98 | 3.525 | 19.7632 | 3.893 | 352.3 | 21.77 | 960.009 | 99.8807 | 8.2986
2020-08-08 02:45:00 | 4.223 | 356.9 | 4.047 | 21.28 | 4.043 | 20.0458 | 4.331 | 352 | 21.76 | 959.858 | 99.8807 | 7.7592
2020-08-08 03:00:00 | 3.897 | 359 | 4.218 | 21.93 | 4.524 | 20.6581 | 4.764 | 356.3 | 21.76 | 959.858 | 99.8807 | 7.3527
2020-08-08 03:15:00 | 4.486 | 352.9 | 4.169 | 13.2 | 4.606 | 12.4344 | 4.843 | 353.5 | 21.79 | 959.828 | 99.9148 | 10.3714
2020-08-08 03:30:00 | 4.591 | 354.6 | 4.653 | 17.68 | 4.921 | 16.6546 | 5.276 | 351.5 | 21.79 | 959.774 | 99.8466 | 9.9835
2020-08-08 03:45:00 | 5.143 | 359.5 | 4.632 | 18.77 | 5.554 | 17.6813 | 5.974 | 358.2 | 21.8 | 959.596 | 99.8807 | 10.8998
2020-08-08 04:00:00 | 3.726 | 359 | 4.231 | 22 | 5.114 | 20.724 | 5.388 | 355.4 | 21.79 | 959.539 | 99.9148 | 8.96
2020-08-08 04:15:00 | 4.08 | 352.2 | 4.02 | 17.41 | 4.669 | 16.4002 | 5.004 | 349.7 | 21.76 | 959.992 | 99.8807 | 7.0276
2020-08-08 04:30:00 | 3.133 | 346.4 | 3.102 | 17.67 | 2.853 | 16.6451 | 3.292 | 345.9 | 21.76 | 959.87 | 99.9148 | 7.7333
2020-08-08 04:45:00 | 2.648 | 352.1 | 3.251 | 19.03 | 2.81 | 17.9263 | 3.42 | 346.2 | 21.78 | 959.828 | 99.8807 | 8.4908
2020-08-08 05:00:00 | 3.196 | 9.21 | 3.74 | 19.34 | 3.787 | 18.2183 | 4.207 | 358.6 | 21.78 | 959.859 | 99.8807 | 7.5301
2020-08-08 05:15:00 | 3.214 | 355.7 | 3.653 | 25.93 | 4.272 | 24.4261 | 4.66 | 348.8 | 21.77 | 960.047 | 99.9148 | 7.9735
2020-08-08 05:30:00 | 3.572 | 358.9 | 3.814 | 25.45 | 4.14 | 23.9739 | 4.594 | 352.3 | 21.75 | 959.836 | 99.882 | 7.3823
2020-08-08 05:45:00 | 4.047 | 355.1 | 4.305 | 18.36 | 4.842 | 17.2951 | 5.118 | 353.9 | 21.72 | 959.851 | 99.8466 | 6.2628
2020-08-08 06:00:00 | 4.589 | 357.7 | 4.394 | 19.88 | 4.641 | 18.727 | 5.098 | 358.1 | 21.72 | 959.961 | 99.8807 | 8.7125
2020-08-08 06:15:00 | 2.658 | 359.4 | 3.356 | 33.52 | 3.901 | 31.5758 | 4.441 | 348.9 | 21.72 | 959.964 | 99.9152 | 6.7579
2020-08-08 06:30:00 | 4.05 | 357.6 | 4.118 | 17.71 | 4.593 | 16.6828 | 4.971 | 355.7 | 21.72 | 960.108 | 99.9148 | 8.3725
2020-08-08 06:45:00 | 4.28 | 0.519 | 4.446 | 19.05 | 5.084 | 17.9451 | 5.442 | 0.915 | 21.72 | 960.065 | 99.8807 | 10.5192
2020-08-08 07:00:00 | 4.354 | 357.9 | 4.274 | 21.45 | 4.857 | 20.2059 | 5.322 | 358.8 | 21.74 | 959.859 | 99.9148 | 7.9661
2020-08-08 07:15:00 | 4.285 | 9.16 | 4.433 | 27.11 | 3.591 | 25.5376 | 3.687 | 7.716 | 21.77 | 959.994 | 99.9148 | 5.9856
2020-08-08 07:30:00 | 3.391 | 14.72 | 4.763 | 31.06 | 4.361 | 29.2585 | 4.252 | 18.35 | 21.92 | 960.092 | 99.8807 | 4.4116
2020-08-08 07:45:00 | 3.595 | 10.64 | 4.844 | 31.31 | 3.766 | 29.494 | 3.825 | 7.886 | 21.86 | 960.322 | 99.8807 | 4.7331
2020-08-08 08:00:00 | 3.697 | 356.2 | 3.517 | 20.64 | 3.7 | 19.4429 | 4 | 352.2 | 21.93 | 960.473 | 99.9148 | 2.579
2020-08-08 08:15:00 | 3.028 | 6.827 | 3.369 | 26.89 | 2.988 | 25.3304 | 3.249 | 359.3 | 21.9 | 960.607 | 99.9148 | 2.276
2020-08-08 08:30:00 | 2.774 | 7.877 | 3.088 | 24.44 | 3.191 | 23.0225 | 3.331 | 1.714 | 21.97 | 960.607 | 99.9148 | 2.4201
2020-08-08 08:45:00 | 2.928 | 356.9 | 3.19 | 24.34 | 3.499 | 22.9283 | 3.542 | 347 | 22.03 | 960.31 | 99.9148 | 4.2306
2020-08-08 09:00:00 | 3.585 | 7.68 | 4.159 | 26.08 | 3.738 | 24.5674 | 3.977 | 359 | 22 | 960.458 | 99.9148 | 3.0926
2020-08-08 09:15:00 | 3.71 | 9.72 | 3.553 | 28.85 | 3.57 | 27.1767 | 3.842 | 2.551 | 22 | 960.755 | 99.9148 | 2.8044
2020-08-08 09:30:00 | 4.101 | 8.11 | 4.456 | 29.04 | 3.685 | 27.3557 | 3.496 | 9.56 | 22.05 | 960.458 | 99.91 | 1.7144
2020-08-08 09:45:00 | 3.312 | 9.95 | 3.507 | 29.36 | 2.823 | 27.6571 | 2.842 | 12.45 | 22.1 | 960.755 | 99.9079 | -0.070202
2020-08-08 10:00:00 | 2.748 | 14.19 | 3.811 | 32.82 | 2.591 | 30.9164 | 2.518 | 12.96 | 22.2 | 961.052 | 99.8996 | -0.029559
2020-08-08 10:15:00 | 3.105 | 11.65 | 3.482 | 25.75 | 2.909 | 24.2565 | 2.849 | 5.903 | 22.23 | 961.2 | 99.8977 | 0.15149
2020-08-08 10:30:00 | 2.977 | 3.064 | 3.085 | 25.15 | 2.721 | 23.6913 | 3.002 | 359.9 | 22.29 | 960.903 | 99.8977 | -0.044338
2020-08-08 10:45:00 | 2.251 | 21.9 | 2.624 | 37.96 | 1.888 | 35.7583 | 2.101 | 13.08 | 22.36 | 961.052 | 99.8977 | -0.081287
2020-08-08 11:00:00 | 2.446 | 358.2 | 2.228 | 21.21 | 2.018 | 19.9798 | 2.421 | 353.7 | 22.48 | 960.903 | 99.8977 | -0.16996
2020-08-08 11:15:00 | 2.079 | 352.3 | 2.303 | 26.41 | 2.448 | 24.8782 | 2.9 | 351.3 | 22.63 | 961.497 | 99.8964 | -0.18474
2020-08-08 11:30:00 | 2.891 | 11.83 | 3.402 | 28.09 | 2.848 | 26.4608 | 2.803 | 17.78 | 22.65 | 961.2 | 99.881 | -0.32145
2020-08-08 11:45:00 | 2.399 | 4.37 | 2.572 | 29.98 | 2.08 | 28.2412 | 2.452 | 358 | 22.89 | 961.632 | 99.8807 | -0.31037
2020-08-08 12:00:00 | 2.255 | 8.82 | 2.992 | 30.01 | 2.492 | 28.2694 | 2.449 | 5.418 | 23.09 | 961.497 | 99.8708 | -0.29928
2020-08-08 12:15:00 | 1.336 | 13.71 | 2.279 | 31.25 | 2.168 | 29.4375 | 2.278 | 18.19 | 23.39 | 961.232 | 99.8641 | -0.2882
2020-08-08 12:30:00 | 1.903 | 21.9 | 2.699 | 40.15 | 2.154 | 37.8213 | 2.365 | 19.76 | 23.57 | 961.222 | 99.8637 | -0.29928
2020-08-08 12:45:00 | 1.188 | 19.99 | 2.195 | 34.26 | 2.169 | 32.2729 | 2.351 | 358.9 | 23.94 | 961.204 | 99.8637 | -0.29928
2020-08-08 13:00:00 | 2.707 | 339 | 2.546 | 352.4 | 2.69 | 331.961 | 2.905 | 330.9 | 23.76 | 960.907 | 99.8637 | 0.092371
2020-08-08 13:15:00 | 1.927 | 337 | 1.651 | 348.9 | 2.253 | 328.664 | 2.555 | 327.5 | 23.81 | 961.204 | 99.8637 | 0.73158
2020-08-08 13:30:00 | 2.463 | 338.7 | 2.392 | 345.2 | 2.201 | 325.178 | 2.299 | 339.1 | 24.41 | 961.204 | 99.8637 | 0.63921
2020-08-08 13:45:00 | 2.66 | 333.8 | 2.318 | 344.2 | 2.861 | 324.236 | 3.028 | 331.4 | 24.22 | 960.759 | 99.8637 | 1.1232
2020-08-08 14:00:00 | 1.911 | 8.33 | 2.337 | 30.45 | 2.458 | 28.6839 | 2.571 | 355.7 | 24.68 | 960.611 | 96.728 | 0.52097
2020-08-08 14:15:00 | 3.028 | 11.74 | 3.622 | 33.41 | 2.866 | 31.4722 | 3.063 | 1.058 | 24.7 | 960.907 | 97.546 | 0.31776
2020-08-08 14:30:00 | 3.027 | 9.16 | 3.333 | 27.84 | 3.194 | 26.2253 | 3.356 | 2.177 | 24.93 | 960.907 | 95.3647 | 0.5727
2020-08-08 14:45:00 | 1.927 | 16.65 | 2.66 | 36.18 | 3.067 | 34.0816 | 2.992 | 13.03 | 25.59 | 961.204 | 90.8624 | 1.0235
2020-08-08 15:00:00 | 2.03 | 5.558 | 2.317 | 32.91 | 2.779 | 31.0012 | 2.758 | 352.1 | 25.69 | 960.907 | 90.5205 | 1.4188
2020-08-08 15:15:00 | 3.291 | 10.73 | 3.668 | 35.19 | 3.321 | 33.149 | 3.394 | 5.452 | 25.6 | 961.352 | 91.6112 | 1.9546
2020-08-08 15:30:00 | 3.82 | 14.78 | 4.839 | 31.56 | 4.44 | 29.7295 | 4.265 | 16.77 | 25.7 | 960.759 | 91.0689 | 2.9263
2020-08-08 15:45:00 | 3.919 | 14.09 | 4.88 | 30.37 | 4.367 | 28.6085 | 4.245 | 9.83 | 25.68 | 960.166 | 90.3883 | 3.4066
2020-08-08 16:00:00 | 2.662 | 10.64 | 3.791 | 31.08 | 3.054 | 29.2774 | 2.928 | 8.19 | 25.8 | 960.462 | 89.5994 | 2.7711
2020-08-08 16:15:00 | 3.613 | 11.19 | 5.123 | 29.58 | 3.985 | 27.8644 | 3.69 | 11.45 | 26.03 | 960.166 | 88.9533 | 3.3512
2020-08-08 16:30:00 | 2.427 | 13.5 | 4.1 | 30.03 | 3.545 | 28.2883 | 3.532 | 12.83 | 25.82 | 960.314 | 89.7729 | 2.3943
2020-08-08 16:45:00 | 2.587 | 350.5 | 2.96 | 23.42 | 2.877 | 22.0616 | 3.185 | 344.3 | 25.96 | 960.907 | 88.5781 | 3.2441
2020-08-08 17:00:00 | 3.971 | 2.624 | 3.983 | 23.98 | 4.036 | 22.5892 | 4.102 | 5.049 | 25.88 | 960.419 | 90.4539 | 4.2121
2020-08-08 17:15:00 | 2.821 | 3.356 | 3.592 | 25.09 | 3.601 | 23.6348 | 3.723 | 357.6 | 25.81 | 959.866 | 89.7697 | 4.8329
2020-08-08 17:30:00 | 1.904 | 8.16 | 2.579 | 28.03 | 1.817 | 26.4043 | 2.144 | 345.8 | 25.78 | 960.017 | 90.4556 | 2.2169
2020-08-08 17:45:00 | 2.219 | 0.235 | 2.347 | 23.46 | 2.286 | 22.0993 | 2.59 | 344.8 | 25.82 | 960.314 | 90.0793 | 2.2428
2020-08-08 18:00:00 | 1.784 | 343 | 2.134 | 9.19 | 2.504 | 8.657 | 2.727 | 338.3 | 25.57 | 960.017 | 91.9511 | 1.8696
2020-08-08 18:15:00 | 2.759 | 342.3 | 2.988 | 5.885 | 3.184 | 5.5437 | 3.308 | 343 | 25.33 | 959.721 | 91.0353 | 1.3264
2020-08-08 18:30:00 | 3.274 | 339.9 | 3.686 | 359.4 | 3.647 | 338.555 | 3.748 | 344.4 | 25.19 | 959.573 | 91.6155 | 2.6418
2020-08-08 18:45:00 | 3.598 | 344.8 | 4.049 | 6.569 | 3.947 | 6.188 | 4.016 | 350.2 | 25 | 959.737 | 91.5473 | 1.6294
2020-08-08 19:00:00 | 3.424 | 7.91 | 3.686 | 12.72 | 3.893 | 11.9822 | 4.301 | 2.19 | 25.01 | 959.859 | 93.2665 | 0.56162
2020-08-08 19:15:00 | 3.284 | 350.7 | 3.85 | 13.81 | 3.67 | 13.009 | 3.636 | 0.222 | 24.91 | 959.865 | 92.722 | 0.79809
2020-08-08 19:30:00 | 3.427 | 355.7 | 3.656 | 11.42 | 3.176 | 10.7576 | 4.044 | 356.8 | 24.97 | 959.865 | 91.6311 | 0.10715
2020-08-08 19:45:00 | 2.411 | 22.77 | 2.684 | 16.81 | 2.08 | 15.835 | 2.938 | 0.223 | 24.91 | 959.717 | 91.1547 | 0.33993
2020-08-08 20:00:00 | 2.852 | 70.64 | 3.042 | 15.65 | 3.003 | 14.7423 | 3.741 | 0.207 | 24.8 | 959.865 | 93.5421 | 0.17366
2020-08-08 20:15:00 | 1.592 | 1.989 | 2.288 | 22.3 | 1.742 | 21.0066 | 2.317 | 2.48 | 24.77 | 959.717 | 93.583 | -0.25864
2020-08-08 20:30:00 | 2.421 | 3.758 | 2.083 | 22.5 | 1.5 | 21.195 | 1.571 | 6.134 | 24.83 | 960.013 | 91.3707 | -0.29928
2020-08-08 20:45:00 | 1.243 | 0.105 | 2.249 | 16.41 | 1.584 | 15.4582 | 1.609 | 5.745 | 24.86 | 960.31 | 92.5965 | -0.33254
2020-08-08 21:00:00 | 0.835 | 0.104 | 1.657 | 16.99 | 0.9 | 16.0046 | 1.466 | 5.745 | 24.85 | 960.013 | 92.4624 | -0.29928
2020-08-08 21:15:00 | 1.45 | 0.105 | 1.879 | 16.61 | 0.988 | 15.6466 | 1.568 | 5.745 | 24.83 | 959.865 | 92.7709 | -0.2882
2020-08-08 21:30:00 | 1.966 | 5.398 | 2.738 | 23.53 | 2.093 | 22.1653 | 2.391 | 18.11 | 24.77 | 959.717 | 93.3484 | -0.2882
2020-08-08 21:45:00 | 2.051 | 2.191 | 2.216 | 20.84 | 1.129 | 19.6313 | 1.871 | 14.05 | 24.78 | 959.865 | 90.8264 | -0.29928
2020-08-08 22:00:00 | 2.497 | 24.68 | 2.743 | 11.93 | 1.571 | 11.2381 | 2.093 | 7.139 | 24.82 | 959.865 | 87.896 | -0.29928
2020-08-08 22:15:00 | 2.007 | 6.923 | 2.635 | 21.04 | 1.648 | 19.8197 | 2.106 | 15.96 | 24.71 | 959.717 | 92.8368 | -0.2882
2020-08-08 22:30:00 | 2.02 | 20.17 | 2.595 | 31.59 | 1.617 | 29.7578 | 2.111 | 33.6 | 24.71 | 959.865 | 92.5331 | -0.2882
2020-08-08 22:45:00 | 3.064 | 2.519 | 3.029 | 7.968 | 1.831 | 7.5059 | 2.36 | 5.555 | 24.71 | 960.013 | 92.9424 | -0.29928
2020-08-08 23:00:00 | 3.08 | 334.1 | 3.195 | 346.7 | 2.51 | 326.591 | 2.88 | 341.1 | 24.53 | 960.013 | 94.6466 | -0.29928
2020-08-08 23:15:00 | 2.822 | 353.7 | 2.873 | 7.835 | 2.507 | 7.3806 | 3.028 | 354.8 | 24.33 | 960.013 | 94.954 | -0.25494
2020-08-08 23:30:00 | 2.592 | 68.27 | 2.799 | 16.15 | 2.627 | 15.2133 | 3.101 | 356.7 | 24.22 | 959.717 | 97.5452 | -0.099761
2020-08-08 23:45:00 | 3.159 | 105.5 | 3.218 | 19.87 | 2.947 | 18.7175 | 3.616 | 356.8 | 24.13 | 959.865 | 97.3065 | 0.6429