## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-09 00:00:00 | 2.326 | 4.124 | 3.236 | 28.59 | 2.21 | 26.9318 | 2.602 | 4.585 | 23.92 | 959.42 | 99.1476 | 1.7661
2020-08-09 00:15:00 | 2.656 | 6.62 | 3.482 | 27.62 | 2.69 | 26.018 | 2.562 | 5.847 | 23.9 | 960.013 | 98.3634 | 1.5555
2020-08-09 00:30:00 | 2.306 | 14.8 | 3.497 | 34.31 | 3.764 | 32.32 | 3.916 | 12.17 | 23.9 | 959.42 | 98.4657 | 1.2489
2020-08-09 00:45:00 | 2.533 | 15.04 | 3.474 | 33.26 | 3.459 | 31.3309 | 3.585 | 18.91 | 23.89 | 959.272 | 98.5339 | 1.611
2020-08-09 01:00:00 | 2.689 | 10.67 | 3.758 | 30.75 | 3.235 | 28.9665 | 3.466 | 11.4 | 23.97 | 959.123 | 97.852 | 1.1121
2020-08-09 01:15:00 | 2.158 | 17.33 | 3.287 | 34.2 | 3.202 | 32.2164 | 3.376 | 16.31 | 24.05 | 959.123 | 97.7156 | 0.82764
2020-08-09 01:30:00 | 2.589 | 27.11 | 3.275 | 46.86 | 3.23 | 44.1421 | 3.379 | 27.13 | 24.11 | 958.827 | 95.8063 | 0.48033
2020-08-09 01:45:00 | 1.999 | 30.47 | 2.924 | 48.15 | 2.459 | 45.3573 | 2.882 | 34.61 | 24.26 | 958.678 | 94.1016 | -0.15518
2020-08-09 02:00:00 | 1.759 | 29.05 | 2.797 | 45.88 | 1.442 | 43.219 | 1.876 | 35.72 | 24.43 | 958.678 | 93.2151 | -0.27711
2020-08-09 02:15:00 | 1.872 | 25.9 | 2.423 | 39.53 | 0 | 37.2373 | 0.715 | 35.74 | 24.62 | 958.53 | 91.7142 | -0.25494
2020-08-09 02:30:00 | 2.048 | 26.05 | 1.891 | 42.75 | 0 | 40.2705 | 0 | 35.74 | 24.73 | 958.53 | 90.7602 | -0.31037
2020-08-09 02:45:00 | 1.213 | 72.99 | 0.352 | 42.94 | 0 | 40.4495 | 0.052 | 35.83 | 24.95 | 958.678 | 90.0784 | -0.29928
2020-08-09 03:00:00 | 0.335 | 120.7 | 0.312 | 112.8 | 0.264 | 106.258 | 0.676 | 127.3 | 24.98 | 958.678 | 90.9983 | -0.29928
2020-08-09 03:15:00 | 0 | 120 | 0 | 112.8 | 0 | 106.258 | 0 | 127.3 | 24.89 | 958.678 | 92.9383 | -0.29928
2020-08-09 03:30:00 | 0.022 | 114.1 | 0.721 | 114.5 | 0.971 | 107.859 | 1.622 | 127.3 | 24.65 | 958.53 | 93.6194 | -0.29928
2020-08-09 03:45:00 | 1.059 | 110.9 | 0.083 | 119.6 | 0 | 112.663 | 0.536 | 127.3 | 24.76 | 958.827 | 93.0772 | -0.29928
2020-08-09 04:00:00 | 0 | 110.9 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.71 | 958.53 | 94.441 | -0.29928
2020-08-09 04:15:00 | 0 | 110.9 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.7 | 958.827 | 95.2605 | -0.2882
2020-08-09 04:30:00 | 0 | 110.9 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.59 | 958.678 | 94.8512 | -0.29928
2020-08-09 04:45:00 | 0.06 | 110.9 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.57 | 958.678 | 94.9878 | -0.29928
2020-08-09 05:00:00 | 0 | 110.9 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.56 | 958.975 | 94.8506 | -0.29928
2020-08-09 05:15:00 | 0.175 | 114 | 0.496 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.35 | 958.827 | 96.3177 | -0.29928
2020-08-09 05:30:00 | 0.193 | 116.7 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.46 | 959.123 | 95.3972 | -0.2882
2020-08-09 05:45:00 | 0 | 116.7 | 0 | 119.6 | 0 | 112.663 | 0 | 127.3 | 24.52 | 959.42 | 95.2608 | -0.26972
2020-08-09 06:00:00 | 1.828 | 231.5 | 1.659 | 275.8 | 0.932 | 259.804 | 1.54 | 274.8 | 24.18 | 959.865 | 97.4055 | -0.26972
2020-08-09 06:15:00 | 1.851 | 235.8 | 2.318 | 262.6 | 1.554 | 247.369 | 1.889 | 251.6 | 24 | 959.865 | 97.5793 | -0.26972
2020-08-09 06:30:00 | 0.251 | 238.9 | 0.293 | 262.7 | 0.087 | 247.463 | 0.62 | 251.6 | 23.91 | 959.42 | 99.895 | -0.26972
2020-08-09 06:45:00 | 0.175 | 235.7 | 0.083 | 217 | 0 | 204.414 | 0 | 251.6 | 24.13 | 960.013 | 94.8731 | -0.26972
2020-08-09 07:00:00 | 0 | 235.7 | 0 | 217 | 0 | 204.414 | 0 | 251.6 | 25.17 | 959.711 | 94.0856 | -0.2882
2020-08-09 07:15:00 | 0.138 | 163.9 | 0.019 | 167.4 | 0 | 157.691 | 0 | 251.3 | 24.64 | 959.702 | 96.6729 | -0.29928
2020-08-09 07:30:00 | 0 | 163.9 | 0 | 167.4 | 0 | 157.691 | 0 | 251.3 | 25.09 | 959.987 | 91.4829 | -0.26972
2020-08-09 07:45:00 | 0.805 | 168.7 | 0.87 | 236.3 | 0 | 222.595 | 0.824 | 254 | 25.88 | 960.047 | 89.9456 | -0.25125
2020-08-09 08:00:00 | 0.987 | 267.8 | 0.877 | 286.6 | 0 | 269.977 | 0.086 | 273.1 | 25.81 | 960.314 | 90.4864 | -0.25125
2020-08-09 08:15:00 | 0.818 | 231.6 | 0.72 | 262.1 | 0 | 246.898 | 0.006 | 273.1 | 26.27 | 960.474 | 89.6772 | -0.26972
2020-08-09 08:30:00 | 1.349 | 281.3 | 1.687 | 301.8 | 0 | 284.296 | 1.165 | 270.2 | 26.38 | 960.467 | 87.9728 | -0.2882
2020-08-09 08:45:00 | 1.43 | 227.9 | 1.418 | 249.6 | 0 | 235.123 | 0.265 | 254 | 25.95 | 960.615 | 91.3307 | -0.29928
2020-08-09 09:00:00 | 0.482 | 306.2 | 0.604 | 279.2 | 0 | 263.006 | 0.873 | 295 | 25.91 | 960.318 | 85.5829 | -0.28081
2020-08-09 09:15:00 | 0.902 | 306 | 0.919 | 303.5 | 0 | 285.897 | 0.488 | 317.6 | 26.54 | 960.467 | 83.9515 | -0.26972
2020-08-09 09:30:00 | 1.659 | 322.9 | 1.889 | 322.2 | 0 | 303.512 | 1.38 | 338.6 | 26.53 | 960.615 | 85.1102 | -0.2882
2020-08-09 09:45:00 | 1.9 | 304.4 | 2.068 | 316.3 | 0 | 297.955 | 1.277 | 304.2 | 26.44 | 960.911 | 82.385 | -0.26972
2020-08-09 10:00:00 | 0.695 | 284.3 | 1.071 | 297.3 | 0.88 | 280.057 | 0.461 | 302.1 | 26.52 | 960.911 | 83.1005 | -0.28081
2020-08-09 10:15:00 | 2.355 | 278.6 | 2.635 | 289.2 | 2.492 | 272.426 | 2.284 | 281.9 | 27.32 | 961.208 | 81.1584 | -0.26972
2020-08-09 10:30:00 | 2.658 | 307.9 | 2.807 | 320.2 | 2.375 | 301.628 | 2.195 | 308.4 | 27.33 | 961.356 | 74.8461 | -0.31037
2020-08-09 10:45:00 | 2.431 | 312.3 | 2.945 | 318.1 | 2.706 | 299.65 | 2.6 | 323.7 | 27.64 | 961.356 | 77.1529 | -0.28081
2020-08-09 11:00:00 | 3.247 | 318.4 | 3.47 | 329.4 | 3.087 | 310.295 | 2.955 | 322.9 | 27.93 | 961.356 | 77.3161 | -0.29928
2020-08-09 11:15:00 | 2.896 | 17.92 | 2.917 | 9.17 | 2.623 | 8.6381 | 2.394 | 16.59 | 28.63 | 961.356 | 76.9074 | -0.2882
2020-08-09 11:30:00 | 2.112 | 336.6 | 2.486 | 346.5 | 2.301 | 326.403 | 2.151 | 348.7 | 28.27 | 961.356 | 74.2848 | -0.31037
2020-08-09 11:45:00 | 1.967 | 9.22 | 2.753 | 11.34 | 2.904 | 10.6823 | 2.614 | 16.17 | 28.65 | 961.059 | 76.1921 | -0.26972
2020-08-09 12:00:00 | 3.529 | 344.3 | 3.791 | 344.9 | 3.186 | 324.896 | 3.124 | 346.1 | 28.37 | 961.208 | 75 | -0.2882
2020-08-09 12:15:00 | 1.65 | 323.5 | 2.372 | 315.8 | 2.272 | 297.484 | 2.109 | 350.3 | 28.14 | 961.356 | 71.2875 | -0.29189
2020-08-09 12:30:00 | 3.141 | 295.4 | 3.597 | 302.6 | 3.278 | 285.049 | 3.038 | 299.5 | 28.47 | 960.911 | 67.108 | -0.28081
2020-08-09 12:45:00 | 3.475 | 306.4 | 4.006 | 318.3 | 3.837 | 299.839 | 3.685 | 305.2 | 28.82 | 961.208 | 67.9967 | -0.28081
2020-08-09 13:00:00 | 2.733 | 323.3 | 3.151 | 328.7 | 3.097 | 309.635 | 3.137 | 323.5 | 29.19 | 961.059 | 66.3016 | -0.24386
2020-08-09 13:15:00 | 3.297 | 293.2 | 3.308 | 301.4 | 3.174 | 283.919 | 2.987 | 298.8 | 28.83 | 961.059 | 66.1317 | -0.28081
2020-08-09 13:30:00 | 3.05 | 311.1 | 3.387 | 314.4 | 2.952 | 296.165 | 2.91 | 312.9 | 29.02 | 961.059 | 66.0988 | -0.26972
2020-08-09 13:45:00 | 2.222 | 337.5 | 2.403 | 319.9 | 1.802 | 301.346 | 1.678 | 330.5 | 29.02 | 961.059 | 67.1891 | -0.26972
2020-08-09 14:00:00 | 1.374 | 12.84 | 2.325 | 19.78 | 2.047 | 18.6328 | 1.619 | 13.88 | 29.57 | 961.356 | 68.1032 | -0.26972
2020-08-09 14:15:00 | 1.986 | 13.44 | 2.418 | 33.46 | 1.866 | 31.5193 | 1.515 | 356.1 | 29.41 | 961.652 | 67.3822 | -0.26972
2020-08-09 14:30:00 | 1.494 | 300.4 | 2.298 | 305.4 | 2.271 | 287.687 | 1.843 | 297.1 | 29.64 | 961.356 | 65.639 | -0.26972
2020-08-09 14:45:00 | 2.804 | 273.9 | 2.852 | 283.8 | 2.927 | 267.34 | 2.624 | 282.3 | 29.33 | 961.801 | 66.4851 | -0.26972
2020-08-09 15:00:00 | 2.005 | 244.4 | 1.871 | 260.2 | 1.139 | 245.108 | 0.848 | 248.3 | 29.57 | 961.652 | 62.5341 | -0.2882
2020-08-09 15:15:00 | 1.614 | 257.6 | 1.752 | 261.4 | 1.197 | 246.239 | 0.897 | 261.5 | 29.98 | 961.801 | 61.7848 | -0.26972
2020-08-09 15:30:00 | 0.843 | 294.3 | 1.251 | 330.3 | 1.075 | 311.143 | 0.649 | 287.2 | 30.35 | 961.949 | 62.7044 | -0.26972
2020-08-09 15:45:00 | 1.726 | 298.6 | 2.285 | 296.9 | 1.627 | 279.68 | 1.094 | 304.2 | 30.29 | 961.813 | 63.3175 | -0.2882
2020-08-09 16:00:00 | 1.414 | 284.5 | 2.27 | 289.1 | 1.972 | 272.332 | 1.539 | 285.3 | 29.97 | 962.053 | 66.3488 | -0.26972
2020-08-09 16:15:00 | 2.146 | 298.3 | 2.436 | 309 | 2.228 | 291.078 | 1.839 | 299.3 | 30.05 | 961.631 | 64.6798 | -0.26972
2020-08-09 16:30:00 | 1.192 | 304.3 | 1.701 | 321.5 | 1.399 | 302.853 | 0.953 | 297.9 | 29.95 | 961.621 | 65.2589 | -0.2882
2020-08-09 16:45:00 | 0.929 | 293.6 | 1.179 | 298.2 | 0.448 | 280.904 | 0.074 | 278.7 | 30.08 | 961.503 | 67.03 | -0.29928
2020-08-09 17:00:00 | 0.196 | 320.6 | 0.57 | 322.1 | 0.592 | 303.418 | 0.079 | 297.7 | 29.95 | 961.355 | 64.782 | -0.29928
2020-08-09 17:15:00 | 0.343 | 174.8 | 0.461 | 278.8 | 0.201 | 262.63 | 0.043 | 207.8 | 29.8 | 961.504 | 67.0981 | -0.26972
2020-08-09 17:30:00 | 0.361 | 271.3 | 0.502 | 289.3 | 0.225 | 272.521 | 0.045 | 254.3 | 29.52 | 961.207 | 67.3706 | -0.2882
2020-08-09 17:45:00 | 1.196 | 163.6 | 1.794 | 169.7 | 1.663 | 159.857 | 1.314 | 187.1 | 29.78 | 960.911 | 66.6213 | -0.26972
2020-08-09 18:00:00 | 2.985 | 180.2 | 3.057 | 194.1 | 2.698 | 182.842 | 2.539 | 185.8 | 29.35 | 960.318 | 63.5559 | -0.2882
2020-08-09 18:15:00 | 2.219 | 161.9 | 2.49 | 181.3 | 2.408 | 170.785 | 2.182 | 167.3 | 29.12 | 959.873 | 67.3146 | -0.26972
2020-08-09 18:30:00 | 1.936 | 157.4 | 2.326 | 176.3 | 2.319 | 166.075 | 2.075 | 168.3 | 28.62 | 959.428 | 68.6199 | -0.26972
2020-08-09 18:45:00 | 2.855 | 164.3 | 2.998 | 179.1 | 2.698 | 168.712 | 2.498 | 167.4 | 28.43 | 959.132 | 68.7564 | -0.2845
2020-08-09 19:00:00 | 3.506 | 164.7 | 4.057 | 178.7 | 4.046 | 168.335 | 3.914 | 166.9 | 28.22 | 958.949 | 72.9339 | 0.80548
2020-08-09 19:15:00 | 4.41 | 168.3 | 4.673 | 181.4 | 4.509 | 170.879 | 4.443 | 173.7 | 27.79 | 958.831 | 79.0668 | 2.9042
2020-08-09 19:30:00 | 4.566 | 168.9 | 4.688 | 182.8 | 4.43 | 172.198 | 4.331 | 174.4 | 27.56 | 958.831 | 80.6747 | 3.7651
2020-08-09 19:45:00 | 3.93 | 168.4 | 4.238 | 181.9 | 4.664 | 171.35 | 4.589 | 172.3 | 27.43 | 958.979 | 81.5951 | 3.802
2020-08-09 20:00:00 | 4.213 | 171.3 | 4.52 | 185.9 | 4.608 | 175.118 | 4.573 | 177 | 27.35 | 959.005 | 80.5726 | 3.0667
2020-08-09 20:15:00 | 4.05 | 176.6 | 4.325 | 185.7 | 4.6 | 174.929 | 4.558 | 182 | 27.41 | 959.353 | 79.6182 | 1.3856
2020-08-09 20:30:00 | 3.715 | 176.5 | 4.067 | 187.2 | 4.649 | 176.342 | 4.65 | 184.3 | 27.19 | 959.793 | 80.5726 | 2.664
2020-08-09 20:45:00 | 4.257 | 179.4 | 4.42 | 183.4 | 4.425 | 172.763 | 4.479 | 185.7 | 27.18 | 960.107 | 80.5385 | 2.2317
2020-08-09 21:00:00 | 2.74 | 183.8 | 3.262 | 197.7 | 3.827 | 186.233 | 3.83 | 188 | 26.86 | 960.01 | 83.5095 | 2.5088
2020-08-09 21:15:00 | 2.222 | 182.4 | 2.431 | 192.9 | 3.352 | 181.712 | 3.376 | 188.1 | 26.74 | 959.865 | 82.7649 | 3.1628
2020-08-09 21:30:00 | 3.766 | 175 | 3.944 | 185.4 | 4.277 | 174.647 | 4.242 | 183 | 27.01 | 960.308 | 78.4725 | 3.7835
2020-08-09 21:45:00 | 5.171 | 168.6 | 5.077 | 181.9 | 5.094 | 171.35 | 5.088 | 174.8 | 27.27 | 959.717 | 76.5632 | 3.366
2020-08-09 22:00:00 | 4.042 | 161.8 | 4.098 | 177 | 4.662 | 166.734 | 4.606 | 165.4 | 27.21 | 959.862 | 77.7542 | 2.7601
2020-08-09 22:15:00 | 4.052 | 168.1 | 4.249 | 181.7 | 4.468 | 171.161 | 4.418 | 171.6 | 27.05 | 959.861 | 74.0058 | 3.4473
2020-08-09 22:30:00 | 3.848 | 170.4 | 4.136 | 184.2 | 4.56 | 173.516 | 4.568 | 176.8 | 26.98 | 959.865 | 76.9707 | 2.095
2020-08-09 22:45:00 | 3.894 | 169.7 | 4.555 | 184.3 | 4.618 | 173.611 | 4.675 | 177.5 | 26.91 | 960.161 | 80.1751 | 2.3573
2020-08-09 23:00:00 | 4.737 | 163.4 | 5.228 | 177.4 | 5.483 | 167.111 | 5.427 | 170.6 | 26.85 | 959.717 | 80.3122 | 4.286
2020-08-09 23:15:00 | 4.89 | 165.5 | 4.957 | 180.1 | 4.86 | 169.654 | 4.825 | 172.1 | 26.62 | 959.865 | 82.2226 | 5.7972
2020-08-09 23:30:00 | 4.665 | 168 | 4.786 | 180.8 | 4.908 | 170.314 | 4.973 | 175.7 | 26.43 | 959.717 | 82.6998 | 5.7824
2020-08-09 23:45:00 | 3.999 | 167.8 | 4.451 | 179 | 5.318 | 168.618 | 5.297 | 174.3 | 26.29 | 959.717 | 85.9724 | 7.8146