## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-10 00:00:00 | 5.709 | 171.2 | 5.964 | 183.9 | 6.409 | 173.234 | 6.598 | 178.3 | 26.26 | 959.545 | 83.1089 | 9.3073
2020-08-10 00:15:00 | 5.638 | 169.2 | 5.629 | 179.8 | 5.74 | 169.372 | 5.809 | 178.8 | 26.18 | 959.717 | 83.518 | 8.8455
2020-08-10 00:30:00 | 5.865 | 173.9 | 5.862 | 183.8 | 6.162 | 173.14 | 6.305 | 183.5 | 26.18 | 959.714 | 85.1542 | 8.4095
2020-08-10 00:45:00 | 5.761 | 177.9 | 5.859 | 186.6 | 6.259 | 175.777 | 6.422 | 185.8 | 26.2 | 959.865 | 85.836 | 10.4971
2020-08-10 01:00:00 | 6.756 | 170.2 | 6.708 | 179.5 | 6.968 | 169.089 | 7.133 | 178.9 | 26.2 | 959.865 | 85.2906 | 11.1732
2020-08-10 01:15:00 | 5.467 | 172.9 | 5.703 | 183.5 | 5.954 | 172.857 | 6.147 | 180.5 | 26.17 | 959.865 | 85.4951 | 6.7246
2020-08-10 01:30:00 | 5.597 | 172.6 | 5.599 | 182.1 | 5.839 | 171.538 | 6.007 | 183.3 | 25.91 | 959.865 | 85.5974 | 7.907
2020-08-10 01:45:00 | 4.56 | 177 | 4.648 | 186.9 | 4.875 | 176.06 | 4.925 | 184.8 | 25.98 | 959.717 | 86.1087 | 6.987
2020-08-10 02:00:00 | 4.862 | 166.7 | 5.144 | 174.1 | 4.944 | 164.002 | 5.019 | 178.2 | 25.82 | 959.717 | 85.836 | 7.4266
2020-08-10 02:15:00 | 4.665 | 160.9 | 5.187 | 171.4 | 5.435 | 161.459 | 5.579 | 172.4 | 25.82 | 959.42 | 85.0861 | 8.2063
2020-08-10 02:30:00 | 5.209 | 154.5 | 5.514 | 164.5 | 5.984 | 154.959 | 5.989 | 165.1 | 25.82 | 959.123 | 84.3363 | 10.1276
2020-08-10 02:45:00 | 5.937 | 156.1 | 6.657 | 167.5 | 6.778 | 157.785 | 6.73 | 165.9 | 25.77 | 959.123 | 85.1549 | 7.5966
2020-08-10 03:00:00 | 3.981 | 182.9 | 4.632 | 193.9 | 4.88 | 182.654 | 4.991 | 189.1 | 25.67 | 959.865 | 82.3601 | 3.0446
2020-08-10 03:15:00 | 1.956 | 204.8 | 2.49 | 215 | 2.985 | 202.53 | 3.078 | 208.6 | 26.14 | 960.458 | 82.2228 | -0.52836
2020-08-10 03:30:00 | 1.823 | 180.1 | 2.635 | 188.2 | 3.253 | 177.284 | 3.229 | 197.4 | 26.2 | 960.31 | 81.8136 | -0.24016
2020-08-10 03:45:00 | 2.773 | 168.7 | 3.137 | 173.6 | 3.097 | 163.531 | 2.994 | 185.1 | 26.3 | 960.161 | 79.7682 | -0.24016
2020-08-10 04:00:00 | 2.129 | 176.6 | 3.18 | 181 | 3.448 | 170.502 | 3.269 | 190.8 | 26.31 | 960.161 | 78.4387 | 0.081287
2020-08-10 04:15:00 | 2.062 | 155 | 3.385 | 167.8 | 3.843 | 158.068 | 3.621 | 162.2 | 26.34 | 960.458 | 78.4728 | 0.022169
2020-08-10 04:30:00 | 1.813 | 182 | 3.004 | 191.8 | 3.453 | 180.676 | 3.427 | 191.4 | 26.13 | 960.755 | 76.3593 | 0.092371
2020-08-10 04:45:00 | 1.982 | 182.7 | 2.63 | 187.2 | 2.713 | 176.342 | 2.651 | 193 | 26.54 | 960.458 | 75.8821 | -0.029559
2020-08-10 05:00:00 | 3.756 | 144 | 4.126 | 159 | 3.743 | 149.778 | 3.481 | 153.7 | 26.47 | 960.307 | 73.9049 | 1.8881
2020-08-10 05:15:00 | 2.177 | 142.3 | 3.464 | 154 | 3.085 | 145.068 | 2.814 | 150.1 | 26.56 | 960.755 | 76.5639 | 5.5312
2020-08-10 05:30:00 | 4.571 | 128.1 | 4.451 | 142.8 | 3.634 | 134.518 | 3.412 | 134.1 | 27.15 | 960.903 | 68.0416 | 6.1187
2020-08-10 05:45:00 | 5.919 | 127.2 | 5.867 | 142.8 | 5.374 | 134.518 | 5.169 | 131 | 27.03 | 961.194 | 71.3482 | 10.7963
2020-08-10 06:00:00 | 3.018 | 98.8 | 3.308 | 112.2 | 2.96 | 105.692 | 3.025 | 107.5 | 26.61 | 961.497 | 78.745 | 8.0769
2020-08-10 06:15:00 | 3.723 | 103.5 | 4.052 | 113.4 | 4.145 | 106.823 | 4.135 | 110.8 | 26.42 | 961.633 | 77.4077 | 5.0139
2020-08-10 06:30:00 | 1.771 | 74.16 | 2.035 | 77.22 | 1.602 | 72.7412 | 1.422 | 93.5 | 26.56 | 961.625 | 82.0041 | 3.1702
2020-08-10 06:45:00 | 3.391 | 107.4 | 4.3 | 123.7 | 4.529 | 116.525 | 4.413 | 112.3 | 26.39 | 961.804 | 77.6074 | 4.286
2020-08-10 07:00:00 | 3.353 | 106 | 3.648 | 120.3 | 3.657 | 113.323 | 3.545 | 111.2 | 26.88 | 962.094 | 78.5958 | 8.2765
2020-08-10 07:15:00 | 4.974 | 119.8 | 5.356 | 138.8 | 5.091 | 130.75 | 4.95 | 123.5 | 26.41 | 961.945 | 79.6159 | 12.4405
2020-08-10 07:30:00 | 4.274 | 114.1 | 4.584 | 132.8 | 4.501 | 125.098 | 4.398 | 120 | 26.56 | 962.687 | 76.8525 | 2.8672
2020-08-10 07:45:00 | 4.042 | 133.7 | 4.111 | 149.2 | 4.028 | 140.546 | 3.888 | 138.5 | 26.68 | 962.835 | 79.4782 | 5.2762
2020-08-10 08:00:00 | 3.94 | 131.8 | 4.282 | 147.3 | 4.662 | 138.757 | 4.609 | 136.4 | 26.63 | 963.131 | 78.591 | 6.8318
2020-08-10 08:15:00 | 5.462 | 133.8 | 5.65 | 150.8 | 5.625 | 142.054 | 5.503 | 139.7 | 26.69 | 963.074 | 79.0948 | 8.1176
2020-08-10 08:30:00 | 4.594 | 131.5 | 4.678 | 149 | 4.522 | 140.358 | 4.5 | 134 | 26.72 | 962.843 | 86.4738 | 11.2139
2020-08-10 08:45:00 | 5.104 | 134.9 | 5.32 | 150.3 | 5.62 | 141.583 | 5.635 | 141.6 | 26.47 | 962.542 | 89.1312 | 10.9478
2020-08-10 09:00:00 | 6.667 | 139 | 6.747 | 158.4 | 6.991 | 149.213 | 6.876 | 143.3 | 26.02 | 962.394 | 93.5946 | 14.1586
2020-08-10 09:15:00 | 7.601 | 143.6 | 7.739 | 160.1 | 7.614 | 150.814 | 7.469 | 148.5 | 25.72 | 961.9 | 94.4691 | 22.4757
2020-08-10 09:30:00 | 7.691 | 145.5 | 7.585 | 161.4 | 7.401 | 152.039 | 7.255 | 151.2 | 26.82 | 962.39 | 83.2249 | 10.1497
2020-08-10 09:45:00 | 5.074 | 167.1 | 5.051 | 187.5 | 4.57 | 176.625 | 4.367 | 171.8 | 27.81 | 963.108 | 78.4554 | 8.7605
2020-08-10 10:00:00 | 6.054 | 169.4 | 5.778 | 183.2 | 5.404 | 172.574 | 5.383 | 176.8 | 27.94 | 963.285 | 76.2183 | 7.7222
2020-08-10 10:15:00 | 5.418 | 178.6 | 5.264 | 191.5 | 4.382 | 180.393 | 4.23 | 183.5 | 28.21 | 963.431 | 79.3527 | 7.1569
2020-08-10 10:30:00 | 5.628 | 191.2 | 5.501 | 206.4 | 4.73 | 194.429 | 4.629 | 194.5 | 28.07 | 963.431 | 77.3765 | 6.551
2020-08-10 10:45:00 | 6.077 | 188.5 | 5.857 | 203.8 | 4.893 | 191.98 | 4.731 | 190.9 | 28.08 | 963.431 | 76.5588 | 3.7318
2020-08-10 11:00:00 | 5.298 | 194.4 | 5.276 | 206.6 | 4.611 | 194.617 | 4.502 | 196.1 | 28.35 | 963.283 | 72.0613 | 2.9596
2020-08-10 11:15:00 | 5.487 | 178.1 | 5.611 | 191.3 | 4.959 | 180.205 | 4.876 | 184.4 | 28.52 | 963.135 | 74.1397 | 4.3636
2020-08-10 11:30:00 | 6.123 | 182 | 5.839 | 198.6 | 5.308 | 187.081 | 5.215 | 185.9 | 28.67 | 963.135 | 71.7547 | 7.0941
2020-08-10 11:45:00 | 4.964 | 177.2 | 4.737 | 202.6 | 4.379 | 190.849 | 4.334 | 172.8 | 28.74 | 962.838 | 68.3475 | 6.647
2020-08-10 12:00:00 | 4.864 | 165.1 | 5.087 | 178.8 | 4.768 | 168.43 | 4.719 | 172 | 29.03 | 962.838 | 72.2999 | 6.7098
2020-08-10 12:15:00 | 6.437 | 189 | 6.107 | 200.4 | 5.328 | 188.777 | 5.292 | 194.4 | 28.86 | 962.69 | 71.891 | 6.7579
2020-08-10 12:30:00 | 5.911 | 178.6 | 5.706 | 193.1 | 4.987 | 181.9 | 4.91 | 183.4 | 28.95 | 962.838 | 72.7428 | 6.2221
2020-08-10 12:45:00 | 5.209 | 149.7 | 5.146 | 162.2 | 4.346 | 152.792 | 4.166 | 157.7 | 29.02 | 962.838 | 69.506 | 7.2197
2020-08-10 13:00:00 | 6.161 | 186.9 | 5.857 | 202.3 | 5.234 | 190.567 | 5.159 | 187.8 | 29.37 | 962.838 | 72.7769 | 7.4045
2020-08-10 13:15:00 | 5.416 | 166.3 | 5.404 | 186.2 | 4.801 | 175.4 | 4.668 | 172.7 | 29.57 | 962.986 | 71.0051 | 6.4069
2020-08-10 13:30:00 | 5.648 | 167.2 | 5.136 | 182.8 | 4.725 | 172.198 | 4.668 | 173.8 | 29.53 | 962.986 | 69.1653 | 6.9057
2020-08-10 13:45:00 | 4.721 | 154.6 | 4.931 | 175.2 | 4.486 | 165.038 | 4.377 | 161.6 | 29.96 | 962.986 | 69.8808 | 6.5731
2020-08-10 14:00:00 | 5.641 | 138.7 | 6.02 | 154.7 | 5.419 | 145.727 | 5.276 | 148.4 | 29.99 | 963.431 | 62.8961 | 6.0485
2020-08-10 14:15:00 | 6.386 | 190.4 | 6.184 | 203.5 | 5.346 | 191.697 | 5.286 | 191.5 | 30.11 | 962.986 | 64.9745 | 4.0791
2020-08-10 14:30:00 | 5.39 | 170.9 | 5.279 | 183.7 | 4.634 | 173.045 | 4.581 | 176.6 | 29.91 | 963.431 | 65.6189 | 3.2071
2020-08-10 14:45:00 | 5.12 | 165.2 | 5.013 | 180.8 | 4.341 | 170.314 | 4.237 | 171.3 | 30.01 | 963.431 | 65.8498 | 1.6959
2020-08-10 15:00:00 | 4.433 | 152.5 | 4.497 | 162.7 | 3.764 | 153.263 | 3.606 | 165.8 | 30.12 | 963.283 | 67.2118 | 1.1491
2020-08-10 15:15:00 | 5.242 | 184.7 | 4.77 | 199.1 | 4.082 | 187.552 | 3.919 | 190.4 | 30.39 | 963.431 | 65.3694 | 1.5001
2020-08-10 15:30:00 | 5.017 | 147.2 | 5.034 | 164.9 | 4.361 | 155.336 | 4.095 | 152.1 | 30.15 | 963.579 | 65.4669 | 3.0409
2020-08-10 15:45:00 | 4.188 | 185.2 | 4.072 | 201.6 | 3.408 | 189.907 | 3.282 | 186.1 | 30.11 | 963.283 | 65.942 | 2.3573
2020-08-10 16:00:00 | 4.571 | 180.1 | 4.315 | 190.1 | 3.642 | 179.074 | 3.552 | 183.6 | 30.4 | 963.579 | 63.1163 | 2.5384
2020-08-10 16:15:00 | 4.254 | 155.4 | 4.052 | 168.5 | 3.603 | 158.727 | 3.476 | 165.1 | 30.29 | 963.728 | 61.9553 | 2.143
2020-08-10 16:30:00 | 3.554 | 183.4 | 3.543 | 201.3 | 3.222 | 189.625 | 3.178 | 186.8 | 30.63 | 963.283 | 61.1377 | 1.3264
2020-08-10 16:45:00 | 4.384 | 159.1 | 4.377 | 175.4 | 4.168 | 165.227 | 4.105 | 166 | 30.07 | 964.024 | 63.9305 | 1.0346
2020-08-10 17:00:00 | 3.7 | 180 | 3.53 | 196.3 | 3.049 | 184.915 | 2.847 | 178.9 | 30.35 | 963.728 | 65.327 | 1.271
2020-08-10 17:15:00 | 3.463 | 165.6 | 3.433 | 182.6 | 3.288 | 172.009 | 3.175 | 168.8 | 30.23 | 963.283 | 65.2949 | 1.4484
2020-08-10 17:30:00 | 3.222 | 166.4 | 3.479 | 174.7 | 3.074 | 164.567 | 3.038 | 172.3 | 30.08 | 963.135 | 67.1076 | 1.2747
2020-08-10 17:45:00 | 3.646 | 160.3 | 3.668 | 177.9 | 3.57 | 167.582 | 3.448 | 163.5 | 29.69 | 963.135 | 68.2358 | 1.6257
2020-08-10 18:00:00 | 3.58 | 165.1 | 3.607 | 180.6 | 3.108 | 170.125 | 3.007 | 164 | 29.54 | 962.69 | 68.892 | 1.611
2020-08-10 18:15:00 | 3.21 | 159 | 3.41 | 176.9 | 3.191 | 166.64 | 3.112 | 162.8 | 29.27 | 963.135 | 69.0971 | 0.9311
2020-08-10 18:30:00 | 3.174 | 154 | 3.162 | 167.8 | 3.171 | 158.068 | 3.091 | 159.6 | 29.2 | 962.838 | 72.5724 | 0.787
2020-08-10 18:45:00 | 3.276 | 161.2 | 3.671 | 172.7 | 3.532 | 162.683 | 3.435 | 168.1 | 28.89 | 962.475 | 75.1729 | 0.092371
2020-08-10 19:00:00 | 3.286 | 166.2 | 3.433 | 180.6 | 3.464 | 170.125 | 3.376 | 169.6 | 28.84 | 962.684 | 74.5716 | 0.25125
2020-08-10 19:15:00 | 3.284 | 158.3 | 3.725 | 170.2 | 3.799 | 160.328 | 3.72 | 164.4 | 28.74 | 962.39 | 75.8303 | 0.31776
2020-08-10 19:30:00 | 3.345 | 157.7 | 3.786 | 173 | 3.848 | 162.966 | 3.751 | 163.2 | 28.73 | 962.686 | 73.074 | 0.41752
2020-08-10 19:45:00 | 3.258 | 153.8 | 4.08 | 168 | 4.056 | 158.256 | 3.909 | 160.5 | 28.66 | 962.538 | 76.2781 | 1.1417
2020-08-10 20:00:00 | 3.422 | 155.5 | 4.218 | 167.1 | 4.316 | 157.408 | 4.163 | 164 | 28.3 | 962.835 | 78.1186 | 1.4964
2020-08-10 20:15:00 | 3.118 | 147.3 | 3.676 | 160.7 | 4.433 | 151.379 | 4.324 | 153.3 | 28.34 | 963.131 | 78.4594 | 2.0469
2020-08-10 20:30:00 | 3.891 | 152.7 | 4.729 | 165.7 | 4.923 | 156.089 | 4.838 | 159.4 | 28.22 | 963.131 | 78.5958 | 4.1161
2020-08-10 20:45:00 | 4.157 | 153.3 | 4.671 | 168 | 5.28 | 158.256 | 5.149 | 160 | 28.17 | 963.432 | 78.1186 | 5.1137
2020-08-10 21:00:00 | 4.303 | 153.3 | 4.548 | 167.9 | 4.995 | 158.162 | 4.968 | 160.1 | 28.22 | 963.576 | 78.5276 | 4.4338
2020-08-10 21:15:00 | 3.797 | 150.6 | 4.18 | 159.5 | 4.593 | 150.249 | 4.494 | 159.1 | 28.26 | 963.725 | 76.1418 | 2.3832
2020-08-10 21:30:00 | 3.595 | 152.4 | 4.387 | 163.3 | 4.364 | 153.829 | 4.217 | 157.9 | 28.33 | 963.752 | 76.653 | 2.095
2020-08-10 21:45:00 | 3.35 | 143.5 | 3.942 | 155 | 4.448 | 146.01 | 4.319 | 152.5 | 28.28 | 963.285 | 75.0511 | 5.158
2020-08-10 22:00:00 | 4.867 | 135.5 | 5.146 | 148.9 | 5.061 | 140.264 | 4.95 | 143.4 | 28.32 | 963.873 | 73.7559 | 5.6494
2020-08-10 22:15:00 | 3.194 | 142.2 | 3.783 | 157.4 | 4.674 | 148.271 | 4.685 | 147.7 | 28.1 | 963.739 | 76.1418 | 6.9168
2020-08-10 22:30:00 | 3.999 | 150.3 | 4.453 | 169.5 | 5.47 | 159.669 | 5.455 | 157.1 | 28.02 | 963.732 | 77.3688 | 6.6212
2020-08-10 22:45:00 | 4.527 | 161.8 | 4.671 | 179.3 | 4.862 | 168.901 | 4.861 | 165.3 | 28.11 | 963.725 | 76.1077 | 7.8479
2020-08-10 23:00:00 | 4.754 | 153.2 | 4.89 | 170.8 | 5.76 | 160.894 | 5.707 | 158.7 | 27.95 | 963.596 | 77.8118 | 10.885
2020-08-10 23:15:00 | 5.472 | 154.1 | 5.568 | 171.1 | 6.116 | 161.176 | 6.094 | 157.7 | 27.78 | 963.782 | 78.3572 | 11.8161
2020-08-10 23:30:00 | 4.89 | 155.4 | 5.358 | 172.7 | 6.157 | 162.683 | 6.14 | 160.4 | 27.61 | 963.732 | 79.8227 | 13.6266
2020-08-10 23:45:00 | 5.069 | 161 | 4.852 | 176.8 | 4.425 | 166.546 | 4.398 | 168.3 | 27.58 | 963.764 | 83.4356 | 14.4986