## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-11 00:00:00 | 5.112 | 160 | 5.095 | 176.9 | 5.229 | 166.64 | 5.22 | 165.2 | 27.39 | 964.111 | 86.6394 | 14.5909
2020-08-11 00:15:00 | 5.508 | 162.7 | 5.849 | 177.1 | 6.149 | 166.828 | 6.175 | 171.9 | 27.22 | 963.985 | 87.0825 | 12.156
2020-08-11 00:30:00 | 6.427 | 161.6 | 6.67 | 174.6 | 6.734 | 164.473 | 6.644 | 169.8 | 27.1 | 964.222 | 86.981 | 15.0713
2020-08-11 00:45:00 | 6.468 | 161 | 6.591 | 172.5 | 6.465 | 162.495 | 6.359 | 170.6 | 27.09 | 963.863 | 87.6638 | 14.118
2020-08-11 01:00:00 | 6.146 | 164.4 | 6.624 | 177.1 | 6.778 | 166.828 | 6.837 | 173.2 | 26.84 | 963.974 | 89.5739 | 14.3323
2020-08-11 01:15:00 | 5.367 | 162.4 | 5.19 | 174.3 | 5.282 | 164.191 | 5.348 | 170.5 | 26.72 | 964.167 | 89.5413 | 13.2682
2020-08-11 01:30:00 | 5.107 | 158.8 | 5.524 | 169.2 | 6.078 | 159.386 | 6.155 | 168.8 | 26.55 | 964.314 | 91.2497 | 9.8172
2020-08-11 01:45:00 | 4.742 | 156 | 5.1 | 165.7 | 5.442 | 156.089 | 5.434 | 167.1 | 26.46 | 963.87 | 90.7426 | 12.0637
2020-08-11 02:00:00 | 5.75 | 157.5 | 6.176 | 166.6 | 6.343 | 156.937 | 6.315 | 169 | 26.29 | 964.018 | 92.8923 | 18.7476
2020-08-11 02:15:00 | 6.626 | 163.5 | 7.051 | 173 | 7.383 | 162.966 | 7.52 | 173.6 | 26.02 | 963.855 | 92.0402 | 16.6785
2020-08-11 02:30:00 | 5.919 | 159.8 | 6.606 | 169.7 | 7.027 | 159.857 | 7.072 | 168.4 | 26.13 | 964.167 | 91.3243 | 17.5949
2020-08-11 02:45:00 | 5.579 | 153.2 | 6.174 | 165.7 | 6.597 | 156.089 | 6.552 | 162.9 | 26.16 | 964.167 | 92.1766 | 16.8854
2020-08-11 03:00:00 | 5.676 | 154.6 | 6.307 | 163.8 | 6.65 | 154.3 | 6.723 | 163.6 | 26.18 | 964.315 | 91.4948 | 13.8557
2020-08-11 03:15:00 | 5.247 | 156.4 | 5.898 | 166.6 | 6.129 | 156.937 | 6.137 | 165.1 | 26.12 | 964.313 | 92.1425 | 12.5846
2020-08-11 03:30:00 | 5.181 | 159.1 | 5.709 | 170.1 | 6.277 | 160.234 | 6.305 | 169 | 26.13 | 964.463 | 93.7447 | 10.2421
2020-08-11 03:45:00 | 5.143 | 152.6 | 5.517 | 165.2 | 5.778 | 155.618 | 5.704 | 161.4 | 26.13 | 964.167 | 93.6083 | 10.9478
2020-08-11 04:00:00 | 4.974 | 156.6 | 5.931 | 170.5 | 6.312 | 160.611 | 6.193 | 164.1 | 26 | 964.315 | 94.9719 | 13.5859
2020-08-11 04:15:00 | 5.28 | 152.2 | 5.637 | 165.5 | 5.91 | 155.901 | 5.88 | 161.5 | 25.57 | 964.315 | 92.6538 | 16.6453
2020-08-11 04:30:00 | 5.911 | 148.6 | 6.212 | 163.3 | 6.493 | 153.829 | 6.412 | 157.3 | 25.74 | 964.167 | 94.9037 | 17.0665
2020-08-11 04:45:00 | 6.138 | 148.4 | 6.987 | 160.3 | 6.821 | 151.003 | 6.654 | 157.5 | 25.61 | 964.434 | 94.8355 | 16.4162
2020-08-11 05:00:00 | 5.375 | 148.8 | 5.985 | 167.3 | 6.589 | 157.597 | 6.55 | 153.7 | 25.52 | 964.167 | 95.8241 | 15.3558
2020-08-11 05:15:00 | 6.207 | 155.9 | 6.685 | 167.2 | 6.338 | 157.502 | 6.338 | 166 | 25.84 | 964.76 | 95.7913 | 11.6277
2020-08-11 05:30:00 | 6.092 | 155.7 | 6.688 | 164.4 | 6.104 | 154.865 | 6.007 | 165.4 | 25.8 | 964.463 | 97.156 | 13.9924
2020-08-11 05:45:00 | 5.671 | 144.9 | 6.465 | 160.4 | 6.628 | 151.097 | 6.471 | 153.7 | 25.58 | 964.908 | 98.2104 | 12.5107
2020-08-11 06:00:00 | 5.689 | 142.6 | 5.926 | 161.4 | 6.386 | 152.039 | 6.328 | 147.7 | 25.47 | 965.205 | 98.6535 | 15.8287
2020-08-11 06:15:00 | 5.62 | 143.2 | 6.171 | 159 | 6.612 | 149.778 | 6.534 | 149.7 | 25.54 | 965.798 | 98.824 | 13.8926
2020-08-11 06:30:00 | 5.097 | 146.4 | 5.105 | 165.6 | 5.419 | 155.995 | 5.358 | 150.8 | 25.6 | 966.095 | 98.9262 | 11.7755
2020-08-11 06:45:00 | 5.761 | 152.5 | 5.744 | 170.3 | 5.72 | 160.423 | 5.666 | 155.1 | 25.69 | 966.095 | 99.3228 | 11.5944
2020-08-11 07:00:00 | 6.284 | 150.6 | 6.483 | 164 | 6.208 | 154.488 | 6.094 | 158.8 | 25.63 | 966.252 | 99.8638 | 9.3369
2020-08-11 07:15:00 | 6.207 | 153 | 6.054 | 166.7 | 6.223 | 157.031 | 6.122 | 159.8 | 25.78 | 966.266 | 99.2502 | 9.2556
2020-08-11 07:30:00 | 6.021 | 148.9 | 5.934 | 166.2 | 5.859 | 156.56 | 5.765 | 154.8 | 25.93 | 966.542 | 97.8869 | 9.4625
2020-08-11 07:45:00 | 6.026 | 152.6 | 6.01 | 170.7 | 5.381 | 160.799 | 5.256 | 155.3 | 26.08 | 967.135 | 97.2393 | 10.0758
2020-08-11 08:00:00 | 5.773 | 147.2 | 5.435 | 166.8 | 5.236 | 157.126 | 5.06 | 148.2 | 26.19 | 967.135 | 96.4162 | 12.5477
2020-08-11 08:15:00 | 6.435 | 147.8 | 6.391 | 164.9 | 5.732 | 155.336 | 5.607 | 150.8 | 26.21 | 967.432 | 96.3843 | 12.0267
2020-08-11 08:30:00 | 6.524 | 147.9 | 6.389 | 165.3 | 5.631 | 155.713 | 5.46 | 151.9 | 26.41 | 967.728 | 94.5751 | 15.2708
2020-08-11 08:45:00 | 5.536 | 138.5 | 5.67 | 159 | 5.524 | 149.778 | 5.5 | 142.1 | 26.74 | 968.115 | 92.8184 | 16.0061
2020-08-11 09:00:00 | 5.173 | 138 | 5.069 | 152.6 | 5.353 | 143.749 | 5.36 | 143.3 | 26.85 | 968.027 | 91.9592 | 12.5699
2020-08-11 09:15:00 | 6.075 | 140.3 | 6.248 | 160.3 | 6.012 | 151.003 | 5.859 | 146.8 | 27.29 | 968.471 | 91.4481 | 11.0735
2020-08-11 09:30:00 | 6.613 | 150 | 6.45 | 166.2 | 6.126 | 156.56 | 6.012 | 153.3 | 27.29 | 968.323 | 90.3919 | 11.4762
2020-08-11 09:45:00 | 7.055 | 145.6 | 6.949 | 161.1 | 6.889 | 151.756 | 6.692 | 151.4 | 27.49 | 968.916 | 90.5622 | 10.7446
2020-08-11 10:00:00 | 6.128 | 140.1 | 6.156 | 156.3 | 5.956 | 147.235 | 5.793 | 146.8 | 27.81 | 969.064 | 87.3254 | 11.2693
2020-08-11 10:15:00 | 6.963 | 140.5 | 6.992 | 156.1 | 6.615 | 147.046 | 6.445 | 146.7 | 28.03 | 969.36 | 87.8024 | 13.15
2020-08-11 10:30:00 | 6.006 | 140.4 | 6.01 | 157.8 | 5.608 | 148.648 | 5.475 | 144.7 | 28.27 | 969.36 | 85.4172 | 13.4751
2020-08-11 10:45:00 | 6.151 | 148.4 | 6.243 | 167 | 6.475 | 157.314 | 6.402 | 152.1 | 28.6 | 969.36 | 81.908 | 14.9937
2020-08-11 11:00:00 | 6.039 | 146.9 | 6.205 | 163.2 | 5.918 | 153.734 | 5.801 | 152.8 | 28.62 | 969.36 | 83.6442 | 12.9467
2020-08-11 11:15:00 | 6.317 | 150.9 | 6.184 | 167 | 5.88 | 157.314 | 5.819 | 154.1 | 28.81 | 969.212 | 79.8978 | 13.4862
2020-08-11 11:30:00 | 6.345 | 139.1 | 6.289 | 154.7 | 5.877 | 145.727 | 5.778 | 147.2 | 29.02 | 969.509 | 79.4853 | 12.762
2020-08-11 11:45:00 | 5.684 | 154.7 | 5.514 | 173.5 | 5.425 | 163.437 | 5.35 | 157.2 | 29.26 | 969.657 | 76.9646 | 12.3593
2020-08-11 12:00:00 | 6.225 | 150 | 6.34 | 165.6 | 5.903 | 155.995 | 5.783 | 154.9 | 28.97 | 969.212 | 78.9776 | 14.0404
2020-08-11 12:15:00 | 6.279 | 157.6 | 6.089 | 174.6 | 5.519 | 164.473 | 5.437 | 162.1 | 29.13 | 969.805 | 77.206 | 12.9504
2020-08-11 12:30:00 | 4.977 | 149.8 | 5.041 | 163.8 | 4.45 | 154.3 | 4.352 | 159.6 | 29.67 | 969.36 | 73.1175 | 9.614
2020-08-11 12:45:00 | 5.115 | 136.9 | 5.353 | 153 | 5.239 | 144.126 | 5.116 | 145.2 | 29.37 | 969.509 | 74.1056 | 6.514
2020-08-11 13:00:00 | 4.274 | 165.1 | 4.075 | 180.8 | 3.533 | 170.314 | 3.48 | 170 | 29.88 | 969.509 | 72.4357 | 6.3108
2020-08-11 13:15:00 | 4.558 | 138.8 | 4.66 | 153.9 | 4.328 | 144.974 | 4.204 | 148.8 | 29.56 | 969.36 | 73.3553 | 5.2873
2020-08-11 13:30:00 | 4.336 | 132.1 | 4.3 | 149 | 4.066 | 140.358 | 3.977 | 140.4 | 30 | 969.212 | 75.0227 | 3.8574
2020-08-11 13:45:00 | 4.165 | 128 | 4.318 | 140.3 | 4.066 | 132.163 | 3.947 | 137.5 | 29.66 | 969.36 | 72.4294 | 3.3771
2020-08-11 14:00:00 | 5.125 | 151.5 | 5.082 | 167 | 4.674 | 157.314 | 4.543 | 157.2 | 29.74 | 969.212 | 72.2976 | 2.9042
2020-08-11 14:15:00 | 4.264 | 128.7 | 4.43 | 145.9 | 4.12 | 137.438 | 4.008 | 134.7 | 29.68 | 969.212 | 75.2248 | 1.6885
2020-08-11 14:30:00 | 3.312 | 126 | 3.722 | 137.7 | 3.67 | 129.713 | 3.646 | 135.4 | 29.8 | 969.509 | 74.8851 | 1.6848
2020-08-11 14:45:00 | 4.693 | 145.2 | 4.765 | 160.8 | 4.4 | 151.474 | 4.296 | 150.5 | 29.9 | 969.212 | 75.7668 | 2.2391
2020-08-11 15:00:00 | 3.383 | 120.7 | 3.356 | 146.9 | 3.108 | 138.38 | 2.946 | 126.1 | 29.85 | 969.36 | 75.1859 | 2.2169
2020-08-11 15:15:00 | 5.178 | 133.6 | 5.412 | 150 | 5.246 | 141.3 | 5.129 | 139.4 | 29.77 | 969.064 | 73.005 | 3.3697
2020-08-11 15:30:00 | 5.311 | 147.4 | 5.21 | 163 | 5.051 | 153.546 | 4.894 | 152.6 | 29.9 | 968.916 | 70.9305 | 3.3512
2020-08-11 15:45:00 | 4.44 | 151.6 | 4.284 | 170.9 | 3.845 | 160.988 | 3.685 | 153.2 | 30 | 968.768 | 70.2199 | 3.3549
2020-08-11 16:00:00 | 4.313 | 142.8 | 4.244 | 160.6 | 4.122 | 151.285 | 3.993 | 148.6 | 29.98 | 968.619 | 71.4808 | 4.2565
2020-08-11 16:15:00 | 3.271 | 140.3 | 3.323 | 167.1 | 3.311 | 157.408 | 3.241 | 144.5 | 29.94 | 968.471 | 69.8126 | 0.56162
2020-08-11 16:30:00 | 3.577 | 135.2 | 3.671 | 146.9 | 3.37 | 138.38 | 3.272 | 146.2 | 29.97 | 968.619 | 67.9387 | 0.22908
2020-08-11 16:45:00 | 3.036 | 131.2 | 3.477 | 141.2 | 3.525 | 133.01 | 3.524 | 134.3 | 30.05 | 968.323 | 67.9387 | 0.79809
2020-08-11 17:00:00 | 4.029 | 150.2 | 4.021 | 168.9 | 3.738 | 159.104 | 3.654 | 154.1 | 29.94 | 968.175 | 71.0392 | 1.1639
2020-08-11 17:15:00 | 2.783 | 149.1 | 2.804 | 162.9 | 2.655 | 153.452 | 2.615 | 157.5 | 29.94 | 968.323 | 72.0272 | 1.053
2020-08-11 17:30:00 | 3.386 | 134.3 | 3.395 | 148.6 | 3.049 | 139.981 | 2.956 | 141.5 | 29.88 | 967.878 | 69.8467 | 2.7231
2020-08-11 17:45:00 | 3.363 | 126.4 | 3.52 | 139.8 | 3.413 | 131.692 | 3.336 | 136 | 29.71 | 967.73 | 70.3918 | 1.6073
2020-08-11 18:00:00 | 3.212 | 138.3 | 3.374 | 158.1 | 3.186 | 148.93 | 3.053 | 147.9 | 29.63 | 967.73 | 72.6405 | 1.4816
2020-08-11 18:15:00 | 2.566 | 142.2 | 2.487 | 163.1 | 2.273 | 153.64 | 2.177 | 148.1 | 29.48 | 968.026 | 72.5055 | -0.2882
2020-08-11 18:30:00 | 0.015 | 136.2 | 0 | 160.8 | 0.022 | 151.474 | 0 | 154.1 | 29.49 | 968.389 | 71.1573 | -0.33993
2020-08-11 18:45:00 | 1.096 | 134.1 | 1.695 | 160.4 | 1.587 | 151.097 | 1.444 | 151.3 | 29.51 | 968.469 | 71.6416 | -0.34362
2020-08-11 19:00:00 | 2.038 | 82.3 | 2.037 | 93.3 | 1.864 | 87.8886 | 1.78 | 93.2 | 29.45 | 968.025 | 73.6167 | -0.29928
2020-08-11 19:15:00 | 2.439 | 86.6 | 2.643 | 101.1 | 2.472 | 95.2362 | 2.404 | 100.1 | 29.33 | 967.876 | 75.3897 | -0.33993
2020-08-11 19:30:00 | 3.133 | 79.34 | 3.492 | 89.8 | 3.67 | 84.5916 | 3.618 | 88.3 | 29.23 | 967.876 | 74.7046 | 1.0604
2020-08-11 19:45:00 | 2.737 | 73.72 | 3.152 | 88.7 | 3.479 | 83.5554 | 3.527 | 82.5 | 29.23 | 967.876 | 73.0349 | 6.4623
2020-08-11 20:00:00 | 1.914 | 89.3 | 2.298 | 105.4 | 2.886 | 99.2868 | 2.931 | 100.6 | 29.18 | 968.173 | 66.8669 | 8.2247
2020-08-11 20:15:00 | 3.838 | 92.9 | 4.384 | 110.8 | 4.712 | 104.374 | 4.897 | 101.4 | 29.37 | 968.469 | 67.62 | 11.3432
2020-08-11 20:30:00 | 3.641 | 110.8 | 4.267 | 130.2 | 4.639 | 122.648 | 4.744 | 115.9 | 29.24 | 969.211 | 68.2996 | 7.6262
2020-08-11 20:45:00 | 3.133 | 93.4 | 3.402 | 109.4 | 3.708 | 103.055 | 3.779 | 96.8 | 29.31 | 969.359 | 69.7309 | 4.4375
2020-08-11 21:00:00 | 3.598 | 101 | 3.909 | 119.9 | 4.084 | 112.946 | 4.161 | 105.3 | 29.26 | 969.359 | 70.8916 | 3.4288
2020-08-11 21:15:00 | 2.903 | 97.9 | 3.41 | 113.8 | 3.776 | 107.2 | 3.916 | 105.2 | 29.08 | 969.359 | 72.6641 | 2.7527
2020-08-11 21:30:00 | 3.736 | 116.1 | 3.952 | 134.1 | 4.3 | 126.322 | 4.303 | 119.4 | 28.92 | 969.062 | 72.2557 | 4.0459
2020-08-11 21:45:00 | 4.995 | 130.7 | 5.051 | 153.3 | 5.119 | 144.409 | 4.999 | 133.7 | 28.91 | 969.211 | 74.2325 | 8.2432
2020-08-11 22:00:00 | 5.046 | 127.3 | 5.53 | 143.3 | 5.989 | 134.989 | 5.941 | 130.7 | 28.7 | 969.359 | 73.9599 | 11.1141
2020-08-11 22:15:00 | 5.283 | 130.1 | 5.545 | 147.5 | 5.745 | 138.945 | 5.73 | 134.6 | 28.76 | 969.507 | 73.0061 | 12.193
2020-08-11 22:30:00 | 5.926 | 140.1 | 6.759 | 158.2 | 6.221 | 149.024 | 6 | 142 | 28.64 | 969.804 | 74.5399 | 15.3595
2020-08-11 22:45:00 | 5.51 | 129.4 | 6.22 | 149.6 | 6.297 | 140.923 | 6.264 | 132.2 | 28.48 | 969.359 | 74.9489 | 12.0156
2020-08-11 23:00:00 | 3.777 | 106.9 | 4.284 | 121 | 5.145 | 113.982 | 5.23 | 114.5 | 28.3 | 969.507 | 77.2324 | 12.6475
2020-08-11 23:15:00 | 5.505 | 111.5 | 6.401 | 129.6 | 7.304 | 122.083 | 7.413 | 118.6 | 28.21 | 969.062 | 76.5508 | 17.6761
2020-08-11 23:30:00 | 5.352 | 110.4 | 6.133 | 125.8 | 7.131 | 118.504 | 7.255 | 113.8 | 28.09 | 968.914 | 75.6646 | 21.2195
2020-08-11 23:45:00 | 5.52 | 106 | 6.389 | 121.7 | 7.658 | 114.641 | 7.747 | 114.8 | 27.94 | 968.469 | 78.2208 | 24.6631