## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-12 00:00:00 | 5.541 | 111.2 | 6.056 | 128.4 | 7.098 | 120.953 | 7.293 | 115.6 | 27.65 | 968.025 | 79.6523 | 26.7285
2020-08-12 00:15:00 | 5.344 | 101.7 | 6.092 | 112.8 | 6.297 | 106.258 | 6.356 | 111.4 | 27.39 | 967.9 | 81.4928 | 18.8548
2020-08-12 00:30:00 | 5.033 | 93.6 | 5.668 | 108.7 | 6.106 | 102.395 | 6.351 | 102.5 | 27.16 | 967.902 | 82.7539 | 10.8444
2020-08-12 00:45:00 | 4.382 | 91.8 | 4.967 | 108.3 | 5.686 | 102.019 | 5.971 | 101.2 | 27 | 967.82 | 83.6401 | 10.2089
2020-08-12 01:00:00 | 4.476 | 98.5 | 4.842 | 112.2 | 5.053 | 105.692 | 5.131 | 105 | 26.91 | 967.849 | 83.3674 | 11.406
2020-08-12 01:15:00 | 5.472 | 88.1 | 6.182 | 103.8 | 6.582 | 97.7796 | 6.926 | 97.3 | 26.91 | 967.679 | 83.9825 | 14.8939
2020-08-12 01:30:00 | 4.351 | 91.7 | 4.898 | 103.5 | 5.684 | 97.497 | 5.887 | 100.8 | 26.68 | 967.362 | 85.28 | 16.1021
2020-08-12 01:45:00 | 5.27 | 98.1 | 5.985 | 108.2 | 5.768 | 101.924 | 5.857 | 106.7 | 26.61 | 967.574 | 86.9861 | 23.5509
2020-08-12 02:00:00 | 5.852 | 102.5 | 7.102 | 119.3 | 7.81 | 112.381 | 8.12 | 109.2 | 26.61 | 967.4 | 85.2207 | 31.2325
2020-08-12 02:15:00 | 5.467 | 104.5 | 6.422 | 119.7 | 7.159 | 112.757 | 7.222 | 108.8 | 26.71 | 967.578 | 84.5384 | 27.316
2020-08-12 02:30:00 | 6.251 | 92.6 | 7.23 | 111.2 | 7.472 | 104.75 | 7.897 | 102 | 26.67 | 967.43 | 83.1719 | 30.1462
2020-08-12 02:45:00 | 6.029 | 96.3 | 7.048 | 111.1 | 7.139 | 104.656 | 7.23 | 104.1 | 26.65 | 967.415 | 79.6292 | 24.9956
2020-08-12 03:00:00 | 6.984 | 95.3 | 7.8 | 110.4 | 8.26 | 103.997 | 8.63 | 101.9 | 26.69 | 967.4 | 81.6743 | 23.9611
2020-08-12 03:15:00 | 6.649 | 95.8 | 8.01 | 108.8 | 8.65 | 102.49 | 8.82 | 103.5 | 26.67 | 967.43 | 82.4926 | 35.2119
2020-08-12 03:30:00 | 6.501 | 98.1 | 7.843 | 113.7 | 8.56 | 107.105 | 8.91 | 103.5 | 26.68 | 967.411 | 81.3305 | 40.1112
2020-08-12 03:45:00 | 6.649 | 99.3 | 7.831 | 113.2 | 8.86 | 106.634 | 9.35 | 106 | 26.67 | 966.832 | 84.0924 | 52.585
2020-08-12 04:00:00 | 8.97 | 100.4 | 9.98 | 112.8 | 9.97 | 106.258 | 10.38 | 105.9 | 26.53 | 966.682 | 84.7728 | 51.4988
2020-08-12 04:15:00 | 7.647 | 99.2 | 9.43 | 113.5 | 9.78 | 106.917 | 10.13 | 105.4 | 26.47 | 966.391 | 85.6262 | 53.907
2020-08-12 04:30:00 | 8.89 | 102.1 | 9.97 | 118.3 | 10.13 | 111.439 | 10.48 | 109.1 | 26.46 | 966.54 | 85.1167 | 51.5763
2020-08-12 04:45:00 | 7.867 | 100.3 | 8.73 | 115.3 | 9.36 | 108.613 | 9.86 | 107.6 | 26.36 | 966.684 | 86.0392 | 48.5798
2020-08-12 05:00:00 | 7.589 | 103.5 | 8.84 | 118.1 | 8.91 | 111.25 | 9.23 | 108.6 | 26.19 | 966.837 | 87.3005 | 43.832
2020-08-12 05:15:00 | 7.415 | 104.1 | 8.47 | 115.4 | 8.57 | 108.707 | 8.99 | 110.2 | 26.23 | 966.682 | 86.6542 | 44.8998
2020-08-12 05:30:00 | 7.216 | 103.7 | 8.01 | 118.4 | 8.93 | 111.533 | 9.34 | 110.2 | 26.22 | 966.837 | 87.8814 | 54.0557
2020-08-12 05:45:00 | 7.954 | 99.9 | 8.68 | 114.3 | 9.8 | 107.671 | 10.25 | 109.5 | 26.15 | 966.985 | 89.3801 | 47.0132
2020-08-12 06:00:00 | 6.396 | 103.7 | 7.34 | 120.4 | 8.53 | 113.417 | 8.83 | 110.5 | 26.07 | 966.97 | 90.3348 | 42.8179
2020-08-12 06:15:00 | 5.934 | 99.4 | 7.161 | 116.1 | 7.754 | 109.366 | 7.851 | 107.1 | 25.82 | 966.985 | 91.0857 | 43.3331
2020-08-12 06:30:00 | 7.742 | 106.2 | 8.39 | 123.4 | 9.23 | 116.243 | 9.54 | 112.9 | 25.75 | 966.985 | 91.3925 | 41.4155
2020-08-12 06:45:00 | 6.994 | 102.7 | 8.2 | 120.3 | 8.68 | 113.323 | 8.78 | 108.7 | 25.67 | 966.837 | 92.2107 | 45.8604
2020-08-12 07:00:00 | 7.106 | 108.5 | 7.557 | 125.3 | 8.32 | 118.033 | 8.46 | 114.3 | 25.61 | 967.133 | 92.7902 | 39.9228
2020-08-12 07:15:00 | 7.127 | 129.6 | 7.056 | 154.8 | 6.699 | 145.822 | 6.776 | 130.2 | 25.57 | 967.281 | 95.1082 | 36.7489
2020-08-12 07:30:00 | 5.684 | 121 | 5.742 | 148.8 | 5.564 | 140.17 | 5.582 | 115 | 25.23 | 966.982 | 98.3126 | 28.5759
2020-08-12 07:45:00 | 6.049 | 124.5 | 5.977 | 145.5 | 6.526 | 137.061 | 6.667 | 120.2 | 25.09 | 966.837 | 99.6084 | 21.1013
2020-08-12 08:00:00 | 7.167 | 138.9 | 7.549 | 156.3 | 7.452 | 147.235 | 7.298 | 141.4 | 24.7 | 966.985 | 99.8882 | 36.3697
2020-08-12 08:15:00 | 7.586 | 128.7 | 7.754 | 146.9 | 8.31 | 138.38 | 8.31 | 132.2 | 24.81 | 966.54 | 98.4289 | 38.6739
2020-08-12 08:30:00 | 6.652 | 119.7 | 7.48 | 138 | 8.1 | 129.996 | 8.15 | 124.6 | 24.74 | 966.837 | 99.8615 | 39.605
2020-08-12 08:45:00 | 6.917 | 119.9 | 7.069 | 138 | 7.828 | 129.996 | 7.894 | 120.5 | 24.74 | 966.54 | 99.8968 | 45.151
2020-08-12 09:00:00 | 7.282 | 107.3 | 8.4 | 120.3 | 8.93 | 113.323 | 9.19 | 112.1 | 24.73 | 966.243 | 99.8957 | 58.0297
2020-08-12 09:15:00 | 7.872 | 104.4 | 9.14 | 118.9 | 9.53 | 112.004 | 9.84 | 110.8 | 24.73 | 966.243 | 99.8972 | 62.8124
2020-08-12 09:30:00 | 9.61 | 92.6 | 11.36 | 107.7 | 12.4 | 101.453 | 12.86 | 101 | 24.91 | 966.54 | 97.0995 | 56.8452
2020-08-12 09:45:00 | 8.84 | 93.6 | 10.65 | 108.2 | 11.61 | 101.924 | 12.19 | 101.5 | 25 | 966.243 | 97.4427 | 52.1972
2020-08-12 10:00:00 | 9.63 | 95.8 | 10.9 | 110.2 | 11.7 | 103.808 | 12.26 | 102.2 | 25.26 | 966.391 | 97.0334 | 54.8758
2020-08-12 10:15:00 | 7.785 | 104.5 | 8.96 | 122.1 | 9.81 | 115.018 | 10.03 | 112.2 | 25.28 | 966.54 | 97.1011 | 69.1823
2020-08-12 10:30:00 | 8.01 | 103.5 | 9.55 | 121.9 | 10 | 114.83 | 10.17 | 113.3 | 25.46 | 966.985 | 95.9308 | 60.6102
2020-08-12 10:45:00 | 8.97 | 114.8 | 9.34 | 132.9 | 10 | 125.192 | 10.42 | 117.1 | 25.68 | 966.837 | 93.1993 | 62.5796
2020-08-12 11:00:00 | 9.19 | 112.4 | 10.3 | 134.9 | 12 | 127.076 | 12.33 | 117.8 | 25.81 | 966.837 | 92.6198 | 63.4866
2020-08-12 11:15:00 | 8.67 | 113.5 | 9.35 | 129.9 | 10.6 | 122.366 | 10.87 | 119.6 | 25.99 | 966.985 | 92.7902 | 60.5955
2020-08-12 11:30:00 | 9.26 | 114.5 | 10.12 | 134 | 10.85 | 126.228 | 11.09 | 119.3 | 26.01 | 966.985 | 94.0169 | 54.1701
2020-08-12 11:45:00 | 7.308 | 111.7 | 7.889 | 132.6 | 8.74 | 124.909 | 9.02 | 112.7 | 26 | 966.813 | 93.4948 | 52.2694
2020-08-12 12:00:00 | 6.136 | 107.5 | 7.058 | 127.8 | 8.13 | 120.388 | 8.29 | 112.3 | 26.04 | 966.734 | 94.6149 | 45.7754
2020-08-12 12:15:00 | 6.708 | 105.7 | 7.519 | 121.9 | 8.43 | 114.83 | 8.59 | 114.7 | 26.06 | 966.648 | 92.6381 | 52.4299
2020-08-12 12:30:00 | 6.317 | 113.4 | 6.816 | 136.9 | 7.792 | 128.96 | 7.973 | 116.7 | 26.25 | 966.881 | 93.0471 | 50.0467
2020-08-12 12:45:00 | 7.964 | 118.7 | 8.02 | 141.7 | 8.46 | 133.481 | 8.37 | 125.2 | 26.39 | 966.839 | 93.1834 | 55.1382
2020-08-12 13:00:00 | 7.331 | 113.9 | 8.21 | 133.5 | 8.94 | 125.757 | 9.14 | 117.4 | 26.57 | 966.839 | 91.8201 | 40.8354
2020-08-12 13:15:00 | 6.361 | 115.6 | 6.849 | 138.6 | 7.401 | 130.561 | 7.459 | 118.2 | 26.93 | 966.69 | 93.0455 | 31.735
2020-08-12 13:30:00 | 6.858 | 129.2 | 7.45 | 147.8 | 7.215 | 139.228 | 7.176 | 133 | 27.04 | 966.69 | 89.8362 | 27.8591
2020-08-12 13:45:00 | 7.737 | 137.2 | 7.57 | 156.7 | 7.701 | 147.611 | 7.576 | 139.7 | 27.26 | 966.69 | 90.1094 | 23.6064
2020-08-12 14:00:00 | 7.142 | 128 | 7.125 | 147.2 | 7.004 | 138.662 | 6.937 | 132.1 | 27.49 | 966.987 | 88.4736 | 23.3514
2020-08-12 14:15:00 | 7.157 | 133.3 | 7.14 | 155 | 6.327 | 146.01 | 6.213 | 136.3 | 28.01 | 967.195 | 87.4464 | 29.5054
2020-08-12 14:30:00 | 6.195 | 122.1 | 6.437 | 141.7 | 6.322 | 133.481 | 6.193 | 126 | 28.35 | 967.139 | 84.4637 | 29.6585
2020-08-12 14:45:00 | 6.509 | 129.2 | 6.734 | 152.9 | 6.18 | 144.032 | 6.142 | 129.6 | 28.66 | 966.84 | 85.0085 | 32.9248
2020-08-12 15:00:00 | 5.921 | 128.7 | 6.77 | 152.1 | 6.495 | 143.278 | 6.43 | 130.3 | 28.46 | 966.544 | 82.5213 | 29.9393
2020-08-12 15:15:00 | 7.132 | 131.5 | 7.314 | 150.8 | 7.057 | 142.054 | 6.998 | 135.5 | 28.76 | 966.248 | 83.8842 | 24.2936
2020-08-12 15:30:00 | 5.061 | 138.5 | 5.734 | 155.5 | 5 | 146.481 | 4.757 | 141.7 | 29 | 966.396 | 83.2028 | 26.4108
2020-08-12 15:45:00 | 6.894 | 138.9 | 6.982 | 157 | 6.457 | 147.894 | 6.313 | 143.4 | 28.89 | 966.396 | 82.385 | 23.03
2020-08-12 16:00:00 | 7.538 | 134.4 | 7.951 | 151.4 | 7.65 | 142.619 | 7.443 | 138.8 | 29 | 966.099 | 80.3748 | 28.2138
2020-08-12 16:15:00 | 6.118 | 126.4 | 6.133 | 146.9 | 5.605 | 138.38 | 5.495 | 131.6 | 29.18 | 966.692 | 81.1585 | 29.0784
2020-08-12 16:30:00 | 8.71 | 134.1 | 8.85 | 149.3 | 9.11 | 140.641 | 9 | 139.3 | 29.13 | 966.396 | 80.954 | 32.1119
2020-08-12 16:45:00 | 7.765 | 130.5 | 7.981 | 149.6 | 8.74 | 140.923 | 8.66 | 137.1 | 29.17 | 966.099 | 79.6593 | 27.3234
2020-08-12 17:00:00 | 7.627 | 131.5 | 7.892 | 148.6 | 7.828 | 139.981 | 7.726 | 136.3 | 29.13 | 966.544 | 79.7275 | 23.1039
2020-08-12 17:15:00 | 6.659 | 129.6 | 6.782 | 149.8 | 7.037 | 141.112 | 7.039 | 131.9 | 29.17 | 966.248 | 80 | 17.7759
2020-08-12 17:30:00 | 7.882 | 132.4 | 8.06 | 149.5 | 7.823 | 140.829 | 7.836 | 135.2 | 29.17 | 965.803 | 81.431 | 21.3266
2020-08-12 17:45:00 | 4.839 | 119.4 | 5.09 | 138.1 | 5.213 | 130.09 | 5.154 | 124 | 28.97 | 965.803 | 83.7479 | 26.3036
2020-08-12 18:00:00 | 5.426 | 121.7 | 5.289 | 144 | 5.152 | 135.648 | 5.108 | 123.7 | 28.67 | 965.21 | 84.293 | 30.0465
2020-08-12 18:15:00 | 6.608 | 124.4 | 6.859 | 142.7 | 7.098 | 134.423 | 7.084 | 129.5 | 28.37 | 964.788 | 83.6603 | 34.4914
2020-08-12 18:30:00 | 7.474 | 121.2 | 8.13 | 138.8 | 8.71 | 130.75 | 8.87 | 126 | 28.29 | 964.761 | 85.206 | 51.6983
2020-08-12 18:45:00 | 9.14 | 134.3 | 9.66 | 152.2 | 9.69 | 143.372 | 9.54 | 136.4 | 28.03 | 964.169 | 86.2229 | 60.2777
2020-08-12 19:00:00 | 9.98 | 130.2 | 10.11 | 147.8 | 9.8 | 139.228 | 9.74 | 133 | 27.83 | 964.021 | 86.912 | 64.1573
2020-08-12 19:15:00 | 9.07 | 131.3 | 9.82 | 151.9 | 9.56 | 143.09 | 9.54 | 135 | 27.62 | 964.318 | 88.2072 | 57.3351
2020-08-12 19:30:00 | 9.39 | 132 | 9.87 | 150.7 | 10.02 | 141.959 | 9.99 | 135 | 27.57 | 964.188 | 88.6162 | 47.7743
2020-08-12 19:45:00 | 8.89 | 131.5 | 9.2 | 149.1 | 9.72 | 140.452 | 9.72 | 134.6 | 27.54 | 964.325 | 89.5024 | 53.6159
2020-08-12 20:00:00 | 9.03 | 132.9 | 9.49 | 149.6 | 9.2 | 140.923 | 9.09 | 136.9 | 27.39 | 964.699 | 90.0477 | 58.5117
2020-08-12 20:15:00 | 9.27 | 130.1 | 9.64 | 143.4 | 9.67 | 135.083 | 9.58 | 136.3 | 27.22 | 964.837 | 90.593 | 37.1738
2020-08-12 20:30:00 | 8.11 | 129.7 | 8.38 | 143.7 | 9.45 | 135.365 | 9.47 | 136.2 | 27.17 | 964.286 | 91.1384 | 45.6461
2020-08-12 20:45:00 | 8.13 | 133.8 | 8.49 | 150.1 | 8.85 | 141.394 | 8.83 | 138.4 | 27.14 | 965.131 | 92.229 | 38.1308
2020-08-12 21:00:00 | 8.77 | 135.9 | 8.56 | 153.5 | 8.58 | 144.597 | 8.54 | 141.3 | 26.96 | 965.133 | 93.7303 | 48.2436
2020-08-12 21:15:00 | 8.58 | 131.2 | 8.58 | 148.2 | 8.81 | 139.604 | 8.64 | 135.7 | 26.79 | 964.605 | 96.0485 | 50.8559
2020-08-12 21:30:00 | 8.86 | 133.8 | 9.33 | 149.3 | 9.74 | 140.641 | 9.68 | 139.7 | 25.99 | 964.315 | 99.5727 | 52.8732
2020-08-12 21:45:00 | 7.54 | 131.9 | 8.02 | 149 | 8.4 | 140.358 | 8.4 | 136.8 | 26.07 | 963.87 | 99.8806 | 57.5583
2020-08-12 22:00:00 | 9.36 | 142.3 | 9.19 | 160.1 | 8.91 | 150.814 | 8.83 | 146.4 | 25.98 | 964.151 | 99.8807 | 58.7427
2020-08-12 22:15:00 | 9.6 | 141.2 | 9.85 | 158 | 10.29 | 148.836 | 10.22 | 146.6 | 25.8 | 963.87 | 99.8807 | 58.6594
2020-08-12 22:30:00 | 8.83 | 147.8 | 9.04 | 165.8 | 9.01 | 156.184 | 8.92 | 151.1 | 25.79 | 964.167 | 99.8807 | 48.0884
2020-08-12 22:45:00 | 8.92 | 148.4 | 9.26 | 164.9 | 9.64 | 155.336 | 9.6 | 152.6 | 25.74 | 963.87 | 99.8807 | 55.5637
2020-08-12 23:00:00 | 9.93 | 159.3 | 10.34 | 170.2 | 9.25 | 160.328 | 9.03 | 166.6 | 25.79 | 964.463 | 99.8807 | 54.0297
2020-08-12 23:15:00 | 9.39 | 173 | 9.3 | 188.9 | 9.22 | 177.944 | 9.33 | 174.1 | 25.75 | 964.167 | 99.8807 | 53.7436
2020-08-12 23:30:00 | 9.25 | 175.1 | 9.03 | 190.4 | 8.5 | 179.357 | 8.58 | 174.5 | 25.66 | 964.315 | 99.8807 | 48.6094
2020-08-12 23:45:00 | 8.66 | 170.5 | 8.41 | 188.8 | 7.983 | 177.85 | 7.968 | 173.8 | 25.68 | 964.167 | 99.8807 | 44.0426