## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-13 00:00:00 | 9.47 | 179.2 | 8.83 | 197.2 | 8.17 | 185.762 | 8.02 | 177.8 | 25.56 | 963.87 | 99.8807 | 45.3542
2020-08-13 00:15:00 | 7.818 | 177.4 | 7.935 | 192 | 7.319 | 180.864 | 7.296 | 177.3 | 25.52 | 964.018 | 99.8807 | 42.7235
2020-08-13 00:30:00 | 8.67 | 175 | 8.58 | 191.4 | 7.815 | 180.299 | 7.8 | 175.4 | 25.33 | 963.425 | 99.8807 | 43.2038
2020-08-13 00:45:00 | 9.2 | 174.1 | 9.3 | 190 | 9.63 | 178.98 | 9.69 | 177.2 | 25.3 | 963.425 | 99.8807 | 38.0384
2020-08-13 01:00:00 | 9.01 | 176 | 8.62 | 191.9 | 8.48 | 180.77 | 8.49 | 177 | 25.26 | 963.128 | 99.8807 | 43.2503
2020-08-13 01:15:00 | 10.54 | 178.3 | 10.49 | 192.2 | 10.1 | 181.052 | 10.15 | 179.7 | 25.25 | 962.98 | 99.8822 | 47.8187
2020-08-13 01:30:00 | 10.15 | 177.5 | 10 | 191.8 | 10 | 180.676 | 10.03 | 180.3 | 25.25 | 962.832 | 99.8829 | 44.9869
2020-08-13 01:45:00 | 10.34 | 177.9 | 10.13 | 192 | 10.1 | 180.864 | 10.25 | 180 | 25.26 | 962.683 | 99.8807 | 42.4612
2020-08-13 02:00:00 | 10.66 | 177.6 | 10.47 | 192.8 | 10.54 | 181.618 | 10.65 | 180.5 | 25.3 | 963.128 | 99.8467 | 48.1238
2020-08-13 02:15:00 | 10.28 | 175.6 | 10.04 | 188.6 | 10.07 | 177.661 | 10.11 | 179.2 | 25.29 | 962.535 | 99.8808 | 47.815
2020-08-13 02:30:00 | 9.72 | 175.3 | 9.42 | 190.8 | 9.64 | 179.734 | 9.71 | 178.2 | 25.32 | 962.683 | 99.8483 | 42.1138
2020-08-13 02:45:00 | 10.13 | 174.8 | 9.62 | 190.3 | 9.38 | 179.263 | 9.45 | 179.5 | 25.3 | 962.832 | 99.8807 | 38.5262
2020-08-13 03:00:00 | 9.67 | 177.6 | 9.9 | 190.6 | 10.18 | 179.545 | 10.3 | 182.8 | 25.3 | 962.683 | 99.8809 | 43.3221
2020-08-13 03:15:00 | 11.05 | 179.1 | 10.64 | 194.4 | 10.37 | 183.125 | 10.51 | 181.9 | 25.31 | 962.683 | 99.8814 | 46.2875
2020-08-13 03:30:00 | 10.9 | 178.1 | 10.66 | 191 | 10.13 | 179.922 | 10.32 | 182.2 | 25.3 | 961.645 | 99.8811 | 54.8365
2020-08-13 03:45:00 | 11.1 | 178.1 | 10.99 | 191.5 | 10.68 | 180.393 | 10.74 | 180.6 | 25.3 | 962.535 | 99.8824 | 50.023
2020-08-13 04:00:00 | 10.02 | 177.9 | 9.61 | 193 | 9.57 | 181.806 | 9.62 | 178.2 | 25.26 | 962.238 | 99.8807 | 55.2047
2020-08-13 04:15:00 | 10.15 | 177.9 | 9.56 | 193.9 | 9.05 | 182.654 | 8.99 | 179 | 25.25 | 962.386 | 99.8807 | 50.9909
2020-08-13 04:30:00 | 10.02 | 177.9 | 9.07 | 193.4 | 8.88 | 182.183 | 8.97 | 177.5 | 25.25 | 961.942 | 99.8473 | 58.9502
2020-08-13 04:45:00 | 9.23 | 164 | 9.05 | 178.7 | 9.04 | 168.335 | 8.91 | 166.6 | 25.24 | 961.942 | 99.881 | 59.3983
2020-08-13 05:00:00 | 10.69 | 177.1 | 10.3 | 193.5 | 9.43 | 182.277 | 9.53 | 178.7 | 25.25 | 962.238 | 99.8811 | 62.9187
2020-08-13 05:15:00 | 11.25 | 176.5 | 10.46 | 195.3 | 10.01 | 183.973 | 10.16 | 175.6 | 25.25 | 962.386 | 99.8807 | 65.4642
2020-08-13 05:30:00 | 12.62 | 175.9 | 12.46 | 190.2 | 12.26 | 179.168 | 12.33 | 177.7 | 25.25 | 961.497 | 99.8807 | 71.7515
2020-08-13 05:45:00 | 12.59 | 175.2 | 12.04 | 189.6 | 12.08 | 178.603 | 12.14 | 178.4 | 25.25 | 962.238 | 99.8813 | 72.663
2020-08-13 06:00:00 | 11.89 | 172.7 | 11.56 | 187.9 | 11.74 | 177.002 | 11.87 | 178.5 | 25.26 | 962.98 | 99.8812 | 64.2534
2020-08-13 06:15:00 | 11.25 | 174.1 | 10.88 | 188.4 | 10.84 | 177.473 | 11.06 | 180.4 | 25.26 | 962.832 | 99.8814 | 50.8743
2020-08-13 06:30:00 | 10.8 | 172.2 | 10.79 | 185.3 | 10.66 | 174.553 | 10.84 | 178.6 | 25.26 | 962.832 | 99.8466 | 45.9269
2020-08-13 06:45:00 | 10.99 | 171.3 | 10.89 | 185.2 | 11.06 | 174.458 | 11.12 | 173.3 | 25.26 | 962.832 | 99.8813 | 33.1982
2020-08-13 07:00:00 | 10.2 | 168.6 | 9.92 | 187.5 | 9.77 | 176.625 | 9.82 | 171.3 | 25.26 | 962.683 | 99.9491 | 26.0191
2020-08-13 07:15:00 | 11.17 | 174.6 | 10.99 | 186.3 | 10.2 | 175.495 | 10.24 | 177.4 | 25.25 | 962.535 | 99.8469 | 29.4849
2020-08-13 07:30:00 | 10.97 | 175.5 | 10.43 | 192.4 | 9.95 | 181.241 | 9.87 | 176.1 | 25.24 | 962.98 | 99.8821 | 36.0617
2020-08-13 07:45:00 | 10.84 | 171.8 | 10.42 | 190.2 | 9.54 | 179.168 | 9.56 | 174.6 | 25.19 | 962.683 | 99.8807 | 50.9778
2020-08-13 08:00:00 | 8.14 | 166.2 | 8.11 | 182.3 | 7.932 | 171.727 | 8.03 | 169.1 | 25.22 | 962.98 | 99.8811 | 48.3249
2020-08-13 08:15:00 | 8.81 | 165.4 | 8.59 | 186.3 | 8.35 | 175.495 | 8.51 | 170 | 25.22 | 963.128 | 99.8807 | 53.1862
2020-08-13 08:30:00 | 8.98 | 169.4 | 8.9 | 188.3 | 8.21 | 177.379 | 8.28 | 173.8 | 25.19 | 963.128 | 99.881 | 57.1445
2020-08-13 08:45:00 | 9.45 | 171.2 | 9.13 | 188.9 | 8.62 | 177.944 | 8.73 | 175.7 | 25.25 | 962.683 | 99.8807 | 58.9143
2020-08-13 09:00:00 | 9.33 | 168.1 | 9.37 | 181.5 | 9.1 | 170.973 | 9.14 | 173 | 25.36 | 962.98 | 99.8807 | 59.753
2020-08-13 09:15:00 | 10.51 | 174.8 | 10.13 | 190.8 | 10.32 | 179.734 | 10.43 | 178.3 | 25.46 | 962.831 | 99.8807 | 59.6487
2020-08-13 09:30:00 | 10.91 | 176.1 | 10.5 | 192.8 | 10.47 | 181.618 | 10.53 | 178 | 25.59 | 962.98 | 99.8807 | 50.9593
2020-08-13 09:45:00 | 10.62 | 176 | 10.59 | 191.4 | 10.52 | 180.299 | 10.64 | 179.8 | 25.55 | 962.832 | 99.8807 | 44.7298
2020-08-13 10:00:00 | 11.16 | 174.9 | 11.18 | 189.7 | 11.21 | 178.697 | 11.23 | 180.5 | 25.55 | 962.83 | 99.8807 | 42.8306
2020-08-13 10:15:00 | 9.94 | 174.7 | 9.94 | 188 | 9.88 | 177.096 | 10.01 | 179.9 | 25.72 | 962.98 | 99.8807 | 42.8011
2020-08-13 10:30:00 | 10.66 | 172.7 | 10.32 | 188.3 | 10.28 | 177.379 | 10.34 | 176 | 26.09 | 963.276 | 99.8807 | 47.2443
2020-08-13 10:45:00 | 10.96 | 175.1 | 10.66 | 188.3 | 10.57 | 177.379 | 10.71 | 181.1 | 26.14 | 963.425 | 99.8761 | 41.519
2020-08-13 11:00:00 | 10.83 | 176.2 | 10.44 | 190.7 | 10.19 | 179.639 | 10.32 | 181.4 | 26.3 | 963.352 | 99.7957 | 40.5731
2020-08-13 11:15:00 | 9.83 | 176.4 | 9.9 | 187 | 9.43 | 176.154 | 9.54 | 182.7 | 26.61 | 963.22 | 98.773 | 34.7057
2020-08-13 11:30:00 | 9.63 | 173.6 | 9.59 | 187.2 | 9.48 | 176.342 | 9.62 | 180.2 | 26.6 | 962.783 | 99.4888 | 36.4755
2020-08-13 11:45:00 | 10.65 | 174.4 | 9.92 | 188.4 | 9.38 | 177.473 | 9.38 | 177.1 | 26.78 | 962.752 | 98.364 | 38.2638
2020-08-13 12:00:00 | 10.08 | 174.1 | 9.79 | 188.7 | 9.51 | 177.755 | 9.54 | 177.1 | 26.91 | 962.551 | 98.5004 | 43.6235
2020-08-13 12:15:00 | 10.9 | 175.1 | 10.59 | 190.7 | 10.34 | 179.639 | 10.44 | 178.9 | 27.09 | 962.835 | 97.137 | 43.2012
2020-08-13 12:30:00 | 10.14 | 174.6 | 9.88 | 189.1 | 9.7 | 178.132 | 9.76 | 179.3 | 27.47 | 962.39 | 96.3872 | 44.885
2020-08-13 12:45:00 | 10.78 | 179 | 10.54 | 190.2 | 10.1 | 179.168 | 10.22 | 184.4 | 27.67 | 962.835 | 93.7943 | 43.9042
2020-08-13 13:00:00 | 9.24 | 180.5 | 9.32 | 192.3 | 8.91 | 181.147 | 8.95 | 186.8 | 27.83 | 962.687 | 94.029 | 23.998
2020-08-13 13:15:00 | 10.32 | 187 | 9.77 | 199 | 9.03 | 187.458 | 9.14 | 193.3 | 27.81 | 962.835 | 96.244 | 12.9504
2020-08-13 13:30:00 | 5.515 | 295.7 | 5.596 | 311.9 | 5.519 | 293.81 | 5.602 | 293.2 | 25.11 | 963.28 | 99.8636 | 34.8138
2020-08-13 13:45:00 | 7.16 | 256.4 | 7.889 | 272.2 | 9.38 | 256.412 | 9.47 | 256.1 | 24.6 | 961.927 | 99.8636 | 13.8741
2020-08-13 14:00:00 | 5.454 | 252.9 | 5.946 | 266.3 | 6.035 | 250.855 | 5.982 | 253.2 | 24.68 | 962.089 | 99.8797 | 6.5436
2020-08-13 14:15:00 | 4.129 | 238.8 | 4.379 | 254 | 4.852 | 239.268 | 4.971 | 243.4 | 24.62 | 961.942 | 99.8807 | 6.4992
2020-08-13 14:30:00 | 4.101 | 214.3 | 4.54 | 221.5 | 5.272 | 208.653 | 5.531 | 221.6 | 24.5 | 962.09 | 99.8811 | 6.8909
2020-08-13 14:45:00 | 4.198 | 193.6 | 4.08 | 203.8 | 3.731 | 191.98 | 3.983 | 204.2 | 24.5 | 961.793 | 99.8842 | 4.7885
2020-08-13 15:00:00 | 4.264 | 204.2 | 4.231 | 211.3 | 4.796 | 199.045 | 5.062 | 214.1 | 24.23 | 961.942 | 99.9231 | 4.6444
2020-08-13 15:15:00 | 3.733 | 187.1 | 3.392 | 188.7 | 3.441 | 177.755 | 3.692 | 201.2 | 24.37 | 961.645 | 99.8932 | 1.3375
2020-08-13 15:30:00 | 3.557 | 214.7 | 3.796 | 217.9 | 4.064 | 205.262 | 4.245 | 227.6 | 24.57 | 961.793 | 99.8887 | -0.029559
2020-08-13 15:45:00 | 1.4 | 202.5 | 1.525 | 200.6 | 2.072 | 188.965 | 2.47 | 218.1 | 24.77 | 962.09 | 99.8812 | -0.28081
2020-08-13 16:00:00 | 3.054 | 190.2 | 2.536 | 199.3 | 2.56 | 187.741 | 2.898 | 200.5 | 24.99 | 962.231 | 99.8807 | 0.19213
2020-08-13 16:15:00 | 2.597 | 191.4 | 2.702 | 200.4 | 3.156 | 188.777 | 3.476 | 203.7 | 24.95 | 962.238 | 99.8807 | 0.96805
2020-08-13 16:30:00 | 3.958 | 172.5 | 3.76 | 183.1 | 3.591 | 172.48 | 3.557 | 183 | 25.03 | 962.238 | 99.8807 | 3.0667
2020-08-13 16:45:00 | 3.603 | 164.1 | 3.791 | 173.8 | 3.438 | 163.72 | 3.361 | 178.9 | 24.71 | 962.09 | 99.8807 | 3.2552
2020-08-13 17:00:00 | 3.289 | 162 | 3.223 | 175.5 | 2.828 | 165.321 | 2.968 | 172.3 | 24.7 | 962.09 | 99.8807 | 1.5445
2020-08-13 17:15:00 | 3.404 | 182.6 | 3.172 | 185.5 | 2.774 | 174.741 | 3.012 | 192.3 | 24.7 | 962.087 | 99.8807 | 0.062812
2020-08-13 17:30:00 | 2.086 | 178.7 | 1.935 | 181.6 | 2.235 | 171.067 | 2.411 | 200 | 24.7 | 962.09 | 99.8807 | -0.022169
2020-08-13 17:45:00 | 1.862 | 181.7 | 1.608 | 182.1 | 2.187 | 171.538 | 2.416 | 199.9 | 24.7 | 962.089 | 99.8807 | 0.081287
2020-08-13 18:00:00 | 2.368 | 164.6 | 2.797 | 181.5 | 2.868 | 170.973 | 2.938 | 173.4 | 24.9 | 962.09 | 99.8807 | 2.6307
2020-08-13 18:15:00 | 2.898 | 157.3 | 3.016 | 173.2 | 3.807 | 163.154 | 3.774 | 166.6 | 24.88 | 962.09 | 99.8807 | 4.7183
2020-08-13 18:30:00 | 4.223 | 154.5 | 4.471 | 166.5 | 4.206 | 156.843 | 4.026 | 164.5 | 24.83 | 961.793 | 99.8807 | 4.637
2020-08-13 18:45:00 | 3.498 | 152.5 | 4.292 | 168.4 | 4.008 | 158.633 | 3.883 | 163.9 | 24.72 | 962.238 | 99.8811 | 7.1939
2020-08-13 19:00:00 | 5.025 | 155 | 5.021 | 166.1 | 4.682 | 156.466 | 4.601 | 162.8 | 24.85 | 962.238 | 99.8814 | 7.3232
2020-08-13 19:15:00 | 2.806 | 164.2 | 3.2 | 175.9 | 3.792 | 165.698 | 3.812 | 171.5 | 24.71 | 962.386 | 99.8846 | 5.2947
2020-08-13 19:30:00 | 2.794 | 177.3 | 3.507 | 185.5 | 3.736 | 174.741 | 3.873 | 188.2 | 24.67 | 962.535 | 99.8857 | 8.8085
2020-08-13 19:45:00 | 4.915 | 151.1 | 5.522 | 164.2 | 5.582 | 154.676 | 5.455 | 164.1 | 24.71 | 962.535 | 99.8885 | 16.1169
2020-08-13 20:00:00 | 5.094 | 146.5 | 5.535 | 162.3 | 6.149 | 152.887 | 6.185 | 158.3 | 24.57 | 962.535 | 99.8915 | 20.4842
2020-08-13 20:15:00 | 7.088 | 154.2 | 7.375 | 168.9 | 7.378 | 159.104 | 7.306 | 162.5 | 24.65 | 962.683 | 99.8958 | 21.8883
2020-08-13 20:30:00 | 5.097 | 154.8 | 5.417 | 172.6 | 5.358 | 162.589 | 5.271 | 162.9 | 24.71 | 962.832 | 99.8973 | 15.9026
2020-08-13 20:45:00 | 4.609 | 177.9 | 4.809 | 190.3 | 4.898 | 179.263 | 5.113 | 183.7 | 24.87 | 962.832 | 99.8951 | 12.5329
2020-08-13 21:00:00 | 4.969 | 176.1 | 5.494 | 183.4 | 5.287 | 172.763 | 5.368 | 186.3 | 25.09 | 962.98 | 99.8942 | 11.2323
2020-08-13 21:15:00 | 3.327 | 177.8 | 3.397 | 188.6 | 3.957 | 177.661 | 4.176 | 189.5 | 25.07 | 963.128 | 99.8947 | 8.8602
2020-08-13 21:30:00 | 4.974 | 183.5 | 5.259 | 190.2 | 4.87 | 179.168 | 5.019 | 195.7 | 25.43 | 962.98 | 98.5933 | 7.2086
2020-08-13 21:45:00 | 3.861 | 198.5 | 4.323 | 206.6 | 5.015 | 194.617 | 5.37 | 206.9 | 25.68 | 962.683 | 98.6231 | 7.4894
2020-08-13 22:00:00 | 3.999 | 194.7 | 4.596 | 204.9 | 4.982 | 193.016 | 5.228 | 202.2 | 26.13 | 962.98 | 98.1774 | 6.1482
2020-08-13 22:15:00 | 3.838 | 190.9 | 4.116 | 203.3 | 4.56 | 191.509 | 4.78 | 199.3 | 26.12 | 962.98 | 98.3808 | 6.6988
2020-08-13 22:30:00 | 3.669 | 180.8 | 4.249 | 191.2 | 4.298 | 180.11 | 4.477 | 192.3 | 26.06 | 962.832 | 99.0967 | 8.5018
2020-08-13 22:45:00 | 3.583 | 185.1 | 4.177 | 196.4 | 4.771 | 185.009 | 5.08 | 194.8 | 26.09 | 962.683 | 98.4149 | 9.2814
2020-08-13 23:00:00 | 4.512 | 182.9 | 5.205 | 191.7 | 5.099 | 180.581 | 5.292 | 192 | 26.02 | 962.535 | 98.9944 | 13.9702
2020-08-13 23:15:00 | 5.538 | 182.5 | 5.765 | 188.5 | 5.572 | 177.567 | 5.809 | 191.3 | 26.11 | 962.535 | 95.79 | 16.7155
2020-08-13 23:30:00 | 6.667 | 175.4 | 6.499 | 185.7 | 6.068 | 174.929 | 6.188 | 185.4 | 26.43 | 962.683 | 95.381 | 21.2306
2020-08-13 23:45:00 | 6.56 | 169.9 | 6.667 | 177.7 | 6.658 | 167.393 | 6.837 | 179.1 | 26.07 | 962.66 | 95.8241 | 17.8757