## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-14 00:00:00 | 5.814 | 171.6 | 5.772 | 180.4 | 5.938 | 169.937 | 6.213 | 183.9 | 26.06 | 962.832 | 97.699 | 14.2658
2020-08-14 00:15:00 | 5.15 | 166.7 | 5.501 | 175.4 | 5.75 | 165.227 | 5.974 | 177.2 | 25.96 | 962.683 | 99.8807 | 15.2338
2020-08-14 00:30:00 | 4.688 | 155.1 | 5.376 | 168.4 | 5.801 | 158.633 | 5.811 | 169.1 | 25.38 | 962.683 | 99.8807 | 12.8322
2020-08-14 00:45:00 | 4.361 | 168.3 | 4.809 | 179.1 | 4.445 | 168.712 | 4.426 | 179 | 25.51 | 962.386 | 99.8807 | 8.6312
2020-08-14 01:00:00 | 3.759 | 167.7 | 4.2 | 175.9 | 3.929 | 165.698 | 4.005 | 178.6 | 25.39 | 962.535 | 99.8807 | 9.3369
2020-08-14 01:15:00 | 4.078 | 172.8 | 4.911 | 183.7 | 4.888 | 173.045 | 5.09 | 183.8 | 25.35 | 962.683 | 99.8811 | 9.3406
2020-08-14 01:30:00 | 4.701 | 161.3 | 5.031 | 175 | 5.47 | 164.85 | 5.551 | 173.8 | 25.26 | 962.683 | 99.8807 | 12.0119
2020-08-14 01:45:00 | 6.026 | 160.1 | 6.455 | 169.9 | 6.411 | 160.046 | 6.443 | 176.2 | 25.24 | 962.386 | 99.8823 | 18.3338
2020-08-14 02:00:00 | 5.561 | 151.1 | 6.028 | 164.2 | 6.554 | 154.676 | 6.557 | 160.1 | 24.97 | 962.386 | 99.8807 | 20.632
2020-08-14 02:15:00 | 4.923 | 149.7 | 5.169 | 164.1 | 6.104 | 154.582 | 6.04 | 156.3 | 24.97 | 962.535 | 99.8821 | 18.1749
2020-08-14 02:30:00 | 5.717 | 147.2 | 6.038 | 164.1 | 6.531 | 154.582 | 6.494 | 152.5 | 24.97 | 962.09 | 99.8859 | 24.2234
2020-08-14 02:45:00 | 5.674 | 147.1 | 5.934 | 164.3 | 6.49 | 154.771 | 6.427 | 151.6 | 24.98 | 962.386 | 99.8838 | 23.514
2020-08-14 03:00:00 | 6.052 | 155.5 | 6.432 | 172.5 | 6.897 | 162.495 | 6.802 | 159.2 | 24.98 | 962.09 | 99.887 | 19.6787
2020-08-14 03:15:00 | 6.399 | 156.2 | 6.892 | 169.7 | 7.215 | 159.857 | 7.138 | 162.8 | 24.94 | 962.386 | 99.887 | 15.3151
2020-08-14 03:30:00 | 6.601 | 157.1 | 6.511 | 169.9 | 6.243 | 160.046 | 6.137 | 162.7 | 24.81 | 962.238 | 99.8893 | 14.8311
2020-08-14 03:45:00 | 5.518 | 164.6 | 5.604 | 176.8 | 5.468 | 166.546 | 5.567 | 172.2 | 24.72 | 962.386 | 99.8871 | 17.1884
2020-08-14 04:00:00 | 5.778 | 159.3 | 5.66 | 177.3 | 5.608 | 167.017 | 5.564 | 165.4 | 24.7 | 962.535 | 99.8609 | 16.3756
2020-08-14 04:15:00 | 5.745 | 155.8 | 6.033 | 168.3 | 6.549 | 158.539 | 6.516 | 163.7 | 24.72 | 962.386 | 99.8965 | 14.1032
2020-08-14 04:30:00 | 5.556 | 154.3 | 6.159 | 166.7 | 6.226 | 157.031 | 6.208 | 163.6 | 24.84 | 962.238 | 99.8952 | 15.4371
2020-08-14 04:45:00 | 6.685 | 161.8 | 6.522 | 171.9 | 5.803 | 161.93 | 5.903 | 171.2 | 24.97 | 962.683 | 99.8611 | 17.8904
2020-08-14 05:00:00 | 6.412 | 164.4 | 6.176 | 174.6 | 5.409 | 164.473 | 5.368 | 174.8 | 24.99 | 962.683 | 99.8918 | 19.0285
2020-08-14 05:15:00 | 7.167 | 155 | 7.23 | 169.2 | 6.75 | 159.386 | 6.593 | 164.9 | 24.74 | 962.683 | 99.8908 | 14.7535
2020-08-14 05:30:00 | 5.222 | 158.5 | 5.806 | 171.2 | 6.371 | 161.27 | 6.483 | 169 | 24.66 | 962.98 | 99.8944 | 17.5431
2020-08-14 05:45:00 | 5.638 | 152.5 | 6.079 | 168.9 | 6.325 | 159.104 | 6.387 | 161.8 | 24.62 | 963.276 | 99.8954 | 18.0124
2020-08-14 06:00:00 | 6.146 | 149.1 | 6.299 | 164.9 | 6.544 | 155.336 | 6.44 | 154.3 | 24.59 | 963.425 | 99.8946 | 16.6859
2020-08-14 06:15:00 | 5.975 | 151.2 | 6.317 | 168.4 | 6.488 | 158.633 | 6.445 | 157.8 | 24.71 | 963.425 | 99.8853 | 19.1504
2020-08-14 06:30:00 | 6.292 | 152.1 | 6.598 | 168.6 | 6.569 | 158.821 | 6.504 | 158.9 | 24.81 | 963.425 | 99.8809 | 21.7035
2020-08-14 06:45:00 | 6.233 | 150.9 | 6.199 | 168.5 | 6.752 | 158.727 | 6.69 | 157.9 | 24.84 | 963.573 | 99.8807 | 22.1321
2020-08-14 07:00:00 | 7.464 | 150.7 | 7.35 | 165.7 | 7.207 | 156.089 | 7.128 | 158.4 | 24.87 | 963.834 | 99.9489 | 25.2136
2020-08-14 07:15:00 | 6.126 | 152.5 | 6.522 | 169 | 6.477 | 159.198 | 6.445 | 160.1 | 24.88 | 963.999 | 99.8806 | 18.9102
2020-08-14 07:30:00 | 6.006 | 152.4 | 6.077 | 168.4 | 6.452 | 158.633 | 6.376 | 160 | 25.09 | 964.018 | 99.8786 | 18.659
2020-08-14 07:45:00 | 6.527 | 151.5 | 6.399 | 167.2 | 6.422 | 157.502 | 6.303 | 159.3 | 25.22 | 964.492 | 99.8648 | 14.0774
2020-08-14 08:00:00 | 6.317 | 151.2 | 6.263 | 168 | 6.154 | 158.256 | 6.056 | 157.6 | 25.51 | 964.621 | 99.8978 | 14.6833
2020-08-14 08:15:00 | 7.009 | 148.6 | 6.78 | 163.9 | 6.053 | 154.394 | 5.826 | 155.4 | 25.44 | 964.763 | 99.8637 | 14.2104
2020-08-14 08:30:00 | 6.325 | 150.1 | 6.166 | 165.1 | 5.768 | 155.524 | 5.679 | 158.5 | 25.73 | 965.059 | 98.773 | 15.729
2020-08-14 08:45:00 | 7.127 | 145.7 | 7.199 | 161.2 | 7.073 | 151.85 | 6.876 | 153.5 | 25.89 | 964.911 | 98.7019 | 19.3351
2020-08-14 09:00:00 | 8.05 | 146.4 | 7.915 | 162.4 | 7.759 | 152.981 | 7.54 | 152.9 | 26.19 | 964.911 | 96.9288 | 22.3686
2020-08-14 09:15:00 | 8.22 | 146.9 | 7.976 | 163 | 7.892 | 153.546 | 7.825 | 152.4 | 26.55 | 965.447 | 96.7882 | 21.2232
2020-08-14 09:30:00 | 7.576 | 146 | 7.56 | 160.4 | 7.429 | 151.097 | 7.301 | 154.5 | 26.64 | 965.544 | 93.8358 | 19.6418
2020-08-14 09:45:00 | 7.175 | 147.9 | 7.475 | 163.6 | 6.785 | 154.111 | 6.634 | 154.9 | 27.07 | 965.358 | 90.6304 | 19.8081
2020-08-14 10:00:00 | 7.854 | 153.2 | 7.613 | 166.2 | 7.167 | 156.56 | 7.064 | 162 | 27.19 | 965.358 | 89.8808 | 24.2825
2020-08-14 10:15:00 | 7.277 | 155 | 7.414 | 171.6 | 6.734 | 161.647 | 6.616 | 164 | 27.37 | 965.21 | 89.0631 | 21.77
2020-08-14 10:30:00 | 7.435 | 157.2 | 7.414 | 172.2 | 7.108 | 162.212 | 7.016 | 162.5 | 27.66 | 965.21 | 86.8825 | 20.85
2020-08-14 10:45:00 | 6.769 | 155 | 6.601 | 168.8 | 5.793 | 159.01 | 5.668 | 160.9 | 28.03 | 965.358 | 84.8723 | 20.3697
2020-08-14 11:00:00 | 5.939 | 156.2 | 6.1 | 178.4 | 5.348 | 168.053 | 5.281 | 161.2 | 28.72 | 965.803 | 85.8603 | 20.2219
2020-08-14 11:15:00 | 7.007 | 144 | 7.429 | 161.2 | 6.745 | 151.85 | 6.555 | 150.9 | 28.36 | 965.506 | 83.2368 | 18.0345
2020-08-14 11:30:00 | 7.499 | 144.4 | 7.186 | 158.4 | 6.579 | 149.213 | 6.547 | 153.1 | 28.41 | 965.358 | 80.2045 | 18.6553
2020-08-14 11:45:00 | 7.538 | 143.8 | 7.739 | 157.8 | 7.271 | 148.648 | 6.965 | 152 | 28.72 | 965.506 | 76.5929 | 13.6857
2020-08-14 12:00:00 | 6.828 | 145.9 | 6.92 | 161 | 6.605 | 151.662 | 6.379 | 151.7 | 28.74 | 965.358 | 80.8859 | 11.6646
2020-08-14 12:15:00 | 7.341 | 137.6 | 7.514 | 153.9 | 6.867 | 144.974 | 6.552 | 144.3 | 28.85 | 965.358 | 82.1125 | 16.7376
2020-08-14 12:30:00 | 6.978 | 139.7 | 6.772 | 154.9 | 6.134 | 145.916 | 5.971 | 150.3 | 28.85 | 965.21 | 81.2266 | 14.4653
2020-08-14 12:45:00 | 6.514 | 150 | 6.45 | 165.9 | 5.898 | 156.278 | 5.778 | 156.4 | 29.21 | 965.358 | 77.0358 | 13.3606
2020-08-14 13:00:00 | 6.057 | 139.8 | 6.332 | 155.3 | 5.923 | 146.293 | 5.786 | 148.5 | 29.21 | 965.21 | 83.4072 | 12.0415
2020-08-14 13:15:00 | 6.366 | 144.7 | 6.238 | 164.1 | 6.002 | 154.582 | 5.831 | 146.1 | 28.86 | 965.358 | 83.7138 | 13.2571
2020-08-14 13:30:00 | 6.486 | 150.7 | 6.409 | 165.4 | 6.137 | 155.807 | 5.977 | 156 | 28.82 | 965.358 | 82.5895 | 12.3149
2020-08-14 13:45:00 | 5.498 | 165 | 5.709 | 190.6 | 5.458 | 179.545 | 5.292 | 170.3 | 29.23 | 964.765 | 80.9881 | 13.9702
2020-08-14 14:00:00 | 6.057 | 152.8 | 6.176 | 173.2 | 5.669 | 163.154 | 5.556 | 159.7 | 29.43 | 965.655 | 80.5111 | 14.2399
2020-08-14 14:15:00 | 6.046 | 142.2 | 6.299 | 158.8 | 6.078 | 149.59 | 5.926 | 150.8 | 29.15 | 965.358 | 82.4873 | 18.5001
2020-08-14 14:30:00 | 7.331 | 146.1 | 7.268 | 162.8 | 6.653 | 153.358 | 6.468 | 153.1 | 29.29 | 965.803 | 81.3288 | 15.9617
2020-08-14 14:45:00 | 7.009 | 153.1 | 6.537 | 169.7 | 6.091 | 159.857 | 6.035 | 159.4 | 29.42 | 965.506 | 80.3407 | 15.4371
2020-08-14 15:00:00 | 8.03 | 137.2 | 7.777 | 153.5 | 6.986 | 144.597 | 6.695 | 145.5 | 29.23 | 965.358 | 76.5238 | 16.9593
2020-08-14 15:15:00 | 6.996 | 149.2 | 7.163 | 165.9 | 6.818 | 156.278 | 6.654 | 154.9 | 29.12 | 965.21 | 80.8518 | 13.6709
2020-08-14 15:30:00 | 5.196 | 154.6 | 5.251 | 168.8 | 5.282 | 159.01 | 5.215 | 161.5 | 29.06 | 964.913 | 82.4531 | 13.8298
2020-08-14 15:45:00 | 5.934 | 155.8 | 5.747 | 172.9 | 5.29 | 162.872 | 5.243 | 163.3 | 29.18 | 965.21 | 83.2027 | 14.1365
2020-08-14 16:00:00 | 5.298 | 173.5 | 4.803 | 194.5 | 4.023 | 183.219 | 3.927 | 174.4 | 29.11 | 964.913 | 83.1346 | 14.82
2020-08-14 16:15:00 | 6.34 | 148.8 | 6.381 | 167.8 | 6.429 | 158.068 | 6.31 | 152.6 | 28.86 | 964.617 | 87.3935 | 15.9654
2020-08-14 16:30:00 | 6.534 | 150.2 | 6.662 | 165.1 | 6.236 | 155.524 | 6.071 | 156.8 | 28.64 | 964.321 | 85.724 | 12.7361
2020-08-14 16:45:00 | 6.754 | 151.3 | 6.639 | 167.3 | 5.918 | 157.597 | 5.773 | 157.9 | 28.59 | 964.442 | 87.1625 | 11.8124
2020-08-14 17:00:00 | 6.427 | 150.1 | 6.629 | 165.7 | 6.734 | 156.089 | 6.562 | 156.1 | 28.5 | 964.154 | 89.6323 | 14.2325
2020-08-14 17:15:00 | 6.575 | 151.3 | 6.795 | 165.8 | 6.564 | 156.184 | 6.315 | 160 | 28.39 | 964.169 | 90.3177 | 14.4653
2020-08-14 17:30:00 | 6.373 | 153.2 | 6.486 | 170.9 | 6.681 | 160.988 | 6.534 | 158.8 | 28.32 | 964.318 | 91.9517 | 19.4497
2020-08-14 17:45:00 | 7.147 | 154.6 | 6.984 | 167.3 | 6.06 | 157.597 | 5.979 | 160.1 | 28.16 | 964.318 | 93.9316 | 22.5164
2020-08-14 18:00:00 | 7.091 | 147.4 | 7.409 | 163.9 | 7.248 | 154.394 | 7.084 | 153.3 | 27.96 | 964.466 | 96.3172 | 18.5407
2020-08-14 18:15:00 | 5.625 | 148.6 | 5.895 | 163.8 | 5.819 | 154.3 | 5.76 | 151.4 | 27.82 | 964.318 | 97.4096 | 17.4766
2020-08-14 18:30:00 | 5.342 | 153.1 | 5.361 | 168.8 | 4.723 | 159.01 | 4.703 | 158.4 | 27.64 | 964.466 | 98.2277 | 13.6746
2020-08-14 18:45:00 | 4.711 | 145.9 | 5.187 | 162.2 | 5.132 | 152.792 | 5.052 | 153.7 | 27.49 | 964.318 | 98.4322 | 11.8198
2020-08-14 19:00:00 | 5.436 | 151.9 | 5.578 | 168.2 | 5.671 | 158.444 | 5.523 | 156.1 | 27.25 | 964.318 | 99.2161 | 16.6342
2020-08-14 19:15:00 | 5.375 | 144.4 | 5.739 | 161.3 | 6.579 | 151.945 | 6.463 | 149.1 | 27.18 | 963.576 | 98.6367 | 22.1986
2020-08-14 19:30:00 | 7.504 | 137 | 7.544 | 154.7 | 7.747 | 145.727 | 7.668 | 143 | 27.28 | 964.052 | 96.9666 | 21.0939
2020-08-14 19:45:00 | 6.044 | 135.5 | 6.45 | 153.3 | 6.424 | 144.409 | 6.348 | 139.8 | 27.22 | 964.227 | 97.8186 | 22.945
2020-08-14 20:00:00 | 5.993 | 131.2 | 6.274 | 147.4 | 6.605 | 138.851 | 6.519 | 135.7 | 27.14 | 963.991 | 98.364 | 27.0647
2020-08-14 20:15:00 | 6.721 | 133.7 | 6.58 | 150.6 | 6.681 | 141.865 | 6.585 | 138.4 | 27.02 | 964.096 | 98.6026 | 28.4097
2020-08-14 20:30:00 | 5.444 | 129.9 | 5.934 | 149.1 | 5.46 | 140.452 | 5.465 | 132.9 | 26.93 | 964.215 | 99.8977 | 26.2408
2020-08-14 20:45:00 | 6.174 | 137.1 | 6.514 | 153.2 | 6.345 | 144.314 | 6.236 | 141.7 | 26.69 | 964.515 | 99.8663 | 27.1202
2020-08-14 21:00:00 | 5.577 | 124.2 | 6.013 | 139.1 | 6.226 | 131.032 | 6.175 | 130 | 26.3 | 964.608 | 98.2974 | 20.2847
2020-08-14 21:15:00 | 7.405 | 131.4 | 7.393 | 148.4 | 7.126 | 139.793 | 6.985 | 135.7 | 26.31 | 964.704 | 91.149 | 42.8309
2020-08-14 21:30:00 | 6.629 | 114.6 | 7.324 | 131.1 | 7.635 | 123.496 | 7.604 | 120 | 25.59 | 964.605 | 98.1074 | 49.5368
2020-08-14 21:45:00 | 6.378 | 117.4 | 7.204 | 133.3 | 8.77 | 125.569 | 9 | 123.2 | 24.88 | 963.87 | 94.5628 | 52.6811
2020-08-14 22:00:00 | 9.2 | 124.8 | 10.27 | 137.4 | 10.39 | 129.431 | 10.33 | 130 | 24.99 | 963.87 | 94.1537 | 56.2208
2020-08-14 22:15:00 | 8.62 | 124.5 | 9.31 | 137.3 | 9.53 | 129.337 | 9.44 | 133.5 | 24.63 | 963.276 | 89.3184 | 62.1916
2020-08-14 22:30:00 | 10.54 | 121.1 | 11.08 | 136.2 | 11.14 | 128.3 | 11.08 | 128.4 | 24.74 | 963.276 | 96.0417 | 64.3827
2020-08-14 22:45:00 | 5.543 | 111.5 | 6.603 | 124.6 | 7.686 | 117.373 | 7.808 | 120.7 | 24.95 | 963.276 | 86.3936 | 55.874
2020-08-14 23:00:00 | 6.996 | 110.5 | 8.14 | 123.6 | 8.21 | 116.431 | 8.27 | 118.7 | 25.47 | 963.722 | 88.6419 | 81.4824
2020-08-14 23:15:00 | 11.22 | 117.7 | 11.88 | 136.8 | 13.12 | 128.866 | 13.29 | 122.6 | 23.9 | 963.425 | 98.1856 | 89.0495
2020-08-14 23:30:00 | 11.78 | 130.8 | 12.27 | 148 | 11.97 | 139.416 | 11.83 | 134.9 | 23.29 | 963.276 | 96.0788 | 82.916
2020-08-14 23:45:00 | 11.77 | 124.2 | 12.18 | 140.9 | 12.88 | 132.728 | 12.93 | 125.8 | 23.58 | 963.276 | 99.8977 | 86.2081