## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-15 00:00:00 | 11.68 | 136 | 11.63 | 152.3 | 11.65 | 143.467 | 11.66 | 142 | 22.9 | 963.276 | 99.8701 | 74.8058
2020-08-15 00:15:00 | 11.45 | 132.9 | 11.86 | 150.7 | 11.82 | 141.959 | 11.8 | 136.6 | 22.39 | 962.683 | 99.9142 | 69.3264
2020-08-15 00:30:00 | 10.84 | 129.4 | 11.43 | 147.3 | 11.58 | 138.757 | 11.32 | 131.6 | 22.82 | 962.683 | 99.9147 | 62.6652
2020-08-15 00:45:00 | 9.34 | 133.3 | 9.61 | 151.2 | 10.28 | 142.43 | 10.4 | 137.8 | 22.32 | 962.545 | 99.8465 | 53.1504
2020-08-15 01:00:00 | 7.443 | 137.4 | 7.48 | 158.5 | 7.327 | 149.307 | 7.252 | 139.6 | 21.84 | 962.883 | 99.8465 | 61.4265
2020-08-15 01:15:00 | 7.04 | 146.2 | 6.603 | 166.7 | 5.745 | 157.031 | 5.625 | 147.9 | 21.61 | 962.874 | 99.8806 | 49.0158
2020-08-15 01:30:00 | 5.199 | 97.5 | 6.22 | 113.2 | 6.483 | 106.634 | 6.789 | 103 | 21.5 | 962.667 | 98.6909 | 21.9289
2020-08-15 01:45:00 | 3.465 | 45.35 | 3.817 | 61.21 | 4.354 | 57.6598 | 4.451 | 55.89 | 20.88 | 962.383 | 99.8631 | 6.1556
2020-08-15 02:00:00 | 1.33 | 191.2 | 2.853 | 198.2 | 3.255 | 186.704 | 3.191 | 196.8 | 21.96 | 962.977 | 99.8635 | -0.61334
2020-08-15 02:15:00 | 2.317 | 163.2 | 2.348 | 165.5 | 2.507 | 155.901 | 2.33 | 173.9 | 22.42 | 962.532 | 99.9265 | 1.8105
2020-08-15 02:30:00 | 5.48 | 168.2 | 5.624 | 181.1 | 5.559 | 170.596 | 5.584 | 175.5 | 21.83 | 962.371 | 99.8497 | 18.4853
2020-08-15 02:45:00 | 5.102 | 78.83 | 4.315 | 90 | 6.025 | 84.78 | 6.435 | 89.8 | 21.98 | 962.797 | 99.8485 | 4.5742
2020-08-15 03:00:00 | 4.872 | 148.2 | 5.409 | 164.1 | 5.582 | 154.582 | 5.528 | 156 | 21.39 | 962.81 | 99.9177 | 9.2445
2020-08-15 03:15:00 | 2.313 | 189.5 | 2.537 | 204.5 | 3.204 | 192.639 | 3.167 | 183.6 | 21.6 | 962.376 | 99.853 | 2.712
2020-08-15 03:30:00 | 4.594 | 98.7 | 5.115 | 113.7 | 5.903 | 107.105 | 6.007 | 105.9 | 22.11 | 961.493 | 99.8533 | 27.9072
2020-08-15 03:45:00 | 5.957 | 104.2 | 7.018 | 119.5 | 8.69 | 112.569 | 8.9 | 112.9 | 22.51 | 961.745 | 99.8471 | 41.5559
2020-08-15 04:00:00 | 9.61 | 118.3 | 10.39 | 133.4 | 11.32 | 125.663 | 11.29 | 125.8 | 23.4 | 961.315 | 98.0733 | 59.4556
2020-08-15 04:15:00 | 9.78 | 122.2 | 10.62 | 136.2 | 11.51 | 128.3 | 11.56 | 130 | 24.32 | 961.794 | 97.0503 | 58.301
2020-08-15 04:30:00 | 10.82 | 120.7 | 11.84 | 135.7 | 12.13 | 127.829 | 12.09 | 129.2 | 25.06 | 962.09 | 94.172 | 54.8648
2020-08-15 04:45:00 | 9.85 | 122.3 | 10.24 | 136.7 | 10.91 | 128.771 | 10.91 | 128.8 | 24.89 | 962.238 | 95.67 | 60.9441
2020-08-15 05:00:00 | 9.26 | 124.4 | 9.95 | 139.4 | 10.29 | 131.315 | 10.37 | 131.9 | 25.04 | 962.683 | 96.6246 | 56.2429
2020-08-15 05:15:00 | 9.08 | 123.8 | 9.29 | 139.2 | 9.88 | 131.126 | 9.85 | 131 | 25.2 | 962.98 | 97.6456 | 59.9415
2020-08-15 05:30:00 | 10.3 | 129.9 | 10.39 | 143.7 | 10.78 | 135.365 | 10.71 | 135.7 | 25.29 | 962.832 | 97.9857 | 72.6982
2020-08-15 05:45:00 | 9.1 | 127.5 | 9.67 | 142.7 | 10.21 | 134.423 | 10.21 | 134.8 | 25.26 | 962.683 | 97.7153 | 75.4561
2020-08-15 06:00:00 | 8.96 | 133.5 | 9.59 | 150.7 | 10.12 | 141.959 | 9.97 | 138.8 | 25.2 | 963.277 | 99.487 | 67.006
2020-08-15 06:15:00 | 9.44 | 137.8 | 10.04 | 155.6 | 10.73 | 146.575 | 10.61 | 142.3 | 25.07 | 963.277 | 99.5898 | 64.0169
2020-08-15 06:30:00 | 10.21 | 134.7 | 10.38 | 150.9 | 10.85 | 142.148 | 10.82 | 142.8 | 24.93 | 962.683 | 99.0111 | 68.5098
2020-08-15 06:45:00 | 9.88 | 143.4 | 10.61 | 160.5 | 11.99 | 151.191 | 11.88 | 148.9 | 24.86 | 962.683 | 99.8977 | 57.6913
2020-08-15 07:00:00 | 8.84 | 141.8 | 9.24 | 159.4 | 9.7 | 150.155 | 9.65 | 147.2 | 24.76 | 963.128 | 99.8977 | 59.5313
2020-08-15 07:15:00 | 9.64 | 143.9 | 10.51 | 160.7 | 11.49 | 151.379 | 11.45 | 150.5 | 24.78 | 963.277 | 99.8976 | 61.0278
2020-08-15 07:30:00 | 8.41 | 149.5 | 8.47 | 166.4 | 8.94 | 156.749 | 9.02 | 156.2 | 24.61 | 963.128 | 99.8977 | 69.6072
2020-08-15 07:45:00 | 6.825 | 147.8 | 7.35 | 165.7 | 8.3 | 156.089 | 8.43 | 155.8 | 24.45 | 963.573 | 99.8977 | 62.3394
2020-08-15 08:00:00 | 6.846 | 149.9 | 6.862 | 170.4 | 8.32 | 160.517 | 8.36 | 155.4 | 24.66 | 963.573 | 99.8636 | 61.5598
2020-08-15 08:15:00 | 7.903 | 154.8 | 8.32 | 171.9 | 8.9 | 161.93 | 8.9 | 162.1 | 24.97 | 963.87 | 99.8955 | 57.0299
2020-08-15 08:30:00 | 7.558 | 154.6 | 7.782 | 172.2 | 8.67 | 162.212 | 8.65 | 159.8 | 25.05 | 964.167 | 99.8851 | 53.0748
2020-08-15 08:45:00 | 7.742 | 153.5 | 7.958 | 169.8 | 8.53 | 159.952 | 8.56 | 158.6 | 25.09 | 964.315 | 98.8581 | 48.0699
2020-08-15 09:00:00 | 8.2 | 155.3 | 8.32 | 169.4 | 8.46 | 159.575 | 8.27 | 161.2 | 25.23 | 964.315 | 98.1085 | 44.0721
2020-08-15 09:15:00 | 7.54 | 156.5 | 7.299 | 170.6 | 6.752 | 160.705 | 6.883 | 164.5 | 25.29 | 964.167 | 99.0626 | 47.5194
2020-08-15 09:30:00 | 7.392 | 153.2 | 7.969 | 170.7 | 8.81 | 160.799 | 8.83 | 157.9 | 25.42 | 964.315 | 99.7444 | 42.9969
2020-08-15 09:45:00 | 7.801 | 154.4 | 8.16 | 170.4 | 8.52 | 160.517 | 8.5 | 159.6 | 25.59 | 964.166 | 99.8807 | 42.9341
2020-08-15 10:00:00 | 7.997 | 156.6 | 8.17 | 172.1 | 7.948 | 162.118 | 7.871 | 162.6 | 25.99 | 964.905 | 96.5287 | 44.9515
2020-08-15 10:15:00 | 8.2 | 154.4 | 8.42 | 170.9 | 8.44 | 160.988 | 8.42 | 159 | 26.5 | 964.793 | 95.9782 | 44.6892
2020-08-15 10:30:00 | 8.42 | 163.7 | 7.935 | 181.3 | 7.439 | 170.785 | 7.326 | 166.6 | 26.71 | 964.911 | 92.5358 | 43.4846
2020-08-15 10:45:00 | 8.62 | 176 | 8.15 | 191.2 | 7.703 | 180.11 | 7.815 | 180.2 | 27.51 | 964.614 | 90.2137 | 32.2338
2020-08-15 11:00:00 | 8.88 | 182.4 | 8.26 | 198.4 | 8.15 | 186.893 | 8.15 | 184.5 | 27.54 | 964.466 | 86.9083 | 19.6344
2020-08-15 11:15:00 | 8.41 | 179.6 | 8.22 | 193.7 | 7.79 | 182.465 | 7.831 | 183 | 27.67 | 964.763 | 87.4552 | 11.3469
2020-08-15 11:30:00 | 2.803 | 238.5 | 2.548 | 270.6 | 1.492 | 254.905 | 2.294 | 218.3 | 26.27 | 965.059 | 99.8566 | 4.3932
2020-08-15 11:45:00 | 4.783 | 285.1 | 4.599 | 301.7 | 0.106 | 284.201 | 3.399 | 282.9 | 25.13 | 964.763 | 99.8918 | 8.8676
2020-08-15 12:00:00 | 5.799 | 293.6 | 6.038 | 305.3 | 5.659 | 287.593 | 5.495 | 296.9 | 23.49 | 964.021 | 99.8635 | 7.0276
2020-08-15 12:15:00 | 3.039 | 298.4 | 3.062 | 310.1 | 3.034 | 292.114 | 2.954 | 294.4 | 23.35 | 964.738 | 99.8636 | 2.8709
2020-08-15 12:30:00 | 3.828 | 292 | 3.819 | 306.6 | 1.251 | 288.817 | 3.343 | 293.5 | 23.35 | 964.283 | 99.8636 | 2.7674
2020-08-15 12:45:00 | 3.659 | 307.4 | 4.042 | 321.5 | 1.234 | 302.853 | 3.649 | 308 | 23.28 | 964.667 | 99.8688 | 2.2206
2020-08-15 13:00:00 | 2.375 | 311.9 | 2.653 | 324.4 | 0.639 | 305.585 | 2.859 | 313.8 | 23.46 | 964.894 | 99.8713 | 2.2908
2020-08-15 13:15:00 | 2.219 | 332.2 | 1.815 | 344.8 | 0.739 | 324.802 | 1.981 | 319.3 | 23.88 | 965.034 | 99.8643 | 1.6146
2020-08-15 13:30:00 | 1.578 | 320.9 | 1.823 | 331.2 | 0.134 | 311.99 | 2.08 | 309.5 | 24.4 | 965.076 | 99.8637 | 2.6529
2020-08-15 13:45:00 | 2.293 | 300.6 | 2.551 | 313.1 | 2.441 | 294.94 | 2.348 | 302.1 | 24.38 | 964.778 | 99.8637 | 2.8709
2020-08-15 14:00:00 | 2.837 | 298.8 | 3.218 | 317.2 | 3.011 | 298.802 | 2.984 | 298.9 | 24.03 | 964.665 | 99.8637 | 2.8081
2020-08-15 14:15:00 | 2.873 | 337.6 | 2.797 | 340.7 | 2.198 | 320.939 | 2.224 | 332.5 | 24.45 | 964.514 | 99.8637 | 2.2649
2020-08-15 14:30:00 | 1.931 | 347.4 | 1.971 | 359.3 | 1.862 | 338.461 | 1.743 | 347.9 | 24.2 | 964.452 | 99.8637 | 2.7453
2020-08-15 14:45:00 | 2.686 | 325.9 | 2.799 | 337.7 | 3.024 | 318.113 | 3.155 | 330.8 | 23.93 | 963.986 | 99.8657 | 4.8513
2020-08-15 15:00:00 | 3.539 | 321.5 | 3.702 | 326.9 | 3.298 | 307.94 | 3.379 | 325.2 | 23.29 | 963.87 | 99.8804 | 3.1923
2020-08-15 15:15:00 | 2.036 | 347.8 | 2.386 | 6.686 | 2.487 | 6.2982 | 2.406 | 338.6 | 23.26 | 964.018 | 99.8812 | 2.8783
2020-08-15 15:30:00 | 0.875 | 7.952 | 1.671 | 27.98 | 1.993 | 26.3572 | 1.841 | 356.6 | 23.24 | 963.722 | 99.8821 | 1.4706
2020-08-15 15:45:00 | 2.492 | 16.41 | 2.352 | 28.39 | 1.874 | 26.7434 | 1.932 | 4.437 | 23.05 | 963.87 | 99.8829 | 1.925
2020-08-15 16:00:00 | 2.394 | 5.853 | 2.901 | 28.05 | 2.632 | 26.4231 | 2.628 | 358.3 | 22.89 | 963.722 | 99.8896 | 1.8844
2020-08-15 16:15:00 | 2.811 | 7.92 | 2.914 | 29.93 | 2.304 | 28.1941 | 2.297 | 4.379 | 22.8 | 963.573 | 99.8973 | 0.87568
2020-08-15 16:30:00 | 3.194 | 7.618 | 3.057 | 27.14 | 2.444 | 25.5659 | 2.505 | 4.568 | 22.76 | 963.573 | 99.8977 | 1.3191
2020-08-15 16:45:00 | 3.613 | 6.865 | 3.236 | 23.99 | 2.772 | 22.5986 | 2.91 | 11.58 | 22.74 | 963.573 | 99.8636 | 2.409
2020-08-15 17:00:00 | 3.789 | 352.8 | 3.451 | 16.63 | 3.988 | 15.6655 | 3.929 | 353.5 | 22.69 | 963.573 | 99.8977 | 5.0952
2020-08-15 17:15:00 | 2.755 | 353.9 | 2.955 | 25.53 | 3.455 | 24.0493 | 3.454 | 342.4 | 22.57 | 964.018 | 99.8985 | 16.1391
2020-08-15 17:30:00 | 3.713 | 333.3 | 4.065 | 352.3 | 3.7 | 331.867 | 3.618 | 329.9 | 22.26 | 963.87 | 99.9088 | 19.759
2020-08-15 17:45:00 | 3.123 | 359.8 | 3.446 | 11.5 | 3.954 | 10.833 | 4.032 | 342.5 | 22.1 | 963.87 | 99.9145 | 19.9078
2020-08-15 18:00:00 | 4.709 | 9.41 | 4.993 | 26.17 | 5.023 | 24.6521 | 5.34 | 0.81 | 21.91 | 963.573 | 99.8806 | 14.1069
2020-08-15 18:15:00 | 5.334 | 358.3 | 5.65 | 18 | 6.277 | 16.956 | 6.394 | 358.9 | 21.77 | 963.737 | 99.8806 | 13.3975
2020-08-15 18:30:00 | 5.367 | 5.153 | 4.768 | 20.81 | 5.259 | 19.603 | 5.261 | 3.983 | 21.66 | 963.951 | 99.8806 | 9.7581
2020-08-15 18:45:00 | 4.933 | 5.455 | 4.302 | 19.92 | 4.595 | 18.7646 | 4.561 | 4.89 | 21.72 | 964.474 | 99.8465 | 9.8985
2020-08-15 19:00:00 | 5.109 | 0.909 | 4.607 | 18.83 | 5.216 | 17.7379 | 5.526 | 3.276 | 21.84 | 964.685 | 99.9149 | 11.8161
2020-08-15 19:15:00 | 6.302 | 6.927 | 6.248 | 26.3 | 5.114 | 24.7746 | 4.983 | 8.49 | 21.74 | 964.665 | 99.8807 | 13.3347
2020-08-15 19:30:00 | 6.258 | 14.85 | 6.89 | 31.02 | 6.343 | 29.2208 | 6.374 | 19.91 | 21.63 | 964.727 | 99.8478 | 10.7668
2020-08-15 19:45:00 | 5.891 | 17.65 | 5.941 | 31.2 | 5.732 | 29.3904 | 5.653 | 22.87 | 21.62 | 964.751 | 99.9191 | 9.5733
2020-08-15 20:00:00 | 5.155 | 20.38 | 5.739 | 32.78 | 5.633 | 30.8788 | 5.582 | 26.87 | 21.66 | 964.896 | 99.9181 | 7.4968
2020-08-15 20:15:00 | 5.135 | 14.68 | 5.514 | 28.14 | 5.333 | 26.5079 | 5.406 | 22.27 | 21.66 | 965.301 | 99.8473 | 8.9415
2020-08-15 20:30:00 | 5.053 | 16.99 | 5.568 | 32.72 | 5.348 | 30.8222 | 5.304 | 22.63 | 21.72 | 965.347 | 99.9192 | 7.9291
2020-08-15 20:45:00 | 5.367 | 8.85 | 5.062 | 22.02 | 4.995 | 20.7428 | 4.948 | 18.39 | 21.67 | 965.647 | 99.8479 | 7.2567
2020-08-15 21:00:00 | 5.199 | 11.4 | 5.328 | 23.37 | 5.02 | 22.0145 | 4.874 | 22.03 | 21.61 | 965.617 | 99.9189 | 8.6644
2020-08-15 21:15:00 | 5.625 | 9.01 | 5.223 | 22.18 | 4.814 | 20.8936 | 4.731 | 17.42 | 21.45 | 965.648 | 99.922 | 6.9722
2020-08-15 21:30:00 | 5.115 | 15.48 | 5.675 | 27.42 | 5.282 | 25.8296 | 5.197 | 24.97 | 21.45 | 965.499 | 99.9239 | 4.8033
2020-08-15 21:45:00 | 3.909 | 29.42 | 4.711 | 41.14 | 4.542 | 38.7539 | 4.507 | 39.39 | 21.47 | 965.351 | 99.8924 | 4.0606
2020-08-15 22:00:00 | 4.609 | 27.75 | 5.095 | 37.67 | 4.85 | 35.4851 | 4.889 | 40.87 | 21.52 | 965.351 | 99.8911 | 4.1678
2020-08-15 22:15:00 | 4.456 | 25.94 | 4.175 | 28.1 | 4.496 | 26.4702 | 4.632 | 40.75 | 21.57 | 965.499 | 99.8579 | 1.6553
2020-08-15 22:30:00 | 3.291 | 17.37 | 3.139 | 21.64 | 3.466 | 20.3849 | 3.57 | 36.77 | 21.59 | 965.499 | 99.8609 | 2.2539
2020-08-15 22:45:00 | 4.509 | 19.04 | 4.287 | 29.42 | 3.837 | 27.7136 | 4.013 | 37.5 | 21.55 | 965.499 | 99.9253 | 2.0802
2020-08-15 23:00:00 | 3.723 | 33.54 | 4.226 | 39.73 | 4.043 | 37.4257 | 4.156 | 39.51 | 21.53 | 965.351 | 99.8861 | 1.3486
2020-08-15 23:15:00 | 3.468 | 37.53 | 4.694 | 60.73 | 4.954 | 57.2077 | 4.747 | 33.34 | 21.59 | 965.203 | 99.8575 | 0.27342
2020-08-15 23:30:00 | 3.404 | 42.89 | 3.106 | 35.75 | 4.12 | 33.6765 | 3.995 | 47.54 | 21.63 | 965.499 | 99.9246 | 0.1441
2020-08-15 23:45:00 | 2.967 | 50.69 | 3.694 | 65.77 | 3.39 | 61.9553 | 3.3 | 49.1 | 21.62 | 965.351 | 99.8531 | -0.40643