## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-16 00:00:00 | 2.4 | 60.63 | 1.538 | 73.07 | 1.362 | 68.8319 | 1.867 | 72.21 | 21.62 | 965.499 | 99.8533 | -0.42121
2020-08-16 00:15:00 | 2.796 | 85.7 | 2.393 | 87.1 | 2.263 | 82.0482 | 2.386 | 108.1 | 22.33 | 965.173 | 99.8822 | -0.33993
2020-08-16 00:30:00 | 2.99 | 116 | 3.4 | 111.9 | 3.225 | 105.41 | 3.241 | 127.5 | 23 | 965.251 | 99.8807 | -0.059118
2020-08-16 00:45:00 | 0 | 135.7 | 0.015 | 176.3 | 0.025 | 166.075 | 0.113 | 133 | 22.08 | 964.909 | 99.9148 | -0.22539
2020-08-16 01:00:00 | 2.007 | 98.9 | 1.815 | 91.1 | 0.917 | 85.8162 | 1.167 | 107.8 | 21.78 | 964.76 | 99.8807 | -0.13301
2020-08-16 01:15:00 | 2.574 | 217 | 2.541 | 243.3 | 2.497 | 229.189 | 2.521 | 215.3 | 21.76 | 964.635 | 99.9148 | -0.37318
2020-08-16 01:30:00 | 2.635 | 249 | 2.288 | 294.4 | 0.734 | 277.325 | 0.913 | 236.3 | 21.46 | 964.74 | 99.8466 | -0.25494
2020-08-16 01:45:00 | 1.741 | 286.6 | 1.994 | 301.1 | 2.339 | 283.636 | 2.322 | 281.1 | 21.43 | 965.022 | 99.9162 | 0.22169
2020-08-16 02:00:00 | 1.241 | 328.7 | 1.314 | 347.6 | 1.137 | 327.439 | 0.987 | 326.7 | 21.44 | 965.199 | 99.8851 | 1.6036
2020-08-16 02:15:00 | 2.106 | 268.6 | 1.997 | 283 | 2.212 | 266.586 | 2.157 | 267.8 | 21.4 | 964.906 | 99.8519 | 1.7366
2020-08-16 02:30:00 | 0.944 | 252.9 | 0.736 | 283 | 0.733 | 266.586 | 0.712 | 242.4 | 21.31 | 964.757 | 99.8891 | 0.27711
2020-08-16 02:45:00 | 2.098 | 304.3 | 2.423 | 321.3 | 2.413 | 302.665 | 2.401 | 299.9 | 21.28 | 965.054 | 99.8932 | 2.6935
2020-08-16 03:00:00 | 2.661 | 309.6 | 3.068 | 324.1 | 3.13 | 305.302 | 3.198 | 310.5 | 21.28 | 965.351 | 99.8627 | 2.4238
2020-08-16 03:15:00 | 2.341 | 13.68 | 1.977 | 26.15 | 1.933 | 24.6333 | 2.248 | 352.3 | 21.31 | 965.054 | 99.8629 | 1.7809
2020-08-16 03:30:00 | 2.349 | 19.94 | 2.612 | 36.63 | 2.278 | 34.5055 | 2.414 | 20.98 | 21.32 | 965.203 | 99.9294 | 1.0715
2020-08-16 03:45:00 | 2.28 | 24.86 | 2.28 | 41.19 | 0.047 | 38.801 | 0.024 | 59.75 | 21.32 | 965.203 | 99.8617 | 0.42121
2020-08-16 04:00:00 | 2.811 | 11.58 | 1.925 | 13.94 | 1.851 | 13.1315 | 2.192 | 4.379 | 21.38 | 965.351 | 99.8634 | 0.56531
2020-08-16 04:15:00 | 3.496 | 13.77 | 2.924 | 31.77 | 2.212 | 29.9273 | 1.78 | 16.99 | 21.39 | 965.2 | 99.8616 | 1.1084
2020-08-16 04:30:00 | 3.863 | 14.03 | 3.433 | 29.2 | 2.909 | 27.5064 | 2.944 | 16.23 | 21.4 | 965.203 | 99.8923 | 1.3856
2020-08-16 04:45:00 | 3.501 | 17.56 | 3.748 | 34.21 | 3.446 | 32.2258 | 3.483 | 22.39 | 21.44 | 965.351 | 99.8965 | 0.88676
2020-08-16 05:00:00 | 3.256 | 32.3 | 3.62 | 43.27 | 3.377 | 40.7603 | 3.575 | 26.71 | 21.46 | 965.351 | 99.9286 | 0.96805
2020-08-16 05:15:00 | 3.94 | 28.61 | 4.049 | 41.39 | 4.064 | 38.9894 | 4.344 | 32.41 | 21.47 | 965.351 | 99.8951 | 1.4779
2020-08-16 05:30:00 | 3.889 | 13.98 | 4.106 | 33.69 | 3.904 | 31.736 | 4.181 | 22.2 | 21.59 | 965.351 | 99.9299 | 2.8229
2020-08-16 05:45:00 | 4.093 | 28.96 | 4.052 | 36.75 | 2.468 | 34.6185 | 2.409 | 58.89 | 21.53 | 965.499 | 99.8886 | 1.2378
2020-08-16 06:00:00 | 2.559 | 79.95 | 1.863 | 72.34 | 0 | 68.1443 | 0 | 96.7 | 21.63 | 965.351 | 99.8596 | -0.022169
2020-08-16 06:15:00 | 2.301 | 97 | 0.053 | 75.49 | 0.003 | 71.1116 | 0.003 | 97.8 | 22.82 | 965.922 | 99.883 | -0.18844
2020-08-16 06:30:00 | 2.513 | 107 | 0.183 | 61.79 | 0 | 58.2062 | 0 | 135.6 | 22.83 | 965.696 | 99.8466 | -0.25125
2020-08-16 06:45:00 | 1.019 | 305.7 | 0.11 | 357.7 | 0.341 | 336.953 | 1.087 | 282.8 | 22.75 | 966.392 | 99.8784 | -0.25125
2020-08-16 07:00:00 | 0.011 | 283.5 | 0 | 14.43 | 0 | 13.5931 | 0.731 | 276.9 | 23.2 | 966.837 | 99.8979 | -0.26972
2020-08-16 07:15:00 | 0.045 | 266.3 | 0.522 | 356.3 | 0 | 335.635 | 0 | 269.9 | 23.71 | 967.282 | 99.8862 | -0.25125
2020-08-16 07:30:00 | 0.161 | 284.9 | 0.894 | 325.8 | 1.2 | 306.904 | 1.489 | 270 | 23.63 | 967.427 | 99.8707 | -0.26972
2020-08-16 07:45:00 | 0.113 | 234.6 | 0.041 | 25.71 | 0 | 24.2188 | 0.012 | 263.4 | 24.22 | 967.77 | 99.8638 | -0.25125
2020-08-16 08:00:00 | 0 | 174.1 | 0 | 39.13 | 0 | 36.8605 | 0 | 204.7 | 24.4 | 968.025 | 99.8637 | -0.26972
2020-08-16 08:15:00 | 0 | 173.9 | 0 | 38.74 | 0 | 36.4931 | 0 | 204.7 | 24.64 | 968.173 | 99.8581 | -0.26972
2020-08-16 08:30:00 | 0.201 | 165.7 | 0.239 | 147.8 | 0 | 139.228 | 0.052 | 168.5 | 24.92 | 968.421 | 99.8623 | -0.26972
2020-08-16 08:45:00 | 0.89 | 156.2 | 1.023 | 168.9 | 0 | 159.104 | 0.593 | 165.8 | 24.65 | 967.981 | 99.8321 | -0.2882
2020-08-16 09:00:00 | 1.028 | 140.3 | 1.891 | 162.9 | 0 | 153.452 | 2.151 | 138.7 | 24.44 | 968.54 | 99.89 | -0.23278
2020-08-16 09:15:00 | 1.203 | 143.7 | 2.012 | 158.3 | 0 | 149.119 | 2.651 | 148.2 | 25.21 | 968.703 | 99.8392 | -0.25125
2020-08-16 09:30:00 | 2.865 | 155.4 | 2.676 | 165 | 0 | 155.43 | 2.47 | 162.3 | 25.94 | 969.064 | 95.6389 | -0.23278
2020-08-16 09:45:00 | 3.685 | 155.6 | 3.52 | 171 | 0 | 161.082 | 2.913 | 171.5 | 26.88 | 969.509 | 90.7239 | -0.28081
2020-08-16 10:00:00 | 4.382 | 181.8 | 4.036 | 197.3 | 0 | 185.857 | 3.868 | 186.3 | 27.84 | 969.509 | 87.4809 | -0.2882
2020-08-16 10:15:00 | 3.473 | 206 | 3.533 | 218.7 | 0 | 206.015 | 2.946 | 214.6 | 27.93 | 969.509 | 86.153 | -0.29928
2020-08-16 10:30:00 | 2.907 | 196.4 | 2.707 | 217.6 | 0 | 204.979 | 2.663 | 195.7 | 27.81 | 969.36 | 84.7931 | -0.31776
2020-08-16 10:45:00 | 2.722 | 199.7 | 2.421 | 201.4 | 0 | 189.719 | 1.888 | 219.3 | 28.1 | 969.509 | 86.0564 | -0.2882
2020-08-16 11:00:00 | 3.279 | 252.6 | 3.085 | 269.3 | 0 | 253.681 | 2.335 | 246.1 | 26.8 | 969.36 | 93.8323 | -0.29928
2020-08-16 11:15:00 | 2.393 | 258.5 | 2.39 | 273.1 | 0 | 257.26 | 2.177 | 255.4 | 27.06 | 969.509 | 86.7121 | -0.31776
2020-08-16 11:30:00 | 1.403 | 253.8 | 1.434 | 266 | 0 | 250.572 | 1.43 | 243.3 | 27.99 | 969.212 | 90.3237 | -0.29928
2020-08-16 11:45:00 | 2.952 | 296.4 | 2.958 | 313.5 | 0 | 295.317 | 2.554 | 292.3 | 28.08 | 969.36 | 95.3663 | -0.29928
2020-08-16 12:00:00 | 3.805 | 298.6 | 3.592 | 309.4 | 0 | 291.455 | 2.618 | 304.9 | 26.67 | 968.916 | 99.1482 | -0.29928
2020-08-16 12:15:00 | 1.886 | 6.299 | 2.303 | 343.7 | 0 | 323.765 | 2.206 | 25.72 | 27.39 | 968.619 | 97.5809 | -0.29928
2020-08-16 12:30:00 | 1.948 | 332.5 | 2.048 | 348.7 | 0.012 | 328.475 | 1.993 | 339.8 | 26.79 | 968.768 | 98.7053 | -0.28081
2020-08-16 12:45:00 | 0.702 | 356 | 1.223 | 14.13 | 0 | 13.3105 | 0.35 | 346.3 | 27.35 | 968.928 | 94.1056 | -0.28081
2020-08-16 13:00:00 | 0.969 | 345.3 | 1.112 | 356.6 | 0 | 335.917 | 0.7 | 356 | 27.95 | 969.509 | 95.9455 | -0.28081
2020-08-16 13:15:00 | 3.427 | 308.1 | 3.584 | 319.6 | 0 | 301.063 | 3.178 | 309.6 | 27.25 | 969.36 | 98.8756 | 0.18105
2020-08-16 13:30:00 | 3.649 | 306.2 | 3.973 | 318.2 | 0 | 299.744 | 3.3 | 309.9 | 27.27 | 969.064 | 96.3884 | 0.83134
2020-08-16 13:45:00 | 3.508 | 318.2 | 3.377 | 332.7 | 0 | 313.403 | 2.605 | 325.1 | 26.94 | 968.768 | 99.8296 | 1.3117
2020-08-16 14:00:00 | 2.799 | 329.6 | 2.435 | 345.3 | 0 | 325.273 | 2.4 | 332.4 | 26.95 | 969.014 | 98.1642 | 1.1084
2020-08-16 14:15:00 | 2.052 | 18.25 | 2.306 | 29.68 | 0 | 27.9586 | 2.091 | 3.508 | 27.34 | 969.186 | 96.4307 | -0.27711
2020-08-16 14:30:00 | 2.04 | 22.47 | 2.607 | 34.58 | 0 | 32.5744 | 1.767 | 31.63 | 27.53 | 969.661 | 92.8111 | -0.2882
2020-08-16 14:45:00 | 1.177 | 28.09 | 1.146 | 44.58 | 0 | 41.9944 | 0.135 | 346.6 | 28.32 | 970.546 | 88.3816 | -0.29928
2020-08-16 15:00:00 | 1.469 | 6.679 | 1.32 | 37.9 | 0 | 35.7018 | 0.229 | 8.12 | 28.5 | 970.546 | 88.6636 | -0.29928
2020-08-16 15:15:00 | 1.54 | 325.2 | 1.899 | 351.5 | 0 | 331.113 | 0.823 | 336.4 | 29.37 | 970.546 | 86.4782 | -0.29928
2020-08-16 15:30:00 | 2.822 | 302.5 | 3.103 | 307.8 | 0 | 289.948 | 2.345 | 309 | 29.35 | 969.805 | 89.3733 | -0.2882
2020-08-16 15:45:00 | 2.852 | 308.7 | 2.868 | 315.9 | 0 | 297.578 | 2.699 | 309.4 | 28.57 | 969.36 | 91.2807 | -0.29928
2020-08-16 16:00:00 | 2.218 | 300.3 | 2.474 | 311.9 | 0 | 293.81 | 2.039 | 306.2 | 28.69 | 969.064 | 93.9511 | -0.29928
2020-08-16 16:15:00 | 1.943 | 16.28 | 1.945 | 9.1 | 0 | 8.5722 | 1.926 | 15.38 | 28.86 | 969.657 | 90.6149 | -0.31776
2020-08-16 16:30:00 | 0.769 | 17.15 | 1.92 | 24.53 | 0 | 23.1073 | 2.472 | 28.17 | 28.84 | 969.212 | 93.2708 | -0.29928
2020-08-16 16:45:00 | 1.211 | 23.2 | 1.947 | 9.54 | 0 | 8.9867 | 1.93 | 18.3 | 28.42 | 968.916 | 94.6768 | -0.31037
2020-08-16 17:00:00 | 1.092 | 356.7 | 1.995 | 23.33 | 0 | 21.9769 | 2.319 | 343.2 | 27.94 | 968.768 | 95.0594 | -0.077592
2020-08-16 17:15:00 | 1.99 | 6.183 | 2.352 | 20.59 | 0 | 19.3958 | 2.092 | 351 | 27.78 | 968.916 | 97.7513 | 0.34362
2020-08-16 17:30:00 | 1.118 | 24.46 | 2.528 | 30.19 | 0 | 28.439 | 2.314 | 13.27 | 28.04 | 968.916 | 97.5809 | 0.2845
2020-08-16 17:45:00 | 3.644 | 9.87 | 3.369 | 18.07 | 3.179 | 17.0219 | 3.224 | 2.838 | 27.12 | 968.175 | 99.0119 | 0.65399
2020-08-16 18:00:00 | 2.645 | 353.8 | 2.582 | 11.17 | 3.047 | 10.5221 | 3.137 | 339.9 | 26.97 | 968.28 | 99.8592 | 1.1491
2020-08-16 18:15:00 | 2.288 | 338 | 2.271 | 10.05 | 2.835 | 9.4671 | 2.961 | 333.4 | 26.74 | 968.173 | 99.8593 | 2.5568
2020-08-16 18:30:00 | 2.607 | 345.3 | 2.733 | 12.86 | 2.998 | 12.1141 | 2.956 | 346.9 | 26.55 | 967.876 | 99.8636 | 3.0852
2020-08-16 18:45:00 | 3.179 | 348.2 | 3.105 | 17.71 | 3.804 | 16.6828 | 3.893 | 348.4 | 26.25 | 967.728 | 99.8636 | 5.9893
2020-08-16 19:00:00 | 4.129 | 356.4 | 3.921 | 15.23 | 4.377 | 14.3467 | 4.426 | 357.6 | 25.96 | 967.933 | 99.8636 | 5.4795
2020-08-16 19:15:00 | 4.537 | 5.981 | 4.474 | 18.3 | 4.72 | 17.2386 | 4.446 | 5.57 | 25.78 | 968.17 | 99.8777 | 4.6444
2020-08-16 19:30:00 | 4.116 | 2.919 | 3.901 | 15.46 | 3.858 | 14.5633 | 3.682 | 8.68 | 25.64 | 968.32 | 99.8805 | 3.8463
2020-08-16 19:45:00 | 3.322 | 7.939 | 3.244 | 23.17 | 3.425 | 21.8261 | 3.338 | 20.86 | 25.52 | 968.616 | 99.8807 | 2.6972
2020-08-16 20:00:00 | 3.314 | 5.613 | 3.328 | 19.76 | 3.158 | 18.6139 | 3.058 | 15.01 | 25.4 | 968.616 | 99.8807 | 2.2465
2020-08-16 20:15:00 | 3.508 | 4.532 | 3.101 | 15.74 | 3.085 | 14.8271 | 2.969 | 20.91 | 25.33 | 968.913 | 99.8807 | 2.2908
2020-08-16 20:30:00 | 3.662 | 14.95 | 3.855 | 24.98 | 3.326 | 23.5312 | 3.318 | 29.32 | 25.25 | 969.062 | 99.8807 | 1.2045
2020-08-16 20:45:00 | 3.583 | 27.85 | 3.832 | 36.45 | 3.171 | 34.3359 | 3.048 | 47.61 | 25.14 | 968.913 | 99.8485 | 1.6331
2020-08-16 21:00:00 | 4.239 | 25.1 | 3.788 | 34.92 | 3.092 | 32.8946 | 2.954 | 40.3 | 25.18 | 969.21 | 99.8815 | 1.9952
2020-08-16 21:15:00 | 4.425 | 16.26 | 4.264 | 28.22 | 3.415 | 26.5832 | 3.28 | 27.99 | 25.05 | 969.21 | 99.8833 | 2.4423
2020-08-16 21:30:00 | 4.535 | 17.43 | 3.988 | 27.03 | 3.174 | 25.4623 | 2.992 | 29.24 | 24.98 | 969.062 | 99.8524 | 2.8931
2020-08-16 21:45:00 | 4.721 | 28.31 | 4.584 | 36.15 | 3.769 | 34.0533 | 3.672 | 41.58 | 24.93 | 968.913 | 99.89 | 1.3634
2020-08-16 22:00:00 | 4.001 | 31.91 | 3.569 | 41.6 | 3.344 | 39.1872 | 3.221 | 77.57 | 24.98 | 968.913 | 99.8934 | 1.1528
2020-08-16 22:15:00 | 3.187 | 44.35 | 2.572 | 38.14 | 3.092 | 35.9279 | 3.132 | 103 | 24.93 | 968.913 | 99.8903 | 1.3228
2020-08-16 22:30:00 | 3.036 | 39.51 | 2.329 | 25.14 | 2.248 | 23.6819 | 2.325 | 92.9 | 24.85 | 968.765 | 99.8902 | 1.0124
2020-08-16 22:45:00 | 3.626 | 41.89 | 3.101 | 39.44 | 3.115 | 37.1525 | 3.338 | 97.5 | 24.75 | 968.616 | 99.8935 | 0.50619
2020-08-16 23:00:00 | 2.949 | 14.11 | 1.93 | 15.75 | 2.178 | 14.8365 | 2.659 | 94.2 | 24.72 | 968.913 | 99.8971 | 0.044338
2020-08-16 23:15:00 | 1.908 | 94.5 | 1.978 | 67.39 | 3.863 | 63.4814 | 3.919 | 120.3 | 24.72 | 968.765 | 99.8961 | -0.18844
2020-08-16 23:30:00 | 1.599 | 108.1 | 2.414 | 100.8 | 4.341 | 94.9536 | 4.454 | 117.3 | 24.73 | 968.468 | 99.8962 | -0.23647
2020-08-16 23:45:00 | 5.076 | 112.3 | 5.749 | 126 | 6.259 | 118.692 | 6.331 | 119.8 | 25.54 | 968.616 | 99.896 | 1.755