## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-17 00:00:00 | 2.082 | 123.3 | 3.316 | 141.9 | 4.272 | 133.67 | 4.441 | 127.9 | 26.18 | 968.913 | 99.8812 | 1.2304
2020-08-17 00:15:00 | 1.178 | 141.7 | 1.857 | 160.4 | 3.474 | 151.097 | 3.506 | 142.9 | 26.09 | 968.913 | 99.0967 | 0.49511
2020-08-17 00:30:00 | 0.168 | 125.6 | 1.4 | 155.4 | 3.349 | 146.387 | 3.496 | 125.2 | 25.16 | 968.616 | 99.8807 | 0.36579
2020-08-17 00:45:00 | 3.943 | 111.3 | 4.4 | 125.1 | 5.005 | 117.844 | 5.05 | 119 | 26.27 | 968.598 | 98.3126 | 1.1971
2020-08-17 01:00:00 | 3.064 | 113.1 | 3.551 | 129.1 | 4.461 | 121.612 | 4.594 | 122.2 | 26.28 | 968.761 | 95.1764 | 2.2908
2020-08-17 01:15:00 | 4.612 | 120.3 | 5.218 | 133.9 | 6.592 | 126.134 | 6.626 | 127.2 | 27.36 | 969.062 | 85.0861 | 4.5262
2020-08-17 01:30:00 | 0.255 | 115.1 | 0.39 | 183.1 | 2.235 | 172.48 | 2.3 | 122 | 27.66 | 969.057 | 89.1036 | 1.9324
2020-08-17 01:45:00 | 0.399 | 136 | 0.638 | 150.3 | 1.765 | 141.583 | 1.81 | 142.9 | 27.19 | 969.307 | 90.9062 | 0.67985
2020-08-17 02:00:00 | 2.231 | 119.8 | 2.719 | 132.9 | 4.143 | 125.192 | 4.194 | 130.4 | 27.44 | 969.351 | 86.9184 | 0.97544
2020-08-17 02:15:00 | 2.546 | 117.9 | 2.349 | 134.7 | 3.425 | 126.887 | 3.435 | 125.2 | 27.52 | 969.346 | 88.3479 | 1.7144
2020-08-17 02:30:00 | 2.653 | 119.6 | 2.779 | 134.1 | 3.751 | 126.322 | 3.748 | 131.1 | 27.41 | 969.173 | 88.6174 | 4.3784
2020-08-17 02:45:00 | 1.997 | 133.8 | 2.355 | 143.1 | 3.865 | 134.8 | 4.018 | 139.3 | 27.27 | 969.297 | 88.8897 | 5.7048
2020-08-17 03:00:00 | 2.315 | 124.9 | 2.643 | 148 | 4.311 | 139.416 | 4.413 | 130.2 | 27.46 | 969.333 | 90.3204 | 6.1815
2020-08-17 03:15:00 | 3.475 | 133.9 | 4.18 | 150 | 5.628 | 141.3 | 5.635 | 137.3 | 27.42 | 969.016 | 90.7294 | 8.8122
2020-08-17 03:30:00 | 4.057 | 139.5 | 4.686 | 154.7 | 5.948 | 145.727 | 5.969 | 143.9 | 27.38 | 968.86 | 91.8882 | 10.3382
2020-08-17 03:45:00 | 4.116 | 137.1 | 4.354 | 156.5 | 5.486 | 147.423 | 5.424 | 139.9 | 27.12 | 968.993 | 93.9673 | 10.3234
2020-08-17 04:00:00 | 4.816 | 140.5 | 5.491 | 157 | 6.264 | 147.894 | 6.188 | 143.9 | 27.18 | 969.03 | 93.6605 | 12.2336
2020-08-17 04:15:00 | 4.532 | 141.1 | 4.959 | 162.2 | 6.175 | 152.792 | 6.229 | 144.4 | 27.03 | 968.899 | 94.5149 | 12.762
2020-08-17 04:30:00 | 4.022 | 141.9 | 4.486 | 162.5 | 5.43 | 153.075 | 5.432 | 147.7 | 27.09 | 968.899 | 95.6384 | 14.5725
2020-08-17 04:45:00 | 5.572 | 140.3 | 5.849 | 160.1 | 6.676 | 150.814 | 6.695 | 145.1 | 27.07 | 968.855 | 95.7806 | 18.271
2020-08-17 05:00:00 | 4.716 | 144.4 | 5.167 | 162.6 | 6.007 | 153.169 | 6.071 | 149.7 | 26.99 | 968.903 | 95.2707 | 20.584
2020-08-17 05:15:00 | 5.314 | 150.9 | 5.711 | 169.5 | 6.203 | 159.669 | 6.178 | 154.4 | 26.96 | 969.164 | 95.7133 | 13.3125
2020-08-17 05:30:00 | 5.515 | 156.9 | 5.599 | 173.4 | 6.816 | 163.343 | 6.881 | 161.1 | 26.95 | 969.161 | 95.7502 | 8.2986
2020-08-17 05:45:00 | 5.25 | 152.1 | 5.489 | 172.9 | 6.528 | 162.872 | 6.567 | 156.5 | 27 | 969.491 | 95.7112 | 8.4612
2020-08-17 06:00:00 | 4.714 | 150.4 | 5.044 | 166.9 | 6.02 | 157.22 | 6.145 | 157.2 | 26.93 | 969.624 | 95.7758 | 8.5351
2020-08-17 06:15:00 | 4.377 | 150 | 4.423 | 169.6 | 5.17 | 159.763 | 5.266 | 155 | 27.05 | 969.755 | 95.6035 | 10.7409
2020-08-17 06:30:00 | 5.582 | 147.1 | 5.765 | 166.6 | 6.574 | 156.937 | 6.562 | 153.3 | 27 | 969.574 | 95.3306 | 12.108
2020-08-17 06:45:00 | 5.498 | 147.8 | 5.407 | 167.1 | 0 | 157.408 | 6.147 | 152.2 | 27.22 | 969.953 | 94.9557 | 12.2189
2020-08-17 07:00:00 | 4.698 | 143.5 | 4.957 | 165.5 | 5.085 | 155.901 | 5.383 | 150.7 | 27.47 | 970.249 | 91.6804 | 9.3332
2020-08-17 07:15:00 | 5.587 | 148.4 | 5.726 | 169.1 | 6.394 | 159.292 | 6.359 | 155.8 | 27.68 | 970.546 | 92.4981 | 7.4414
2020-08-17 07:30:00 | 5.799 | 150.9 | 5.977 | 166.7 | 6.185 | 157.031 | 6.063 | 157.1 | 27.75 | 970.322 | 91.5899 | 7.8257
2020-08-17 07:45:00 | 5.288 | 148.6 | 5.711 | 164.1 | 6.025 | 154.582 | 6 | 156 | 27.78 | 970.398 | 90.4259 | 9.4736
2020-08-17 08:00:00 | 5.865 | 147.4 | 5.954 | 164.7 | 6.269 | 155.147 | 6.211 | 151.9 | 27.95 | 970.695 | 89.2675 | 14.1291
2020-08-17 08:15:00 | 5.863 | 148.4 | 6.253 | 165.3 | 6.569 | 155.713 | 6.494 | 153 | 28.04 | 970.843 | 89.4719 | 13.6377
2020-08-17 08:30:00 | 5.707 | 144.1 | 5.903 | 159 | 6.208 | 149.778 | 6.147 | 151.6 | 28.29 | 970.695 | 87.7683 | 17.4766
2020-08-17 08:45:00 | 7.384 | 151.4 | 7.245 | 165.6 | 7.146 | 155.995 | 7.112 | 153.7 | 28.69 | 971.139 | 86.6099 | 15.7881
2020-08-17 09:00:00 | 6.309 | 151.8 | 7.051 | 167.5 | 6.566 | 157.785 | 6.506 | 154.8 | 28.73 | 971.139 | 90.0167 | 15.7253
2020-08-17 09:15:00 | 6.984 | 144.4 | 7.237 | 160.5 | 6.882 | 151.191 | 6.695 | 151.8 | 28.74 | 971.287 | 89.3352 | 15.74
2020-08-17 09:30:00 | 6.978 | 148.3 | 6.693 | 161.7 | 5.816 | 152.321 | 5.526 | 155.6 | 28.97 | 971.139 | 85.244 | 15.6255
2020-08-17 09:45:00 | 6.271 | 152.4 | 6.156 | 165.2 | 5.735 | 155.618 | 5.623 | 158.7 | 29.65 | 971.732 | 84.1189 | 15.4038
2020-08-17 10:00:00 | 6.146 | 156 | 6.197 | 168.5 | 5.567 | 158.727 | 5.46 | 163.3 | 29.8 | 972.029 | 78.8333 | 14.4136
2020-08-17 10:15:00 | 5.702 | 155.9 | 5.737 | 173.6 | 5.231 | 163.531 | 5.164 | 161.7 | 30.09 | 971.732 | 79.8528 | 14.0958
2020-08-17 10:30:00 | 5.801 | 166.6 | 5.42 | 188.9 | 4.763 | 177.944 | 4.79 | 166.8 | 30.24 | 971.732 | 79.7472 | 12.544
2020-08-17 10:45:00 | 6.179 | 171.9 | 5.926 | 190.1 | 5.564 | 179.074 | 5.447 | 178.1 | 30.34 | 971.732 | 79.4042 | 13.2128
2020-08-17 11:00:00 | 5.406 | 168.1 | 5.709 | 184.8 | 4.773 | 174.082 | 4.719 | 175.6 | 30.65 | 971.584 | 79.158 | 10.4675
2020-08-17 11:15:00 | 5.623 | 181.7 | 5.808 | 196.9 | 5.219 | 185.48 | 5.185 | 183 | 30.8 | 971.584 | 76.1618 | 12.4738
2020-08-17 11:30:00 | 5.725 | 177.3 | 5.806 | 191 | 5.086 | 179.922 | 5.052 | 184.3 | 31.15 | 972.029 | 77.3514 | 10.098
2020-08-17 11:45:00 | 6.294 | 187.8 | 5.944 | 201.8 | 5.325 | 190.096 | 5.325 | 189.6 | 31.37 | 971.584 | 74.421 | 11.0069
2020-08-17 12:00:00 | 5.878 | 184.9 | 5.448 | 205 | 4.298 | 193.11 | 4.237 | 183.2 | 30.96 | 971.436 | 75.3406 | 11.0217
2020-08-17 12:15:00 | 6.304 | 187.9 | 5.959 | 203.9 | 4.982 | 192.074 | 5.024 | 187.1 | 31.28 | 971.287 | 73.5379 | 13.9333
2020-08-17 12:30:00 | 6.223 | 176.2 | 5.77 | 189.3 | 5.409 | 178.321 | 5.269 | 177.7 | 31.33 | 971.732 | 71.4672 | 13.5047
2020-08-17 12:45:00 | 6.271 | 178.2 | 6.005 | 198.8 | 5.14 | 187.27 | 5.032 | 177 | 31.42 | 971.287 | 72.9337 | 11.5205
2020-08-17 13:00:00 | 5.441 | 158.3 | 5.427 | 170 | 4.664 | 160.14 | 4.576 | 171.1 | 31.25 | 971.732 | 73.7864 | 10.7889
2020-08-17 13:15:00 | 6.795 | 174.8 | 6.534 | 194.8 | 5.852 | 183.502 | 5.844 | 175.9 | 31.65 | 970.991 | 67.8938 | 13.1167
2020-08-17 13:30:00 | 6.123 | 164.6 | 6.141 | 181.5 | 5.641 | 170.973 | 5.686 | 169.5 | 31.84 | 971.139 | 67.1099 | 14.1586
2020-08-17 13:45:00 | 7.024 | 184.4 | 6.79 | 198.3 | 6.213 | 186.799 | 6.134 | 188 | 31.81 | 971.287 | 67.4166 | 14.6168
2020-08-17 14:00:00 | 8.41 | 181.8 | 8.17 | 195 | 7.574 | 183.69 | 7.568 | 185.2 | 32.03 | 971.287 | 64.9992 | 18.2193
2020-08-17 14:15:00 | 5.921 | 168.5 | 6.13 | 184.6 | 5.605 | 173.893 | 5.602 | 175.7 | 32.07 | 971.584 | 66.326 | 14.2658
2020-08-17 14:30:00 | 5.814 | 173.1 | 5.611 | 194.1 | 5.094 | 182.842 | 5.011 | 174.6 | 32.2 | 971.436 | 67.3066 | 14.6501
2020-08-17 14:45:00 | 6.138 | 170.9 | 6.353 | 187.2 | 5.809 | 176.342 | 5.78 | 172.6 | 32.59 | 971.139 | 63.5559 | 15.6366
2020-08-17 15:00:00 | 6.429 | 177.1 | 6.038 | 196 | 5.422 | 184.632 | 5.36 | 179.5 | 32.44 | 970.991 | 65.327 | 15.8841
2020-08-17 15:15:00 | 5.038 | 151.2 | 5.328 | 165.4 | 5.114 | 155.807 | 5.108 | 159 | 32.39 | 971.287 | 66.8937 | 17.5542
2020-08-17 15:30:00 | 7.206 | 150.4 | 7.276 | 166.1 | 7.134 | 156.466 | 6.98 | 156.4 | 32.04 | 970.991 | 63.8624 | 16.7229
2020-08-17 15:45:00 | 8.15 | 151.7 | 7.943 | 170.4 | 7.546 | 160.517 | 7.469 | 153.5 | 32.11 | 971.436 | 66.1444 | 19.7416
2020-08-17 16:00:00 | 7.351 | 149.5 | 7.227 | 167.2 | 7.398 | 157.502 | 7.268 | 156.1 | 32.33 | 971.139 | 60.8651 | 23.8059
2020-08-17 16:15:00 | 7.977 | 148.4 | 7.805 | 164 | 7.141 | 154.488 | 6.858 | 157.5 | 32.28 | 971.139 | 63.3856 | 25.0178
2020-08-17 16:30:00 | 5.102 | 155.7 | 5.302 | 173.9 | 4.929 | 163.814 | 4.808 | 159.8 | 32.33 | 971.139 | 64.169 | 20.8094
2020-08-17 16:45:00 | 6.973 | 153.4 | 7.191 | 168.3 | 7.2 | 158.539 | 7.105 | 158.6 | 32.12 | 970.843 | 63.9646 | 21.8033
2020-08-17 17:00:00 | 7.446 | 149.3 | 7.905 | 165.5 | 8.18 | 155.901 | 8.09 | 154.4 | 32.06 | 970.546 | 62.3978 | 26.5068
2020-08-17 17:15:00 | 7.939 | 152.4 | 7.662 | 168.8 | 7.497 | 159.01 | 7.4 | 158.4 | 32.02 | 970.546 | 61.9218 | 21.8513
2020-08-17 17:30:00 | 7.382 | 155.2 | 7.276 | 172 | 7.22 | 162.024 | 7.143 | 159.3 | 31.96 | 970.398 | 63.4878 | 17.5173
2020-08-17 17:45:00 | 7.18 | 148.6 | 7.462 | 164.8 | 7.731 | 155.242 | 7.596 | 154.8 | 31.85 | 970.398 | 65.8379 | 17.6946
2020-08-17 18:00:00 | 5.569 | 145.2 | 6.123 | 163.3 | 6.831 | 153.829 | 6.738 | 152.3 | 31.53 | 970.102 | 67.7191 | 17.6835
2020-08-17 18:15:00 | 4.818 | 142.5 | 4.729 | 158.9 | 4.717 | 149.684 | 4.647 | 149.7 | 31.28 | 970.102 | 71.4019 | 18.0863
2020-08-17 18:30:00 | 5.296 | 139.6 | 5.524 | 159.1 | 5.765 | 149.872 | 5.717 | 146.9 | 31.18 | 969.36 | 69.6758 | 18.925
2020-08-17 18:45:00 | 6.488 | 139 | 6.588 | 154.3 | 6.729 | 145.351 | 6.555 | 145 | 31.03 | 968.619 | 68.3475 | 19.2169
2020-08-17 19:00:00 | 6.235 | 144.8 | 6.476 | 159.8 | 6.676 | 150.532 | 6.618 | 150.2 | 31.18 | 968.768 | 71.1414 | 16.3645
2020-08-17 19:15:00 | 4.67 | 138.5 | 5.085 | 155.4 | 5.699 | 146.387 | 5.696 | 143.6 | 30.88 | 969.064 | 70.0511 | 17.1589
2020-08-17 19:30:00 | 5.735 | 138.5 | 5.936 | 154 | 6.638 | 145.068 | 6.593 | 145.6 | 30.96 | 968.948 | 66.6451 | 20.4066
2020-08-17 19:45:00 | 6.445 | 134.7 | 6.644 | 151.4 | 6.778 | 142.619 | 6.58 | 143.4 | 31.06 | 969.664 | 66.9234 | 18.9213
2020-08-17 20:00:00 | 6.532 | 141.6 | 7.043 | 157.2 | 7.533 | 148.082 | 7.471 | 147.8 | 31.01 | 969.49 | 64.6107 | 20.6172
2020-08-17 20:15:00 | 6.299 | 140.3 | 6.79 | 156.7 | 7.449 | 147.611 | 7.39 | 147.4 | 31 | 969.672 | 65.0905 | 21.9659
2020-08-17 20:30:00 | 6.371 | 145.3 | 6.964 | 160.2 | 7.848 | 150.908 | 7.851 | 151.3 | 30.91 | 969.744 | 64.8852 | 26.8172
2020-08-17 20:45:00 | 6.738 | 149.3 | 7.168 | 170.3 | 8.14 | 160.423 | 8.12 | 152.6 | 30.95 | 970.265 | 64.0008 | 30.6931
2020-08-17 21:00:00 | 8.11 | 146.4 | 8.55 | 160.4 | 9.29 | 151.097 | 9.25 | 153 | 30.94 | 970.385 | 65.4665 | 31.0736
2020-08-17 21:15:00 | 7.315 | 150.9 | 7.713 | 167.2 | 8.68 | 157.502 | 8.69 | 154.6 | 30.76 | 970.393 | 66.9002 | 30.4788
2020-08-17 21:30:00 | 7.078 | 144.2 | 7.57 | 160.9 | 8.45 | 151.568 | 8.47 | 151.3 | 30.62 | 970.213 | 67.0054 | 30.8741
2020-08-17 21:45:00 | 7.53 | 140.6 | 8.06 | 158.3 | 8.61 | 149.119 | 8.6 | 147.6 | 30.74 | 970.239 | 68.0257 | 28.6351
2020-08-17 22:00:00 | 7.012 | 146.1 | 7.097 | 161.4 | 8.29 | 152.039 | 8.41 | 152.9 | 30.65 | 970.181 | 69.1187 | 30.9759
2020-08-17 22:15:00 | 7.466 | 145.6 | 7.938 | 161.6 | 8.4 | 152.227 | 8.45 | 152.5 | 30.34 | 970.245 | 70.4131 | 23.8724
2020-08-17 22:30:00 | 7.313 | 146.2 | 7.462 | 161.5 | 8.12 | 152.133 | 8.18 | 153.4 | 30.24 | 970.099 | 72.9357 | 23.2517
2020-08-17 22:45:00 | 6.133 | 147.2 | 6.647 | 165.8 | 7.464 | 156.184 | 7.665 | 152.4 | 29.77 | 970.1 | 74.4012 | 26.2445
2020-08-17 23:00:00 | 5.712 | 148.7 | 6.253 | 167.4 | 7.614 | 157.691 | 7.69 | 154.5 | 29.73 | 969.656 | 73.6847 | 29.5366
2020-08-17 23:15:00 | 6.322 | 154.6 | 6.596 | 169.7 | 7.2 | 159.857 | 7.296 | 160.5 | 29.59 | 970.1 | 74.6345 | 32.3558
2020-08-17 23:30:00 | 6.501 | 152.7 | 6.322 | 172.9 | 7.05 | 162.872 | 7.163 | 155.1 | 29.44 | 969.804 | 76.9566 | 30.7891
2020-08-17 23:45:00 | 6.761 | 152.7 | 7.023 | 167.8 | 7.314 | 158.068 | 7.235 | 158.9 | 29.18 | 969.952 | 79.1347 | 31.4986