## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-18 00:00:00 | 6.662 | 156 | 6.938 | 171.6 | 7.385 | 161.647 | 7.331 | 160.1 | 28.98 | 969.804 | 77.7084 | 26.5031
2020-08-18 00:15:00 | 6.532 | 158.1 | 6.266 | 180.2 | 6.49 | 169.748 | 6.425 | 156.5 | 28.94 | 969.359 | 80.7082 | 26.7322
2020-08-18 00:30:00 | 6.404 | 156 | 6.864 | 174.7 | 7.001 | 164.567 | 6.998 | 158 | 28.88 | 969.656 | 80.1972 | 28.8346
2020-08-18 00:45:00 | 6.537 | 155.2 | 6.34 | 175.4 | 6.742 | 165.227 | 6.677 | 158.9 | 28.8 | 969.507 | 81.4587 | 25.6348
2020-08-18 01:00:00 | 5.873 | 155.4 | 6.514 | 170.2 | 6.689 | 160.328 | 6.537 | 162.6 | 28.72 | 969.359 | 81.7314 | 23.2443
2020-08-18 01:15:00 | 6.095 | 164.8 | 6.381 | 180.2 | 6.546 | 169.748 | 6.511 | 168.1 | 28.81 | 969.211 | 80.6067 | 26.9724
2020-08-18 01:30:00 | 7.004 | 157.8 | 7.069 | 173.8 | 6.762 | 163.72 | 6.733 | 164.5 | 28.86 | 969.359 | 81.1179 | 26.2186
2020-08-18 01:45:00 | 6.174 | 155.1 | 6.542 | 167.2 | 6.406 | 157.502 | 6.353 | 163.5 | 28.62 | 968.914 | 81.8677 | 26.7285
2020-08-18 02:00:00 | 6.215 | 153.7 | 6.245 | 170.3 | 6.465 | 160.423 | 6.445 | 158.9 | 28.53 | 969.359 | 84.4581 | 28.2546
2020-08-18 02:15:00 | 6.187 | 153 | 6.225 | 168.9 | 6.477 | 159.104 | 6.562 | 161.5 | 28.28 | 969.211 | 84.9352 | 33.5825
2020-08-18 02:30:00 | 6.279 | 152.2 | 6.964 | 167 | 7.752 | 157.314 | 7.815 | 157.6 | 28.28 | 968.914 | 86.503 | 32.692
2020-08-18 02:45:00 | 5.883 | 147.9 | 6.036 | 168.1 | 6.867 | 158.35 | 6.975 | 154.4 | 28.04 | 969.062 | 87.73 | 27.6448
2020-08-18 03:00:00 | 5.947 | 156.1 | 5.831 | 178.5 | 6.912 | 168.147 | 6.97 | 159.6 | 28.07 | 969.211 | 86.912 | 25.1952
2020-08-18 03:15:00 | 5.436 | 161.1 | 5.66 | 183.4 | 6.002 | 172.763 | 6.053 | 163.3 | 28.1 | 969.217 | 89.0252 | 27.1867
2020-08-18 03:30:00 | 5.15 | 148.6 | 5.481 | 166.1 | 6.065 | 156.466 | 6.18 | 153.2 | 27.93 | 969.063 | 90.3204 | 27.2088
2020-08-18 03:45:00 | 5.201 | 149.8 | 5.821 | 166.2 | 6.724 | 156.56 | 6.82 | 155 | 27.83 | 969.068 | 91.1724 | 25.1952
2020-08-18 04:00:00 | 5.74 | 145.7 | 6.059 | 164.7 | 6.277 | 155.147 | 6.15 | 151 | 27.62 | 968.974 | 93.047 | 25.8085
2020-08-18 04:15:00 | 4.949 | 149.7 | 5.348 | 170.3 | 6.104 | 160.423 | 6.104 | 153.5 | 27.3 | 969.22 | 94.5467 | 26.662
2020-08-18 04:30:00 | 4.229 | 146.8 | 4.451 | 170.5 | 5.417 | 160.611 | 5.518 | 151.7 | 27.27 | 969.201 | 93.865 | 26.444
2020-08-18 04:45:00 | 5.74 | 143.5 | 6.445 | 162.2 | 6.806 | 152.792 | 6.715 | 149.1 | 27.48 | 969.101 | 92.8425 | 27.1978
2020-08-18 05:00:00 | 6.335 | 143.2 | 6.655 | 162.2 | 7.258 | 152.792 | 7.212 | 148 | 27.53 | 969.133 | 90.7975 | 29.8876
2020-08-18 05:15:00 | 6.253 | 145.4 | 6.476 | 163.5 | 7.006 | 154.017 | 6.888 | 148.5 | 27.6 | 968.994 | 91.7859 | 29.1006
2020-08-18 05:30:00 | 5.955 | 143 | 6.092 | 159.9 | 6.694 | 150.626 | 6.827 | 149.4 | 27.52 | 969.128 | 92.0927 | 31.1586
2020-08-18 05:45:00 | 6.218 | 142.7 | 6.486 | 161.1 | 7.431 | 151.756 | 7.418 | 146.7 | 27.52 | 969.243 | 90.9339 | 31.3582
2020-08-18 06:00:00 | 5.952 | 140.4 | 6.516 | 159.4 | 7.098 | 150.155 | 7.283 | 146.3 | 27.58 | 969.478 | 89.9114 | 29.4886
2020-08-18 06:15:00 | 6.399 | 144.8 | 6.435 | 160.7 | 6.689 | 151.379 | 6.674 | 149.1 | 27.71 | 969.856 | 87.6619 | 36.0949
2020-08-18 06:30:00 | 6.458 | 143.4 | 6.869 | 161.9 | 7.355 | 152.51 | 7.349 | 148.8 | 27.94 | 969.656 | 88.139 | 35.5703
2020-08-18 06:45:00 | 7.264 | 144 | 7.705 | 160.9 | 8.26 | 151.568 | 8.17 | 149.3 | 27.92 | 969.656 | 88.2367 | 33.0689
2020-08-18 07:00:00 | 7.456 | 142.2 | 7.999 | 157 | 8.33 | 147.894 | 8.36 | 149.9 | 28.08 | 969.508 | 86.636 | 35.1823
2020-08-18 07:15:00 | 7.673 | 144.1 | 7.8 | 161.3 | 8.01 | 151.945 | 7.836 | 149.7 | 28.16 | 969.923 | 86.6339 | 32.995
2020-08-18 07:30:00 | 7.586 | 141.1 | 7.992 | 158.2 | 8.38 | 149.024 | 8.26 | 145.1 | 28.33 | 969.779 | 84.9867 | 28.8974
2020-08-18 07:45:00 | 7.683 | 138.6 | 7.726 | 155.8 | 7.714 | 146.764 | 7.657 | 145.9 | 28.45 | 969.96 | 86.815 | 26.8578
2020-08-18 08:00:00 | 7.435 | 141.4 | 7.7 | 157.7 | 7.767 | 148.553 | 7.637 | 147 | 28.43 | 969.805 | 81.5332 | 24.8885
2020-08-18 08:15:00 | 7.206 | 140.3 | 7.404 | 155.7 | 7.299 | 146.669 | 7.247 | 146.5 | 28.69 | 970.102 | 84.77 | 25.3356
2020-08-18 08:30:00 | 6.59 | 139.9 | 6.616 | 157.5 | 6.594 | 148.365 | 6.496 | 144.2 | 28.77 | 970.25 | 82.5213 | 25.8196
2020-08-18 08:45:00 | 6.473 | 138.9 | 6.483 | 159.9 | 6.2 | 150.626 | 6.17 | 142.3 | 29.09 | 970.25 | 83.816 | 21.5705
2020-08-18 09:00:00 | 7.949 | 142.4 | 7.987 | 157.8 | 7.777 | 148.648 | 7.599 | 147.1 | 29.03 | 970.25 | 85.247 | 23.8096
2020-08-18 09:15:00 | 8.09 | 139.9 | 8.14 | 156 | 7.958 | 146.952 | 7.797 | 146.8 | 29.34 | 970.546 | 79.7956 | 25.9489
2020-08-18 09:30:00 | 7.527 | 148.8 | 7.716 | 163.8 | 7.357 | 154.3 | 7.263 | 154.6 | 29.69 | 970.695 | 77.205 | 22.8415
2020-08-18 09:45:00 | 7.466 | 163 | 7.445 | 177.7 | 6.5 | 167.393 | 6.366 | 169 | 29.73 | 970.398 | 76.7612 | 20.4066
2020-08-18 10:00:00 | 7.244 | 190.3 | 7.061 | 204 | 5.636 | 192.168 | 5.475 | 194.6 | 30.15 | 970.398 | 76.184 | 20.8057
2020-08-18 10:15:00 | 7.581 | 187.4 | 7.243 | 201.2 | 6.638 | 189.53 | 6.562 | 189.6 | 30.08 | 970.695 | 79.6593 | 20.9017
2020-08-18 10:30:00 | 7.949 | 176.3 | 7.457 | 193.4 | 6.572 | 182.183 | 6.524 | 177.5 | 29.7 | 970.695 | 80.4769 | 19.9337
2020-08-18 10:45:00 | 6.828 | 184.5 | 6.787 | 197.8 | 6.18 | 186.328 | 6.112 | 187.4 | 30.32 | 969.953 | 78.7053 | 17.8683
2020-08-18 11:00:00 | 7.052 | 182.7 | 6.578 | 198 | 6.06 | 186.516 | 6.02 | 183.1 | 29.77 | 970.102 | 79.4889 | 15.3188
2020-08-18 11:15:00 | 7.229 | 188.6 | 7.081 | 200.8 | 6.037 | 189.154 | 6.01 | 193 | 30.42 | 969.953 | 76.3884 | 17.3879
2020-08-18 11:30:00 | 7.272 | 180.8 | 6.91 | 191.9 | 6.373 | 180.77 | 6.379 | 184.4 | 30.32 | 970.25 | 75.4344 | 17.8498
2020-08-18 11:45:00 | 8.29 | 180.3 | 7.713 | 195.2 | 7.411 | 183.878 | 7.398 | 184.3 | 30.66 | 969.953 | 74.8548 | 22.5792
2020-08-18 12:00:00 | 7.596 | 188.5 | 7.634 | 201.2 | 7.37 | 189.53 | 7.375 | 190.5 | 30.88 | 970.102 | 72.9078 | 21.5262
2020-08-18 12:15:00 | 7.443 | 188.1 | 6.992 | 201.2 | 6.526 | 189.53 | 6.537 | 191.8 | 31.01 | 969.953 | 73.7614 | 24.083
2020-08-18 12:30:00 | 7.063 | 189.7 | 6.754 | 203 | 6.401 | 191.226 | 6.361 | 193 | 31.11 | 969.805 | 68.754 | 26.7285
2020-08-18 12:45:00 | 6.539 | 165.4 | 6.465 | 184 | 5.882 | 173.328 | 5.903 | 171.7 | 31.28 | 970.102 | 68.3475 | 27.8628
2020-08-18 13:00:00 | 9.21 | 179.3 | 8.78 | 194.1 | 8.18 | 182.842 | 8.14 | 181.7 | 31.21 | 969.953 | 69.063 | 29.5809
2020-08-18 13:15:00 | 8.75 | 182.2 | 8.62 | 197.2 | 8.11 | 185.762 | 8.15 | 187.3 | 31.46 | 969.657 | 65.0085 | 33.4568
2020-08-18 13:30:00 | 7.859 | 188.5 | 7.347 | 200.1 | 6.274 | 188.494 | 6.071 | 191.5 | 31.51 | 969.657 | 65.5196 | 33.7781
2020-08-18 13:45:00 | 9.63 | 179.6 | 9.37 | 196.8 | 8.5 | 185.386 | 8.53 | 181.8 | 31.48 | 969.36 | 61.6695 | 40.6307
2020-08-18 14:00:00 | 8.62 | 185 | 8.25 | 198 | 7.754 | 186.516 | 7.82 | 187 | 31.6 | 969.805 | 61.5332 | 38.5853
2020-08-18 14:15:00 | 7.658 | 181 | 7.381 | 195.4 | 6.261 | 184.067 | 6.315 | 183.3 | 31.57 | 969.805 | 62.895 | 31.2584
2020-08-18 14:30:00 | 6.904 | 180.1 | 6.859 | 196.2 | 6.409 | 184.82 | 6.384 | 185 | 32 | 969.657 | 62.2089 | 35.707
2020-08-18 14:45:00 | 7.584 | 178.1 | 7.038 | 198.5 | 6.762 | 186.987 | 6.799 | 176 | 31.77 | 969.36 | 63.8386 | 34.6946
2020-08-18 15:00:00 | 9.34 | 179.5 | 8.7 | 194.8 | 7.831 | 183.502 | 7.775 | 182.7 | 31.87 | 969.212 | 63.1919 | 33.4901
2020-08-18 15:15:00 | 8.05 | 184.1 | 7.567 | 199.5 | 6.783 | 187.929 | 6.804 | 181.7 | 32.06 | 969.36 | 61.4178 | 39.8489
2020-08-18 15:30:00 | 8.57 | 175.7 | 8.52 | 189.9 | 8.19 | 178.886 | 8.28 | 179.4 | 31.9 | 968.619 | 59.2346 | 40.5905
2020-08-18 15:45:00 | 8.73 | 180.2 | 8.61 | 194.8 | 7.851 | 183.502 | 7.945 | 184.6 | 31.85 | 968.619 | 60.3215 | 41.6836
2020-08-18 16:00:00 | 10.52 | 180.1 | 10.46 | 193.4 | 9.78 | 182.183 | 9.8 | 184.1 | 31.86 | 968.619 | 62.026 | 46.7335
2020-08-18 16:15:00 | 8.53 | 179.4 | 7.769 | 197.8 | 6.963 | 186.328 | 7.041 | 181.1 | 31.77 | 968.768 | 64.0362 | 40.5548
2020-08-18 16:30:00 | 9.15 | 175.7 | 8.31 | 192.8 | 6.991 | 181.618 | 7.005 | 179.7 | 31.68 | 968.175 | 65.1979 | 37.1369
2020-08-18 16:45:00 | 9.47 | 183.8 | 8.86 | 198.4 | 7.927 | 186.893 | 7.95 | 185.4 | 31.61 | 968.323 | 64.0065 | 34.0221
2020-08-18 17:00:00 | 8.64 | 178.3 | 8.09 | 191.3 | 7.462 | 180.205 | 7.533 | 182 | 31.55 | 968.768 | 65.4737 | 27.8665
2020-08-18 17:15:00 | 8.83 | 184.6 | 8.43 | 198.2 | 7.65 | 186.704 | 7.749 | 189.3 | 31.49 | 968.471 | 64.9634 | 26.8652
2020-08-18 17:30:00 | 9.35 | 180.1 | 9.36 | 192.5 | 8.74 | 181.335 | 8.75 | 184.7 | 31.48 | 968.768 | 65.4078 | 24.2677
2020-08-18 17:45:00 | 8.44 | 177 | 8.15 | 190 | 8.03 | 178.98 | 8.14 | 183.3 | 31.34 | 968.916 | 64.3231 | 23.4623
2020-08-18 18:00:00 | 8.03 | 177.8 | 7.846 | 191.7 | 7.535 | 180.581 | 7.578 | 182.6 | 31.27 | 968.619 | 64.9402 | 17.5505
2020-08-18 18:15:00 | 7.298 | 177.8 | 7.043 | 191.3 | 7.09 | 180.205 | 7.123 | 183.3 | 31.05 | 968.026 | 65.7581 | 15.256
2020-08-18 18:30:00 | 7.724 | 177.1 | 7.68 | 189 | 7.434 | 178.038 | 7.464 | 182.2 | 30.88 | 968.026 | 66.7802 | 15.3853
2020-08-18 18:45:00 | 7.259 | 179 | 7.268 | 191.9 | 7.434 | 180.77 | 7.479 | 182.6 | 30.62 | 967.878 | 67.5979 | 15.8804
2020-08-18 19:00:00 | 7.561 | 173.9 | 7.557 | 188.1 | 7.792 | 177.19 | 7.833 | 180.1 | 30.38 | 967.754 | 68.4497 | 14.9087
2020-08-18 19:15:00 | 6.667 | 172.9 | 6.061 | 191.2 | 5.562 | 180.11 | 5.623 | 170.5 | 30.28 | 968.226 | 71.1548 | 10.9811
2020-08-18 19:30:00 | 5.12 | 176.9 | 5.136 | 188.8 | 5.447 | 177.85 | 5.569 | 180.6 | 29.91 | 968.616 | 68.539 | 8.5979
2020-08-18 19:45:00 | 7.397 | 177.6 | 7.498 | 191.5 | 7.548 | 180.393 | 7.584 | 180 | 30.3 | 968.32 | 64.8259 | 13.5305
2020-08-18 20:00:00 | 7.941 | 176.2 | 8.06 | 187.9 | 8.21 | 177.002 | 8.24 | 181 | 30.33 | 968.469 | 65.3683 | 18.5777
2020-08-18 20:15:00 | 6.417 | 170.2 | 6.665 | 183.8 | 6.699 | 173.14 | 6.835 | 176.8 | 29.97 | 968.321 | 67.3481 | 17.9828
2020-08-18 20:30:00 | 6.292 | 153.9 | 6.672 | 168.6 | 6.475 | 158.821 | 6.325 | 162.9 | 29.75 | 968.469 | 73.2075 | 25.3836
2020-08-18 20:45:00 | 5.955 | 154.9 | 6.465 | 171.8 | 6.872 | 161.836 | 6.853 | 160 | 29.12 | 968.766 | 79.136 | 21.6666
2020-08-18 21:00:00 | 5.309 | 174.9 | 5.785 | 191.5 | 6.035 | 180.393 | 6.178 | 175.3 | 28.96 | 968.766 | 73.9577 | 14.7203
2020-08-18 21:15:00 | 7.811 | 176.5 | 7.795 | 192.1 | 7.978 | 180.958 | 8.03 | 182.1 | 29.39 | 968.914 | 76.2078 | 18.1047
2020-08-18 21:30:00 | 6.506 | 163.2 | 6.741 | 175.8 | 6.696 | 165.604 | 6.807 | 174.3 | 28.51 | 969.211 | 78.9021 | 18.223
2020-08-18 21:45:00 | 6.062 | 163.6 | 6.153 | 178.2 | 6.17 | 167.864 | 6.201 | 175.3 | 28.4 | 969.062 | 78.1868 | 14.5688
2020-08-18 22:00:00 | 6.422 | 174.4 | 6.263 | 182.9 | 6.439 | 172.292 | 6.476 | 183.2 | 28.59 | 969.211 | 78.1868 | 15.4334
2020-08-18 22:15:00 | 5.829 | 173.5 | 5.806 | 180.3 | 5.915 | 169.843 | 5.982 | 182.4 | 28.64 | 968.914 | 80.8793 | 12.5883
2020-08-18 22:30:00 | 5.339 | 162.9 | 6.146 | 171.2 | 5.974 | 161.27 | 6.043 | 177 | 28.05 | 969.211 | 83.4015 | 10.5968
2020-08-18 22:45:00 | 5.403 | 159.1 | 5.839 | 165.8 | 6.327 | 156.184 | 6.379 | 171.6 | 27.57 | 969.062 | 84.5944 | 8.8676
2020-08-18 23:00:00 | 4.846 | 154.2 | 5.299 | 160.5 | 5.6 | 151.191 | 5.511 | 166 | 27.52 | 969.068 | 87.7982 | 8.1508
2020-08-18 23:15:00 | 4.606 | 163.1 | 5.363 | 167 | 6.325 | 157.314 | 6.3 | 174.5 | 27.29 | 968.99 | 88.3095 | 7.6631
2020-08-18 23:30:00 | 3.371 | 166.5 | 4.331 | 170.6 | 4.852 | 160.705 | 4.841 | 180.7 | 27.31 | 969.243 | 87.5255 | 7.2308
2020-08-18 23:45:00 | 3.552 | 149.6 | 4.307 | 159.5 | 4.537 | 150.249 | 4.535 | 164.9 | 27.3 | 969.123 | 88.4799 | 6.5214