## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-19 00:00:00 | 3.838 | 154 | 4.947 | 163.8 | 5.31 | 154.3 | 5.337 | 166.2 | 27.29 | 969.333 | 87.2535 | 5.6273
2020-08-19 00:15:00 | 3.054 | 157.3 | 4.42 | 166.1 | 5.096 | 156.466 | 5.141 | 170.6 | 27.31 | 969.342 | 88.8563 | 5.5423
2020-08-19 00:30:00 | 2.87 | 154.4 | 4.024 | 166.9 | 4.321 | 157.22 | 4.242 | 167.4 | 26.98 | 969.295 | 89.0977 | 4.5003
2020-08-19 00:45:00 | 2.352 | 169.8 | 3.364 | 177.7 | 4.005 | 167.393 | 3.962 | 181.8 | 27.27 | 969.495 | 88.0082 | 3.2293
2020-08-19 01:00:00 | 1.844 | 160.9 | 2.935 | 168.5 | 4.003 | 158.727 | 3.944 | 173.2 | 27.35 | 969.347 | 88.7245 | 3.536
2020-08-19 01:15:00 | 1.959 | 172.6 | 2.815 | 182.5 | 3.822 | 171.915 | 3.746 | 184.4 | 27.41 | 969.042 | 86.919 | 2.1726
2020-08-19 01:30:00 | 3.524 | 208.9 | 3.888 | 219.8 | 4.471 | 207.052 | 4.441 | 217.3 | 27.72 | 969.356 | 86.5039 | 1.0678
2020-08-19 01:45:00 | 2.847 | 206.2 | 3.464 | 216.9 | 3.708 | 204.32 | 3.72 | 212 | 27.61 | 969.268 | 87.253 | 0.029559
2020-08-19 02:00:00 | 3.179 | 207.2 | 3.668 | 214.7 | 3.771 | 202.247 | 3.7 | 211.1 | 27.3 | 968.924 | 88.6503 | 0.014779
2020-08-19 02:15:00 | 2.817 | 197.8 | 3.356 | 202.9 | 3.657 | 191.132 | 3.58 | 201.6 | 27.27 | 968.86 | 92.9107 | 0.070202
2020-08-19 02:30:00 | 3.577 | 193.2 | 3.875 | 209.4 | 4.008 | 197.255 | 3.955 | 200.5 | 26.87 | 968.829 | 93.3879 | -0.059118
2020-08-19 02:45:00 | 3.475 | 187.4 | 3.645 | 205.8 | 3.611 | 193.864 | 3.555 | 192.2 | 26.59 | 968.721 | 94.4127 | -0.41013
2020-08-19 03:00:00 | 2.04 | 169 | 2.198 | 178.3 | 2.07 | 167.959 | 1.869 | 196.9 | 26.63 | 968.765 | 93.8708 | -0.31776
2020-08-19 03:15:00 | 2.16 | 187.3 | 2.595 | 184.3 | 2.477 | 173.611 | 2.388 | 200.2 | 26.71 | 968.765 | 93.2633 | -0.29928
2020-08-19 03:30:00 | 2.359 | 166.3 | 2.472 | 172 | 1.805 | 162.024 | 1.596 | 187.1 | 26.96 | 968.616 | 88.1537 | -0.29928
2020-08-19 03:45:00 | 1.798 | 195.4 | 2.398 | 194.2 | 2.657 | 182.936 | 2.559 | 204.2 | 27.13 | 968.762 | 85.6995 | -0.28081
2020-08-19 04:00:00 | 1.587 | 194.4 | 2.147 | 190.4 | 2.68 | 179.357 | 2.597 | 207.2 | 27.28 | 968.457 | 78.3364 | -0.29928
2020-08-19 04:15:00 | 1.846 | 188 | 2.242 | 187 | 2.637 | 176.154 | 2.579 | 199.5 | 27.39 | 968.468 | 80.8578 | 0.26603
2020-08-19 04:30:00 | 2.084 | 153.5 | 3.208 | 164.4 | 3.102 | 154.865 | 2.966 | 166.8 | 27.02 | 968.17 | 84.5399 | 2.3204
2020-08-19 04:45:00 | 2.162 | 154.8 | 2.876 | 167.7 | 3.064 | 157.973 | 2.857 | 167.4 | 26.9 | 968.153 | 91.0173 | 0.95696
2020-08-19 05:00:00 | 3.297 | 181.4 | 3.494 | 185 | 3.542 | 174.27 | 3.547 | 192.9 | 26.59 | 968 | 94.29 | 0.45447
2020-08-19 05:15:00 | 2.82 | 240.4 | 2.047 | 296.4 | 1.103 | 279.209 | 0.9 | 191.9 | 25.87 | 968.32 | 95.1764 | -0.20691
2020-08-19 05:30:00 | 2.224 | 185.6 | 1.676 | 255 | 1.264 | 240.21 | 1.086 | 154.1 | 25.56 | 968.32 | 99.8807 | -0.31776
2020-08-19 05:45:00 | 1.601 | 211.8 | 1.751 | 254.9 | 1.526 | 240.116 | 1.194 | 169.9 | 24.79 | 968.32 | 99.8807 | -0.29928
2020-08-19 06:00:00 | 0 | 186.6 | 0.423 | 200.2 | 1.426 | 188.588 | 1.267 | 180.5 | 24.7 | 968.32 | 99.8824 | -0.29928
2020-08-19 06:15:00 | 0.192 | 151.1 | 0.258 | 166.2 | 0.541 | 156.56 | 0.243 | 168.4 | 24.85 | 968.32 | 99.8824 | -0.31776
2020-08-19 06:30:00 | 1.306 | 127.6 | 1.242 | 110.6 | 1.976 | 104.185 | 1.938 | 135.6 | 24.62 | 969.062 | 99.881 | -0.31037
2020-08-19 06:45:00 | 3.018 | 289.3 | 2.786 | 319.2 | 0.81 | 300.686 | 0.589 | 57.5 | 24.21 | 968.912 | 99.8807 | 0.12562
2020-08-19 07:00:00 | 5.209 | 306.9 | 5.289 | 318.8 | 4.748 | 300.31 | 4.711 | 310.5 | 23.13 | 969.21 | 99.8807 | 4.0237
2020-08-19 07:15:00 | 3.851 | 312.2 | 3.633 | 326.7 | 3.253 | 307.751 | 3.267 | 307.3 | 22.8 | 968.468 | 99.895 | 2.8783
2020-08-19 07:30:00 | 3.317 | 3.099 | 3.374 | 22.49 | 3.019 | 21.1856 | 2.946 | 2.843 | 22.88 | 968.468 | 99.8636 | 2.1467
2020-08-19 07:45:00 | 3.411 | 358.3 | 3.244 | 21.39 | 3.4 | 20.1494 | 3.522 | 357.7 | 22.87 | 968.616 | 99.866 | 1.8585
2020-08-19 08:00:00 | 2.589 | 4.12 | 2.753 | 28.45 | 2.652 | 26.7999 | 2.747 | 0.35 | 22.89 | 968.616 | 99.9043 | 0.76853
2020-08-19 08:15:00 | 2.556 | 4.552 | 2.525 | 19.81 | 2.706 | 18.661 | 2.73 | 356.5 | 22.98 | 968.913 | 99.8989 | 0.56162
2020-08-19 08:30:00 | 2.104 | 5.558 | 2.584 | 25.82 | 2.604 | 24.3224 | 2.525 | 354.8 | 22.98 | 969.21 | 99.8636 | 6.6101
2020-08-19 08:45:00 | 5.824 | 265.6 | 5.818 | 278.4 | 5.302 | 262.253 | 5.129 | 268.5 | 23.08 | 970.693 | 99.8636 | 27.6919
2020-08-19 09:00:00 | 7.1 | 267.7 | 7.375 | 283.1 | 7.505 | 266.68 | 7.512 | 264.6 | 22.24 | 969.803 | 99.8773 | 1.2526
2020-08-19 09:15:00 | 2.452 | 327.6 | 2.912 | 351 | 3.219 | 330.642 | 3.198 | 322.4 | 22.24 | 968.765 | 99.8806 | 0.9348
2020-08-19 09:30:00 | 3.196 | 306.1 | 2.197 | 36.46 | 2.545 | 34.3453 | 2.496 | 237 | 22 | 968.62 | 99.8806 | -0.41752
2020-08-19 09:45:00 | 1.702 | 248.2 | 1.088 | 305.9 | 1.992 | 288.158 | 2.017 | 247.2 | 21.58 | 968.799 | 99.9147 | -0.15149
2020-08-19 10:00:00 | 3.889 | 298.5 | 4.103 | 314.5 | 4.224 | 296.259 | 4.146 | 296.8 | 21.94 | 969.31 | 99.8465 | 5.509
2020-08-19 10:15:00 | 4.28 | 329.8 | 3.865 | 344.8 | 3.291 | 324.802 | 3.244 | 323.8 | 21.68 | 969.323 | 99.8806 | 12.1634
2020-08-19 10:30:00 | 3.095 | 348.5 | 3.304 | 0.331 | 3.695 | 0.3118 | 3.748 | 341.9 | 21.61 | 969.568 | 99.9147 | 31.7441
2020-08-19 10:45:00 | 2.94 | 351.8 | 3.695 | 23.83 | 5.089 | 22.4479 | 5.065 | 344.4 | 21.28 | 969.817 | 99.9147 | 33.8876
2020-08-19 11:00:00 | 5.069 | 358.7 | 5.67 | 23.94 | 5.77 | 22.5515 | 6.012 | 352.9 | 20.44 | 969.174 | 99.8465 | 35.7017
2020-08-19 11:15:00 | 5.61 | 355 | 5.969 | 18.54 | 7.106 | 17.4647 | 7.184 | 352.6 | 19.99 | 969.209 | 99.8968 | 28.0919
2020-08-19 11:30:00 | 5.878 | 357.1 | 5.974 | 17.45 | 6.297 | 16.4379 | 6.241 | 352.5 | 19.96 | 969.654 | 99.8635 | 14.7461
2020-08-19 11:45:00 | 5.273 | 0.546 | 5.583 | 26.47 | 5.447 | 24.9347 | 5.607 | 355.4 | 19.81 | 969.654 | 99.8977 | 21.4707
2020-08-19 12:00:00 | 4.17 | 352.2 | 4.665 | 20.79 | 6.081 | 19.5842 | 6.236 | 343 | 20.16 | 970.099 | 99.8635 | 27.2495
2020-08-19 12:15:00 | 5.097 | 345.5 | 5.512 | 10.62 | 6.65 | 10.004 | 6.873 | 342.2 | 20.28 | 970.099 | 99.8625 | 35.9398
2020-08-19 12:30:00 | 3.952 | 356.7 | 5.108 | 20.45 | 6.307 | 19.2639 | 6.516 | 348.1 | 20.65 | 970.417 | 99.8819 | 35.3042
2020-08-19 12:45:00 | 3.868 | 0.811 | 5.466 | 28.59 | 6.012 | 26.9318 | 6.081 | 348.1 | 20.91 | 970.101 | 99.9148 | 38.2232
2020-08-19 13:00:00 | 6.218 | 2.757 | 7.342 | 26.99 | 7.042 | 25.4246 | 7.079 | 353.9 | 21.38 | 969.952 | 98.4133 | 44.3344
2020-08-19 13:15:00 | 5.348 | 8.65 | 7.314 | 35.04 | 6.205 | 33.0077 | 6.188 | 353.7 | 21.55 | 970.248 | 94.5802 | 42.7161
2020-08-19 13:30:00 | 4.882 | 4.121 | 7.074 | 28.46 | 6.938 | 26.8093 | 7.163 | 354.5 | 22.24 | 970.545 | 92.8048 | 46.3835
2020-08-19 13:45:00 | 4.599 | 5.518 | 6.734 | 29.24 | 7.169 | 27.5441 | 7.24 | 351.4 | 22.26 | 970.248 | 91.5431 | 37.4288
2020-08-19 14:00:00 | 8.01 | 5.324 | 8.89 | 26.25 | 8.52 | 24.7275 | 8.79 | 2.544 | 21.87 | 969.952 | 93.5881 | 38.8956
2020-08-19 14:15:00 | 7.721 | 5.797 | 8.12 | 24.99 | 8.18 | 23.5406 | 8.5 | 1.291 | 21.96 | 969.358 | 94.3731 | 42.1951
2020-08-19 14:30:00 | 6.733 | 359 | 7.68 | 19.81 | 8.52 | 18.661 | 8.56 | 358.9 | 22.14 | 969.507 | 95.8382 | 41.5485
2020-08-19 14:45:00 | 6.519 | 358.9 | 7.14 | 24.49 | 7.594 | 23.0696 | 7.823 | 351.8 | 21.96 | 968.913 | 95.6011 | 46.4027
2020-08-19 15:00:00 | 5.86 | 4.058 | 6.943 | 32.02 | 6.841 | 30.1628 | 7.087 | 352.2 | 21.95 | 968.913 | 94.1698 | 52.1151
2020-08-19 15:15:00 | 7.229 | 358.2 | 7.813 | 22.75 | 8.85 | 21.4305 | 9.05 | 355.9 | 22.1 | 969.507 | 94.0675 | 48.553
2020-08-19 15:30:00 | 7.632 | 5.481 | 8.42 | 25.86 | 8.85 | 24.3601 | 9.15 | 2.853 | 22.08 | 969.507 | 93.4538 | 45.018
2020-08-19 15:45:00 | 7.627 | 0.822 | 7.981 | 25.55 | 8.76 | 24.0681 | 9.01 | 0.656 | 22.24 | 970.1 | 92.6668 | 39.0841
2020-08-19 16:00:00 | 6.404 | 355.8 | 6.667 | 21.7 | 7.975 | 20.4414 | 8.2 | 350.5 | 22.41 | 970.545 | 93.7506 | 34.4027
2020-08-19 16:15:00 | 5.15 | 2.519 | 6.148 | 29.57 | 5.674 | 27.8549 | 5.704 | 353.5 | 22.47 | 970.545 | 94.0285 | 27.449
2020-08-19 16:30:00 | 7.052 | 2.919 | 7.283 | 21.33 | 7.658 | 20.0929 | 7.721 | 358.5 | 22.46 | 970.545 | 93.7572 | 25.0843
2020-08-19 16:45:00 | 4.793 | 1.549 | 6.33 | 28.52 | 5.445 | 26.8658 | 5.546 | 351.5 | 22.48 | 970.248 | 94.4411 | 19.9411
2020-08-19 17:00:00 | 5.612 | 0.634 | 5.821 | 21.11 | 6.065 | 19.8856 | 6.178 | 357.7 | 22.44 | 969.803 | 94.9198 | 23.9648
2020-08-19 17:15:00 | 4.295 | 350.6 | 5.287 | 19.42 | 6.305 | 18.2936 | 6.382 | 345.8 | 22.32 | 969.655 | 96.454 | 21.2121
2020-08-19 17:30:00 | 4.285 | 355.8 | 4.798 | 25.69 | 5.241 | 24.2 | 5.332 | 350.1 | 22.2 | 969.655 | 97.3065 | 18.6664
2020-08-19 17:45:00 | 2.392 | 349.4 | 2.623 | 17.59 | 3.728 | 16.5698 | 3.657 | 344.4 | 22.02 | 968.913 | 99.0868 | 25.8085
2020-08-19 18:00:00 | 4.305 | 349 | 3.805 | 8.51 | 4.372 | 8.0164 | 4.55 | 347.3 | 21.72 | 968.617 | 99.9145 | 38.4116
2020-08-19 18:15:00 | 4.885 | 350 | 4.865 | 10.25 | 5.709 | 9.6555 | 5.826 | 344.1 | 21.4 | 968.468 | 99.9147 | 42.2823
2020-08-19 18:30:00 | 3.981 | 353.7 | 4.149 | 24.53 | 5.425 | 23.1073 | 5.625 | 346.1 | 21.13 | 968.801 | 99.8813 | 40.5768
2020-08-19 18:45:00 | 4.17 | 356.9 | 5.547 | 26.5 | 6.607 | 24.963 | 6.769 | 348.4 | 21 | 969.208 | 99.9216 | 29.2595
2020-08-19 19:00:00 | 6.133 | 4.502 | 6.887 | 25.63 | 7.332 | 24.1435 | 7.594 | 360 | 20.99 | 969.506 | 99.8595 | 20.8611
2020-08-19 19:15:00 | 6.179 | 9.23 | 7.468 | 29.08 | 6.137 | 27.3934 | 5.826 | 9.74 | 21.06 | 969.506 | 99.8635 | 18.7698
2020-08-19 19:30:00 | 5.901 | 7.694 | 7.14 | 27.62 | 5.908 | 26.018 | 5.73 | 8.16 | 21.12 | 969.802 | 99.8635 | 18.2488
2020-08-19 19:45:00 | 6.105 | 9.59 | 7.508 | 29.32 | 6.498 | 27.6194 | 5.875 | 11.62 | 21.05 | 970.099 | 99.8635 | 15.8952
2020-08-19 20:00:00 | 6.013 | 7.879 | 6.217 | 24.24 | 5.221 | 22.8341 | 5.045 | 8.91 | 21.03 | 970.099 | 99.8635 | 19.4201
2020-08-19 20:15:00 | 5.99 | 359.4 | 6.115 | 17.76 | 7.403 | 16.7299 | 7.54 | 358.1 | 20.81 | 970.099 | 99.8635 | 24.1717
2020-08-19 20:30:00 | 4.997 | 353.7 | 5.138 | 16.3 | 6.231 | 15.3546 | 6.417 | 351.1 | 20.52 | 970.248 | 99.8635 | 20.1849
2020-08-19 20:45:00 | 6.046 | 359.2 | 5.841 | 19.75 | 6.752 | 18.6045 | 7.135 | 359.2 | 20.5 | 970.396 | 99.8977 | 17.1552
2020-08-19 21:00:00 | 5.38 | 1.712 | 5.397 | 18.91 | 5.956 | 17.8132 | 6.183 | 3.259 | 20.47 | 970.544 | 99.8653 | 16.867
2020-08-19 21:15:00 | 3.735 | 347.9 | 4.261 | 17.11 | 5.496 | 16.1176 | 5.696 | 350.2 | 20.53 | 970.693 | 99.8977 | 19.0987
2020-08-19 21:30:00 | 5.089 | 354.1 | 5.491 | 18.47 | 7.187 | 17.3987 | 7.324 | 353.4 | 20.51 | 970.693 | 99.8638 | 27.3255
2020-08-19 21:45:00 | 5.755 | 353.7 | 6.289 | 16.1 | 7.154 | 15.1662 | 7.324 | 351.9 | 20.48 | 970.693 | 99.8636 | 21.9326
2020-08-19 22:00:00 | 5.258 | 0.046 | 5.581 | 24.54 | 6.312 | 23.1167 | 6.608 | 359.3 | 20.37 | 971.138 | 99.8658 | 19.3056
2020-08-19 22:15:00 | 5.183 | 1.775 | 5.338 | 23.82 | 6.043 | 22.4384 | 6.308 | 359.4 | 20.34 | 971.286 | 99.8636 | 17.5764
2020-08-19 22:30:00 | 4.997 | 352.4 | 5.046 | 20.94 | 6.566 | 19.7255 | 6.664 | 352.9 | 20.31 | 971.286 | 99.8688 | 17.3842
2020-08-19 22:45:00 | 5.5 | 4.299 | 5.66 | 26.34 | 5.857 | 24.8123 | 6.267 | 1.396 | 20.34 | 970.99 | 99.865 | 18.3671
2020-08-19 23:00:00 | 5.712 | 13.33 | 7.005 | 28.41 | 6.757 | 26.7622 | 6.389 | 20.82 | 20.33 | 970.841 | 99.8721 | 13.5859
2020-08-19 23:15:00 | 4.757 | 18.48 | 6.757 | 31.36 | 6.404 | 29.5411 | 6.183 | 24.5 | 20.51 | 970.99 | 99.8693 | 11.8937
2020-08-19 23:30:00 | 5.817 | 6.972 | 6.161 | 25.69 | 5.356 | 24.2 | 5.151 | 9.93 | 20.51 | 970.841 | 99.8665 | 11.6425
2020-08-19 23:45:00 | 5.245 | 3.122 | 5.069 | 21.85 | 5.689 | 20.5827 | 5.964 | 0.882 | 20.51 | 970.841 | 99.8664 | 14.1476