## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-20 00:00:00 | 5.38 | 4.791 | 5.202 | 22.3 | 5.498 | 21.0066 | 5.806 | 3.95 | 20.51 | 970.99 | 99.8651 | 13.8963
2020-08-20 00:15:00 | 5.436 | 4.608 | 5.299 | 23.82 | 5.33 | 22.4384 | 5.376 | 5.459 | 20.53 | 970.693 | 99.8638 | 12.5699
2020-08-20 00:30:00 | 4.969 | 0.166 | 4.826 | 20.8 | 5.28 | 19.5936 | 5.488 | 1.393 | 20.58 | 970.841 | 99.8647 | 11.1252
2020-08-20 00:45:00 | 4.869 | 353.4 | 4.972 | 13.93 | 6.154 | 13.1221 | 6.201 | 355.2 | 20.66 | 970.693 | 99.8636 | 17.8572
2020-08-20 01:00:00 | 5.03 | 352 | 4.97 | 17.79 | 6.391 | 16.7582 | 6.56 | 350.8 | 20.76 | 970.544 | 99.8636 | 29.5477
2020-08-20 01:15:00 | 6.871 | 359.5 | 6.407 | 18.28 | 7.256 | 17.2198 | 7.601 | 1.468 | 20.24 | 970.396 | 99.8636 | 31.6057
2020-08-20 01:30:00 | 7.175 | 6.501 | 7.583 | 25.6 | 6.788 | 24.1152 | 6.674 | 8.27 | 20.1 | 969.951 | 99.8651 | 30.9406
2020-08-20 01:45:00 | 6.769 | 9.31 | 7.772 | 28.46 | 6.783 | 26.8093 | 6.585 | 9.54 | 20.19 | 970.248 | 99.8744 | 30.0428
2020-08-20 02:00:00 | 6.659 | 5.162 | 6.867 | 27.25 | 6.594 | 25.6695 | 6.679 | 5.524 | 20.3 | 970.099 | 99.938 | 33.9224
2020-08-20 02:15:00 | 6.907 | 7.499 | 7.6 | 25.65 | 6.851 | 24.1623 | 6.529 | 11.43 | 20.35 | 970.396 | 99.9071 | 35.8031
2020-08-20 02:30:00 | 6.552 | 15.88 | 9.1 | 32.59 | 8.78 | 30.6998 | 8.55 | 19.09 | 20.37 | 970.248 | 99.9021 | 34.8091
2020-08-20 02:45:00 | 6.991 | 10.65 | 8.04 | 27.69 | 7.024 | 26.084 | 6.501 | 13.47 | 20.44 | 970.396 | 99.9037 | 32.3964
2020-08-20 03:00:00 | 6.81 | 9.72 | 8.02 | 29.08 | 7.268 | 27.3934 | 6.906 | 12 | 20.46 | 970.693 | 99.9029 | 30.7522
2020-08-20 03:15:00 | 7.543 | 10.33 | 8.41 | 27.7 | 7.762 | 26.0934 | 7.54 | 12.4 | 20.43 | 970.693 | 99.8685 | 27.5451
2020-08-20 03:30:00 | 7.236 | 9.4 | 8.13 | 26.68 | 7.268 | 25.1326 | 7.069 | 15.16 | 20.44 | 970.841 | 99.8659 | 25.8565
2020-08-20 03:45:00 | 6.177 | 8.75 | 6.887 | 24.72 | 6.628 | 23.2862 | 6.499 | 12.31 | 20.48 | 970.693 | 99.933 | 25.3208
2020-08-20 04:00:00 | 6.989 | 3.112 | 6.665 | 23.05 | 6.648 | 21.7131 | 6.702 | 5.693 | 20.38 | 970.693 | 99.9025 | 31.3212
2020-08-20 04:15:00 | 6.708 | 3.69 | 7.176 | 26.29 | 7.22 | 24.7652 | 7.553 | 2.656 | 20.31 | 970.544 | 99.8704 | 36.4301
2020-08-20 04:30:00 | 7.075 | 2.493 | 7.386 | 23.27 | 7.884 | 21.9203 | 8.17 | 4.698 | 20.29 | 970.544 | 99.8696 | 42.3123
2020-08-20 04:45:00 | 7.492 | 7.673 | 8.56 | 28.59 | 7.34 | 26.9318 | 7.347 | 9.38 | 20.25 | 970.396 | 99.8736 | 43.9982
2020-08-20 05:00:00 | 7.977 | 7.884 | 8.63 | 25.09 | 7.904 | 23.6348 | 7.762 | 11.06 | 20.25 | 970.248 | 99.8742 | 46.8211
2020-08-20 05:15:00 | 7.43 | 11.42 | 9.1 | 28.62 | 8.03 | 26.96 | 7.617 | 15.25 | 20.24 | 970.396 | 99.9086 | 37.878
2020-08-20 05:30:00 | 7.264 | 6.845 | 7.82 | 23.99 | 7.324 | 22.5986 | 7.202 | 7.783 | 20.22 | 970.693 | 99.9085 | 38.1049
2020-08-20 05:45:00 | 6.948 | 2.657 | 7.163 | 23.5 | 7.841 | 22.137 | 8.22 | 0.874 | 20.17 | 970.99 | 99.8762 | 42.088
2020-08-20 06:00:00 | 7.009 | 6.292 | 7.595 | 26.24 | 6.966 | 24.7181 | 6.769 | 9.13 | 20.06 | 971.31 | 99.9128 | 35.5703
2020-08-20 06:15:00 | 7.584 | 11.98 | 9.85 | 29.01 | 9.05 | 27.3274 | 8.61 | 15.26 | 19.98 | 971.299 | 99.9114 | 37.9461
2020-08-20 06:30:00 | 7.392 | 10.09 | 9.2 | 27.04 | 9.16 | 25.4717 | 8.53 | 15.47 | 19.96 | 971.322 | 99.8806 | 39.4343
2020-08-20 06:45:00 | 6.075 | 10.73 | 8.04 | 27.91 | 7.66 | 26.2912 | 7.061 | 16.4 | 19.97 | 971.36 | 99.9146 | 34.3695
2020-08-20 07:00:00 | 6.815 | 9.42 | 8.38 | 25.12 | 8.43 | 23.663 | 7.828 | 15.28 | 19.96 | 971.586 | 99.8806 | 34.7685
2020-08-20 07:15:00 | 6.94 | 9.27 | 8.69 | 25.59 | 8.31 | 24.1058 | 7.876 | 16.49 | 19.94 | 971.751 | 99.8806 | 34.0517
2020-08-20 07:30:00 | 5.868 | 13.29 | 7.731 | 27.56 | 7.327 | 25.9615 | 7.084 | 19.75 | 19.97 | 971.917 | 99.8806 | 27.1054
2020-08-20 07:45:00 | 5.324 | 16.84 | 8.02 | 31.19 | 8.1 | 29.381 | 7.843 | 21.88 | 19.97 | 971.918 | 99.8806 | 29.2373
2020-08-20 08:00:00 | 5.403 | 14.75 | 8.01 | 31.27 | 8.18 | 29.4563 | 7.693 | 20.1 | 19.97 | 972.029 | 99.8781 | 25.439
2020-08-20 08:15:00 | 5.21 | 14.74 | 7.598 | 27.18 | 7.233 | 25.6036 | 6.893 | 22.12 | 19.99 | 972.205 | 99.8784 | 24.7702
2020-08-20 08:30:00 | 6.09 | 8.81 | 6.908 | 22.98 | 6.892 | 21.6472 | 6.544 | 15.29 | 20.01 | 972.031 | 99.9094 | 24.1754
2020-08-20 08:45:00 | 7.249 | 9.59 | 7.496 | 22.79 | 7.538 | 21.4682 | 7.133 | 15.19 | 19.97 | 972.177 | 99.9113 | 27.582
2020-08-20 09:00:00 | 7.203 | 5.582 | 7.608 | 21.28 | 7.337 | 20.0458 | 7.138 | 8.8 | 19.98 | 972.474 | 99.9045 | 29.2624
2020-08-20 09:15:00 | 7.121 | 8.59 | 7.854 | 23.76 | 7.533 | 22.3819 | 7.123 | 12.85 | 19.98 | 972.474 | 99.8685 | 30.3901
2020-08-20 09:30:00 | 7.744 | 8.72 | 9.01 | 25.66 | 7.813 | 24.1717 | 7.612 | 12.15 | 19.94 | 972.474 | 99.9357 | 32.9285
2020-08-20 09:45:00 | 6.815 | 9.29 | 7.79 | 25.82 | 7.403 | 24.3224 | 7.107 | 12.23 | 20.01 | 972.474 | 99.9036 | 25.1397
2020-08-20 10:00:00 | 6.225 | 9.68 | 7.074 | 24.54 | 6.699 | 23.1167 | 6.516 | 13.62 | 20.1 | 972.919 | 99.8641 | 21.7072
2020-08-20 10:15:00 | 6.498 | 11.28 | 8 | 26.69 | 7.67 | 25.142 | 7.321 | 18.64 | 20.1 | 973.067 | 99.9318 | 20.9646
2020-08-20 10:30:00 | 4.818 | 16.97 | 7.409 | 31.72 | 7.162 | 29.8802 | 6.901 | 23.34 | 20.29 | 973.067 | 99.8977 | 23.8539
2020-08-20 10:45:00 | 6.279 | 14.72 | 8.3 | 32.41 | 7.828 | 30.5302 | 7.474 | 19.43 | 20.36 | 972.771 | 99.8977 | 26.8763
2020-08-20 11:00:00 | 6.452 | 9.74 | 8.22 | 27.04 | 7.864 | 25.4717 | 7.337 | 15.08 | 20.45 | 973.067 | 99.9318 | 26.6509
2020-08-20 11:15:00 | 6.09 | 9.58 | 7.25 | 26.56 | 6.971 | 25.0195 | 6.644 | 11.47 | 20.47 | 973.067 | 99.9318 | 23.7911
2020-08-20 11:30:00 | 7.063 | 7.881 | 7.355 | 24.29 | 6.579 | 22.8812 | 6.524 | 7.353 | 20.42 | 973.067 | 99.8636 | 30.549
2020-08-20 11:45:00 | 6.618 | 3.9 | 6.762 | 21.98 | 7.068 | 20.7052 | 7.148 | 5.615 | 20.32 | 973.067 | 99.8977 | 26.4514
2020-08-20 12:00:00 | 6.445 | 10.79 | 7.56 | 25.39 | 6.945 | 23.9174 | 6.735 | 12.62 | 20.57 | 973.364 | 99.8636 | 24.5449
2020-08-20 12:15:00 | 5.247 | 6.958 | 5.992 | 24.89 | 5.625 | 23.4464 | 5.467 | 8.89 | 20.71 | 973.809 | 99.9318 | 28.3358
2020-08-20 12:30:00 | 5.355 | 1.748 | 6.031 | 25.32 | 6.129 | 23.8514 | 6.259 | 2.899 | 20.64 | 973.809 | 99.8636 | 35.4003
2020-08-20 12:45:00 | 6.815 | 2.089 | 6.711 | 18.41 | 7.591 | 17.3422 | 7.907 | 2.204 | 20.42 | 973.364 | 99.8636 | 35.9424
2020-08-20 13:00:00 | 7.012 | 8.99 | 8.17 | 26.79 | 7.5 | 25.2362 | 7.158 | 12.74 | 20.32 | 973.216 | 99.8636 | 44.1128
2020-08-20 13:15:00 | 6.013 | 15.83 | 8.97 | 31.83 | 8.8 | 29.9839 | 8.33 | 20.66 | 20.31 | 973.364 | 99.8636 | 29.374
2020-08-20 13:30:00 | 6.552 | 11.57 | 8.09 | 29.09 | 7.017 | 27.4028 | 6.601 | 14.67 | 20.58 | 973.067 | 99.8636 | 30.5933
2020-08-20 13:45:00 | 7.338 | 4.581 | 8.09 | 21.22 | 8.32 | 19.9892 | 8.17 | 6.521 | 20.37 | 973.067 | 99.8636 | 29.0378
2020-08-20 14:00:00 | 6.532 | 9.21 | 8.44 | 26.71 | 7.614 | 25.1608 | 7.4 | 13.72 | 20.44 | 973.067 | 99.9318 | 23.6433
2020-08-20 14:15:00 | 6.618 | 13.7 | 8.17 | 24.16 | 8.23 | 22.7587 | 7.833 | 14.18 | 20.38 | 972.919 | 99.8636 | 26.6768
2020-08-20 14:30:00 | 5.903 | 13.15 | 8.24 | 29.5 | 7.805 | 27.789 | 7.214 | 16.64 | 20.28 | 973.067 | 99.8977 | 29.3888
2020-08-20 14:45:00 | 6.902 | 9.18 | 8.67 | 27.08 | 7.324 | 25.5094 | 7.1 | 11.45 | 20.19 | 973.067 | 99.8636 | 26.0302
2020-08-20 15:00:00 | 6.675 | 9.14 | 8.05 | 25.26 | 7.66 | 23.7949 | 7.349 | 14.55 | 20.09 | 973.067 | 99.8636 | 22.5866
2020-08-20 15:15:00 | 6.616 | 5.982 | 6.522 | 19.45 | 6.406 | 18.3219 | 6.272 | 4.927 | 19.99 | 973.067 | 99.8637 | 29.9726
2020-08-20 15:30:00 | 6.504 | 11.3 | 8.26 | 28.78 | 7.742 | 27.1108 | 7.316 | 14.64 | 19.87 | 972.771 | 99.8675 | 30.7079
2020-08-20 15:45:00 | 6.455 | 13.97 | 8.55 | 29.35 | 8.17 | 27.6477 | 7.769 | 17.79 | 19.95 | 972.622 | 99.8665 | 30.8187
2020-08-20 16:00:00 | 7.032 | 10.05 | 8.43 | 27.02 | 7.82 | 25.4528 | 7.283 | 14.56 | 19.91 | 972.474 | 99.8738 | 30.5268
2020-08-20 16:15:00 | 5.283 | 18.51 | 8.26 | 32.76 | 8.42 | 30.8599 | 8.05 | 22 | 19.91 | 972.221 | 99.9467 | 25.2949
2020-08-20 16:30:00 | 5.735 | 16.76 | 8.86 | 34.63 | 8.11 | 32.6215 | 7.55 | 20.27 | 20.01 | 972.486 | 99.8796 | 23.3958
2020-08-20 16:45:00 | 5.62 | 13.45 | 7.966 | 29.56 | 7.932 | 27.8455 | 7.26 | 17.65 | 19.97 | 972.328 | 99.8781 | 26.5142
2020-08-20 17:00:00 | 6.715 | 6.555 | 7.999 | 25.28 | 7.024 | 23.8138 | 6.886 | 10.15 | 19.86 | 972.045 | 99.8806 | 35.0899
2020-08-20 17:15:00 | 6.981 | 12.95 | 8.53 | 30.04 | 8.03 | 28.2977 | 7.749 | 16.2 | 19.81 | 972.093 | 99.9147 | 38.7589
2020-08-20 17:30:00 | 6.309 | 10.65 | 8.36 | 25.76 | 8.05 | 24.2659 | 7.578 | 16.64 | 19.55 | 971.62 | 99.9488 | 39.3892
2020-08-20 17:45:00 | 5.176 | 24.18 | 8.41 | 40.8 | 8.53 | 38.4336 | 8.36 | 29.63 | 19.49 | 972.08 | 99.8806 | 33.1117
2020-08-20 18:00:00 | 7.27 | 5.415 | 7.191 | 22.91 | 7.281 | 21.5812 | 7.252 | 6.215 | 19.45 | 971.735 | 99.8806 | 34.4988
2020-08-20 18:15:00 | 6.128 | 17.09 | 8.64 | 31.54 | 8.22 | 29.7107 | 7.976 | 22.33 | 19.4 | 972.114 | 99.8806 | 31.2214
2020-08-20 18:30:00 | 6.138 | 13.45 | 8.79 | 31.46 | 8.06 | 29.6353 | 7.441 | 17.17 | 19.31 | 972.128 | 99.8806 | 34.8093
2020-08-20 18:45:00 | 6.246 | 23.31 | 9.94 | 38.17 | 9.98 | 35.9561 | 9.84 | 29.1 | 19.29 | 971.697 | 99.8806 | 32.4925
2020-08-20 19:00:00 | 7.081 | 11.3 | 9.69 | 29.08 | 8.91 | 27.3934 | 8.25 | 15.38 | 19.29 | 972.148 | 99.8806 | 33.9002
2020-08-20 19:15:00 | 6.81 | 15.61 | 9.64 | 31.43 | 9.37 | 29.6071 | 9.01 | 21.71 | 19.21 | 972.177 | 99.8806 | 28.6757
2020-08-20 19:30:00 | 6.468 | 15.39 | 9.2 | 31.98 | 9.15 | 30.1252 | 8.8 | 20.97 | 19.23 | 972.325 | 99.8806 | 32.5479
2020-08-20 19:45:00 | 5.901 | 18.22 | 8.74 | 32.57 | 8.76 | 30.6809 | 8.54 | 23.1 | 19.11 | 972.895 | 99.8806 | 25.4131
2020-08-20 20:00:00 | 6.394 | 16.83 | 9.32 | 33.66 | 8.96 | 31.7077 | 8.55 | 21.63 | 19.16 | 972.918 | 99.9147 | 21.6887
2020-08-20 20:15:00 | 5.559 | 18.87 | 8.3 | 33.81 | 8.05 | 31.849 | 7.721 | 23.58 | 19.08 | 973.067 | 99.6759 | 22.4684
2020-08-20 20:30:00 | 5.219 | 16.47 | 8.11 | 32.74 | 7.945 | 30.8411 | 7.393 | 20.85 | 19.08 | 973.364 | 98.8913 | 17.4692
2020-08-20 20:45:00 | 5.745 | 15.58 | 7.58 | 31.51 | 7.271 | 29.6824 | 7.069 | 20.23 | 19.13 | 973.364 | 99.8806 | 19.9743
2020-08-20 21:00:00 | 5.099 | 18.8 | 7.641 | 33.38 | 7.284 | 31.444 | 7.146 | 24.28 | 19 | 973.513 | 97.868 | 14.6057
2020-08-20 21:15:00 | 5.508 | 10.17 | 6.734 | 26.09 | 6.068 | 24.5768 | 5.671 | 15.82 | 19.02 | 973.364 | 98.8572 | 11.1843
2020-08-20 21:30:00 | 5.27 | 9 | 6.483 | 23.33 | 5.999 | 21.9769 | 5.755 | 15.32 | 18.9 | 973.661 | 96.9469 | 7.8146
2020-08-20 21:45:00 | 3.988 | 14.05 | 6.059 | 29.07 | 5.88 | 27.3839 | 5.612 | 19.51 | 18.88 | 973.661 | 99.1984 | 6.9241
2020-08-20 22:00:00 | 4.022 | 12.32 | 5.691 | 27.45 | 5.379 | 25.8579 | 5.014 | 18.46 | 18.73 | 973.809 | 99.1301 | 7.9957
2020-08-20 22:15:00 | 3.876 | 15.77 | 5.941 | 29.58 | 6.083 | 27.8644 | 5.9 | 22.26 | 18.8 | 973.513 | 99.8806 | 9.8578
2020-08-20 22:30:00 | 3.567 | 18.53 | 5.453 | 30.71 | 5.292 | 28.9288 | 5.271 | 25.05 | 18.54 | 973.809 | 99.8806 | 4.7848
2020-08-20 22:45:00 | 3.177 | 21.77 | 5.164 | 35.11 | 5.157 | 33.0736 | 5.121 | 29.16 | 18.6 | 973.513 | 99.8806 | 6.4069
2020-08-20 23:00:00 | 3.072 | 18.93 | 4.443 | 30.52 | 4.316 | 28.7498 | 4.293 | 30.31 | 18.57 | 973.513 | 99.8806 | 4.3932
2020-08-20 23:15:00 | 3.378 | 18.49 | 4.75 | 30.76 | 4.641 | 28.9759 | 4.688 | 26.08 | 18.6 | 973.364 | 99.8806 | 3.1185
2020-08-20 23:30:00 | 3.2 | 20.88 | 4.095 | 33.05 | 4.168 | 31.1331 | 4.283 | 28.37 | 18.47 | 973.364 | 99.8806 | 2.712
2020-08-20 23:45:00 | 2.671 | 25.23 | 3.252 | 38.62 | 3.502 | 36.38 | 3.657 | 35.63 | 18.23 | 973.364 | 99.8806 | -0.15518