## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-21 00:00:00 | 2.638 | 34.84 | 3.106 | 44.68 | 3.392 | 42.0886 | 3.524 | 44.31 | 18.57 | 973.067 | 99.9488 | 0.50619
2020-08-21 00:15:00 | 2.423 | 40.79 | 3.144 | 53.2 | 3.212 | 50.1144 | 3.374 | 49.71 | 18.43 | 973.067 | 99.8811 | -0.0073897
2020-08-21 00:30:00 | 2.418 | 29.11 | 2.219 | 39.4 | 2.833 | 37.1148 | 3.005 | 41.99 | 18.28 | 973.067 | 99.9489 | 0.044338
2020-08-21 00:45:00 | 1.933 | 30.71 | 2.597 | 45.87 | 2.97 | 43.2095 | 3.147 | 42.55 | 18.3 | 973.216 | 99.8465 | -0.22539
2020-08-21 01:00:00 | 1.726 | 37.71 | 1.858 | 45.88 | 2.327 | 43.219 | 2.618 | 49.77 | 18.57 | 973.364 | 98.7556 | -0.32145
2020-08-21 01:15:00 | 0.834 | 42.66 | 0.33 | 64.3 | 1.414 | 60.5706 | 1.772 | 66.3 | 18.65 | 973.216 | 97.1517 | -0.29928
2020-08-21 01:30:00 | 1.611 | 43.85 | 0.878 | 47.83 | 1.32 | 45.0559 | 1.553 | 64.12 | 18.56 | 973.364 | 98.414 | -0.29928
2020-08-21 01:45:00 | 1.701 | 13.07 | 1.522 | 26.52 | 1.696 | 24.9818 | 1.838 | 39.73 | 18.48 | 973.364 | 99.9148 | -0.29928
2020-08-21 02:00:00 | 1.516 | 12.7 | 1.545 | 25.25 | 2.24 | 23.7855 | 2.365 | 13.28 | 18.21 | 973.067 | 99.8806 | -0.011085
2020-08-21 02:15:00 | 2.319 | 15.27 | 3.078 | 32.06 | 3.342 | 30.2005 | 3.478 | 20.64 | 17.97 | 972.77 | 99.8806 | 0.77222
2020-08-21 02:30:00 | 2.088 | 18.96 | 3.523 | 35.04 | 3.708 | 33.0077 | 3.924 | 21.33 | 17.99 | 972.77 | 99.8806 | 0.67985
2020-08-21 02:45:00 | 1.487 | 17.24 | 1.654 | 31.7 | 2.225 | 29.8614 | 2.462 | 25.03 | 17.97 | 972.77 | 99.8806 | 0.077592
2020-08-21 03:00:00 | 1.599 | 42.37 | 1.853 | 40.86 | 2.317 | 38.4901 | 2.584 | 51.88 | 18.11 | 973.067 | 99.8825 | -0.31776
2020-08-21 03:15:00 | 0.033 | 67.98 | 0.829 | 70.55 | 1.912 | 66.4581 | 2.187 | 74.33 | 18.09 | 973.067 | 99.8807 | -0.2882
2020-08-21 03:30:00 | 1.795 | 52.37 | 2.354 | 65.12 | 2.696 | 61.343 | 2.989 | 65.22 | 18.44 | 972.919 | 99.8806 | -0.29928
2020-08-21 03:45:00 | 2.076 | 33.38 | 2.242 | 43.8 | 2.823 | 41.2596 | 3.04 | 40.82 | 18.22 | 972.77 | 99.8806 | -0.2882
2020-08-21 04:00:00 | 1.772 | 26.36 | 2.635 | 39.33 | 3.403 | 37.0489 | 3.621 | 36.49 | 18.05 | 972.77 | 99.9148 | -0.014779
2020-08-21 04:15:00 | 2.418 | 26.45 | 3.722 | 36.79 | 3.754 | 34.6562 | 4.087 | 38.32 | 18.26 | 972.622 | 99.8807 | 0.90524
2020-08-21 04:30:00 | 3.299 | 8.61 | 3.065 | 14.68 | 3.133 | 13.8286 | 3.282 | 21.47 | 18.04 | 972.919 | 99.9148 | 2.8635
2020-08-21 04:45:00 | 2.819 | 8.56 | 4.755 | 24.67 | 4.684 | 23.2391 | 4.005 | 18.47 | 17.87 | 972.77 | 99.8824 | 4.6333
2020-08-21 05:00:00 | 3.218 | 9.42 | 5.013 | 25.41 | 4.827 | 23.9362 | 3.995 | 16.55 | 17.94 | 972.622 | 99.8829 | 3.9091
2020-08-21 05:15:00 | 2.845 | 10.19 | 5.187 | 25.12 | 4.567 | 23.663 | 3.899 | 18.79 | 17.89 | 972.77 | 99.883 | 3.8352
2020-08-21 05:30:00 | 3.759 | 16.63 | 5.069 | 30.28 | 4.903 | 28.5238 | 5.004 | 21.65 | 17.97 | 972.474 | 99.8819 | 4.4116
2020-08-21 05:45:00 | 3.764 | 22.47 | 5.292 | 37.98 | 5.213 | 35.7772 | 5.32 | 29.32 | 17.81 | 972.77 | 99.8831 | 3.9572
2020-08-21 06:00:00 | 3.531 | 12.15 | 5.706 | 26.1 | 5.363 | 24.5862 | 5.169 | 19.49 | 18.01 | 973.067 | 98.7567 | 3.1776
2020-08-21 06:15:00 | 3.102 | 12.9 | 4.492 | 25.88 | 4.555 | 24.379 | 4.202 | 20.04 | 18.22 | 973.364 | 99.9163 | 2.3019
2020-08-21 06:30:00 | 3.06 | 18.68 | 4.855 | 30.46 | 4.593 | 28.6933 | 4.663 | 25.23 | 18.24 | 973.364 | 99.8124 | 2.7748
2020-08-21 06:45:00 | 3.874 | 17.74 | 4.972 | 32.5 | 4.501 | 30.615 | 4.594 | 25.25 | 18.36 | 973.661 | 97.8339 | 2.2797
2020-08-21 07:00:00 | 3.784 | 18.15 | 4.993 | 32.87 | 4.702 | 30.9635 | 4.747 | 23.31 | 18.7 | 973.8 | 96.4012 | 1.8991
2020-08-21 07:15:00 | 3.634 | 15.16 | 5.082 | 30.59 | 4.664 | 28.8158 | 4.449 | 18.34 | 18.93 | 974.108 | 92.0207 | 1.4853
2020-08-21 07:30:00 | 4.139 | 15.61 | 4.867 | 30.92 | 4.608 | 29.1266 | 4.594 | 21.96 | 18.95 | 974.254 | 91.5417 | 1.7809
2020-08-21 07:45:00 | 4.387 | 12.56 | 5.468 | 29.66 | 4.567 | 27.9397 | 4.522 | 17 | 19.27 | 974.254 | 90.0694 | 3.1517
2020-08-21 08:00:00 | 4.438 | 10.05 | 5.501 | 26.43 | 4.972 | 24.8971 | 4.703 | 14.13 | 19.26 | 974.227 | 87.983 | 5.509
2020-08-21 08:15:00 | 3.853 | 16.24 | 6.271 | 31.2 | 5.689 | 29.3904 | 5.521 | 22.79 | 19.65 | 974.84 | 86.557 | 5.9191
2020-08-21 08:30:00 | 4.512 | 19.97 | 6.506 | 36.02 | 6.213 | 33.9308 | 6.104 | 23.97 | 19.98 | 974.848 | 85.7327 | 6.0669
2020-08-21 08:45:00 | 3.754 | 16.72 | 5.305 | 33.78 | 4.916 | 31.8208 | 4.652 | 21.67 | 20.32 | 974.856 | 84.4331 | 5.9265
2020-08-21 09:00:00 | 3.239 | 23.12 | 4.919 | 34.75 | 4.71 | 32.7345 | 4.464 | 28.66 | 20.84 | 975.143 | 82.1015 | 4.6666
2020-08-21 09:15:00 | 3.304 | 18.4 | 4.509 | 33.52 | 4.631 | 31.5758 | 4.385 | 24.09 | 21.12 | 975.292 | 81.0733 | 4.1936
2020-08-21 09:30:00 | 3.703 | 14.84 | 4.561 | 30.48 | 3.967 | 27.9868 | 3.669 | 20.9 | 21 | 975.143 | 79.2228 | 2.9743
2020-08-21 09:45:00 | 2.78 | 21.07 | 3.364 | 24.91 | 3.7 | 32.0751 | 3.567 | 29.59 | 21.67 | 975.737 | 76.4957 | 1.7883
2020-08-21 10:00:00 | 2.776 | 41.21 | 3.622 | 49.84 | 3.537 | 46.9493 | 3.415 | 15.91 | 22.03 | 976.033 | 76.9388 | 0.81656
2020-08-21 10:15:00 | 1.743 | 15.68 | 2.722 | 31.51 | 2.459 | 25.8014 | 2.085 | 15.99 | 21.7 | 976.169 | 78.6087 | 0.50989
2020-08-21 10:30:00 | 1.522 | 45.22 | 2.595 | 54.7 | 2.467 | 37.388 | 2.218 | 38.22 | 21.74 | 976.181 | 78.3364 | -0.12562
2020-08-21 10:45:00 | 0.912 | 29.68 | 2.855 | 42.12 | 2.001 | 39.677 | 1.542 | 30.28 | 21.83 | 976.181 | 79.2909 | -0.34362
2020-08-21 11:00:00 | 0.303 | 25.85 | 1.793 | 39.37 | 2.039 | 40.6756 | 1.808 | 33.99 | 22.01 | 976.181 | 80.351 | -0.29928
2020-08-21 11:15:00 | 0 | 33.71 | 0.303 | 33.06 | 1.018 | 44.1798 | 0.45 | 22.02 | 22.8 | 976.33 | 73.5679 | -0.26972
2020-08-21 11:30:00 | 0.37 | 27.06 | 0.946 | 54.27 | 0.216 | 51.1223 | 0.036 | 71.04 | 22.77 | 976.478 | 78.5088 | -0.25864
2020-08-21 11:45:00 | 0.588 | 2.868 | 1.398 | 24.5 | 1.475 | 19.9516 | 0.899 | 3.114 | 22.59 | 976.33 | 78.3365 | -0.25864
2020-08-21 12:00:00 | 2.076 | 346 | 1.674 | 4.831 | 2.001 | 23.0131 | 1.758 | 349.4 | 21.95 | 975.885 | 76.8366 | -0.25864
2020-08-21 12:15:00 | 2.079 | 14.18 | 3.157 | 31.66 | 2.902 | 29.8237 | 2.694 | 16.01 | 21.92 | 975.885 | 77.4537 | -0.26972
2020-08-21 12:30:00 | 1.471 | 25.85 | 2.456 | 43.18 | 2.329 | 28.6556 | 2.07 | 28.22 | 22.07 | 975.885 | 78.0744 | -0.26972
2020-08-21 12:45:00 | 1.997 | 18.88 | 3.525 | 34.97 | 3.349 | 30.0027 | 3.122 | 22.99 | 22.37 | 975.885 | 78.0043 | -0.15888
2020-08-21 13:00:00 | 2.86 | 14.63 | 4.277 | 31.69 | 3.998 | 29.852 | 3.692 | 18.61 | 22.39 | 976.033 | 73.2923 | -0.21061
2020-08-21 13:15:00 | 2.253 | 17.35 | 4.244 | 33.58 | 3.977 | 28.9665 | 3.606 | 20.59 | 22.77 | 975.736 | 76.0185 | -0.099761
2020-08-21 13:30:00 | 3.994 | 8.87 | 4.952 | 25.13 | 4.478 | 26.6303 | 4.072 | 10.8 | 22.77 | 975.44 | 71.9277 | 0.42121
2020-08-21 13:45:00 | 2.85 | 13.85 | 4.067 | 26.36 | 3.899 | 24.8311 | 3.501 | 13.08 | 23 | 975.736 | 71.8596 | 0.99022
2020-08-21 14:00:00 | 2.038 | 45.07 | 2.932 | 59.45 | 2.401 | 62.7937 | 2.159 | 47.08 | 23.17 | 975.736 | 71.5187 | 0.45816
2020-08-21 14:15:00 | 1.393 | 17.98 | 3.213 | 27.5 | 3.319 | 21.6848 | 2.877 | 15.07 | 23.04 | 975.44 | 74.314 | 0.099761
2020-08-21 14:30:00 | 2.545 | 9.58 | 3.76 | 32.05 | 3.377 | 30.1911 | 3.333 | 354.4 | 23.25 | 975.44 | 69.0643 | 0.073897
2020-08-21 14:45:00 | 1.604 | 17.22 | 2.965 | 29.84 | 2.838 | 28.1093 | 2.386 | 21.53 | 23.26 | 975.291 | 71.1096 | -0.22539
2020-08-21 15:00:00 | 1.311 | 19.55 | 3.055 | 35.29 | 3.072 | 33.2432 | 2.824 | 24.48 | 23.48 | 975.142 | 66.7803 | -0.19213
2020-08-21 15:15:00 | 0.523 | 41.78 | 1.899 | 55.23 | 1.8 | 52.0267 | 1.417 | 38.37 | 23.6 | 975.44 | 69.0613 | -0.26972
2020-08-21 15:30:00 | 0.61 | 28.79 | 1.114 | 40.33 | 1.323 | 37.9909 | 0.81 | 38.14 | 23.68 | 975.406 | 67.0429 | -0.26972
2020-08-21 15:45:00 | 0.569 | 7.612 | 1.223 | 6.482 | 1.052 | 6.106 | 0.541 | 9.01 | 23.76 | 975.356 | 70.4855 | -0.26972
2020-08-21 16:00:00 | 0.119 | 356.9 | 0.094 | 5.385 | 0.465 | 5.0727 | 0.018 | 4.238 | 23.91 | 975.12 | 68.7847 | -0.26972
2020-08-21 16:15:00 | 1.109 | 10.67 | 2.087 | 28.5 | 1.94 | 26.847 | 1.414 | 4.889 | 23.78 | 975.289 | 68.2416 | -0.0073897
2020-08-21 16:30:00 | 1.6 | 10.39 | 3.346 | 30.08 | 3.09 | 28.3354 | 2.628 | 11.32 | 23.6 | 974.988 | 68.3805 | 0.18844
2020-08-21 16:45:00 | 1.346 | 24.84 | 3.696 | 40.27 | 3.672 | 37.9343 | 3.486 | 29.11 | 23.23 | 974.55 | 70.0187 | 0.55053
2020-08-21 17:00:00 | 0.724 | 17.71 | 3.64 | 30.92 | 3.583 | 29.1266 | 3.366 | 23.02 | 23.25 | 974.401 | 69.2006 | 2.1208
2020-08-21 17:15:00 | 0.782 | 20.74 | 3.193 | 32.47 | 3.344 | 30.5867 | 3.18 | 25.59 | 23.05 | 973.956 | 71.9972 | 6.1371
2020-08-21 17:30:00 | 4.047 | 354.8 | 4.159 | 12.5 | 4.575 | 11.775 | 4.668 | 359.2 | 22.78 | 973.66 | 65.9374 | 6.9241
2020-08-21 17:45:00 | 3.746 | 6.91 | 3.939 | 12.34 | 3.896 | 11.6243 | 3.529 | 4.606 | 22.56 | 973.511 | 66.7235 | 4.9178
2020-08-21 18:00:00 | 3.337 | 10.34 | 3.277 | 10.57 | 2.858 | 9.9569 | 2.467 | 5.491 | 22.47 | 973.066 | 66.3484 | 2.4017
2020-08-21 18:15:00 | 0.321 | 11.31 | 2.462 | 25.31 | 2.614 | 23.842 | 2.146 | 17.56 | 22.34 | 973.363 | 70.1067 | 0.81287
2020-08-21 18:30:00 | 0.87 | 13.48 | 2.531 | 20.8 | 2.515 | 19.5936 | 2.205 | 27.94 | 22.32 | 973.363 | 72.2932 | 0.62812
2020-08-21 18:45:00 | 1.767 | 23.73 | 2.804 | 26.57 | 2.589 | 25.0289 | 2.493 | 36.46 | 22.28 | 973.066 | 71.2702 | 0.34362
2020-08-21 19:00:00 | 1.785 | 34.84 | 2.536 | 40.38 | 2.556 | 35.909 | 2.373 | 42.23 | 22.22 | 973.138 | 71.4748 | 0.018474
2020-08-21 19:15:00 | 1.144 | 48.01 | 2.582 | 55.65 | 2.957 | 52.4223 | 2.803 | 50.62 | 22.21 | 972.812 | 73.4527 | -0.14779
2020-08-21 19:30:00 | 1.57 | 41.82 | 3.367 | 51.36 | 3.214 | 48.3811 | 3.081 | 50.92 | 22.21 | 972.922 | 72.2933 | -0.081287
2020-08-21 19:45:00 | 0.645 | 27.24 | 3.589 | 37.14 | 3.321 | 34.9859 | 3.196 | 37.82 | 21.99 | 972.955 | 74.9531 | -0.036949
2020-08-21 20:00:00 | 0.552 | 37.44 | 3.055 | 49.99 | 3.074 | 47.0906 | 2.949 | 44.57 | 21.93 | 973.184 | 75.2942 | -0.081287
2020-08-21 20:15:00 | 2.13 | 37.8 | 3.814 | 54.12 | 3.614 | 50.981 | 3.45 | 42.98 | 22.12 | 973.346 | 73.6593 | -0.081287
2020-08-21 20:30:00 | 2.301 | 35.36 | 3.76 | 50.32 | 3.858 | 47.4014 | 3.733 | 44.7 | 22.07 | 973.502 | 72.8401 | -0.036949
2020-08-21 20:45:00 | 0.631 | 30.09 | 3.354 | 42.21 | 3.576 | 39.7618 | 3.432 | 37.91 | 21.81 | 973.196 | 75.7743 | -0.044338
2020-08-21 21:00:00 | 0.682 | 28.29 | 3.055 | 42.39 | 3.24 | 39.9314 | 3.104 | 35.09 | 21.79 | 973.214 | 75.0604 | -0.12932
2020-08-21 21:15:00 | 0.925 | 38.11 | 2.802 | 52.22 | 2.825 | 49.1912 | 2.724 | 46.83 | 21.92 | 973.177 | 72.9814 | -0.29189
2020-08-21 21:30:00 | 1.133 | 39.77 | 2.326 | 54.26 | 2.367 | 51.1129 | 2.111 | 51.87 | 21.97 | 973.364 | 72.4729 | -0.23647
2020-08-21 21:45:00 | 2.052 | 52.12 | 2.592 | 62.36 | 2.823 | 58.7431 | 2.735 | 60.53 | 22.01 | 973.512 | 72.5393 | -0.25864
2020-08-21 22:00:00 | 2.599 | 60.93 | 2.929 | 73.2 | 3.186 | 68.9544 | 3.109 | 72.96 | 21.98 | 973.364 | 73.2539 | -0.25864
2020-08-21 22:15:00 | 1.943 | 62.54 | 2.699 | 75.33 | 3.008 | 70.9609 | 2.951 | 70.94 | 21.88 | 973.364 | 74.0032 | -0.25864
2020-08-21 22:30:00 | 2.329 | 65.2 | 2.901 | 75.23 | 2.841 | 70.8667 | 2.607 | 76.45 | 21.73 | 973.364 | 74.5509 | -0.25864
2020-08-21 22:45:00 | 1.961 | 82.6 | 2.331 | 85.6 | 1.915 | 80.6352 | 1.609 | 103 | 21.81 | 973.364 | 74.3465 | -0.24016
2020-08-21 23:00:00 | 2.076 | 77.79 | 2.528 | 86.8 | 2.36 | 81.7656 | 2.06 | 93.6 | 21.91 | 973.364 | 74.11 | -0.24016
2020-08-21 23:15:00 | 1.811 | 102.9 | 2.474 | 108.6 | 2.329 | 102.301 | 2.18 | 114.5 | 21.9 | 973.512 | 73.9399 | -0.25864
2020-08-21 23:30:00 | 3.067 | 109 | 3.379 | 123.6 | 3.204 | 116.431 | 3.091 | 116.1 | 22.14 | 973.512 | 73.8721 | -0.25864
2020-08-21 23:45:00 | 2.324 | 106.6 | 2.97 | 117.8 | 2.874 | 110.968 | 2.727 | 115 | 22.04 | 973.66 | 75.2362 | -0.24016