## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-22 00:00:00 | 1.754 | 102.1 | 2.671 | 111.8 | 2.581 | 105.316 | 2.498 | 110.1 | 21.88 | 973.364 | 76.1874 | -0.24016
2020-08-22 00:15:00 | 1.323 | 89.9 | 2.234 | 102.9 | 2.54 | 96.9318 | 2.457 | 99.7 | 21.81 | 973.067 | 76.3938 | -0.22539
2020-08-22 00:30:00 | 1.877 | 84.7 | 2.582 | 96.7 | 1.882 | 91.0914 | 1.405 | 94.9 | 21.76 | 973.043 | 77.1398 | -0.22539
2020-08-22 00:45:00 | 1.351 | 174.2 | 0.823 | 300.5 | 0 | 283.071 | 0 | 94.8 | 21.52 | 973.504 | 78.6456 | -0.24016
2020-08-22 01:00:00 | 1.032 | 231.6 | 1.37 | 246 | 1.131 | 231.732 | 0.485 | 177 | 21.59 | 973.067 | 78.2019 | -0.24016
2020-08-22 01:15:00 | 1.268 | 251.6 | 1.889 | 278 | 1.604 | 261.876 | 1.211 | 201.9 | 21.32 | 973.215 | 80.5577 | -0.25864
2020-08-22 01:30:00 | 0.382 | 231.8 | 1.735 | 266.3 | 1.828 | 250.855 | 1.472 | 221.3 | 21.05 | 973.067 | 82.469 | -0.24016
2020-08-22 01:45:00 | 0.79 | 228.1 | 1.551 | 235.8 | 1.332 | 222.124 | 0.743 | 221.3 | 20.98 | 972.77 | 82.2646 | -0.25864
2020-08-22 02:00:00 | 0.607 | 228.1 | 1.577 | 237.5 | 0.888 | 223.725 | 0.194 | 221.3 | 20.94 | 972.77 | 81.7872 | -0.24016
2020-08-22 02:15:00 | 1.214 | 228.2 | 1.597 | 268.5 | 1.123 | 252.927 | 0.329 | 221.3 | 20.99 | 972.473 | 83.3219 | -0.24016
2020-08-22 02:30:00 | 1.614 | 260.6 | 2.231 | 278 | 1.582 | 261.876 | 1.156 | 252.2 | 20.89 | 972.473 | 81.9918 | -0.24016
2020-08-22 02:45:00 | 0.422 | 262.3 | 1.774 | 293.7 | 1.803 | 276.665 | 1.502 | 263.6 | 20.88 | 972.473 | 79.4338 | -0.25864
2020-08-22 03:00:00 | 1.29 | 259.4 | 2.165 | 280.1 | 2.116 | 263.854 | 1.787 | 262.5 | 20.94 | 972.473 | 82.5732 | -0.24016
2020-08-22 03:15:00 | 0.907 | 265.2 | 1.822 | 290.8 | 1.031 | 273.934 | 0.416 | 278.3 | 21 | 972.473 | 84.1108 | -0.25864
2020-08-22 03:30:00 | 0.011 | 265.2 | 1.031 | 291.1 | 0.131 | 274.216 | 0 | 278.3 | 20.99 | 972.473 | 84.039 | -0.25864
2020-08-22 03:45:00 | 0 | 265.2 | 1.121 | 291.1 | 0.928 | 274.216 | 0 | 278.2 | 20.99 | 972.325 | 83.9018 | -0.27711
2020-08-22 04:00:00 | 0 | 265.2 | 0 | 291.1 | 0 | 274.216 | 0 | 278.2 | 20.94 | 972.177 | 83.4596 | -0.2882
2020-08-22 04:15:00 | 0.056 | 265.2 | 0.721 | 293.2 | 0.171 | 276.194 | 0 | 278.2 | 20.92 | 971.88 | 81.7875 | -0.27711
2020-08-22 04:30:00 | 0.48 | 18.38 | 0.942 | 32.78 | 0.289 | 30.8788 | 0 | 278.4 | 20.65 | 972.028 | 81.8558 | -0.2882
2020-08-22 04:45:00 | 0 | 18.37 | 0 | 32.78 | 0 | 30.8788 | 0 | 278.4 | 20.98 | 971.88 | 85.3384 | -0.2882
2020-08-22 05:00:00 | 0 | 18.36 | 0 | 32.76 | 0 | 30.8599 | 0 | 278.4 | 20.9 | 971.88 | 85.4744 | -0.25864
2020-08-22 05:15:00 | 0 | 303.6 | 0.338 | 27.57 | 0.795 | 25.9709 | 0 | 278.4 | 20.77 | 971.88 | 85.4791 | -0.2882
2020-08-22 05:30:00 | 1.342 | 250.5 | 1.937 | 257.2 | 1.65 | 242.282 | 1.298 | 277.2 | 20.79 | 971.881 | 85.6213 | -0.2882
2020-08-22 05:45:00 | 0.93 | 240.8 | 1.521 | 239.6 | 0.961 | 225.703 | 0.392 | 251.4 | 20.81 | 972.044 | 84.7329 | -0.2882
2020-08-22 06:00:00 | 1.437 | 241.9 | 1.899 | 262.9 | 1.643 | 247.652 | 1.408 | 251.8 | 20.96 | 972.326 | 83.835 | -0.2882
2020-08-22 06:15:00 | 0 | 266.1 | 0.998 | 270.8 | 1.069 | 255.094 | 0.45 | 264.6 | 21.16 | 972.474 | 83.322 | -0.27711
2020-08-22 06:30:00 | 0.751 | 339.1 | 1.815 | 348.8 | 1.927 | 328.57 | 1.675 | 290.1 | 20.58 | 972.622 | 84.3775 | -0.29928
2020-08-22 06:45:00 | 1.356 | 356.3 | 2.393 | 8.83 | 2.655 | 8.3179 | 2.577 | 0.577 | 20.58 | 972.177 | 83.5533 | -0.27711
2020-08-22 07:00:00 | 1.051 | 4.745 | 1.902 | 18.14 | 2.418 | 17.0879 | 2.042 | 6.464 | 20.23 | 972.325 | 87.2762 | -0.30298
2020-08-22 07:15:00 | 0.853 | 21.37 | 1.948 | 35.75 | 2.726 | 33.6765 | 2.638 | 21.01 | 20.81 | 972.474 | 81.5789 | -0.27711
2020-08-22 07:30:00 | 0.911 | 27.88 | 1.95 | 44.68 | 1.999 | 42.0886 | 1.785 | 33.14 | 21.73 | 972.778 | 70.8611 | -0.2882
2020-08-22 07:45:00 | 1.856 | 20.73 | 2.055 | 34.57 | 1.8 | 32.5649 | 1.545 | 21.7 | 21.77 | 973.215 | 69.4774 | -0.26972
2020-08-22 08:00:00 | 1.607 | 17.68 | 1.81 | 35.72 | 1.502 | 33.6482 | 1.084 | 24.92 | 21.63 | 973.067 | 74.1067 | -0.29928
2020-08-22 08:15:00 | 0.875 | 37.54 | 1.16 | 31.15 | 1.294 | 29.3433 | 0.783 | 30.44 | 22.66 | 973.163 | 71.3049 | -0.25864
2020-08-22 08:30:00 | 2.234 | 132.9 | 1.894 | 148 | 1.547 | 139.416 | 1.01 | 146.6 | 24.37 | 973.514 | 71.1639 | -0.24016
2020-08-22 08:45:00 | 1.09 | 142.9 | 0.888 | 156.9 | 0 | 147.8 | 0 | 145.3 | 24.05 | 973.68 | 63.9972 | -0.25864
2020-08-22 09:00:00 | 3.646 | 191.1 | 3.321 | 205.3 | 2.643 | 193.393 | 2.62 | 195.5 | 23.48 | 973.363 | 74.0035 | -0.25864
2020-08-22 09:15:00 | 3.226 | 186 | 2.906 | 193 | 1.516 | 181.806 | 1.422 | 206.9 | 23.12 | 973.066 | 75.1619 | -0.25864
2020-08-22 09:30:00 | 1.688 | 209.3 | 1.781 | 225.8 | 1.467 | 212.704 | 1.43 | 214 | 23.37 | 973.659 | 74.0034 | -0.26972
2020-08-22 09:45:00 | 1.9 | 168.2 | 1.761 | 178.7 | 0.71 | 168.335 | 1.005 | 173.5 | 23.45 | 973.511 | 71.9932 | -0.25864
2020-08-22 10:00:00 | 1.262 | 148.5 | 1.719 | 159.2 | 0.914 | 149.966 | 0.832 | 151.4 | 24.08 | 973.363 | 70.3237 | -0.26972
2020-08-22 10:15:00 | 1.921 | 146.4 | 1.83 | 188.6 | 0.979 | 177.661 | 0.977 | 133.2 | 24.47 | 973.659 | 67.8706 | -0.2882
2020-08-22 10:30:00 | 1.794 | 150.4 | 1.591 | 170.6 | 1.013 | 160.705 | 0.936 | 149.4 | 24.51 | 973.659 | 67.8024 | -0.28081
2020-08-22 10:45:00 | 2.201 | 205.4 | 2.292 | 218.4 | 1.684 | 205.733 | 1.712 | 201 | 24.18 | 973.363 | 70.1193 | -0.26972
2020-08-22 11:00:00 | 4.361 | 192.2 | 4.123 | 205.3 | 3.354 | 193.393 | 3.231 | 203.4 | 24.07 | 973.126 | 70.326 | -0.27711
2020-08-22 11:15:00 | 2.915 | 199.5 | 2.924 | 208.8 | 2.792 | 196.69 | 2.674 | 208.7 | 23.9 | 973.213 | 69.526 | -0.26972
2020-08-22 11:30:00 | 3.554 | 300.3 | 3.643 | 313.2 | 3.08 | 295.034 | 2.857 | 300.9 | 23.54 | 973.214 | 64.5185 | -0.26972
2020-08-22 11:45:00 | 2.885 | 297.7 | 2.942 | 317.5 | 3.052 | 299.085 | 2.867 | 293.3 | 23.76 | 973.066 | 61.895 | -0.2845
2020-08-22 12:00:00 | 2.891 | 317.4 | 2.61 | 335 | 2.975 | 315.57 | 2.867 | 311.4 | 24.53 | 973.214 | 60.8384 | -0.25864
2020-08-22 12:15:00 | 2.575 | 287.1 | 2.462 | 302.6 | 1.316 | 285.049 | 0.998 | 292.8 | 24.43 | 973.363 | 61.1426 | -0.25864
2020-08-22 12:30:00 | 1.395 | 277.2 | 1.625 | 279.2 | 1.648 | 263.006 | 1.405 | 277.3 | 24.95 | 973.066 | 60.9061 | -0.25864
2020-08-22 12:45:00 | 3.378 | 255.8 | 3.162 | 272.2 | 2.68 | 256.412 | 2.475 | 256.3 | 24.53 | 973.066 | 64.6869 | -0.24016
2020-08-22 13:00:00 | 1.61 | 191 | 1.665 | 212.5 | 1.21 | 200.175 | 1.016 | 182.7 | 25.22 | 972.762 | 61.9945 | -0.26972
2020-08-22 13:15:00 | 2.294 | 190.5 | 2.111 | 195.9 | 1.907 | 184.538 | 1.734 | 196.4 | 25.36 | 973.058 | 62.5077 | -0.24016
2020-08-22 13:30:00 | 3.506 | 220 | 3.323 | 242.2 | 2.957 | 228.152 | 2.722 | 215 | 24.85 | 972.621 | 65.7776 | -0.26972
2020-08-22 13:45:00 | 3.143 | 180.3 | 3.056 | 189.3 | 2.741 | 178.321 | 2.551 | 192.9 | 25.28 | 972.473 | 63.837 | -0.28081
2020-08-22 14:00:00 | 3.008 | 181.1 | 2.781 | 187 | 1.983 | 176.154 | 1.958 | 203.2 | 25.47 | 972.473 | 64.6866 | -0.31037
2020-08-22 14:15:00 | 2.873 | 210.5 | 2.674 | 229.3 | 2.523 | 216.001 | 2.378 | 205.2 | 25.41 | 972.473 | 64.416 | -0.31776
2020-08-22 14:30:00 | 1.356 | 197.9 | 1.214 | 233.4 | 0.81 | 219.863 | 0.699 | 200.3 | 25.31 | 972.028 | 67.0065 | -0.2882
2020-08-22 14:45:00 | 2.569 | 265.9 | 2.584 | 274.8 | 2.09 | 258.862 | 1.958 | 264 | 24.72 | 971.732 | 64.1401 | -0.28081
2020-08-22 15:00:00 | 1.687 | 263.1 | 0.987 | 280.2 | 0.287 | 263.948 | 0.311 | 261.1 | 25.3 | 972.325 | 63.7691 | -0.25864
2020-08-22 15:15:00 | 1.758 | 221.2 | 1.605 | 220.5 | 1.42 | 207.711 | 1.381 | 221 | 25.28 | 972.028 | 65.8446 | -0.27711
2020-08-22 15:30:00 | 2.081 | 210.9 | 1.605 | 207.7 | 0.735 | 195.653 | 0.793 | 225.1 | 25.05 | 971.287 | 69.1866 | -0.26972
2020-08-22 15:45:00 | 1.755 | 237.4 | 2.012 | 249.5 | 0.933 | 235.029 | 0.861 | 220.8 | 24.96 | 971.435 | 68.1662 | -0.25864
2020-08-22 16:00:00 | 1.435 | 206.7 | 1.73 | 224.4 | 0.361 | 211.385 | 0.399 | 223.5 | 25.02 | 971.287 | 67.2461 | -0.22539
2020-08-22 16:15:00 | 1.517 | 280.7 | 1.658 | 286.6 | 1.066 | 269.977 | 1.104 | 275.3 | 25.17 | 971.881 | 66.1895 | -0.22539
2020-08-22 16:30:00 | 2.173 | 229.4 | 1.945 | 251.5 | 1.105 | 236.913 | 1.224 | 224.3 | 25.06 | 972.177 | 69.3229 | -0.25864
2020-08-22 16:45:00 | 1.612 | 212.4 | 1.582 | 227.8 | 0.149 | 214.588 | 0.341 | 212.6 | 25.11 | 971.584 | 68.7088 | -0.25864
2020-08-22 17:00:00 | 1.252 | 210.1 | 1.07 | 218.3 | 0.037 | 205.639 | 0 | 212.6 | 25.23 | 971.435 | 68.299 | -0.26972
2020-08-22 17:15:00 | 1.434 | 182.9 | 1.452 | 185.9 | 0.381 | 175.118 | 0.569 | 207.8 | 25.26 | 971.139 | 70.3448 | -0.25864
2020-08-22 17:30:00 | 1.701 | 126 | 1.925 | 142.2 | 1.6 | 133.952 | 1.301 | 154 | 24.74 | 970.99 | 75.3578 | -0.25864
2020-08-22 17:45:00 | 0.004 | 135.7 | 0.46 | 138.9 | 0.348 | 130.844 | 0.009 | 154 | 24.35 | 970.273 | 75.6305 | -0.25864
2020-08-22 18:00:00 | 0 | 149 | 0.252 | 138.9 | 0.426 | 130.844 | 0.043 | 154.1 | 24.43 | 970.627 | 76.5522 | -0.25864
2020-08-22 18:15:00 | 1.315 | 269.7 | 1.095 | 273.3 | 0.143 | 257.449 | 0 | 243.9 | 24.16 | 970.098 | 71.6548 | -0.28081
2020-08-22 18:30:00 | 0.234 | 269.7 | 0.165 | 273.2 | 0 | 257.354 | 0 | 243.9 | 24.16 | 969.803 | 72.2004 | -0.26972
2020-08-22 18:45:00 | 1.32 | 269.6 | 1.303 | 273.2 | 0.513 | 257.354 | 0.04 | 243.9 | 23.92 | 969.655 | 72.8203 | -0.25864
2020-08-22 19:00:00 | 1.235 | 256.4 | 1.6 | 272.6 | 1.503 | 256.789 | 1.045 | 243.9 | 23.89 | 969.506 | 71.6658 | -0.26972
2020-08-22 19:15:00 | 1.277 | 288.8 | 1.574 | 315.2 | 1.62 | 296.918 | 1.27 | 254 | 23.87 | 969.506 | 72.7583 | -0.25125
2020-08-22 19:30:00 | 1.228 | 288.7 | 1.59 | 311 | 1.844 | 292.962 | 1.538 | 259.2 | 23.83 | 969.951 | 72.8266 | -0.25864
2020-08-22 19:45:00 | 0.856 | 294.4 | 1.194 | 314.6 | 1.404 | 296.353 | 1.01 | 259.2 | 23.73 | 969.506 | 73.0351 | -0.24016
2020-08-22 20:00:00 | 0.108 | 296 | 1.078 | 315.5 | 1.133 | 297.201 | 0.367 | 259.2 | 23.76 | 969.803 | 73.5154 | -0.24016
2020-08-22 20:15:00 | 0.829 | 250.4 | 1.453 | 261.9 | 1.444 | 246.71 | 0 | 259.1 | 23.83 | 969.951 | 73.3126 | -0.24016
2020-08-22 20:30:00 | 0.156 | 219 | 0.66 | 235.6 | 1.04 | 221.935 | 0.018 | 258.2 | 23.8 | 969.803 | 73.3794 | -0.24016
2020-08-22 20:45:00 | 1.429 | 204.9 | 1.278 | 227.1 | 1.383 | 213.928 | 0.468 | 233.5 | 23.73 | 969.803 | 73.7899 | -0.24016
2020-08-22 21:00:00 | 1.593 | 147.7 | 1.766 | 170.4 | 2.53 | 160.517 | 2.444 | 158.7 | 23.77 | 969.358 | 74.3009 | -0.25864
2020-08-22 21:15:00 | 2.891 | 153.1 | 3.479 | 165.2 | 3.822 | 155.618 | 3.72 | 160 | 23.9 | 969.358 | 74.1291 | -0.081287
2020-08-22 21:30:00 | 3.774 | 155.5 | 4.172 | 168.3 | 4.283 | 158.539 | 4.163 | 162.7 | 23.91 | 969.21 | 74.5009 | 0.24386
2020-08-22 21:45:00 | 3.914 | 152.6 | 4.425 | 166.5 | 4.743 | 156.843 | 4.609 | 161.4 | 23.74 | 969.358 | 75.0816 | 1.0678
2020-08-22 22:00:00 | 4.208 | 160.5 | 4.52 | 174.1 | 4.527 | 164.002 | 4.41 | 166.6 | 23.85 | 969.21 | 75.0122 | 1.0641
2020-08-22 22:15:00 | 4.295 | 159.6 | 4.382 | 175.2 | 4.791 | 165.038 | 4.777 | 167.8 | 23.77 | 969.358 | 75.2156 | 1.5518
2020-08-22 22:30:00 | 4.047 | 161.9 | 3.952 | 173 | 3.611 | 162.966 | 3.45 | 168.5 | 23.9 | 969.358 | 74.5338 | 0.81656
2020-08-22 22:45:00 | 2.686 | 178 | 3.369 | 188.7 | 3.553 | 177.755 | 3.455 | 187 | 23.69 | 969.358 | 74.7396 | 0.27342
2020-08-22 23:00:00 | 2.137 | 182.4 | 2.791 | 185.4 | 2.624 | 174.647 | 2.462 | 190.2 | 23.98 | 969.21 | 72.8289 | -0.18474
2020-08-22 23:15:00 | 1.896 | 176.5 | 2.623 | 177.7 | 2.957 | 167.393 | 2.824 | 189.3 | 24.11 | 969.062 | 72.3505 | -0.11084
2020-08-22 23:30:00 | 1.901 | 160.1 | 2.597 | 166.4 | 3.105 | 156.749 | 2.992 | 176.2 | 24.13 | 968.765 | 72.6916 | -0.16627
2020-08-22 23:45:00 | 1.422 | 154.3 | 2.543 | 162.5 | 3.125 | 153.075 | 3.048 | 165.8 | 23.88 | 968.913 | 73.7137 | -0.033254