## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-23 00:00:00 | 2.727 | 163.7 | 3.612 | 171.4 | 4.127 | 161.459 | 4.028 | 174.7 | 23.58 | 968.616 | 75.7266 | 0.13671
2020-08-23 00:15:00 | 2.819 | 151.8 | 3.484 | 165.2 | 3.81 | 155.618 | 3.618 | 163.1 | 23.41 | 968.468 | 78.3892 | 0.25494
2020-08-23 00:30:00 | 2.5 | 153 | 3.604 | 167.1 | 3.927 | 157.408 | 3.792 | 165.7 | 23.27 | 968.023 | 79.3116 | 0.62812
2020-08-23 00:45:00 | 3.159 | 155.2 | 3.65 | 166.2 | 3.919 | 156.56 | 3.797 | 168.3 | 23.39 | 968.172 | 78.1578 | 0.76483
2020-08-23 01:00:00 | 3.789 | 154 | 4.228 | 163.5 | 4.308 | 154.017 | 4.123 | 164.1 | 23.5 | 968.172 | 77.8843 | 0.75005
2020-08-23 01:15:00 | 3.337 | 155.4 | 3.868 | 168.7 | 4.468 | 158.915 | 4.334 | 166.4 | 23.44 | 968.172 | 77.6114 | 0.6429
2020-08-23 01:30:00 | 3.57 | 151.5 | 4.369 | 162.6 | 4.763 | 153.169 | 4.647 | 160.4 | 23.37 | 968.172 | 79.078 | 0.91632
2020-08-23 01:45:00 | 3.948 | 150.5 | 4.706 | 166 | 5.511 | 156.372 | 5.467 | 161.4 | 23.21 | 967.726 | 78.9762 | 1.611
2020-08-23 02:00:00 | 4.553 | 152.7 | 5.187 | 162.3 | 5.745 | 152.887 | 5.577 | 162.6 | 23.35 | 967.578 | 77.2037 | 2.6197
2020-08-23 02:15:00 | 4.034 | 151.6 | 4.625 | 169.1 | 6.236 | 159.292 | 6.178 | 158.3 | 23.14 | 967.43 | 78.7724 | 4.2232
2020-08-23 02:30:00 | 4.29 | 151.4 | 4.934 | 165.7 | 5.753 | 156.089 | 5.684 | 157.8 | 23.16 | 967.578 | 77.7493 | 3.1332
2020-08-23 02:45:00 | 4.545 | 158.9 | 4.931 | 171.2 | 5.394 | 161.27 | 5.266 | 161.8 | 23.33 | 967.43 | 77.1696 | 1.441
2020-08-23 03:00:00 | 4.093 | 158.4 | 4.44 | 173.2 | 4.893 | 163.154 | 4.841 | 163 | 23.35 | 967.43 | 76.7263 | 1.1048
2020-08-23 03:15:00 | 3.771 | 156.8 | 4.379 | 168.9 | 4.761 | 159.104 | 4.683 | 164.2 | 23.3 | 967.43 | 77.2719 | 0.87198
2020-08-23 03:30:00 | 3.409 | 166.3 | 3.42 | 173.2 | 3.576 | 163.154 | 3.552 | 172 | 23.62 | 967.43 | 75.3623 | 0.25125
2020-08-23 03:45:00 | 3.473 | 156 | 3.548 | 168.8 | 3.84 | 159.01 | 3.779 | 162.1 | 23.57 | 967.43 | 75.7715 | 0.52467
2020-08-23 04:00:00 | 4.412 | 152.1 | 4.765 | 165.1 | 4.931 | 155.524 | 4.825 | 158.1 | 23.39 | 967.43 | 77.5435 | 1.1713
2020-08-23 04:15:00 | 3.759 | 150.5 | 4.392 | 165.6 | 5.348 | 155.995 | 5.246 | 157 | 23.31 | 967.281 | 78.5677 | 1.4964
2020-08-23 04:30:00 | 3.639 | 144.7 | 4.249 | 160.6 | 5.514 | 151.285 | 5.551 | 153.9 | 23.23 | 967.281 | 78.9768 | 2.6307
2020-08-23 04:45:00 | 4.583 | 148.1 | 5.243 | 165.8 | 5.694 | 156.184 | 5.635 | 153.1 | 23.26 | 967.133 | 79.0793 | 3.5212
2020-08-23 05:00:00 | 3.848 | 146.9 | 4.159 | 165.3 | 5.221 | 155.713 | 5.266 | 150.8 | 23.23 | 967.43 | 80.2728 | 4.8957
2020-08-23 05:15:00 | 4.591 | 142 | 5.167 | 160.1 | 5.844 | 150.814 | 5.829 | 144.6 | 23.31 | 967.281 | 80.6138 | 5.9117
2020-08-23 05:30:00 | 4.647 | 138.4 | 4.816 | 156 | 5.015 | 146.952 | 5.057 | 144.5 | 23.27 | 966.837 | 81.6368 | 7.7259
2020-08-23 05:45:00 | 4.992 | 141.2 | 5.611 | 160.1 | 6.106 | 150.814 | 6.045 | 145.6 | 23.3 | 966.837 | 81.8755 | 11.5094
2020-08-23 06:00:00 | 5.618 | 142.1 | 5.765 | 158.6 | 5.956 | 149.401 | 5.91 | 148 | 23.37 | 966.985 | 83.7851 | 13.1426
2020-08-23 06:15:00 | 6.938 | 144.5 | 7.153 | 160.6 | 7.332 | 151.285 | 7.326 | 150.1 | 23.29 | 967.133 | 86.2061 | 26.3442
2020-08-23 06:30:00 | 8.43 | 145 | 8.48 | 159.1 | 8.64 | 149.872 | 8.52 | 151 | 23.33 | 966.837 | 87.2249 | 33.4864
2020-08-23 06:45:00 | 7.42 | 142.5 | 7.846 | 160.1 | 8.46 | 150.814 | 8.37 | 149.2 | 23.31 | 966.837 | 90.9026 | 25.4427
2020-08-23 07:00:00 | 7.448 | 145.2 | 7.7 | 162.2 | 8.33 | 152.792 | 8.19 | 151.5 | 23.25 | 967.281 | 94.9881 | 23.8207
2020-08-23 07:15:00 | 7.678 | 147.6 | 7.759 | 163 | 8.18 | 153.546 | 8.15 | 153.2 | 23.09 | 966.837 | 96.6246 | 28.6572
2020-08-23 07:30:00 | 6.744 | 148.6 | 6.89 | 163.5 | 6.933 | 154.017 | 6.797 | 154.9 | 23.01 | 966.985 | 98.261 | 25.6644
2020-08-23 07:45:00 | 6.432 | 151.8 | 6.509 | 167.1 | 6.449 | 157.408 | 6.315 | 156.9 | 22.97 | 967.133 | 98.3634 | 26.4181
2020-08-23 08:00:00 | 6.973 | 144.6 | 7.115 | 163.1 | 7.642 | 153.64 | 7.581 | 153.9 | 22.98 | 966.985 | 98.9771 | 29.3408
2020-08-23 08:15:00 | 6.79 | 139.8 | 6.713 | 153.9 | 6.999 | 144.974 | 6.962 | 146 | 22.93 | 966.837 | 99.8977 | 27.3677
2020-08-23 08:30:00 | 7.259 | 142.2 | 7.327 | 159.6 | 7.482 | 150.343 | 7.349 | 148.5 | 23.17 | 967.133 | 99.8977 | 24.3121
2020-08-23 08:45:00 | 6.652 | 141.8 | 6.959 | 157.3 | 6.447 | 148.177 | 6.287 | 150 | 23.55 | 967.133 | 98.4548 | 24.1975
2020-08-23 09:00:00 | 6.412 | 143.2 | 6.534 | 161 | 6.772 | 151.662 | 6.629 | 148.8 | 23.51 | 967.4 | 99.6762 | 19.3942
2020-08-23 09:15:00 | 6.641 | 142.4 | 7.002 | 157.1 | 6.727 | 147.988 | 6.639 | 148.5 | 23.7 | 966.985 | 97.4945 | 25.3688
2020-08-23 09:30:00 | 7.43 | 143 | 7.524 | 159.4 | 7.324 | 150.155 | 7.219 | 149.9 | 24 | 967.281 | 95.5173 | 23.1556
2020-08-23 09:45:00 | 6.468 | 145.7 | 6.593 | 161.7 | 6.355 | 152.321 | 6.229 | 152.1 | 24.37 | 967.43 | 93.847 | 22.1601
2020-08-23 10:00:00 | 7.111 | 141.5 | 7.345 | 158.4 | 7.274 | 149.213 | 7.056 | 147.9 | 24.42 | 967.578 | 93.6083 | 20.765
2020-08-23 10:15:00 | 5.789 | 141.2 | 5.957 | 160 | 5.811 | 150.72 | 5.658 | 149.8 | 25.02 | 967.377 | 91.2782 | 24.4857
2020-08-23 10:30:00 | 6.241 | 142.5 | 6.368 | 156.1 | 6.251 | 147.046 | 6.091 | 151.8 | 25.28 | 967.436 | 88.6503 | 21.0126
2020-08-23 10:45:00 | 6.644 | 141.3 | 6.749 | 158.4 | 6.561 | 149.213 | 6.422 | 146.9 | 25.52 | 967.877 | 88.1391 | 16.8744
2020-08-23 11:00:00 | 6.585 | 143.1 | 6.711 | 157.9 | 6.483 | 148.742 | 6.366 | 148.9 | 25.2 | 967.283 | 89.2638 | 18.5962
2020-08-23 11:15:00 | 7.045 | 142.6 | 7.018 | 158.6 | 6.577 | 149.401 | 6.341 | 149.9 | 25.66 | 967.283 | 86.7406 | 22.2836
2020-08-23 11:30:00 | 5.554 | 149.6 | 5.816 | 168.1 | 6.065 | 158.35 | 5.997 | 154.2 | 25.94 | 967.432 | 84.6216 | 20.3032
2020-08-23 11:45:00 | 6.843 | 137.2 | 6.936 | 154 | 6.465 | 145.068 | 6.213 | 143.9 | 26.3 | 967.432 | 84.5885 | 19.1541
2020-08-23 12:00:00 | 7.254 | 149.2 | 7.365 | 165.1 | 7.212 | 155.524 | 7.112 | 155.3 | 26.21 | 966.839 | 83.4995 | 19.2354
2020-08-23 12:15:00 | 7.139 | 153.1 | 6.949 | 169.6 | 6.594 | 159.763 | 6.524 | 160 | 26.31 | 966.69 | 82.9532 | 19.7748
2020-08-23 12:30:00 | 7.898 | 157.2 | 7.756 | 170.6 | 7.179 | 160.705 | 6.909 | 161.5 | 26.47 | 966.839 | 82.7496 | 24.6409
2020-08-23 12:45:00 | 7.093 | 150.3 | 7.064 | 166 | 6.579 | 156.372 | 6.486 | 156.6 | 26.06 | 966.097 | 85.1394 | 21.5225
2020-08-23 13:00:00 | 5.761 | 179.2 | 5.563 | 195.8 | 4.934 | 184.444 | 4.736 | 178.8 | 26.1 | 965.949 | 86.0259 | 25.4242
2020-08-23 13:15:00 | 5.985 | 150.7 | 5.923 | 167.4 | 5.849 | 157.691 | 5.786 | 156.8 | 26.2 | 966.115 | 84.1513 | 18.8585
2020-08-23 13:30:00 | 7.336 | 150.7 | 7.094 | 168.6 | 6.739 | 158.821 | 6.682 | 156.2 | 26.73 | 966.246 | 83.3674 | 20.7466
2020-08-23 13:45:00 | 8.89 | 140.3 | 8.72 | 154.5 | 8.01 | 145.539 | 7.673 | 149 | 26.58 | 966.542 | 81.389 | 25.6201
2020-08-23 14:00:00 | 7.744 | 139 | 7.848 | 154.2 | 7.162 | 145.256 | 6.998 | 146.7 | 26.91 | 966.69 | 81.355 | 22.9043
2020-08-23 14:15:00 | 7.829 | 143.2 | 7.907 | 158.8 | 7.563 | 149.59 | 7.339 | 149.2 | 26.93 | 966.245 | 82.5479 | 25.9895
2020-08-23 14:30:00 | 7.591 | 142.9 | 7.82 | 159.3 | 7.703 | 150.061 | 7.487 | 148 | 26.98 | 965.504 | 81.1511 | 26.9872
2020-08-23 14:45:00 | 8.3 | 138.3 | 8.3 | 155.2 | 8.19 | 146.198 | 7.966 | 144.8 | 27.21 | 965.93 | 82.8894 | 24.9809
2020-08-23 15:00:00 | 8.68 | 152 | 8.73 | 170.9 | 8.32 | 160.988 | 8.18 | 156 | 27.35 | 966.077 | 79.4775 | 28.3616
2020-08-23 15:15:00 | 8.36 | 149.6 | 8.5 | 167 | 8.06 | 157.314 | 7.808 | 156.8 | 27.45 | 965.473 | 79.2343 | 32.2043
2020-08-23 15:30:00 | 6.223 | 153.1 | 6.665 | 172.6 | 6.432 | 162.589 | 6.348 | 161.3 | 27.62 | 965.265 | 77.2946 | 26.5549
2020-08-23 15:45:00 | 8.29 | 148.5 | 8.89 | 164 | 8.8 | 154.488 | 8.64 | 155.5 | 27.31 | 964.613 | 77.1618 | 27.715
2020-08-23 16:00:00 | 5.416 | 157.4 | 5.729 | 176.5 | 6.083 | 166.263 | 6.081 | 162.9 | 27.35 | 964.466 | 78.5589 | 21.4264
2020-08-23 16:15:00 | 6.253 | 156.8 | 6.478 | 174.7 | 6.091 | 164.567 | 5.908 | 163.1 | 27.49 | 964.318 | 78.8684 | 22.2245
2020-08-23 16:30:00 | 7.295 | 156.6 | 7.209 | 170.6 | 6.828 | 160.705 | 6.794 | 163.6 | 27.35 | 964.169 | 78.0504 | 21.7516
2020-08-23 16:45:00 | 7.407 | 150.5 | 7.485 | 164.5 | 7.352 | 154.959 | 7.232 | 156.3 | 27.49 | 964.911 | 78.4594 | 23.0632
2020-08-23 17:00:00 | 7.775 | 148.2 | 8.08 | 162.7 | 7.942 | 153.263 | 7.81 | 155.1 | 27.33 | 964.614 | 80.4343 | 29.4368
2020-08-23 17:15:00 | 7.241 | 147.8 | 7.145 | 165.9 | 7.207 | 156.278 | 7.123 | 152.1 | 27.23 | 964.318 | 80.9815 | 29.023
2020-08-23 17:30:00 | 6.708 | 148 | 7.002 | 166.6 | 6.722 | 156.937 | 6.567 | 152 | 27.2 | 964.169 | 79.8227 | 20.9054
2020-08-23 17:45:00 | 6.452 | 145.3 | 6.404 | 165.2 | 6.472 | 155.618 | 6.315 | 149.6 | 27.12 | 964.318 | 80.4703 | 21.0015
2020-08-23 18:00:00 | 6.519 | 145.9 | 6.762 | 162.6 | 6.968 | 153.169 | 6.771 | 151.1 | 26.94 | 963.873 | 82.8221 | 25.5905
2020-08-23 18:15:00 | 6.256 | 144.3 | 6.45 | 161.8 | 7.037 | 152.416 | 6.998 | 149.8 | 26.93 | 963.877 | 83.2992 | 24.6948
2020-08-23 18:30:00 | 6.631 | 136.9 | 6.78 | 154.4 | 7.032 | 145.445 | 6.955 | 142.7 | 26.94 | 963.447 | 82.0722 | 23.4438
2020-08-23 18:45:00 | 7.241 | 140.6 | 7.613 | 157.9 | 7.925 | 148.742 | 7.754 | 146.1 | 26.76 | 963.316 | 84.1173 | 25.0954
2020-08-23 19:00:00 | 7.134 | 137.6 | 7.163 | 154.9 | 8.16 | 145.916 | 8.08 | 143.9 | 26.57 | 963.178 | 85.1748 | 33.5086
2020-08-23 19:15:00 | 7.571 | 143.6 | 7.754 | 160.5 | 8.15 | 151.191 | 8.07 | 149.2 | 26.55 | 963.42 | 86.8496 | 29.9541
2020-08-23 19:30:00 | 8.03 | 139.6 | 8.07 | 153.1 | 8.47 | 144.22 | 8.32 | 145 | 26.38 | 963.113 | 85.0162 | 30.7707
2020-08-23 19:45:00 | 7.471 | 141.5 | 7.884 | 159.8 | 8.27 | 150.532 | 8.22 | 147 | 26.37 | 963.573 | 88.1531 | 25.4538
2020-08-23 20:00:00 | 6.848 | 144.7 | 6.869 | 161.6 | 7.452 | 152.227 | 7.385 | 150.4 | 26.26 | 963.722 | 88.6311 | 26.3997
2020-08-23 20:15:00 | 6.769 | 153.6 | 6.946 | 172.8 | 7.185 | 162.778 | 7.235 | 156.1 | 26.24 | 963.719 | 87.1655 | 32.3336
2020-08-23 20:30:00 | 7.724 | 157.3 | 7.255 | 167.7 | 6.818 | 157.973 | 6.842 | 167.1 | 26.12 | 963.425 | 88.3586 | 38.153
2020-08-23 20:45:00 | 7.87 | 156.8 | 7.923 | 174.4 | 7.391 | 164.285 | 7.387 | 159.5 | 25.97 | 963.57 | 88.6654 | 29.629
2020-08-23 21:00:00 | 7.65 | 144.4 | 8.12 | 159.5 | 8.5 | 150.249 | 8.42 | 149.9 | 25.8 | 963.425 | 90.7448 | 45.1141
2020-08-23 21:15:00 | 8.56 | 146.6 | 8.46 | 162.3 | 8.75 | 152.887 | 8.85 | 152 | 25.67 | 962.98 | 91.8016 | 42.4464
2020-08-23 21:30:00 | 8.17 | 143.5 | 8.09 | 166.2 | 8.3 | 156.56 | 8.32 | 148.2 | 25.53 | 962.832 | 91.6993 | 35.4705
2020-08-23 21:45:00 | 8.27 | 145 | 8.94 | 162.6 | 9.68 | 153.169 | 9.62 | 152.2 | 25.73 | 962.98 | 91.4266 | 34.447
2020-08-23 22:00:00 | 7.54 | 146.8 | 7.884 | 164.6 | 8.2 | 155.053 | 8.22 | 153.4 | 25.69 | 962.98 | 92.2447 | 34.0702
2020-08-23 22:15:00 | 7.201 | 148.8 | 7.14 | 166.4 | 7.803 | 156.749 | 7.943 | 155.7 | 25.67 | 962.98 | 92.6538 | 34.1145
2020-08-23 22:30:00 | 7.543 | 146 | 7.915 | 162.6 | 8.47 | 153.169 | 8.39 | 152.5 | 25.63 | 962.832 | 93.7787 | 41.8146
2020-08-23 22:45:00 | 6.787 | 153.2 | 6.849 | 170.9 | 7.686 | 160.988 | 7.856 | 156.2 | 25.72 | 962.832 | 92.2107 | 44.0647
2020-08-23 23:00:00 | 7.798 | 147.1 | 8.16 | 164.9 | 9.07 | 155.336 | 9.08 | 152.8 | 25.62 | 962.98 | 93.1315 | 46.1967
2020-08-23 23:15:00 | 8.28 | 150.2 | 8.85 | 164.9 | 9.43 | 155.336 | 9.47 | 157.3 | 25.74 | 962.53 | 92.9955 | 52.9287
2020-08-23 23:30:00 | 9.58 | 150.8 | 9.94 | 165.6 | 10.26 | 155.995 | 10.32 | 158.5 | 25.84 | 962.238 | 90.8143 | 54.6283
2020-08-23 23:45:00 | 8.41 | 149.3 | 9.15 | 166.4 | 10.07 | 156.749 | 10.01 | 155 | 25.68 | 962.09 | 92.3811 | 56.3168