## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-24 00:00:00 | 9.17 | 145.6 | 9.75 | 164.7 | 11.58 | 155.147 | 11.67 | 151.5 | 25.7 | 962.238 | 91.0176 | 57.5768
2020-08-24 00:15:00 | 9.19 | 147.7 | 9.9 | 164.6 | 11.06 | 155.053 | 10.88 | 154.1 | 25.86 | 962.238 | 91.7675 | 57.5583
2020-08-24 00:30:00 | 9.3 | 143.7 | 9.88 | 160.6 | 10.82 | 151.285 | 10.74 | 149.8 | 25.55 | 962.09 | 93.9492 | 56.6626
2020-08-24 00:45:00 | 9.18 | 144.2 | 9.63 | 158.9 | 10.27 | 149.684 | 10.27 | 150.3 | 25.53 | 961.645 | 94.8355 | 46.9024
2020-08-24 01:00:00 | 9.04 | 147.8 | 9.46 | 163.9 | 10.31 | 154.394 | 10.41 | 153.7 | 25.36 | 961.497 | 95.7559 | 51.2734
2020-08-24 01:15:00 | 9.53 | 150.9 | 9.88 | 167.3 | 10.64 | 157.597 | 10.58 | 156 | 25.47 | 961.2 | 95.2446 | 55.8941
2020-08-24 01:30:00 | 10.17 | 149.5 | 10.15 | 167.2 | 10.45 | 157.502 | 10.46 | 153.6 | 25.38 | 961.052 | 95.5856 | 52.2102
2020-08-24 01:45:00 | 8.07 | 167 | 8.19 | 182.1 | 7.373 | 171.538 | 7.398 | 170.2 | 25.53 | 960.903 | 94.4965 | 56.5673
2020-08-24 02:00:00 | 7.03 | 167.4 | 6.795 | 187.2 | 7.375 | 176.342 | 7.403 | 161.5 | 25.14 | 961.052 | 99.2677 | 60.2777
2020-08-24 02:15:00 | 11.22 | 154 | 11.44 | 170.4 | 11.24 | 160.517 | 11.05 | 158.2 | 25.05 | 960.903 | 97.8408 | 64.1721
2020-08-24 02:30:00 | 8.66 | 156.1 | 8.68 | 173.6 | 9.03 | 163.531 | 9.18 | 159.1 | 25.22 | 960.755 | 97.9133 | 67.2023
2020-08-24 02:45:00 | 9.79 | 162 | 9.89 | 178.7 | 10.21 | 168.335 | 10.28 | 165.1 | 25.05 | 960.31 | 99.0023 | 67.0762
2020-08-24 03:00:00 | 9.49 | 156 | 9.87 | 171.7 | 10.47 | 161.741 | 10.58 | 161.6 | 25.23 | 960.31 | 99.8895 | 74.8095
2020-08-24 03:15:00 | 8.68 | 160.4 | 8.66 | 174.6 | 8.4 | 164.473 | 8.58 | 163.9 | 25.27 | 960.31 | 99.2738 | 74.0874
2020-08-24 03:30:00 | 10.62 | 154.4 | 10.81 | 170 | 11.14 | 160.14 | 11.06 | 158.9 | 25.28 | 960.013 | 99.1326 | 74.1545
2020-08-24 03:45:00 | 9.67 | 156.2 | 10.18 | 171.2 | 10.06 | 161.27 | 9.95 | 161.3 | 25.25 | 960.31 | 99.886 | 74.7341
2020-08-24 04:00:00 | 10.23 | 155.7 | 10.29 | 172.1 | 10.34 | 162.118 | 10.34 | 160.9 | 25.25 | 960.013 | 99.5745 | 71.564
2020-08-24 04:15:00 | 9.18 | 156.3 | 9.21 | 175.3 | 9.33 | 165.133 | 9.44 | 159.8 | 25.28 | 960.013 | 99.8827 | 68.9236
2020-08-24 04:30:00 | 9.49 | 154.5 | 9.81 | 168.6 | 10.15 | 158.821 | 10.17 | 160.8 | 25.21 | 959.717 | 99.8841 | 68.096
2020-08-24 04:45:00 | 9.52 | 162.3 | 9.34 | 181.1 | 9.31 | 170.596 | 9.42 | 163.8 | 25.3 | 959.865 | 99.8886 | 65.6685
2020-08-24 05:00:00 | 9.3 | 157.4 | 9.5 | 174.8 | 10.28 | 164.662 | 10.28 | 160.4 | 25.03 | 959.123 | 99.8879 | 65.5835
2020-08-24 05:15:00 | 10.66 | 154.3 | 11.05 | 168.5 | 11.4 | 158.727 | 11.29 | 157.5 | 25.02 | 959.568 | 99.8896 | 61.0298
2020-08-24 05:30:00 | 8.95 | 162.1 | 8.7 | 180.8 | 8.83 | 170.314 | 8.8 | 165.3 | 24.74 | 959.717 | 99.8928 | 38.0717
2020-08-24 05:45:00 | 10.91 | 184.3 | 10.86 | 197.9 | 10.99 | 186.422 | 11.15 | 188.6 | 24.71 | 960.31 | 99.8954 | 34.8934
2020-08-24 06:00:00 | 7.119 | 185.3 | 7.468 | 199.1 | 7.886 | 187.552 | 7.922 | 189.4 | 24.69 | 960.013 | 99.8963 | 29.1876
2020-08-24 06:15:00 | 5.102 | 190.7 | 5.128 | 206.5 | 5.333 | 194.523 | 5.457 | 193.1 | 24.24 | 959.865 | 99.8971 | 37.0572
2020-08-24 06:30:00 | 9.51 | 174.9 | 9.48 | 188.7 | 9.22 | 177.755 | 9.39 | 182.5 | 24.37 | 959.717 | 99.8636 | 59.5556
2020-08-24 06:45:00 | 13.66 | 177.4 | 13.64 | 190 | 13.44 | 178.98 | 13.49 | 183.1 | 24.59 | 959.123 | 99.8976 | 75.1036
2020-08-24 07:00:00 | 13.69 | 177.6 | 13.26 | 188.9 | 13.2 | 177.944 | 13.48 | 183.5 | 24.69 | 958.53 | 99.8977 | 72.0384
2020-08-24 07:15:00 | 12.03 | 177.4 | 11.76 | 191.1 | 11.62 | 180.016 | 11.9 | 181.4 | 24.64 | 959.42 | 99.8977 | 58.3105
2020-08-24 07:30:00 | 11.23 | 175.4 | 11.09 | 188.4 | 11.15 | 177.473 | 11.25 | 179.4 | 24.64 | 959.568 | 99.8972 | 51.5542
2020-08-24 07:45:00 | 9.86 | 177.9 | 9.77 | 189.7 | 10.17 | 178.697 | 10.46 | 183.5 | 24.68 | 960.013 | 99.8952 | 40.343
2020-08-24 08:00:00 | 9.7 | 184.2 | 9.33 | 195.7 | 9.16 | 184.349 | 9.26 | 188.7 | 24.75 | 959.865 | 99.8917 | 36.361
2020-08-24 08:15:00 | 10.19 | 179.7 | 10.07 | 191.3 | 9.46 | 180.205 | 9.5 | 185.8 | 24.85 | 959.865 | 99.8877 | 30.4012
2020-08-24 08:30:00 | 10.02 | 178 | 9.84 | 190.3 | 10.08 | 179.263 | 10.18 | 184.9 | 24.99 | 959.865 | 99.8865 | 34.4507
2020-08-24 08:45:00 | 10.92 | 177.8 | 10.76 | 189.8 | 10.14 | 178.792 | 10.14 | 185.5 | 25.25 | 960.607 | 99.8847 | 30.0908
2020-08-24 09:00:00 | 8.35 | 184.6 | 8.05 | 194.4 | 7.736 | 183.125 | 7.904 | 191.4 | 25.31 | 960.31 | 99.8824 | 19.3462
2020-08-24 09:15:00 | 6.861 | 193 | 6.634 | 203.3 | 6.752 | 191.509 | 6.86 | 200.2 | 25.38 | 960.31 | 99.8807 | 24.822
2020-08-24 09:30:00 | 7.614 | 213.9 | 7.439 | 215.7 | 8.52 | 203.189 | 8.77 | 219.9 | 25.41 | 960.903 | 99.233 | 34.3658
2020-08-24 09:45:00 | 6.409 | 209.6 | 6.32 | 213.6 | 6.991 | 201.211 | 7.049 | 222.1 | 25.89 | 960.903 | 96.6082 | 35.8459
2020-08-24 10:00:00 | 6.192 | 217.1 | 5.419 | 221 | 6.343 | 208.182 | 6.55 | 222.6 | 25.94 | 961.348 | 94.6985 | 45.8013
2020-08-24 10:15:00 | 8.21 | 213.3 | 8.47 | 216.8 | 9.33 | 204.226 | 9.56 | 223.7 | 25.8 | 961.188 | 93.8433 | 49.1642
2020-08-24 10:30:00 | 7.91 | 297.3 | 9.62 | 311 | 9.32 | 292.962 | 9.41 | 298.7 | 21.94 | 961.197 | 99.8784 | 37.2847
2020-08-24 10:45:00 | 6.098 | 298.7 | 7.22 | 311.1 | 7.424 | 293.056 | 7.471 | 302.2 | 21.57 | 960.903 | 99.8891 | 21.5742
2020-08-24 11:00:00 | 5.541 | 309.5 | 6.018 | 320.4 | 5.893 | 301.817 | 6.015 | 309.2 | 21.51 | 960.607 | 99.8977 | 22.5053
2020-08-24 11:15:00 | 4.818 | 325.2 | 4.869 | 338 | 5.519 | 318.396 | 5.63 | 324.6 | 21.43 | 960.013 | 99.9144 | 29.0821
2020-08-24 11:30:00 | 5.699 | 307.2 | 6.424 | 317.5 | 6.053 | 299.085 | 6.083 | 307.8 | 21.49 | 959.895 | 99.8806 | 33.66
2020-08-24 11:45:00 | 3.723 | 321 | 3.584 | 342.4 | 4.214 | 322.541 | 4.375 | 319.8 | 21.45 | 960.006 | 99.8806 | 28.5585
2020-08-24 12:00:00 | 4.103 | 337.7 | 4.106 | 356 | 3.611 | 335.352 | 3.746 | 331.3 | 21.47 | 960.26 | 99.9147 | 23.5472
2020-08-24 12:15:00 | 3.187 | 356.3 | 3.126 | 4.205 | 3.446 | 3.9611 | 3.573 | 350 | 21.67 | 960.194 | 99.9147 | 19.3721
2020-08-24 12:30:00 | 3.306 | 10.87 | 3.326 | 29.6 | 3.108 | 27.8832 | 3.334 | 346.7 | 21.46 | 960.164 | 99.8806 | 14.9493
2020-08-24 12:45:00 | 2.669 | 7.28 | 3.298 | 23.67 | 3.102 | 22.2971 | 3.127 | 352.1 | 21.3 | 960.458 | 99.9147 | 10.97
2020-08-24 13:00:00 | 2.262 | 10.15 | 2.235 | 21.6 | 2.79 | 20.3472 | 2.925 | 354.5 | 21.16 | 960.162 | 99.9147 | 9.226
2020-08-24 13:15:00 | 2.729 | 341.2 | 2.927 | 355.6 | 2.939 | 334.975 | 3.089 | 340.8 | 21.1 | 960.31 | 99.8806 | 17.5838
2020-08-24 13:30:00 | 3.787 | 336.8 | 4.264 | 357.7 | 4.662 | 336.953 | 4.54 | 336.8 | 20.85 | 960.458 | 99.9147 | 17.1367
2020-08-24 13:45:00 | 3.335 | 1.756 | 2.538 | 13.76 | 2.99 | 12.9619 | 3.121 | 354.5 | 20.85 | 960.344 | 99.8806 | 21.2897
2020-08-24 14:00:00 | 4.257 | 334.6 | 4.929 | 356.5 | 4.499 | 335.823 | 4.377 | 332.4 | 20.6 | 959.938 | 99.8806 | 27.2901
2020-08-24 14:15:00 | 4.703 | 334.2 | 4.855 | 358 | 4.85 | 337.236 | 4.797 | 336.8 | 20.54 | 960.101 | 99.9147 | 23.4512
2020-08-24 14:30:00 | 3.511 | 326.9 | 3.447 | 343.9 | 3.644 | 323.954 | 3.72 | 325.6 | 20.6 | 960.12 | 99.9169 | 12.8618
2020-08-24 14:45:00 | 1.773 | 351.6 | 2.306 | 26.81 | 3.677 | 25.255 | 3.965 | 343.6 | 20.81 | 960.564 | 99.9157 | 13.3938
2020-08-24 15:00:00 | 3.115 | 357.8 | 2.819 | 15.64 | 3.707 | 14.7329 | 3.653 | 344.5 | 22.31 | 961.356 | 99.912 | 15.1193
2020-08-24 15:15:00 | 2.878 | 336.2 | 2.815 | 349.2 | 3.28 | 328.946 | 3.252 | 335.4 | 22.01 | 960.903 | 96.6929 | 13.1352
2020-08-24 15:30:00 | 3.202 | 340.8 | 3.342 | 348.8 | 3.685 | 328.57 | 3.611 | 335.5 | 21.97 | 960.458 | 97.1701 | 11.5981
2020-08-24 15:45:00 | 2.765 | 341.1 | 2.811 | 356.6 | 3.156 | 335.917 | 3.168 | 330.2 | 21.91 | 960.755 | 97.5793 | 12.4812
2020-08-24 16:00:00 | 3.83 | 335.9 | 4.029 | 353.5 | 3.499 | 332.997 | 3.483 | 329.8 | 21.81 | 960.607 | 98.6362 | 12.8765
2020-08-24 16:15:00 | 2.488 | 338.2 | 2.791 | 357.3 | 3.047 | 336.577 | 3.086 | 326.9 | 22.03 | 961.2 | 94.3743 | 13.6266
2020-08-24 16:30:00 | 2.978 | 338.2 | 3.282 | 356.8 | 3.065 | 336.106 | 3.231 | 336.5 | 22 | 960.903 | 95.5336 | 15.5405
2020-08-24 16:45:00 | 3.086 | 342.9 | 3.613 | 6.382 | 4.13 | 6.0118 | 4.115 | 342.5 | 22.13 | 961.052 | 96.0791 | 12.6105
2020-08-24 17:00:00 | 1.556 | 4.28 | 2.772 | 20.48 | 2.837 | 19.2922 | 2.805 | 346 | 22.2 | 961.052 | 93.9995 | 8.5388
2020-08-24 17:15:00 | 2.592 | 347.3 | 2.947 | 4.982 | 3.314 | 4.693 | 3.35 | 340.7 | 22.19 | 960.903 | 93.8311 | 8.5425
2020-08-24 17:30:00 | 3.583 | 336.8 | 4.026 | 354.5 | 3.868 | 333.939 | 3.753 | 337.7 | 22.2 | 960.31 | 93.1543 | 6.7283
2020-08-24 17:45:00 | 2.977 | 339.8 | 3.494 | 357.8 | 3.624 | 337.048 | 3.575 | 339.3 | 22.2 | 960.458 | 93.2308 | 7.1126
2020-08-24 18:00:00 | 2.847 | 342.6 | 3.855 | 6.042 | 4.021 | 5.6916 | 3.995 | 339.2 | 22.11 | 960.458 | 92.8218 | 7.8442
2020-08-24 18:15:00 | 2.974 | 349.3 | 3.584 | 6.308 | 4.583 | 5.9421 | 4.787 | 342.8 | 22.12 | 960.31 | 92.9241 | 6.8761
2020-08-24 18:30:00 | 3.363 | 344.6 | 4.095 | 7 | 5.45 | 6.594 | 5.551 | 346 | 22.1 | 960.461 | 88.8661 | 7.519
2020-08-24 18:45:00 | 3.674 | 354.9 | 4.42 | 15.5 | 6.2 | 14.601 | 6.206 | 354.6 | 22.15 | 960.656 | 90.4007 | 7.6631
2020-08-24 19:00:00 | 4.601 | 9.04 | 4.737 | 22.65 | 4.275 | 21.3363 | 4.166 | 8.89 | 22 | 960.721 | 93.5038 | 9.0413
2020-08-24 19:15:00 | 3.314 | 13.63 | 5.118 | 31.43 | 4.997 | 29.6071 | 4.123 | 15.87 | 21.83 | 960.815 | 93.913 | 7.1126
2020-08-24 19:30:00 | 2.296 | 17.1 | 3.835 | 35.74 | 4.667 | 33.6671 | 4.482 | 20.08 | 21.74 | 961.17 | 92.0087 | 4.9289
2020-08-24 19:45:00 | 2.725 | 14.07 | 4.635 | 31.59 | 4.804 | 29.7578 | 4.438 | 16.2 | 21.87 | 961.474 | 90.6447 | 4.6888
2020-08-24 20:00:00 | 2.143 | 18.65 | 3.73 | 40.41 | 4.438 | 38.0662 | 4.306 | 20.7 | 22.14 | 962.087 | 88.3955 | 2.2391
2020-08-24 20:15:00 | 2.107 | 30.03 | 3.402 | 50.19 | 3.67 | 47.279 | 3.835 | 30.74 | 22.31 | 962.382 | 84.9163 | 0.63551
2020-08-24 20:30:00 | 1.997 | 22.05 | 3.346 | 38.06 | 3.779 | 35.8525 | 3.858 | 23.37 | 22.45 | 962.365 | 84.5753 | 0.84612
2020-08-24 20:45:00 | 2.771 | 10.86 | 3.95 | 27.96 | 4.003 | 26.3383 | 3.677 | 14.35 | 22.48 | 962.383 | 84.1979 | 1.6959
2020-08-24 21:00:00 | 2.089 | 21.31 | 3.643 | 40.34 | 4.382 | 38.0003 | 4.443 | 22.02 | 22.48 | 962.383 | 83.959 | 1.3966
2020-08-24 21:15:00 | 2.021 | 16.6 | 3.459 | 36.53 | 3.924 | 34.4113 | 3.522 | 16.24 | 22.46 | 962.322 | 82.7974 | 0.89785
2020-08-24 21:30:00 | 1.72 | 16.08 | 3.078 | 34.41 | 3.362 | 32.4142 | 3.124 | 16.35 | 22.68 | 962.498 | 81.9097 | -0.014779
2020-08-24 21:45:00 | 1.13 | 15.45 | 2.664 | 38.31 | 2.889 | 36.088 | 2.674 | 13.77 | 22.77 | 962.275 | 80.8867 | -0.1441
2020-08-24 22:00:00 | 1.759 | 5.266 | 3.057 | 25.76 | 2.703 | 24.2659 | 2.567 | 6.772 | 22.96 | 962.224 | 78.9088 | -0.014779
2020-08-24 22:15:00 | 1.472 | 0.355 | 2.444 | 20.68 | 2.754 | 19.4806 | 2.826 | 0.756 | 23.05 | 962.803 | 77.8176 | -0.39904
2020-08-24 22:30:00 | 0 | 3.369 | 1.208 | 20.74 | 1.655 | 19.5371 | 1.552 | 0.344 | 23.13 | 962.76 | 77.4084 | -0.32515
2020-08-24 22:45:00 | 1.869 | 353.3 | 2.538 | 19.82 | 2.505 | 18.6704 | 2.48 | 0.243 | 23.24 | 962.589 | 75.5669 | -0.2882
2020-08-24 23:00:00 | 0.368 | 0.119 | 1.884 | 19.97 | 2.472 | 18.8117 | 1.395 | 0.243 | 23.09 | 962.768 | 77.2038 | -0.25864
2020-08-24 23:15:00 | 1.759 | 11.77 | 2.612 | 20.16 | 2.792 | 18.9907 | 2.821 | 4.157 | 23.15 | 962.905 | 75.8397 | -0.2882
2020-08-24 23:30:00 | 2.265 | 345.5 | 3.088 | 22.98 | 3.179 | 21.6472 | 3.14 | 353.7 | 23.3 | 962.863 | 75.9079 | -0.29928
2020-08-24 23:45:00 | 1.864 | 332 | 2.745 | 344.9 | 2.843 | 324.896 | 2.745 | 335.8 | 22.99 | 962.422 | 79.1816 | -0.2882