## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-25 00:00:00 | 1.937 | 348.7 | 2.49 | 0.409 | 2.543 | 0.38528 | 2.437 | 344 | 22.86 | 962.105 | 78.2268 | -0.2882
2020-08-25 00:15:00 | 0.409 | 350.9 | 1.357 | 2.63 | 1.482 | 2.4775 | 1.436 | 345.5 | 22.77 | 962.572 | 78.9429 | -0.29928
2020-08-25 00:30:00 | 2.051 | 351.4 | 1.971 | 5.972 | 2.607 | 5.6256 | 2.432 | 345.5 | 22.7 | 962.131 | 79.7272 | -0.2882
2020-08-25 00:45:00 | 1.68 | 355.2 | 2.341 | 10.72 | 2.141 | 10.0982 | 2.302 | 349 | 22.84 | 962.136 | 80 | -0.29928
2020-08-25 01:00:00 | 2.776 | 345.4 | 3.078 | 4.588 | 3.052 | 4.3219 | 3.002 | 342.7 | 22.82 | 962.214 | 78.5678 | -0.17735
2020-08-25 01:15:00 | 3.008 | 340.2 | 3.249 | 359.9 | 3.438 | 339.026 | 3.415 | 338 | 22.82 | 962.23 | 78.2268 | -0.096066
2020-08-25 01:30:00 | 2.722 | 333.9 | 2.988 | 356.6 | 3.202 | 335.917 | 3.094 | 331.6 | 22.73 | 962.287 | 80.2046 | -0.11454
2020-08-25 01:45:00 | 2.839 | 329.1 | 3.078 | 336.1 | 3.357 | 316.606 | 3.3 | 331.7 | 21.93 | 962.026 | 90.2984 | 0.13671
2020-08-25 02:00:00 | 2.995 | 333.4 | 3.139 | 342.2 | 3.377 | 322.352 | 3.269 | 331.8 | 21.54 | 961.75 | 88.5261 | 0.15888
2020-08-25 02:15:00 | 3.159 | 335.4 | 3.139 | 343.4 | 3.314 | 323.483 | 3.191 | 333 | 21.69 | 962.082 | 86.4875 | 0.29189
2020-08-25 02:30:00 | 2.605 | 329 | 2.582 | 336.1 | 2.764 | 316.606 | 2.597 | 333 | 21.56 | 962.087 | 88.8801 | 0.10346
2020-08-25 02:45:00 | 2.765 | 334.5 | 2.82 | 349.5 | 3.039 | 329.229 | 3.022 | 333 | 22 | 962.087 | 85.6062 | 0.15888
2020-08-25 03:00:00 | 2.597 | 332.6 | 2.766 | 345.2 | 2.902 | 325.178 | 2.908 | 332.6 | 21.99 | 962.235 | 87.3442 | 0.67985
2020-08-25 03:15:00 | 3.245 | 333.5 | 3.883 | 350.5 | 4.046 | 330.171 | 4.072 | 330.9 | 21.83 | 961.79 | 89.1541 | 1.659
2020-08-25 03:30:00 | 3.182 | 335.3 | 3.725 | 347.2 | 2.004 | 327.062 | 1.612 | 330.4 | 21.75 | 961.79 | 89.6991 | 3.4695
2020-08-25 03:45:00 | 3.84 | 335.2 | 3.919 | 353.2 | 1.986 | 332.714 | 1.5 | 318.2 | 21.67 | 961.79 | 86.3574 | 3.3217
2020-08-25 04:00:00 | 3.245 | 338.4 | 3.76 | 353.6 | 2.459 | 333.091 | 1.811 | 333.8 | 21.67 | 961.79 | 89.0176 | 2.494
2020-08-25 04:15:00 | 3.422 | 336.4 | 3.794 | 356.7 | 2.983 | 336.011 | 2.643 | 339.1 | 21.85 | 961.641 | 86.2892 | 1.5518
2020-08-25 04:30:00 | 2.393 | 339.1 | 2.878 | 22.3 | 2.248 | 21.0066 | 1.889 | 338 | 21.87 | 961.938 | 84.7885 | -0.12193
2020-08-25 04:45:00 | 1.879 | 346.9 | 2.423 | 11.15 | 3.191 | 10.5033 | 3.002 | 347.8 | 21.93 | 962.087 | 86.0163 | -0.062812
2020-08-25 05:00:00 | 1.864 | 1.857 | 2.766 | 25.29 | 3.148 | 23.8232 | 3.346 | 4.743 | 21.78 | 962.235 | 85.5048 | 0.051728
2020-08-25 05:15:00 | 2.038 | 7.168 | 2.809 | 25.43 | 2.856 | 23.9551 | 2.979 | 4.314 | 22.12 | 962.383 | 83.1514 | 0.17366
2020-08-25 05:30:00 | 3.337 | 4.956 | 3.607 | 25.31 | 3.682 | 23.842 | 3.636 | 3.117 | 22.08 | 962.383 | 82.1964 | 0.45077
2020-08-25 05:45:00 | 2.98 | 12.38 | 3.673 | 21.45 | 3.982 | 20.2059 | 4.665 | 22.44 | 22.25 | 962.383 | 80.0136 | 0.68724
2020-08-25 06:00:00 | 2.804 | 9.44 | 3.758 | 31.61 | 3.754 | 29.7766 | 3.45 | 7.936 | 22.4 | 962.977 | 79.867 | 1.0604
2020-08-25 06:15:00 | 3.113 | 9 | 4.226 | 29.47 | 4.099 | 27.7607 | 3.825 | 6.9 | 22.67 | 962.734 | 76.5218 | 1.4595
2020-08-25 06:30:00 | 2.865 | 9.19 | 3.745 | 29.99 | 3.837 | 28.2506 | 3.532 | 8.48 | 22.85 | 963.128 | 74.5365 | 0.78331
2020-08-25 06:45:00 | 3.478 | 8.18 | 4.226 | 26 | 4.293 | 24.492 | 4.023 | 5.103 | 23.11 | 963.277 | 73.8483 | 0.94957
2020-08-25 07:00:00 | 3.547 | 9.43 | 3.924 | 23.09 | 4.15 | 21.7508 | 4.398 | 359.3 | 23.18 | 963.425 | 74.1786 | 0.58379
2020-08-25 07:15:00 | 3.297 | 12.9 | 3.886 | 30.96 | 3.296 | 29.1643 | 3.191 | 4.862 | 23.28 | 963.87 | 73.0527 | 0.38057
2020-08-25 07:30:00 | 3.09 | 11.77 | 4.065 | 34.24 | 3.4 | 32.2541 | 3.178 | 8.73 | 23.15 | 963.823 | 75.0572 | 0.088676
2020-08-25 07:45:00 | 3.994 | 7.172 | 4.847 | 27.96 | 4.102 | 26.3383 | 3.906 | 5.907 | 23.28 | 964.05 | 74.9148 | 0.54314
2020-08-25 08:00:00 | 3.807 | 12.61 | 5.026 | 31.62 | 4.369 | 29.786 | 4.153 | 14.15 | 23.4 | 963.876 | 77.1302 | 0.099761
2020-08-25 08:15:00 | 4.558 | 10.01 | 4.627 | 20.43 | 4.356 | 19.2451 | 4.324 | 4.621 | 23.81 | 963.873 | 72.2904 | 0.50989
2020-08-25 08:30:00 | 3.802 | 12.39 | 4.251 | 27.4 | 3.873 | 25.8108 | 3.662 | 14.26 | 23.91 | 964.466 | 73.4825 | 0.38426
2020-08-25 08:45:00 | 3.068 | 13.46 | 3.783 | 28.29 | 3.209 | 26.6492 | 3.124 | 13.26 | 24.34 | 964.614 | 71.569 | 0.41752
2020-08-25 09:00:00 | 3.411 | 19.85 | 4.157 | 37.61 | 3.451 | 35.4286 | 3.346 | 16.58 | 24.68 | 964.733 | 71.7072 | 0.15149
2020-08-25 09:15:00 | 3.014 | 10.73 | 3.799 | 26.28 | 3.306 | 24.7558 | 3.216 | 8.7 | 25.16 | 964.997 | 68.0103 | -0.059118
2020-08-25 09:30:00 | 3.253 | 10.21 | 3.438 | 18.08 | 2.858 | 17.0314 | 2.668 | 8.69 | 25.46 | 965.062 | 68.7905 | -0.29928
2020-08-25 09:45:00 | 2.229 | 15.52 | 3.096 | 25.98 | 2.917 | 24.4732 | 2.62 | 12.06 | 25.93 | 965.655 | 66.0988 | -0.22539
2020-08-25 10:00:00 | 2.447 | 14.43 | 3.167 | 30.85 | 2.35 | 29.0607 | 2.225 | 11.69 | 26.79 | 965.803 | 65.8944 | -0.24755
2020-08-25 10:15:00 | 2.501 | 2.664 | 2.639 | 358.6 | 2.256 | 337.801 | 1.913 | 353.3 | 26.44 | 965.655 | 69.8463 | -0.22169
2020-08-25 10:30:00 | 1.012 | 27.42 | 1.438 | 31.68 | 2.151 | 29.8426 | 1.834 | 11.91 | 26.15 | 965.21 | 74.0715 | -0.22908
2020-08-25 10:45:00 | 1.565 | 8.92 | 1.775 | 356.1 | 2.018 | 335.446 | 1.851 | 10.79 | 26.17 | 965.506 | 74.753 | -0.24386
2020-08-25 11:00:00 | 2.954 | 6.676 | 2.541 | 18.58 | 2.25 | 17.5024 | 2.169 | 8.23 | 26.01 | 965.21 | 74.5145 | -0.25494
2020-08-25 11:15:00 | 2.533 | 8.79 | 2.845 | 17.3 | 2.479 | 16.2966 | 2.32 | 12.8 | 26.26 | 965.358 | 73.2538 | -0.29928
2020-08-25 11:30:00 | 2.056 | 14.1 | 2.789 | 26.04 | 2.556 | 24.5297 | 2.378 | 12.2 | 26.61 | 965.358 | 69.1652 | -0.2882
2020-08-25 11:45:00 | 3.023 | 351.6 | 3.121 | 0.564 | 2.881 | 0.53129 | 2.63 | 3.776 | 26.56 | 964.913 | 70.1874 | -0.2882
2020-08-25 12:00:00 | 2.31 | 10.72 | 2.814 | 19.99 | 2.594 | 18.8306 | 2.342 | 15.26 | 27.03 | 965.358 | 66.201 | -0.2882
2020-08-25 12:15:00 | 1.807 | 5.077 | 2.106 | 13.53 | 2.216 | 12.7453 | 1.894 | 355.3 | 27.27 | 965.358 | 66.3032 | -0.2882
2020-08-25 12:30:00 | 2.448 | 357.1 | 2.855 | 342.9 | 2.168 | 323.012 | 1.886 | 13.7 | 28.12 | 965.655 | 72.2317 | -0.2882
2020-08-25 12:45:00 | 2.146 | 7.257 | 2.323 | 18.97 | 2.668 | 17.8697 | 2.596 | 357.7 | 26.99 | 965.803 | 76.3543 | -0.24016
2020-08-25 13:00:00 | 2.513 | 345.2 | 2.623 | 356.6 | 2.807 | 335.917 | 2.505 | 351 | 27.16 | 965.506 | 74.3441 | -0.17735
2020-08-25 13:15:00 | 2.089 | 7.326 | 2.368 | 15.55 | 2.12 | 14.6481 | 1.971 | 4.884 | 26.98 | 965.358 | 75.4685 | -0.062812
2020-08-25 13:30:00 | 1.253 | 2.942 | 1.426 | 18.55 | 1.691 | 17.4741 | 1.53 | 12.08 | 27.4 | 966.099 | 73.0494 | -0.2143
2020-08-25 13:45:00 | 2.112 | 16.24 | 2.551 | 23.23 | 3.179 | 21.8827 | 2.753 | 7.764 | 27.65 | 966.099 | 72.9813 | -0.23647
2020-08-25 14:00:00 | 1.857 | 8.64 | 2.827 | 31.97 | 2.904 | 30.1157 | 2.834 | 359.1 | 27.84 | 965.951 | 70.5962 | -0.2143
2020-08-25 14:15:00 | 2.098 | 20.51 | 2.755 | 23.23 | 2.879 | 21.8827 | 2.444 | 20.28 | 28.08 | 966.692 | 67.8364 | -0.2882
2020-08-25 14:30:00 | 3.08 | 349.3 | 2.958 | 5.942 | 2.94 | 5.5974 | 2.803 | 344.9 | 27.84 | 966.248 | 63.4753 | -0.23278
2020-08-25 14:45:00 | 2.96 | 340 | 3.377 | 352.4 | 3.319 | 331.961 | 3.241 | 338.7 | 27.62 | 965.655 | 71.8228 | 0.46186
2020-08-25 15:00:00 | 3.863 | 354.9 | 3.645 | 21.09 | 3.746 | 19.8668 | 3.679 | 350.3 | 27.03 | 965.062 | 73.5264 | 2.0359
2020-08-25 15:15:00 | 1.97 | 7.779 | 1.846 | 15.87 | 2.009 | 14.9495 | 2.05 | 356.6 | 27.12 | 965.358 | 73.9012 | 2.3573
2020-08-25 15:30:00 | 2.962 | 336.3 | 3.602 | 355.8 | 4.341 | 335.164 | 4.365 | 332.9 | 27.16 | 965.068 | 72.7783 | 4.0385
2020-08-25 15:45:00 | 2.396 | 0.524 | 2.801 | 18.56 | 2.661 | 17.4835 | 2.703 | 349.5 | 26.96 | 965.143 | 69.0474 | 1.5888
2020-08-25 16:00:00 | 2.806 | 9.88 | 3.044 | 26.29 | 2.988 | 24.7652 | 3.022 | 1.562 | 26.76 | 965.059 | 72.0146 | 0.82764
2020-08-25 16:15:00 | 2.349 | 3.886 | 3.149 | 26.41 | 3.331 | 24.8782 | 3.254 | 352.4 | 26.67 | 964.614 | 70.208 | 1.1824
2020-08-25 16:30:00 | 4.131 | 7.706 | 4.497 | 22.58 | 4.023 | 21.2704 | 3.87 | 9.81 | 26.53 | 964.318 | 72.1851 | 2.4866
2020-08-25 16:45:00 | 3.866 | 347.2 | 4.149 | 0.651 | 4.367 | 0.61324 | 4.339 | 351.9 | 26.33 | 964.169 | 74.7784 | 3.0815
2020-08-25 17:00:00 | 3.182 | 340.4 | 3.561 | 355.3 | 4.016 | 334.693 | 4.072 | 344.2 | 26.17 | 964.169 | 75.3238 | 5.3464
2020-08-25 17:15:00 | 4.206 | 340.7 | 4.788 | 353.5 | 4.608 | 332.997 | 4.627 | 344.7 | 26.06 | 963.974 | 73.3469 | 5.1617
2020-08-25 17:30:00 | 3.302 | 1.189 | 3.469 | 14.39 | 4.069 | 13.5554 | 4.176 | 5.924 | 25.87 | 963.651 | 72.6312 | 5.1211
2020-08-25 17:45:00 | 2.676 | 24.4 | 3.944 | 38.49 | 4.242 | 36.2576 | 4.202 | 30.21 | 25.57 | 963.572 | 78.537 | 5.7566
2020-08-25 18:00:00 | 4.075 | 20.3 | 5.555 | 36.66 | 5.618 | 34.5337 | 5.564 | 24.44 | 25.53 | 963.128 | 79.1546 | 11.6535
2020-08-25 18:15:00 | 3.171 | 14.64 | 5.028 | 33.27 | 5.755 | 31.3403 | 5.185 | 18.64 | 25.37 | 963.128 | 75.9843 | 6.4844
2020-08-25 18:30:00 | 3.677 | 7.547 | 4.384 | 21.38 | 4.69 | 20.14 | 4.459 | 14.12 | 25.56 | 963.276 | 74.6548 | 11.8752
2020-08-25 18:45:00 | 3.659 | 9.14 | 4.745 | 23.16 | 4.662 | 21.8167 | 4.181 | 14.62 | 25.55 | 963.276 | 73.3601 | 10.05
2020-08-25 19:00:00 | 3.447 | 19.6 | 4.921 | 34.51 | 5.783 | 32.5084 | 5.791 | 23.84 | 25.72 | 963.722 | 72.0641 | 7.8663
2020-08-25 19:15:00 | 4.037 | 15.54 | 4.954 | 29.94 | 5.178 | 28.2035 | 5.157 | 24.36 | 25.62 | 963.87 | 74.1102 | 8.8529
2020-08-25 19:30:00 | 3.399 | 26.26 | 5.504 | 42.87 | 6.34 | 40.3835 | 6.351 | 29.84 | 25.47 | 963.87 | 72.0697 | 4.0976
2020-08-25 19:45:00 | 3.514 | 21.34 | 4.535 | 33.04 | 4.812 | 31.1237 | 4.752 | 25.91 | 25.82 | 964.315 | 66.6842 | 2.2354
2020-08-25 20:00:00 | 3.664 | 24 | 5.785 | 37.81 | 5.91 | 35.617 | 5.862 | 29.32 | 25.86 | 964.315 | 66.139 | 3.0482
2020-08-25 20:15:00 | 2.967 | 34.42 | 4.077 | 51.95 | 4.74 | 48.9369 | 4.731 | 38.82 | 25.79 | 964.463 | 66.2043 | 2.3241
2020-08-25 20:30:00 | 1.629 | 20.31 | 2.738 | 33.16 | 2.749 | 31.2367 | 2.465 | 28.07 | 25.59 | 964.612 | 65.7635 | 0.59487
2020-08-25 20:45:00 | 1.205 | 30.67 | 1.775 | 43.35 | 2.197 | 40.8357 | 2.114 | 36.82 | 25.58 | 964.463 | 66.4105 | 0.58379
2020-08-25 21:00:00 | 0.819 | 24.1 | 2.03 | 39.34 | 2.675 | 37.0583 | 2.658 | 21.74 | 25.3 | 964.612 | 68.1179 | 0.070202
2020-08-25 21:15:00 | 2.219 | 8.53 | 3.172 | 23.08 | 3.237 | 21.7414 | 2.536 | 13.96 | 25.27 | 964.463 | 67.5044 | 0.50619
2020-08-25 21:30:00 | 2.173 | 28.61 | 3.732 | 43.23 | 4.397 | 40.7227 | 4.507 | 33.15 | 25.2 | 964.463 | 70.9853 | 2.8672
2020-08-25 21:45:00 | 1.214 | 30.23 | 3.41 | 45.28 | 4.756 | 42.6538 | 4.823 | 35.04 | 24.21 | 964.167 | 71.4627 | 4.4116
2020-08-25 22:00:00 | 3.58 | 18.94 | 4.126 | 33.3 | 4.468 | 31.3686 | 4.461 | 28.46 | 25.28 | 964.315 | 67.5077 | 4.8624
2020-08-25 22:15:00 | 2.552 | 34.48 | 4.297 | 52.93 | 4.979 | 49.8601 | 4.953 | 39.46 | 24.94 | 964.315 | 68.1207 | 4.7516
2020-08-25 22:30:00 | 3.657 | 40.4 | 5.072 | 54.77 | 5.442 | 51.5933 | 5.46 | 47.45 | 25.32 | 964.315 | 67.2348 | 5.3945
2020-08-25 22:45:00 | 2.151 | 33.35 | 4.522 | 46.7 | 5.091 | 43.9914 | 5.006 | 42.45 | 24.95 | 963.87 | 70.9171 | 5.3058
2020-08-25 23:00:00 | 1.856 | 33.85 | 4.313 | 47.55 | 4.885 | 44.7921 | 4.688 | 41.81 | 24.8 | 964.018 | 70.508 | 4.8735
2020-08-25 23:15:00 | 2.616 | 35.49 | 3.471 | 44.07 | 3.919 | 41.5139 | 3.853 | 42.95 | 25.07 | 963.87 | 68.1896 | 3.3919
2020-08-25 23:30:00 | 3.263 | 31.8 | 4.192 | 46.81 | 4.4 | 44.095 | 4.405 | 41.43 | 25.1 | 964.018 | 68.1214 | 1.3375
2020-08-25 23:45:00 | 1.685 | 15.3 | 1.887 | 33.84 | 2.383 | 31.8773 | 2.388 | 27.77 | 25.11 | 964.167 | 69.2124 | -0.16257