## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-26 00:00:00 | 1.67 | 359.4 | 1.549 | 1.51 | 1.003 | 1.4224 | 0.159 | 2.325 | 25.03 | 964.315 | 69.6897 | -0.32145
2020-08-26 00:15:00 | 2.058 | 2.127 | 1.912 | 4.836 | 1.133 | 4.5555 | 0.618 | 2.69 | 24.77 | 963.87 | 71.1217 | 0.077592
2020-08-26 00:30:00 | 2.044 | 8.67 | 2.745 | 18 | 2.431 | 16.956 | 2.065 | 9.67 | 24.53 | 963.87 | 73.7119 | 0.24386
2020-08-26 00:45:00 | 2.362 | 5.591 | 3.042 | 20.9 | 2.619 | 19.6878 | 2.546 | 14.55 | 24.44 | 963.722 | 72.8264 | 0.29189
2020-08-26 01:00:00 | 3.46 | 44.74 | 3.576 | 13.27 | 3.151 | 12.5003 | 2.513 | 6.796 | 24.7 | 963.722 | 71.3604 | 1.5925
2020-08-26 01:15:00 | 4.052 | 349.9 | 4.443 | 6.972 | 3.84 | 6.5676 | 4.051 | 52.93 | 24.61 | 963.425 | 73.5083 | 2.5088
2020-08-26 01:30:00 | 2.571 | 6.504 | 3.482 | 28.02 | 3.982 | 26.3948 | 3.611 | 5.492 | 23.91 | 963.276 | 76.1336 | 3.4362
2020-08-26 01:45:00 | 4.606 | 357.6 | 4.479 | 12.9 | 5.096 | 12.1518 | 5.363 | 358.2 | 24.03 | 963.128 | 77.1224 | 8.1989
2020-08-26 02:00:00 | 2.99 | 6.499 | 4.067 | 25.76 | 3.81 | 24.2659 | 3.766 | 7.266 | 23.6 | 963.128 | 79.2706 | 9.2741
2020-08-26 02:15:00 | 2.972 | 14.33 | 4.847 | 34.31 | 5.933 | 32.32 | 4.403 | 13.58 | 23.22 | 962.683 | 81.7643 | 10.5525
2020-08-26 02:30:00 | 2.6 | 14.76 | 5.248 | 31.93 | 6.203 | 30.0781 | 5.358 | 17.92 | 23.53 | 962.683 | 79.5889 | 9.1669
2020-08-26 02:45:00 | 3.164 | 8.53 | 6.115 | 26.01 | 5.542 | 24.5014 | 5.073 | 12.59 | 23.67 | 962.832 | 78.2933 | 9.9391
2020-08-26 03:00:00 | 4.402 | 12.89 | 6.322 | 29.37 | 6.47 | 27.6665 | 5.646 | 16.45 | 23.8 | 962.386 | 78.6349 | 7.4377
2020-08-26 03:15:00 | 3.187 | 12.26 | 4.954 | 28.6 | 4.42 | 26.9412 | 3.924 | 13.32 | 23.82 | 962.683 | 79.7265 | 1.755
2020-08-26 03:30:00 | 4.619 | 14.31 | 6.767 | 28.72 | 7.014 | 27.0542 | 6.348 | 18.54 | 23.65 | 962.09 | 81.0211 | 7.7555
2020-08-26 03:45:00 | 4.703 | 15.47 | 6.205 | 31.12 | 6.895 | 29.315 | 6.611 | 20.45 | 23.63 | 962.09 | 81.9083 | 10.4971
2020-08-26 04:00:00 | 4.274 | 8.84 | 5.279 | 18.46 | 5.503 | 17.3893 | 5.279 | 8.25 | 23.75 | 962.386 | 81.9756 | 8.2728
2020-08-26 04:15:00 | 4.566 | 12.35 | 4.354 | 11.48 | 4.082 | 10.8142 | 3.84 | 9.42 | 23.32 | 962.238 | 85.0465 | 5.3649
2020-08-26 04:30:00 | 4.68 | 10.46 | 4.397 | 19.11 | 5.018 | 18.0016 | 4.696 | 8.98 | 22.86 | 962.09 | 89.4117 | 10.7224
2020-08-26 04:45:00 | 4.124 | 12.4 | 5.693 | 29.05 | 6.271 | 27.3651 | 4.739 | 15.06 | 22.33 | 961.942 | 93.0264 | 10.5746
2020-08-26 05:00:00 | 3.761 | 7.414 | 4.08 | 21.46 | 4.628 | 20.2153 | 4.25 | 13.04 | 22.43 | 962.09 | 90.6394 | 7.5338
2020-08-26 05:15:00 | 3.557 | 7.201 | 4.934 | 25.73 | 5.45 | 24.2377 | 5.292 | 9.6 | 22.59 | 962.09 | 94.7314 | 12.7805
2020-08-26 05:30:00 | 3.886 | 9.74 | 5.711 | 29.14 | 5.837 | 27.4499 | 5.956 | 11.82 | 21.7 | 962.016 | 98.5507 | 18.4668
2020-08-26 05:45:00 | 3.473 | 13.17 | 5.223 | 31.17 | 6.34 | 29.3621 | 5.556 | 15.67 | 21.93 | 962.338 | 94.4586 | 12.3888
2020-08-26 06:00:00 | 3.743 | 15.39 | 5.714 | 34.84 | 6.376 | 32.8193 | 5.895 | 18.87 | 22.47 | 962.516 | 89.6862 | 11.2249
2020-08-26 06:15:00 | 3.891 | 28.23 | 5.847 | 45.35 | 6.294 | 42.7197 | 6.254 | 32.46 | 22.71 | 962.929 | 84.1626 | 9.0782
2020-08-26 06:30:00 | 3.81 | 27.53 | 5.775 | 43.49 | 6.289 | 40.9676 | 6.264 | 30.23 | 22.95 | 962.952 | 82.9668 | 8.6718
2020-08-26 06:45:00 | 4.006 | 25.84 | 6.407 | 42.95 | 6.78 | 40.4589 | 6.764 | 28.67 | 23.33 | 962.748 | 80.9548 | 7.2752
2020-08-26 07:00:00 | 4.486 | 21.92 | 6.731 | 35.53 | 6.94 | 33.4693 | 6.888 | 25.98 | 23.44 | 962.684 | 81.9779 | 12.2632
2020-08-26 07:15:00 | 4.394 | 23.34 | 7.094 | 38.31 | 7.324 | 36.088 | 7.235 | 27.86 | 23.27 | 962.832 | 83.3419 | 13.6377
2020-08-26 07:30:00 | 3.674 | 20.96 | 6.184 | 36.83 | 6.526 | 34.6939 | 6.402 | 24.57 | 23.19 | 962.683 | 84.5695 | 12.108
2020-08-26 07:45:00 | 3.973 | 27.98 | 6.284 | 41.54 | 6.818 | 39.1307 | 6.723 | 33 | 22.81 | 962.832 | 87.9784 | 14.5799
2020-08-26 08:00:00 | 3.853 | 27.05 | 6.499 | 44.13 | 7.09 | 41.5705 | 7.026 | 31.08 | 23.04 | 962.98 | 82.9999 | 15.74
2020-08-26 08:15:00 | 3.519 | 21.23 | 6.136 | 35.4 | 6.793 | 33.3468 | 6.616 | 27.17 | 23.24 | 963.128 | 84.2967 | 18.0308
2020-08-26 08:30:00 | 4.024 | 13.78 | 5.675 | 28.09 | 5.47 | 26.4608 | 5.159 | 19.81 | 23.37 | 963.277 | 82.8644 | 25.2062
2020-08-26 08:45:00 | 4.294 | 22.42 | 7.974 | 36.63 | 8.5 | 34.5055 | 8.38 | 28.52 | 23.49 | 962.98 | 82.146 | 38.2786
2020-08-26 09:00:00 | 3.645 | 21.9 | 8.3 | 33.82 | 8.36 | 31.8584 | 7.981 | 27.78 | 23.76 | 963.277 | 76.1771 | 32.2856
2020-08-26 09:15:00 | 4.3 | 18.17 | 9.05 | 32.38 | 9.47 | 30.502 | 9.02 | 22.45 | 23.92 | 963.425 | 73.6822 | 27.6966
2020-08-26 09:30:00 | 4.157 | 17.83 | 9.55 | 32.22 | 10.01 | 30.3512 | 9.54 | 22.46 | 24.2 | 963.573 | 66.8259 | 16.3977
2020-08-26 09:45:00 | 6.1 | 10.01 | 6.718 | 18.07 | 6.48 | 17.0219 | 6.201 | 10.26 | 24.16 | 963.573 | 69.2806 | 11.9122
2020-08-26 10:00:00 | 4.509 | 11.27 | 6.862 | 24.47 | 6.745 | 23.0507 | 6.287 | 15.99 | 24.01 | 963.573 | 70.4398 | 7.3158
2020-08-26 10:15:00 | 4.657 | 13.8 | 6.989 | 27.37 | 6.656 | 25.7825 | 6.231 | 20.54 | 23.35 | 963.277 | 74.8722 | 9.3923
2020-08-26 10:30:00 | 4.267 | 23.07 | 6.056 | 32.42 | 6.124 | 30.5396 | 6.112 | 31.86 | 23.14 | 963.277 | 74.088 | 12.0193
2020-08-26 10:45:00 | 3.916 | 16.19 | 7.168 | 30.52 | 7.233 | 28.7498 | 6.664 | 20.27 | 23.47 | 963.425 | 69.5875 | 10.7631
2020-08-26 11:00:00 | 3.276 | 16.64 | 4.586 | 29.49 | 4.567 | 27.7796 | 4.354 | 23.24 | 23.26 | 963.277 | 76.1678 | 5.7344
2020-08-26 11:15:00 | 4.185 | 7.981 | 4.267 | 18.8 | 4.456 | 17.7096 | 4.217 | 11.87 | 23.36 | 963.573 | 76.7801 | 5.2984
2020-08-26 11:30:00 | 4.41 | 5.427 | 4.65 | 17.22 | 4.972 | 16.2212 | 4.854 | 5.395 | 23.43 | 963.277 | 74.8039 | 7.2234
2020-08-26 11:45:00 | 4.729 | 339.8 | 4.847 | 354.1 | 4.715 | 333.562 | 4.833 | 347.4 | 23 | 963.425 | 83.8049 | 8.3577
2020-08-26 12:00:00 | 4.456 | 348.4 | 4.604 | 10.18 | 5.618 | 9.5896 | 5.75 | 350.3 | 23.03 | 962.98 | 85.7825 | 11.3321
2020-08-26 12:15:00 | 6.417 | 2.717 | 6.171 | 17.3 | 6.335 | 16.2966 | 6.162 | 4.613 | 23.15 | 963.128 | 82.2359 | 12.5773
2020-08-26 12:30:00 | 5.633 | 2.385 | 5.504 | 18.76 | 5.231 | 17.6719 | 5.213 | 5.439 | 23.3 | 963.128 | 81.9966 | 13.5379
2020-08-26 12:45:00 | 4.821 | 357.9 | 5.274 | 22.38 | 5.61 | 21.082 | 5.745 | 354.5 | 23.04 | 963.277 | 87.5543 | 12.4295
2020-08-26 13:00:00 | 3.228 | 357.8 | 4.136 | 23.33 | 4.56 | 21.9769 | 4.596 | 351.7 | 22.98 | 963.425 | 88.3364 | 5.5201
2020-08-26 13:15:00 | 2.73 | 350.6 | 3.004 | 25.6 | 3.314 | 24.1152 | 3.427 | 348.1 | 23.27 | 962.98 | 90.4125 | 4.6814
2020-08-26 13:30:00 | 3.917 | 345.2 | 3.855 | 336 | 3.028 | 316.512 | 2.977 | 345.1 | 23.55 | 963.277 | 92.7221 | 7.6151
2020-08-26 13:45:00 | 4.05 | 321.8 | 4.279 | 343.1 | 4.405 | 323.2 | 4.372 | 323.2 | 23.14 | 962.831 | 93.6765 | 10.9183
2020-08-26 14:00:00 | 3.046 | 333.6 | 3.367 | 347 | 3.207 | 326.874 | 3.071 | 331.9 | 22.81 | 962.238 | 96.8127 | 13.4382
2020-08-26 14:15:00 | 3.127 | 359.3 | 4.123 | 28.51 | 4.435 | 26.8564 | 4.543 | 351.6 | 22.97 | 962.09 | 95.8296 | 15.6366
2020-08-26 14:30:00 | 4.448 | 0.364 | 5.34 | 27.16 | 5.577 | 25.5847 | 5.607 | 356.7 | 23.16 | 961.942 | 91.2294 | 17.5357
2020-08-26 14:45:00 | 4.149 | 350 | 4.77 | 26.59 | 5.875 | 25.0478 | 6.162 | 346.4 | 23.41 | 962.238 | 85.3638 | 20.4953
2020-08-26 15:00:00 | 4.732 | 7.729 | 6.286 | 33.07 | 5.152 | 31.1519 | 5.228 | 358.9 | 23.62 | 962.386 | 79.7005 | 21.3525
2020-08-26 15:15:00 | 6.046 | 0.115 | 6.222 | 25.15 | 6.823 | 23.6913 | 6.998 | 358.8 | 23.53 | 961.789 | 77.0412 | 28.018
2020-08-26 15:30:00 | 5.901 | 7.926 | 6.667 | 27.16 | 6.292 | 25.5847 | 6.31 | 6.975 | 23.31 | 961.645 | 78.543 | 28.853
2020-08-26 15:45:00 | 5.334 | 11.4 | 7.462 | 28.24 | 6.368 | 26.6021 | 5.926 | 13.2 | 23.07 | 961.2 | 75.0688 | 28.3432
2020-08-26 16:00:00 | 7.098 | 10.83 | 9.74 | 30.08 | 8.67 | 28.3354 | 7.983 | 14.55 | 22.81 | 961.052 | 70.883 | 41.0645
2020-08-26 16:15:00 | 4.405 | 16.86 | 8.61 | 36.04 | 8.58 | 33.9497 | 8.17 | 21.79 | 22.72 | 961.052 | 71.0535 | 26.9022
2020-08-26 16:30:00 | 7.035 | 3.501 | 6.91 | 12.76 | 7.202 | 12.0199 | 7.072 | 5.053 | 22.69 | 961.2 | 69.417 | 29.1523
2020-08-26 16:45:00 | 7.167 | 8.69 | 7.263 | 21.54 | 7.459 | 20.2907 | 7.668 | 6.401 | 22.33 | 960.903 | 71.5992 | 33.6009
2020-08-26 17:00:00 | 5.995 | 8.34 | 7.094 | 23.86 | 6.874 | 22.4761 | 6.376 | 11.63 | 22.27 | 961.2 | 72.0485 | 20.9091
2020-08-26 17:15:00 | 5.564 | 7.979 | 6.882 | 23.43 | 6.485 | 22.0711 | 6.183 | 8.83 | 22.41 | 961.2 | 71.202 | 24.3786
2020-08-26 17:30:00 | 4.989 | 12.78 | 8.04 | 28.82 | 8.02 | 27.1484 | 7.245 | 18.47 | 22.48 | 961.793 | 69.903 | 17.0406
2020-08-26 17:45:00 | 4.259 | 13.88 | 8.15 | 30.64 | 7.963 | 28.8629 | 7.308 | 17.82 | 22.54 | 961.497 | 70.3725 | 19.8561
2020-08-26 18:00:00 | 5.171 | 13.71 | 8.41 | 30.08 | 8.38 | 28.3354 | 7.55 | 18.18 | 22.54 | 961.645 | 71.4627 | 24.604
2020-08-26 18:15:00 | 4.486 | 14.18 | 7.237 | 28.79 | 7.146 | 27.1202 | 6.514 | 19.25 | 22.46 | 961.793 | 73.2356 | 12.7398
2020-08-26 18:30:00 | 5.436 | 17.65 | 8.97 | 35.93 | 8.72 | 33.8461 | 8.38 | 21.81 | 22.22 | 961.645 | 73.6798 | 19.6381
2020-08-26 18:45:00 | 3.922 | 17.75 | 7.468 | 33.75 | 7.284 | 31.7925 | 7.069 | 21.27 | 21.97 | 961.497 | 76.4187 | 15.2449
2020-08-26 19:00:00 | 3.963 | 20.95 | 7.567 | 34.55 | 7.795 | 32.5461 | 7.701 | 26.51 | 21.82 | 961.348 | 76.7263 | 13.4788
2020-08-26 19:15:00 | 2.844 | 16.53 | 6.509 | 32.19 | 6.597 | 30.323 | 6.203 | 20.97 | 21.64 | 961.667 | 76.4535 | 12.4516
2020-08-26 19:30:00 | 5.411 | 11.33 | 7.805 | 27.16 | 7.823 | 25.5847 | 6.955 | 15.58 | 21.74 | 961.785 | 76.0493 | 21.5336
2020-08-26 19:45:00 | 5.482 | 12.47 | 8.32 | 28.58 | 8.03 | 26.9224 | 7.324 | 14.3 | 21.64 | 961.938 | 76.1917 | 17.2143
2020-08-26 20:00:00 | 3.758 | 17.48 | 6.616 | 37.08 | 6.739 | 34.9294 | 6.196 | 21.57 | 21.42 | 962.235 | 77.3521 | 11.7016
2020-08-26 20:15:00 | 4.617 | 14.04 | 7.831 | 30.04 | 7.691 | 28.2977 | 7.061 | 19.02 | 21.31 | 962.087 | 77.2851 | 12.4184
2020-08-26 20:30:00 | 3.659 | 14.47 | 6.258 | 28.5 | 6.508 | 26.847 | 6.089 | 20.05 | 21.3 | 962.235 | 78.5129 | 6.8059
2020-08-26 20:45:00 | 3.238 | 16.61 | 6.046 | 32.74 | 6.254 | 30.8411 | 5.933 | 21.85 | 21.24 | 962.087 | 78.0696 | 4.4486
2020-08-26 21:00:00 | 3.848 | 6.824 | 4.873 | 14.87 | 4.852 | 14.0075 | 4.571 | 7.095 | 21.01 | 962.087 | 78.9222 | 4.068
2020-08-26 21:15:00 | 4.721 | 349 | 5.131 | 4.816 | 4.972 | 4.5367 | 4.991 | 353.9 | 20.58 | 961.79 | 83.97 | 7.8552
2020-08-26 21:30:00 | 3.598 | 353.4 | 4.412 | 14.45 | 5.776 | 13.6119 | 5.811 | 353.9 | 20.18 | 961.345 | 89.427 | 11.2508
2020-08-26 21:45:00 | 3.792 | 350.4 | 4.568 | 6.915 | 5.872 | 6.5139 | 5.949 | 352 | 20.05 | 961.196 | 91.9561 | 14.3027
2020-08-26 22:00:00 | 4.451 | 340.5 | 5.325 | 356.5 | 5.859 | 335.823 | 6.02 | 343.3 | 19.98 | 961.36 | 92.511 | 13.5194
2020-08-26 22:15:00 | 4.037 | 346.2 | 5.1 | 2.626 | 6.5 | 2.4737 | 6.58 | 348.1 | 19.79 | 961.237 | 96.1266 | 19.6787
2020-08-26 22:30:00 | 3.96 | 348 | 4.535 | 9.94 | 6.007 | 9.3635 | 6.193 | 349.3 | 19.74 | 961.236 | 96.9469 | 18.3523
2020-08-26 22:45:00 | 3.805 | 347.1 | 4.331 | 7.074 | 5.791 | 6.6637 | 5.882 | 349 | 19.62 | 961.136 | 98.8572 | 18.5851
2020-08-26 23:00:00 | 4.149 | 4.852 | 4.609 | 21.13 | 6.037 | 19.9045 | 6.557 | 358.9 | 19.44 | 961.146 | 99.8806 | 14.1845
2020-08-26 23:15:00 | 4.829 | 6.187 | 4.765 | 22.68 | 5.124 | 21.3646 | 5.21 | 6.609 | 19.46 | 960.762 | 99.4713 | 11.6203
2020-08-26 23:30:00 | 3.383 | 6.477 | 3.95 | 25.98 | 4.379 | 24.4732 | 4.538 | 5.644 | 19.45 | 961.095 | 99.6759 | 9.8505
2020-08-26 23:45:00 | 4.027 | 4.34 | 3.85 | 14.74 | 4.616 | 13.8851 | 4.729 | 4.96 | 19.38 | 961.162 | 99.3348 | 7.5375