## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-27 00:00:00 | 4.264 | 1.34 | 4.4 | 15.86 | 5.272 | 14.9401 | 5.806 | 2.653 | 19.49 | 961.314 | 98.0726 | 7.2789
2020-08-27 00:15:00 | 3.628 | 1.979 | 3.881 | 18.64 | 4.88 | 17.5589 | 5.251 | 0.586 | 19.52 | 960.88 | 98.3114 | 9.965
2020-08-27 00:30:00 | 4.19 | 348.7 | 4.476 | 8.79 | 5.628 | 8.2802 | 5.758 | 348.5 | 19.52 | 960.998 | 96.674 | 9.5992
2020-08-27 00:45:00 | 3.409 | 350.6 | 3.799 | 15.7 | 5.343 | 14.7894 | 5.635 | 347.6 | 19.58 | 960.557 | 96.2647 | 8.9157
2020-08-27 01:00:00 | 4.08 | 348.3 | 4.729 | 7.47 | 6.116 | 7.0367 | 6.308 | 350.8 | 19.56 | 960.43 | 96.1283 | 13.9887
2020-08-27 01:15:00 | 3.164 | 348.6 | 4.09 | 18.24 | 5.913 | 17.1821 | 6.244 | 346 | 19.61 | 960.532 | 95.7189 | 18.6959
2020-08-27 01:30:00 | 4.443 | 3.139 | 4.832 | 17.41 | 6.152 | 16.4002 | 6.618 | 2.788 | 19.52 | 960.397 | 95.1731 | 17.5136
2020-08-27 01:45:00 | 4.683 | 8.43 | 5.747 | 27.98 | 5.399 | 26.3572 | 5.702 | 7.224 | 19.8 | 960.252 | 94.1839 | 17.8609
2020-08-27 02:00:00 | 3.955 | 9.83 | 4.952 | 28.28 | 5.127 | 26.6398 | 4.815 | 11.41 | 19.7 | 960.281 | 93.4675 | 16.4162
2020-08-27 02:15:00 | 4.091 | 14.09 | 5.923 | 31.65 | 6.582 | 29.8143 | 6.02 | 17.56 | 20.05 | 959.877 | 90.7385 | 13.1315
2020-08-27 02:30:00 | 4.599 | 10.16 | 6.11 | 27.76 | 6.083 | 26.1499 | 5.605 | 12.89 | 20.52 | 960.123 | 86.0993 | 8.2063
2020-08-27 02:45:00 | 5.076 | 356.4 | 4.839 | 3.459 | 5.18 | 3.2584 | 5.238 | 2.26 | 20.56 | 960.028 | 89.374 | 5.3945
2020-08-27 03:00:00 | 2.88 | 16.95 | 4.088 | 30.44 | 5.04 | 28.6745 | 4.795 | 20.61 | 20.2 | 960.052 | 92.5124 | 4.8218
2020-08-27 03:15:00 | 3.879 | 6.211 | 4.1 | 17.44 | 3.937 | 16.4285 | 3.753 | 5.92 | 20.25 | 959.892 | 90.1581 | 6.6138
2020-08-27 03:30:00 | 4.599 | 352.3 | 5.32 | 4.931 | 5.72 | 4.645 | 6.323 | 6.745 | 20.33 | 960.018 | 90.942 | 7.604
2020-08-27 03:45:00 | 3.863 | 344 | 4.699 | 358.2 | 4.834 | 337.424 | 4.859 | 349.3 | 20.2 | 960.041 | 92.8525 | 5.9635
2020-08-27 04:00:00 | 3.215 | 344.6 | 3.679 | 359.6 | 4.351 | 338.743 | 4.387 | 348.6 | 19.95 | 959.898 | 95.4453 | 3.3919
2020-08-27 04:15:00 | 3.238 | 350.6 | 3.827 | 4.683 | 4.133 | 4.4114 | 4.036 | 353 | 19.73 | 959.565 | 97.6974 | 5.0545
2020-08-27 04:30:00 | 3.335 | 348.7 | 4.003 | 1.283 | 4.364 | 1.2086 | 4.344 | 348.9 | 19.73 | 959.633 | 98.1068 | 5.8489
2020-08-27 04:45:00 | 2.145 | 358.3 | 2.763 | 17.39 | 3.84 | 16.3814 | 3.786 | 353.4 | 19.69 | 959.509 | 99.2325 | 2.9633
2020-08-27 05:00:00 | 3.284 | 351.5 | 3.538 | 5.304 | 4.321 | 4.9964 | 4.316 | 350.6 | 20.17 | 960.024 | 94.7638 | 1.707
2020-08-27 05:15:00 | 2.957 | 349.4 | 3.574 | 5.471 | 3.975 | 5.1537 | 3.957 | 350 | 20.19 | 959.969 | 93.6722 | 2.3573
2020-08-27 05:30:00 | 2.768 | 353.2 | 3.229 | 12.36 | 4.438 | 11.6431 | 4.428 | 352.9 | 20.09 | 959.797 | 93.1264 | 1.0974
2020-08-27 05:45:00 | 2.043 | 352.8 | 2.835 | 10.14 | 3.878 | 9.5519 | 3.827 | 347.2 | 20.47 | 960.101 | 93.2628 | 0.60226
2020-08-27 06:00:00 | 2.658 | 351.8 | 3.057 | 11.27 | 4.036 | 10.6163 | 3.96 | 344.8 | 20.6 | 960.011 | 92.717 | 0.32515
2020-08-27 06:15:00 | 2.74 | 341.5 | 3.587 | 5.452 | 3.565 | 5.1358 | 3.356 | 338.4 | 20.6 | 960.01 | 94.2835 | 0.26972
2020-08-27 06:30:00 | 1.939 | 336.8 | 2.382 | 360 | 1.982 | 339.12 | 1.718 | 335.2 | 20.69 | 960.01 | 94.6142 | 0.49511
2020-08-27 06:45:00 | 2.091 | 332.2 | 3.175 | 350 | 1.706 | 329.7 | 1.409 | 324.9 | 20.78 | 960.306 | 97.6808 | 0.24386
2020-08-27 07:00:00 | 1.755 | 331.7 | 2.646 | 353.4 | 1.8 | 332.903 | 1.392 | 322.5 | 20.91 | 960.306 | 97.9537 | 0.10346
2020-08-27 07:15:00 | 1.248 | 319.8 | 1.463 | 323.8 | 1.022 | 305.02 | 0.615 | 316 | 21.02 | 960.603 | 95.498 | -0.025864
2020-08-27 07:30:00 | 0.559 | 317 | 0.633 | 325.7 | 2.652 | 306.809 | 2.875 | 321.5 | 20.74 | 960.751 | 93.7927 | -0.14779
2020-08-27 07:45:00 | 0.223 | 11.58 | 0.803 | 1.082 | 1.125 | 1.0192 | 0.999 | 337.3 | 21.04 | 961.197 | 95.9045 | -0.19952
2020-08-27 08:00:00 | 0.899 | 359.2 | 0.577 | 350.2 | 1.183 | 329.888 | 1.06 | 350.2 | 20.91 | 961.13 | 97.7011 | -0.33254
2020-08-27 08:15:00 | 0.68 | 338.1 | 0.513 | 343.4 | 0.834 | 323.483 | 0.683 | 343 | 21.13 | 961.403 | 98.8235 | -0.32145
2020-08-27 08:30:00 | 1.865 | 339.4 | 1.774 | 347.3 | 2.006 | 327.157 | 1.853 | 343.9 | 21.45 | 961.497 | 99.9073 | -0.24016
2020-08-27 08:45:00 | 1.833 | 300.8 | 1.764 | 297.9 | 1.259 | 280.622 | 0.804 | 316.1 | 21.31 | 961.793 | 99.147 | -0.27711
2020-08-27 09:00:00 | 1.8 | 324.8 | 1.506 | 329.9 | 1.627 | 310.766 | 1.452 | 329 | 21.88 | 962.238 | 93.8903 | -0.27711
2020-08-27 09:15:00 | 2.256 | 326.4 | 2.385 | 332.7 | 2.011 | 313.403 | 1.935 | 335 | 22.86 | 962.113 | 89.7449 | -0.2882
2020-08-27 09:30:00 | 2.681 | 318.3 | 2.82 | 327.7 | 2.283 | 308.693 | 2.086 | 323.9 | 23.24 | 962.391 | 86.0924 | -0.29928
2020-08-27 09:45:00 | 2.834 | 295.3 | 2.853 | 305.6 | 2.551 | 287.875 | 2.381 | 302 | 23 | 962.181 | 93.0695 | -0.29928
2020-08-27 10:00:00 | 2.134 | 301.6 | 2.656 | 306.8 | 2.228 | 289.006 | 1.937 | 304.8 | 22.8 | 962.344 | 86.4273 | -0.19952
2020-08-27 10:15:00 | 1.853 | 292.2 | 2.462 | 305.7 | 2.584 | 287.969 | 2.546 | 292.7 | 23.46 | 962.983 | 78.867 | -0.18844
2020-08-27 10:30:00 | 2.479 | 286.7 | 2.753 | 296.2 | 2.467 | 279.02 | 2.308 | 292.6 | 23.66 | 963.131 | 80.7394 | -0.26972
2020-08-27 10:45:00 | 2.62 | 288.3 | 2.579 | 302.2 | 2.131 | 284.672 | 1.904 | 297 | 23.37 | 962.723 | 83.1883 | -0.26233
2020-08-27 11:00:00 | 2.109 | 290.2 | 2.525 | 303.1 | 2.764 | 285.52 | 2.602 | 294.4 | 24.69 | 962.974 | 77.011 | -0.26233
2020-08-27 11:15:00 | 2.194 | 279.4 | 2.124 | 288.3 | 2.113 | 271.579 | 2.001 | 290.3 | 24.28 | 963.137 | 77.2062 | -0.24386
2020-08-27 11:30:00 | 2.21 | 307.9 | 2.653 | 317.7 | 2.148 | 299.273 | 1.876 | 306.6 | 25.21 | 962.986 | 72.5724 | -0.25864
2020-08-27 11:45:00 | 2.544 | 298.7 | 2.768 | 317.1 | 2.573 | 298.708 | 2.393 | 297.9 | 25.35 | 962.986 | 75.7411 | -0.24016
2020-08-27 12:00:00 | 1.931 | 293.8 | 1.777 | 293.2 | 1.589 | 276.194 | 1.293 | 298.5 | 25.43 | 963.431 | 68.0068 | -0.24016
2020-08-27 12:15:00 | 3.312 | 288.3 | 3.492 | 297.9 | 3.062 | 280.622 | 2.931 | 293.6 | 25.59 | 963.283 | 68.5861 | -0.25125
2020-08-27 12:30:00 | 1.287 | 271.8 | 1.684 | 286.8 | 1.78 | 270.166 | 1.588 | 278.3 | 25.79 | 963.135 | 69.8467 | -0.24016
2020-08-27 12:45:00 | 2.275 | 11.4 | 2.178 | 29.84 | 1.929 | 28.1093 | 1.753 | 18.37 | 25.72 | 962.986 | 64.4975 | -0.26972
2020-08-27 13:00:00 | 2.29 | 291.8 | 2.318 | 299.5 | 0 | 282.129 | 1.743 | 301.7 | 26.66 | 963.283 | 68.2113 | -0.26972
2020-08-27 13:15:00 | 2.155 | 294.1 | 2.402 | 309.4 | 0 | 291.455 | 1.945 | 297.5 | 26.4 | 962.986 | 60.3067 | -0.24016
2020-08-27 13:30:00 | 2.635 | 335.4 | 2.895 | 344.1 | 0 | 324.142 | 1.97 | 345.4 | 27.23 | 963.135 | 60.2044 | -0.24016
2020-08-27 13:45:00 | 1.848 | 286.5 | 2.28 | 296.8 | 0 | 279.586 | 1.807 | 294.4 | 27.09 | 962.986 | 59.9659 | -0.24016
2020-08-27 14:00:00 | 1.811 | 347.4 | 1.962 | 343 | 0 | 323.106 | 0.676 | 332.8 | 27.42 | 963.876 | 59.7274 | -0.24016
2020-08-27 14:15:00 | 2.424 | 322.8 | 2.306 | 324.8 | 0 | 305.962 | 1.52 | 337.2 | 27.67 | 963.876 | 57.7172 | -0.24016
2020-08-27 14:30:00 | 2.231 | 327.5 | 2.272 | 332.4 | 0 | 313.121 | 1.069 | 328.7 | 27.52 | 964.172 | 59.046 | -0.25864
2020-08-27 14:45:00 | 1.469 | 34.53 | 2.073 | 39.64 | 0 | 37.3409 | 1.577 | 40.1 | 27.8 | 964.765 | 59.14 | -0.25864
2020-08-27 15:00:00 | 1.201 | 218.7 | 1.265 | 238.5 | 0 | 224.667 | 0.691 | 232.8 | 28.97 | 964.765 | 48.9109 | -0.22539
2020-08-27 15:15:00 | 1.728 | 255.1 | 1.558 | 277.1 | 0 | 261.028 | 0.624 | 280.6 | 29.06 | 964.913 | 52.0436 | -0.24016
2020-08-27 15:30:00 | 1.614 | 147.8 | 1.979 | 165.8 | 0 | 156.184 | 2.006 | 152 | 29.09 | 964.765 | 47.2071 | -0.24016
2020-08-27 15:45:00 | 3.623 | 169 | 3.226 | 177.7 | 0 | 167.393 | 2.582 | 177.6 | 27.76 | 964.172 | 50.1022 | -0.25864
2020-08-27 16:00:00 | 2.4 | 192.7 | 2.324 | 208.5 | 0 | 196.407 | 1.769 | 199.4 | 28.19 | 963.876 | 55.4155 | -0.24016
2020-08-27 16:15:00 | 3.22 | 173.8 | 2.786 | 185 | 0 | 174.27 | 1.899 | 173.2 | 27.41 | 964.172 | 54.3256 | -0.24016
2020-08-27 16:30:00 | 3.197 | 204 | 2.998 | 202.7 | 0 | 190.943 | 2.33 | 223.6 | 27.9 | 963.579 | 54.0279 | -0.24016
2020-08-27 16:45:00 | 2.418 | 207.5 | 2.27 | 216.2 | 0 | 203.66 | 1.522 | 209.5 | 27.7 | 963.135 | 53.4921 | -0.25125
2020-08-27 17:00:00 | 3.087 | 194 | 3.075 | 208.2 | 2.754 | 196.124 | 2.732 | 199.4 | 27.62 | 962.838 | 57.2743 | -0.26972
2020-08-27 17:15:00 | 3.493 | 195.6 | 3.356 | 209.1 | 2.904 | 196.972 | 2.844 | 200.6 | 27.29 | 962.986 | 58.2623 | -0.25125
2020-08-27 17:30:00 | 2.957 | 215 | 2.95 | 232.8 | 2.777 | 219.298 | 2.768 | 216.7 | 26.94 | 962.986 | 60.0341 | -0.26972
2020-08-27 17:45:00 | 2.691 | 250.6 | 2.791 | 263.8 | 2.576 | 248.5 | 2.404 | 251.5 | 26.2 | 962.783 | 64.7531 | -0.26972
2020-08-27 18:00:00 | 2.255 | 263.1 | 2.71 | 277.2 | 2.622 | 261.122 | 2.49 | 266.3 | 25.9 | 962.538 | 70.8874 | -0.25125
2020-08-27 18:15:00 | 1.752 | 274.6 | 2.462 | 283.9 | 2.584 | 267.434 | 2.457 | 273 | 25.58 | 962.093 | 73.4832 | -0.20691
2020-08-27 18:30:00 | 2.086 | 252.3 | 2.799 | 266.3 | 3.029 | 250.855 | 2.915 | 261.5 | 25.43 | 961.862 | 74.8466 | -0.25125
2020-08-27 18:45:00 | 1.734 | 254.1 | 2.518 | 268.5 | 2.632 | 252.927 | 2.503 | 259.9 | 25.45 | 962.218 | 70.9715 | -0.24016
2020-08-27 19:00:00 | 1.647 | 249 | 2.198 | 261 | 2.67 | 245.862 | 2.513 | 259.4 | 25.4 | 962.238 | 71.7914 | -0.24016
2020-08-27 19:15:00 | 1.416 | 241.3 | 1.764 | 252.5 | 1.912 | 237.855 | 1.711 | 250.1 | 25.25 | 961.793 | 73.1574 | -0.24016
2020-08-27 19:30:00 | 2.084 | 236.8 | 2.382 | 244.7 | 2.426 | 230.507 | 2.233 | 241.8 | 25.26 | 962.238 | 74.2238 | -0.26972
2020-08-27 19:45:00 | 1.532 | 236.4 | 1.932 | 241.5 | 1.615 | 227.493 | 1.37 | 239.9 | 25.19 | 962.386 | 75.4858 | -0.24016
2020-08-27 20:00:00 | 0.048 | 236.3 | 0.781 | 241.5 | 0.659 | 227.493 | 0.04 | 238.9 | 25.07 | 962.683 | 75.0767 | -0.22539
2020-08-27 20:15:00 | 0.06 | 206.2 | 0.406 | 241.5 | 0.842 | 227.493 | 0.567 | 238.8 | 25.26 | 962.683 | 68.6669 | -0.22539
2020-08-27 20:30:00 | 1.138 | 184.1 | 1.348 | 211.7 | 1.721 | 199.421 | 1.586 | 201.8 | 25.45 | 962.683 | 66.1098 | -0.25864
2020-08-27 20:45:00 | 1.58 | 182.1 | 2.032 | 199 | 2.072 | 187.458 | 1.917 | 190.3 | 25.5 | 962.98 | 69.6215 | -0.25864
2020-08-27 21:00:00 | 1.443 | 171.4 | 2.377 | 185.1 | 2.456 | 174.364 | 2.35 | 186.7 | 25.51 | 963.128 | 69.1783 | -0.26972
2020-08-27 21:15:00 | 1.866 | 168.9 | 2.607 | 176.2 | 2.807 | 165.98 | 2.709 | 180.9 | 25.25 | 962.98 | 64.7803 | -0.26972
2020-08-27 21:30:00 | 1.856 | 168.3 | 2.311 | 172.2 | 2.545 | 162.212 | 2.406 | 176.2 | 25.3 | 963.128 | 65.462 | -0.26972
2020-08-27 21:45:00 | 2.301 | 170.9 | 2.612 | 178.7 | 2.482 | 168.335 | 2.386 | 176.1 | 25.42 | 963.425 | 66.2803 | -0.25125
2020-08-27 22:00:00 | 2.045 | 164.3 | 2.587 | 175.3 | 2.428 | 165.133 | 2.271 | 175.3 | 25.29 | 963.573 | 67.0985 | -0.24016
2020-08-27 22:15:00 | 2.525 | 157.1 | 2.84 | 171.2 | 2.762 | 161.27 | 2.628 | 170.2 | 25.07 | 963.276 | 67.1667 | -0.22908
2020-08-27 22:30:00 | 2.76 | 152.5 | 3.139 | 163.4 | 2.751 | 153.923 | 2.516 | 154.8 | 24.88 | 963.425 | 69.2124 | 0.90893
2020-08-27 22:45:00 | 2.462 | 150.1 | 3.367 | 160.5 | 2.731 | 151.191 | 2.49 | 159.4 | 24.82 | 963.276 | 68.4293 | 3.4879
2020-08-27 23:00:00 | 2.252 | 144.9 | 3.778 | 161 | 3.509 | 151.662 | 3.275 | 152.2 | 24.86 | 963.276 | 68.7354 | 5.0545
2020-08-27 23:15:00 | 2.758 | 135.6 | 4.343 | 151.6 | 4.415 | 142.807 | 4.153 | 144.1 | 24.1 | 963.276 | 75.2161 | 7.3897
2020-08-27 23:30:00 | 4.859 | 140.1 | 5.425 | 157.6 | 5.132 | 148.459 | 4.91 | 146.2 | 23.72 | 963.276 | 74.2647 | 10.3788
2020-08-27 23:45:00 | 4.977 | 142.5 | 5.445 | 158.4 | 5.305 | 149.213 | 5.09 | 148.2 | 24.08 | 963.276 | 71.7472 | 9.0191