## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-28 00:00:00 | 4.313 | 143.9 | 5.294 | 158.7 | 5.567 | 149.495 | 5.406 | 152.4 | 23.5 | 962.98 | 74.8849 | 10.8074
2020-08-28 00:15:00 | 4.377 | 152.4 | 4.561 | 167.1 | 4.6 | 157.408 | 4.505 | 159 | 23.25 | 962.98 | 72.0886 | 10.7224
2020-08-28 00:30:00 | 6.154 | 155.2 | 6.366 | 166.9 | 6.177 | 157.22 | 6.124 | 162.2 | 23.8 | 962.98 | 70.179 | 12.7324
2020-08-28 00:45:00 | 5.227 | 153 | 5.903 | 166.7 | 5.872 | 157.031 | 5.867 | 161.3 | 23.55 | 962.98 | 70.7246 | 11.2951
2020-08-28 01:00:00 | 5.051 | 153 | 5.734 | 168.8 | 6.503 | 159.01 | 6.491 | 161.1 | 23.18 | 962.683 | 73.0435 | 14.1291
2020-08-28 01:15:00 | 5.012 | 151.7 | 6.072 | 166.1 | 6.821 | 156.466 | 6.868 | 160 | 23.13 | 962.716 | 71.543 | 16.8152
2020-08-28 01:30:00 | 5.52 | 156.3 | 6.67 | 168.6 | 7.246 | 158.821 | 7.156 | 164.3 | 23.22 | 962.55 | 66.2574 | 17.2697
2020-08-28 01:45:00 | 6.644 | 156.8 | 7.081 | 170.8 | 7.525 | 160.894 | 7.525 | 163.3 | 23.68 | 962.736 | 64.8593 | 21.6259
2020-08-28 02:00:00 | 5.715 | 150.9 | 6.414 | 164.3 | 7.472 | 154.771 | 7.487 | 159.9 | 23.5 | 962.684 | 66.2233 | 22.5681
2020-08-28 02:15:00 | 5.888 | 147.3 | 6.675 | 164 | 7.869 | 154.488 | 7.897 | 154.8 | 23.28 | 962.691 | 68.6786 | 25.2062
2020-08-28 02:30:00 | 5.125 | 148.1 | 5.793 | 160.9 | 7.027 | 151.568 | 7.016 | 157 | 23.25 | 962.687 | 64.8593 | 18.1343
2020-08-28 02:45:00 | 5.587 | 150.7 | 6.197 | 164.1 | 6.915 | 154.582 | 6.955 | 160.4 | 23.34 | 963.053 | 64.6888 | 18.2599
2020-08-28 03:00:00 | 5.334 | 156 | 6.24 | 168.5 | 6.877 | 158.727 | 6.873 | 163.7 | 23.35 | 962.71 | 65.2344 | 14.724
2020-08-28 03:15:00 | 5.13 | 153.7 | 5.857 | 167 | 6.5 | 157.314 | 6.397 | 164.1 | 23.23 | 963.175 | 64.7911 | 13.7707
2020-08-28 03:30:00 | 5.314 | 158.5 | 5.706 | 170.9 | 5.534 | 160.988 | 5.462 | 166.5 | 23.27 | 963.216 | 64.7229 | 9.7766
2020-08-28 03:45:00 | 3.945 | 162.4 | 4.816 | 173.6 | 4.868 | 163.531 | 4.915 | 171.9 | 23.09 | 963.317 | 68.0648 | 7.4968
2020-08-28 04:00:00 | 3.005 | 159.6 | 4.157 | 174.7 | 4.845 | 164.567 | 4.899 | 169.2 | 23.03 | 963.463 | 69.3606 | 7.386
2020-08-28 04:15:00 | 3.508 | 170.3 | 4.323 | 181.1 | 4.72 | 170.596 | 4.749 | 181.7 | 23.14 | 963.523 | 71.543 | 5.7307
2020-08-28 04:30:00 | 3.886 | 183 | 4.939 | 191.8 | 4.88 | 180.676 | 4.938 | 193 | 23.24 | 963.39 | 71.4066 | 5.8009
2020-08-28 04:45:00 | 4.349 | 181.8 | 4.653 | 190.7 | 4.616 | 179.639 | 4.698 | 190.8 | 23.35 | 963.356 | 69.7706 | 6.9796
2020-08-28 05:00:00 | 4.165 | 180.1 | 4.844 | 189.2 | 4.7 | 178.226 | 4.719 | 189.8 | 23.12 | 963.523 | 70.2131 | 6.7135
2020-08-28 05:15:00 | 3.932 | 178.5 | 4.259 | 188.4 | 4.468 | 177.473 | 4.477 | 187.3 | 23.17 | 963.806 | 71.6454 | 6.902
2020-08-28 05:30:00 | 3.353 | 168.3 | 4.274 | 178.1 | 4.72 | 167.77 | 4.747 | 181.9 | 22.78 | 963.726 | 72.6343 | 7.7222
2020-08-28 05:45:00 | 3.988 | 170.3 | 4.589 | 178.1 | 4.636 | 167.77 | 4.632 | 182 | 22.6 | 963.888 | 73.7256 | 7.3786
2020-08-28 06:00:00 | 3.501 | 169.8 | 4.417 | 177.9 | 4.542 | 167.582 | 4.561 | 183.3 | 22.53 | 964.079 | 74.5439 | 5.6051
2020-08-28 06:15:00 | 3.93 | 179 | 4.453 | 182.2 | 4.084 | 171.632 | 4.14 | 192 | 22.79 | 964.227 | 72.9753 | 4.4929
2020-08-28 06:30:00 | 3.297 | 186.4 | 3.494 | 192.5 | 3.438 | 181.335 | 3.697 | 195.3 | 23.3 | 964.613 | 72.5661 | 2.0285
2020-08-28 06:45:00 | 2.717 | 192.8 | 2.914 | 195.7 | 3.153 | 184.349 | 3.366 | 199.4 | 23.63 | 965.353 | 70.4408 | 1.6183
2020-08-28 07:00:00 | 2.87 | 184.9 | 2.881 | 193 | 2.657 | 181.806 | 2.824 | 202.5 | 23.94 | 965.947 | 69.8934 | 0.72419
2020-08-28 07:15:00 | 2.431 | 187.6 | 3.098 | 199.5 | 3.019 | 187.929 | 3.119 | 197.7 | 24.62 | 966.095 | 67.5645 | 0.41752
2020-08-28 07:30:00 | 2.712 | 192.3 | 2.958 | 201.9 | 2.584 | 190.19 | 2.696 | 202.2 | 25 | 966.231 | 67.0099 | 0.014779
2020-08-28 07:45:00 | 2.949 | 194.4 | 2.95 | 199.5 | 2.238 | 187.929 | 2.378 | 207.2 | 25.09 | 966.109 | 65.7805 | -0.23278
2020-08-28 08:00:00 | 2.602 | 185.4 | 2.661 | 197.4 | 2.408 | 185.951 | 2.48 | 202.2 | 25.23 | 966.542 | 66.0532 | -0.27711
2020-08-28 08:15:00 | 2.311 | 183.9 | 2.377 | 192.4 | 1.89 | 181.241 | 1.982 | 199 | 25.7 | 966.69 | 66.2525 | -0.24016
2020-08-28 08:30:00 | 3.021 | 190.6 | 2.873 | 198.6 | 2.281 | 187.081 | 2.284 | 198.9 | 26.01 | 966.963 | 63.8699 | -0.24755
2020-08-28 08:45:00 | 2.908 | 182.8 | 2.822 | 192.2 | 2.324 | 181.052 | 2.337 | 197.5 | 25.82 | 967.245 | 64.7059 | -0.22539
2020-08-28 09:00:00 | 3.169 | 200.6 | 2.684 | 195.6 | 2.111 | 184.255 | 2.22 | 227.3 | 25.98 | 967.285 | 63.7138 | -0.22539
2020-08-28 09:15:00 | 2.758 | 189.3 | 2.589 | 193.8 | 1.762 | 182.56 | 1.868 | 203.1 | 26.47 | 967.433 | 62.9302 | -0.22539
2020-08-28 09:30:00 | 2.283 | 245.2 | 2.283 | 252.1 | 1.899 | 237.478 | 1.78 | 248 | 26.21 | 967.582 | 65.213 | -0.22539
2020-08-28 09:45:00 | 2.464 | 248.4 | 2.83 | 258 | 2.192 | 243.036 | 2.144 | 248.1 | 25.93 | 967.878 | 65.7581 | -0.25864
2020-08-28 10:00:00 | 2.785 | 256.3 | 2.421 | 273.7 | 2.203 | 257.825 | 2.184 | 258.7 | 26.1 | 967.878 | 66.0307 | -0.22539
2020-08-28 10:15:00 | 2.355 | 252.2 | 2.266 | 264.5 | 2.291 | 249.159 | 2.264 | 257.9 | 26.04 | 967.582 | 65.1448 | -0.22539
2020-08-28 10:30:00 | 2.102 | 288.5 | 2.157 | 288.3 | 2.018 | 271.579 | 2.018 | 295.3 | 27.01 | 967.878 | 63.8842 | -0.22539
2020-08-28 10:45:00 | 2.679 | 300.5 | 2.786 | 317.1 | 2.571 | 298.708 | 2.523 | 304 | 26.84 | 967.73 | 63.2361 | -0.24016
2020-08-28 11:00:00 | 2.589 | 314.5 | 2.625 | 328.2 | 2.238 | 309.164 | 2.154 | 311.9 | 27.21 | 967.878 | 60.8157 | -0.29189
2020-08-28 11:15:00 | 3.253 | 307 | 3.533 | 320.2 | 3.064 | 301.628 | 2.972 | 308.5 | 27.24 | 968.175 | 61.9985 | -0.25125
2020-08-28 11:30:00 | 1.919 | 290.8 | 2.06 | 296.6 | 1.729 | 279.397 | 1.775 | 296.6 | 27.2 | 968.323 | 64.4864 | -0.23647
2020-08-28 11:45:00 | 2.156 | 294.3 | 2.272 | 318.2 | 1.867 | 299.744 | 1.84 | 312.8 | 27.67 | 968.323 | 62.0341 | -0.22539
2020-08-28 12:00:00 | 2.192 | 9.99 | 2.955 | 358.2 | 2.922 | 337.424 | 2.67 | 18.66 | 27.46 | 967.878 | 61.4222 | -0.25864
2020-08-28 12:15:00 | 2.004 | 18.76 | 2.226 | 17.36 | 2.263 | 16.3531 | 1.931 | 15.67 | 28.11 | 967.73 | 64.2903 | -0.22539
2020-08-28 12:30:00 | 1.316 | 27.59 | 2.963 | 35.66 | 2.673 | 33.5917 | 2.551 | 34.21 | 27.9 | 967.582 | 64.3951 | -0.26972
2020-08-28 12:45:00 | 1.715 | 28.16 | 2.566 | 49.64 | 2.39 | 46.7609 | 2.187 | 30.39 | 27.53 | 967.582 | 53.799 | -0.26972
2020-08-28 13:00:00 | 2.117 | 342 | 2.254 | 346.3 | 1.838 | 326.215 | 1.55 | 347.6 | 28.21 | 967.73 | 54.5826 | -0.26972
2020-08-28 13:15:00 | 2.214 | 0.346 | 2.202 | 11.22 | 2.042 | 10.5692 | 1.96 | 9.72 | 28.51 | 967.433 | 52.6065 | -0.24016
2020-08-28 13:30:00 | 0.968 | 55.45 | 0.551 | 118.4 | 0.296 | 111.533 | 0.218 | 284.4 | 29.02 | 967.73 | 53.4923 | -0.24016
2020-08-28 13:45:00 | 1.137 | 32.68 | 1.325 | 38.62 | 0.889 | 36.38 | 0.587 | 26.79 | 28.62 | 967.582 | 55.6048 | -0.24016
2020-08-28 14:00:00 | 0.709 | 40.21 | 0.901 | 336.1 | 0.372 | 316.606 | 0.332 | 345.5 | 29.38 | 968.175 | 56.0818 | -0.25864
2020-08-28 14:15:00 | 1.169 | 8.06 | 1.182 | 9.28 | 1.04 | 8.7418 | 1.057 | 24.52 | 29.52 | 968.175 | 58.0907 | -0.24016
2020-08-28 14:30:00 | 3.628 | 245.3 | 3.336 | 265.2 | 3.041 | 249.818 | 2.941 | 246.2 | 29.07 | 967.73 | 56.2771 | -0.25494
2020-08-28 14:45:00 | 2.234 | 249.8 | 2.239 | 268.3 | 1.628 | 252.739 | 1.6 | 252.6 | 28.64 | 967.582 | 59.241 | -0.24016
2020-08-28 15:00:00 | 2.667 | 250.1 | 2.932 | 265.7 | 2.363 | 250.289 | 2.34 | 246.1 | 29.18 | 968.175 | 54.5395 | -0.24016
2020-08-28 15:15:00 | 2.615 | 271.1 | 2.572 | 283.2 | 2.243 | 266.774 | 2.191 | 273.3 | 29.09 | 968.471 | 58.4522 | -0.24016
2020-08-28 15:30:00 | 1.861 | 292.2 | 2.221 | 305.6 | 1.855 | 287.875 | 1.895 | 295.8 | 28.78 | 968.471 | 58.6173 | -0.26972
2020-08-28 15:45:00 | 1.59 | 299 | 1.766 | 309.3 | 1.782 | 291.361 | 1.559 | 310.2 | 29.36 | 968.768 | 58.9237 | -0.25864
2020-08-28 16:00:00 | 1.629 | 306 | 2.105 | 314.8 | 1.997 | 296.542 | 1.922 | 319.4 | 28.97 | 968.619 | 59.639 | -0.25864
2020-08-28 16:15:00 | 1.367 | 311.1 | 1.828 | 321.8 | 1.69 | 303.136 | 1.508 | 337.9 | 29.45 | 969.064 | 61.376 | -0.26972
2020-08-28 16:30:00 | 1.204 | 357.7 | 1.316 | 341.8 | 1.388 | 321.976 | 1.143 | 4.049 | 29.33 | 968.916 | 58.9237 | -0.25864
2020-08-28 16:45:00 | 0.636 | 81.3 | 1.105 | 6.114 | 0.395 | 5.7594 | 0.194 | 347.1 | 29.11 | 969.212 | 58.8897 | -0.26972
2020-08-28 17:00:00 | 1.329 | 323.3 | 1.894 | 339.1 | 1.571 | 319.432 | 1.456 | 325.2 | 28.93 | 968.768 | 62.466 | -0.25864
2020-08-28 17:15:00 | 0.931 | 270.5 | 1.172 | 289.8 | 0.308 | 272.992 | 0 | 292.6 | 28.49 | 968.619 | 59.9465 | -0.22539
2020-08-28 17:30:00 | 0.376 | 231.4 | 0.15 | 289.8 | 0.006 | 272.992 | 0 | 230.4 | 28.48 | 968.175 | 60.5635 | -0.24016
2020-08-28 17:45:00 | 0.335 | 231.5 | 0.552 | 289.8 | 0.016 | 272.992 | 0 | 230.4 | 28.49 | 967.73 | 61.12 | -0.24016
2020-08-28 18:00:00 | 0.033 | 170.9 | 0.797 | 216.8 | 0.488 | 204.226 | 0.452 | 181.3 | 28.08 | 967.285 | 62.4191 | -0.24016
2020-08-28 18:15:00 | 0.412 | 160.8 | 1.477 | 170.8 | 1.724 | 160.894 | 1.675 | 171 | 27.86 | 967.137 | 61.5673 | -0.24016
2020-08-28 18:30:00 | 1.379 | 167.7 | 1.646 | 180.1 | 1.548 | 169.654 | 1.515 | 175.3 | 27.66 | 966.963 | 62.096 | -0.25864
2020-08-28 18:45:00 | 2.183 | 181.9 | 2.367 | 198.2 | 2.009 | 186.704 | 1.966 | 186.6 | 27.32 | 966.245 | 64.0754 | -0.26972
2020-08-28 19:00:00 | 1.997 | 188 | 2.341 | 200.8 | 2.192 | 189.154 | 2.208 | 192.8 | 27.23 | 966.403 | 65.0988 | -0.24016
2020-08-28 19:15:00 | 2.145 | 192.8 | 2.735 | 204.3 | 2.675 | 192.451 | 2.704 | 201.8 | 27.18 | 966.87 | 65.9861 | -0.24016
2020-08-28 19:30:00 | 2.234 | 207.2 | 2.582 | 214.1 | 2.38 | 201.682 | 2.442 | 217.3 | 26.98 | 966.81 | 66.9106 | -0.24016
2020-08-28 19:45:00 | 1.77 | 215.7 | 1.93 | 222.6 | 1.376 | 209.689 | 1.38 | 226.7 | 26.91 | 967.133 | 67.4958 | -0.24016
2020-08-28 20:00:00 | 0.769 | 226.2 | 0.949 | 223.3 | 0.538 | 210.349 | 0 | 226.7 | 26.75 | 967.571 | 68.0416 | -0.25125
2020-08-28 20:15:00 | 0.033 | 251.2 | 0.918 | 223.4 | 0.898 | 210.443 | 0.626 | 248.9 | 26.74 | 967.578 | 67.0871 | -0.24016
2020-08-28 20:30:00 | 0.923 | 276.2 | 1.185 | 262.9 | 0.959 | 247.652 | 0.879 | 273.4 | 26.75 | 967.726 | 66.5417 | -0.22539
2020-08-28 20:45:00 | 1.112 | 276.2 | 1.239 | 262.9 | 0.336 | 247.652 | 0.08 | 273.4 | 26.79 | 967.875 | 64.2236 | -0.22539
2020-08-28 21:00:00 | 1.123 | 276.2 | 0.999 | 262.9 | 0.012 | 247.652 | 0 | 273.4 | 26.75 | 967.726 | 62.3855 | -0.24016
2020-08-28 21:15:00 | 0.577 | 276.2 | 0.793 | 262.9 | 0 | 247.652 | 0 | 273.4 | 26.75 | 967.726 | 65.0454 | -0.22539
2020-08-28 21:30:00 | 0 | 276.2 | 0.379 | 262.9 | 0 | 247.652 | 0 | 273.4 | 26.67 | 967.726 | 67.2596 | -0.22539
2020-08-28 21:45:00 | 0.417 | 276.2 | 0 | 262.9 | 0 | 247.652 | 0 | 273.4 | 26.62 | 967.578 | 65.9328 | -0.22539
2020-08-28 22:00:00 | 0.231 | 276.2 | 0 | 262.9 | 0 | 247.652 | 0 | 273.4 | 26.73 | 967.875 | 65.7287 | -0.24016
2020-08-28 22:15:00 | 0.048 | 276.2 | 0 | 262.9 | 0 | 247.652 | 0 | 273.5 | 26.73 | 968.023 | 64.6388 | -0.24016
2020-08-28 22:30:00 | 0.932 | 276.2 | 0 | 262.9 | 0 | 247.652 | 0 | 273.4 | 26.72 | 967.875 | 68.7979 | -0.24016
2020-08-28 22:45:00 | 1.213 | 276.2 | 0.142 | 313.6 | 0 | 295.411 | 0 | 273.4 | 26.54 | 967.726 | 67.5719 | -0.24016
2020-08-28 23:00:00 | 1.535 | 31.46 | 1.431 | 11.29 | 0 | 10.6352 | 0 | 273.5 | 26.48 | 967.875 | 69.8908 | -0.24016
2020-08-28 23:15:00 | 1.207 | 31.45 | 0.165 | 11.24 | 0 | 10.5881 | 0 | 273.5 | 26.41 | 968.172 | 69.4119 | -0.24016
2020-08-28 23:30:00 | 1.201 | 31.45 | 0.038 | 11.24 | 0 | 10.5881 | 0 | 273.5 | 26.38 | 968.172 | 70.5417 | -0.24016
2020-08-28 23:45:00 | 1.55 | 31.45 | 1.076 | 11.28 | 0 | 10.6258 | 0 | 273.5 | 26.33 | 968.023 | 70.7094 | -0.24016