## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-29 00:00:00 | 1.373 | 31.45 | 0.139 | 11.25 | 0 | 10.5975 | 0 | 273.5 | 26.34 | 968.023 | 70.0985 | -0.24016
2020-08-29 00:15:00 | 0.591 | 31.45 | 0 | 11.25 | 0 | 10.5975 | 0 | 273.5 | 26.33 | 967.726 | 69.3479 | -0.22539
2020-08-29 00:30:00 | 0 | 31.45 | 0 | 11.21 | 0 | 10.5598 | 0 | 273.5 | 26.32 | 967.875 | 68.3941 | -0.22539
2020-08-29 00:45:00 | 0 | 31.45 | 0.008 | 11.2 | 0.053 | 10.5504 | 0 | 273.5 | 26.16 | 967.578 | 65.8029 | -0.22539
2020-08-29 01:00:00 | 0.618 | 299.2 | 1.076 | 8.57 | 0.634 | 8.0729 | 0 | 273.5 | 26.3 | 967.578 | 63.2117 | -0.24016
2020-08-29 01:15:00 | 0 | 299.2 | 0 | 8.57 | 0 | 8.0729 | 0 | 273.5 | 26.41 | 967.726 | 63.2117 | -0.24016
2020-08-29 01:30:00 | 0.067 | 299.2 | 0.334 | 8.57 | 0.009 | 8.0729 | 0 | 273.5 | 26.35 | 967.43 | 62.3242 | -0.24016
2020-08-29 01:45:00 | 0 | 299.2 | 0.004 | 8.57 | 0 | 8.0729 | 0 | 273.5 | 26.33 | 967.43 | 62.1889 | -0.24016
2020-08-29 02:00:00 | 0.498 | 299.2 | 0.924 | 8.57 | 0.554 | 8.0729 | 0 | 273.5 | 26.39 | 967.43 | 60.4841 | -0.24016
2020-08-29 02:15:00 | 0 | 299.1 | 0.278 | 8.57 | 0 | 8.0729 | 0 | 273.5 | 26.46 | 967.578 | 61.166 | -0.24016
2020-08-29 02:30:00 | 0.019 | 299.1 | 0.131 | 8.57 | 0 | 8.0729 | 0 | 273.4 | 26.15 | 967.281 | 63.6889 | -0.24016
2020-08-29 02:45:00 | 1.134 | 227.7 | 1.431 | 212.4 | 0.945 | 200.081 | 0 | 272 | 26.01 | 967.281 | 65.2574 | -0.24016
2020-08-29 03:00:00 | 1.68 | 208.2 | 1.902 | 209.3 | 1.531 | 197.161 | 1.502 | 212.9 | 25.93 | 967.578 | 65.5302 | -0.24016
2020-08-29 03:15:00 | 1.874 | 190 | 1.937 | 198.3 | 1.81 | 186.799 | 1.747 | 192.7 | 25.81 | 967.43 | 64.9846 | -0.24016
2020-08-29 03:30:00 | 1.999 | 180.7 | 1.95 | 191.3 | 1.871 | 180.205 | 1.841 | 190.8 | 25.8 | 967.578 | 67.3704 | -0.24016
2020-08-29 03:45:00 | 1.593 | 194.7 | 1.973 | 198.6 | 1.571 | 187.081 | 1.466 | 206.2 | 25.54 | 967.43 | 67.8482 | -0.24016
2020-08-29 04:00:00 | 1.42 | 195.5 | 1.853 | 200 | 1.215 | 188.4 | 1.131 | 207.2 | 25.63 | 967.43 | 68.2577 | -0.24016
2020-08-29 04:15:00 | 1.548 | 195.3 | 1.641 | 197.5 | 1.118 | 186.045 | 0.991 | 203.4 | 25.49 | 967.578 | 69.3485 | -0.24016
2020-08-29 04:30:00 | 1.364 | 195.3 | 1.457 | 195.8 | 0.715 | 184.444 | 0.259 | 203.4 | 25.53 | 967.726 | 69.6897 | -0.25125
2020-08-29 04:45:00 | 1.084 | 194.1 | 0.953 | 195.8 | 0.364 | 184.444 | 0 | 203.4 | 25.53 | 967.726 | 68.4623 | -0.25125
2020-08-29 05:00:00 | 0.61 | 194.1 | 1.13 | 195.8 | 0.423 | 184.444 | 0 | 203.4 | 25.52 | 968.023 | 68.1896 | -0.24016
2020-08-29 05:15:00 | 0.95 | 194.1 | 1.088 | 195.8 | 0 | 184.444 | 0 | 203.4 | 25.53 | 968.172 | 67.7804 | -0.24755
2020-08-29 05:30:00 | 1.069 | 194.1 | 0.967 | 195.8 | 0 | 184.444 | 0 | 203.4 | 25.48 | 968.023 | 68.2918 | 0.58009
2020-08-29 05:45:00 | 0.063 | 194.1 | 0.642 | 195.8 | 0 | 184.444 | 0 | 203.4 | 25.41 | 968.32 | 68.9396 | 0.61704
2020-08-29 06:00:00 | 0.007 | 194.1 | 0 | 195.8 | 0 | 184.444 | 0 | 203.4 | 25.56 | 968.32 | 68.5305 | 0.37318
2020-08-29 06:15:00 | 0 | 194.1 | 0 | 195.8 | 0 | 184.444 | 0 | 203.5 | 25.99 | 968.616 | 66.928 | 0.12932
2020-08-29 06:30:00 | 0 | 194 | 0 | 195.8 | 0 | 184.444 | 0 | 203.5 | 26.53 | 969.062 | 64.7698 | -0.0036948
2020-08-29 06:45:00 | 0 | 194.1 | 0 | 195.8 | 0 | 184.444 | 0 | 204 | 29.06 | 969.506 | 57.2623 | -0.15888
2020-08-29 07:00:00 | 0 | 20.44 | 0 | 195.8 | 0.016 | 184.444 | 0 | 334.5 | 28.34 | 969.658 | 58.4178 | -0.18105
2020-08-29 07:15:00 | 0 | 19.22 | 0.476 | 45.83 | 0.084 | 43.1719 | 0 | 334.6 | 28.8 | 970.172 | 56.9787 | -0.18105
2020-08-29 07:30:00 | 0 | 19.63 | 0.03 | 165.6 | 0.485 | 155.995 | 0.223 | 16.68 | 28.8 | 970.399 | 57.2062 | -0.20322
2020-08-29 07:45:00 | 0.149 | 346.3 | 0.425 | 189.5 | 0.047 | 178.509 | 0.052 | 358.2 | 30.33 | 970.695 | 56.4863 | -0.22539
2020-08-29 08:00:00 | 0.052 | 333.3 | 0 | 213.9 | 0.098 | 201.494 | 0.046 | 346.3 | 29.22 | 970.843 | 58.7205 | -0.22539
2020-08-29 08:15:00 | 0.033 | 148.6 | 0 | 211.8 | 0 | 199.516 | 0 | 55.03 | 28.98 | 971.436 | 55.3134 | -0.22539
2020-08-29 08:30:00 | 0.225 | 73.66 | 0.623 | 264.3 | 0 | 248.971 | 0.669 | 11.53 | 29.01 | 971.436 | 61.7507 | -0.22539
2020-08-29 08:45:00 | 1.488 | 6.923 | 1.66 | 345.6 | 0 | 325.555 | 1.5 | 23.76 | 28.79 | 971.88 | 64.3052 | -0.22539
2020-08-29 09:00:00 | 1.259 | 4.342 | 1.699 | 329.5 | 1.177 | 310.389 | 1.596 | 24.27 | 27.55 | 971.581 | 68.5286 | -0.22539
2020-08-29 09:15:00 | 1.871 | 23.25 | 1.856 | 19.14 | 2.337 | 18.0299 | 2.225 | 31.62 | 27.74 | 971.583 | 65.8719 | -0.24016
2020-08-29 09:30:00 | 2.096 | 354.9 | 2.293 | 335.6 | 1.683 | 316.135 | 1.507 | 21.27 | 28.07 | 971.88 | 63.624 | -0.24016
2020-08-29 09:45:00 | 1.144 | 354.5 | 1.958 | 359.4 | 2.103 | 338.555 | 2.051 | 0.141 | 28.15 | 972.324 | 63.5559 | -0.22539
2020-08-29 10:00:00 | 3.138 | 344.7 | 3.057 | 336.3 | 2.504 | 316.795 | 2.335 | 359 | 28 | 972.028 | 64.5096 | -0.23647
2020-08-29 10:15:00 | 3.682 | 330.4 | 3.61 | 328.7 | 3.039 | 309.635 | 3.01 | 335.6 | 27.81 | 972.028 | 65.906 | -0.27342
2020-08-29 10:30:00 | 2.802 | 5.02 | 2.939 | 11.92 | 2.897 | 11.2286 | 2.728 | 0.378 | 28.05 | 971.583 | 64.8161 | -0.26972
2020-08-29 10:45:00 | 2.498 | 348.4 | 2.815 | 342.1 | 3.11 | 322.258 | 3.207 | 1.004 | 28.45 | 971.583 | 63.8284 | -0.24016
2020-08-29 11:00:00 | 2.163 | 20.67 | 3.303 | 38.89 | 3.034 | 36.6344 | 2.875 | 17.45 | 28.65 | 971.583 | 64.5777 | -0.24016
2020-08-29 11:15:00 | 2.528 | 18.75 | 2.702 | 35.77 | 2.278 | 33.6953 | 2.038 | 19.24 | 27.93 | 971.732 | 63.4196 | -0.24016
2020-08-29 11:30:00 | 1.73 | 350.8 | 2.03 | 14.17 | 2.489 | 13.3481 | 2.371 | 348.5 | 28.29 | 971.287 | 62.6703 | -0.22539
2020-08-29 11:45:00 | 1.843 | 24.65 | 2.037 | 14.4 | 2.136 | 13.5648 | 1.999 | 28.88 | 29.19 | 971.583 | 63.2834 | -0.25125
2020-08-29 12:00:00 | 3.251 | 317.5 | 3.464 | 319.1 | 2.944 | 300.592 | 2.875 | 322.3 | 28.8 | 971.583 | 63.2153 | -0.25125
2020-08-29 12:15:00 | 2.995 | 322.8 | 3.473 | 318.1 | 3.166 | 299.65 | 3.061 | 334.9 | 28.58 | 970.99 | 64.5096 | -0.25864
2020-08-29 12:30:00 | 3.151 | 335 | 3.39 | 327.1 | 2.884 | 308.128 | 2.809 | 340 | 28.87 | 970.99 | 62.7132 | -0.25125
2020-08-29 12:45:00 | 2.755 | 335.2 | 3.034 | 331 | 2.341 | 311.802 | 2.138 | 338.9 | 28.88 | 970.99 | 62.7923 | -0.25125
2020-08-29 13:00:00 | 3.59 | 328.8 | 3.666 | 337.3 | 3.446 | 317.737 | 3.435 | 328.6 | 29.14 | 970.99 | 64.0886 | -0.26972
2020-08-29 13:15:00 | 3.552 | 342.5 | 3.415 | 339 | 3.024 | 319.338 | 2.742 | 353.7 | 29.34 | 970.842 | 61.7376 | -0.28081
2020-08-29 13:30:00 | 2.024 | 330.7 | 2.578 | 333.8 | 2.633 | 314.44 | 2.386 | 325.1 | 29.58 | 970.842 | 62.5213 | -0.092371
2020-08-29 13:45:00 | 3.335 | 317.6 | 3.564 | 330.1 | 3.583 | 310.954 | 3.682 | 316.6 | 29.22 | 970.694 | 63.0324 | -0.12193
2020-08-29 14:00:00 | 3.549 | 311.2 | 3.791 | 321.6 | 3.334 | 302.947 | 3.084 | 313.6 | 29.22 | 970.842 | 61.9421 | 0.32145
2020-08-29 14:15:00 | 3.291 | 345.7 | 3.285 | 357.2 | 3.324 | 336.482 | 3.275 | 339.5 | 29.31 | 971.139 | 62.2146 | 0.98652
2020-08-29 14:30:00 | 3.376 | 342.6 | 3.413 | 349.9 | 2.985 | 329.606 | 2.867 | 346.8 | 29.26 | 970.99 | 64.1212 | 1.2452
2020-08-29 14:45:00 | 3.276 | 338.3 | 3.144 | 356.8 | 3.448 | 336.106 | 3.43 | 337.9 | 29.41 | 971.139 | 63.8441 | 1.5481
2020-08-29 15:00:00 | 2.75 | 7.671 | 2.568 | 2.164 | 2.627 | 2.0385 | 2.346 | 4.649 | 29.33 | 971.287 | 63.4314 | 0.90893
2020-08-29 15:15:00 | 3.321 | 350.6 | 3.226 | 4.216 | 2.844 | 3.9715 | 2.868 | 350.7 | 29.1 | 970.99 | 62.9185 | 1.1934
2020-08-29 15:30:00 | 2.389 | 14.04 | 3.955 | 32.09 | 3.293 | 30.2288 | 3.152 | 1.593 | 28.96 | 970.546 | 64.793 | 1.5851
2020-08-29 15:45:00 | 2.258 | 355.4 | 3.052 | 16.24 | 3.403 | 15.2981 | 3.31 | 355.4 | 28.91 | 970.842 | 66.5985 | 1.9804
2020-08-29 16:00:00 | 2.423 | 340.8 | 3.057 | 359.3 | 3.258 | 338.461 | 3.157 | 338 | 28.96 | 970.99 | 64.1798 | 1.4779
2020-08-29 16:15:00 | 3.148 | 328.7 | 3.241 | 337.6 | 3.151 | 318.019 | 3.145 | 331.3 | 28.86 | 970.694 | 65.6115 | 1.2267
2020-08-29 16:30:00 | 2.786 | 327.7 | 2.97 | 334.9 | 2.52 | 315.476 | 2.391 | 328.2 | 28.87 | 970.694 | 64.5253 | 1.308
2020-08-29 16:45:00 | 2.686 | 323.9 | 2.766 | 340.3 | 2.799 | 320.563 | 2.626 | 323 | 28.66 | 970.694 | 63.2707 | 1.7144
2020-08-29 17:00:00 | 2.196 | 318.4 | 2.602 | 335.3 | 2.141 | 315.853 | 1.922 | 326.8 | 28.53 | 970.694 | 65.1448 | 1.6257
2020-08-29 17:15:00 | 2.467 | 344.3 | 2.492 | 2.838 | 2.924 | 2.6734 | 2.898 | 343.2 | 28.2 | 970.694 | 66.1669 | 1.3745
2020-08-29 17:30:00 | 2.67 | 349.1 | 3.314 | 10.23 | 3.914 | 9.6367 | 3.937 | 346.6 | 27.96 | 970.249 | 66.3032 | 1.1011
2020-08-29 17:45:00 | 3.83 | 347.9 | 3.689 | 8.58 | 4.349 | 8.0824 | 4.339 | 351.3 | 27.84 | 969.955 | 65.0178 | 2.5568
2020-08-29 18:00:00 | 4.083 | 352.2 | 4.351 | 7.237 | 5.14 | 6.8172 | 4.986 | 354.3 | 27.73 | 969.802 | 65.2305 | 3.8131
2020-08-29 18:15:00 | 4.106 | 352.5 | 4.688 | 4.924 | 4.962 | 4.6384 | 4.983 | 357.5 | 27.47 | 970.1 | 67.9612 | 7.3417
2020-08-29 18:30:00 | 4.918 | 354.1 | 5.041 | 8.66 | 6.106 | 8.1577 | 6.17 | 357.3 | 27.32 | 969.952 | 69.1888 | 8.7974
2020-08-29 18:45:00 | 5.485 | 353.6 | 5.501 | 8.22 | 6.653 | 7.7432 | 6.692 | 355.3 | 27.08 | 969.696 | 69.7341 | 11.3025
2020-08-29 19:00:00 | 4.229 | 349.9 | 4.622 | 9.39 | 5.956 | 8.8454 | 6.086 | 353.5 | 26.89 | 969.765 | 68.9843 | 14.3914
2020-08-29 19:15:00 | 4.417 | 350 | 4.837 | 7.19 | 5.712 | 6.773 | 5.707 | 349.6 | 26.75 | 969.951 | 69.4351 | 14.2695
2020-08-29 19:30:00 | 4.417 | 352.5 | 4.699 | 7.397 | 5.358 | 6.968 | 5.424 | 356.1 | 26.41 | 969.951 | 72.0638 | 12.1967
2020-08-29 19:45:00 | 3.268 | 9.1 | 3.08 | 18.86 | 3.438 | 17.7661 | 3.348 | 5.052 | 26.12 | 970.248 | 74.9275 | 9.0043
2020-08-29 20:00:00 | 3.843 | 14.84 | 4.136 | 25.42 | 4.524 | 23.9456 | 4.561 | 22.86 | 25.78 | 970.248 | 76.2911 | 6.3736
2020-08-29 20:15:00 | 3.105 | 31.28 | 4.589 | 47.01 | 5.435 | 44.2834 | 5.472 | 36.07 | 26 | 970.396 | 75.6093 | 7.12
2020-08-29 20:30:00 | 3.902 | 36.93 | 5.167 | 54.42 | 5.358 | 51.2636 | 5.284 | 41.88 | 26.34 | 970.396 | 73.0199 | 8.3134
2020-08-29 20:45:00 | 1.687 | 33.77 | 4.323 | 48.3 | 4.977 | 45.4986 | 4.96 | 39.62 | 26.34 | 970.545 | 74.9963 | 5.5238
2020-08-29 21:00:00 | 3.697 | 48.73 | 3.822 | 62.03 | 4.115 | 58.4323 | 4.143 | 56.67 | 26.26 | 970.545 | 71.9991 | 4.2232
2020-08-29 21:15:00 | 4.563 | 67.75 | 4.548 | 81.2 | 2.957 | 76.4904 | 2.982 | 71.99 | 26.64 | 970.248 | 70.0871 | 3.669
2020-08-29 21:30:00 | 3.953 | 74.15 | 3.686 | 85.8 | 3.11 | 80.8236 | 3.061 | 77.12 | 26.64 | 970.396 | 67.8374 | 2.9263
2020-08-29 21:45:00 | 3.986 | 91.7 | 4.571 | 100.9 | 5.625 | 95.0478 | 5.969 | 101.3 | 26.91 | 970.545 | 65.6895 | 3.3143
2020-08-29 22:00:00 | 3.651 | 107.6 | 4.259 | 118.9 | 4.267 | 112.004 | 4.382 | 111.9 | 27.47 | 970.396 | 64.4282 | 5.5829
2020-08-29 22:15:00 | 3.726 | 111.1 | 3.939 | 131.9 | 4.41 | 124.25 | 4.55 | 116.1 | 27.5 | 970.396 | 64.4282 | 7.822
2020-08-29 22:30:00 | 3.475 | 111.4 | 3.594 | 132.9 | 4.018 | 125.192 | 4.153 | 115.4 | 27.38 | 970.545 | 65.0418 | 12.2078
2020-08-29 22:45:00 | 4.558 | 106.5 | 5.305 | 126.8 | 5.597 | 119.446 | 5.735 | 110.6 | 27.29 | 970.248 | 65.9963 | 15.9174
2020-08-29 23:00:00 | 4.788 | 100.9 | 5.729 | 114.4 | 6.03 | 107.765 | 6.297 | 107.6 | 27.08 | 970.248 | 66.1326 | 17.6983
2020-08-29 23:15:00 | 6.233 | 99.3 | 7.237 | 112.3 | 7.385 | 105.787 | 7.604 | 106.4 | 26.97 | 970.1 | 65.9281 | 18.5925
2020-08-29 23:30:00 | 5.278 | 95.5 | 6.059 | 108.9 | 6.602 | 102.584 | 6.735 | 107 | 26.81 | 970.248 | 65.519 | 15.7253
2020-08-29 23:45:00 | 4.555 | 96.7 | 4.931 | 108.3 | 5.816 | 102.019 | 6.114 | 105.1 | 26.65 | 970.099 | 66.6099 | 15.5664