## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-30 00:00:00 | 4.67 | 100.7 | 5.693 | 111.6 | 5.857 | 105.127 | 6.096 | 106.5 | 26.46 | 970.1 | 67.7007 | 13.0059
2020-08-30 00:15:00 | 3.48 | 111.3 | 4.172 | 115.4 | 4.585 | 108.707 | 4.691 | 118.3 | 26.26 | 969.951 | 68.6552 | 9.9391
2020-08-30 00:30:00 | 3.475 | 103.1 | 4.067 | 117.7 | 4.539 | 110.873 | 4.647 | 106.8 | 26.2 | 970.1 | 68.587 | 7.1606
2020-08-30 00:45:00 | 2.676 | 99.8 | 3.535 | 112.2 | 3.733 | 105.692 | 3.794 | 110.7 | 26.06 | 969.951 | 68.587 | 4.8994
2020-08-30 01:00:00 | 2.362 | 93.6 | 2.718 | 105.1 | 3.603 | 99.0042 | 3.776 | 105 | 26.09 | 970.1 | 68.3162 | 3.536
2020-08-30 01:15:00 | 2.737 | 100.2 | 3.73 | 113.1 | 3.593 | 106.54 | 3.578 | 109.6 | 25.93 | 969.803 | 69.8849 | 2.5236
2020-08-30 01:30:00 | 2.748 | 104.2 | 3.382 | 123.4 | 3.275 | 116.243 | 3.29 | 108.8 | 25.82 | 969.803 | 69.2765 | 2.6086
2020-08-30 01:45:00 | 2.513 | 119.9 | 3.001 | 146 | 2.5 | 137.532 | 2.442 | 113.5 | 25.63 | 969.951 | 69.9578 | 2.2354
2020-08-30 02:00:00 | 3.092 | 107.7 | 3.543 | 125 | 4.178 | 117.75 | 4.278 | 114.3 | 25.65 | 969.803 | 69.619 | 2.3425
2020-08-30 02:15:00 | 1.333 | 79.48 | 1.39 | 77.98 | 2.032 | 73.4572 | 2.07 | 96.7 | 25.06 | 969.506 | 73.2013 | 1.356
2020-08-30 02:30:00 | 0.521 | 106.9 | 0.441 | 108.3 | 0.141 | 102.019 | 0.104 | 128.8 | 25.18 | 969.655 | 72.0423 | 1.0604
2020-08-30 02:45:00 | 0.065 | 75.46 | 0 | 108.4 | 0.068 | 102.113 | 0.156 | 102.8 | 25.12 | 969.506 | 72.8264 | 0.91632
2020-08-30 03:00:00 | 1.012 | 103.7 | 1.392 | 100.3 | 1.469 | 94.4826 | 1.408 | 116.2 | 24.94 | 969.358 | 72.315 | 1.0272
2020-08-30 03:15:00 | 0.194 | 95 | 0.728 | 108.1 | 0.583 | 101.83 | 0.451 | 105.2 | 24.99 | 969.655 | 72.1787 | 0.97174
2020-08-30 03:30:00 | 0.8 | 94.7 | 0.932 | 80.5 | 1.048 | 75.831 | 0.892 | 119.2 | 25.01 | 969.358 | 74.1221 | 0.84242
2020-08-30 03:45:00 | 1.436 | 115.8 | 1.529 | 100.5 | 0.851 | 94.671 | 0.653 | 115.9 | 24.72 | 969.506 | 73.5767 | 0.51728
2020-08-30 04:00:00 | 1.832 | 102.8 | 2.063 | 113 | 1.871 | 106.446 | 1.787 | 113.8 | 24.91 | 969.21 | 73.169 | 1.5223
2020-08-30 04:15:00 | 2.239 | 123.2 | 2.623 | 142.7 | 2.835 | 134.423 | 2.796 | 128.7 | 24.94 | 969.21 | 74.2939 | 2.5642
2020-08-30 04:30:00 | 2.138 | 114.6 | 2.43 | 132.7 | 2.5 | 125.003 | 2.482 | 119.5 | 24.5 | 969.21 | 74.5342 | 3.8648
2020-08-30 04:45:00 | 0.55 | 146.2 | 0.393 | 138.7 | 1.228 | 130.655 | 1.142 | 135.6 | 24.93 | 969.358 | 73.5831 | 3.7761
2020-08-30 05:00:00 | 0.691 | 154.2 | 1.388 | 178.2 | 1.739 | 167.864 | 1.719 | 136.4 | 24.46 | 969.358 | 74.843 | 4.2749
2020-08-30 05:15:00 | 3.003 | 130.2 | 3.898 | 145.6 | 3.924 | 137.155 | 3.853 | 132.1 | 24.21 | 969.655 | 76.247 | 5.0102
2020-08-30 05:30:00 | 4.379 | 129.1 | 4.458 | 146.4 | 4.481 | 137.909 | 4.405 | 134.2 | 24.35 | 969.506 | 75.9074 | 8.1619
2020-08-30 05:45:00 | 4.816 | 127.9 | 5.317 | 145.6 | 5.653 | 137.155 | 5.533 | 133.8 | 24.16 | 969.506 | 76.4866 | 11.1326
2020-08-30 06:00:00 | 5.96 | 126.3 | 6.632 | 142.1 | 6.218 | 133.858 | 5.964 | 132.5 | 24.24 | 969.803 | 76.1757 | 12.7324
2020-08-30 06:15:00 | 5.773 | 130.2 | 6.243 | 147.4 | 6.116 | 138.851 | 6.045 | 135.9 | 24.16 | 969.951 | 76.9188 | 14.8348
2020-08-30 06:30:00 | 5.6 | 126.8 | 6.442 | 143 | 6.498 | 134.706 | 6.404 | 133.3 | 24 | 970.396 | 76.1678 | 17.6133
2020-08-30 06:45:00 | 5.446 | 120.7 | 6.205 | 135.2 | 6.002 | 127.358 | 5.849 | 129.7 | 24.45 | 970.396 | 74.3945 | 20.2367
2020-08-30 07:00:00 | 4.349 | 118.4 | 4.89 | 135 | 5.295 | 127.17 | 5.281 | 125.6 | 24.77 | 970.545 | 74.6611 | 13.9333
2020-08-30 07:15:00 | 3.475 | 119.5 | 4.21 | 131.7 | 4.3 | 124.061 | 4.265 | 126.7 | 24.58 | 971.138 | 75.6776 | 10.0167
2020-08-30 07:30:00 | 2.755 | 119.1 | 3.464 | 139.7 | 3.662 | 131.597 | 3.654 | 122.4 | 25.15 | 971.583 | 76.0102 | 8.3799
2020-08-30 07:45:00 | 2.957 | 122.9 | 3.185 | 145.3 | 2.614 | 136.873 | 2.656 | 124.2 | 25.21 | 971.298 | 75.3238 | 5.1913
2020-08-30 08:00:00 | 2.049 | 133.2 | 2.671 | 148.3 | 2.688 | 139.699 | 2.602 | 139 | 25.38 | 971.435 | 74.7103 | 2.9485
2020-08-30 08:15:00 | 3.062 | 137 | 3.154 | 158 | 2.367 | 148.836 | 2.337 | 133.7 | 25.82 | 971.88 | 73.4806 | 1.6627
2020-08-30 08:30:00 | 3.222 | 137.7 | 3.229 | 158.8 | 2.228 | 149.59 | 2.139 | 142.9 | 26.09 | 971.852 | 72.4081 | 1.2969
2020-08-30 08:45:00 | 3.715 | 145.7 | 3.533 | 165.2 | 2.543 | 155.618 | 2.312 | 150.7 | 26.11 | 972.177 | 71.2096 | 0.9348
2020-08-30 09:00:00 | 4.389 | 146.4 | 4.036 | 166.5 | 3.189 | 156.843 | 2.979 | 148.7 | 25.86 | 971.88 | 72.6065 | 0.72789
2020-08-30 09:15:00 | 3.554 | 145.3 | 3.344 | 162.2 | 2.97 | 152.792 | 2.88 | 151.4 | 25.83 | 972.177 | 71.2096 | 0.40643
2020-08-30 09:30:00 | 3.041 | 165 | 2.653 | 182.3 | 1.546 | 171.727 | 1.474 | 161.7 | 26.53 | 972.325 | 70.5281 | -0.40643
2020-08-30 09:45:00 | 1.758 | 156.4 | 1.997 | 177.7 | 1.548 | 167.393 | 1.334 | 159.3 | 27.38 | 972.622 | 66.5077 | -0.26603
2020-08-30 10:00:00 | 0.953 | 196.6 | 1.396 | 211 | 0.656 | 198.762 | 0.534 | 207.1 | 28.38 | 972.77 | 66.7803 | -0.25864
2020-08-30 10:15:00 | 1.887 | 139.9 | 1.966 | 163.5 | 0.777 | 154.017 | 0.63 | 142.2 | 29.26 | 972.918 | 62.9196 | -0.25864
2020-08-30 10:30:00 | 2.513 | 144 | 2.11 | 161.6 | 1.199 | 152.227 | 1.007 | 151.3 | 29.04 | 973.214 | 64.9184 | -0.25864
2020-08-30 10:45:00 | 2.737 | 323.2 | 2.577 | 320.6 | 2.102 | 302.005 | 2.121 | 338.8 | 27.85 | 973.066 | 68.8011 | -0.22539
2020-08-30 11:00:00 | 1.938 | 274.5 | 1.829 | 276 | 1.067 | 259.992 | 0.918 | 281.1 | 27.4 | 972.77 | 68.8352 | -0.22539
2020-08-30 11:15:00 | 0.54 | 8.17 | 0.883 | 68.86 | 1.34 | 64.8661 | 1.344 | 17.4 | 28.11 | 972.473 | 67.7793 | -0.24016
2020-08-30 11:30:00 | 1.686 | 334.8 | 1.585 | 326.9 | 1.253 | 307.94 | 1.066 | 338.9 | 28.23 | 972.473 | 69.0055 | -0.25864
2020-08-30 11:45:00 | 1.148 | 267.2 | 0.976 | 242.7 | 0.17 | 228.623 | 0.046 | 281.2 | 27.82 | 972.177 | 69.6201 | -0.25864
2020-08-30 12:00:00 | 0.241 | 359.5 | 0.37 | 318 | 0.261 | 299.556 | 0.282 | 351.3 | 28.63 | 972.177 | 67.7237 | -0.2882
2020-08-30 12:15:00 | 1.522 | 296.9 | 1.49 | 303.2 | 0.779 | 285.614 | 0.618 | 300.1 | 28.59 | 972.177 | 68.0659 | -0.26972
2020-08-30 12:30:00 | 2.212 | 296.7 | 2.34 | 291.6 | 2.057 | 274.687 | 1.983 | 301.6 | 28.09 | 972.177 | 66.9123 | -0.27711
2020-08-30 12:45:00 | 2.785 | 294.2 | 3.042 | 298.6 | 2.76 | 281.281 | 2.749 | 298.7 | 28.45 | 972.177 | 70.4586 | -0.24016
2020-08-30 13:00:00 | 2.393 | 303.3 | 2.551 | 311.9 | 2.233 | 293.81 | 2.122 | 307.5 | 27.9 | 971.88 | 69.3355 | -0.2882
2020-08-30 13:15:00 | 2.456 | 292.4 | 2.674 | 298.4 | 2.258 | 281.093 | 2.208 | 299.5 | 28.37 | 971.88 | 67.4617 | -0.26972
2020-08-30 13:30:00 | 2.331 | 315.1 | 2.727 | 313 | 2.082 | 294.846 | 1.907 | 323.8 | 28.72 | 971.732 | 68.2794 | -0.25125
2020-08-30 13:45:00 | 2.415 | 307.9 | 2.768 | 322.2 | 2.843 | 303.512 | 2.737 | 305.7 | 28.83 | 971.732 | 67.1209 | -0.25125
2020-08-30 14:00:00 | 2.232 | 355 | 2.342 | 0.924 | 2.118 | 0.87041 | 2.056 | 353.8 | 28.94 | 971.584 | 69.063 | -0.26972
2020-08-30 14:15:00 | 1.289 | 344 | 1.94 | 331.2 | 1.933 | 311.99 | 1.953 | 350.7 | 29.48 | 971.88 | 65.758 | -0.25125
2020-08-30 14:30:00 | 2.206 | 331.8 | 2.16 | 339 | 2.111 | 319.338 | 2.017 | 326.6 | 29.22 | 971.88 | 66.1565 | -0.24016
2020-08-30 14:45:00 | 2.847 | 344.3 | 2.758 | 338.6 | 2.067 | 318.961 | 2.107 | 342.7 | 29.42 | 971.584 | 67.9953 | -0.26972
2020-08-30 15:00:00 | 3.465 | 305.4 | 3.817 | 310.8 | 2.808 | 292.774 | 2.641 | 316.3 | 29.05 | 971.584 | 67.3771 | -0.24016
2020-08-30 15:15:00 | 2.592 | 328.8 | 2.973 | 341 | 2.713 | 321.222 | 2.723 | 324.3 | 29.11 | 971.584 | 64.9899 | -0.2882
2020-08-30 15:30:00 | 3.281 | 301.7 | 3.85 | 312 | 3.329 | 293.904 | 3.272 | 305.1 | 29.24 | 971.732 | 67.9907 | -0.25864
2020-08-30 15:45:00 | 2.594 | 304.8 | 3.024 | 317.7 | 2.93 | 299.273 | 2.803 | 310.3 | 29.07 | 971.436 | 66.561 | -0.20322
2020-08-30 16:00:00 | 2.875 | 322.7 | 2.996 | 333.2 | 2.629 | 313.874 | 2.566 | 330.1 | 28.9 | 971.139 | 65.8834 | -0.16996
2020-08-30 16:15:00 | 2.689 | 326.3 | 3.102 | 347.1 | 2.726 | 326.968 | 2.811 | 328 | 28.64 | 970.546 | 66.3638 | -0.23278
2020-08-30 16:30:00 | 2.296 | 326.3 | 2.475 | 345.7 | 2.496 | 325.649 | 2.488 | 324.1 | 28.63 | 970.843 | 66.4395 | -0.1404
2020-08-30 16:45:00 | 2.028 | 331.9 | 2.331 | 346 | 1.664 | 325.932 | 1.728 | 325.8 | 28.51 | 970.843 | 68.6201 | 0.18844
2020-08-30 17:00:00 | 1.681 | 346.9 | 1.653 | 4.851 | 1.702 | 4.5696 | 1.601 | 338 | 28.19 | 970.546 | 70.2896 | 1.2119
2020-08-30 17:15:00 | 2.324 | 338.6 | 2.554 | 1.643 | 3.25 | 1.5477 | 3.343 | 336.9 | 27.95 | 970.102 | 71.2777 | 1.0604
2020-08-30 17:30:00 | 2.228 | 336.2 | 2.712 | 351.6 | 3.151 | 331.207 | 3.247 | 337.6 | 27.72 | 969.953 | 72.845 | 0.96435
2020-08-30 17:45:00 | 2.648 | 335.7 | 3.057 | 348.7 | 3.146 | 328.475 | 3.208 | 336.3 | 27.66 | 970.084 | 71.7756 | 0.5764
2020-08-30 18:00:00 | 2.763 | 336.3 | 2.975 | 348.7 | 2.996 | 328.475 | 3 | 338.1 | 27.54 | 969.952 | 72.2499 | 1.1639
2020-08-30 18:15:00 | 3.197 | 340.7 | 3.694 | 2.675 | 4.41 | 2.5198 | 4.382 | 344.2 | 27.23 | 969.952 | 73.3468 | 2.8746
2020-08-30 18:30:00 | 4.341 | 348.7 | 4.494 | 4.904 | 5.201 | 4.6196 | 5.098 | 353 | 27.13 | 969.526 | 72.529 | 3.8796
2020-08-30 18:45:00 | 3.978 | 346.9 | 4.694 | 3.775 | 5.142 | 3.556 | 5.182 | 349.3 | 26.92 | 970.125 | 72.2563 | 6.6951
2020-08-30 19:00:00 | 3.8 | 349.2 | 4.653 | 3.04 | 5.198 | 2.8637 | 5.179 | 349.9 | 26.76 | 970.245 | 73.2815 | 8.4797
2020-08-30 19:15:00 | 3.639 | 344.4 | 4.343 | 7.169 | 5.112 | 6.7532 | 5.187 | 344.9 | 26.74 | 970.247 | 73.6994 | 9.0117
2020-08-30 19:30:00 | 4.119 | 345 | 4.489 | 2.166 | 5.686 | 2.0404 | 5.709 | 347.2 | 26.73 | 970.092 | 72.1663 | 9.2556
2020-08-30 19:45:00 | 4.068 | 354.8 | 4.428 | 11.47 | 6.139 | 10.8047 | 6.425 | 359.5 | 26.5 | 970.545 | 75.9843 | 9.7248
2020-08-30 20:00:00 | 4.435 | 356.8 | 5.19 | 6.877 | 6.269 | 6.4781 | 6.468 | 3.181 | 26.22 | 970.545 | 78.2342 | 10.5488
2020-08-30 20:15:00 | 4.435 | 8.85 | 4.461 | 12.43 | 4.776 | 11.7091 | 4.904 | 3.763 | 25.99 | 970.545 | 79.9045 | 13.7153
2020-08-30 20:30:00 | 4.111 | 6.636 | 4.604 | 22.95 | 4.901 | 21.6189 | 4.787 | 7.155 | 25.8 | 970.545 | 80.7908 | 16.0135
2020-08-30 20:45:00 | 4.578 | 7.429 | 5.126 | 23.76 | 4.847 | 22.3819 | 4.8 | 9.18 | 25.73 | 970.396 | 81.4055 | 14.4321
2020-08-30 21:00:00 | 4.336 | 7.096 | 4.875 | 22.81 | 4.735 | 21.487 | 4.487 | 8.83 | 25.53 | 970.545 | 80.588 | 11.4466
2020-08-30 21:15:00 | 3.958 | 12.98 | 5.005 | 28.49 | 4.957 | 26.8376 | 4.782 | 20.04 | 25.39 | 970.545 | 81.989 | 8.6829
2020-08-30 21:30:00 | 3.526 | 19.19 | 4.602 | 36.13 | 4.979 | 34.0345 | 5.001 | 23.58 | 25.39 | 970.396 | 80.597 | 6.2073
2020-08-30 21:45:00 | 3.498 | 21.57 | 4.484 | 37.08 | 5.074 | 34.9294 | 5.162 | 27.7 | 25.49 | 970.545 | 80.4635 | 5.4277
2020-08-30 22:00:00 | 3.064 | 25.47 | 4.223 | 41.39 | 4.522 | 38.9894 | 4.696 | 26.58 | 25.46 | 970.248 | 78.9628 | 3.451
2020-08-30 22:15:00 | 3.491 | 21.36 | 4.29 | 36.8 | 4.412 | 34.6656 | 4.418 | 25.72 | 25.64 | 970.248 | 78.6902 | 3.7761
2020-08-30 22:30:00 | 3.493 | 22.77 | 4.251 | 36.11 | 4.382 | 34.0156 | 4.339 | 29.76 | 25.53 | 970.1 | 79.3033 | 3.1665
2020-08-30 22:45:00 | 2.564 | 42.93 | 3.824 | 55.09 | 4.031 | 51.8948 | 4.013 | 47.16 | 25.43 | 970.1 | 78.793 | 1.574
2020-08-30 23:00:00 | 4.045 | 47.8 | 4.41 | 68.79 | 3.621 | 64.8002 | 3.527 | 48.99 | 26.23 | 970.545 | 73.1332 | 0.014779
2020-08-30 23:15:00 | 3.746 | 56.38 | 2.886 | 75.79 | 2.002 | 71.3942 | 2.133 | 56.32 | 26.78 | 970.396 | 66.7226 | -0.36579
2020-08-30 23:30:00 | 3.069 | 88.9 | 2.95 | 98.7 | 3.23 | 92.9754 | 3.374 | 99.5 | 26.87 | 970.545 | 68.1811 | 0.46555
2020-08-30 23:45:00 | 3.697 | 91.5 | 4.42 | 105.2 | 4.234 | 99.0984 | 4.365 | 100.5 | 27.01 | 970.545 | 69.1325 | 2.2391