## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-31 00:00:00 | 1.341 | 100.8 | 1.973 | 118.2 | 1.905 | 111.344 | 1.826 | 106 | 26.48 | 970.545 | 74.4503 | 4.0976
2020-08-31 00:15:00 | 2.503 | 135.5 | 3.298 | 152.6 | 3.41 | 143.749 | 3.435 | 134.1 | 25.96 | 969.803 | 79.9046 | 9.8874
2020-08-31 00:30:00 | 4.134 | 136 | 4.847 | 158.7 | 4.224 | 149.495 | 4.181 | 133.7 | 25.51 | 969.655 | 80.8598 | 12.2891
2020-08-31 00:45:00 | 5.656 | 113.8 | 6.542 | 129.6 | 6.979 | 122.083 | 6.955 | 121 | 25.98 | 969.803 | 81.5462 | 14.4838
2020-08-31 01:00:00 | 6.069 | 127.8 | 6.486 | 140.2 | 6.388 | 132.068 | 6.257 | 136.9 | 26.03 | 969.803 | 80.8975 | 7.0793
2020-08-31 01:15:00 | 2.946 | 133.7 | 3.824 | 153.6 | 4.506 | 144.691 | 4.479 | 139.7 | 25.88 | 969.951 | 83.1106 | 5.2356
2020-08-31 01:30:00 | 3.483 | 128.2 | 4.231 | 143.1 | 4.369 | 134.8 | 4.171 | 137.6 | 25.78 | 969.803 | 83.6588 | 4.0976
2020-08-31 01:45:00 | 1.353 | 144.8 | 2.042 | 167.5 | 2.561 | 157.785 | 2.605 | 149.9 | 25.66 | 969.803 | 82.9086 | 1.3782
2020-08-31 02:00:00 | 2.699 | 140.7 | 2.612 | 151.6 | 1.643 | 142.807 | 1.438 | 144.8 | 26.14 | 969.655 | 78.2075 | 1.2119
2020-08-31 02:15:00 | 2.914 | 153.3 | 3.096 | 165.1 | 1.978 | 155.524 | 1.757 | 168.7 | 26.22 | 969.21 | 78.0673 | 0.82026
2020-08-31 02:30:00 | 3.108 | 152.5 | 3.4 | 165.9 | 2.614 | 156.278 | 2.477 | 162.8 | 25.94 | 969.358 | 80.1792 | 0.29189
2020-08-31 02:45:00 | 2.201 | 146.2 | 2.968 | 163.1 | 2.751 | 153.64 | 2.46 | 158.3 | 25.77 | 969.21 | 81.3404 | 0.32145
2020-08-31 03:00:00 | 2.671 | 149.9 | 3.142 | 161.4 | 2.097 | 152.039 | 1.746 | 161.6 | 25.87 | 969.358 | 79.2623 | 0.60965
2020-08-31 03:15:00 | 2.924 | 157.5 | 2.929 | 168.9 | 2.098 | 159.104 | 1.889 | 171.3 | 25.88 | 969.062 | 79.5034 | 0.53945
2020-08-31 03:30:00 | 3.447 | 170.7 | 3.402 | 178.7 | 2.81 | 168.335 | 2.781 | 182.6 | 25.69 | 969.506 | 83.5278 | 0.059118
2020-08-31 03:45:00 | 1.877 | 152.4 | 2.497 | 166.8 | 2.718 | 157.126 | 2.709 | 158.2 | 25.19 | 969.062 | 85.4368 | -0.21061
2020-08-31 04:00:00 | 2.564 | 165.2 | 3.185 | 176.5 | 3.235 | 166.263 | 3.137 | 178.6 | 25.73 | 969.21 | 83.8714 | -0.31776
2020-08-31 04:15:00 | 3.299 | 176.4 | 3.556 | 189.4 | 3.583 | 178.415 | 3.545 | 182.7 | 25.4 | 969.062 | 84.3505 | -0.218
2020-08-31 04:30:00 | 3.008 | 170 | 3.131 | 186 | 3.158 | 175.212 | 3.124 | 178.7 | 25.35 | 969.062 | 86.3263 | -0.24016
2020-08-31 04:45:00 | 2.916 | 163.3 | 2.868 | 168.5 | 2.21 | 158.727 | 2.078 | 169.1 | 25.17 | 968.913 | 84.0773 | -0.22908
2020-08-31 05:00:00 | 2.061 | 168.5 | 2.39 | 175.6 | 1.24 | 165.415 | 1.106 | 184.2 | 25.15 | 969.21 | 83.9743 | -0.24016
2020-08-31 05:15:00 | 1.507 | 171.4 | 1.787 | 172.2 | 0.935 | 162.212 | 0.687 | 176.1 | 25.47 | 969.21 | 83.5322 | -0.26972
2020-08-31 05:30:00 | 1.91 | 195.3 | 1.623 | 176.9 | 0.779 | 166.64 | 0.445 | 221.1 | 25.59 | 969.21 | 82.7139 | -0.24016
2020-08-31 05:45:00 | 2.002 | 187.6 | 2.109 | 196.6 | 2.057 | 185.197 | 1.994 | 193.3 | 25.31 | 969.21 | 83.5663 | -0.24386
2020-08-31 06:00:00 | 2.163 | 177 | 2.49 | 186.2 | 2.057 | 175.4 | 2.032 | 194.6 | 25.3 | 969.358 | 86.055 | -0.22169
2020-08-31 06:15:00 | 2.502 | 183.3 | 2.623 | 182.6 | 1.739 | 172.009 | 1.65 | 191.6 | 25.21 | 969.803 | 85.4415 | -0.24016
2020-08-31 06:30:00 | 1.951 | 187.3 | 2.012 | 181.9 | 1.332 | 171.35 | 1.003 | 210.9 | 25.53 | 970.248 | 83.6625 | -0.24016
2020-08-31 06:45:00 | 1.721 | 184.4 | 1.636 | 179.7 | 0.95 | 169.277 | 0.175 | 208.7 | 25.58 | 970.545 | 84.4044 | -0.25125
2020-08-31 07:00:00 | 1.312 | 205.5 | 1.802 | 210.5 | 1.523 | 198.291 | 1.3 | 228.3 | 25.63 | 970.396 | 84.8095 | -0.24016
2020-08-31 07:15:00 | 2.934 | 221.7 | 2.919 | 252.5 | 2.459 | 237.855 | 2.35 | 216.8 | 24.42 | 970.542 | 94.6556 | -0.26972
2020-08-31 07:30:00 | 2.717 | 205.8 | 2.661 | 218.9 | 2.599 | 206.204 | 2.595 | 214.6 | 25.24 | 970.49 | 88.0729 | -0.26972
2020-08-31 07:45:00 | 0.838 | 194.5 | 1.259 | 217.4 | 1.343 | 204.791 | 1.396 | 206.8 | 25.68 | 970.572 | 85.6851 | -0.24016
2020-08-31 08:00:00 | 1.89 | 220.3 | 2.102 | 233.8 | 2.007 | 220.24 | 2.086 | 231.2 | 25.33 | 970.694 | 87.0438 | -0.26972
2020-08-31 08:15:00 | 2.04 | 232.8 | 2.074 | 243.8 | 1.864 | 229.66 | 1.812 | 242 | 25.25 | 970.694 | 86.768 | -0.25864
2020-08-31 08:30:00 | 1.324 | 283.6 | 1.721 | 284.2 | 1.295 | 267.716 | 1.324 | 277.6 | 25.51 | 971.139 | 86.5665 | -0.17735
2020-08-31 08:45:00 | 2.398 | 274.6 | 2.71 | 288 | 2.861 | 271.296 | 2.727 | 278.6 | 25.84 | 971.043 | 80.3457 | -0.2143
2020-08-31 09:00:00 | 2.615 | 296.6 | 2.853 | 307.1 | 2.772 | 289.288 | 2.64 | 299.1 | 25.91 | 971.287 | 82.5895 | -0.099761
2020-08-31 09:15:00 | 2.518 | 294.6 | 2.863 | 305.8 | 3.227 | 288.064 | 3.16 | 300 | 25.91 | 971.287 | 81.431 | 1.6516
2020-08-31 09:30:00 | 2.873 | 298.7 | 3.369 | 311.5 | 3.441 | 293.433 | 3.427 | 300.4 | 26.13 | 971.732 | 81.6355 | 1.4151
2020-08-31 09:45:00 | 3.225 | 312.2 | 3.101 | 324.2 | 2.912 | 305.396 | 2.915 | 307.9 | 26.22 | 971.732 | 82.9983 | 1.8326
2020-08-31 10:00:00 | 3.064 | 307.9 | 3.517 | 319.8 | 2.739 | 301.252 | 2.503 | 314.4 | 26.52 | 971.732 | 79.5217 | 1.6627
2020-08-31 10:15:00 | 3.802 | 304 | 4.006 | 310.4 | 3.68 | 292.397 | 3.674 | 309.4 | 26.32 | 971.584 | 82.9983 | 1.9065
2020-08-31 10:30:00 | 3.478 | 318.3 | 3.579 | 321.8 | 3.077 | 303.136 | 3.145 | 324.2 | 26.54 | 971.732 | 78.4327 | 2.6233
2020-08-31 10:45:00 | 2.975 | 314.1 | 3.489 | 317.6 | 3.028 | 299.179 | 2.908 | 316.8 | 27.08 | 972.029 | 75.1618 | 2.9263
2020-08-31 11:00:00 | 4.274 | 305 | 4.538 | 318.3 | 4.4 | 299.839 | 4.354 | 305 | 27 | 971.732 | 69.029 | 3.4066
2020-08-31 11:15:00 | 4.18 | 317.6 | 4.065 | 316.9 | 3.4 | 298.52 | 3.384 | 322.4 | 27.41 | 971.584 | 73.9353 | 5.1321
2020-08-31 11:30:00 | 4.425 | 308.7 | 4.98 | 318.3 | 4.496 | 299.839 | 4.387 | 312.8 | 27.38 | 971.88 | 71.6184 | 4.3599
2020-08-31 11:45:00 | 4.326 | 314.8 | 4.893 | 322.1 | 4.618 | 303.418 | 4.627 | 317.2 | 27.82 | 971.88 | 69.063 | 6.6212
2020-08-31 12:00:00 | 3.537 | 314.4 | 4.141 | 322.1 | 3.812 | 303.418 | 3.771 | 317.5 | 27.65 | 971.88 | 68.8927 | 4.8033
2020-08-31 12:15:00 | 4.188 | 334.1 | 4.471 | 348.4 | 4.471 | 328.193 | 4.433 | 334 | 27.59 | 971.732 | 66.1329 | 5.1358
2020-08-31 12:30:00 | 4.589 | 310.6 | 4.602 | 316.3 | 4.027 | 297.955 | 4.008 | 312 | 28.07 | 971.88 | 69.029 | 5.2356
2020-08-31 12:45:00 | 3.48 | 323.9 | 3.742 | 334.4 | 4.038 | 315.005 | 4.011 | 327.2 | 28.35 | 971.436 | 67.0528 | 5.2504
2020-08-31 13:00:00 | 3.111 | 341.2 | 2.999 | 15.27 | 3.497 | 14.3843 | 3.45 | 340.5 | 28.64 | 971.732 | 66.4054 | 4.5705
2020-08-31 13:15:00 | 4.029 | 315.4 | 4.2 | 323.3 | 4.133 | 304.549 | 4.198 | 317.1 | 28.48 | 971.584 | 64.8041 | 4.2306
2020-08-31 13:30:00 | 3.301 | 3.343 | 3.68 | 357.2 | 3.377 | 336.482 | 3.238 | 0.558 | 28.67 | 971.732 | 61.5332 | 3.0556
2020-08-31 13:45:00 | 3.491 | 336.3 | 3.814 | 350.2 | 3.965 | 329.888 | 4.011 | 335.6 | 28.88 | 971.436 | 60.5792 | 3.717
2020-08-31 14:00:00 | 2.275 | 21.05 | 3.154 | 4.608 | 4.471 | 4.3407 | 4.377 | 25.84 | 29.17 | 972.029 | 63.4071 | 2.9596
2020-08-31 14:15:00 | 2.561 | 18.18 | 2.712 | 30.2 | 3.62 | 28.4484 | 3.305 | 10.78 | 28.72 | 972.029 | 63.8841 | 2.4829
2020-08-31 14:30:00 | 2.803 | 3.093 | 2.877 | 351.8 | 3.45 | 331.396 | 3.465 | 12.32 | 28.71 | 971.584 | 63.6451 | 3.3586
2020-08-31 14:45:00 | 3.472 | 357.9 | 3.648 | 6.197 | 3.967 | 5.8376 | 3.705 | 353.2 | 28.56 | 971.139 | 64.7003 | 3.85
2020-08-31 15:00:00 | 2.495 | 16.96 | 2.286 | 25.25 | 3.385 | 23.7855 | 3.267 | 357.8 | 28.86 | 971.732 | 64.4897 | 4.9289
2020-08-31 15:15:00 | 2.862 | 332.3 | 3.146 | 323.5 | 3.086 | 304.737 | 3.025 | 0.425 | 28.89 | 971.584 | 62.9885 | 5.4499
2020-08-31 15:30:00 | 3.401 | 21.1 | 3.147 | 2.109 | 4.064 | 1.9867 | 3.85 | 16.08 | 28.51 | 971.436 | 64.3842 | 4.9252
2020-08-31 15:45:00 | 2.758 | 24.95 | 3.415 | 29.71 | 3.723 | 27.9868 | 3.277 | 19.85 | 28.41 | 971.139 | 63.6348 | 2.664
2020-08-31 16:00:00 | 2.796 | 17.91 | 4.896 | 33.28 | 3.769 | 31.3498 | 3.583 | 9.56 | 27.84 | 970.991 | 61.0845 | 2.1504
2020-08-31 16:15:00 | 2.675 | 8.64 | 3.262 | 38.87 | 2.521 | 36.6155 | 2.477 | 351.6 | 27.85 | 970.991 | 62.487 | 2.2428
2020-08-31 16:30:00 | 2.399 | 350.9 | 2.917 | 18.22 | 3.128 | 17.1632 | 3.275 | 343.7 | 27.99 | 970.843 | 60.8859 | 2.4977
2020-08-31 16:45:00 | 1.816 | 338.7 | 1.982 | 3.094 | 2.082 | 2.9146 | 2.129 | 331 | 27.98 | 970.546 | 61.431 | 1.0567
2020-08-31 17:00:00 | 3.039 | 312.7 | 3.53 | 322.9 | 3.293 | 304.172 | 3.305 | 316.3 | 27.82 | 970.546 | 64.8041 | 1.4668
2020-08-31 17:15:00 | 3.143 | 311.5 | 3.484 | 330.4 | 3.507 | 311.237 | 3.468 | 315.2 | 27.34 | 969.805 | 66.3049 | 1.9767
2020-08-31 17:30:00 | 3.085 | 321.5 | 2.74 | 332.8 | 1.453 | 313.498 | 1.281 | 317.4 | 27.02 | 969.65 | 67.2729 | 3.1295
2020-08-31 17:45:00 | 3.087 | 329.1 | 2.592 | 342.9 | 1.988 | 323.012 | 1.924 | 325.4 | 26.93 | 969.507 | 68.5069 | 3.403
2020-08-31 18:00:00 | 3.253 | 331.9 | 2.725 | 343.1 | 2.423 | 323.2 | 2.264 | 326.6 | 26.73 | 969.517 | 71.1656 | 4.6038
2020-08-31 18:15:00 | 3.705 | 346 | 4.129 | 4.871 | 5.249 | 4.5885 | 5.274 | 347.5 | 26.48 | 969.314 | 72.1881 | 7.6446
2020-08-31 18:30:00 | 3.35 | 342.9 | 3.891 | 3.734 | 5.73 | 3.5174 | 5.898 | 344.3 | 26.06 | 969.358 | 74.6536 | 14.1919
2020-08-31 18:45:00 | 3.248 | 350.1 | 3.99 | 10.65 | 5.409 | 10.0323 | 5.648 | 348.3 | 26.06 | 969.21 | 75.4048 | 14.9383
2020-08-31 19:00:00 | 5.275 | 336.4 | 5.678 | 353.8 | 5.076 | 333.28 | 5.06 | 336.3 | 25.93 | 969.358 | 80.5181 | 31.432
2020-08-31 19:15:00 | 5.658 | 351.4 | 6.504 | 16.71 | 7.889 | 15.7408 | 8.19 | 350.6 | 24.91 | 969.655 | 81.8817 | 30.2386
2020-08-31 19:30:00 | 6.113 | 354.2 | 6.378 | 18.18 | 7.67 | 17.1256 | 7.777 | 353.9 | 24.53 | 969.506 | 79.8437 | 22.8452
2020-08-31 19:45:00 | 4.68 | 346.4 | 5.274 | 9.16 | 7.062 | 8.6287 | 7.153 | 345.1 | 24.19 | 969.951 | 79.0316 | 23.5546
2020-08-31 20:00:00 | 3.899 | 345.8 | 4.553 | 6.241 | 5.414 | 5.879 | 5.656 | 344.4 | 23.59 | 969.951 | 84.7255 | 21.1419
2020-08-31 20:15:00 | 3.347 | 358.3 | 4.63 | 34.08 | 5.18 | 32.1034 | 5.381 | 346.3 | 23.06 | 969.803 | 88.7867 | 17.9902
2020-08-31 20:30:00 | 4.997 | 352.2 | 4.829 | 13.23 | 5.343 | 12.4627 | 5.35 | 354.3 | 22.67 | 969.506 | 93.3669 | 16.7303
2020-08-31 20:45:00 | 5.464 | 7.221 | 5.195 | 17.89 | 5.043 | 16.8524 | 4.917 | 11.13 | 22.34 | 969.21 | 94.9019 | 15.4112
2020-08-31 21:00:00 | 5.079 | 14.98 | 6.58 | 27.39 | 6.696 | 25.8014 | 6.303 | 19.25 | 22.27 | 969.343 | 95.8909 | 15.4592
2020-08-31 21:15:00 | 4.29 | 18.35 | 6.36 | 36.13 | 6.396 | 34.0345 | 6.086 | 20.6 | 22.67 | 969.612 | 92.6172 | 17.3547
2020-08-31 21:30:00 | 4.762 | 11.86 | 6.634 | 28.83 | 6.483 | 27.1579 | 5.449 | 15.93 | 22.61 | 969.602 | 92.5833 | 15.3151
2020-08-31 21:45:00 | 3.958 | 21.68 | 5.783 | 34.23 | 6.071 | 32.2447 | 6.155 | 27.54 | 22.59 | 969.774 | 90.0947 | 6.7246
2020-08-31 22:00:00 | 2.809 | 21.48 | 5.031 | 30.82 | 5.013 | 29.0324 | 5.067 | 27.18 | 23.06 | 970.034 | 84.5014 | 1.3154
2020-08-31 22:15:00 | 0.915 | 16.98 | 1.797 | 19.89 | 2.978 | 18.7364 | 2.862 | 24.63 | 23.61 | 970.432 | 81.8757 | 0.76853
2020-08-31 22:30:00 | 5.528 | 305.5 | 5.729 | 318 | 4.962 | 299.556 | 4.754 | 309.4 | 22.49 | 970.129 | 96.607 | 7.7887
2020-08-31 22:45:00 | 3.774 | 317.6 | 3.653 | 326.9 | 3.329 | 307.94 | 3.468 | 316.3 | 22.06 | 970.208 | 99.0964 | 9.0413
2020-08-31 23:00:00 | 4.045 | 336.8 | 4.126 | 349.7 | 5.091 | 329.417 | 5.325 | 338.7 | 22 | 970.037 | 99.8807 | 9.1484
2020-08-31 23:15:00 | 3.473 | 332.9 | 3.684 | 347.4 | 3.179 | 327.251 | 3.071 | 331.3 | 21.91 | 969.924 | 99.8531 | 10.2717
2020-08-31 23:30:00 | 2.88 | 325.7 | 2.444 | 338.2 | 2.309 | 318.584 | 2.126 | 313.5 | 21.89 | 970.092 | 99.8565 | 10.1165
2020-08-31 23:45:00 | 3.884 | 323.3 | 3.737 | 333.5 | 3.166 | 314.157 | 3.063 | 321.8 | 21.79 | 969.654 | 99.859 | 10.5044