## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-01 00:00:00 | 3.378 | 325.9 | 3.19 | 339.4 | 2.815 | 319.715 | 2.806 | 329.4 | 21.68 | 969.506 | 99.8591 | 10.0832
2020-09-01 00:15:00 | 4.392 | 330.7 | 4.382 | 345.3 | 3.453 | 325.273 | 3.496 | 324.4 | 21.46 | 969.357 | 99.9317 | 14.3212
2020-09-01 00:30:00 | 4.55 | 350.3 | 4.686 | 11.82 | 6.106 | 11.1344 | 6.213 | 351 | 21.33 | 968.912 | 99.8635 | 9.577
2020-09-01 00:45:00 | 4.126 | 344 | 4.139 | 3.443 | 4.852 | 3.2433 | 4.963 | 344.8 | 21.32 | 969.209 | 99.8635 | 8.3504
2020-09-01 01:00:00 | 4.086 | 5.626 | 4.359 | 27.72 | 4.445 | 26.1122 | 4.52 | 5.817 | 21.18 | 968.912 | 99.8635 | 6.1852
2020-09-01 01:15:00 | 4.269 | 15.56 | 5.698 | 32.49 | 5.493 | 30.6056 | 5.554 | 20.29 | 21.09 | 968.764 | 99.8635 | 4.6666
2020-09-01 01:30:00 | 4.152 | 22.98 | 5.113 | 40.25 | 5.455 | 37.9155 | 5.549 | 23.4 | 21.09 | 968.319 | 99.8635 | 5.195
2020-09-01 01:45:00 | 4.063 | 16.08 | 5.154 | 34.79 | 5.956 | 32.7722 | 5.992 | 16.73 | 21.2 | 968.319 | 99.8635 | 4.7701
2020-09-01 02:00:00 | 3.118 | 30.97 | 4.387 | 49.12 | 4.639 | 46.271 | 4.693 | 32.94 | 21.4 | 968.319 | 98.9768 | 0.54684
2020-09-01 02:15:00 | 3.256 | 6.601 | 3.075 | 6.222 | 3.006 | 5.8611 | 3.05 | 360 | 21.73 | 968.615 | 97.4079 | 0.53945
2020-09-01 02:30:00 | 3.044 | 26.63 | 3.663 | 39.84 | 3.868 | 37.5293 | 3.97 | 26.29 | 21.49 | 968.615 | 99.8635 | 1.6257
2020-09-01 02:45:00 | 3.46 | 345.7 | 3.865 | 4.846 | 4.224 | 4.5649 | 4.344 | 345.1 | 21.12 | 968.467 | 99.8977 | 5.328
2020-09-01 03:00:00 | 3.196 | 337.2 | 3.612 | 355.9 | 4.163 | 335.258 | 4.342 | 339 | 20.86 | 968.319 | 99.8977 | 9.2334
2020-09-01 03:15:00 | 3.206 | 353.6 | 3.589 | 20.88 | 4.801 | 19.669 | 4.945 | 354.2 | 20.72 | 968.319 | 99.8635 | 9.5586
2020-09-01 03:30:00 | 4.703 | 8.48 | 4.798 | 26.01 | 4.896 | 24.5014 | 4.927 | 12.08 | 20.63 | 968.17 | 99.8635 | 11.5242
2020-09-01 03:45:00 | 3.261 | 17.34 | 5.067 | 37.98 | 6.348 | 35.7772 | 6.45 | 18.2 | 20.72 | 968.022 | 99.8642 | 11.3173
2020-09-01 04:00:00 | 3.544 | 13.61 | 4.806 | 33.63 | 5.043 | 31.6795 | 4.884 | 13.43 | 21.09 | 968.319 | 99.8636 | 9.0856
2020-09-01 04:15:00 | 3.812 | 10.65 | 5.19 | 30.57 | 4.817 | 28.7969 | 4.624 | 10.32 | 21.69 | 968.319 | 98.704 | 5.0472
2020-09-01 04:30:00 | 3.641 | 7.842 | 4.356 | 23.83 | 4.099 | 22.4479 | 4.207 | 5.487 | 22.13 | 968.467 | 96.2142 | 3.8574
2020-09-01 04:45:00 | 3.897 | 7.238 | 3.811 | 16.63 | 4.036 | 15.6655 | 4.056 | 12.61 | 21.93 | 968.319 | 99.5226 | 4.7885
2020-09-01 05:00:00 | 3.034 | 15.23 | 3.4 | 16.75 | 3.878 | 15.7785 | 4.028 | 19.88 | 20.94 | 968.319 | 99.8636 | 1.6996
2020-09-01 05:15:00 | 2.525 | 9.04 | 2.656 | 21.95 | 3.436 | 20.6769 | 3.616 | 21.95 | 20.9 | 968.319 | 99.8636 | 1.9657
2020-09-01 05:30:00 | 3.396 | 8.03 | 3.484 | 20.06 | 3.598 | 18.8965 | 3.677 | 12.61 | 20.79 | 968.467 | 99.8636 | 1.5851
2020-09-01 05:45:00 | 3.452 | 4.316 | 3.415 | 22.79 | 4.537 | 21.4682 | 4.632 | 2.554 | 20.77 | 968.467 | 99.9318 | 3.2958
2020-09-01 06:00:00 | 3.705 | 347.5 | 3.996 | 6.813 | 5.379 | 6.4178 | 5.546 | 349.1 | 20.88 | 968.615 | 99.8636 | 5.1691
2020-09-01 06:15:00 | 4.154 | 355.7 | 4.18 | 13.23 | 5.376 | 12.4627 | 5.709 | 355.9 | 20.9 | 968.912 | 99.8636 | 6.2702
2020-09-01 06:30:00 | 3.345 | 352.8 | 3.768 | 10.19 | 5.585 | 9.599 | 5.679 | 351.3 | 20.92 | 969.061 | 99.8636 | 5.424
2020-09-01 06:45:00 | 3.473 | 1.454 | 3.75 | 25.66 | 5.366 | 24.1717 | 5.625 | 1.574 | 20.83 | 969.209 | 99.8977 | 3.7244
2020-09-01 07:00:00 | 3.677 | 357.7 | 3.732 | 18.54 | 5.058 | 17.4647 | 5.213 | 353.3 | 20.7 | 969.357 | 99.8636 | 2.7527
2020-09-01 07:15:00 | 3.516 | 3.163 | 3.763 | 19.14 | 4.562 | 18.0299 | 4.757 | 2.096 | 21.27 | 969.506 | 98.2265 | 2.9965
2020-09-01 07:30:00 | 3.072 | 9.55 | 3.893 | 31.79 | 3.441 | 29.9462 | 3.488 | 0.623 | 21.84 | 969.654 | 92.1467 | 2.7268
2020-09-01 07:45:00 | 2.96 | 9.25 | 4.182 | 32.01 | 3.565 | 30.1534 | 3.567 | 4.466 | 22.08 | 970.111 | 87.093 | 2.616
2020-09-01 08:00:00 | 3.634 | 12.8 | 4.43 | 33.27 | 3.413 | 31.3403 | 3.435 | 4.01 | 22.64 | 970.1 | 82.7486 | 1.622
2020-09-01 08:15:00 | 3.726 | 13.49 | 4.221 | 33.38 | 3.644 | 31.444 | 3.606 | 9.74 | 23.05 | 970.397 | 81.3427 | 1.1713
2020-09-01 08:30:00 | 3.317 | 21.03 | 4.315 | 39.57 | 3.326 | 37.2749 | 3.333 | 12.16 | 23.38 | 970.693 | 79.9046 | 0.65768
2020-09-01 08:45:00 | 3.131 | 17.37 | 4.195 | 41.39 | 3.296 | 38.9894 | 3.318 | 9.12 | 23.69 | 970.562 | 72.2569 | 0.82764
2020-09-01 09:00:00 | 2.133 | 13.16 | 4.356 | 40.85 | 3.507 | 38.4807 | 3.235 | 1.772 | 24.68 | 970.851 | 65.8487 | 1.9693
2020-09-01 09:15:00 | 3.876 | 17.53 | 4.635 | 37.56 | 3.886 | 35.3815 | 3.733 | 7.485 | 24.43 | 971.139 | 72.7669 | 3.9424
2020-09-01 09:30:00 | 1.694 | 24.95 | 4.379 | 37.78 | 3.705 | 35.5888 | 3.28 | 15.89 | 25.19 | 971.139 | 67.4779 | 4.3045
2020-09-01 09:45:00 | 1.827 | 26.11 | 3.339 | 26.19 | 4.069 | 24.671 | 3.817 | 27.13 | 25.82 | 971.565 | 68.8448 | 4.1271
2020-09-01 10:00:00 | 2.111 | 23.36 | 2.96 | 9.6 | 3.969 | 9.0432 | 3.62 | 23.75 | 25.79 | 971.143 | 67.2575 | 3.9609
2020-09-01 10:15:00 | 2.412 | 19.86 | 3.443 | 29.55 | 3.583 | 27.8361 | 3.285 | 17.97 | 25.88 | 971.287 | 66.8484 | 3.0298
2020-09-01 10:30:00 | 2.048 | 18.45 | 2.632 | 1.536 | 2.946 | 1.4469 | 2.72 | 19.85 | 25.87 | 971.139 | 68.4157 | 1.8068
2020-09-01 10:45:00 | 2.382 | 14.68 | 3.384 | 11.81 | 3.364 | 11.125 | 3.078 | 17.98 | 26.1 | 971.287 | 64.293 | 3.1332
2020-09-01 11:00:00 | 1.915 | 22.38 | 2.98 | 16.14 | 4.443 | 15.2039 | 4.153 | 21.78 | 26.6 | 971.139 | 64.293 | 3.7059
2020-09-01 11:15:00 | 4.926 | 13.58 | 5.098 | 29.53 | 4.293 | 27.8173 | 4.324 | 11.13 | 25.8 | 970.546 | 63.8501 | 4.1493
2020-09-01 11:30:00 | 3.586 | 15.08 | 5.005 | 38.31 | 4.443 | 36.088 | 4.212 | 9.93 | 25.8 | 970.25 | 59.7615 | 3.5323
2020-09-01 11:45:00 | 3.427 | 15.61 | 4.254 | 43.59 | 3.715 | 41.0618 | 3.483 | 12.43 | 26.48 | 970.25 | 56.4566 | 2.8968
2020-09-01 12:00:00 | 2.446 | 8.82 | 3.021 | 38.6 | 3.878 | 36.3612 | 3.807 | 2.617 | 26.92 | 970.25 | 54.276 | 3.5655
2020-09-01 12:15:00 | 2.255 | 8.9 | 2.601 | 6.133 | 3.685 | 5.7773 | 3.555 | 11.17 | 27.03 | 970.25 | 55.3322 | 2.0137
2020-09-01 12:30:00 | 3.108 | 351.5 | 3.517 | 350 | 2.799 | 329.7 | 2.71 | 355.5 | 27.29 | 970.003 | 57.0397 | 2.3832
2020-09-01 12:45:00 | 3.963 | 332 | 4.172 | 335.9 | 3.425 | 316.418 | 3.333 | 342.1 | 27.74 | 970.238 | 55.0086 | 1.4927
2020-09-01 13:00:00 | 2.919 | 336.1 | 3.354 | 336.6 | 2.994 | 317.077 | 2.932 | 335.7 | 27.89 | 970.249 | 54.5639 | 1.2858
2020-09-01 13:15:00 | 2.835 | 7.837 | 2.936 | 17.35 | 3.121 | 16.3437 | 2.855 | 356.4 | 28.14 | 970.1 | 55.4841 | 2.1837
2020-09-01 13:30:00 | 3.003 | 355.5 | 3.065 | 354 | 3.108 | 333.468 | 2.935 | 3.103 | 27.87 | 969.952 | 50.6805 | 2.8413
2020-09-01 13:45:00 | 3.475 | 7.174 | 2.988 | 348 | 2.776 | 327.816 | 2.81 | 15.61 | 27.99 | 969.804 | 52.9982 | 2.6714
2020-09-01 14:00:00 | 2.735 | 352.4 | 3.482 | 359.8 | 2.989 | 338.932 | 2.803 | 356.5 | 28.41 | 970.694 | 51.6675 | 1.2304
2020-09-01 14:15:00 | 3.534 | 344.7 | 3.515 | 340.8 | 3.056 | 321.034 | 3.01 | 355.5 | 28.37 | 970.676 | 50.5667 | 1.0567
2020-09-01 14:30:00 | 3.626 | 332.4 | 3.893 | 343.1 | 3.73 | 323.2 | 3.66 | 334.3 | 28.51 | 970.548 | 51.2436 | 1.5223
2020-09-01 14:45:00 | 3.516 | 320.3 | 3.615 | 339.9 | 3.703 | 320.186 | 3.697 | 319.9 | 28.25 | 970.546 | 49.9489 | 1.3671
2020-09-01 15:00:00 | 2.892 | 293.4 | 3.456 | 302.6 | 3.324 | 285.049 | 3.135 | 300.8 | 28.76 | 970.695 | 48.6201 | 0.39535
2020-09-01 15:15:00 | 3.044 | 310.2 | 3.225 | 323.8 | 3.158 | 305.02 | 3.187 | 316.1 | 28.46 | 970.546 | 50.6985 | 0.81656
2020-09-01 15:30:00 | 3.269 | 338.1 | 3.41 | 350.9 | 3.468 | 330.548 | 3.55 | 336.9 | 28.35 | 970.546 | 55.43 | 1.7107
2020-09-01 15:45:00 | 2.1 | 345.6 | 2.132 | 351.1 | 2.097 | 330.736 | 2.046 | 354.4 | 28.13 | 970.398 | 54.0322 | 2.2982
2020-09-01 16:00:00 | 3.741 | 319.6 | 4.065 | 333.2 | 3.832 | 313.874 | 3.827 | 320.2 | 28.17 | 970.398 | 52.2603 | 1.4336
2020-09-01 16:15:00 | 3.026 | 332.5 | 3.349 | 345.7 | 3.052 | 325.649 | 3.081 | 330.3 | 28.12 | 970.546 | 54.4765 | 1.9472
2020-09-01 16:30:00 | 3.123 | 324.6 | 3.298 | 339.3 | 3.377 | 319.621 | 3.371 | 323.7 | 28.27 | 970.695 | 52.773 | 0.52836
2020-09-01 16:45:00 | 1.67 | 314.9 | 2.272 | 320.9 | 2.381 | 302.288 | 2.299 | 316.6 | 28.24 | 970.546 | 56.5566 | 0.75005
2020-09-01 17:00:00 | 2.056 | 323.6 | 2.336 | 338.8 | 2.868 | 319.15 | 2.928 | 329.8 | 27.75 | 970.398 | 57.4782 | 1.1454
2020-09-01 17:15:00 | 2.303 | 320.2 | 2.612 | 330.9 | 2.632 | 311.708 | 2.803 | 322.1 | 27.62 | 970.25 | 59.5911 | 0.95696
2020-09-01 17:30:00 | 2.607 | 307 | 3.144 | 321.9 | 2.914 | 303.23 | 2.906 | 314.3 | 27.41 | 969.953 | 59.8978 | 1.1158
2020-09-01 17:45:00 | 2.988 | 320.4 | 3.267 | 332.3 | 3.118 | 313.027 | 3.101 | 322.1 | 27.15 | 969.36 | 62.1465 | 2.3462
2020-09-01 18:00:00 | 2.786 | 324.3 | 3.477 | 338.2 | 3.614 | 318.584 | 3.664 | 326.2 | 26.87 | 969.094 | 60.9881 | 3.8168
2020-09-01 18:15:00 | 3.884 | 326.5 | 4.213 | 340.5 | 4.402 | 320.751 | 4.405 | 329 | 26.64 | 968.911 | 62.2336 | 5.025
2020-09-01 18:30:00 | 3.598 | 331.1 | 4.44 | 345.4 | 4.613 | 325.367 | 4.601 | 334.7 | 26.16 | 968.321 | 61.7926 | 5.8785
2020-09-01 18:45:00 | 3.828 | 335.3 | 4.602 | 352.1 | 4.667 | 331.678 | 4.64 | 338.2 | 26.05 | 968.687 | 62.9175 | 5.291
2020-09-01 19:00:00 | 3.978 | 342.3 | 4.691 | 1.57 | 4.799 | 1.4789 | 4.762 | 343.9 | 26 | 968.616 | 63.8824 | 5.4388
2020-09-01 19:15:00 | 4.841 | 351.2 | 5.215 | 3.853 | 4.728 | 3.6295 | 4.619 | 356.2 | 26.16 | 968.616 | 62.1101 | 5.376
2020-09-01 19:30:00 | 4.946 | 352.2 | 5.131 | 4.819 | 4.969 | 4.5395 | 4.828 | 354.8 | 26.21 | 968.616 | 61.5661 | 4.9067
2020-09-01 19:45:00 | 4.555 | 355.6 | 4.305 | 9.81 | 5.147 | 9.241 | 4.966 | 355.3 | 26.06 | 968.913 | 61.2967 | 7.0978
2020-09-01 20:00:00 | 5.339 | 349.3 | 5.801 | 1.843 | 5.58 | 1.7361 | 5.605 | 351.7 | 26.21 | 969.062 | 61.5037 | 7.5449
2020-09-01 20:15:00 | 5.058 | 353.2 | 5.113 | 7.366 | 5.409 | 6.9388 | 5.159 | 353.8 | 26.18 | 969.21 | 61.0282 | 6.3293
2020-09-01 20:30:00 | 3.881 | 5.961 | 3.881 | 17.1 | 4.695 | 16.1082 | 4.915 | 3.218 | 25.71 | 968.913 | 62.6648 | 5.2652
2020-09-01 20:45:00 | 3.943 | 6.497 | 4.576 | 22.4 | 4.402 | 21.1008 | 4.367 | 7.542 | 25.53 | 968.913 | 62.8706 | 4.5742
2020-09-01 21:00:00 | 4.07 | 6.634 | 5.028 | 24.56 | 4.514 | 23.1355 | 4.133 | 8.47 | 25.69 | 968.765 | 61.2342 | 4.5336
2020-09-01 21:15:00 | 3.529 | 12.42 | 4.752 | 31.92 | 4.494 | 30.0686 | 4.538 | 13.73 | 25.73 | 968.765 | 60.6205 | 2.7896
2020-09-01 21:30:00 | 3.603 | 8.59 | 4.622 | 27.7 | 4.049 | 26.0934 | 4.515 | 13.05 | 25.8 | 968.616 | 61.0296 | 1.9767
2020-09-01 21:45:00 | 3.728 | 6.697 | 4.389 | 22.87 | 3.853 | 21.5435 | 3.743 | 7.186 | 25.79 | 968.616 | 61.7115 | 2.6086
2020-09-01 22:00:00 | 1.856 | 13.52 | 2.188 | 25.65 | 2.558 | 24.1623 | 2.658 | 5.454 | 25.53 | 968.913 | 62.0525 | 0.30298
2020-09-01 22:15:00 | 2.543 | 7.04 | 2.758 | 25.15 | 2.902 | 23.6913 | 3.124 | 6.708 | 25.77 | 968.913 | 62.4616 | -0.24016
2020-09-01 22:30:00 | 2.643 | 21.98 | 2.643 | 19.2 | 2.899 | 18.0864 | 3.254 | 2.28 | 25.81 | 968.913 | 62.1207 | -0.26233
2020-09-01 22:45:00 | 2.002 | 14.81 | 2.75 | 35.21 | 2.876 | 33.1678 | 2.903 | 13.85 | 25.64 | 969.062 | 62.1889 | -0.27342
2020-09-01 23:00:00 | 2.073 | 23.32 | 2.881 | 41.94 | 3.621 | 39.5075 | 3.659 | 24.86 | 25.55 | 968.616 | 63.0071 | -0.18474
2020-09-01 23:15:00 | 2.599 | 23.84 | 3.873 | 39.58 | 4.168 | 37.2844 | 4.125 | 27.18 | 25.5 | 968.765 | 63.0753 | 0.0073897
2020-09-01 23:30:00 | 3.373 | 34 | 3.765 | 51.8 | 3.858 | 48.7956 | 3.837 | 38.94 | 25.53 | 968.765 | 62.8708 | -0.18474
2020-09-01 23:45:00 | 2.845 | 34.86 | 3.714 | 52.93 | 3.479 | 49.8601 | 3.432 | 39.48 | 25.79 | 969.062 | 61.6434 | -0.26972