## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-02 00:00:00 | 3.256 | 50.08 | 3.264 | 67.91 | 3.133 | 63.9712 | 3.129 | 55.75 | 25.5 | 968.765 | 61.7797 | -0.25864
2020-09-02 00:15:00 | 1.872 | 36.43 | 3.236 | 49.55 | 3.372 | 46.6761 | 3.382 | 45.71 | 25.3 | 968.616 | 62.7344 | -0.24016
2020-09-02 00:30:00 | 2.536 | 42.63 | 3.617 | 51.25 | 3.901 | 48.2775 | 3.921 | 50.27 | 25.22 | 968.468 | 62.2571 | -0.25864
2020-09-02 00:45:00 | 2.181 | 31.26 | 3.566 | 46.06 | 4.298 | 43.3885 | 4.311 | 33.74 | 25.04 | 968.172 | 62.1207 | 0.218
2020-09-02 01:00:00 | 2.01 | 25.59 | 3.489 | 42.66 | 3.461 | 40.1857 | 3.44 | 29.67 | 25.22 | 968.023 | 61.0637 | 0.15149
2020-09-02 01:15:00 | 4.719 | 350.1 | 4.967 | 3.9 | 5.046 | 3.6738 | 5.057 | 351 | 25.38 | 968.32 | 60.075 | 3.717
2020-09-02 01:30:00 | 6.029 | 346.3 | 6.084 | 2.004 | 6.821 | 1.8878 | 6.876 | 351.5 | 24.84 | 968.023 | 66.0757 | 6.2184
2020-09-02 01:45:00 | 3.261 | 343.9 | 3.51 | 2.647 | 4.654 | 2.4935 | 4.775 | 346.3 | 23.75 | 967.726 | 72.5878 | 3.318
2020-09-02 02:00:00 | 3.314 | 7.332 | 4.504 | 26.58 | 4.369 | 25.0384 | 4.393 | 12.45 | 23.32 | 967.43 | 75.0452 | 0.87198
2020-09-02 02:15:00 | 2.612 | 20.36 | 3.454 | 35.67 | 3.382 | 33.6011 | 3.364 | 23.53 | 24.08 | 967.578 | 69.0866 | 0.89415
2020-09-02 02:30:00 | 3.268 | 8.32 | 3.482 | 23.28 | 3.334 | 21.9298 | 3.741 | 13.3 | 24.18 | 967.43 | 69.019 | 0.97913
2020-09-02 02:45:00 | 3.11 | 0.334 | 3.28 | 17.47 | 3.909 | 16.4567 | 3.02 | 4.47 | 24.3 | 967.43 | 68.8146 | 0.80178
2020-09-02 03:00:00 | 2.97 | 1.844 | 3.042 | 22.05 | 3.1 | 20.7711 | 3.29 | 2.976 | 24.45 | 967.875 | 67.8601 | -0.22169
2020-09-02 03:15:00 | 2.704 | 25.33 | 2.664 | 11.05 | 3.034 | 10.4091 | 2.523 | 4.882 | 24.45 | 967.726 | 69.3595 | -0.25864
2020-09-02 03:30:00 | 0 | 66.57 | 0.158 | 4.708 | 1.386 | 4.4349 | 1.416 | 7.924 | 23.85 | 967.726 | 73.247 | -0.24016
2020-09-02 03:45:00 | 2.022 | 328 | 1.514 | 299.2 | 0.443 | 281.846 | 0.236 | 7.619 | 22.49 | 967.43 | 85.5243 | -0.25864
2020-09-02 04:00:00 | 4.813 | 274.3 | 5.11 | 288.7 | 5.076 | 271.955 | 5.551 | 275.9 | 21.57 | 967.459 | 93.1969 | 6.5842
2020-09-02 04:15:00 | 4.249 | 293.8 | 4.747 | 308.7 | 4.758 | 290.795 | 4.627 | 293.9 | 20.88 | 967.699 | 96.8474 | 5.6494
2020-09-02 04:30:00 | 3.417 | 312.7 | 4.223 | 328.9 | 5.404 | 309.824 | 5.348 | 311.7 | 20.62 | 967.725 | 94.7468 | 7.1939
2020-09-02 04:45:00 | 3.276 | 341 | 3.786 | 3.473 | 5.17 | 3.2716 | 5.467 | 336.5 | 20.52 | 967.577 | 91.4734 | 8.6644
2020-09-02 05:00:00 | 4.594 | 359 | 4.663 | 15.15 | 6.083 | 14.2713 | 6.303 | 357.8 | 20.51 | 967.428 | 90.076 | 12.496
2020-09-02 05:15:00 | 5.214 | 5.782 | 5.144 | 14.2 | 6.422 | 13.3764 | 6.743 | 2.33 | 20.45 | 967.428 | 86.4379 | 17.0702
2020-09-02 05:30:00 | 4.966 | 9.61 | 6.325 | 29.37 | 6.218 | 27.6665 | 5.839 | 11.39 | 20.38 | 967.153 | 82.4146 | 23.1704
2020-09-02 05:45:00 | 5.023 | 8.72 | 6.279 | 26.91 | 6.317 | 25.3492 | 5.778 | 10.41 | 20.57 | 967.405 | 74.0235 | 25.2949
2020-09-02 06:00:00 | 5.38 | 7.515 | 6.373 | 24.28 | 6.231 | 22.8718 | 5.933 | 9.34 | 20.89 | 967.937 | 70.5441 | 23.4992
2020-09-02 06:15:00 | 5.252 | 6.122 | 6.468 | 24.03 | 6.243 | 22.6363 | 5.653 | 8.59 | 21.27 | 967.895 | 65.7663 | 33.0356
2020-09-02 06:30:00 | 5.416 | 7.532 | 7.074 | 25.82 | 7.286 | 24.3224 | 6.916 | 10.91 | 21.4 | 967.726 | 66.5115 | 38.153
2020-09-02 06:45:00 | 5.173 | 12.02 | 7.038 | 27.82 | 6.984 | 26.2064 | 6.226 | 14.45 | 21.84 | 967.874 | 60.8459 | 30.9259
2020-09-02 07:00:00 | 7.014 | 5.964 | 7.603 | 22.34 | 7.953 | 21.0443 | 6.939 | 6.337 | 22.34 | 968.319 | 58.8677 | 36.0174
2020-09-02 07:15:00 | 5.584 | 9.99 | 7.759 | 28.76 | 7.459 | 27.0919 | 6.881 | 12.42 | 22.19 | 968.319 | 57.6391 | 33.0873
2020-09-02 07:30:00 | 7.63 | 8.11 | 8.66 | 24.84 | 8.44 | 23.3993 | 7.729 | 11.09 | 22.49 | 968.289 | 55.9949 | 41.7998
2020-09-02 07:45:00 | 7.338 | 8.19 | 9.64 | 26.16 | 8.73 | 24.6427 | 8.15 | 13.23 | 22.47 | 968.398 | 55.3795 | 44.9367
2020-09-02 08:00:00 | 8.01 | 8.45 | 10.04 | 26 | 9.07 | 24.492 | 8.4 | 11.12 | 22.65 | 968.461 | 53.4701 | 46.147
2020-09-02 08:15:00 | 7.573 | 8.45 | 9.37 | 27.02 | 9.08 | 25.4528 | 8.29 | 10.67 | 22.49 | 968.411 | 55.4476 | 53.1856
2020-09-02 08:30:00 | 7.543 | 16.5 | 12.01 | 32.79 | 12.15 | 30.8882 | 11.57 | 20.27 | 22.71 | 968.338 | 50.9122 | 50.1427
2020-09-02 08:45:00 | 8.65 | 11.63 | 12.74 | 29.77 | 11.7 | 28.0433 | 10.84 | 15.39 | 23.22 | 968.321 | 48.9685 | 59.2764
2020-09-02 09:00:00 | 9.4 | 11.96 | 11.77 | 27.03 | 11.37 | 25.4623 | 10.74 | 12.53 | 23.11 | 969.062 | 51.0088 | 66.7607
2020-09-02 09:15:00 | 7.972 | 14.56 | 11.93 | 32.69 | 10.56 | 30.794 | 9.79 | 16.23 | 22.86 | 968.913 | 53.6653 | 67.5785
2020-09-02 09:30:00 | 8.66 | 12.75 | 12.39 | 30.38 | 11.4 | 28.618 | 10.71 | 16.94 | 22.75 | 969.062 | 53.4606 | 74.7161
2020-09-02 09:45:00 | 8.34 | 15.69 | 13.39 | 31.21 | 12.54 | 29.3998 | 11.73 | 18.36 | 23.01 | 969.21 | 49.983 | 60.3764
2020-09-02 10:00:00 | 8.55 | 9.77 | 11.49 | 29.11 | 10.03 | 27.4216 | 9.87 | 10.23 | 23.25 | 969.21 | 49.0948 | 64.8726
2020-09-02 10:15:00 | 9.18 | 11.57 | 11.23 | 29.29 | 10.31 | 27.5912 | 10.02 | 13.95 | 23.37 | 968.765 | 48.1358 | 65.8628
2020-09-02 10:30:00 | 10.48 | 7.422 | 11.95 | 25.68 | 10.5 | 24.1906 | 10.01 | 10.21 | 23.33 | 968.617 | 51.6131 | 55.6887
2020-09-02 10:45:00 | 8.27 | 10.22 | 9.8 | 25.46 | 9.01 | 23.9833 | 8.29 | 12.29 | 23.17 | 968.765 | 53.0152 | 46.9763
2020-09-02 11:00:00 | 6.843 | 14.52 | 10.04 | 33.68 | 9.01 | 31.7266 | 8.56 | 17.8 | 23.48 | 968.913 | 52.2671 | 46.3075
2020-09-02 11:15:00 | 8.74 | 10.42 | 11.49 | 27.7 | 10.81 | 26.0934 | 9.94 | 15.38 | 23.81 | 968.617 | 48.6165 | 49.7215
2020-09-02 11:30:00 | 7.946 | 14 | 11.82 | 31.16 | 11.16 | 29.3527 | 10.42 | 17.83 | 23.84 | 968.617 | 50.4184 | 42.6792
2020-09-02 11:45:00 | 7.213 | 15.06 | 10.35 | 30.38 | 9.57 | 28.618 | 8.7 | 17.63 | 24.3 | 968.765 | 48.986 | 40.5251
2020-09-02 12:00:00 | 7.157 | 8.07 | 8.79 | 26.51 | 8.37 | 24.9724 | 8.56 | 4.626 | 25 | 968.913 | 46.4974 | 44.3477
2020-09-02 12:15:00 | 7.974 | 4.133 | 8.46 | 31.11 | 8.49 | 29.3056 | 8.75 | 354.9 | 25.26 | 969.206 | 43.8341 | 49.9565
2020-09-02 12:30:00 | 8.85 | 5.919 | 9.49 | 26.29 | 9.33 | 24.7652 | 9.76 | 1.841 | 25.42 | 968.905 | 40.5616 | 52.0938
2020-09-02 12:45:00 | 8.52 | 7.724 | 9.12 | 28.06 | 8.83 | 26.4325 | 9.21 | 358.9 | 25.44 | 968.913 | 42.1333 | 54.9424
2020-09-02 13:00:00 | 7.083 | 8.59 | 9.08 | 31.39 | 8.16 | 29.5694 | 8.42 | 1.106 | 25.28 | 969.062 | 43.4293 | 53.8254
2020-09-02 13:15:00 | 8.33 | 9.94 | 10.24 | 27.53 | 9.4 | 25.9333 | 8.92 | 10.43 | 25.43 | 969.062 | 44.9631 | 55.3917
2020-09-02 13:30:00 | 6.008 | 0.18 | 7.616 | 27.97 | 7.764 | 26.3477 | 8.03 | 353.6 | 25.44 | 969.209 | 43.9717 | 58.0497
2020-09-02 13:45:00 | 6.251 | 1.763 | 7.488 | 28.94 | 7.678 | 27.2615 | 7.973 | 346.6 | 25.61 | 969.172 | 42.673 | 50.3349
2020-09-02 14:00:00 | 6.207 | 10.31 | 7.831 | 28.6 | 6.874 | 26.9412 | 6.97 | 1.4 | 25.72 | 969.683 | 45.467 | 34.5394
2020-09-02 14:15:00 | 4.266 | 9.64 | 5.22 | 24.72 | 5.374 | 23.2862 | 5.475 | 359.1 | 25.85 | 969.876 | 48.773 | 41.9978
2020-09-02 14:30:00 | 3.836 | 19.6 | 4.834 | 20.8 | 5.803 | 19.5936 | 5.706 | 15.73 | 25.93 | 970.101 | 45.91 | 42.7079
2020-09-02 14:45:00 | 7.374 | 359.1 | 7.659 | 23.83 | 8.59 | 22.4479 | 8.92 | 352.1 | 25.35 | 969.953 | 39.1599 | 41.3327
2020-09-02 15:00:00 | 3.916 | 9.6 | 6.427 | 30.1 | 6.327 | 28.3542 | 5.959 | 4.87 | 25.6 | 969.953 | 45.6325 | 27.1941
2020-09-02 15:15:00 | 4.417 | 359.7 | 4.88 | 20.44 | 5.653 | 19.2545 | 5.623 | 351.1 | 25.63 | 970.249 | 47.3394 | 23.902
2020-09-02 15:30:00 | 4.188 | 13.84 | 3.735 | 2.547 | 4.794 | 2.3993 | 4.661 | 8.12 | 25.56 | 970.101 | 50.3401 | 21.7737
2020-09-02 15:45:00 | 3.064 | 13.1 | 3.008 | 23.16 | 3.593 | 21.8167 | 3.566 | 355.4 | 25.57 | 970.101 | 49.147 | 25.6285
2020-09-02 16:00:00 | 2.87 | 358 | 4.54 | 26.05 | 4.351 | 24.5391 | 4.561 | 344.1 | 25.36 | 970.525 | 51.9058 | 19.361
2020-09-02 16:15:00 | 3.194 | 19.33 | 3.022 | 14.59 | 4.079 | 13.7438 | 3.667 | 10.56 | 25.35 | 970.424 | 51.4927 | 20.3992
2020-09-02 16:30:00 | 3.562 | 345.4 | 3.262 | 356 | 3.491 | 335.352 | 3.618 | 338.8 | 24.99 | 970.205 | 53.4698 | 22.2171
2020-09-02 16:45:00 | 4.573 | 342.1 | 5.415 | 4.724 | 6.025 | 4.45 | 6.089 | 338.1 | 24.96 | 970.249 | 53.8478 | 24.5449
2020-09-02 17:00:00 | 4.101 | 333.4 | 3.975 | 351.2 | 4.692 | 330.83 | 4.749 | 333.5 | 24.72 | 969.952 | 49.8288 | 22.7159
2020-09-02 17:15:00 | 3.871 | 345.7 | 4.09 | 4.945 | 4.913 | 4.6582 | 5.024 | 338 | 24.41 | 969.656 | 50.0995 | 21.4412
2020-09-02 17:30:00 | 3.835 | 348 | 4.331 | 8.1 | 4.972 | 7.6302 | 5.075 | 345.7 | 24.15 | 969.062 | 51.5678 | 15.1082
2020-09-02 17:45:00 | 4.65 | 352.4 | 4.862 | 12.23 | 5.47 | 11.5207 | 5.516 | 350.3 | 23.94 | 968.633 | 51.1929 | 14.1513
2020-09-02 18:00:00 | 4.387 | 347.5 | 5.018 | 8.29 | 5.946 | 7.8092 | 6.282 | 344.6 | 23.79 | 968.746 | 49.354 | 15.4592
2020-09-02 18:15:00 | 4.282 | 346.6 | 4.75 | 10.15 | 6.602 | 9.5613 | 6.87 | 343.8 | 23.59 | 968.172 | 49.1563 | 13.2756
2020-09-02 18:30:00 | 5.158 | 355.7 | 5.463 | 8.36 | 6.378 | 7.8751 | 6.445 | 356 | 23.28 | 967.726 | 49.0277 | 14.5946
2020-09-02 18:45:00 | 5.158 | 356.6 | 5.588 | 10.39 | 7.146 | 9.7874 | 7.232 | 357 | 23.21 | 967.726 | 47.8691 | 13.5231
2020-09-02 19:00:00 | 4.869 | 356 | 5.289 | 14.65 | 6.989 | 13.8003 | 7.421 | 0.542 | 22.92 | 967.43 | 49.1729 | 14.4838
2020-09-02 19:15:00 | 5.071 | 358.5 | 5.496 | 8.13 | 6.564 | 7.6585 | 7.016 | 2.754 | 22.57 | 967.472 | 49.5823 | 13.4271
2020-09-02 19:30:00 | 4.027 | 353.6 | 4.729 | 10.36 | 6.943 | 9.7591 | 7.138 | 354.9 | 22.5 | 967.988 | 48.3554 | 14.6833
2020-09-02 19:45:00 | 4.272 | 5.21 | 4.642 | 15.07 | 5.669 | 14.1959 | 5.933 | 4.741 | 22.32 | 968.318 | 49.2814 | 12.2558
2020-09-02 20:00:00 | 3.935 | 5.916 | 4.374 | 16.44 | 5.87 | 15.4865 | 6.18 | 3.354 | 22.29 | 968.319 | 48.7717 | 10.1424
2020-09-02 20:15:00 | 3.817 | 8.69 | 4.29 | 21.47 | 4.305 | 20.2247 | 4.245 | 7.252 | 22.26 | 968.615 | 48.4993 | 9.577
2020-09-02 20:30:00 | 4.017 | 9.86 | 5.43 | 24.79 | 5.226 | 23.3522 | 5.164 | 7.272 | 22.34 | 968.319 | 47.442 | 10.2458
2020-09-02 20:45:00 | 4.009 | 9.3 | 5.532 | 26.77 | 5.361 | 25.2173 | 4.988 | 8.89 | 22.33 | 968.467 | 47.9877 | 9.3516
2020-09-02 21:00:00 | 3.726 | 6.674 | 4.931 | 23.83 | 4.944 | 22.4479 | 4.846 | 6.696 | 22.21 | 968.319 | 48.0559 | 8.5277
2020-09-02 21:15:00 | 3.748 | 8.34 | 4.182 | 17.48 | 4.901 | 16.4662 | 5.317 | 0.3 | 22.28 | 968.467 | 47.5443 | 6.4918
2020-09-02 21:30:00 | 3.327 | 0.261 | 3.937 | 18 | 5.109 | 16.956 | 5.327 | 359.5 | 22.27 | 968.319 | 48.9768 | 5.1986
2020-09-02 21:45:00 | 3.343 | 7.594 | 3.622 | 20.38 | 4.45 | 19.198 | 4.691 | 9 | 22.19 | 968.319 | 48.5675 | 3.7392
2020-09-02 22:00:00 | 2.725 | 7.35 | 3.5 | 27.94 | 3.703 | 26.3195 | 3.636 | 8.7 | 22.22 | 968.319 | 46.8622 | 1.2008
2020-09-02 22:15:00 | 2.163 | 15.24 | 3.3 | 34.7 | 3.896 | 32.6874 | 3.708 | 15.94 | 22.21 | 968.17 | 44.9522 | 0.61704
2020-09-02 22:30:00 | 2.988 | 7.348 | 3.308 | 20.85 | 3.37 | 19.6407 | 3.247 | 5.999 | 22.45 | 968.022 | 42.9059 | 0.18474
2020-09-02 22:45:00 | 2.584 | 7.876 | 2.577 | 15.91 | 2.538 | 14.9872 | 2.508 | 2.703 | 22.5 | 968.022 | 40.9277 | 0.025864
2020-09-02 23:00:00 | 3.473 | 8.47 | 2.771 | 14.07 | 2.673 | 13.2539 | 2.569 | 5.353 | 22.73 | 968.319 | 40.5866 | 0.2882
2020-09-02 23:15:00 | 3.537 | 352.9 | 4.031 | 4.642 | 4.593 | 4.3728 | 4.775 | 356.3 | 22.79 | 968.17 | 40.9618 | 0.13671
2020-09-02 23:30:00 | 3.381 | 1.213 | 3.778 | 6.372 | 3.667 | 6.0024 | 4.166 | 16.32 | 22.68 | 968.022 | 38.4038 | 0.025864
2020-09-02 23:45:00 | 3.34 | 352.1 | 3.806 | 3.488 | 3.871 | 3.2857 | 3.662 | 354.4 | 22.91 | 967.725 | 37.8581 | -0.10346