## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-03 00:00:00 | 3.276 | 347.4 | 3.566 | 4.35 | 3.347 | 4.0977 | 3.219 | 341.8 | 22.89 | 967.874 | 37.8581 | -0.12193
2020-09-03 00:15:00 | 1.997 | 314.4 | 1.934 | 321.3 | 0.957 | 302.665 | 0.809 | 325.5 | 22.57 | 967.725 | 45.9072 | -0.17735
2020-09-03 00:30:00 | 1.897 | 288.5 | 1.573 | 285.6 | 2.922 | 269.035 | 2.938 | 305.2 | 21.19 | 967.132 | 51.7735 | -0.22169
2020-09-03 00:45:00 | 2.469 | 267.7 | 2.139 | 268.9 | 2.96 | 253.304 | 3.18 | 286.2 | 21.19 | 966.983 | 51.2963 | -0.12932
2020-09-03 01:00:00 | 2.998 | 261.5 | 3.111 | 266.6 | 2.462 | 251.137 | 2.564 | 271.1 | 21.08 | 966.835 | 50.6869 | 1.1861
2020-09-03 01:15:00 | 2.594 | 265 | 3.63 | 274.4 | 3.082 | 258.485 | 2.989 | 273.2 | 20.81 | 966.865 | 51.5092 | 3.2699
2020-09-03 01:30:00 | 2.257 | 265.3 | 3.656 | 272.4 | 3.143 | 256.601 | 3.201 | 268.6 | 20.65 | 966.691 | 49.7356 | 6.9463
2020-09-03 01:45:00 | 4.292 | 260.3 | 4.847 | 272.5 | 5.776 | 256.695 | 6.063 | 265.8 | 20.49 | 966.874 | 53.7609 | 15.1932
2020-09-03 02:00:00 | 4.675 | 261.5 | 5.312 | 271.5 | 5.389 | 255.753 | 5.353 | 264.5 | 20.43 | 966.803 | 52.8057 | 14.8385
2020-09-03 02:15:00 | 3.674 | 262 | 4.709 | 273.4 | 4.506 | 257.543 | 4.372 | 265.8 | 20.65 | 966.812 | 54.0338 | 14.0848
2020-09-03 02:30:00 | 3.833 | 258 | 4.811 | 269.2 | 5.526 | 253.586 | 5.483 | 263 | 20.76 | 966.772 | 50.759 | 13.6155
2020-09-03 02:45:00 | 4.336 | 257.6 | 5.261 | 266.9 | 6.195 | 251.42 | 6.236 | 260.7 | 21.22 | 966.82 | 48.9169 | 16.1354
2020-09-03 03:00:00 | 4.977 | 255.2 | 5.852 | 264.6 | 6.546 | 249.253 | 6.494 | 258 | 21.4 | 966.752 | 45.2669 | 18.0124
2020-09-03 03:15:00 | 4.034 | 267.9 | 4.729 | 276.6 | 5.521 | 260.557 | 5.656 | 268.8 | 21.09 | 966.789 | 48.9852 | 21.2047
2020-09-03 03:30:00 | 5.383 | 271.9 | 6.192 | 282.7 | 7.543 | 266.303 | 7.729 | 274.7 | 20.88 | 966.883 | 49.1216 | 26.88
2020-09-03 03:45:00 | 5.117 | 267 | 5.923 | 280.6 | 7.047 | 264.325 | 7.143 | 270.2 | 20.56 | 966.827 | 52.1234 | 25.439
2020-09-03 04:00:00 | 5.02 | 274.2 | 5.719 | 282.5 | 6.437 | 266.115 | 6.504 | 278.9 | 20.09 | 966.395 | 53.8973 | 17.436
2020-09-03 04:15:00 | 4.264 | 280.5 | 4.908 | 293.7 | 5.094 | 276.665 | 5.134 | 281.3 | 19.46 | 966.22 | 57.0698 | 10.4121
2020-09-03 04:30:00 | 2.919 | 291.5 | 3.497 | 302.9 | 3.937 | 285.332 | 4.051 | 294.6 | 18.97 | 966.239 | 59.6282 | 11.3653
2020-09-03 04:45:00 | 2.679 | 291.3 | 3.362 | 304.4 | 3.855 | 286.745 | 3.914 | 293.2 | 18.48 | 966.239 | 63.517 | 10.1756
2020-09-03 05:00:00 | 2.773 | 296.9 | 3.231 | 305.5 | 3.28 | 287.781 | 3.364 | 299.1 | 18.05 | 965.943 | 65.5312 | 7.3675
2020-09-03 05:15:00 | 3.141 | 325.7 | 3.098 | 339 | 2.266 | 319.338 | 2.367 | 325.3 | 17.99 | 965.943 | 67.4771 | 5.5386
2020-09-03 05:30:00 | 2.763 | 320.1 | 2.684 | 326.8 | 1.747 | 307.846 | 1.838 | 316.9 | 17.89 | 966.239 | 66.9366 | 5.1469
2020-09-03 05:45:00 | 3.639 | 330.4 | 3.722 | 341.7 | 3.113 | 321.881 | 3.025 | 330.7 | 17.81 | 966.239 | 69.1252 | 11.624
2020-09-03 06:00:00 | 4.3 | 350.4 | 4.832 | 9.11 | 5.961 | 8.5816 | 6.104 | 349.3 | 17.29 | 966.239 | 70.4897 | 8.7161
2020-09-03 06:15:00 | 4.476 | 9.16 | 4.315 | 22.89 | 5.074 | 21.5624 | 5.567 | 0.163 | 17.26 | 966.239 | 71.6503 | 9.311
2020-09-03 06:30:00 | 3.217 | 358.2 | 4.443 | 27.88 | 5.076 | 26.263 | 5.393 | 353.5 | 17.25 | 966.388 | 70.0341 | 8.0806
2020-09-03 06:45:00 | 3.756 | 358.9 | 4.392 | 20.76 | 6.124 | 19.5559 | 6.59 | 355.4 | 17.59 | 966.536 | 69.4526 | 8.3836
2020-09-03 07:00:00 | 4.024 | 6.618 | 4.934 | 26.97 | 5.168 | 25.4057 | 5.093 | 3.627 | 17.72 | 966.833 | 66.246 | 7.6594
2020-09-03 07:15:00 | 4.323 | 4.164 | 4.397 | 28.32 | 4.753 | 26.6774 | 5.106 | 0.65 | 18.52 | 966.735 | 60.174 | 5.9893
2020-09-03 07:30:00 | 4.185 | 8.16 | 4.959 | 34.21 | 4.967 | 32.2258 | 5.348 | 0.118 | 18.93 | 967.132 | 57.1628 | 5.1728
2020-09-03 07:45:00 | 4.004 | 12.82 | 5.087 | 33.15 | 4.896 | 31.2273 | 5.047 | 9.98 | 19.37 | 967.132 | 53.171 | 2.0987
2020-09-03 08:00:00 | 2.317 | 9.19 | 3.28 | 36.36 | 3.069 | 34.2511 | 3.16 | 354.8 | 20.07 | 967.548 | 53.4019 | 1.5777
2020-09-03 08:15:00 | 2.45 | 12.85 | 3.321 | 30.24 | 2.935 | 28.4861 | 2.931 | 6.624 | 20.26 | 967.728 | 48.5894 | 0.029559
2020-09-03 08:30:00 | 1.861 | 22.66 | 2.703 | 37.71 | 2.187 | 35.5228 | 2.092 | 12.6 | 20.96 | 968.172 | 51.8923 | 1.0309
2020-09-03 08:45:00 | 1.243 | 26.35 | 2.098 | 35.21 | 2.234 | 33.1678 | 2.249 | 13.39 | 21.45 | 968.617 | 52.0199 | 0.40274
2020-09-03 09:00:00 | 2.536 | 14.57 | 2.981 | 0.213 | 3.209 | 0.20065 | 3.033 | 12.68 | 21.81 | 968.518 | 53.988 | 1.223
2020-09-03 09:15:00 | 3.677 | 302.3 | 4.256 | 317 | 4.578 | 298.614 | 4.614 | 303 | 20.89 | 968.321 | 52.6926 | 1.7144
2020-09-03 09:30:00 | 4.568 | 303.4 | 4.962 | 315.6 | 4.898 | 297.295 | 4.889 | 305 | 20.56 | 968.321 | 51.6019 | 6.0152
2020-09-03 09:45:00 | 3.981 | 297.9 | 4.446 | 311.2 | 4.158 | 293.15 | 4.082 | 300.2 | 20.67 | 968.47 | 55.6237 | 8.0326
2020-09-03 10:00:00 | 4.956 | 291.4 | 5.432 | 304.3 | 5.145 | 286.651 | 5.062 | 293.4 | 20.56 | 968.936 | 55.1466 | 5.9709
2020-09-03 10:15:00 | 3.475 | 310.5 | 3.553 | 319 | 3.517 | 300.498 | 3.524 | 309.2 | 20.94 | 968.528 | 58.6231 | 4.6925
2020-09-03 10:30:00 | 3.692 | 297.6 | 4.057 | 308.8 | 4.148 | 290.89 | 4.054 | 299.7 | 21.72 | 968.508 | 51.0225 | 4.5853
2020-09-03 10:45:00 | 3.48 | 304.3 | 3.676 | 313.4 | 3.489 | 295.223 | 3.463 | 305 | 22.11 | 968.321 | 50.9543 | 3.5951
2020-09-03 11:00:00 | 4.703 | 301.3 | 5.346 | 316.4 | 5.061 | 298.049 | 4.999 | 301 | 22.29 | 968.766 | 42.604 | 5.4868
2020-09-03 11:15:00 | 4.032 | 306.3 | 4.328 | 320.5 | 4.135 | 301.911 | 3.986 | 313.4 | 22.68 | 968.47 | 46.4554 | 14.0552
2020-09-03 11:30:00 | 7.479 | 295.1 | 8.8 | 308.2 | 8.48 | 290.324 | 8.47 | 296.6 | 22.84 | 968.47 | 38.0027 | 32.9372
2020-09-03 11:45:00 | 6.904 | 305.7 | 7.521 | 318.2 | 7.009 | 299.744 | 6.975 | 308.1 | 23.12 | 968.321 | 40.5249 | 43.1743
2020-09-03 12:00:00 | 6.795 | 302.8 | 8.26 | 315.5 | 8.48 | 297.201 | 8.57 | 303.9 | 23.1 | 968.651 | 38.923 | 36.4296
2020-09-03 12:15:00 | 6.912 | 301 | 8.03 | 313.8 | 7.996 | 295.6 | 8.05 | 304.4 | 23.17 | 968.384 | 38.037 | 31.0958
2020-09-03 12:30:00 | 6.807 | 295.3 | 7.785 | 306.6 | 7.546 | 288.817 | 7.627 | 296.6 | 23.01 | 968.32 | 38.9635 | 32.0195
2020-09-03 12:45:00 | 6.884 | 291.1 | 7.375 | 302.7 | 6.879 | 285.143 | 6.802 | 295.1 | 23.15 | 968.172 | 41.0431 | 34.9878
2020-09-03 13:00:00 | 6.682 | 299.8 | 7.764 | 314.2 | 7.497 | 295.976 | 7.512 | 300.2 | 23.29 | 968.468 | 36.2742 | 44.2199
2020-09-03 13:15:00 | 7.619 | 281.6 | 8.44 | 295.4 | 8.36 | 278.267 | 8.34 | 282.9 | 23.14 | 968.616 | 39.0383 | 44.8259
2020-09-03 13:30:00 | 6.195 | 308.1 | 6.938 | 317 | 6.129 | 298.614 | 6.101 | 311.5 | 23.71 | 968.023 | 40.3329 | 39.9368
2020-09-03 13:45:00 | 7.395 | 305 | 7.751 | 315.7 | 7.418 | 297.389 | 7.408 | 307.3 | 23.61 | 968.32 | 38.7629 | 39.0397
2020-09-03 14:00:00 | 7.489 | 297.3 | 8.42 | 309.2 | 8.1 | 291.266 | 8.09 | 299.8 | 23.56 | 968.913 | 38.25 | 37.3327
2020-09-03 14:15:00 | 7.864 | 299.5 | 8.61 | 312.8 | 8.09 | 294.658 | 8.11 | 301.2 | 23.8 | 969.062 | 37.3621 | 37.8622
2020-09-03 14:30:00 | 7.535 | 296 | 8.63 | 308.2 | 8.43 | 290.324 | 8.4 | 298.3 | 23.81 | 969.358 | 37.0888 | 41.1265
2020-09-03 14:45:00 | 6.749 | 280.4 | 7.434 | 295.9 | 7.317 | 278.738 | 7.26 | 281 | 23.94 | 969.357 | 36.8161 | 35.6848
2020-09-03 15:00:00 | 6.44 | 297.7 | 8.05 | 313.2 | 8.34 | 295.034 | 8.45 | 297.1 | 23.99 | 969.358 | 36.2684 | 29.2114
2020-09-03 15:15:00 | 7.487 | 302.5 | 8.46 | 316.1 | 8.09 | 297.766 | 8.14 | 302.4 | 24.01 | 969.286 | 37.7642 | 25.173
2020-09-03 15:30:00 | 5.755 | 294 | 6.545 | 306.5 | 6.439 | 288.723 | 6.389 | 295.3 | 24.19 | 969.593 | 39.332 | 18.792
2020-09-03 15:45:00 | 6.092 | 293.7 | 6.877 | 306.4 | 6.673 | 288.629 | 6.713 | 294.8 | 24.12 | 968.955 | 39.1956 | 16.7487
2020-09-03 16:00:00 | 2.746 | 336.9 | 2.954 | 349.5 | 3.245 | 329.229 | 3.415 | 331.1 | 24.39 | 968.919 | 40.0818 | 19.3425
2020-09-03 16:15:00 | 3.445 | 314.5 | 4.261 | 329.6 | 4.066 | 310.483 | 4.188 | 311.7 | 24.59 | 969.359 | 39.8091 | 17.0924
2020-09-03 16:30:00 | 3.148 | 323.1 | 3.684 | 335.1 | 3.83 | 315.664 | 3.835 | 317.5 | 24.39 | 969.063 | 39.2638 | 18.4114
2020-09-03 16:45:00 | 2.663 | 333.6 | 3.369 | 342.6 | 3.316 | 322.729 | 3.3 | 328.4 | 24.01 | 969.063 | 39.741 | 15.2006
2020-09-03 17:00:00 | 3.289 | 328.9 | 3.681 | 347.3 | 3.682 | 327.157 | 3.539 | 325.1 | 23.62 | 968.915 | 40.4908 | 12.2817
2020-09-03 17:15:00 | 2.726 | 319.6 | 2.837 | 332 | 2.679 | 312.744 | 2.599 | 311.2 | 23.58 | 968.915 | 40.7635 | 9.7766
2020-09-03 17:30:00 | 2.49 | 319.5 | 2.975 | 334 | 3.212 | 314.628 | 3.399 | 320.7 | 23.37 | 968.618 | 40.968 | 7.2086
2020-09-03 17:45:00 | 2.344 | 327.5 | 2.523 | 338.6 | 2.152 | 318.961 | 2.096 | 323.7 | 23.18 | 968.264 | 40.8316 | 3.3143
2020-09-03 18:00:00 | 3.136 | 341.2 | 3.339 | 358.6 | 2.871 | 337.801 | 2.898 | 335.5 | 23.06 | 968.017 | 41.4853 | 2.8709
2020-09-03 18:15:00 | 3.69 | 339 | 3.993 | 356.2 | 3.792 | 335.54 | 3.814 | 341 | 22.87 | 967.43 | 40.9756 | 1.4964
2020-09-03 18:30:00 | 3.146 | 351.4 | 3.773 | 8.81 | 4.397 | 8.299 | 4.477 | 353.3 | 22.52 | 967.133 | 43.3003 | -0.096066
2020-09-03 18:45:00 | 2.975 | 333.5 | 2.625 | 347.7 | 1.695 | 327.533 | 1.517 | 332.2 | 22.94 | 967.43 | 41.3969 | -0.1441
2020-09-03 19:00:00 | 3.041 | 334.5 | 3.065 | 349.7 | 1.641 | 329.417 | 1.451 | 339.1 | 22.88 | 967.756 | 41.1935 | -0.070202
2020-09-03 19:15:00 | 3.307 | 350.8 | 3.587 | 6.218 | 3.705 | 5.8574 | 3.664 | 348.7 | 22.88 | 967.958 | 39.2846 | -0.17366
2020-09-03 19:30:00 | 1.812 | 325.9 | 1.69 | 343.5 | 1.676 | 323.577 | 1.477 | 322.8 | 22.91 | 968.166 | 40.277 | -0.26972
2020-09-03 19:45:00 | 0.959 | 330.2 | 1.16 | 347.7 | 1.61 | 327.533 | 1.594 | 331.1 | 22.83 | 968.319 | 40.3131 | -0.29928
2020-09-03 20:00:00 | 0 | 330.2 | 0.725 | 347.7 | 0.864 | 327.533 | 0.766 | 331.1 | 22.6 | 968.17 | 39.3247 | -0.28081
2020-09-03 20:15:00 | 2.771 | 203.9 | 2.845 | 206.5 | 2.123 | 194.523 | 2.042 | 218.1 | 22.42 | 968.319 | 41.4052 | -0.26233
2020-09-03 20:30:00 | 2.842 | 199.4 | 3.116 | 210 | 2.777 | 197.82 | 2.763 | 208.8 | 22.64 | 968.319 | 41.5416 | -0.26972
2020-09-03 20:45:00 | 3.194 | 176.7 | 3.318 | 184.2 | 3.013 | 173.516 | 3.002 | 191.4 | 22.08 | 968.467 | 45.191 | -0.23278
2020-09-03 21:00:00 | 3.289 | 174.4 | 3.893 | 186.4 | 4.158 | 175.589 | 4.171 | 185.3 | 22.01 | 968.319 | 45.5662 | 0.12193
2020-09-03 21:15:00 | 2.63 | 178.1 | 3.454 | 188.3 | 4.461 | 177.379 | 4.398 | 189.1 | 21.76 | 968.319 | 45.839 | 2.3019
2020-09-03 21:30:00 | 2.985 | 169 | 4.106 | 179.4 | 5.269 | 168.995 | 5.342 | 178.3 | 21.52 | 968.319 | 47.5443 | 5.9856
2020-09-03 21:45:00 | 3.337 | 185.3 | 4.302 | 193.4 | 4.89 | 182.183 | 4.968 | 194.7 | 21.6 | 968.319 | 46.1119 | 5.4905
2020-09-03 22:00:00 | 3.57 | 189.2 | 4.663 | 193 | 4.311 | 181.806 | 4.52 | 199.3 | 21.76 | 968.319 | 46.2498 | 5.4905
2020-09-03 22:15:00 | 3.217 | 194.6 | 3.883 | 204.4 | 4.7 | 192.545 | 4.825 | 201.5 | 21.86 | 968.334 | 45.0887 | 4.7035
2020-09-03 22:30:00 | 3.57 | 195.3 | 4.226 | 202.7 | 4.743 | 190.943 | 4.882 | 205.5 | 22.08 | 968.319 | 43.5198 | 4.0939
2020-09-03 22:45:00 | 3.348 | 192.3 | 3.86 | 201.8 | 4.397 | 190.096 | 4.472 | 200.4 | 22.47 | 968.319 | 42.633 | 3.8131
2020-09-03 23:00:00 | 3.33 | 190 | 3.939 | 198.3 | 4.237 | 186.799 | 4.413 | 201.9 | 22.46 | 968.467 | 42.0191 | 3.3475
2020-09-03 23:15:00 | 3.636 | 185.8 | 4.415 | 189.6 | 4.234 | 178.603 | 4.268 | 197.9 | 22.39 | 968.319 | 42.1555 | 2.4903
2020-09-03 23:30:00 | 3.194 | 189 | 4.059 | 192.5 | 3.97 | 181.335 | 3.955 | 200.7 | 22.27 | 968.319 | 40.9277 | 2.7231
2020-09-03 23:45:00 | 3.636 | 192.5 | 4.016 | 199.4 | 4.191 | 187.835 | 4.316 | 203.5 | 22.61 | 968.319 | 39.0178 | 2.6123