## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-04 00:00:00 | 3.524 | 185.8 | 3.96 | 195.7 | 4.059 | 184.349 | 4.028 | 195.8 | 22.6 | 968.319 | 38.8131 | 3.6542
2020-09-04 00:15:00 | 3.848 | 188.3 | 4.55 | 192.8 | 4.321 | 181.618 | 4.321 | 196.5 | 22.65 | 968.319 | 38.3356 | 3.6062
2020-09-04 00:30:00 | 3.738 | 185.2 | 4.287 | 191.8 | 4.428 | 180.676 | 4.421 | 193.8 | 22.47 | 968.022 | 39.6317 | 3.7761
2020-09-04 00:45:00 | 3.47 | 182.9 | 4.108 | 189.7 | 3.949 | 178.697 | 4.018 | 192.6 | 22.49 | 968.022 | 36.7667 | 2.712
2020-09-04 01:00:00 | 3.044 | 180.5 | 3.254 | 185.4 | 3.499 | 174.647 | 3.522 | 192.6 | 22.52 | 968.022 | 36.6985 | 0.58009
2020-09-04 01:15:00 | 2.554 | 184.1 | 2.743 | 188.4 | 2.858 | 177.473 | 2.877 | 195 | 22.75 | 967.874 | 37.7899 | 0.7907
2020-09-04 01:30:00 | 3.034 | 183.4 | 3.535 | 186.5 | 3.301 | 175.683 | 3.387 | 195.1 | 22.69 | 967.874 | 37.6535 | 0.81656
2020-09-04 01:45:00 | 2.648 | 184.5 | 3.525 | 185.7 | 3.509 | 174.929 | 3.562 | 196.3 | 22.51 | 968.022 | 37.6535 | 2.8155
2020-09-04 02:00:00 | 3.337 | 171.2 | 3.676 | 181.7 | 3.72 | 171.161 | 3.654 | 182.2 | 22.75 | 968.171 | 39.9727 | 5.6716
2020-09-04 02:15:00 | 3.031 | 160.4 | 4.049 | 172.3 | 4.425 | 162.307 | 4.393 | 167.7 | 21.64 | 967.429 | 43.3492 | 5.7307
2020-09-04 02:30:00 | 3.307 | 165.8 | 3.967 | 170.3 | 3.899 | 160.423 | 3.804 | 175.1 | 22.27 | 967.429 | 41.2687 | 12.0193
2020-09-04 02:45:00 | 5.168 | 155.9 | 6.184 | 171 | 6.31 | 161.082 | 6.254 | 164.3 | 21.13 | 967.429 | 43.7926 | 20.7798
2020-09-04 03:00:00 | 5.015 | 151.3 | 5.542 | 166.4 | 6.218 | 156.749 | 6.285 | 158.7 | 21.14 | 967.132 | 44.0659 | 22.5866
2020-09-04 03:15:00 | 7.093 | 155.6 | 7.654 | 167.3 | 7.703 | 157.597 | 7.67 | 164.4 | 21.52 | 967.14 | 43.1828 | 24.4192
2020-09-04 03:30:00 | 6.35 | 151.6 | 6.984 | 163.7 | 7.228 | 154.205 | 7.105 | 161.4 | 21.49 | 966.835 | 43.5925 | 22.4462
2020-09-04 03:45:00 | 7.132 | 152.4 | 7.445 | 162.8 | 7.525 | 153.358 | 7.446 | 161.9 | 21.63 | 966.835 | 41.8867 | 24.3934
2020-09-04 04:00:00 | 6.733 | 153.1 | 7.094 | 162.6 | 7.131 | 153.169 | 6.988 | 160.5 | 21.5 | 966.836 | 40.5213 | 26.6361
2020-09-04 04:15:00 | 6.938 | 149.2 | 7.828 | 162.6 | 8.13 | 153.169 | 8.04 | 158.6 | 21.4 | 966.984 | 41.9513 | 26.3886
2020-09-04 04:30:00 | 6.103 | 152.9 | 7.263 | 160.9 | 7.876 | 151.568 | 7.785 | 162.4 | 21.42 | 966.984 | 38.541 | 24.5153
2020-09-04 04:45:00 | 7.497 | 157.5 | 7.969 | 166.7 | 8.14 | 157.031 | 8.13 | 168.3 | 21.81 | 967.132 | 38.3357 | 25.9785
2020-09-04 05:00:00 | 7.198 | 157.1 | 7.47 | 167.6 | 7.429 | 157.879 | 7.405 | 167.7 | 22.4 | 967.429 | 37.9946 | 23.0115
2020-09-04 05:15:00 | 6.889 | 151.1 | 7.179 | 163.7 | 7.469 | 154.205 | 7.471 | 161.1 | 21.83 | 967.429 | 38.5403 | 29.4036
2020-09-04 05:30:00 | 6.644 | 148.9 | 7.414 | 162.2 | 7.904 | 152.792 | 7.912 | 158.5 | 21.64 | 967.429 | 41.2006 | 26.6214
2020-09-04 05:45:00 | 5.794 | 144.6 | 7.064 | 159.5 | 8.03 | 150.249 | 7.968 | 154.8 | 21.47 | 967.132 | 41.0641 | 29.4516
2020-09-04 06:00:00 | 5.962 | 148.5 | 7.181 | 160.4 | 7.94 | 151.097 | 7.719 | 157.9 | 21.63 | 967.577 | 39.086 | 24.5633
2020-09-04 06:15:00 | 5.6 | 148.2 | 7.089 | 160.1 | 8.18 | 150.814 | 8.13 | 158.9 | 21.79 | 967.725 | 41.4734 | 29.6733
2020-09-04 06:30:00 | 5.102 | 147.1 | 5.42 | 168.5 | 6.35 | 158.727 | 6.593 | 145.8 | 21.33 | 967.725 | 41.4052 | 29.4775
2020-09-04 06:45:00 | 4.941 | 140.7 | 5.409 | 159.4 | 6.673 | 150.155 | 6.932 | 145.8 | 21.28 | 968.022 | 42.4284 | 31.0626
2020-09-04 07:00:00 | 5.224 | 141.4 | 5.824 | 160.1 | 6.834 | 150.814 | 6.952 | 146.7 | 21.42 | 968.022 | 43.7927 | 31.1549
2020-09-04 07:15:00 | 4.877 | 139.5 | 5.236 | 160.9 | 6.376 | 151.568 | 6.659 | 146.7 | 21.49 | 968.319 | 40.9256 | 34.3953
2020-09-04 07:30:00 | 6.021 | 138.5 | 6.757 | 156.7 | 7.159 | 147.611 | 7.161 | 146 | 22.15 | 968.05 | 37.6472 | 32.0676
2020-09-04 07:45:00 | 5.383 | 140.9 | 5.79 | 161.2 | 6.617 | 151.85 | 6.669 | 146.8 | 22.38 | 968.468 | 40.3691 | 29.6068
2020-09-04 08:00:00 | 6.087 | 140.8 | 6.662 | 151.5 | 6.531 | 142.713 | 6.557 | 148.2 | 22.68 | 968.617 | 36.0032 | 25.7568
2020-09-04 08:15:00 | 6.841 | 142.1 | 7.327 | 159.4 | 7.912 | 150.155 | 7.927 | 148.6 | 22.9 | 968.765 | 36.7479 | 30.0871
2020-09-04 08:30:00 | 6.332 | 139.5 | 6.58 | 158.4 | 7.06 | 149.213 | 7.054 | 144.8 | 22.88 | 969.062 | 38.2137 | 32.038
2020-09-04 08:45:00 | 7.323 | 142.6 | 7.9 | 162.1 | 8.36 | 152.698 | 8.43 | 147.5 | 22.88 | 968.906 | 39.475 | 32.3558
2020-09-04 09:00:00 | 7.956 | 142.9 | 8.35 | 159.9 | 8.8 | 150.626 | 8.86 | 147.6 | 22.81 | 968.894 | 38.7251 | 33.7155
2020-09-04 09:15:00 | 8.92 | 142.4 | 9 | 158.4 | 9.52 | 149.213 | 9.49 | 147.1 | 23.02 | 968.913 | 38.1115 | 31.2251
2020-09-04 09:30:00 | 7.198 | 136.1 | 7.414 | 152.7 | 7.958 | 143.843 | 7.953 | 142.5 | 23.06 | 969.358 | 39.066 | 26.1743
2020-09-04 09:45:00 | 7.706 | 134.1 | 7.992 | 150.7 | 8.75 | 141.959 | 8.77 | 139.4 | 23.2 | 969.328 | 43.563 | 21.0902
2020-09-04 10:00:00 | 7.51 | 129.5 | 7.416 | 152.7 | 7.121 | 143.843 | 7.184 | 134 | 23.54 | 969.455 | 39.8093 | 21.3266
2020-09-04 10:15:00 | 8.32 | 142.6 | 8.17 | 161.5 | 7.5 | 152.133 | 7.247 | 145.3 | 23.79 | 969.23 | 44.7512 | 22.1765
2020-09-04 10:30:00 | 7.589 | 134.8 | 7.685 | 149.8 | 7.729 | 141.112 | 7.67 | 142 | 23.81 | 969.142 | 42.3313 | 19.4201
2020-09-04 10:45:00 | 7.469 | 139 | 7.57 | 156.8 | 7.383 | 147.706 | 7.212 | 143.5 | 24.12 | 969.098 | 41.5133 | 21.3599
2020-09-04 11:00:00 | 6.69 | 137 | 6.695 | 155.1 | 6.511 | 146.104 | 6.425 | 141.6 | 24.51 | 969.087 | 44.1718 | 19.9596
2020-09-04 11:15:00 | 6.396 | 138.6 | 6.366 | 158.7 | 5.867 | 149.495 | 5.826 | 142 | 25.27 | 969.063 | 41.5474 | 19.9263
2020-09-04 11:30:00 | 6.435 | 131.1 | 6.711 | 148.4 | 6.625 | 139.793 | 6.585 | 135.8 | 25.22 | 968.915 | 38.0368 | 24.1975
2020-09-04 11:45:00 | 6.869 | 144.8 | 7.158 | 163 | 6.701 | 153.546 | 6.69 | 148.9 | 25.5 | 969.063 | 37.6957 | 20.3106
2020-09-04 12:00:00 | 7.512 | 144.1 | 7.534 | 161 | 7.258 | 151.662 | 7.168 | 149.5 | 25.93 | 968.618 | 35.6493 | 23.0226
2020-09-04 12:15:00 | 7.336 | 145.4 | 7.24 | 163.7 | 7.335 | 154.205 | 7.283 | 149.9 | 25.99 | 968.766 | 37.9002 | 24.7222
2020-09-04 12:30:00 | 7.254 | 139.7 | 7.051 | 156.5 | 6.839 | 147.423 | 6.715 | 144.6 | 25.88 | 968.618 | 38.8889 | 18.4705
2020-09-04 12:45:00 | 7.374 | 146.6 | 7.204 | 163.2 | 7.014 | 153.734 | 6.972 | 152.2 | 25.83 | 968.47 | 38.7185 | 19.494
2020-09-04 13:00:00 | 6.509 | 131.8 | 6.667 | 149.8 | 6.193 | 141.112 | 6.127 | 135.6 | 25.98 | 968.62 | 39.2638 | 13.7596
2020-09-04 13:15:00 | 5.298 | 139.1 | 5.537 | 155 | 5.086 | 146.01 | 4.96 | 143.7 | 26.41 | 968.339 | 39.741 | 11.9528
2020-09-04 13:30:00 | 5.978 | 139.2 | 6.187 | 156.6 | 5.811 | 147.517 | 5.735 | 144.4 | 26.5 | 968.322 | 38.2413 | 10.8148
2020-09-04 13:45:00 | 5.224 | 156.8 | 4.847 | 179 | 4.293 | 168.618 | 4.306 | 157.6 | 26.8 | 968.321 | 40.6612 | 8.1693
2020-09-04 14:00:00 | 6.309 | 184.2 | 6.074 | 198.8 | 5.544 | 187.27 | 5.546 | 184.6 | 26.87 | 968.618 | 39.6043 | 6.8429
2020-09-04 14:15:00 | 5.454 | 180.3 | 5.335 | 196.5 | 4.728 | 185.103 | 4.739 | 179.8 | 26.98 | 969.063 | 36.399 | 5.4684
2020-09-04 14:30:00 | 4.032 | 171.1 | 3.993 | 184.8 | 3.484 | 174.082 | 3.555 | 178.8 | 27.47 | 969.359 | 36.433 | 3.8426
2020-09-04 14:45:00 | 3.851 | 160.4 | 3.911 | 175.2 | 3.885 | 165.038 | 3.813 | 164 | 27.29 | 969.42 | 36.8048 | 3.1147
2020-09-04 15:00:00 | 5.25 | 156.1 | 5.064 | 169 | 5.015 | 159.198 | 4.973 | 163.8 | 27.3 | 969.522 | 37.2744 | 1.8733
2020-09-04 15:15:00 | 4.41 | 152.3 | 4.3 | 166.9 | 4.288 | 157.22 | 4.161 | 157.6 | 27.54 | 969.36 | 35.9114 | 0.87198
2020-09-04 15:30:00 | 5.132 | 133.5 | 5.126 | 146.1 | 4.634 | 137.626 | 4.482 | 143.6 | 27.5 | 969.36 | 36.661 | 0.11824
2020-09-04 15:45:00 | 3.212 | 178.7 | 2.945 | 196.6 | 2.678 | 185.197 | 2.653 | 173 | 27.85 | 968.768 | 36.8654 | 0.10346
2020-09-04 16:00:00 | 3.963 | 175.9 | 3.827 | 193.2 | 3.535 | 181.994 | 3.504 | 180.9 | 27.76 | 968.768 | 36.2181 | 0.036948
2020-09-04 16:15:00 | 4.476 | 197.7 | 3.924 | 206.1 | 3.56 | 194.146 | 3.623 | 204.6 | 27.9 | 968.323 | 34.276 | 0.56162
2020-09-04 16:30:00 | 3.171 | 274.2 | 3.436 | 292.9 | 2.771 | 275.912 | 2.627 | 276.1 | 27.66 | 968.916 | 43.2027 | 0.3621
2020-09-04 16:45:00 | 3.205 | 285.8 | 3.553 | 303.1 | 3.28 | 285.52 | 3.221 | 285.5 | 27.14 | 968.768 | 45.3152 | -0.13671
2020-09-04 17:00:00 | 2.778 | 296.7 | 3.106 | 311.3 | 2.866 | 293.245 | 2.76 | 295.1 | 26.95 | 968.768 | 42.862 | -0.20322
2020-09-04 17:15:00 | 2.026 | 290.5 | 2.405 | 305.6 | 2.095 | 287.875 | 1.953 | 288.9 | 26.88 | 968.323 | 44.0889 | -0.27711
2020-09-04 17:30:00 | 1.668 | 276.7 | 1.739 | 288.1 | 1.299 | 271.39 | 1.138 | 279.7 | 26.77 | 968.539 | 42.8302 | -0.25125
2020-09-04 17:45:00 | 1.483 | 293.8 | 1.551 | 303.5 | 0.859 | 285.897 | 0.436 | 293.8 | 26.59 | 968.245 | 42.4617 | -0.24016
2020-09-04 18:00:00 | 1.454 | 307.6 | 1.173 | 311.8 | 0.252 | 293.716 | 0.018 | 294.7 | 26.58 | 968.023 | 44.6476 | -0.24016
2020-09-04 18:15:00 | 0.993 | 307.5 | 1.181 | 312 | 0.637 | 293.904 | 0.003 | 294.7 | 26.38 | 967.431 | 41.1717 | -0.24016
2020-09-04 18:30:00 | 1.302 | 300.5 | 1.395 | 311.9 | 1.167 | 293.81 | 0.474 | 294.7 | 26.08 | 966.757 | 41.7859 | -0.25125
2020-09-04 18:45:00 | 1.039 | 300.4 | 0.518 | 311.9 | 0.087 | 293.81 | 0 | 294.7 | 25.83 | 967.128 | 43.3946 | -0.24016
2020-09-04 19:00:00 | 0 | 300.5 | 0.394 | 311.9 | 0 | 293.81 | 0 | 294.6 | 25.75 | 966.837 | 41.9981 | -0.24016
2020-09-04 19:15:00 | 1.059 | 266.2 | 1.398 | 298.9 | 1.467 | 281.564 | 1.41 | 258 | 25.85 | 966.837 | 41.8679 | -0.24016
2020-09-04 19:30:00 | 0.015 | 240.4 | 0.829 | 259.8 | 1.114 | 244.732 | 0.951 | 241.8 | 25.97 | 966.985 | 42.0729 | -0.24016
2020-09-04 19:45:00 | 0 | 240.4 | 0.267 | 259.8 | 0.718 | 244.732 | 0 | 241.8 | 25.8 | 966.985 | 43.9823 | -0.24016
2020-09-04 20:00:00 | 0.13 | 227.1 | 0.672 | 259.9 | 0.966 | 244.826 | 0 | 217.8 | 25.7 | 966.837 | 43.1665 | -0.24016
2020-09-04 20:15:00 | 0.391 | 208.2 | 1.59 | 224.2 | 2.09 | 211.196 | 2.098 | 213.7 | 25.79 | 966.985 | 43.8531 | -0.24016
2020-09-04 20:30:00 | 1.89 | 193.1 | 2.464 | 204.2 | 2.561 | 192.356 | 2.556 | 199.5 | 25.79 | 967.133 | 43.9898 | -0.24016
2020-09-04 20:45:00 | 2.183 | 181.5 | 2.771 | 192.6 | 2.787 | 181.429 | 2.775 | 190.5 | 25.82 | 967.578 | 43.7151 | -0.25125
2020-09-04 21:00:00 | 2.648 | 179.1 | 3.612 | 192.2 | 3.695 | 181.052 | 3.672 | 183.6 | 25.26 | 967.133 | 45.9628 | -0.27711
2020-09-04 21:15:00 | 2.982 | 170.3 | 3.96 | 181 | 4.4 | 170.502 | 4.4 | 177.5 | 25.18 | 967.281 | 45.5529 | 1.0678
2020-09-04 21:30:00 | 3.159 | 168.9 | 3.763 | 177 | 4.155 | 166.734 | 4.222 | 177.9 | 25.14 | 967.133 | 45.176 | 1.7107
2020-09-04 21:45:00 | 2.742 | 165.9 | 3.515 | 172.7 | 4.252 | 162.683 | 4.265 | 176.6 | 25.08 | 967.281 | 45.7589 | 1.84
2020-09-04 22:00:00 | 3.003 | 165.1 | 3.893 | 172.4 | 4.059 | 162.401 | 4.092 | 175.7 | 25.16 | 967.133 | 44.1554 | 2.6123
2020-09-04 22:15:00 | 3.404 | 170.9 | 4.059 | 176.2 | 4.257 | 165.98 | 4.237 | 185.4 | 25.41 | 966.985 | 41.257 | 3.7835
2020-09-04 22:30:00 | 3.34 | 159.2 | 4.394 | 170.1 | 4.837 | 160.234 | 4.864 | 170.6 | 25.29 | 967.281 | 43.6435 | 6.551
2020-09-04 22:45:00 | 4.497 | 160.1 | 5.223 | 171 | 5.592 | 161.082 | 5.635 | 172.3 | 25.39 | 967.133 | 43.4055 | 9.88
2020-09-04 23:00:00 | 3.281 | 166.7 | 4.857 | 171.8 | 5.183 | 161.836 | 5.304 | 179.2 | 25.11 | 966.985 | 45.5851 | 9.9539
2020-09-04 23:15:00 | 4.663 | 155.8 | 5.443 | 164.2 | 5.997 | 154.676 | 6.035 | 169.8 | 24.99 | 966.985 | 43.4369 | 15.5812
2020-09-04 23:30:00 | 5.196 | 150 | 5.921 | 160.9 | 6.35 | 151.568 | 6.333 | 163.3 | 25.03 | 966.837 | 44.665 | 21.4818
2020-09-04 23:45:00 | 6.271 | 149.1 | 7.14 | 161.7 | 7.599 | 152.321 | 7.586 | 158.9 | 25.07 | 966.985 | 44.7324 | 25.1878