## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-05 00:00:00 | 6.006 | 149.4 | 6.787 | 161.2 | 7.904 | 151.85 | 7.887 | 160.1 | 24.87 | 966.985 | 45.1415 | 30.8483
2020-09-05 00:15:00 | 5.791 | 146.4 | 6.516 | 164.8 | 7.683 | 155.242 | 7.838 | 152.9 | 25.03 | 966.54 | 45.4825 | 37.9682
2020-09-05 00:30:00 | 6.705 | 145.4 | 7.455 | 163.1 | 8.19 | 153.64 | 8.14 | 152.7 | 24.98 | 966.243 | 43.3004 | 41.9254
2020-09-05 00:45:00 | 6.843 | 146.6 | 7.314 | 164.6 | 8.3 | 155.053 | 8.37 | 152.5 | 25.08 | 966.243 | 44.5278 | 48.6131
2020-09-05 01:00:00 | 6.713 | 146.6 | 7.153 | 168.1 | 8.59 | 158.35 | 8.77 | 151.8 | 24.9 | 966.243 | 43.5731 | 53.0728
2020-09-05 01:15:00 | 7.014 | 150.3 | 7.204 | 173.1 | 8.86 | 163.06 | 8.99 | 150.8 | 24.92 | 966.243 | 44.8006 | 55.5003
2020-09-05 01:30:00 | 6.999 | 153.2 | 7.34 | 172 | 8.74 | 162.024 | 8.91 | 154.9 | 24.87 | 966.391 | 45.9939 | 56.2819
2020-09-05 01:45:00 | 7.382 | 151.6 | 7.698 | 170.7 | 8.78 | 160.799 | 8.96 | 157.7 | 24.83 | 965.65 | 45.5506 | 56.8378
2020-09-05 02:00:00 | 7.839 | 152.7 | 8.32 | 170.4 | 9.18 | 160.517 | 9.21 | 161.4 | 24.74 | 965.947 | 45.6188 | 56.2725
2020-09-05 02:15:00 | 8.27 | 151.2 | 8.47 | 168.7 | 9.54 | 158.915 | 9.63 | 157.9 | 24.38 | 965.798 | 48.7556 | 54.3105
2020-09-05 02:30:00 | 8.09 | 153 | 8.47 | 167.7 | 9.4 | 157.973 | 9.45 | 159.1 | 23.83 | 965.65 | 51.3475 | 62.6999
2020-09-05 02:45:00 | 8.21 | 151.4 | 8.5 | 167.5 | 9.36 | 157.785 | 9.46 | 155.3 | 23.92 | 965.798 | 51.2154 | 63.8285
2020-09-05 03:00:00 | 8.32 | 150.6 | 8.41 | 168.2 | 9.34 | 158.444 | 9.38 | 155.2 | 23.75 | 965.798 | 53.2651 | 66.4518
2020-09-05 03:15:00 | 8.82 | 150.3 | 9.12 | 169.5 | 9.63 | 159.669 | 9.62 | 151.8 | 23.61 | 965.353 | 53.8106 | 65.8163
2020-09-05 03:30:00 | 8.74 | 150.5 | 8.57 | 172.3 | 9.54 | 162.307 | 9.66 | 151.2 | 23.57 | 965.353 | 55.0042 | 72.3044
2020-09-05 03:45:00 | 7.142 | 153.1 | 6.91 | 180.9 | 8.04 | 170.408 | 8.43 | 151 | 23.41 | 965.353 | 55.7886 | 71.159
2020-09-05 04:00:00 | 8.5 | 147.3 | 8.69 | 168.2 | 9.28 | 158.444 | 9.25 | 151.6 | 23.32 | 965.211 | 56.4024 | 70.7046
2020-09-05 04:15:00 | 8.67 | 148 | 9.41 | 167.4 | 10.25 | 157.691 | 10.29 | 154.5 | 23.02 | 965.1 | 55.3794 | 68.6465
2020-09-05 04:30:00 | 8.41 | 146.5 | 9.22 | 164.1 | 9.78 | 154.582 | 9.85 | 153.3 | 23.26 | 965.239 | 56.8457 | 66.3631
2020-09-05 04:45:00 | 9.51 | 148.8 | 9.55 | 166.4 | 10.03 | 156.749 | 10.05 | 155.9 | 22.98 | 965.332 | 56.7434 | 71.499
2020-09-05 05:00:00 | 8.48 | 150.8 | 8.29 | 173.4 | 9.72 | 163.343 | 9.84 | 153.3 | 22.75 | 965.201 | 57.971 | 67.2574
2020-09-05 05:15:00 | 8.87 | 149.6 | 9.13 | 170.5 | 9.94 | 160.611 | 9.98 | 154 | 22.66 | 965.552 | 58.4825 | 66.3705
2020-09-05 05:30:00 | 10 | 151.6 | 10.25 | 168.8 | 11.25 | 159.01 | 11.19 | 158.6 | 22.54 | 965.795 | 57.9034 | 68.8719
2020-09-05 05:45:00 | 10.15 | 153.4 | 10.35 | 169.7 | 10.81 | 159.857 | 10.77 | 159.1 | 22.49 | 966.082 | 58.9978 | 63.773
2020-09-05 06:00:00 | 10.35 | 153.6 | 10.71 | 168.4 | 10.88 | 158.633 | 10.84 | 160.2 | 22.47 | 966.093 | 58.8593 | 66.437
2020-09-05 06:15:00 | 10.03 | 155.8 | 10.06 | 172 | 10.6 | 162.024 | 10.59 | 162.7 | 22.26 | 966.378 | 59.6761 | 36.4164
2020-09-05 06:30:00 | 10.62 | 154.4 | 10.86 | 170.5 | 11.48 | 160.611 | 11.4 | 160.7 | 22.2 | 966.232 | 60.1194 | 28.8863
2020-09-05 06:45:00 | 9.65 | 154.2 | 10.31 | 169.3 | 10.7 | 159.481 | 10.7 | 160.8 | 22.04 | 966.104 | 60.0171 | 29.7472
2020-09-05 07:00:00 | 8.96 | 152.4 | 9.86 | 167.2 | 10.5 | 157.502 | 10.41 | 161 | 22 | 966.392 | 61.1083 | 27.4823
2020-09-05 07:15:00 | 9.07 | 151.6 | 10.09 | 166.2 | 10.58 | 156.56 | 10.5 | 161.4 | 22.19 | 966.392 | 59.7432 | 25.7013
2020-09-05 07:30:00 | 8.22 | 155.3 | 8.96 | 170.8 | 9.25 | 160.894 | 9.37 | 164 | 22.25 | 966.54 | 57.076 | 22.2356
2020-09-05 07:45:00 | 7.903 | 163.3 | 8.18 | 174.4 | 7.986 | 164.285 | 8.08 | 175.7 | 22.78 | 966.688 | 58.1657 | 21.1789
2020-09-05 08:00:00 | 8.24 | 161.4 | 8.35 | 170.1 | 8.19 | 160.234 | 8.41 | 174.9 | 22.58 | 966.985 | 59.4257 | 22.908
2020-09-05 08:15:00 | 7.767 | 162.5 | 7.772 | 174.7 | 7.225 | 164.567 | 7.283 | 173.5 | 22.88 | 966.985 | 54.8154 | 20.6727
2020-09-05 08:30:00 | 6.557 | 154.3 | 6.987 | 169 | 7.218 | 159.198 | 7.293 | 164.8 | 23.61 | 967.43 | 53.7924 | 20.6579
2020-09-05 08:45:00 | 7.318 | 154.1 | 7.386 | 166.5 | 6.961 | 156.843 | 6.848 | 165 | 24.27 | 968.023 | 50.5194 | 19.4755
2020-09-05 09:00:00 | 7.599 | 160.2 | 7.831 | 169.7 | 7.591 | 159.857 | 7.617 | 172.6 | 25.1 | 967.951 | 50.1705 | 19.3905
2020-09-05 09:15:00 | 6.22 | 156.6 | 6.123 | 172.3 | 5.605 | 162.307 | 5.602 | 168 | 25.11 | 968.174 | 52.1132 | 20.5729
2020-09-05 09:30:00 | 6.866 | 154.6 | 7.03 | 170.5 | 7.116 | 160.611 | 7.128 | 162.4 | 25.07 | 968.321 | 50.5113 | 18.3449
2020-09-05 09:45:00 | 7.175 | 147 | 7.048 | 160.9 | 7.032 | 151.568 | 7.018 | 155.5 | 25.52 | 968.47 | 47.1029 | 21.4449
2020-09-05 10:00:00 | 6.971 | 152.9 | 7.012 | 167.2 | 6.737 | 157.502 | 6.792 | 163 | 25.65 | 968.618 | 51.6004 | 19.5679
2020-09-05 10:15:00 | 7.224 | 160.5 | 7.089 | 176.7 | 6.859 | 166.451 | 6.817 | 165 | 25.81 | 968.766 | 49.1446 | 19.2908
2020-09-05 10:30:00 | 7.704 | 151.3 | 8.18 | 168.3 | 7.678 | 158.539 | 7.617 | 158.7 | 26.15 | 968.766 | 50.3386 | 18.2488
2020-09-05 10:45:00 | 9.22 | 153.5 | 9 | 169.1 | 8.57 | 159.292 | 8.49 | 161 | 25.96 | 968.618 | 51.2577 | 17.0222
2020-09-05 11:00:00 | 8.65 | 155.8 | 8.6 | 172.5 | 8.28 | 162.495 | 8.18 | 159.4 | 26.2 | 968.915 | 55.348 | 17.3177
2020-09-05 11:15:00 | 8.35 | 150 | 8.58 | 162.6 | 7.828 | 153.169 | 7.69 | 157.4 | 26.41 | 968.915 | 53.1659 | 13.9554
2020-09-05 11:30:00 | 8.6 | 151 | 8.28 | 165.2 | 7.352 | 155.618 | 7.275 | 157.7 | 26.77 | 968.766 | 51.6667 | 13.6414
2020-09-05 11:45:00 | 7.05 | 157 | 7.409 | 172.3 | 6.973 | 162.307 | 6.932 | 165.3 | 27.57 | 969.063 | 49.0773 | 12.0969
2020-09-05 12:00:00 | 7.972 | 179.7 | 7.731 | 192.1 | 6.925 | 180.958 | 6.937 | 184.9 | 28.38 | 968.581 | 43.7951 | 11.3432
2020-09-05 12:15:00 | 6.703 | 174.9 | 6.35 | 188.4 | 5.59 | 177.473 | 5.503 | 176.5 | 28.48 | 968.764 | 43.8972 | 10.8887
2020-09-05 12:30:00 | 8.59 | 177.1 | 7.994 | 193.2 | 6.521 | 181.994 | 6.336 | 179.5 | 28.47 | 968.76 | 45.9422 | 11.2656
2020-09-05 12:45:00 | 7.474 | 177.6 | 7.427 | 191.2 | 6.689 | 180.11 | 6.761 | 179.5 | 28.32 | 968.914 | 45.3633 | 8.5203
2020-09-05 13:00:00 | 6.892 | 187.3 | 6.522 | 199.9 | 5.893 | 188.306 | 5.788 | 188.5 | 28.65 | 968.914 | 45.9422 | 6.8761
2020-09-05 13:15:00 | 7.16 | 185.3 | 6.897 | 198.5 | 6.068 | 186.987 | 6.058 | 189.1 | 29.1 | 969.062 | 43.6246 | 7.7185
2020-09-05 13:30:00 | 8.27 | 173.4 | 8.24 | 185.6 | 7.912 | 174.835 | 7.955 | 180.3 | 29.3 | 969.062 | 42.0903 | 14.9324
2020-09-05 13:45:00 | 9.06 | 192 | 8.66 | 204.5 | 8.3 | 192.639 | 8.4 | 195.8 | 29.92 | 968.855 | 37.3799 | 15.4962
2020-09-05 14:00:00 | 7.464 | 220.1 | 7.383 | 227.7 | 7.373 | 214.493 | 7.418 | 225.4 | 30.69 | 969.361 | 33.8671 | 13.7005
2020-09-05 14:15:00 | 9.26 | 198.6 | 8.77 | 208.1 | 8.28 | 196.03 | 8.32 | 202.7 | 30.14 | 968.916 | 32.1976 | 7.5301
2020-09-05 14:30:00 | 7.144 | 177.4 | 6.626 | 189.3 | 5.861 | 178.321 | 5.898 | 183.2 | 30.08 | 969.36 | 39.7274 | 15.4339
2020-09-05 14:45:00 | 8.44 | 190.7 | 8.45 | 202.8 | 7.833 | 191.038 | 7.853 | 195.2 | 30.25 | 968.768 | 27.0187 | 10.9774
2020-09-05 15:00:00 | 9.38 | 197 | 8.62 | 206.2 | 7.978 | 194.24 | 8.04 | 203.2 | 30.57 | 968.768 | 26.7802 | 11.5057
2020-09-05 15:15:00 | 8.31 | 188.8 | 7.992 | 200.7 | 7.444 | 189.059 | 7.482 | 192.6 | 30.49 | 968.768 | 27.9046 | 7.4488
2020-09-05 15:30:00 | 7.481 | 190.7 | 6.729 | 198.6 | 6.037 | 187.081 | 6.084 | 199.1 | 30.52 | 968.619 | 27.155 | 10.2421
2020-09-05 15:45:00 | 6.588 | 200.4 | 6.059 | 208.7 | 6.457 | 196.595 | 6.494 | 206.1 | 30.7 | 969.064 | 29.983 | 6.9168
2020-09-05 16:00:00 | 7.499 | 195 | 7.378 | 206.7 | 7.055 | 194.711 | 7.125 | 200.2 | 30.67 | 968.916 | 27.121 | 7.386
2020-09-05 16:15:00 | 8.23 | 192.2 | 7.974 | 202.2 | 7.408 | 190.472 | 7.449 | 198.2 | 30.75 | 968.619 | 28.4498 | 6.2923
2020-09-05 16:30:00 | 7.331 | 196.1 | 7.102 | 207.9 | 6.656 | 195.842 | 6.659 | 201.1 | 30.62 | 969.064 | 33.0494 | 6.7246
2020-09-05 16:45:00 | 7.045 | 175.6 | 7.03 | 190.7 | 6.287 | 179.639 | 6.262 | 179.8 | 30.16 | 969.064 | 35.2981 | 6.5325
2020-09-05 17:00:00 | 6.598 | 179.4 | 6.174 | 196.5 | 5.319 | 185.103 | 5.574 | 180.6 | 29.82 | 968.916 | 35.9796 | 5.3797
2020-09-05 17:15:00 | 7.387 | 176.6 | 7.053 | 189.7 | 6.907 | 178.697 | 6.972 | 181.4 | 29.67 | 968.471 | 36.2521 | 5.4388
2020-09-05 17:30:00 | 7.632 | 176.1 | 7.314 | 189.1 | 7.215 | 178.132 | 7.291 | 181.4 | 29.51 | 968.768 | 37.8194 | 6.1039
2020-09-05 17:45:00 | 6.721 | 171 | 6.481 | 188.1 | 6.042 | 177.19 | 6.425 | 175.9 | 29.3 | 968.204 | 38.0239 | 6.1852
2020-09-05 18:00:00 | 5.04 | 156.5 | 5.167 | 168.9 | 2.66 | 159.104 | 4.591 | 164.2 | 28.94 | 968.49 | 42.1198 | 6.211
2020-09-05 18:15:00 | 5.939 | 169.9 | 6.041 | 178.9 | 5.751 | 168.524 | 6.191 | 175.3 | 28.32 | 967.876 | 43.4207 | 7.7887
2020-09-05 18:30:00 | 5.903 | 170.5 | 5.841 | 182 | 5.805 | 171.444 | 6.203 | 177 | 28.18 | 967.728 | 43.4217 | 8.3799
2020-09-05 18:45:00 | 6.728 | 162.7 | 6.851 | 176.5 | 7.006 | 166.263 | 7.059 | 170.6 | 27.88 | 967.728 | 46.2168 | 7.9328
2020-09-05 19:00:00 | 6.044 | 168.5 | 6.028 | 179.1 | 6.643 | 168.712 | 6.807 | 176.4 | 27.69 | 967.781 | 46.0804 | 8.9341
2020-09-05 19:15:00 | 6.861 | 164.2 | 6.649 | 174.3 | 6.64 | 164.191 | 6.769 | 175.4 | 27.55 | 968.102 | 46.6258 | 10.3049
2020-09-05 19:30:00 | 7.27 | 171.9 | 7.434 | 183.6 | 7.602 | 172.951 | 7.724 | 175.1 | 27.69 | 968.312 | 44.8907 | 9.6768
2020-09-05 19:45:00 | 7.231 | 172.6 | 7.782 | 184.5 | 8.62 | 173.799 | 8.84 | 179.9 | 27.46 | 968.172 | 41.349 | 11.0106
2020-09-05 20:00:00 | 7.522 | 164.4 | 7.71 | 177.2 | 8.06 | 166.922 | 8.25 | 174.9 | 27.59 | 968.615 | 44.6553 | 9.4255
2020-09-05 20:15:00 | 7.502 | 164.8 | 7.457 | 177.6 | 7.739 | 167.299 | 7.887 | 170.7 | 27.42 | 968.616 | 43.4972 | 10.9811
2020-09-05 20:30:00 | 7.586 | 168.3 | 7.664 | 180.4 | 7.937 | 169.937 | 8.17 | 177.2 | 27.49 | 968.316 | 44.9293 | 12.0009
2020-09-05 20:45:00 | 7.3 | 163.5 | 7.552 | 175.6 | 7.775 | 165.415 | 7.938 | 172.6 | 27.2 | 968.765 | 46.2242 | 11.5427
2020-09-05 21:00:00 | 7.351 | 167 | 7.71 | 177.4 | 7.841 | 167.111 | 8.03 | 176.5 | 26.96 | 968.613 | 43.8384 | 9.9207
2020-09-05 21:15:00 | 6.649 | 167.5 | 6.683 | 178.7 | 6.808 | 168.335 | 7.245 | 175.1 | 27.06 | 968.616 | 46.2928 | 8.306
2020-09-05 21:30:00 | 6.662 | 162.7 | 7.158 | 174.6 | 6.849 | 164.473 | 6.998 | 169.9 | 26.64 | 968.468 | 48.4063 | 8.1841
2020-09-05 21:45:00 | 7.139 | 162.8 | 7.67 | 174 | 7.642 | 163.908 | 7.902 | 174.8 | 26.47 | 968.616 | 47.8609 | 9.2186
2020-09-05 22:00:00 | 7.216 | 166.9 | 7.46 | 178.4 | 7.614 | 168.053 | 7.81 | 179.1 | 26.35 | 968.32 | 48.2703 | 9.1337
2020-09-05 22:15:00 | 7.086 | 165.6 | 7.125 | 175.4 | 7.174 | 165.227 | 7.461 | 175.8 | 26.3 | 968.616 | 49.2245 | 9.9465
2020-09-05 22:30:00 | 7.484 | 166.9 | 7.797 | 177.8 | 7.832 | 167.488 | 8.05 | 177 | 26.37 | 968.468 | 48.5436 | 9.7101
2020-09-05 22:45:00 | 7.346 | 163.5 | 7.422 | 174.9 | 7.919 | 164.756 | 8.2 | 172.8 | 26.17 | 968.172 | 47.9992 | 10.9072
2020-09-05 23:00:00 | 7.43 | 164.4 | 7.879 | 174.6 | 8.34 | 164.473 | 8.6 | 174.7 | 25.98 | 968.023 | 46.433 | 11.2693
2020-09-05 23:15:00 | 7.451 | 169.9 | 7.562 | 177.4 | 7.707 | 167.111 | 7.988 | 179.8 | 26.1 | 968.172 | 47.9333 | 12.8063
2020-09-05 23:30:00 | 7.298 | 172.2 | 7.549 | 183 | 8.47 | 172.386 | 8.85 | 179.7 | 26.14 | 968.023 | 45.1387 | 11.7533
2020-09-05 23:45:00 | 7.732 | 170.2 | 7.992 | 179.3 | 7.399 | 168.901 | 8.06 | 178.9 | 26.24 | 968.023 | 44.7638 | 12.3038