## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-06 00:00:00 | 8.01 | 171.8 | 8.24 | 183.4 | 8.74 | 172.763 | 9.02 | 180.4 | 26.36 | 968.32 | 43.9437 | 11.7422
2020-09-06 00:15:00 | 7.596 | 168.6 | 7.831 | 176.2 | 7.001 | 165.98 | 8.05 | 176.5 | 26.09 | 968.172 | 45.7841 | 10.9109
2020-09-06 00:30:00 | 7.428 | 168.6 | 7.35 | 177.1 | 3.403 | 166.828 | 7.306 | 178.1 | 26.14 | 968.172 | 45.4762 | 9.3258
2020-09-06 00:45:00 | 6.498 | 171.2 | 6.649 | 177.9 | 4.061 | 167.582 | 7.324 | 181.1 | 25.87 | 968.172 | 46.2273 | 9.6953
2020-09-06 01:00:00 | 6.825 | 167.6 | 7.056 | 177.9 | 4.582 | 167.582 | 7.451 | 177.6 | 25.86 | 968.172 | 46.9779 | 10.5118
2020-09-06 01:15:00 | 6.309 | 160.4 | 6.833 | 172.6 | 2.851 | 162.589 | 6.868 | 170.7 | 25.38 | 968.023 | 46.299 | 8.4353
2020-09-06 01:30:00 | 7.545 | 173 | 8.3 | 184.3 | 8.26 | 173.611 | 8.76 | 182.5 | 26 | 968.172 | 46.7091 | 7.8035
2020-09-06 01:45:00 | 6.815 | 167.1 | 6.923 | 176.5 | 2.528 | 166.263 | 6.295 | 178.5 | 25.52 | 968.172 | 48.3436 | 8.923
2020-09-06 02:00:00 | 7.027 | 168.9 | 7.37 | 177.9 | 6.975 | 167.582 | 7.362 | 179 | 25.37 | 968.172 | 46.6415 | 7.9402
2020-09-06 02:15:00 | 6.71 | 161.6 | 7.181 | 172.8 | 6.989 | 162.778 | 7.051 | 173.5 | 25.39 | 968.32 | 48.7555 | 8.6718
2020-09-06 02:30:00 | 6.35 | 160.3 | 6.839 | 170.6 | 7.019 | 160.705 | 7.074 | 172.9 | 25.21 | 968.172 | 48.1418 | 7.205
2020-09-06 02:45:00 | 6.501 | 167.4 | 7.043 | 174.9 | 6.249 | 164.756 | 6.313 | 177.7 | 25.27 | 968.172 | 50.2216 | 8.9268
2020-09-06 03:00:00 | 6.261 | 161.5 | 6.949 | 172.4 | 7.093 | 162.401 | 7.176 | 171.7 | 25 | 968.172 | 49.7102 | 10.1239
2020-09-06 03:15:00 | 7.28 | 163.8 | 7.997 | 174.1 | 7.795 | 164.002 | 7.843 | 177.1 | 25.04 | 968.023 | 48.8237 | 10.6559
2020-09-06 03:30:00 | 7.104 | 162.5 | 7.779 | 172.5 | 8.06 | 162.495 | 8.17 | 172.9 | 25.09 | 968.023 | 50.733 | 10.5673
2020-09-06 03:45:00 | 7.678 | 162.8 | 8.06 | 173.7 | 7.622 | 163.625 | 7.744 | 173.9 | 25 | 968.023 | 50.8694 | 14.2732
2020-09-06 04:00:00 | 7.77 | 158.2 | 8.32 | 169.6 | 9.07 | 159.763 | 9.2 | 169.7 | 24.63 | 968.023 | 52.0627 | 14.0774
2020-09-06 04:15:00 | 7.716 | 155.6 | 8.34 | 168.2 | 8.98 | 158.444 | 8.88 | 168.6 | 24.25 | 967.875 | 52.3014 | 15.5368
2020-09-06 04:30:00 | 7.132 | 155.1 | 8.03 | 165.3 | 9.16 | 155.713 | 9.14 | 166.3 | 24.12 | 967.726 | 54.6198 | 16.4827
2020-09-06 04:45:00 | 6.611 | 151.2 | 7.255 | 162.6 | 8.35 | 153.169 | 8.37 | 161.5 | 23.83 | 967.875 | 52.7831 | 14.0072
2020-09-06 05:00:00 | 7.686 | 159.2 | 8.38 | 171.4 | 8.41 | 161.459 | 8.39 | 167.7 | 24.31 | 968.023 | 51.4889 | 16.1465
2020-09-06 05:15:00 | 6.366 | 154.2 | 7.544 | 165.5 | 8.96 | 155.901 | 9.04 | 164.8 | 24.04 | 967.875 | 56.1262 | 15.3706
2020-09-06 05:30:00 | 6.958 | 157.2 | 7.935 | 169 | 8.78 | 159.198 | 8.84 | 168 | 23.79 | 967.875 | 55.31 | 14.4173
2020-09-06 05:45:00 | 6.703 | 153.7 | 7.539 | 166.3 | 8.49 | 156.655 | 8.46 | 164.5 | 23.8 | 968.023 | 58.7894 | 14.9013
2020-09-06 06:00:00 | 6.884 | 156.2 | 7.859 | 169.4 | 8.61 | 159.575 | 8.67 | 167.9 | 23.63 | 968.023 | 58.6871 | 14.3286
2020-09-06 06:15:00 | 7.027 | 154 | 7.91 | 166.5 | 8.18 | 156.843 | 8.2 | 164.5 | 23.42 | 968.023 | 58.4484 | 14.6353
2020-09-06 06:30:00 | 6.621 | 155.1 | 7.485 | 167.5 | 9.14 | 157.785 | 9.14 | 167.4 | 23.44 | 968.468 | 60.5285 | 15.2228
2020-09-06 06:45:00 | 6.887 | 155.6 | 7.708 | 167.9 | 8.67 | 158.162 | 8.76 | 167.7 | 23.51 | 968.616 | 59.1966 | 11.8605
2020-09-06 07:00:00 | 6.2 | 158.7 | 6.972 | 167.8 | 7.454 | 158.068 | 7.581 | 171.6 | 24.06 | 968.913 | 57.4157 | 9.2371
2020-09-06 07:15:00 | 5.837 | 158.3 | 6.557 | 168.6 | 6.877 | 158.821 | 6.891 | 169.2 | 24.17 | 969.062 | 58.2299 | 9.7913
2020-09-06 07:30:00 | 5.888 | 157.8 | 6.588 | 167.6 | 6.976 | 157.879 | 7.097 | 169.6 | 24.4 | 969.21 | 56.1144 | 9.444
2020-09-06 07:45:00 | 6.172 | 159.7 | 6.683 | 168.4 | 6.897 | 158.633 | 6.937 | 168.1 | 25.18 | 969.506 | 52.3607 | 7.5855
2020-09-06 08:00:00 | 4.742 | 150.8 | 5.23 | 163.9 | 5.313 | 154.394 | 5.139 | 161.7 | 25.43 | 969.548 | 53.7834 | 7.2973
2020-09-06 08:15:00 | 5.339 | 149.6 | 5.399 | 161.6 | 5.16 | 152.227 | 5.098 | 160.8 | 25.6 | 969.804 | 52.7593 | 7.168
2020-09-06 08:30:00 | 5.237 | 156.9 | 5.668 | 170.2 | 5.419 | 160.328 | 5.5 | 168.4 | 25.53 | 970.249 | 53.0312 | 8.1767
2020-09-06 08:45:00 | 5.725 | 160.8 | 6.11 | 172.7 | 5.267 | 162.683 | 5.192 | 169.2 | 25.76 | 969.953 | 49.8263 | 6.1963
2020-09-06 09:00:00 | 5.666 | 164.3 | 5.264 | 174.2 | 5.094 | 164.096 | 5.164 | 169.7 | 25.78 | 970.546 | 51.5976 | 5.7455
2020-09-06 09:15:00 | 4.989 | 156.6 | 5.046 | 166.1 | 4.194 | 156.466 | 4.061 | 168.3 | 26.19 | 970.546 | 50.2707 | 4.6259
2020-09-06 09:30:00 | 5.296 | 162.7 | 5.074 | 174.5 | 4.257 | 164.379 | 4.217 | 174.1 | 26.81 | 970.628 | 49.6892 | 2.9485
2020-09-06 09:45:00 | 6.274 | 183.9 | 6.107 | 195.4 | 5.92 | 184.067 | 5.974 | 192.7 | 27.75 | 970.401 | 43.8844 | 1.6922
2020-09-06 10:00:00 | 5.482 | 183.1 | 5.42 | 198.1 | 4.812 | 186.61 | 4.833 | 188.1 | 27.66 | 970.398 | 44.9063 | 2.1504
2020-09-06 10:15:00 | 6.003 | 184.8 | 5.829 | 195 | 5.28 | 183.69 | 5.337 | 193.8 | 27.6 | 970.102 | 48.2113 | 1.7883
2020-09-06 10:30:00 | 4.208 | 180.5 | 4.21 | 190.4 | 4.094 | 179.357 | 4.288 | 188.7 | 27.14 | 970.307 | 52.7222 | 0.4323
2020-09-06 10:45:00 | 5.155 | 178.7 | 4.967 | 189.9 | 4.458 | 178.886 | 4.497 | 190.3 | 27.54 | 970.492 | 44.0317 | 0.62443
2020-09-06 11:00:00 | 5.132 | 196.7 | 4.944 | 205.1 | 4.191 | 193.204 | 4.217 | 202.5 | 27.81 | 969.974 | 46.6208 | 0.41382
2020-09-06 11:15:00 | 5.566 | 183 | 5.494 | 195.7 | 5.165 | 184.349 | 5.151 | 188.1 | 28 | 970.085 | 49.5458 | 0.47663
2020-09-06 11:30:00 | 5.559 | 195 | 5.415 | 208 | 5.01 | 195.936 | 5.055 | 199.7 | 28 | 970.107 | 50.426 | 0.12562
2020-09-06 11:45:00 | 4.749 | 179.2 | 4.589 | 193.3 | 3.967 | 182.089 | 3.896 | 184.6 | 28.03 | 969.962 | 51.7547 | 0.41382
2020-09-06 12:00:00 | 3.35 | 210.2 | 3.356 | 230.1 | 3.275 | 216.754 | 3.226 | 214.4 | 28.54 | 970.398 | 49.5741 | 1.3338
2020-09-06 12:15:00 | 2.179 | 180.1 | 1.689 | 191.5 | 0.667 | 180.393 | 1.342 | 191.6 | 29.31 | 970.398 | 47.2232 | 1.829
2020-09-06 12:30:00 | 4.287 | 189.1 | 4.494 | 194.4 | 1.728 | 183.125 | 3.206 | 200.2 | 29.3 | 970.102 | 40.7837 | 1.9509
2020-09-06 12:45:00 | 4.989 | 213.6 | 4.591 | 220.8 | 4.786 | 207.994 | 4.838 | 220.6 | 29.56 | 970.102 | 39.4549 | 0.86459
2020-09-06 13:00:00 | 4.369 | 216.2 | 4.172 | 225.6 | 2.943 | 212.515 | 3.937 | 220.1 | 29.89 | 970.25 | 39.4208 | 0.7907
2020-09-06 13:15:00 | 4.594 | 240 | 4.205 | 258.1 | 3.449 | 243.13 | 3.814 | 239 | 29.69 | 969.953 | 39.6593 | 0.37318
2020-09-06 13:30:00 | 4.933 | 218.5 | 4.558 | 226 | 4.367 | 212.892 | 4.421 | 224 | 29.87 | 969.805 | 38.7734 | 0.19952
2020-09-06 13:45:00 | 3.695 | 254.1 | 3.858 | 266.2 | 3.592 | 250.76 | 3.63 | 255.5 | 29.71 | 969.805 | 43.8501 | 0.29559
2020-09-06 14:00:00 | 3.501 | 251.7 | 3.341 | 263.5 | 2.572 | 248.217 | 2.859 | 248.8 | 29.92 | 970.843 | 45.3152 | 0.096066
2020-09-06 14:15:00 | 5.503 | 250.3 | 5.481 | 262.8 | 5.099 | 247.558 | 4.922 | 253.7 | 29.37 | 970.695 | 45.1107 | 0.84981
2020-09-06 14:30:00 | 4.387 | 267.4 | 4.29 | 275.6 | 4.173 | 259.615 | 4.067 | 273.8 | 29.37 | 970.546 | 44.736 | 1.2193
2020-09-06 14:45:00 | 4.162 | 259.3 | 4.297 | 269 | 4.394 | 253.398 | 4.334 | 265.6 | 29.49 | 970.398 | 45.7581 | 0.99391
2020-09-06 15:00:00 | 4.308 | 262.4 | 4.146 | 272.6 | 3.802 | 256.789 | 3.634 | 263 | 29.49 | 970.695 | 45.9285 | 0.92002
2020-09-06 15:15:00 | 4.328 | 243.7 | 4.269 | 251.3 | 3.785 | 236.725 | 3.774 | 251.9 | 29.44 | 970.546 | 45.0408 | 0.76114
2020-09-06 15:30:00 | 4.239 | 249.9 | 4.405 | 262 | 3.98 | 246.804 | 3.771 | 254.4 | 29.58 | 970.695 | 42.1088 | 0.41382
2020-09-06 15:45:00 | 4.119 | 251 | 4.182 | 264.7 | 4.031 | 249.347 | 3.944 | 252.9 | 29.71 | 970.695 | 38.6326 | 0.18105
2020-09-06 16:00:00 | 4.857 | 250.1 | 4.809 | 263.7 | 4.387 | 248.405 | 4.252 | 251.2 | 29.62 | 970.695 | 40.8802 | 0.036948
2020-09-06 16:15:00 | 3.881 | 248.7 | 3.901 | 259.2 | 3.685 | 244.166 | 3.595 | 250.4 | 29.58 | 970.25 | 42.925 | -0.051728
2020-09-06 16:30:00 | 3.585 | 248.4 | 3.612 | 261.6 | 3.311 | 246.427 | 3.211 | 249.8 | 29.63 | 970.102 | 42.9945 | -0.036949
2020-09-06 16:45:00 | 2.891 | 219.6 | 2.758 | 233.6 | 1.916 | 220.051 | 2.236 | 221.7 | 29.38 | 969.805 | 42.7581 | -0.13301
2020-09-06 17:00:00 | 2.625 | 210.1 | 2.855 | 219.3 | 2.694 | 206.581 | 2.852 | 223.2 | 29.69 | 970.102 | 42.4531 | -0.12193
2020-09-06 17:15:00 | 2.888 | 220 | 2.998 | 232.6 | 2.807 | 219.109 | 2.727 | 225 | 29.48 | 969.36 | 44.1567 | -0.13301
2020-09-06 17:30:00 | 2.809 | 226.1 | 2.858 | 234.8 | 2.183 | 221.182 | 2.21 | 231.4 | 29.41 | 969.509 | 43.4072 | -0.12193
2020-09-06 17:45:00 | 2.375 | 226.7 | 2.569 | 235.8 | 2.441 | 222.124 | 2.358 | 228.8 | 29.17 | 968.768 | 42.8279 | -0.12193
2020-09-06 18:00:00 | 2.293 | 221.7 | 2.525 | 235.1 | 2.378 | 221.464 | 2.342 | 225.8 | 28.99 | 968.471 | 43.8842 | -0.12193
2020-09-06 18:15:00 | 2.485 | 221.2 | 2.809 | 232.2 | 2.685 | 218.732 | 2.755 | 222.2 | 28.75 | 968.587 | 44.5101 | -0.13301
2020-09-06 18:30:00 | 2.173 | 214.4 | 2.832 | 222.6 | 2.716 | 209.689 | 2.722 | 217.2 | 28.54 | 967.876 | 45.3965 | -0.12193
2020-09-06 18:45:00 | 2.587 | 210.2 | 2.919 | 216.8 | 2.749 | 204.226 | 2.849 | 211.6 | 28.44 | 967.876 | 44.5807 | -0.12193
2020-09-06 19:00:00 | 2.564 | 202.1 | 3.106 | 212.2 | 2.94 | 199.892 | 2.933 | 206.5 | 28.52 | 968.173 | 43.9673 | -0.12193
2020-09-06 19:15:00 | 2.308 | 194.1 | 2.97 | 205.7 | 2.665 | 193.769 | 2.684 | 202.3 | 28.5 | 968.092 | 44.4785 | -0.12193
2020-09-06 19:30:00 | 2.14 | 196.9 | 2.712 | 210.8 | 2.408 | 198.574 | 2.376 | 202.5 | 28.41 | 967.993 | 44.0354 | -0.12193
2020-09-06 19:45:00 | 2.372 | 196.9 | 2.352 | 207 | 0.7 | 194.994 | 1.828 | 204.4 | 28.59 | 967.909 | 44.1036 | -0.12193
2020-09-06 20:00:00 | 2.405 | 200.3 | 2.387 | 217 | 0.799 | 204.414 | 1.991 | 204.4 | 28.58 | 968.237 | 44.2399 | -0.12193
2020-09-06 20:15:00 | 2.515 | 200.3 | 2.786 | 215.6 | 2.759 | 203.095 | 2.801 | 205.3 | 28.53 | 968.613 | 44.3081 | -0.13301
2020-09-06 20:30:00 | 2.622 | 199.1 | 2.896 | 212.7 | 2.764 | 200.363 | 2.791 | 202.1 | 28.45 | 968.249 | 44.5126 | -0.12193
2020-09-06 20:45:00 | 3.447 | 200.1 | 3.5 | 212.4 | 2.996 | 200.081 | 3.002 | 206.1 | 28.3 | 968.149 | 45.3306 | -0.12193
2020-09-06 21:00:00 | 3.054 | 201.5 | 3.336 | 214.8 | 2.95 | 202.342 | 2.918 | 206.2 | 28.25 | 968.003 | 45.2632 | -0.12193
2020-09-06 21:15:00 | 2.97 | 205.8 | 3.18 | 215 | 2.942 | 202.53 | 2.982 | 209.2 | 28.22 | 968.119 | 45.4669 | -0.12193
2020-09-06 21:30:00 | 2.914 | 205.4 | 3.492 | 215.9 | 3.148 | 203.378 | 3.152 | 209.5 | 28.1 | 968.17 | 46.1494 | -0.13301
2020-09-06 21:45:00 | 3.013 | 210.8 | 3.448 | 218.9 | 3.13 | 206.204 | 3.099 | 216.2 | 28.09 | 967.995 | 46.3547 | -0.12193
2020-09-06 22:00:00 | 3.419 | 225.8 | 3.788 | 233.9 | 3.565 | 220.334 | 3.466 | 230.6 | 28.03 | 968.023 | 46.4913 | -0.13301
2020-09-06 22:15:00 | 3.669 | 239.8 | 4.108 | 246.9 | 4.046 | 232.58 | 3.891 | 241.6 | 27.92 | 968.019 | 43.5598 | 0.18105
2020-09-06 22:30:00 | 3.83 | 244.9 | 4.198 | 252.2 | 4.562 | 237.572 | 4.431 | 248.4 | 27.82 | 967.865 | 46.6273 | 0.84612
2020-09-06 22:45:00 | 3.531 | 237.6 | 3.97 | 246.8 | 4.382 | 232.486 | 4.359 | 243.9 | 27.48 | 967.875 | 48.3332 | 1.0863
2020-09-06 23:00:00 | 3.588 | 241.2 | 4.077 | 247.7 | 4.491 | 233.333 | 4.393 | 249.8 | 27.32 | 967.578 | 49.0854 | 0.70941
2020-09-06 23:15:00 | 4.129 | 241.2 | 4.691 | 248.4 | 5.033 | 233.993 | 4.846 | 245.4 | 27.25 | 967.43 | 49.1552 | 1.3745
2020-09-06 23:30:00 | 3.733 | 239.3 | 4.31 | 251.4 | 4.593 | 236.819 | 4.578 | 243.8 | 27.26 | 967.578 | 48.2698 | 1.9065
2020-09-06 23:45:00 | 4.532 | 245.2 | 5.197 | 251.3 | 5.709 | 236.725 | 5.661 | 250.2 | 27.14 | 967.411 | 49.5654 | 2.1652