## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-07 00:00:00 | 4.371 | 247.9 | 5.098 | 253.7 | 6.071 | 238.985 | 6.081 | 254.5 | 26.88 | 967.127 | 50.9971 | 3.3143
2020-09-07 00:15:00 | 4.211 | 258.6 | 5.215 | 264.5 | 5.689 | 249.159 | 5.709 | 262.4 | 26.56 | 967.133 | 52.497 | 4.0089
2020-09-07 00:30:00 | 3.57 | 264 | 4.54 | 270.5 | 5.013 | 254.811 | 5.009 | 267.3 | 26.27 | 966.985 | 54.6787 | 4.2934
2020-09-07 00:45:00 | 2.436 | 268.9 | 3.446 | 271.3 | 5.002 | 255.565 | 5.027 | 274.5 | 25.78 | 966.836 | 57.474 | 2.9485
2020-09-07 01:00:00 | 2.763 | 278.8 | 3.727 | 288 | 4.733 | 271.296 | 4.797 | 279.1 | 25.73 | 966.688 | 58.5345 | 3.2404
2020-09-07 01:15:00 | 3 | 284.1 | 3.758 | 295.5 | 5.157 | 278.361 | 5.238 | 283.1 | 25.68 | 966.391 | 59.4603 | 3.366
2020-09-07 01:30:00 | 3.404 | 293.9 | 4.428 | 305.9 | 5.526 | 288.158 | 5.64 | 293.2 | 25.95 | 966.54 | 59.9384 | 3.5286
2020-09-07 01:45:00 | 3.585 | 304.3 | 4.691 | 318.7 | 5.58 | 300.215 | 5.663 | 303.2 | 25.42 | 966.54 | 62.6661 | 3.6468
2020-09-07 02:00:00 | 3.682 | 313.8 | 4.658 | 329.5 | 5.659 | 310.389 | 5.717 | 312.3 | 25.21 | 966.391 | 63.4844 | 3.3734
2020-09-07 02:15:00 | 3.291 | 320.3 | 4.535 | 337.8 | 5.666 | 318.208 | 5.903 | 319.9 | 24.95 | 966.391 | 65.3938 | 3.0889
2020-09-07 02:30:00 | 3.662 | 322.4 | 5.726 | 339.5 | 6.605 | 319.809 | 6.906 | 321.6 | 24.72 | 966.54 | 66.4166 | 4.5151
2020-09-07 02:45:00 | 3.644 | 320.8 | 5.53 | 338.7 | 6.907 | 319.055 | 7.156 | 320 | 24.42 | 965.947 | 65.8711 | 6.0891
2020-09-07 03:00:00 | 3.174 | 331.7 | 4.394 | 353.2 | 6.292 | 332.714 | 6.573 | 327.9 | 24.22 | 965.947 | 66.4507 | 6.9943
2020-09-07 03:15:00 | 2.794 | 333.1 | 4.215 | 355.9 | 6.671 | 335.258 | 6.96 | 331.6 | 23.99 | 965.65 | 64.7152 | 8.4501
2020-09-07 03:30:00 | 3.572 | 332.9 | 4.99 | 353.1 | 7.06 | 332.62 | 7.212 | 333.7 | 23.96 | 965.65 | 64.2437 | 7.3306
2020-09-07 03:45:00 | 3.792 | 339.7 | 4.625 | 357.4 | 6.305 | 336.671 | 6.43 | 339.6 | 23.88 | 965.65 | 66.4278 | 7.6742
2020-09-07 04:00:00 | 4.236 | 356.2 | 4.722 | 12.17 | 5.732 | 11.4641 | 5.893 | 353.8 | 23.22 | 965.353 | 70.3836 | 6.1889
2020-09-07 04:15:00 | 4.369 | 4.565 | 4.504 | 17.42 | 6.676 | 16.4096 | 6.555 | 352.2 | 23.02 | 965.057 | 69.838 | 5.6457
2020-09-07 04:30:00 | 4.663 | 15.78 | 5.049 | 19.43 | 6.617 | 18.3031 | 7.255 | 1.371 | 23.33 | 965.205 | 67.6556 | 6.8539
2020-09-07 04:45:00 | 4.573 | 19.84 | 4.916 | 17.31 | 6.325 | 16.306 | 7.66 | 18.49 | 23.59 | 965.228 | 69.7016 | 6.9722
2020-09-07 05:00:00 | 5.275 | 352.9 | 5.957 | 8.62 | 6.951 | 8.12 | 6.891 | 351.8 | 23.99 | 965.354 | 69.156 | 7.2271
2020-09-07 05:15:00 | 4.645 | 345.7 | 5.844 | 5.707 | 6.638 | 5.376 | 6.679 | 346.8 | 24.05 | 965.651 | 68.5081 | 5.9413
2020-09-07 05:30:00 | 4.56 | 347.2 | 5.903 | 6.277 | 6.64 | 5.9129 | 6.595 | 350.3 | 24.21 | 965.502 | 66.4279 | 5.4314
2020-09-07 05:45:00 | 3.902 | 346.2 | 5.328 | 3.673 | 5.544 | 3.46 | 5.584 | 347.3 | 24.44 | 965.798 | 65.5749 | 3.1258
2020-09-07 06:00:00 | 4.131 | 343.6 | 5.049 | 4.713 | 5.931 | 4.4397 | 5.89 | 345.5 | 24.39 | 965.798 | 69.2905 | 0
2020-09-07 06:15:00 | 4.249 | 29.42 | 4.146 | 17.52 | 5.246 | 16.5038 | 5.595 | 355.1 | 23.8 | 965.798 | 71.9448 | 0
2020-09-07 06:30:00 | 3.56 | 4.633 | 4.292 | 24.92 | 4.26 | 23.4746 | 4.199 | 3.87 | 23.7 | 965.65 | 71.0199 | 0
2020-09-07 06:45:00 | 2.783 | 9.67 | 4.021 | 30.8 | 3.385 | 29.0136 | 3.213 | 8.88 | 23.89 | 965.65 | 70.0307 | 0
2020-09-07 07:00:00 | 1.969 | 15.9 | 2.968 | 36.54 | 2.978 | 34.4207 | 2.809 | 14.41 | 23.93 | 965.65 | 69.4832 | 0
2020-09-07 07:15:00 | 2.119 | 6.499 | 2.968 | 27.85 | 3.191 | 26.2347 | 2.674 | 5.379 | 24.38 | 965.947 | 67.9737 | 0
2020-09-07 07:30:00 | 1.403 | 4.176 | 1.648 | 17.39 | 1.831 | 16.3814 | 1.752 | 4.424 | 25.18 | 966.392 | 63.6763 | 0
2020-09-07 07:45:00 | 1.608 | 15.72 | 1.834 | 31.36 | 1.693 | 29.5411 | 1.62 | 3.886 | 25.8 | 966.557 | 64.8263 | 0
2020-09-07 08:00:00 | 0.721 | 13.63 | 1.682 | 46 | 0.883 | 43.332 | 0.582 | 0.644 | 26.11 | 967.135 | 64.8234 | 0
2020-09-07 08:15:00 | 1.781 | 9.61 | 1.413 | 13.32 | 0.844 | 12.5474 | 0.538 | 21.45 | 26.74 | 967.185 | 65.6252 | 0
2020-09-07 08:30:00 | 0.27 | 35.4 | 0.857 | 50.76 | 0.654 | 47.8159 | 0.439 | 359.5 | 26.9 | 967.285 | 64.1227 | 0
2020-09-07 08:45:00 | 1.405 | 18.54 | 2.252 | 37.62 | 1.351 | 35.438 | 1.095 | 6.78 | 26.71 | 967.433 | 66.7754 | 0
2020-09-07 09:00:00 | 1.393 | 352.9 | 1.676 | 352.3 | 1.29 | 331.867 | 1.123 | 4.307 | 26.92 | 967.73 | 67.5179 | 0
2020-09-07 09:15:00 | 0.992 | 38.13 | 1.544 | 22.94 | 1.713 | 21.6095 | 1.563 | 34.82 | 26.54 | 967.582 | 66.4205 | 0
2020-09-07 09:30:00 | 3.414 | 345.7 | 3.433 | 333.6 | 2.841 | 314.251 | 2.569 | 353.5 | 26.73 | 967.582 | 67.5089 | 0
2020-09-07 09:45:00 | 3.743 | 337.6 | 3.589 | 330.1 | 3.085 | 310.954 | 2.969 | 345.4 | 25.91 | 967.878 | 68.1989 | 0
2020-09-07 10:00:00 | 3.646 | 310.7 | 4.026 | 315.1 | 3.507 | 296.824 | 3.379 | 315.6 | 26.25 | 967.73 | 69.0231 | 0
2020-09-07 10:15:00 | 3.766 | 324.5 | 3.84 | 323.9 | 3.237 | 305.114 | 3.025 | 333.1 | 26.27 | 967.878 | 70.9025 | 0
2020-09-07 10:30:00 | 4.075 | 320.1 | 4.154 | 327.3 | 3.876 | 308.317 | 3.932 | 320.9 | 26.31 | 967.73 | 70.5622 | 0
2020-09-07 10:45:00 | 3.715 | 325 | 3.691 | 327.4 | 3.087 | 308.411 | 3.055 | 323.4 | 26.84 | 967.878 | 68.3475 | 0
2020-09-07 11:00:00 | 3.051 | 326.1 | 3.436 | 342.2 | 3.708 | 322.352 | 3.774 | 325.6 | 27.13 | 967.73 | 65.1789 | 0
2020-09-07 11:15:00 | 3.605 | 337.1 | 3.587 | 346.4 | 3.916 | 326.309 | 3.907 | 330.6 | 27.05 | 967.582 | 66.7797 | 0
2020-09-07 11:30:00 | 4.213 | 328.5 | 4.42 | 327.1 | 3.873 | 308.128 | 3.85 | 337.6 | 27.21 | 967.878 | 66.6437 | 0
2020-09-07 11:45:00 | 2.884 | 11.8 | 3.14 | 353.1 | 3.584 | 332.62 | 3.507 | 16.23 | 27.6 | 968.026 | 66.3031 | 0
2020-09-07 12:00:00 | 4.537 | 355.9 | 4.113 | 350.8 | 3.919 | 330.454 | 3.679 | 355.8 | 27.04 | 967.433 | 65.7921 | 0
2020-09-07 12:15:00 | 5.043 | 335.3 | 5.059 | 329.4 | 4.59 | 310.295 | 4.482 | 350 | 27.19 | 967.433 | 67.0187 | 0
2020-09-07 12:30:00 | 4.06 | 343.3 | 3.62 | 350.9 | 3.929 | 330.548 | 3.86 | 344.9 | 27.52 | 967.433 | 67.5979 | 0
2020-09-07 12:45:00 | 3.225 | 345.1 | 3.461 | 331.4 | 3.21 | 312.179 | 3.233 | 355.3 | 27.47 | 967.73 | 64.7359 | 0
2020-09-07 13:00:00 | 4.024 | 352 | 3.691 | 348.2 | 3.25 | 328.004 | 3.213 | 354 | 27.49 | 967.433 | 64.3952 | 0
2020-09-07 13:15:00 | 2.398 | 358.3 | 3.103 | 353.3 | 2.717 | 332.809 | 2.557 | 1.569 | 27.9 | 967.285 | 60.8177 | 0
2020-09-07 13:30:00 | 3.792 | 333.9 | 3.906 | 344.3 | 3.558 | 324.331 | 3.573 | 333.3 | 27.5 | 967.433 | 62.0784 | 0
2020-09-07 13:45:00 | 4.139 | 321.7 | 4.706 | 321.3 | 4.041 | 302.665 | 4.152 | 323.6 | 28.05 | 967.285 | 62.385 | 0
2020-09-07 14:00:00 | 3.355 | 328.5 | 3.428 | 336.8 | 3.144 | 317.266 | 3.016 | 327.4 | 28.15 | 967.433 | 58.3305 | 0
2020-09-07 14:15:00 | 4.006 | 316 | 4.075 | 325.2 | 3.843 | 306.338 | 3.784 | 314.1 | 27.81 | 967.582 | 62.4872 | 0
2020-09-07 14:30:00 | 3.485 | 326.4 | 3.558 | 346.4 | 3.296 | 326.309 | 3.275 | 323.2 | 27.8 | 967.582 | 61.8739 | 0
2020-09-07 14:45:00 | 3.123 | 330.4 | 3.696 | 348.4 | 3.598 | 328.193 | 3.623 | 328.6 | 27.61 | 967.285 | 62.2146 | 0
2020-09-07 15:00:00 | 2.43 | 344.8 | 2.804 | 0.132 | 2.858 | 0.12434 | 2.828 | 340.2 | 27.85 | 967.285 | 63.1346 | 0
2020-09-07 15:15:00 | 3.424 | 302.6 | 4.001 | 315.7 | 3.988 | 297.389 | 3.977 | 303.7 | 28.08 | 967.433 | 62.4191 | 0
2020-09-07 15:30:00 | 3.011 | 288 | 3.413 | 296.8 | 3.609 | 279.586 | 3.629 | 293 | 27.87 | 967.433 | 60.0681 | 0
2020-09-07 15:45:00 | 2.68 | 326.1 | 3.083 | 319.7 | 2.447 | 301.157 | 2.264 | 343.6 | 28.07 | 967.73 | 60.5451 | 0
2020-09-07 16:00:00 | 2.416 | 306.2 | 2.855 | 320.5 | 3.095 | 301.911 | 3.114 | 306.8 | 27.92 | 967.582 | 61.6354 | 0
2020-09-07 16:15:00 | 2.042 | 294.7 | 2.735 | 308.1 | 2.782 | 290.23 | 2.747 | 300.8 | 27.96 | 968.026 | 62.0102 | 0
2020-09-07 16:30:00 | 2.222 | 303.5 | 2.632 | 317.9 | 2.67 | 299.462 | 2.722 | 301.9 | 27.6 | 967.137 | 62.0102 | 0
2020-09-07 16:45:00 | 1.914 | 313.3 | 2.331 | 330.4 | 2.281 | 311.237 | 2.279 | 315.9 | 27.51 | 966.84 | 63.8501 | 0
2020-09-07 17:00:00 | 1.624 | 314.8 | 2.07 | 328.4 | 1.981 | 309.353 | 1.789 | 323.6 | 27.28 | 966.84 | 63.9864 | 0
2020-09-07 17:15:00 | 0.911 | 324.6 | 1.264 | 341.5 | 1.259 | 321.693 | 1.045 | 318.7 | 27.07 | 966.692 | 64.8041 | 0
2020-09-07 17:30:00 | 1.479 | 335.7 | 1.494 | 353.1 | 1.791 | 332.62 | 1.795 | 336.6 | 26.77 | 966.753 | 65.9678 | 0
2020-09-07 17:45:00 | 1.693 | 345.1 | 2.026 | 2.31 | 2.067 | 2.176 | 2.032 | 343.4 | 26.62 | 966.494 | 66.319 | 0
2020-09-07 18:00:00 | 2.75 | 337.8 | 2.871 | 355.7 | 2.456 | 335.069 | 2.274 | 337.9 | 26.31 | 966.097 | 66.2575 | 0
2020-09-07 18:15:00 | 2.666 | 342.7 | 2.919 | 1.348 | 3.044 | 1.2698 | 2.966 | 346.6 | 26.16 | 966.013 | 64.9966 | 0
2020-09-07 18:30:00 | 3.603 | 352.3 | 3.719 | 7.489 | 3.657 | 7.0546 | 3.46 | 353.1 | 26.08 | 966.236 | 64.9015 | 0
2020-09-07 18:45:00 | 3.118 | 352.9 | 3.413 | 4.631 | 3.324 | 4.3624 | 3.269 | 354.8 | 26.07 | 966.243 | 65.519 | 0
2020-09-07 19:00:00 | 3.251 | 354.2 | 3.101 | 4.768 | 3.041 | 4.4915 | 2.921 | 355.7 | 25.98 | 966.243 | 65.8599 | 0
2020-09-07 19:15:00 | 2.681 | 24.32 | 3.226 | 21.02 | 3.423 | 19.8008 | 3.629 | 1.234 | 25.6 | 966.243 | 67.7011 | 0
2020-09-07 19:30:00 | 2.63 | 22.69 | 3.316 | 21.44 | 3.525 | 20.1965 | 3.685 | 1.275 | 25.48 | 966.243 | 67.641 | 0
2020-09-07 19:45:00 | 3.156 | 29.65 | 3.423 | 18.7 | 3.568 | 17.6154 | 3.988 | 1.143 | 25.48 | 966.243 | 66.8932 | 0
2020-09-07 20:00:00 | 3.427 | 36.08 | 4.164 | 11.92 | 3.845 | 11.2286 | 4.612 | 0.198 | 25.47 | 966.391 | 66.1438 | 0
2020-09-07 20:15:00 | 3.036 | 56.13 | 3.339 | 15.39 | 3.629 | 14.4974 | 3.985 | 0.615 | 25.47 | 966.54 | 65.8711 | 0
2020-09-07 20:30:00 | 2.653 | 1.656 | 3.262 | 22.71 | 3.09 | 21.3928 | 3.124 | 0.203 | 25.39 | 966.688 | 66.0075 | 0
2020-09-07 20:45:00 | 2.671 | 34.78 | 3.116 | 19.23 | 2.706 | 18.1147 | 2.913 | 2.09 | 25.54 | 966.688 | 64.3027 | 0
2020-09-07 21:00:00 | 3.161 | 0.757 | 3.783 | 22.98 | 3.774 | 21.6472 | 3.598 | 2.974 | 25.53 | 966.985 | 64.6437 | 0
2020-09-07 21:15:00 | 2.467 | 16.26 | 3.052 | 22.89 | 2.838 | 21.5624 | 2.488 | 6.168 | 25.53 | 966.985 | 64.3709 | 0
2020-09-07 21:30:00 | 2.01 | 16.65 | 2.983 | 39.49 | 3.283 | 37.1996 | 3.091 | 14.21 | 25.42 | 966.54 | 65.529 | 0
2020-09-07 21:45:00 | 1.994 | 19.3 | 2.881 | 38.06 | 2.561 | 35.8525 | 2.424 | 21.51 | 25.51 | 966.54 | 64.5755 | 0
2020-09-07 22:00:00 | 1.984 | 19.22 | 2.51 | 37.37 | 1.889 | 35.2025 | 1.645 | 22.54 | 25.58 | 966.54 | 62.4616 | 0
2020-09-07 22:15:00 | 2.086 | 19.09 | 2.431 | 29.74 | 1.742 | 28.0151 | 1.556 | 17.89 | 25.83 | 966.837 | 61.0978 | 0
2020-09-07 22:30:00 | 2.551 | 17.85 | 3.114 | 29.8 | 2.403 | 28.0716 | 2.264 | 17.09 | 25.81 | 966.985 | 61.9843 | 0
2020-09-07 22:45:00 | 3.097 | 10.07 | 2.574 | 19.68 | 2.685 | 18.5386 | 2.834 | 0.744 | 25.75 | 967.43 | 60.7569 | 0
2020-09-07 23:00:00 | 2.592 | 355.6 | 2.658 | 12.66 | 2.675 | 11.9257 | 2.562 | 353.9 | 25.68 | 966.985 | 62.0525 | 0
2020-09-07 23:15:00 | 2.676 | 342.1 | 2.638 | 3.015 | 2.647 | 2.8401 | 2.577 | 337.9 | 25.77 | 967.281 | 61.6434 | 0
2020-09-07 23:30:00 | 2.451 | 341.7 | 2.441 | 4.187 | 2.545 | 3.9442 | 2.503 | 337.4 | 25.73 | 967.578 | 63.5527 | 0
2020-09-07 23:45:00 | 2.546 | 328.9 | 3.009 | 349.5 | 2.899 | 329.229 | 2.849 | 331.2 | 25.5 | 968.023 | 66.2802 | 0