## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-08 00:00:00 | 9.46 | 302 | 12.01 | 316.1 | 12.96 | 297.766 | 13.11 | 303 | 20.81 | 968.616 | 66.0757 | 0
2020-09-08 00:15:00 | 6.703 | 293.7 | 7.918 | 304.4 | 8.29 | 286.745 | 8.4 | 289.9 | 17.52 | 967.033 | 99.9142 | 0
2020-09-08 00:30:00 | 5.569 | 338.6 | 6.744 | 1.101 | 8.3 | 1.0371 | 8.68 | 334.8 | 17.53 | 966.24 | 92.4677 | 0
2020-09-08 00:45:00 | 5.745 | 12.43 | 8.03 | 30.6 | 8.01 | 28.8252 | 7.584 | 14.09 | 17.52 | 965.939 | 88.146 | 0
2020-09-08 01:00:00 | 6.713 | 5.513 | 8.02 | 23.3 | 8.38 | 21.9486 | 7.331 | 6.507 | 18.03 | 965.943 | 82.827 | 0
2020-09-08 01:15:00 | 5.783 | 9.52 | 7.606 | 29.1 | 8.02 | 27.4122 | 7.897 | 12.02 | 18.21 | 965.943 | 84.8774 | 0
2020-09-08 01:30:00 | 4.757 | 9.01 | 6.606 | 30.38 | 7.146 | 28.618 | 7.28 | 6.37 | 18.97 | 966.091 | 74.2319 | 0
2020-09-08 01:45:00 | 4.374 | 20.55 | 4.959 | 48.7 | 5.236 | 45.8754 | 5.154 | 14.42 | 20.56 | 966.685 | 62.0868 | 0
2020-09-08 02:00:00 | 1.48 | 10.96 | 2.904 | 30.05 | 3.642 | 28.3071 | 3.623 | 7.592 | 21.11 | 967.13 | 63.1076 | 0
2020-09-08 02:15:00 | 5.584 | 320.9 | 5.018 | 323.2 | 4.204 | 304.454 | 3.975 | 328.9 | 18.4 | 967.13 | 90.9432 | 0
2020-09-08 02:30:00 | 3.177 | 358.2 | 3.323 | 343.9 | 2.337 | 323.954 | 2.09 | 0.148 | 17.51 | 966.833 | 94.6274 | 0
2020-09-08 02:45:00 | 7.267 | 11.33 | 7.306 | 18.68 | 8.2 | 17.5966 | 8.32 | 3.837 | 17.08 | 966.833 | 99.9189 | 0
2020-09-08 03:00:00 | 5.393 | 4.713 | 6.69 | 30.07 | 7.579 | 28.3259 | 7.365 | 3.374 | 17.15 | 967.13 | 99.8839 | 0
2020-09-08 03:15:00 | 5.761 | 2.696 | 7.171 | 22.13 | 7.686 | 20.8465 | 6.677 | 7.773 | 17.98 | 967.13 | 88.9099 | 0
2020-09-08 03:30:00 | 3.524 | 19.74 | 6.391 | 38.94 | 7.734 | 36.6815 | 7.431 | 19.59 | 18.95 | 967.427 | 75.9408 | 0
2020-09-08 03:45:00 | 4.195 | 13.82 | 6.711 | 33.28 | 7.388 | 31.3498 | 6.865 | 15.6 | 20.43 | 967.575 | 75.7295 | 0
2020-09-08 04:00:00 | 4.124 | 21.99 | 6.496 | 39.08 | 7.108 | 36.8134 | 7.168 | 25.12 | 20.57 | 967.575 | 74.16 | 0
2020-09-08 04:15:00 | 3.371 | 23.25 | 5.691 | 40.31 | 6.455 | 37.972 | 6.384 | 25.28 | 20.86 | 967.724 | 69.8278 | 0
2020-09-08 04:30:00 | 2.975 | 14.55 | 4.814 | 35.22 | 5.119 | 33.1772 | 4.736 | 14.53 | 21.21 | 967.915 | 68.2586 | 0
2020-09-08 04:45:00 | 1.342 | 13.87 | 2.635 | 30.4 | 3.235 | 28.6368 | 3.035 | 15.05 | 21.25 | 968.182 | 68.4292 | 0
2020-09-08 05:00:00 | 2.906 | 9.42 | 3.28 | 22.9 | 3.527 | 21.5718 | 3.336 | 9.58 | 21.15 | 968.034 | 69.4521 | 0
2020-09-08 05:15:00 | 2.85 | 19.76 | 4.241 | 34.96 | 4.326 | 32.9323 | 4.217 | 24.53 | 20.93 | 968.022 | 71.2568 | 0
2020-09-08 05:30:00 | 2.559 | 19.39 | 4.307 | 35.57 | 5.007 | 33.5069 | 4.917 | 22.18 | 20.35 | 968.352 | 72.9976 | 0
2020-09-08 05:45:00 | 2.668 | 34.94 | 3.64 | 50.69 | 4.056 | 47.75 | 4.013 | 38.27 | 20.66 | 968.356 | 70.679 | 0
2020-09-08 06:00:00 | 2.053 | 30.91 | 2.738 | 53.43 | 3.082 | 50.3311 | 2.979 | 29.53 | 20.84 | 968.956 | 67.8492 | 0
2020-09-08 06:15:00 | 2.885 | 10.81 | 4.157 | 26.58 | 4.707 | 25.0384 | 4.525 | 12.64 | 21.21 | 968.966 | 66.278 | 0
2020-09-08 06:30:00 | 3.284 | 14.25 | 4.338 | 32.21 | 4.847 | 30.3418 | 4.568 | 16.15 | 21.51 | 969.361 | 65.8951 | 0
2020-09-08 06:45:00 | 3.062 | 5.54 | 4.469 | 22.33 | 4.756 | 21.0349 | 4.385 | 8.59 | 21.68 | 969.506 | 64.1883 | 0
2020-09-08 07:00:00 | 3.71 | 10.55 | 3.896 | 14.71 | 4.799 | 13.8568 | 4.224 | 2.714 | 21.89 | 969.654 | 64.7326 | 0
2020-09-08 07:15:00 | 3.085 | 10.16 | 4.635 | 28.37 | 4.852 | 26.7245 | 4.4 | 15.14 | 22 | 969.803 | 66.7722 | 0
2020-09-08 07:30:00 | 3.335 | 8.07 | 3.448 | 17.73 | 3.713 | 16.7017 | 3.547 | 6.144 | 22.14 | 969.82 | 63.9045 | 0
2020-09-08 07:45:00 | 3.766 | 342.7 | 3.152 | 338.7 | 2.772 | 319.055 | 2.849 | 356 | 21.34 | 969.803 | 83.7378 | 0
2020-09-08 08:00:00 | 3.565 | 331.9 | 3.653 | 332.1 | 3.957 | 312.838 | 4.069 | 347.5 | 20.23 | 969.803 | 79.4379 | 0
2020-09-08 08:15:00 | 2.804 | 356.4 | 2.692 | 348.8 | 2.594 | 328.57 | 2.696 | 359.7 | 20.85 | 970.248 | 85.2227 | 0
2020-09-08 08:30:00 | 1.141 | 18.45 | 1.599 | 37.31 | 2.001 | 35.146 | 1.666 | 13.07 | 21.61 | 970.693 | 80.5483 | 0
2020-09-08 08:45:00 | 1.011 | 9.73 | 1.199 | 7.484 | 1.269 | 7.0499 | 0.814 | 3.683 | 22.62 | 971.015 | 77.0962 | 0
2020-09-08 09:00:00 | 2.168 | 309.7 | 2.398 | 316.7 | 1.442 | 298.331 | 1.228 | 328.2 | 21.88 | 971.139 | 77.5353 | 0
2020-09-08 09:15:00 | 2.819 | 300.4 | 2.876 | 307.1 | 2.398 | 289.288 | 2.106 | 310.2 | 21.84 | 971.139 | 79.3746 | 0
2020-09-08 09:30:00 | 2.234 | 302.9 | 2.211 | 312.6 | 1.561 | 294.469 | 1.21 | 300.3 | 22.32 | 971.435 | 71.5045 | 0
2020-09-08 09:45:00 | 1.658 | 290.8 | 2 | 304.6 | 1.792 | 286.933 | 1.562 | 297.9 | 22.66 | 971.435 | 71.878 | 0
2020-09-08 10:00:00 | 1.95 | 296.3 | 2.384 | 308.9 | 2.273 | 290.984 | 2.014 | 296.3 | 23.21 | 971.453 | 67.5344 | 0
2020-09-08 10:15:00 | 2.091 | 296.1 | 2.036 | 306.1 | 1.668 | 288.346 | 1.319 | 311.4 | 23.64 | 971.584 | 67.2573 | 0
2020-09-08 10:30:00 | 2.995 | 309.4 | 3.295 | 306.5 | 2.952 | 288.723 | 2.908 | 321 | 23.91 | 971.584 | 65.7581 | 0
2020-09-08 10:45:00 | 3.21 | 313.7 | 3.236 | 322.2 | 2.482 | 303.512 | 2.251 | 319.7 | 24.19 | 971.287 | 62.0443 | 0
2020-09-08 11:00:00 | 3.108 | 303 | 3.189 | 319.6 | 3.016 | 301.063 | 2.959 | 302.5 | 24.3 | 971.436 | 62.4191 | 0
2020-09-08 11:15:00 | 3.234 | 301.7 | 3.852 | 308.5 | 3.395 | 290.607 | 3.224 | 308 | 24.35 | 971.88 | 63.305 | 0
2020-09-08 11:30:00 | 3.823 | 305.4 | 4.111 | 312.2 | 3.988 | 294.092 | 3.957 | 308.7 | 24.23 | 971.287 | 64.1227 | 0
2020-09-08 11:45:00 | 3.23 | 294.3 | 3.546 | 301.2 | 3.115 | 283.73 | 2.867 | 297.8 | 24.28 | 971.287 | 63.9523 | 0
2020-09-08 12:00:00 | 3.843 | 303.7 | 4.412 | 312.4 | 3.929 | 294.281 | 3.837 | 310.3 | 24.85 | 971.308 | 66.0653 | 0
2020-09-08 12:15:00 | 3.29 | 319.8 | 3.523 | 317.6 | 3.329 | 299.179 | 3.254 | 327.6 | 24.78 | 971.438 | 64.2036 | 0
2020-09-08 12:30:00 | 3.21 | 331 | 3.778 | 349.4 | 3.621 | 329.135 | 3.517 | 335.4 | 25.39 | 971.435 | 63.8344 | 0
2020-09-08 12:45:00 | 2.447 | 346.3 | 3.185 | 350.2 | 3.064 | 329.888 | 2.632 | 353.4 | 25.7 | 971.435 | 63.9038 | 0
2020-09-08 13:00:00 | 2.808 | 358.6 | 3.096 | 12.7 | 3.466 | 11.9634 | 3.433 | 354.9 | 26.13 | 971.583 | 59.304 | 0
2020-09-08 13:15:00 | 4.086 | 334.8 | 4.343 | 349.2 | 4.267 | 328.946 | 4.291 | 335.7 | 25.98 | 971.287 | 62.2694 | 0
2020-09-08 13:30:00 | 3.18 | 298.3 | 3.806 | 313.8 | 3.567 | 295.6 | 3.289 | 301 | 26.14 | 971.583 | 58.7583 | 0
2020-09-08 13:45:00 | 3.306 | 323.1 | 3.98 | 325.7 | 3.748 | 306.809 | 3.794 | 321.3 | 26.49 | 971.88 | 57.4614 | 0
2020-09-08 14:00:00 | 3.577 | 327 | 4.001 | 335 | 3.936 | 315.57 | 3.961 | 325.6 | 26.54 | 971.88 | 60.6307 | 0
2020-09-08 14:15:00 | 3.422 | 304.5 | 3.405 | 310.4 | 2.874 | 292.397 | 2.606 | 316.4 | 26.46 | 972.325 | 59.0644 | 0
2020-09-08 14:30:00 | 2.845 | 330.6 | 2.802 | 327.8 | 2.379 | 308.788 | 2.219 | 336.7 | 26.84 | 972.542 | 60.6249 | 0
2020-09-08 14:45:00 | 2.545 | 323.1 | 2.711 | 322.4 | 2.696 | 303.701 | 2.68 | 325 | 26.72 | 972.476 | 56.4908 | 0
2020-09-08 15:00:00 | 2.003 | 324.3 | 1.974 | 353.3 | 2.056 | 332.809 | 1.94 | 324.8 | 26.73 | 972.325 | 57.0699 | 0
2020-09-08 15:15:00 | 2.997 | 307.4 | 3.514 | 321.4 | 3.415 | 302.759 | 3.14 | 318.6 | 27.02 | 972.473 | 59.6934 | 0
2020-09-08 15:30:00 | 2.213 | 3.833 | 2.315 | 21.44 | 2.267 | 20.1965 | 2.304 | 351 | 26.93 | 972.77 | 53.799 | 0
2020-09-08 15:45:00 | 2.933 | 321 | 3.553 | 337.6 | 3.815 | 318.019 | 3.588 | 319.5 | 27.04 | 972.325 | 55.707 | 0
2020-09-08 16:00:00 | 2.755 | 309.4 | 3.154 | 320 | 3.456 | 301.44 | 3.384 | 315.3 | 26.72 | 972.325 | 58.2964 | 0
2020-09-08 16:15:00 | 2.829 | 339 | 3.009 | 354.7 | 3.263 | 334.127 | 3.193 | 326 | 26.9 | 972.473 | 57.9898 | 0
2020-09-08 16:30:00 | 2.242 | 338.1 | 2.472 | 351.8 | 2.67 | 331.396 | 2.643 | 329.4 | 26.86 | 972.473 | 57.4447 | 0
2020-09-08 16:45:00 | 1.595 | 331.2 | 2.125 | 350.6 | 2.115 | 330.265 | 2.025 | 326.9 | 26.61 | 972.325 | 58.8075 | 0
2020-09-08 17:00:00 | 2.218 | 314.8 | 2.536 | 325.9 | 2.647 | 306.998 | 2.505 | 320.5 | 26.36 | 972.177 | 59.9659 | 0
2020-09-08 17:15:00 | 2.577 | 319.1 | 3.249 | 334.8 | 3.466 | 315.382 | 3.499 | 321.7 | 25.92 | 971.436 | 58.5349 | 0
2020-09-08 17:30:00 | 2.192 | 336.6 | 2.285 | 1.675 | 2.909 | 1.5778 | 2.844 | 337.9 | 25.63 | 971.561 | 60.1199 | 0
2020-09-08 17:45:00 | 2.97 | 342.5 | 3.221 | 358.9 | 3.247 | 338.084 | 3.15 | 343.1 | 25.38 | 970.842 | 59.5082 | 0
2020-09-08 18:00:00 | 4.18 | 354.9 | 4.331 | 7.077 | 4.669 | 6.6665 | 4.421 | 355.3 | 25.32 | 970.466 | 60.9407 | 0
2020-09-08 18:15:00 | 3.907 | 355.3 | 4.481 | 8.78 | 4.814 | 8.2708 | 4.655 | 355.6 | 25.13 | 970.539 | 62.2443 | 0
2020-09-08 18:30:00 | 3.659 | 356.6 | 3.845 | 9.18 | 4.28 | 8.6476 | 4.306 | 355.5 | 25.02 | 970.545 | 63.6782 | 0
2020-09-08 18:45:00 | 2.883 | 356.5 | 3.441 | 13.95 | 4.331 | 13.1409 | 4.385 | 23.02 | 24.67 | 970.693 | 62.7332 | 0
2020-09-08 19:00:00 | 3.478 | 347.5 | 4.003 | 5.392 | 3.843 | 5.0793 | 3.723 | 346.4 | 24.99 | 971.138 | 62.1889 | 0
2020-09-08 19:15:00 | 4.578 | 346.1 | 4.97 | 7.557 | 4.878 | 7.1187 | 4.795 | 349 | 24.9 | 970.99 | 61.4388 | 0
2020-09-08 19:30:00 | 2.247 | 0.609 | 3.124 | 22.39 | 2.512 | 21.0914 | 1.871 | 5.014 | 24.72 | 970.99 | 61.9843 | 0
2020-09-08 19:45:00 | 3.097 | 351.9 | 3.249 | 6.611 | 2.767 | 6.2276 | 2.6 | 353.2 | 24.93 | 971.435 | 61.0309 | 0
2020-09-08 20:00:00 | 3.685 | 347.1 | 4.09 | 1.398 | 3.596 | 1.3169 | 3.494 | 345.1 | 25 | 971.435 | 61.1 | 0
2020-09-08 20:15:00 | 2.852 | 349.3 | 3.223 | 3.33 | 3.072 | 3.1369 | 2.977 | 351.5 | 24.77 | 971.583 | 61.7145 | 0
2020-09-08 20:30:00 | 2.577 | 349.3 | 2.991 | 4.918 | 2.678 | 4.6328 | 2.503 | 352.2 | 24.77 | 971.435 | 60.6934 | 0
2020-09-08 20:45:00 | 2.227 | 355.4 | 1.659 | 7.207 | 1.495 | 6.789 | 1.236 | 1.549 | 24.96 | 971.731 | 60.7305 | 0
2020-09-08 21:00:00 | 1.486 | 3.92 | 1.649 | 11.39 | 1.026 | 10.7294 | 0.532 | 11.35 | 25 | 971.435 | 59.0246 | 0
2020-09-08 21:15:00 | 0.888 | 3.905 | 0.255 | 11.36 | 0 | 10.7011 | 0 | 11.32 | 25.12 | 971.435 | 58.7212 | 0
2020-09-08 21:30:00 | 2.334 | 3.942 | 2.216 | 11.97 | 1.236 | 11.2757 | 1.163 | 11.01 | 24.98 | 971.583 | 61.0392 | 0
2020-09-08 21:45:00 | 2.502 | 5.731 | 2.533 | 20.57 | 1.948 | 19.3769 | 1.673 | 14.79 | 24.9 | 971.583 | 60.4937 | 0
2020-09-08 22:00:00 | 2.053 | 8.67 | 1.983 | 20.55 | 1.112 | 19.3581 | 0.595 | 16.07 | 24.93 | 971.286 | 59.8802 | 0
2020-09-08 22:15:00 | 0.339 | 8.67 | 0.192 | 20.55 | 0 | 19.3581 | 0 | 16.07 | 24.97 | 971.435 | 58.1747 | 0
2020-09-08 22:30:00 | 1.213 | 8.67 | 0.796 | 20.55 | 0 | 19.3581 | 0 | 16.07 | 24.99 | 971.435 | 58.2438 | 0
2020-09-08 22:45:00 | 1.892 | 48.04 | 1.695 | 20.12 | 1.388 | 18.953 | 0.769 | 14.93 | 24.82 | 971.286 | 60.5626 | 0
2020-09-08 23:00:00 | 1.56 | 82.8 | 1.779 | 3.311 | 1.17 | 3.119 | 0.833 | 347.7 | 24.75 | 971.286 | 60.2216 | 0
2020-09-08 23:15:00 | 1.41 | 349.6 | 1.177 | 53.68 | 0.569 | 50.5666 | 0 | 347.7 | 24.76 | 971.286 | 59.2327 | 0
2020-09-08 23:30:00 | 1.177 | 342 | 1.04 | 348.7 | 0.541 | 328.475 | 0 | 347.7 | 24.77 | 971.435 | 56.4706 | 0
2020-09-08 23:45:00 | 1.003 | 330.1 | 1.171 | 347.7 | 0.922 | 327.533 | 0 | 347.7 | 24.73 | 971.286 | 57.1526 | 0