## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-09 00:00:00 | 1.647 | 306.2 | 1.792 | 331.3 | 1.505 | 312.085 | 1.303 | 346 | 24.81 | 971.583 | 56.8798 | 0
2020-09-09 00:15:00 | 2.39 | 306.2 | 2.387 | 321.2 | 1.968 | 302.57 | 1.78 | 305.3 | 24.79 | 971.583 | 56.8798 | 0
2020-09-09 00:30:00 | 1.62 | 313.2 | 2.142 | 338.8 | 2.192 | 319.15 | 2.062 | 315 | 24.73 | 971.583 | 56.3342 | 0
2020-09-09 00:45:00 | 2.288 | 315.5 | 2.428 | 331 | 2.266 | 311.802 | 2.146 | 315.8 | 24.79 | 971.286 | 57.971 | 0
2020-09-09 01:00:00 | 2.594 | 329.2 | 2.932 | 350.7 | 3.013 | 330.359 | 3.005 | 325.4 | 24.74 | 971.286 | 59.0622 | 0
2020-09-09 01:15:00 | 2.806 | 327.6 | 3.137 | 346.2 | 3.08 | 326.12 | 3.089 | 326 | 24.68 | 971.731 | 59.8806 | 0
2020-09-09 01:30:00 | 2.589 | 324.7 | 2.891 | 341.8 | 3.151 | 321.976 | 3.178 | 325.6 | 24.68 | 971.435 | 60.6308 | 0
2020-09-09 01:45:00 | 2.939 | 333.6 | 3.131 | 352.4 | 3.408 | 331.961 | 3.397 | 331.8 | 24.58 | 971.286 | 60.7673 | 0
2020-09-09 02:00:00 | 2.477 | 350.6 | 2.947 | 9.54 | 3.258 | 8.9867 | 3.188 | 350.4 | 24.44 | 971.286 | 61.516 | 0
2020-09-09 02:15:00 | 3.48 | 341.3 | 3.576 | 0.442 | 3.576 | 0.41636 | 3.491 | 340.4 | 24.49 | 970.99 | 58.994 | 0
2020-09-09 02:30:00 | 2.661 | 349.7 | 2.965 | 3.424 | 3.13 | 3.2254 | 3.056 | 346.8 | 24.45 | 970.99 | 60.5626 | 0
2020-09-09 02:45:00 | 3.018 | 350.3 | 3.374 | 7.74 | 3.23 | 7.2911 | 3.142 | 351.5 | 24.3 | 970.99 | 59.8806 | 0
2020-09-09 03:00:00 | 2.755 | 348.9 | 2.95 | 7.231 | 3.214 | 6.8116 | 3.066 | 351 | 24.18 | 970.99 | 59.676 | 0
2020-09-09 03:15:00 | 2.76 | 353.8 | 2.554 | 8.18 | 3.319 | 7.7056 | 3.28 | 354 | 24.18 | 970.841 | 59.8806 | 0
2020-09-09 03:30:00 | 2.919 | 353.3 | 2.633 | 9.69 | 3.494 | 9.128 | 3.341 | 353.8 | 24.18 | 970.841 | 61.8585 | 0
2020-09-09 03:45:00 | 2.817 | 353.3 | 2.513 | 10.92 | 3.932 | 10.2866 | 3.639 | 353.8 | 24.09 | 970.693 | 61.5516 | 0
2020-09-09 04:00:00 | 3.087 | 354.5 | 2.579 | 12.03 | 3.858 | 11.3323 | 3.672 | 353.8 | 24.01 | 970.841 | 61.9267 | 0
2020-09-09 04:15:00 | 2.612 | 0.788 | 3.54 | 20.67 | 3.84 | 19.4711 | 3.509 | 0.668 | 23.78 | 970.841 | 63.8363 | 0
2020-09-09 04:30:00 | 2.365 | 4.335 | 3.415 | 25.59 | 3.382 | 24.1058 | 2.786 | 4.16 | 23.75 | 970.699 | 63.9727 | 0
2020-09-09 04:45:00 | 2.508 | 3.678 | 3.313 | 25.45 | 2.792 | 23.9739 | 2.895 | 4.652 | 23.85 | 970.705 | 64.4842 | 0
2020-09-09 05:00:00 | 2.589 | 3.312 | 3.014 | 23.7 | 2.914 | 22.3254 | 3.196 | 2.909 | 23.88 | 971.016 | 64.6547 | 0
2020-09-09 05:15:00 | 2.365 | 11.71 | 3.016 | 34.23 | 3.021 | 32.2447 | 2.59 | 12.05 | 23.65 | 970.889 | 65.1321 | 0
2020-09-09 05:30:00 | 2.298 | 14.35 | 3.075 | 33.42 | 3.219 | 31.4816 | 3.145 | 18.51 | 23.69 | 970.914 | 64.9275 | 0
2020-09-09 05:45:00 | 2.186 | 13.03 | 3.088 | 33.89 | 2.655 | 31.9244 | 2.037 | 12.61 | 23.7 | 971.089 | 64.1091 | 0
2020-09-09 06:00:00 | 2.334 | 7.889 | 3.387 | 28.48 | 2.746 | 26.8282 | 2.488 | 6.69 | 23.86 | 971.332 | 63.2907 | 0
2020-09-09 06:15:00 | 2.615 | 6.198 | 3.471 | 27.9 | 2.991 | 26.2818 | 2.643 | 4.342 | 23.99 | 971.436 | 62.7451 | 0
2020-09-09 06:30:00 | 2.454 | 15.85 | 3.428 | 29.86 | 3.4 | 28.1281 | 3.351 | 18.02 | 23.98 | 971.583 | 62.1898 | 0
2020-09-09 06:45:00 | 2.482 | 14.63 | 3.259 | 33.65 | 3.326 | 31.6983 | 3.213 | 16.13 | 24.23 | 971.583 | 60.7569 | 0
2020-09-09 07:00:00 | 2.122 | 16.16 | 2.794 | 34.04 | 2.586 | 32.0657 | 2.139 | 14.55 | 24.26 | 971.732 | 60.7468 | 0
2020-09-09 07:15:00 | 2.303 | 14.55 | 2.917 | 33.71 | 2.795 | 31.7548 | 2.696 | 14.1 | 24.43 | 972.028 | 60.0307 | 0
2020-09-09 07:30:00 | 2.352 | 14.03 | 3.349 | 36.07 | 3.12 | 33.9779 | 2.944 | 14.39 | 24.7 | 972.325 | 60.4017 | 0
2020-09-09 07:45:00 | 1.938 | 22.26 | 2.582 | 40.42 | 2.65 | 38.0756 | 2.569 | 21.82 | 24.69 | 972.066 | 58.1118 | 0
2020-09-09 08:00:00 | 1.989 | 28.62 | 2.362 | 46.65 | 2.609 | 43.9443 | 2.503 | 29.69 | 25.32 | 972.622 | 55.0102 | 0
2020-09-09 08:15:00 | 1.909 | 25.52 | 2.546 | 47.85 | 2.581 | 45.0747 | 2.409 | 22.7 | 25.24 | 972.473 | 55.8936 | 0
2020-09-09 08:30:00 | 1.512 | 38.79 | 1.707 | 56.62 | 1.479 | 53.336 | 1.047 | 33.18 | 26.22 | 973.14 | 53.1284 | 0
2020-09-09 08:45:00 | 2.384 | 17.05 | 2.899 | 39.82 | 2.486 | 37.5104 | 2.114 | 12.05 | 26.52 | 972.771 | 48.1091 | 0
2020-09-09 09:00:00 | 1.547 | 28.36 | 2.628 | 51.64 | 1.833 | 48.6449 | 1.509 | 11.79 | 26.4 | 972.918 | 51.3118 | 0
2020-09-09 09:15:00 | 2.416 | 281.8 | 2.097 | 291.2 | 1.831 | 274.31 | 1.42 | 294.5 | 26.1 | 973.066 | 62.2487 | 0
2020-09-09 09:30:00 | 2.398 | 309.7 | 2.597 | 318 | 1.841 | 299.556 | 1.65 | 315.8 | 26.1 | 972.622 | 59.5902 | 0
2020-09-09 09:45:00 | 2.967 | 306.8 | 3.004 | 311.6 | 2.657 | 293.527 | 2.528 | 311.9 | 25.84 | 972.473 | 59.0076 | 0
2020-09-09 10:00:00 | 2.758 | 302.6 | 3.167 | 310.5 | 2.891 | 292.491 | 2.816 | 312.4 | 25.72 | 972.473 | 56.1448 | 0
2020-09-09 10:15:00 | 3.24 | 314.1 | 3.39 | 316.5 | 2.693 | 298.143 | 2.533 | 320.8 | 26.22 | 972.177 | 58.1214 | 0
2020-09-09 10:30:00 | 3.108 | 310 | 3.172 | 316.1 | 2.65 | 297.766 | 2.554 | 315.6 | 25.85 | 972.325 | 59.0119 | 0
2020-09-09 10:45:00 | 2.953 | 326.1 | 3.264 | 325.8 | 2.523 | 306.904 | 2.51 | 338.1 | 25.97 | 971.88 | 58.4327 | 0
2020-09-09 11:00:00 | 2.319 | 334.5 | 3.162 | 340.9 | 3.245 | 321.128 | 2.992 | 335.3 | 26.66 | 972.177 | 57.3424 | 0
2020-09-09 11:15:00 | 1.508 | 19.42 | 1.727 | 11.14 | 3.259 | 10.4939 | 3.143 | 26.27 | 27.36 | 972.029 | 56.5928 | 0
2020-09-09 11:30:00 | 1.727 | 14.88 | 2.761 | 21.12 | 3.097 | 19.895 | 2.745 | 17.6 | 27.3 | 972.029 | 55.2252 | 0
2020-09-09 11:45:00 | 2.737 | 13.02 | 2.927 | 24.74 | 3.086 | 23.3051 | 2.754 | 7.973 | 26.56 | 971.732 | 57.6063 | 0
2020-09-09 12:00:00 | 2.619 | 328.7 | 2.891 | 337.7 | 2.794 | 318.113 | 2.55 | 328.9 | 27.48 | 971.584 | 59.8967 | 0
2020-09-09 12:15:00 | 2.824 | 331.8 | 3.078 | 334 | 2.798 | 314.628 | 2.605 | 331.6 | 26.5 | 971.436 | 55.8092 | 0
2020-09-09 12:30:00 | 2.939 | 310.4 | 2.927 | 315.5 | 2.278 | 297.201 | 2.095 | 316.7 | 26.78 | 971.139 | 56.0818 | 0
2020-09-09 12:45:00 | 2.937 | 306 | 3.119 | 312.1 | 2.581 | 293.998 | 2.457 | 309.4 | 26.17 | 970.843 | 50.5622 | 0
2020-09-09 13:00:00 | 2.508 | 293.3 | 2.477 | 301.5 | 2.098 | 284.013 | 1.892 | 296.6 | 26.69 | 971.336 | 54.8315 | 0
2020-09-09 13:15:00 | 2.252 | 295.9 | 2.896 | 310.1 | 2.624 | 292.114 | 2.381 | 298.7 | 26.97 | 971.224 | 53.709 | 0
2020-09-09 13:30:00 | 2.783 | 282.6 | 2.807 | 287.3 | 2.52 | 270.637 | 2.277 | 293.9 | 27.41 | 970.865 | 52.6408 | 0
2020-09-09 13:45:00 | 2.954 | 281.9 | 2.973 | 300 | 2.655 | 282.6 | 2.505 | 279.7 | 26.75 | 970.549 | 50.5281 | 0
2020-09-09 14:00:00 | 3.713 | 296.5 | 4.001 | 298.8 | 3.428 | 281.47 | 3.326 | 304.6 | 27.1 | 970.716 | 48.2456 | 0
2020-09-09 14:15:00 | 2.436 | 337.7 | 2.395 | 350.1 | 2.152 | 329.794 | 1.896 | 329.5 | 26.58 | 970.663 | 50.9753 | 0
2020-09-09 14:30:00 | 2.843 | 299.8 | 2.822 | 303.2 | 2.487 | 285.614 | 2.36 | 301.6 | 27.51 | 971.003 | 46.3377 | 0
2020-09-09 14:45:00 | 1.778 | 295.2 | 2.087 | 299.6 | 1.287 | 282.223 | 0.791 | 298.5 | 27.5 | 970.991 | 42.9983 | 0
2020-09-09 15:00:00 | 2.763 | 278.4 | 2.814 | 284.5 | 2.068 | 267.999 | 1.894 | 289.3 | 27.82 | 971.732 | 39.2504 | 0
2020-09-09 15:15:00 | 1.849 | 306.5 | 2.13 | 322.2 | 1.459 | 303.512 | 1.129 | 310.2 | 28 | 971.584 | 38.9779 | 0
2020-09-09 15:30:00 | 2.266 | 307.4 | 2.802 | 310.6 | 2.647 | 292.585 | 2.454 | 314.5 | 28.08 | 970.991 | 42.4532 | 0
2020-09-09 15:45:00 | 1.792 | 345.3 | 2.277 | 5.148 | 1.879 | 4.8494 | 1.468 | 340.6 | 27.89 | 971.139 | 43.7466 | 0
2020-09-09 16:00:00 | 1.837 | 302.7 | 2.364 | 311.4 | 2.332 | 293.339 | 2.136 | 309 | 27.59 | 970.695 | 45.519 | 0
2020-09-09 16:15:00 | 2.579 | 290.6 | 2.564 | 305.2 | 2.12 | 287.498 | 1.805 | 297 | 27.46 | 970.546 | 42.862 | 0
2020-09-09 16:30:00 | 0.944 | 316.7 | 1.503 | 336.4 | 1.093 | 316.889 | 0.695 | 313.9 | 27.85 | 970.695 | 43.9523 | 0
2020-09-09 16:45:00 | 2.171 | 330.8 | 1.92 | 352.5 | 2.047 | 332.055 | 2.047 | 329.8 | 26.92 | 969.805 | 44.77 | 0
2020-09-09 17:00:00 | 1.082 | 337.5 | 1.615 | 358 | 1.79 | 337.236 | 1.635 | 332.5 | 26.78 | 969.805 | 46.9506 | 0
2020-09-09 17:15:00 | 2.119 | 326.6 | 2.216 | 341.3 | 1.894 | 321.505 | 1.678 | 326.9 | 26.42 | 968.692 | 48.3869 | 0
2020-09-09 17:30:00 | 2.13 | 319 | 2.124 | 341.2 | 2.019 | 321.41 | 1.907 | 314.9 | 26.24 | 968.468 | 48.9404 | 0
2020-09-09 17:45:00 | 2.173 | 325.7 | 2.275 | 356 | 2.225 | 335.352 | 2.144 | 320.8 | 26.06 | 968.321 | 50.6476 | 0
2020-09-09 18:00:00 | 2.796 | 340.7 | 2.817 | 30.33 | 2.441 | 28.5709 | 2.365 | 333.7 | 25.96 | 968.585 | 50.5806 | 0
2020-09-09 18:15:00 | 2.952 | 337.1 | 2.973 | 2.702 | 3.057 | 2.5453 | 2.961 | 334.7 | 25.88 | 968.467 | 50.6561 | 0
2020-09-09 18:30:00 | 2.615 | 317.5 | 2.878 | 338.3 | 2.879 | 318.679 | 2.745 | 317.8 | 25.9 | 968.172 | 51.6107 | 0
2020-09-09 18:45:00 | 1.826 | 324.2 | 2.045 | 351.4 | 2.306 | 331.019 | 2.197 | 319.5 | 25.8 | 968.023 | 53.114 | 0
2020-09-09 19:00:00 | 1.803 | 332.5 | 2.045 | 359.3 | 1.991 | 338.461 | 1.803 | 325.3 | 25.79 | 968.32 | 51.2081 | 0
2020-09-09 19:15:00 | 2.066 | 344.8 | 2.012 | 14.84 | 1.762 | 13.9793 | 1.629 | 334.1 | 25.67 | 968.468 | 51.9601 | 0
2020-09-09 19:30:00 | 2.441 | 356.2 | 2.224 | 16.55 | 2.309 | 15.5901 | 2.07 | 352.7 | 25.67 | 968.616 | 51.9604 | 0
2020-09-09 19:45:00 | 2.543 | 0.205 | 2.017 | 16.71 | 1.788 | 15.7408 | 1.647 | 347.5 | 25.64 | 968.616 | 53.3242 | 0
2020-09-09 20:00:00 | 2.102 | 321.1 | 2.142 | 346 | 2.085 | 325.932 | 1.897 | 317.6 | 25.59 | 969.062 | 54.5516 | 0
2020-09-09 20:15:00 | 1.821 | 316.1 | 2.28 | 342.4 | 2.123 | 322.541 | 2.024 | 310 | 25.74 | 968.765 | 54.9608 | 0
2020-09-09 20:30:00 | 1.522 | 297.1 | 1.845 | 319.2 | 1.879 | 300.686 | 1.663 | 294.8 | 25.73 | 968.765 | 54.688 | 0
2020-09-09 20:45:00 | 1.846 | 316.5 | 2.006 | 339.1 | 1.841 | 319.432 | 1.624 | 311.7 | 25.64 | 968.765 | 54.8244 | 0
2020-09-09 21:00:00 | 1.606 | 308 | 1.609 | 337.5 | 1.721 | 317.925 | 1.454 | 305.6 | 25.61 | 968.616 | 54.3468 | 0
2020-09-09 21:15:00 | 2.324 | 348.5 | 1.784 | 10.25 | 1.816 | 9.6555 | 1.586 | 331.2 | 25.51 | 968.765 | 54.4153 | 0
2020-09-09 21:30:00 | 2.931 | 2.079 | 3.438 | 23.57 | 2.459 | 22.2029 | 2.381 | 2.531 | 25.31 | 968.616 | 54.8585 | 0
2020-09-09 21:45:00 | 2.753 | 9.61 | 3.292 | 26.97 | 2.711 | 25.4057 | 2.304 | 14.51 | 25.2 | 968.616 | 55.5745 | 0
2020-09-09 22:00:00 | 2.354 | 16.07 | 2.968 | 34.4 | 2.568 | 32.4048 | 2.261 | 15.95 | 25.15 | 968.468 | 55.8472 | 0
2020-09-09 22:15:00 | 2.201 | 14.87 | 2.776 | 37.7 | 2.261 | 35.5134 | 1.848 | 13.05 | 25.28 | 968.616 | 56.12 | 0
2020-09-09 22:30:00 | 1.882 | 14.55 | 2.602 | 34.96 | 1.94 | 32.9323 | 1.627 | 12.18 | 25.14 | 968.616 | 56.5973 | 0
2020-09-09 22:45:00 | 1.915 | 17.93 | 2.814 | 35.84 | 2.698 | 33.7613 | 2.493 | 19.18 | 25.19 | 968.616 | 56.8019 | 0
2020-09-09 23:00:00 | 1.426 | 27.7 | 2.395 | 42.88 | 2.655 | 40.393 | 2.59 | 23.98 | 25.03 | 968.023 | 57.4838 | 0
2020-09-09 23:15:00 | 1.402 | 22.91 | 2.047 | 41.83 | 2.426 | 39.4039 | 2.345 | 21.01 | 25.06 | 968.172 | 57.4155 | 0
2020-09-09 23:30:00 | 1.941 | 14.77 | 2.541 | 34.57 | 2.474 | 32.5649 | 2.062 | 18.23 | 25.05 | 968.023 | 57.6884 | 0
2020-09-09 23:45:00 | 1.811 | 18.2 | 2.671 | 38.83 | 2.848 | 36.5779 | 2.75 | 19.14 | 24.95 | 968.172 | 58.5748 | 0