## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-10 00:00:00 | 2.089 | 15.27 | 2.73 | 32 | 2.8 | 30.144 | 2.345 | 13.78 | 24.85 | 968.023 | 58.984 | 0
2020-09-10 00:15:00 | 2.291 | 12.44 | 2.958 | 30.24 | 2.406 | 28.4861 | 2.121 | 8.77 | 24.73 | 968.023 | 59.4613 | 0
2020-09-10 00:30:00 | 2.814 | 8.76 | 3.454 | 30.38 | 2.657 | 28.618 | 2.696 | 8.28 | 24.63 | 968.172 | 59.8022 | 0
2020-09-10 00:45:00 | 3.317 | 0.603 | 3.456 | 23.7 | 2.866 | 22.3254 | 3.247 | 1.4 | 24.67 | 968.023 | 59.359 | 0
2020-09-10 01:00:00 | 2.972 | 46.98 | 2.832 | 16.31 | 2.935 | 15.364 | 3.163 | 0.279 | 24.71 | 967.726 | 59.7341 | 0
2020-09-10 01:15:00 | 2.85 | 61.35 | 2.564 | 16.22 | 2.708 | 15.2792 | 2.775 | 0.232 | 24.7 | 967.578 | 61.3365 | 0
2020-09-10 01:30:00 | 2.679 | 2.174 | 2.295 | 19.93 | 2.581 | 18.7741 | 2.47 | 1.745 | 24.64 | 967.43 | 62.1207 | 0
2020-09-10 01:45:00 | 2.697 | 3.271 | 3.011 | 23.28 | 2.548 | 21.9298 | 2.281 | 8.22 | 24.52 | 967.43 | 62.5648 | 0
2020-09-10 02:00:00 | 2.857 | 1.105 | 3.057 | 19.33 | 2.731 | 18.2089 | 2.208 | 6.157 | 24.46 | 966.985 | 63.3492 | 0
2020-09-10 02:15:00 | 2.643 | 4.142 | 3.574 | 24.49 | 2.449 | 23.0696 | 2.363 | 9.2 | 24.24 | 966.837 | 64.7811 | 0
2020-09-10 02:30:00 | 2.227 | 11.85 | 3.252 | 30.09 | 2.861 | 28.3448 | 2.635 | 9.59 | 24.18 | 966.837 | 66.078 | 0
2020-09-10 02:45:00 | 1.788 | 14.34 | 2.671 | 34.65 | 2.67 | 32.6403 | 2.376 | 11.99 | 24.16 | 967.133 | 66.5607 | 0
2020-09-10 03:00:00 | 1.512 | 13.8 | 2.234 | 32.78 | 2.299 | 30.8788 | 1.989 | 13.16 | 24.18 | 966.985 | 65.7439 | 0
2020-09-10 03:15:00 | 3.27 | 207.2 | 3.441 | 216.9 | 1.76 | 204.32 | 1.119 | 222.9 | 23.5 | 966.54 | 69.565 | 0
2020-09-10 03:30:00 | 2.472 | 195.1 | 2.95 | 205.1 | 2.523 | 193.204 | 2.246 | 198.7 | 22.95 | 966.54 | 68.2694 | 0
2020-09-10 03:45:00 | 2.39 | 201 | 2.83 | 215.7 | 2.006 | 203.189 | 1.681 | 209.4 | 23.06 | 966.545 | 68.9514 | 0
2020-09-10 04:00:00 | 2.732 | 219.9 | 2.73 | 220.2 | 2.53 | 207.428 | 2.284 | 223.6 | 22.92 | 966.615 | 69.497 | 0
2020-09-10 04:15:00 | 0.97 | 224.5 | 1.695 | 226.3 | 2.09 | 213.175 | 1.963 | 239 | 22.51 | 966.547 | 73.1117 | 0
2020-09-10 04:30:00 | 1.226 | 256.1 | 1.902 | 255.3 | 2.006 | 240.493 | 1.696 | 260.3 | 22.28 | 966.645 | 72.9085 | 0
2020-09-10 04:45:00 | 1.682 | 254.6 | 2.71 | 263.9 | 2.161 | 248.594 | 1.749 | 263.6 | 22.43 | 966.538 | 74.0382 | 0
2020-09-10 05:00:00 | 2.508 | 257.7 | 2.738 | 259.9 | 3.487 | 244.826 | 3.244 | 258.3 | 22.19 | 966.835 | 77.4173 | 0
2020-09-10 05:15:00 | 2.745 | 267.2 | 3.298 | 272.9 | 4.003 | 257.072 | 3.82 | 270.9 | 22.13 | 966.686 | 77.3526 | 0
2020-09-10 05:30:00 | 3.085 | 256.1 | 3.965 | 259.9 | 4.684 | 244.826 | 4.581 | 265.4 | 21.96 | 966.835 | 80.0125 | 0
2020-09-10 05:45:00 | 3.871 | 235.6 | 4.412 | 241.5 | 4.684 | 227.493 | 4.67 | 244.9 | 21.75 | 966.835 | 82.1282 | 0
2020-09-10 06:00:00 | 3.128 | 225.6 | 3.487 | 228.2 | 4.204 | 214.964 | 4.362 | 234.6 | 21.54 | 966.835 | 84.4475 | 0
2020-09-10 06:15:00 | 3.261 | 243.3 | 3.656 | 241.3 | 4.636 | 227.305 | 4.655 | 255.8 | 21.34 | 966.835 | 86.4938 | 0
2020-09-10 06:30:00 | 3.44 | 253.7 | 4.047 | 260 | 4.44 | 244.92 | 4.349 | 262.1 | 21.29 | 967.132 | 86.9031 | 0
2020-09-10 06:45:00 | 3.406 | 249.8 | 3.676 | 256.9 | 3.939 | 242 | 3.914 | 256.8 | 21.29 | 967.132 | 87.1078 | 0
2020-09-10 07:00:00 | 2.372 | 265.9 | 3.032 | 268.8 | 4.349 | 253.21 | 4.525 | 272.9 | 21.27 | 967.132 | 87.0054 | 0
2020-09-10 07:15:00 | 2.127 | 274.1 | 2.986 | 283.2 | 4.29 | 266.774 | 4.479 | 273.4 | 21.36 | 967.428 | 85.4024 | 0
2020-09-10 07:30:00 | 1.468 | 286.1 | 2.191 | 302.9 | 3.779 | 285.332 | 3.924 | 282.4 | 21.68 | 967.725 | 84.6485 | 0
2020-09-10 07:45:00 | 1.89 | 276.2 | 2.584 | 289 | 3.497 | 272.238 | 3.621 | 275.8 | 21.9 | 967.45 | 78.8065 | 0
2020-09-10 08:00:00 | 2.62 | 293.6 | 2.947 | 309 | 3.37 | 291.078 | 3.369 | 288.9 | 23.15 | 968.32 | 74.5965 | 0
2020-09-10 08:15:00 | 3.113 | 295.1 | 3.305 | 312.5 | 3.514 | 294.375 | 3.412 | 290.6 | 22.92 | 968.716 | 74.4393 | 0
2020-09-10 08:30:00 | 2.036 | 269.9 | 2.134 | 280.4 | 1.883 | 264.137 | 1.529 | 278.4 | 22.87 | 968.622 | 77.2325 | 0
2020-09-10 08:45:00 | 1.91 | 271.8 | 2.203 | 276.2 | 1.988 | 260.18 | 1.865 | 279.5 | 23.56 | 969.211 | 73.8241 | 0
2020-09-10 09:00:00 | 2.162 | 291.7 | 2.421 | 308.4 | 1.662 | 290.513 | 1.347 | 291 | 24.26 | 969.277 | 70.1378 | 0
2020-09-10 09:15:00 | 2.898 | 294.9 | 3.19 | 309.5 | 2.614 | 291.549 | 2.383 | 293.3 | 24.36 | 969.224 | 70.801 | 0
2020-09-10 09:30:00 | 2.962 | 245.2 | 2.909 | 255.3 | 2.179 | 240.493 | 1.94 | 257.6 | 23.64 | 968.768 | 73.0835 | 0
2020-09-10 09:45:00 | 1.437 | 270.6 | 1.973 | 280.9 | 1.79 | 264.608 | 1.622 | 276 | 24.3 | 968.916 | 69.9148 | 0
2020-09-10 10:00:00 | 4.004 | 307.9 | 4.001 | 322.7 | 3.031 | 303.983 | 2.837 | 306.9 | 24.65 | 969.36 | 69.7104 | 0
2020-09-10 10:15:00 | 3.626 | 336.7 | 3.661 | 349.5 | 3.779 | 329.229 | 3.804 | 339.3 | 24.75 | 969.36 | 72.0273 | 0
2020-09-10 10:30:00 | 3.376 | 306.5 | 3.474 | 308.9 | 3.311 | 290.984 | 3.277 | 308.2 | 24.03 | 969.064 | 73.0494 | 0
2020-09-10 10:45:00 | 4.165 | 335.6 | 4.571 | 352.6 | 4.532 | 332.149 | 4.573 | 333.3 | 24.48 | 968.918 | 72.7205 | 0
2020-09-10 11:00:00 | 3.636 | 328.3 | 3.975 | 328.9 | 3.522 | 309.824 | 3.338 | 337.3 | 25.47 | 969.626 | 69.2539 | 0
2020-09-10 11:15:00 | 3.789 | 350.9 | 3.863 | 3.003 | 4.285 | 2.8288 | 4.321 | 342.3 | 25.23 | 969.286 | 68.4868 | 0
2020-09-10 11:30:00 | 2.783 | 330.8 | 3.004 | 343.2 | 3.385 | 323.294 | 3.345 | 329.8 | 24.86 | 968.65 | 67.0529 | 0
2020-09-10 11:45:00 | 3.237 | 348.9 | 3.448 | 356.5 | 3.051 | 335.823 | 2.88 | 343.4 | 25.35 | 968.786 | 65.725 | 0
2020-09-10 12:00:00 | 3.624 | 351.1 | 3.684 | 341.4 | 3.697 | 321.599 | 3.582 | 5.072 | 25.46 | 968.768 | 68.3476 | 0
2020-09-10 12:15:00 | 3.797 | 3.682 | 3.625 | 348.5 | 3.066 | 328.287 | 2.859 | 3.087 | 25.97 | 968.795 | 62.3207 | 0
2020-09-10 12:30:00 | 3.151 | 296.5 | 3.888 | 301.7 | 3.372 | 284.201 | 3.2 | 301.3 | 26.25 | 968.881 | 65.4275 | 0
2020-09-10 12:45:00 | 3.131 | 305.2 | 3.604 | 313.2 | 3.258 | 295.034 | 3.073 | 309.9 | 25.68 | 968.888 | 58.9259 | 0
2020-09-10 13:00:00 | 2.954 | 300.1 | 3.269 | 313 | 2.874 | 294.846 | 2.671 | 303.3 | 26.3 | 968.321 | 56.3379 | 0
2020-09-10 13:15:00 | 3.181 | 348.7 | 3.144 | 358.4 | 2.993 | 337.613 | 2.844 | 348.4 | 26.53 | 968.469 | 52.9973 | 0
2020-09-10 13:30:00 | 1.984 | 359.9 | 3.107 | 5.07 | 2.891 | 4.7759 | 2.569 | 6.334 | 27.05 | 968.463 | 59.368 | 0
2020-09-10 13:45:00 | 3.028 | 321.1 | 3.188 | 333.4 | 3.158 | 314.063 | 2.994 | 326.6 | 26.4 | 968.433 | 52.1405 | 0
2020-09-10 14:00:00 | 4.415 | 307.4 | 4.837 | 314.3 | 4.344 | 296.071 | 4.237 | 310.6 | 26.92 | 968.113 | 59.2897 | 0
2020-09-10 14:15:00 | 2.466 | 1.004 | 3.068 | 333.8 | 3.85 | 314.44 | 3.701 | 14.04 | 26.99 | 968.414 | 56.9039 | 0
2020-09-10 14:30:00 | 2.796 | 7.766 | 2.802 | 20.34 | 3.278 | 19.1603 | 3.211 | 352.4 | 25.86 | 967.483 | 59.7016 | 0
2020-09-10 14:45:00 | 2.686 | 331.3 | 2.991 | 349.8 | 3.118 | 329.512 | 3.037 | 332.7 | 25.53 | 968.024 | 58.621 | 0
2020-09-10 15:00:00 | 2 | 0.306 | 2.003 | 356.6 | 1.667 | 335.917 | 1.32 | 11.24 | 26.86 | 969.062 | 53.578 | 0
2020-09-10 15:15:00 | 2.203 | 326.6 | 2.444 | 335.9 | 2.647 | 316.418 | 2.498 | 326.5 | 26.84 | 968.963 | 54.861 | 0
2020-09-10 15:30:00 | 3.646 | 311.9 | 4.036 | 316.2 | 3.822 | 297.86 | 3.845 | 312.4 | 26.98 | 968.917 | 54.3442 | 0
2020-09-10 15:45:00 | 3.473 | 314.8 | 3.686 | 325.3 | 3.794 | 306.433 | 3.868 | 312.7 | 27 | 968.175 | 55.3322 | 0
2020-09-10 16:00:00 | 3.294 | 333.2 | 3.589 | 344.8 | 3.555 | 324.802 | 3.489 | 337.9 | 26.06 | 967.156 | 57.5128 | 0
2020-09-10 16:15:00 | 3.719 | 10.76 | 5.113 | 30.57 | 4.331 | 28.7969 | 4.288 | 355.6 | 25.99 | 967.846 | 49.5541 | 0
2020-09-10 16:30:00 | 3.733 | 4.33 | 5.243 | 33.6 | 5.252 | 31.6512 | 5.462 | 345.1 | 25.85 | 968.025 | 44.9198 | 0
2020-09-10 16:45:00 | 4.88 | 357.8 | 6.084 | 26.47 | 6.216 | 24.9347 | 6.478 | 350.2 | 25.64 | 967.58 | 44.2016 | 0
2020-09-10 17:00:00 | 5.135 | 0.489 | 5.512 | 14.37 | 6.897 | 13.5365 | 7.235 | 1.835 | 25.26 | 967.58 | 46.2849 | 0
2020-09-10 17:15:00 | 5.349 | 357.4 | 5.65 | 14.56 | 7.113 | 13.7155 | 7.342 | 357.4 | 25.2 | 967.602 | 45.9782 | 0
2020-09-10 17:30:00 | 5.492 | 357.8 | 5.466 | 14.98 | 6.661 | 14.1112 | 6.781 | 2.803 | 25.03 | 967.578 | 46.2849 | 0
2020-09-10 17:45:00 | 4.936 | 346.5 | 4.873 | 10.78 | 6.015 | 10.1548 | 6.185 | 349.6 | 24.8 | 967.562 | 49.1498 | 0
2020-09-10 18:00:00 | 6.054 | 2.875 | 6.291 | 19.33 | 7.632 | 18.2089 | 7.856 | 4.159 | 24.42 | 966.985 | 51.9512 | 0
2020-09-10 18:15:00 | 4.622 | 8.51 | 6.632 | 24.65 | 6.818 | 23.2203 | 6.244 | 12.5 | 23.84 | 967.133 | 53.7242 | 0
2020-09-10 18:30:00 | 4.047 | 17.08 | 6.767 | 31.74 | 7.225 | 29.8991 | 6.863 | 20.69 | 23.51 | 966.837 | 50.1184 | 0
2020-09-10 18:45:00 | 3.357 | 19.54 | 6.905 | 36.56 | 7.729 | 34.4395 | 7.421 | 22.13 | 23.54 | 966.837 | 51.3485 | 0
2020-09-10 19:00:00 | 3.253 | 25.79 | 5.732 | 43.74 | 6.241 | 41.2031 | 6.188 | 29.15 | 23.31 | 966.985 | 52.1051 | 0
2020-09-10 19:15:00 | 3.718 | 18.85 | 6.918 | 35.91 | 7.693 | 33.8272 | 7.433 | 21.29 | 23.27 | 967.133 | 52.7877 | 0
2020-09-10 19:30:00 | 3.784 | 15.29 | 6.235 | 30.7 | 6.325 | 28.9194 | 5.814 | 19.57 | 23.17 | 967.156 | 52.6854 | 0
2020-09-10 19:45:00 | 3.746 | 14.89 | 5.33 | 30.06 | 5.498 | 28.3165 | 4.846 | 16.64 | 22.92 | 967.54 | 54.2199 | 0
2020-09-10 20:00:00 | 3.69 | 11.41 | 5.66 | 28.47 | 5.587 | 26.8187 | 4.854 | 13.27 | 22.67 | 967.927 | 55.6522 | 0
2020-09-10 20:15:00 | 3.2 | 20.18 | 4.788 | 38.21 | 5.844 | 35.9938 | 5.758 | 23.72 | 22.29 | 968.02 | 57.497 | 0
2020-09-10 20:30:00 | 3.677 | 30.03 | 6.187 | 47.05 | 6.8 | 44.3211 | 6.83 | 35.02 | 22.32 | 968.022 | 59.0701 | 0
2020-09-10 20:45:00 | 3.06 | 34.17 | 5.504 | 48.95 | 6.851 | 46.1109 | 6.82 | 40.16 | 22.2 | 968.319 | 61.596 | 0
2020-09-10 21:00:00 | 2.786 | 36.57 | 4.438 | 52.21 | 4.974 | 49.1818 | 4.955 | 41.68 | 22.2 | 968.319 | 63.1651 | 0
2020-09-10 21:15:00 | 1.733 | 30.48 | 5.044 | 47.49 | 5.969 | 44.7356 | 5.923 | 36.63 | 22.13 | 968.319 | 65.075 | 0
2020-09-10 21:30:00 | 3.258 | 20.28 | 5.046 | 33.62 | 5.219 | 31.67 | 5.131 | 27.52 | 21.98 | 968.467 | 67.0532 | 0
2020-09-10 21:45:00 | 3.258 | 22.51 | 5.095 | 36.08 | 5.961 | 33.9874 | 5.91 | 28.82 | 21.73 | 968.764 | 68.5539 | 0
2020-09-10 22:00:00 | 3.317 | 25.59 | 5.673 | 40.21 | 6.279 | 37.8778 | 6.196 | 30.93 | 21.46 | 968.912 | 69.6453 | 0
2020-09-10 22:15:00 | 2.875 | 20.85 | 5.302 | 35.76 | 5.6 | 33.6859 | 5.549 | 25.53 | 21.36 | 968.912 | 69.6453 | 0
2020-09-10 22:30:00 | 3.22 | 18.49 | 4.773 | 32.86 | 5.419 | 30.9541 | 5.314 | 23.19 | 21.19 | 969.061 | 71.0095 | 0
2020-09-10 22:45:00 | 2.97 | 24.11 | 5.351 | 39.1 | 5.603 | 36.8322 | 5.587 | 30.29 | 20.92 | 968.912 | 71.6236 | 0
2020-09-10 23:00:00 | 2.809 | 23.26 | 4.701 | 38.12 | 5.455 | 35.909 | 5.483 | 28.42 | 20.89 | 968.764 | 69.8565 | 0
2020-09-10 23:15:00 | 3.147 | 11.57 | 4.768 | 24.06 | 4.918 | 22.6645 | 4.25 | 17.01 | 20.82 | 968.649 | 70.268 | 0
2020-09-10 23:30:00 | 3.777 | 16.36 | 5.596 | 30.29 | 5.877 | 28.5332 | 5.607 | 21.55 | 20.48 | 968.791 | 73.0326 | 0
2020-09-10 23:45:00 | 3.585 | 14.73 | 5.315 | 28.65 | 5.946 | 26.9883 | 5.544 | 19.42 | 20.28 | 968.335 | 74.4328 | 0