## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-11 00:00:00 | 4.351 | 11.34 | 6.389 | 26.39 | 6.434 | 24.8594 | 5.427 | 15.76 | 20.02 | 968.423 | 75.7974 | 0
2020-09-11 00:15:00 | 4.992 | 5.548 | 5.542 | 9.94 | 5.47 | 9.3635 | 5.004 | 6.016 | 19.62 | 968.42 | 82.3128 | 0
2020-09-11 00:30:00 | 6.57 | 9.82 | 6.309 | 15.29 | 6.343 | 14.4032 | 5.903 | 4.808 | 18.79 | 968.402 | 85.3488 | 0
2020-09-11 00:45:00 | 7.18 | 4.269 | 6.647 | 18.19 | 6.772 | 17.135 | 5.546 | 7.975 | 18.37 | 968.317 | 87.3273 | 0
2020-09-11 01:00:00 | 6.932 | 3.812 | 6.698 | 18.34 | 6.195 | 17.2763 | 5.477 | 9.68 | 18.04 | 968.021 | 90.568 | 0
2020-09-11 01:15:00 | 6.315 | 2.82 | 5.862 | 17.59 | 5.831 | 16.5698 | 5.528 | 10.31 | 17.57 | 968.021 | 93.8102 | 0
2020-09-11 01:30:00 | 6.279 | 4.111 | 6.389 | 17.85 | 6.5 | 16.8147 | 5.707 | 8.74 | 17.28 | 968.021 | 94.4267 | 0
2020-09-11 01:45:00 | 6.373 | 3.734 | 6.386 | 16.2 | 7.439 | 15.2604 | 5.689 | 4.778 | 17.14 | 968.169 | 94.3358 | 0
2020-09-11 02:00:00 | 6.726 | 3.677 | 6.327 | 15.72 | 7.469 | 14.8082 | 5.829 | 5.044 | 16.99 | 968.021 | 94.1068 | 0
2020-09-11 02:15:00 | 6.572 | 4.563 | 6.176 | 13.48 | 6.683 | 12.6982 | 7.1 | 3.463 | 16.8 | 968.021 | 95.4071 | 0
2020-09-11 02:30:00 | 6.133 | 357.8 | 5.813 | 13.77 | 6.724 | 12.9713 | 6.995 | 1.936 | 16.56 | 968.021 | 96.8435 | 0
2020-09-11 02:45:00 | 5.702 | 358.1 | 5.509 | 16.35 | 6.722 | 15.4017 | 7.031 | 358.4 | 16.37 | 968.021 | 97.7307 | 0
2020-09-11 03:00:00 | 5.025 | 353.1 | 5.905 | 18.74 | 7.291 | 17.6531 | 7.713 | 353.3 | 16.25 | 968.021 | 98.072 | 0
2020-09-11 03:15:00 | 6.184 | 358.5 | 6.199 | 19.2 | 7.192 | 18.0864 | 7.474 | 0.544 | 16.23 | 968.169 | 97.6625 | 0
2020-09-11 03:30:00 | 6.312 | 6.119 | 6.775 | 17.98 | 7.047 | 16.9372 | 7.685 | 2.618 | 16.14 | 968.323 | 98.5838 | 0
2020-09-11 03:45:00 | 7.063 | 6.303 | 6.851 | 15.55 | 7.441 | 14.6481 | 8.2 | 3.236 | 15.96 | 968.032 | 98.5497 | 0
2020-09-11 04:00:00 | 6.71 | 3.075 | 6.442 | 14.95 | 7.609 | 14.0829 | 8.33 | 3.651 | 15.86 | 968.083 | 99.0275 | 0
2020-09-11 04:15:00 | 6.386 | 8.15 | 5.916 | 16.03 | 6.63 | 15.1003 | 7.059 | 2.628 | 15.78 | 968.501 | 99.8805 | 0
2020-09-11 04:30:00 | 4.724 | 345.7 | 5.138 | 20.89 | 6.226 | 19.6784 | 6.43 | 345.1 | 15.56 | 968.844 | 99.915 | 0
2020-09-11 04:45:00 | 3.718 | 351.3 | 4.711 | 21.87 | 6.124 | 20.6015 | 6.382 | 346.6 | 15.47 | 968.885 | 99.9156 | 0
2020-09-11 05:00:00 | 4.37 | 355.8 | 4.648 | 25.17 | 4.951 | 23.7101 | 5.271 | 344.7 | 15.42 | 968.907 | 99.9168 | 0
2020-09-11 05:15:00 | 4.908 | 357.4 | 6.005 | 22.83 | 6.737 | 21.5059 | 6.909 | 352.7 | 15.35 | 968.89 | 99.9165 | 0
2020-09-11 05:30:00 | 6.534 | 357.4 | 6.803 | 19.47 | 7.683 | 18.3407 | 8.1 | 0.602 | 15.29 | 969.044 | 99.919 | 0
2020-09-11 05:45:00 | 5.408 | 355.6 | 6.043 | 18.76 | 6.93 | 17.6719 | 7.194 | 353.9 | 15.26 | 969.207 | 99.9231 | 0
2020-09-11 06:00:00 | 6.241 | 358.1 | 6.072 | 21.91 | 7.291 | 20.6392 | 7.558 | 357.7 | 15.18 | 969.354 | 99.9258 | 0
2020-09-11 06:15:00 | 6.792 | 0.889 | 6.606 | 18.57 | 7.538 | 17.4929 | 8.27 | 2.419 | 15.16 | 969.504 | 99.9302 | 0
2020-09-11 06:30:00 | 5.758 | 354 | 5.64 | 18.8 | 6.991 | 17.7096 | 7.212 | 354.9 | 15.27 | 969.504 | 99.9262 | 0
2020-09-11 06:45:00 | 6.292 | 354 | 6.337 | 19.15 | 7.068 | 18.0393 | 7.263 | 356.9 | 15.23 | 969.504 | 99.9242 | 0
2020-09-11 07:00:00 | 6.292 | 354 | 6.337 | 19.15 | 7.068 | 18.0393 | 7.263 | 356.9 | 15.23 | 969.504 | 99.9242 | 0
2020-09-11 07:15:00 | 6.292 | 354 | 6.337 | 19.15 | 7.068 | 18.0393 | 7.263 | 356.9 | 15.23 | 969.504 | 99.9242 | 0
2020-09-11 07:30:00 | 5.549 | 2.667 | 6.355 | 27.26 | 6.277 | 25.6789 | 6.445 | 1.469 | 15.65 | 970.478 | 99.9147 | 0
2020-09-11 07:45:00 | 5.549 | 2.667 | 6.355 | 27.26 | 6.277 | 25.6789 | 6.445 | 1.469 | 15.65 | 970.478 | 99.9147 | 0
2020-09-11 08:00:00 | 5.549 | 2.667 | 6.355 | 27.26 | 6.277 | 25.6789 | 6.445 | 1.469 | 15.65 | 970.478 | 99.9147 | 0
2020-09-11 08:15:00 | 6.315 | 1.915 | 6.026 | 17.78 | 6.709 | 16.7488 | 6.965 | 0.751 | 15.97 | 970.701 | 99.9147 | 0
2020-09-11 08:30:00 | 6.286 | 5.508 | 6.603 | 22.48 | 6.241 | 21.1762 | 6.073 | 5.984 | 16.25 | 970.99 | 99.5735 | 0
2020-09-11 08:45:00 | 5.122 | 7.962 | 5.844 | 27.06 | 5.229 | 25.4905 | 5.266 | 4.647 | 16.64 | 971.286 | 96.0928 | 0
2020-09-11 09:00:00 | 5.551 | 10.55 | 6.749 | 27 | 6.218 | 25.434 | 5.921 | 12.49 | 16.94 | 971.583 | 95.9281 | 0
2020-09-11 09:15:00 | 5.595 | 8.79 | 5.737 | 19.84 | 5.455 | 18.6893 | 5.434 | 8.73 | 17.25 | 971.732 | 94.5253 | 0
2020-09-11 09:30:00 | 4.384 | 1.586 | 4.847 | 28.55 | 4.781 | 26.8941 | 4.976 | 356.2 | 17.66 | 972.177 | 90.6021 | 0
2020-09-11 09:45:00 | 5.176 | 4.735 | 5.888 | 18.53 | 5.709 | 17.4553 | 5.765 | 3.28 | 18.39 | 972.177 | 85.1442 | 0
2020-09-11 10:00:00 | 6.501 | 6.887 | 7.015 | 23.22 | 6.813 | 21.8732 | 6.784 | 4.909 | 18.72 | 972.109 | 85.5535 | 0
2020-09-11 10:15:00 | 6.501 | 6.887 | 7.015 | 23.22 | 6.813 | 21.8732 | 6.784 | 4.909 | 18.72 | 972.109 | 85.5535 | 0
2020-09-11 10:30:00 | 6.501 | 6.887 | 7.015 | 23.22 | 6.813 | 21.8732 | 6.784 | 4.909 | 18.72 | 972.109 | 85.5535 | 0
2020-09-11 10:45:00 | 5.52 | 8.65 | 7.186 | 27.3 | 6.31 | 25.7166 | 6.106 | 5 | 19.68 | 972.167 | 76.5587 | 0
2020-09-11 11:00:00 | 4.926 | 8.78 | 5.744 | 23.8 | 5.653 | 22.4196 | 5.742 | 359.4 | 19.95 | 972.622 | 73.7272 | 0
2020-09-11 11:15:00 | 2.723 | 3.125 | 4.273 | 28.32 | 4.873 | 26.6774 | 4.935 | 355.1 | 21 | 972.662 | 75.567 | 0
2020-09-11 11:30:00 | 5.209 | 8.53 | 5.187 | 31.32 | 5.157 | 29.5034 | 5.358 | 359.4 | 20.11 | 972.77 | 72.4297 | 0
2020-09-11 11:45:00 | 4.316 | 16.14 | 6.297 | 34.78 | 5.501 | 32.7628 | 5.108 | 12.64 | 20.92 | 972.77 | 70.2705 | 0
2020-09-11 12:00:00 | 3.145 | 15.9 | 6.018 | 30.65 | 6.071 | 28.8723 | 5.74 | 15.62 | 21.49 | 972.622 | 67.2349 | 0
2020-09-11 12:15:00 | 2.702 | 13.95 | 4.513 | 34.12 | 4.679 | 32.141 | 4.365 | 4.648 | 21.1 | 972.622 | 68.3924 | 0
2020-09-11 12:30:00 | 2.992 | 13.41 | 5.264 | 28.65 | 4.229 | 26.9883 | 4.039 | 8.79 | 21.06 | 972.177 | 70.4398 | 0
2020-09-11 12:45:00 | 4.469 | 10.08 | 6.143 | 31.11 | 5.432 | 29.3056 | 5.386 | 9.37 | 20.77 | 972.473 | 69.5533 | 0
2020-09-11 13:00:00 | 2.393 | 13.94 | 2.722 | 9.36 | 3.817 | 8.8171 | 3.54 | 23.22 | 22.05 | 972.918 | 67.5077 | 0
2020-09-11 13:15:00 | 2.583 | 17.38 | 4.098 | 26.17 | 4.303 | 24.6521 | 3.983 | 15.76 | 22.07 | 972.77 | 66.4507 | 0
2020-09-11 13:30:00 | 3.39 | 341.5 | 4.172 | 0.866 | 4.735 | 0.81577 | 4.95 | 338.8 | 21.66 | 972.77 | 66.8255 | 0
2020-09-11 13:45:00 | 3.079 | 21.79 | 6.322 | 31.8 | 6.549 | 29.9556 | 6.366 | 13.58 | 23.23 | 972.473 | 66.1377 | 0
2020-09-11 14:00:00 | 5.681 | 3.523 | 6.113 | 26.89 | 6.928 | 25.3304 | 7.082 | 355.1 | 21 | 972.026 | 67.4341 | 0
2020-09-11 14:15:00 | 5.097 | 5.799 | 5.642 | 23.8 | 5.941 | 22.4196 | 5.989 | 359.5 | 21.11 | 972.177 | 67.5758 | 0
2020-09-11 14:30:00 | 4.188 | 10.03 | 5.949 | 34.39 | 4.751 | 32.3954 | 4.612 | 2.124 | 21.36 | 972.325 | 64.9165 | 0
2020-09-11 14:45:00 | 3.777 | 11.86 | 5.379 | 33.52 | 4.456 | 31.5758 | 4.342 | 5.17 | 21.47 | 973.363 | 64.9506 | 0
2020-09-11 15:00:00 | 2.629 | 3.653 | 4.046 | 22.81 | 4.885 | 21.487 | 4.953 | 0.774 | 22.52 | 974.105 | 64.9135 | 0
2020-09-11 15:15:00 | 2.559 | 16.11 | 2.833 | 9.13 | 3.04 | 8.6005 | 3.127 | 9.02 | 22.19 | 973.215 | 63.8146 | 0
2020-09-11 15:30:00 | 2.818 | 6.905 | 3.656 | 23.13 | 3.797 | 21.7885 | 3.685 | 359.4 | 22.31 | 973.956 | 60.4057 | 0
2020-09-11 15:45:00 | 3.787 | 20.67 | 3.546 | 7.167 | 4.829 | 6.7513 | 4.474 | 17.54 | 23.35 | 974.2 | 59.2047 | 0
2020-09-11 16:00:00 | 3.279 | 345.7 | 3.811 | 0.272 | 4.555 | 0.25622 | 4.589 | 339.6 | 23.17 | 974.277 | 58.5549 | 0
2020-09-11 16:15:00 | 3.912 | 340.4 | 4.208 | 354.3 | 4.86 | 333.751 | 4.932 | 342 | 22.78 | 973.808 | 59.7478 | 0
2020-09-11 16:30:00 | 4.857 | 7.297 | 6.24 | 24.66 | 6.488 | 23.2297 | 6.593 | 0.103 | 22.32 | 973.66 | 61.1452 | 0
2020-09-11 16:45:00 | 5.247 | 2.441 | 5.542 | 22.94 | 6.18 | 21.6095 | 6.641 | 358 | 21.77 | 973.313 | 60.4976 | 0
2020-09-11 17:00:00 | 5.579 | 10.41 | 5.128 | 14.25 | 5.653 | 13.4235 | 5.826 | 4.046 | 21.63 | 972.768 | 63.5758 | 0
2020-09-11 17:15:00 | 4.31 | 353 | 4.64 | 14.4 | 6.063 | 13.5648 | 6.119 | 353.5 | 21.41 | 972.918 | 64.2341 | 0
2020-09-11 17:30:00 | 4.657 | 356 | 4.893 | 16.16 | 5.717 | 15.2227 | 5.913 | 354.5 | 21.28 | 972.918 | 65.2574 | -0.018474
2020-09-11 17:45:00 | 4.972 | 6.599 | 5.338 | 12.83 | 5.956 | 12.0859 | 6.053 | 0.854 | 21.17 | 972.918 | 65.5358 | -0.059118
2020-09-11 18:00:00 | 4.931 | 356.4 | 5.381 | 10.74 | 6.48 | 10.1171 | 6.585 | 357.3 | 20.98 | 972.325 | 67.0417 | -0.096066
2020-09-11 18:15:00 | 5.217 | 13.6 | 5.737 | 16.24 | 6.554 | 15.2981 | 5.88 | 3.943 | 20.99 | 972.452 | 67.9667 | 3.5027
2020-09-11 18:30:00 | 4.269 | 8.04 | 4.66 | 18.56 | 4.389 | 17.4835 | 4.377 | 6.049 | 20.63 | 972.473 | 68.8267 | 4.3414
2020-09-11 18:45:00 | 2.988 | 8.6 | 5.32 | 26.82 | 5.147 | 25.2644 | 4.673 | 12.86 | 20.41 | 972.473 | 70.0546 | 5.0989
2020-09-11 19:00:00 | 3.761 | 15.77 | 5.839 | 32.74 | 6.149 | 30.8411 | 5.867 | 18.23 | 20.32 | 972.473 | 67.7791 | 4.1345
2020-09-11 19:15:00 | 2.88 | 20.38 | 5.573 | 35.06 | 6.172 | 33.0265 | 5.913 | 23.74 | 20.31 | 972.831 | 68.395 | 5.1432
2020-09-11 19:30:00 | 3.302 | 11.52 | 5.45 | 26.44 | 5.547 | 24.9065 | 5.027 | 17.19 | 20.27 | 973.293 | 68.5656 | 4.456
2020-09-11 19:45:00 | 3.286 | 13.85 | 4.898 | 28.47 | 5.468 | 26.8187 | 4.545 | 16.37 | 20.19 | 973.294 | 69.6572 | 2.7231
2020-09-11 20:00:00 | 3.491 | 12.57 | 5.072 | 28.85 | 5.226 | 27.1767 | 4.538 | 16.43 | 20.08 | 973.645 | 70.4076 | 4.3119
2020-09-11 20:15:00 | 3.406 | 18.1 | 5.202 | 36.09 | 5.689 | 33.9968 | 5.449 | 21.06 | 19.9 | 973.36 | 70.6805 | 5.7381
2020-09-11 20:30:00 | 3.399 | 22.93 | 5.412 | 37.98 | 5.984 | 35.7772 | 6.025 | 26.45 | 19.83 | 973.361 | 70.7488 | 6.7394
2020-09-11 20:45:00 | 3.325 | 20.76 | 5.596 | 36.8 | 6.546 | 34.6656 | 6.509 | 24.43 | 19.52 | 973.216 | 71.1581 | 6.0743
2020-09-11 21:00:00 | 3.077 | 27.07 | 5.159 | 43.89 | 5.686 | 41.3444 | 5.724 | 29.33 | 19.5 | 973.216 | 70.9875 | 3.8574
2020-09-11 21:15:00 | 2.569 | 23.39 | 4.584 | 38.52 | 5.183 | 36.2858 | 5.129 | 25.78 | 19.49 | 973.216 | 72.3179 | 2.8044
2020-09-11 21:30:00 | 2.748 | 17.13 | 4.088 | 29.66 | 4.364 | 27.9397 | 4.316 | 21.78 | 19.32 | 973.067 | 72.3861 | 2.9633
2020-09-11 21:45:00 | 3.493 | 18.59 | 5.005 | 32.2 | 5.165 | 30.3324 | 5.037 | 23.9 | 19.4 | 973.364 | 72.1132 | 3.0815
2020-09-11 22:00:00 | 3.784 | 11.31 | 5.509 | 26.64 | 5.671 | 25.0949 | 4.996 | 15.59 | 19.22 | 973.513 | 72.2838 | 3.8426
2020-09-11 22:15:00 | 3.465 | 11.75 | 4.844 | 26.69 | 5.447 | 25.142 | 4.747 | 16.84 | 19.07 | 973.364 | 74.5011 | 4.0089
2020-09-11 22:30:00 | 3.72 | 13.79 | 4.803 | 29.4 | 5.529 | 27.6948 | 4.953 | 18.29 | 18.9 | 972.919 | 75.7974 | 5.2873
2020-09-11 22:45:00 | 3.925 | 14.13 | 5.916 | 30.36 | 6.03 | 28.5991 | 5.192 | 18.27 | 18.66 | 972.919 | 75.4562 | 4.4301
2020-09-11 23:00:00 | 3.365 | 9.82 | 4.962 | 25.75 | 5.04 | 24.2565 | 4.102 | 14.84 | 18.71 | 973.364 | 75.2522 | 2.1984
2020-09-11 23:15:00 | 3.728 | 8.05 | 4.696 | 22.76 | 4.847 | 21.4399 | 4.721 | 12.57 | 18.68 | 973.364 | 76.2412 | 2.446
2020-09-11 23:30:00 | 3.8 | 3.645 | 4.622 | 20.39 | 5.656 | 19.2074 | 5.243 | 8.05 | 18.44 | 973.364 | 77.5424 | 3.5766
2020-09-11 23:45:00 | 4.029 | 5.353 | 4.913 | 20.77 | 5.277 | 19.5653 | 5.019 | 8.8 | 18.4 | 973.364 | 79.4838 | 3.6136