## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-12 00:00:00 | 3.266 | 8.57 | 4.714 | 25.11 | 4.946 | 23.6536 | 4.612 | 11.91 | 18.04 | 973.216 | 81.4645 | 3.3254
2020-09-12 00:15:00 | 3.105 | 13.44 | 4.768 | 30.95 | 5.544 | 29.1549 | 4.915 | 17.52 | 17.97 | 973.216 | 82.9008 | 3.2034
2020-09-12 00:30:00 | 4.052 | 5.308 | 5.389 | 22.58 | 5.094 | 21.2704 | 5.276 | 9.72 | 17.89 | 973.216 | 83.2464 | 2.7563
2020-09-12 00:45:00 | 3.166 | 7.475 | 4.21 | 24.25 | 4.321 | 22.8435 | 4.749 | 10.93 | 17.69 | 973.067 | 85.3614 | 2.6123
2020-09-12 01:00:00 | 2.995 | 9.85 | 3.702 | 26.82 | 4.158 | 25.2644 | 4.011 | 11.73 | 17.57 | 973.067 | 86.3931 | 2.4866
2020-09-12 01:15:00 | 2.753 | 9.23 | 4.167 | 26.72 | 4.092 | 25.1702 | 4.377 | 11.26 | 17.49 | 973.067 | 87.0137 | 2.2908
2020-09-12 01:30:00 | 3.12 | 12.43 | 4.364 | 29.07 | 4.672 | 27.3839 | 4.051 | 13.36 | 17.37 | 973.067 | 87.664 | 2.5716
2020-09-12 01:45:00 | 3.245 | 12.33 | 4.87 | 30.04 | 5.224 | 28.2977 | 4.393 | 16.15 | 17.27 | 973.067 | 89.268 | 2.0506
2020-09-12 02:00:00 | 3 | 9.02 | 3.73 | 26.45 | 3.86 | 24.9159 | 4.051 | 10.19 | 17.39 | 973.067 | 89.3704 | 2.2021
2020-09-12 02:15:00 | 3.529 | 8.17 | 4.665 | 26.45 | 4.649 | 24.9159 | 4.955 | 10.72 | 17.47 | 973.364 | 89.4728 | 3.4362
2020-09-12 02:30:00 | 3.312 | 4.589 | 4.07 | 22.76 | 4.483 | 21.4399 | 3.855 | 8.37 | 17.33 | 973.364 | 90.087 | 3.5729
2020-09-12 02:45:00 | 2.96 | 1.875 | 3.277 | 18.07 | 4.494 | 17.0219 | 3.682 | 5.715 | 17.36 | 973.364 | 91.3837 | 3.4103
2020-09-12 03:00:00 | 2.947 | 8.72 | 3.898 | 26.02 | 4.061 | 24.5108 | 4.118 | 9.12 | 17.15 | 973.364 | 92.7487 | 3.3438
2020-09-12 03:15:00 | 2.962 | 8.8 | 4.32 | 27.41 | 4.295 | 25.8202 | 4.474 | 9.95 | 16.99 | 973.067 | 92.6122 | 3.0778
2020-09-12 03:30:00 | 3.077 | 10.65 | 4.083 | 29.39 | 3.98 | 27.6854 | 4.708 | 10.58 | 16.94 | 973.364 | 93.5335 | 3.0519
2020-09-12 03:45:00 | 3.575 | 7.819 | 3.919 | 20.39 | 4.69 | 19.2074 | 4.726 | 1.742 | 17.06 | 973.364 | 89.4728 | 1.9435
2020-09-12 04:00:00 | 3.437 | 1.607 | 3.804 | 13.4 | 5.198 | 12.6228 | 4.843 | 2.435 | 17.28 | 973.364 | 88.9268 | 2.01
2020-09-12 04:15:00 | 3.184 | 350.4 | 3.985 | 4.581 | 4.456 | 4.3153 | 4.405 | 351.9 | 17.27 | 973.958 | 89.814 | 2.2206
2020-09-12 04:30:00 | 3.649 | 340.7 | 4.343 | 359 | 5.361 | 338.178 | 5.383 | 342.3 | 17.26 | 973.958 | 89.7116 | 2.3869
2020-09-12 04:45:00 | 2.921 | 326.2 | 4.072 | 337.7 | 4.845 | 318.113 | 4.856 | 328.3 | 17.27 | 973.958 | 89.6775 | 2.2797
2020-09-12 05:00:00 | 2.034 | 343 | 1.965 | 7.842 | 3.283 | 7.3872 | 3.488 | 339.9 | 17.26 | 974.106 | 90.6669 | 1.7144
2020-09-12 05:15:00 | 2.742 | 343.4 | 3.239 | 5.779 | 4.272 | 5.4438 | 4.306 | 343.1 | 16.97 | 974.403 | 92.7457 | 2.3647
2020-09-12 05:30:00 | 2.906 | 348.1 | 3.225 | 17.88 | 4.194 | 16.843 | 4.283 | 347.6 | 16.92 | 974.255 | 92.9534 | 1.6811
2020-09-12 05:45:00 | 3.156 | 347.4 | 3.39 | 6.403 | 4.402 | 6.0316 | 4.477 | 348.3 | 16.82 | 974.552 | 92.9193 | 2.095
2020-09-12 06:00:00 | 2.845 | 348.4 | 3.137 | 15.04 | 4.532 | 14.1677 | 4.589 | 348 | 16.77 | 974.552 | 93.2946 | 2.276
2020-09-12 06:15:00 | 2.269 | 350.5 | 3.029 | 28.62 | 3.817 | 26.96 | 3.972 | 344.4 | 16.7 | 974.552 | 94.3866 | 2.4645
2020-09-12 06:30:00 | 2.096 | 349 | 2.116 | 6.046 | 2.581 | 5.6953 | 2.724 | 341.2 | 16.65 | 974.849 | 95.8539 | 2.7822
2020-09-12 06:45:00 | 1.901 | 359.2 | 2.278 | 25.44 | 3.291 | 23.9645 | 3.504 | 346.5 | 16.59 | 975.145 | 95.7515 | 2.4238
2020-09-12 07:00:00 | 1.594 | 2.596 | 2.73 | 27.35 | 2.753 | 25.7637 | 2.892 | 342.1 | 16.79 | 975.442 | 94.7252 | 1.3375
2020-09-12 07:15:00 | 2.174 | 352.2 | 2.595 | 17.21 | 2.666 | 16.2118 | 2.606 | 340.7 | 17 | 975.442 | 95.2538 | 1.2563
2020-09-12 07:30:00 | 2.087 | 11.03 | 2.17 | 13.33 | 2.336 | 12.5569 | 2.051 | 4.473 | 17.09 | 975.739 | 94.6285 | 0.93849
2020-09-12 07:45:00 | 1.612 | 12.4 | 2.122 | 29.87 | 2.347 | 28.1375 | 2.388 | 351.8 | 17.13 | 975.887 | 95.1741 | 1.1824
2020-09-12 08:00:00 | 2.434 | 352.1 | 2.39 | 10.91 | 2.182 | 10.2772 | 1.955 | 349.6 | 17.1 | 975.739 | 95.3778 | 1.5962
2020-09-12 08:15:00 | 2.398 | 348.2 | 2.329 | 14 | 2.93 | 13.188 | 2.959 | 339.3 | 17.29 | 975.739 | 95.3778 | 1.0863
2020-09-12 08:30:00 | 2.325 | 359.7 | 2.627 | 23.15 | 2.924 | 21.8073 | 3.063 | 347.8 | 17.39 | 975.887 | 96.9811 | 2.0285
2020-09-12 08:45:00 | 2.374 | 1.483 | 2.529 | 20.15 | 3.036 | 18.9813 | 3.239 | 350.8 | 17.55 | 975.883 | 97.6292 | 1.393
2020-09-12 09:00:00 | 2.274 | 19.19 | 4.039 | 36.82 | 3.293 | 34.6844 | 2.974 | 10.57 | 17.73 | 976.181 | 96.5376 | 1.4188
2020-09-12 09:15:00 | 1.571 | 21.87 | 3.094 | 42.53 | 2.534 | 40.0633 | 2.417 | 0.255 | 17.85 | 976.496 | 94.3545 | 1.4521
2020-09-12 09:30:00 | 1.744 | 17.05 | 3.63 | 37.97 | 2.856 | 35.7677 | 2.572 | 17.75 | 18.24 | 976.485 | 96.8752 | 1.0272
2020-09-12 09:45:00 | 3.187 | 8.9 | 4.049 | 30.47 | 3.27 | 28.7027 | 3.147 | 6.396 | 17.76 | 976.037 | 99.534 | 0.32884
2020-09-12 10:00:00 | 2.48 | 17.53 | 3.497 | 37.87 | 2.904 | 35.6735 | 2.775 | 14.89 | 17.68 | 976.12 | 99.0619 | 0.89415
2020-09-12 10:15:00 | 2.229 | 14.26 | 3.242 | 36.69 | 2.7 | 34.562 | 2.402 | 4.74 | 18.48 | 976.395 | 96.2988 | 0.82395
2020-09-12 10:30:00 | 2.329 | 2.108 | 2.722 | 358.7 | 2.548 | 337.895 | 2.316 | 11.05 | 19.71 | 976.926 | 90.4515 | 1.7735
2020-09-12 10:45:00 | 1.861 | 20.09 | 3.832 | 27.99 | 3.756 | 26.3666 | 3.478 | 17.76 | 19.8 | 976.859 | 91.4609 | 3.1221
2020-09-12 11:00:00 | 2.32 | 15.62 | 4.585 | 36.91 | 3.954 | 34.7692 | 3.934 | 2.444 | 19.82 | 976.636 | 88.5252 | 4.0717
2020-09-12 11:15:00 | 1.609 | 20.94 | 2.998 | 25.82 | 4.15 | 24.3224 | 3.738 | 21.19 | 20.09 | 976.775 | 87.775 | 6.429
2020-09-12 11:30:00 | 2.493 | 17.9 | 3.993 | 41.36 | 3.603 | 38.9611 | 3.322 | 2.6 | 19.76 | 976.33 | 87.8432 | 9.2704
2020-09-12 11:45:00 | 3.028 | 15.34 | 5.706 | 34.51 | 5.152 | 32.5084 | 4.79 | 11.28 | 20.59 | 976.478 | 86.5473 | 6.78
2020-09-12 12:00:00 | 3.542 | 13.32 | 5.982 | 31.52 | 5.755 | 29.6918 | 5.485 | 13.85 | 20.63 | 976.478 | 85.1126 | 6.5916
2020-09-12 12:15:00 | 4.56 | 9.94 | 5.788 | 35.86 | 4.662 | 33.7801 | 4.813 | 358.8 | 20.24 | 976.627 | 82.2389 | 8.1324
2020-09-12 12:30:00 | 4.793 | 8.56 | 5.468 | 26.52 | 5.473 | 24.9818 | 5.567 | 5.582 | 20.94 | 976.478 | 79.6455 | 7.1939
2020-09-12 12:45:00 | 3.7 | 19.24 | 5.596 | 43.91 | 4.112 | 41.3632 | 3.822 | 10.51 | 20.77 | 976.775 | 77.1224 | 5.1469
2020-09-12 13:00:00 | 1.873 | 18.22 | 4.09 | 40.11 | 4.13 | 37.7836 | 3.738 | 10.97 | 22.03 | 976.923 | 74.5312 | 4.5779
2020-09-12 13:15:00 | 3.649 | 6.51 | 4.474 | 29.3 | 4.262 | 27.6006 | 4.128 | 0.544 | 21.87 | 976.775 | 77.0828 | 4.2491
2020-09-12 13:30:00 | 3.57 | 11.29 | 5.581 | 30.48 | 4.346 | 28.7122 | 4.224 | 6.816 | 22.21 | 976.775 | 72.3032 | 5.3464
2020-09-12 13:45:00 | 4.637 | 14.05 | 5.358 | 25.48 | 4.784 | 24.0022 | 4.713 | 7.333 | 21.64 | 976.33 | 76.4957 | 5.6273
2020-09-12 14:00:00 | 4.545 | 9.66 | 5.223 | 35.89 | 4.651 | 33.8084 | 4.882 | 355.7 | 21.88 | 976.478 | 70.0213 | 6.2036
2020-09-12 14:15:00 | 2.587 | 21.19 | 4.466 | 28.32 | 5.44 | 26.6774 | 5.141 | 16.26 | 23.3 | 976.923 | 68.0076 | 6.6544
2020-09-12 14:30:00 | 2.915 | 17.91 | 4.126 | 29.27 | 4.323 | 27.5723 | 3.955 | 17.29 | 22.36 | 976.627 | 70.496 | 6.9131
2020-09-12 14:45:00 | 4.131 | 6.435 | 4.988 | 34.89 | 4.532 | 32.8664 | 4.479 | 357.8 | 22.77 | 977.22 | 68.9272 | 7.0756
2020-09-12 15:00:00 | 3.668 | 11.17 | 3.576 | 12.93 | 3.886 | 12.1801 | 3.742 | 4.576 | 23.24 | 976.979 | 74.4722 | 15.5405
2020-09-12 15:15:00 | 3.229 | 12.81 | 4.553 | 26.98 | 4.153 | 25.4152 | 4.12 | 352.9 | 22.15 | 976.469 | 77.7126 | 19.9078
2020-09-12 15:30:00 | 3.001 | 8.55 | 3.938 | 23.17 | 5.316 | 21.8261 | 5.044 | 5.318 | 22.49 | 976.923 | 71.3141 | 18.1047
2020-09-12 15:45:00 | 4.374 | 2.059 | 4.975 | 24.59 | 5.369 | 23.1638 | 5.508 | 352.3 | 21.54 | 976.33 | 75.6093 | 15.5368
2020-09-12 16:00:00 | 3.228 | 351.4 | 3.313 | 11.2 | 3.815 | 10.5504 | 3.83 | 343.7 | 21.26 | 975.736 | 79.7775 | 15.6329
2020-09-12 16:15:00 | 2.852 | 11.15 | 2.765 | 20.02 | 3.052 | 18.8588 | 2.924 | 349.7 | 21.14 | 975.885 | 81.3501 | 10.8665
2020-09-12 16:30:00 | 3.868 | 341.9 | 4.108 | 359.5 | 3.448 | 338.649 | 3.359 | 338.3 | 21.14 | 975.736 | 80.613 | 11.72
2020-09-12 16:45:00 | 3.485 | 352.9 | 3.768 | 5.081 | 2.984 | 4.7863 | 3.081 | 345 | 21.25 | 975.736 | 80.7502 | 11.3653
2020-09-12 17:00:00 | 3.789 | 347.9 | 4.699 | 6.826 | 5.333 | 6.4301 | 5.416 | 341.9 | 21.29 | 975.736 | 81.023 | 12.1339
2020-09-12 17:15:00 | 3.184 | 352.1 | 3.736 | 21.84 | 4.239 | 20.5733 | 4.438 | 341 | 21.15 | 975.885 | 82.3181 | 10.3677
2020-09-12 17:30:00 | 2.92 | 353.3 | 3.447 | 18.75 | 4.595 | 17.6625 | 4.887 | 349.3 | 21.06 | 975.44 | 84.092 | 8.9157
2020-09-12 17:45:00 | 2.753 | 355.9 | 3.528 | 19.07 | 4.089 | 17.9639 | 4.186 | 350.3 | 20.8 | 975.191 | 85.1833 | 9.5881
2020-09-12 18:00:00 | 5.204 | 358.9 | 5.151 | 18.83 | 5.562 | 17.7379 | 5.712 | 355.3 | 20.62 | 975.426 | 87.4396 | 12.0341
2020-09-12 18:15:00 | 4.816 | 1.445 | 5.11 | 16.23 | 5.999 | 15.2887 | 6.124 | 1.192 | 20.46 | 975.441 | 89.9043 | 7.4931
2020-09-12 18:30:00 | 4.183 | 3.649 | 4.09 | 17.01 | 4.771 | 16.0234 | 5.004 | 1.892 | 20.28 | 975.441 | 91.5416 | 5.7307
2020-09-12 18:45:00 | 3.286 | 8.76 | 4.571 | 25.79 | 4.11 | 24.2942 | 3.644 | 9.22 | 20.08 | 975.441 | 93.3867 | 3.6985
2020-09-12 19:00:00 | 3.289 | 8.42 | 5.392 | 26.1 | 4.405 | 24.5862 | 4.023 | 11.74 | 19.92 | 975.48 | 93.6713 | 4.2602
2020-09-12 19:15:00 | 3.56 | 15.89 | 4.982 | 30.39 | 4.982 | 28.6274 | 4.744 | 21.13 | 19.81 | 975.639 | 94.0815 | 4.637
2020-09-12 19:30:00 | 3.634 | 17.68 | 5.057 | 31.05 | 5.063 | 29.2491 | 5.001 | 23.41 | 19.77 | 975.777 | 94.0474 | 3.6468
2020-09-12 19:45:00 | 3.899 | 13.99 | 5.622 | 29.39 | 5.463 | 27.6854 | 4.869 | 17.88 | 19.73 | 976.008 | 94.6273 | 5.3243
2020-09-12 20:00:00 | 3.812 | 13.33 | 5.683 | 27.5 | 5.755 | 25.905 | 5.009 | 18.67 | 19.63 | 976.036 | 96.2647 | 5.9561
2020-09-12 20:15:00 | 3.856 | 16.9 | 5.195 | 30.44 | 5.201 | 28.6745 | 5.05 | 22.09 | 19.5 | 976.033 | 98.0044 | 5.812
2020-09-12 20:30:00 | 3.465 | 19.08 | 5.233 | 31.43 | 5.31 | 29.6071 | 5.238 | 26.52 | 19.23 | 975.887 | 98.6526 | 5.3169
2020-09-12 20:45:00 | 4.142 | 20.24 | 5.642 | 32.03 | 5.905 | 30.1723 | 5.923 | 26.89 | 19.23 | 975.887 | 97.3904 | 5.3501
2020-09-12 21:00:00 | 3.164 | 17.46 | 5.921 | 28.61 | 6.015 | 26.9506 | 5.966 | 24.29 | 19.16 | 975.739 | 98.5843 | 5.5903
2020-09-12 21:15:00 | 2.875 | 32.77 | 4.295 | 38.05 | 4.656 | 35.8431 | 4.652 | 43.32 | 19.07 | 975.739 | 98.7208 | 4.0311
2020-09-12 21:30:00 | 3.738 | 10.1 | 3.615 | 18.52 | 4.639 | 17.4458 | 4.693 | 27.66 | 18.94 | 975.887 | 99.8806 | 2.4349
2020-09-12 21:45:00 | 2.865 | 10.8 | 3.234 | 23.58 | 4.087 | 22.2124 | 3.87 | 22.71 | 18.77 | 975.739 | 99.8806 | 1.8216
2020-09-12 22:00:00 | 1.118 | 3.04 | 2.063 | 25.88 | 2.225 | 24.379 | 2.141 | 7.959 | 18.58 | 975.887 | 99.8806 | 1.9657
2020-09-12 22:15:00 | 3.1 | 5.826 | 3.385 | 18.46 | 3.909 | 17.3893 | 4 | 12.32 | 18.54 | 975.887 | 99.8807 | 2.4534
2020-09-12 22:30:00 | 3.1 | 7.973 | 3.904 | 24.41 | 3.807 | 22.9942 | 3.392 | 14.12 | 18.52 | 976.184 | 99.8822 | 1.5777
2020-09-12 22:45:00 | 1.633 | 8.56 | 2.684 | 28.73 | 2.851 | 27.0637 | 2.699 | 9.53 | 18.54 | 976.036 | 99.8809 | 2.0617
2020-09-12 23:00:00 | 4.06 | 8.54 | 4.474 | 25.67 | 3.784 | 24.1811 | 3.781 | 12.92 | 18.56 | 975.887 | 99.8807 | 1.7883
2020-09-12 23:15:00 | 2.814 | 23.54 | 3.31 | 34.8 | 3.499 | 32.7816 | 3.547 | 30.68 | 18.42 | 975.739 | 99.8806 | 1.5038
2020-09-12 23:30:00 | 3.468 | 22.81 | 4.042 | 37.34 | 4.054 | 35.1743 | 4.09 | 33.22 | 18.33 | 975.739 | 99.8828 | 1.3375
2020-09-12 23:45:00 | 3.266 | 21.44 | 3.41 | 33.98 | 3.736 | 32.0092 | 3.758 | 32.93 | 18.3 | 975.739 | 99.8815 | 1.1639